## NDPL
DELHI TRANSCO LIMITED | [15 empty] | December-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973030 | 974250 | -1220 | 1220000 | 1.22 | 995525 | 995525 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4418 | 1996 | 2422 | -2422000 | -2.422 | 173 | 170 | 3 | -3000 | -0.003
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980253 | 982727 | -2474 | 2474000 | 2.474 | 996034 | 996034 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968264 | 968639 | -375 | 375000 | 0.375 | 968229 | 968274 | -45 | 45000 | 0.045 | Check Meter Data
5 | Tx.2 | 4865173 | ELSTER | Kvarh(Lead/Lag) | -12500 | 182 | 183 | -1 | 12500 | 0.0125 | 6 | 6 | 0 | 0 | 0 | Check Meter Data
|  | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 203 | 0 | 203 | -203000 | -0.203 | 0 | 0 | 0 | 0 | 0 | w.e.f 10/12/2015
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22657 | 22570 | 87 | -87000 | -0.087 | 17859 | 17859 | 0 | 0 | 0
[5 empty] | -1000 | [5 empty] | 17859 | 17589 | 270 | -270000 | -0.27 | Assesment - last month
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999487 | 999506 | -19 | 19000 | 0.019 | 999999 | 999999 | 0 | 0 | 0
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 13004 | 12834 | 170 | -212500 | -0.2125 | 993253 | 993253 | 0 | 0 | 0
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998542 | 999019 | -477 | 477000 | 0.477 | 982515 | 982515 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999672 | 999543 | 129 | -129000 | -0.129 | 0 | 0 | 0 | 0 | 0
11 | Tx.-2 | 4864944 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999989 | 999856 | 133 | -133000 | -0.133 | 0 | 0 | 0 | 0 | 0 | Check Meter Data
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983401 | 984341 | -940 | 940000 | 0.94 | 997759 | 997759 | 0 | 0 | 0
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983087 | 987556 | -4469 | -4469000 | -4.469 | 999999 | 999999 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984095 | 984038 | 57 | -57000 | -0.057 | 16835 | 16835 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3392 | 2239 | 1153 | -1153000 | -1.153 | 20178 | 20178 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8656 | 7336 | 1320 | -1320000 | -1.32 | 0 | 0 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 133 | 134 | -1 | -200 | -0.0002 | 981461 | 982040 | -579 | -115800 | -0.1158
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 785 | 789 | -4 | -4000 | -0.004 | 28973 | 29103 | -130 | -130000 | -0.13
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 5950 | 5896 | 54 | 5400 | 0.0054 | 167226 | 166442 | 784 | 78400 | 0.0784
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 40940 | 40459 | 481 | 48100 | 0.0481 | 248938 | 247921 | 1017 | 101700 | 0.1017
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996456 | 996472 | -16 | -16000 | -0.016 | 134 | 750 | -616 | -616000 | -0.616
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 541 | 554 | -13 | -13000 | -0.013 | 5329 | 5884 | -555 | -555000 | -0.555
23 | Pandav Nagar | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999985 | 1000037 | -52 | -52000 | -0.052 | 57 | 55 | 2 | 2000 | 0.002
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 634586 | 634586 | 0 | 0 | 0 | 797068 | 797068 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 635057 | 637208 | -2151 | -2151000 | -2.151 | 830233 | 830233 | 0 | 0 | 0
26 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 5549 | 5381 | 168 | 67200 | 0.0672 | 999007 | 999007 | 0 | 0 | 0
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 4926 | 4719 | 207 | 103500 | 0.1035 | 3390 | 3390 | 0 | 0 | 0
KANJAWALA
28 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23221 | 23039 | 182 | -182000 | -0.182 | 980953 | 980953 | 0 | 0 | 0
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8798 | 7631 | 1167 | -1167000 | -1.167 | 996755 | 996755 | 0 | 0 | 0
BAWANA
30 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1531 | 765 | 766 | -766000 | -0.766 | 999999 | 999999 | 0 | 0 | 0
DSIDC BAWANA
31 | 66KV TX.1 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4920 | 2912 | 2008 | -2008000 | -2.008 | 998839 | 998853 | -14 | 14000 | 0.014
33 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8698 | 5225 | 3473 | -3473000 | -3.473 | 1499 | 1491 | 8 | -8000 | -0.008
ROHINI-II
34 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4549 | 3536 | 1013 | -1013000 | -1.013 | 998687 | 998687 | 0 | 0 | 0
35 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3302 | 3302 | 0 | 0 | 0 | 999996 | 999996 | 0 | 0 | 0
WAZIRPUR
36 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994162 | 994409 | -247 | 247000 | 0.247 | 999496 | 999496 | 0 | 0 | 0
37 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6759 | 5542 | 1217 | -1217000 | -1.217 | 999993 | 999993 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
38 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2090 | 2112 | -22 | -22000 | -0.022 | 24729 | 24739 | -10 | -10000 | -0.01
39 | PUSA GRID-II | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 274 | 317 | -43 | -43000 | -0.043 | 999900 | 1000201 | -301 | -301000 | -0.301
| NDPL(+) continue | [14 empty] | December-2015
DMS
39 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
40 | 20MVA Tx-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | 125 | 176060 | 174304 | 1756 | 219500 | 0.2195 | 261352 | 261306 | 46 | 5750 | 0.00575
VISHAL
41 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9417 | 9488 | -71 | -7100 | -0.0071 | 32270 | 32292 | -22 | -2200 | -0.0022
42 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11723 | 11807 | -84 | -8400 | -0.0084 | 64611 | 64484 | 127 | 12700 | 0.0127
43 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 19432 | 19432 | 0 | 0 | 0 | 66371 | 66371 | 0 | 0 | 0
[10 empty] | 0.0041 |  |  |  |  | 0.0062 | Assessment
|  | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 120 | 0 | 120 | 12000 | 0.012 | 181 | 0 | 181 | 18100 | 0.0181 | w.e.f 09/12
S.B.MILL
44 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 9339 | 8805 | 534 | 53400 | 0.0534 | 6301 | 6259 | 42 | 4200 | 0.0042
45 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
46 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
47 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
48 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
49 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16839 | 17116 | -277 | -27700 | -0.0277 | 21208 | 21191 | 17 | 1700 | 0.0017
50 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 993285 | 994032 | -747 | -33196.68 | -0.033197 | 790 | 772 | 18 | 799.92 | 0.00079992
B.G.ROAD
51 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5452 | 5458 | -6 | -3000 | -0.003 | 33104 | 32980 | 124 | 62000 | 0.062
52 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999940 | 999955 | -15 | -7500 | -0.0075 | 203 | 229 | -26 | -13000 | -0.013
53 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 6957 | 6903 | 54 | 27000 | 0.027 | 14988 | 14987 | 1 | 500 | 0.0005
54 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 2271 | 2234 | 37 | 24666.6667 | 0.024667 | 1084 | 1082 | 2 | 1333.3333 | 0.0013333
D.M.S.
55 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 998454 | 998464 | -10 | -1000 | -0.001 | 28 | 29 | -1 | -100 | -0.0001
56 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999833 | 999865 | -32 | -3200 | -0.0032 | 999986 | 999987 | -1 | -100 | -0.0001
57 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 24055 | 24416 | -361 | -36100 | -0.0361 | 57160 | 57144 | 16 | 1600 | 0.0016
58 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999840 | 999875 | -35 | -3500 | -0.0035 | 999993 | 999995 | -2 | -200 | -0.0002
60 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
61 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1786 | 1541 | 245 | 24500 | 0.0245 | 575 | 64 | 511 | 51100 | 0.0511
62 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 25058 | 24529 | 529 | 52900 | 0.0529 | 66463 | 66456 | 7 | 700 | 0.0007
63 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 2720 | 2098 | 622 | 62200 | 0.0622 | 52 | 41 | 11 | 1100 | 0.0011
KASHMIRI GATE
64 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 177410 | 175768 | 1642 | 164200 | 0.1642 | 20593 | 20593 | 0 | 0 | 0
65 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 24124 | 24021 | 103 | 10300 | 0.0103 | 47842 | 47833 | 9 | 900 | 0.0009
66 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 22 | 22 | 0 | 0 | 0 | 426 | 426 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
67 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995602 | 995602 | 0 | 0 | 0 | 52 | 52 | 0 | 0 | 0
68 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999922 | 999931 | -9 | -3600 | -0.0036 | 3 | 3 | 0 | 0 | 0
MUNDKA
69 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 974457 | 975807 | -1350 | -1080000 | -1.08 | 254 | 254 | 0 | 0 | 0
70 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1989 | 1632 | 357 | 714000 | 0.714 | 29 | 29 | 0 | 0 | 0
PEERAGARHI
71 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
72 | RANI BAGH(L-2) | 4864811 | ELSTER | Kvarh(Lead/Lag) | 100 | 512 | 1224 | -712 | -71200 | -0.0712 | 162 | 162 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -16.2407 |  |  |  |  | -1.6146
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | December-2015
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 22507 | 22362 | 145 | -14500 | -0.0145 | 21557 | 21536 | 21 | -2100 | -0.0021
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13931 | 13828 | 103 | -103000 | -0.103 | 7863 | 7863 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 10047 | 9531 | 516 | -103200 | -0.1032 | 21480 | 21476 | 4 | -800 | -0.0008
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 85834 | 85800 | 34 | -34000 | -0.034 | 120116 | 120114 | 2 | -2000 | -0.002
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 8758 | 8986 | -228 | 22800 | 0.0228 | 61338 | 61338 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 915448 | 915448 | 0 | 0 | 0 | 991937 | 991937 | 0 | 0 | 0 | Meter Faulty
[10 empty] | 1.518 |  |  |  |  | 0 | Assessment
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.2861 |  |  |  |  | -0.0049
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -16.2407 |  |  |  |  | -1.6146
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.2861 |  |  |  |  | -0.0049
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.4483 |  |  |  |  | 0.0132
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -14.5063 |  |  |  |  | -1.6063
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -14.5063 | (REACTIVE MUs) |  |  |  | -1.6063 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.79397 | (REACTIVE MUs) |  |  |  | -3.0913 | (REACTIVE MUs)
[9 empty] | TOTAL | -13.7124 | (REACTIVE MUs) |  |  |  | -4.6977 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | December-2015
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 7357 | 7943 | -586 | -58600 | -0.0586 | 91 | 87 | 4 | 400 | 0.0004
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 3399 | 2580 | 819 | 245700 | 0.2457 | 72 | 73 | -1 | -300 | -0.0003 | w.e.f 16/10/2015
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 15264 | 15435 | -171 | -17100 | -0.0171 | 32573 | 32558 | 15 | 1500 | 0.0015
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 268 | 917 | -649 | -194700 | -0.1947 | 5365 | 5365 | 0 | 0 | 0
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1654 | 1739 | -85 | -113330.5 | -0.11333 | 2699 | 2701 | -2 | -2666.6 | -0.0026666
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 33371 | 32204 | 1167 | 116700 | 0.1167 | 172626 | 172619 | 7 | 700 | 0.0007
7 | MINTO RD. B-34 | 4865120 | ELSTER | Kvarh(Lead/Lag) | 100 | 18221 | 13884 | 4337 | 433700 | 0.4337 | 64 | 50 | 14 | 1400 | 0.0014
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990110 | 990413 | -303 | -303000 | -0.303 | 1680 | 1680 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997782 | 997948 | -166 | -166000 | -0.166 | 2870 | 2869 | 1 | 1000 | 0.001
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 418 | 696 | -278 | -278000 | -0.278 | 1299 | 1299 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996981 | 997345 | -364 | -364000 | -0.364 | 2126 | 2126 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996611 | 997169 | -558 | -558000 | -0.558 | 4872 | 4872 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999392 | 999694 | -302 | -302000 | -0.302 | 999531 | 999531 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999088 | 999314 | -226 | -226000 | -0.226 | 17370 | 17370 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 579 | 806 | -227 | -227000 | -0.227 | 38810 | 38810 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4 | 0 | 4 | 4000 | 0.004 | 28366 | 28358 | 8 | 8000 | 0.008
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1509 | 1558 | -49 | -49000 | -0.049 | 9503 | 9503 | 0 | 0 | 0
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 11608 | 11516 | 92 | 9200 | 0.0092 | 338 | 338 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997679 | 997377 | 302 | 302000 | 0.302 | 15142 | 15142 | 0 | 0 | 0
GT
20 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1375 | 999999 | 999999 | 0 | 0 | 0 | 983913 | 986705 | -2792 | -3839000 | -3.839
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 699655 | 703956 | -4301 | -4731100 | -4.7311
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982394 | 983068 | -674 | -674000 | -0.674 | 8329 | 8329 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -2.8318 |  |  |  |  | -8.5611
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953590 | 954997 | -1407 | 1407000 | 1.407 | 945635 | 945637 | -2 | 2000 | 0.002
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961615 | 962419 | -804 | 804000 | 0.804 | 955082 | 955082 | 0 | 0 | 0
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 22 | 22 | 0 | 0 | 0 | 426 | 426 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 824 | 808 | 16 | 16000 | 0.016 | 5965 | 5939 | 26 | 26000 | 0.026
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 61668 | 58305 | 3363 | -3363000 | -3.363 | 974939 | 974939 | 0 | 0 | 0
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 46454 | 44133 | 2321 | -2321000 | -2.321 | 970485 | 970542 | -57 | 57000 | 0.057
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995758 | 996284 | -526 | 526000 | 0.526 | 994686 | 994722 | -36 | 36000 | 0.036
30 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998946 | 999525 | -579 | 579000 | 0.579 | 999580 | 999742 | -162 | 162000 | 0.162
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3431 | 3153 | 278 | -556000 | -0.556 | 999598 | 999598 | 0 | 0 | 0
32 | TX.-2 (66KV) | 5128431 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999086 | 999175 | -89 | 178000 | 0.178 | 999932 | 999932 | 0 | 0 | 0
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998924 | 999305 | -381 | 381000 | 0.381 | 999919 | 999919 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 10047 | 9531 | 516 | 103200 | 0.1032 | 21480 | 21476 | 4 | 800 | 0.0008
35 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 85834 | 85800 | 34 | 34000 | 0.034 | 120116 | 120114 | 2 | 2000 | 0.002
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 95656 | 96449 | -793 | -79300 | -0.0793 | 1070 | 1073 | -3 | -300 | -0.0003
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 151137 | 151733 | -596 | -59600 | -0.0596 | 17441 | 17434 | 7 | 700 | 0.0007
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -4.7701 |  |  |  |  | -8.2739
| (A) NET ENERGY TO CENTRAL | [8 empty] | -4.7701 |  |  |  |  | -8.2739
December-2015
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981340 | 981709 | -369 | 369000 | 0.369 | 896540 | 896980 | -440 | 440000 | 0.44
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5250 | 5438 | -188 | 188000 | 0.188 | 917082 | 917404 | -322 | 322000 | 0.322
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980626 | 981186 | -560 | 560000 | 0.56 | 962004 | 962447 | -443 | 443000 | 0.443
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 995398 | 995364 | 34 | -68000 | -0.068 | 984155 | 984194 | -39 | 78000 | 0.078
PPG
4 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994504 | 993702 | 802 | -802000 | -0.802 | 999929 | 999981 | -52 | 52000 | 0.052
5 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992598 | 992400 | 198 | -198000 | -0.198 | 999631 | 999631 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7209 | 6865 | 344 | -344000 | -0.344 | 984095 | 984095 | 0 | 0 | 0
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864916 | ELSTER | Kvarh(Lead/Lag) |  | 999060 | 999730 | -670 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995982 | 996766 | -784 | 784000 | 0.784 | 944500 | 944500 | 0 | 0 | 0
GEETA COLONY
10 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980338 | 981329 | -991 | 991000 | 0.991 | 973680 | 974119 | -439 | 439000 | 0.439
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958191 | 958075 | 116 | -116000 | -0.116 | 849921 | 850916 | -995 | 995000 | 0.995
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12636 | 13134 | -498 | 498000 | 0.498 | 34565 | 34573 | -8 | 8000 | 0.008
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19979 | 20331 | -352 | 352000 | 0.352 | 44355 | 44357 | -2 | 2000 | 0.002
14 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16990 | 9043 | 7947 | -7947000 | -7.947 | 994313 | 1000006 | -5693 | 5693000 | 5.693
SB MILL
15 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -5.733 |  |  |  |  | 8.472
| (B) NET ENERGY TO EAST | [8 empty] | -5.733 |  |  |  |  | 8.472
December-2015
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 5549 | 5381 | 168 | -67200 | -0.0672 | 999007 | 999007 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 4926 | 4719 | 207 | -103500 | -0.1035 | 3390 | 3390 | 0 | 0 | 0
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 52915 | 52509 | 406 | -81200 | -0.0812 | 81573 | 81560 | 13 | -2600 | -0.0026
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 73593 | 73990 | -397 | 39700 | 0.0397 | 139957 | 139965 | -8 | 800 | 0.0008
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 977567 | 977968 | -401 | 80200 | 0.0802 | 997234 | 997230 | 4 | -800 | -0.0008
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 82192 | 81299 | 893 | -178600 | -0.1786 | 102313 | 101980 | 333 | -66600 | -0.0666
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 13183 | 12421 | 762 | -609600 | -0.6096 | 7143 | 7145 | -2 | 1600 | 0.0016
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 14053 | 14079 | -26 | 52000 | 0.052 | 2927 | 2927 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 979451 | 980049 | -598 | 478400 | 0.4784 | 989709 | 989710 | -1 | 800 | 0.0008
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 975061 | 976940 | -1879 | 1503200 | 1.5032 | 983803 | 983809 | -6 | 4800 | 0.0048
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 985719 | 986875 | -1156 | 924800 | 0.9248 | 992648 | 992651 | -3 | 2400 | 0.0024
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) |  | 986905 | 987919 | -1014 | 0 | 0 | 994526 | 994526 | 0 | 0 | 0 | W.E.f 04/07/2015
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987037 | 987727 | -690 | 690000 | 0.69 | 35215 | 35243 | -28 | 28000 | 0.028
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2090 | 2112 | -22 | 22000 | 0.022 | 24729 | 24739 | -10 | 10000 | 0.01
16 | PUSA GRID-II | 4864835 | ELSTER | Kvarh(Lead/Lag) | -1000 | 274 | 317 | -43 | 43000 | 0.043 | 999900 | 1000201 | -301 | 301000 | 0.301
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5452 | 5458 | -6 | 3000 | 0.003 | 33104 | 32980 | 124 | -62000 | -0.062
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) |  | 999940 | 999955 | -15 | 0 | 0 | 203 | 229 | -26 | 0 | 0
20 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 6957 | 6903 | 54 | -27000 | -0.027 | 14988 | 14987 | 1 | -500 | -0.0005
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 2271 | 2234 | 37 | -24666.6667 | -0.024667 | 1084 | 1082 | 2 | -1333.3333 | -0.0013333
KASHMIRI GATE
22 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 177410 | 175768 | 1642 | -164200 | -0.1642 | 20593 | 20593 | 0 | 0 | 0
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 24124 | 24021 | 103 | -10300 | -0.0103 | 47842 | 47833 | 9 | -900 | -0.0009
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 998454 | 998464 | -10 | 1000 | 0.001 | 28 | 29 | -1 | 100 | 0.0001
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999833 | 999865 | -32 | 3200 | 0.0032 | 999986 | 999987 | -1 | 100 | 0.0001
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 24055 | 24416 | -361 | 36100 | 0.0361 | 57160 | 57144 | 16 | -1600 | -0.0016
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999840 | 999875 | -35 | 3500 | 0.0035 | 999993 | 999995 | -2 | 200 | 0.0002
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1786 | 1541 | 245 | -24500 | -0.0245 | 575 | 64 | 511 | -51100 | -0.0511
31 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 25058 | 24529 | 529 | -52900 | -0.0529 | 66463 | 66456 | 7 | -700 | -0.0007
32 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 2720 | 2098 | 622 | -62200 | -0.0622 | 52 | 41 | 11 | -1100 | -0.0011
[10 empty] | 2.4742 |  |  |  |  | 0.16057
December-2015
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -4.7701 |  |  |  |  | -8.2739
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 2.4742 |  |  |  |  | 0.16057
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.58453 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -2.8804 |  |  |  |  | -8.1133
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -5.733 |  |  |  |  | 8.472
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -8.6134 |  |  |  |  | 0.3587
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -8.6134 | (REACTIVE MUs) |  |  |  | 0.3587 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.55843 | (REACTIVE MUs) |  |  |  | -2.1742 | (REACTIVE MUs)
[9 empty] | TOTAL | -8.055 | (REACTIVE MUs) |  |  |  | -1.8155 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | December-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999805 | 999901 | -96 | -480000 | -0.48 | 999921 | 999922 | -1 | -5000 | -0.005
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984542 | 984852 | -310 | -413332.3 | -0.41333 | 673117 | 673116 | 1 | 1333.33 | 0.0013333
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 5000 | 10016 | 10028 | -12 | -60000 | -0.06 | 71150 | 71148 | 2 | 10000 | 0.01
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14986 | 14997 | -11 | -11000 | -0.011 | 180 | 181 | -1 | -1000 | -0.001
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 8799 | 7487 | 1312 | 131200 | 0.1312 | 422 | 413 | 9 | 900 | 0.0009
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 713132 | 718430 | -5298 | -397350 | -0.39735 | 28016 | 27999 | 17 | 1275 | 0.001275
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 992387 | 994430 | -2043 | -153225 | -0.15323 | 999761 | 999775 | -14 | -1050 | -0.00105
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997984 | 998372 | -388 | -349200 | -0.3492 | 998736 | 998733 | 3 | 2700 | 0.0027
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 999885 | 999488 | 397 | -198500 | -0.1985 | 994677 | 994676 | 1 | -500 | -0.0005
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987602 | 987415 | 187 | -187000 | -0.187 | 948089 | 948089 | 0 | 0 | 0
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995116 | 995187 | -71 | 71000 | 0.071 | 996160 | 996160 | 0 | 0 | 0
13 | Tx.4 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999255 | 999321 | -66 | 66000 | 0.066 | 999981 | 999980 | 1 | -1000 | -0.001
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979860 | 979077 | 783 | -783000 | -0.783 | 969962 | 969962 | 0 | 0 | 0
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44363 | 40275 | 4088 | -4088000 | -4.088 | 983858 | 983858 | 0 | 0 | 0
16 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36227 | 37394 | -1167 | 1167000 | 1.167 | 992405 | 992410 | -5 | 5000 | 0.005
| Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999831 | 1000000 | -169 | 169000 | 0.169 | 0 | 0 | 0 | 0 | 0 | w.e.f 23/12/2015
NAJAFGARH
17 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -500 | 1367 | 1442 | -75 | 37500 | 0.0375 | 996474 | 996481 | -7 | 3500 | 0.0035
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20 | 1040 | -1020 | 1020000 | 1.02 | 995536 | 995562 | -26 | 26000 | 0.026
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21240 | 21768 | -528 | 528000 | 0.528 | 1325 | 1328 | -3 | 3000 | 0.003
20 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10541 | 10509 | 32 | -32000 | -0.032 | 999720 | 999727 | -7 | 7000 | 0.007
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13931 | 13828 | 103 | 103000 | 0.103 | 7863 | 7863 | 0 | 0 | 0
LODHI ROAD
22 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986907 | 987951 | -1044 | 1044000 | 1.044 | 993432 | 993432 | 0 | 0 | 0
23 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994042 | 995088 | -1046 | 1046000 | 1.046 | 994368 | 994368 | 0 | 0 | 0
OKHLA
24 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996414 | 997351 | -937 | 937000 | 0.937 | 997168 | 997180 | -12 | 12000 | 0.012
25 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992286 | 991517 | 769 | -769000 | -0.769 | 942470 | 942471 | -1 | 1000 | 0.001
26 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998175 | 997851 | 324 | -324000 | -0.324 | 37025 | 37025 | 0 | 0 | 0
27 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999828 | 999782 | 46 | -46000 | -0.046 | 998110 | 998110 | 0 | 0 | 0
28 | Tx.4 (33 KV)-Ckt No. 5 | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996816 | 996866 | -50 | 50000 | 0.05 | 864740 | 864740 | 0 | 0 | 0
BRPL(+) continue | [14 empty] | December-2015
VASANT KUNJ
29 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996164 | 996358 | -194 | 194000 | 0.194 | 972331 | 972319 | 12 | -12000 | -0.012
30 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 997864 | 998351 | -487 | 243500 | 0.2435 | 999232 | 999222 | 10 | -5000 | -0.005 | MF Change
31 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5319 | 3620 | 1699 | -3398000 | -3.398 | 969682 | 969682 | 0 | 0 | 0
MEHRAULI
32 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992995 | 992592 | 403 | -403000 | -0.403 | 906177 | 906180 | -3 | 3000 | 0.003
33 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994500 | 994499 | 1 | -1000 | -0.001 | 927516 | 927516 | 0 | 0 | 0
34 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996829 | 996389 | 440 | -440000 | -0.44 | 991280 | 991282 | -2 | 2000 | 0.002
35 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978197 | 978681 | -484 | 484000 | 0.484 | 980688 | 980713 | -25 | 25000 | 0.025
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 970046 | 971432 | -1386 | 923999.076 | 0.924 | 977072 | 977072 | 0 | 0 | 0
37 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 992497 | 992021 | 476 | -1190000 | -1.19 | 481 | 481 | 0 | 0 | 0
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4033 | 3894 | 139 | -278000 | -0.278 | 2022 | 2014 | 8 | -16000 | -0.016
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 865 | 706 | 159 | -318000 | -0.318 | 1066 | 1061 | 5 | -10000 | -0.01
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 926085 | 927461 | -1376 | 1376000 | 1.376 | 988357 | 988357 | 0 | 0 | 0
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 934543 | 936108 | -1565 | 1565000 | 1.565 | 991924 | 991924 | 0 | 0 | 0
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 31212 | 31488 | -276 | -220800 | -0.2208 | 1674 | 1674 | 0 | 0 | 0
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 908060 | 909524 | -1464 | -1171200 | -1.1712 | 999542 | 999542 | 0 | 0 | 0
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987037 | 987727 | -690 | -690000 | -0.69 | 35215 | 35243 | -28 | -28000 | -0.028
47 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34827 | 33149 | 1678 | -1678000 | -1.678 | 973256 | 973252 | 4 | -4000 | -0.004
49 | Tx-2 | 4865021 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17173 | 15883 | 1290 | -1290000 | -1.29 | 987463 | 987407 | 56 | -56000 | -0.056
|  | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8 | 0 | 8 | -8000 | -0.008 | 6 | 0 | 6 | -6000 | -0.006 | w.e.f 23/12/2015
| Tx-3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 23/12/2015
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 22507 | 22362 | 145 | 14500 | 0.0145 | 21557 | 21536 | 21 | 2100 | 0.0021
SUDARSHAN PARK
51 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 8758 | 8986 | -228 | -22800 | -0.0228 | 61338 | 61338 | 0 | 0 | 0
REWARI LINE
52 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 915448 | 915448 | 0 | 0 | 0 | 991937 | 991937 | 0 | 0 | 0 | Meter Faulty
[10 empty] | -1.518 |  |  |  |  | 0 | Assessment
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 2797 | 2477 | 320 | 24000 | 0.024 | 6957 | 6949 | 8 | 600 | 0.0006
55 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 770 | 669 | 101 | 10100 | 0.0101 | 1491 | 1486 | 5 | 500 | 0.0005
PEERGARHI
56 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 1000 | 56 | 245 | -189 | -189000 | -0.189 | 999983 | 999983 | 0 | 0 | 0
57 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 370 | 283 | 87 | 87000 | 0.087 | 144 | 144 | 0 | 0 | 0
58 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998937 | 999329 | -392 | -392000 | -0.392 | 62 | 60 | 2 | 2000 | 0.002
59 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1117 | 781 | 336 | 336000 | 0.336 | 522 | 522 | 0 | 0 | 0
60 | PASCHIM PURI - I (L-7) | 5269791 | ELSTER | Kvarh(Lead/Lag) | 2000 | 266 | 266 | 0 | 0 | 0 | 1077 | 1077 | 0 | 0 | 0
61 | PASCHIM PURI - 2(L-8) | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 71 | 44 | 27 | 27000 | 0.027 | 24 | 24 | 0 | 0 | 0
62 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
63 | PEERGARHI - 2(L-10) | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 573 | 614 | -41 | -41000 | -0.041 | 33 | 32 | 1 | 1000 | 0.001
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -9.8856 |  |  |  |  | -0.035642
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | December-2015
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 114538 | 104351 | 10187 | -1018700 | -1.0187 | 910763 | 910763 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 95656 | 96449 | -793 | 79300 | 0.0793 | 1070 | 1073 | -3 | 300 | 0.0003
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 151137 | 151733 | -596 | 59600 | 0.0596 | 17441 | 17434 | 7 | -700 | -0.0007
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996371 | 996334 | 37 | -3700 | -0.0037 | 135 | 135 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6122 | 5897 | 225 | -450000 | -0.45 | 73943 | 73943 | 0 | 0 | 0
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14281 | 14314 | -33 | 33000 | 0.033 | 284 | 284 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 906395 | 906205 | 190 | -95000 | -0.095 | 56949 | 56962 | -13 | 6500 | 0.0065
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 995720 | 997323 | -1603 | 641200 | 0.6412 | 2926 | 2926 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 78950 | 77481 | 1469 | -146900 | -0.1469 | 68418 | 68418 | 0 | 0 | 0
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 84357 | 82456 | 1901 | -190100 | -0.1901 | 66994 | 66994 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -200 | 14830 | 13497 | 1333 | -266600 | -0.2666 | 10623 | 10623 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999654 | 999654 | 0 | 0 | 0 | 17091 | 17091 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) |  | 999953 | 999953 | 0 | 0 | 0 | 999908 | 999908 | 0 | 0 | 0
15 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 987102 | 987102 | 0 | 0 | 0 | 993179 | 993179 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 364973 | 358322 | 6651 | -665100 | -0.6651 | 49584 | 49584 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 4096 | 4137 | -41 | 4100 | 0.0041 | 23477 | 23383 | 94 | -9400 | -0.0094
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864806 | ELSTER | Kvarh(Lead/Lag) | -125 | 176060 | 174304 | 1756 | -219500 | -0.2195 | 261352 | 261306 | 46 | -5750 | -0.00575
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9417 | 9488 | -71 | 7100 | 0.0071 | 32270 | 32292 | -22 | 2200 | 0.0022
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11723 | 11807 | -84 | 8400 | 0.0084 | 64611 | 64484 | 127 | -12700 | -0.0127
22 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 19432 | 19432 | 0 | 0 | 0 | 66371 | 66371 | 0 | 0 | 0
[10 empty] | -0.0041 |  |  |  |  | -0.0062 | Assessment
|  | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 120 | 0 | 120 | -12000 | -0.012 | 181 | 0 | 181 | -18100 | -0.0181 | w.e.f 09/12/2015
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 9339 | 8805 | 534 | -53400 | -0.0534 | 6301 | 6259 | 42 | -4200 | -0.0042
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16839 | 17116 | -277 | 27700 | 0.0277 | 21208 | 21191 | 17 | -1700 | -0.0017
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 993285 | 994032 | -747 | 33196.68 | 0.033197 | 790 | 772 | 18 | -799.92 | -0.00079992
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995602 | 995602 | 0 | 0 | 0 | 52 | 52 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999922 | 999931 | -9 | 3600 | 0.0036 | 3 | 3 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -2.2279 |  |  |  |  | -0.05055
December-2015
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -9.8856 |  |  |  |  | -0.035642
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -2.2279 |  |  |  |  | -0.05055
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.91693 |  |  |  |  | 0.2506
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.078275 |  |  |  |  | -0.040725
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -11.2749 |  |  |  |  | 0.12368
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -11.2749 | (REACTIVE MUs) |  |  |  | 0.12368 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.0277 | (REACTIVE MUs) |  |  |  | -4.0016 | (REACTIVE MUs)
[9 empty] | TOTAL | -10.2471 | (REACTIVE MUs) |  |  |  | -3.8779 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | December-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 52915 | 52509 | 406 | 81200 | 0.0812 | 81573 | 81560 | 13 | 2600 | 0.0026
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 73593 | 73990 | -397 | -39700 | -0.0397 | 139957 | 139965 | -8 | -800 | -0.0008
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 977567 | 977968 | -401 | -80200 | -0.0802 | 997234 | 997230 | 4 | 800 | 0.0008
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 82192 | 81299 | 893 | 178600 | 0.1786 | 102313 | 101980 | 333 | 66600 | 0.0666
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 13183 | 12421 | 762 | 609600 | 0.6096 | 7145 | 7145 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 14053 | 14079 | -26 | -52000 | -0.052 | 2927 | 2927 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 979451 | 980049 | -598 | -478400 | -0.4784 | 989709 | 989710 | -1 | -800 | -0.0008
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 975061 | 976940 | -1879 | -1503200 | -1.5032 | 983803 | 983809 | -6 | -4800 | -0.0048
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 985719 | 986875 | -1156 | -924800 | -0.9248 | 992648 | 992651 | -3 | -2400 | -0.0024
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) |  | 986905 | 987919 | -1014 | 0 | 0 | 994526 | 994526 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 4370 | 3328 | 1042 | 104200 | 0.1042 | 397895 | 397874 | 21 | 2100 | 0.0021
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 989923 | 991018 | -1095 | -82125 | -0.082125 | 3303 | 3300 | 3 | 225 | 0.000225
13 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 24698 | 24495 | 203 | 20300 | 0.0203 | 377410 | 377414 | -4 | -400 | -0.0004
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998998 | 999258 | -260 | -97500 | -0.0975 | 999993 | 999995 | -2 | -750 | -0.00075 | w.e.f 09/10/2015
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 992377 | 993344 | -967 | -96700 | -0.0967 | 315397 | 315400 | -3 | -300 | -0.0003
16 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 2883 | 1298 | 1585 | 158500 | 0.1585 | 194532 | 194511 | 21 | 2100 | 0.0021
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 8932 | 9990 | -1058 | -105800 | -0.1058 | 258496 | 258498 | -2 | -200 | -0.0002
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 69374 | 70411 | -1037 | -103700 | -0.1037 | 714156 | 714157 | -1 | -100 | -0.0001
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 99789 | 100098 | -309 | -339900 | -0.3399
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 742 | 1064 | -322 | -322000 | -0.322 | 42512 | 42512 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 148239 | 149195 | -956 | -1051600 | -1.0516
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3373 | 3527 | -154 | -154000 | -0.154 | 56275 | 56275 | 0 | 0 | 0
[10 empty] | -0.476 |  |  |  |  | -1.3915
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 6122 | 5897 | 225 | 450000 | 0.45 | 73943 | 73943 | 0 | 0 | 0
Assessment
24 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14281 | 14314 | -33 | -33000 | -0.033 | 284 | 284 | 0 | 0 | 0
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 906395 | 906205 | 190 | 95000 | 0.095 | 56949 | 56962 | -13 | -6500 | -0.0065
26 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 995720 | 997323 | -1603 | -641200 | -0.6412 | 2926 | 2926 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999654 | 999654 | 0 | 0 | 0 | 17091 | 17091 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999953 | 999953 | 0 | 0 | 0 | 999908 | 999908 | 0 | 0 | 0
29 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 987102 | 987102 | 0 | 0 | 0 | 993179 | 993179 | 0 | 0 | 0
December-2015
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958787 | 960608 | -1821 | 1821000 | 1.821 | 973046 | 973046 | 0 | 0 | 0
31 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994331 | 996116 | -1785 | 1785000 | 1.785 | 997074 | 997074 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969119 | 969872 | -753 | 753000 | 0.753 | 981319 | 981319 | 0 | 0 | 0
33 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984243 | 985038 | -795 | 795000 | 0.795 | 993117 | 993117 | 0 | 0 | 0
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 364973 | 358322 | 6651 | 665100 | 0.6651 | 49584 | 49584 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 4096 | 4137 | -41 | -4100 | -0.0041 | 23477 | 23383 | 94 | 9400 | 0.0094
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 78950 | 77481 | 1469 | 146900 | 0.1469 | 68418 | 68418 | 0 | 0 | 0
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 84357 | 82456 | 1901 | 190100 | 0.1901 | 66994 | 66994 | 0 | 0 | 0
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 14830 | 13497 | 1333 | 133300 | 0.1333 | 10623 | 10623 | 0 | 0 | 0
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 114538 | 104351 | 10187 | 1018700 | 1.0187 | 910763 | 910763 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 2797 | 2477 | 320 | -24000 | -0.024 | 6957 | 6949 | 8 | -600 | -0.0006
2 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 770 | 669 | 101 | -10100 | -0.0101 | 1491 | 1486 | 5 | -500 | -0.0005
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 4.253 |  |  |  |  | -1.3258
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 4.253 |  |  |  |  | -1.3258
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.1474 |  |  |  |  | -0.5739
| TOTAL ENERGY TO NDMC | [8 empty] | 4.4004 |  |  |  |  | -1.8997

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | December-2015
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2453 | 2430 | 23 | 23000 | 0.023 | 31230 | 30996 | 234 | 234000 | 0.234
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1487 | 1482 | 5 | 5000 | 0.005 | 32308 | 32344 | -36 | -36000 | -0.036
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3930 | 3919 | 11 | 11000 | 0.011 | 40438 | 40094 | 344 | 344000 | 0.344
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 47 | 47 | 0 | 0 | 0 | 10641 | 11135 | -494 | -65866.502 | -0.065867
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5430 | 5337 | 93 | 93000 | 0.093 | 11028 | 11030 | -2 | -2000 | -0.002
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12628 | 12631 | -3 | -1500 | -0.0015 | 60767 | 60605 | 162 | 81000 | 0.081
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996371 | 996334 | 37 | 3700 | 0.0037 | 135 | 135 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.1342 |  |  |  |  | 0.55513
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 54896 | 54719 | 177 | 17700 | 0.0177 | 80549 | 80529 | 20 | 2000 | 0.002
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 76635 | 76635 | 0 | 0 | 0 | 13255 | 13217 | 38 | 3800 | 0.0038
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 54159 | 53689 | 470 | 47000 | 0.047 | 82927 | 82586 | 341 | 34100 | 0.0341
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 596 | 415 | 181 | 13575 | 0.013575 | 147 | 136 | 11 | 825 | 0.000825
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 9659 | 9406 | 253 | 25300 | 0.0253 | 3181 | 3167 | 14 | 1400 | 0.0014
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.078275 |  |  |  |  | 0.040725
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.078275 |  |  |  |  | 0.040725
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.1342 |  |  |  |  | 0.55513
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.21248 |  |  |  |  | 0.59586
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.21248 | (REACTIVE MUs) |  |  |  | 0.59586 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.028637 | (REACTIVE MUs) |  |  |  | -0.1115 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.24111 | (REACTIVE MUs) |  |  |  | 0.48436 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | December-2015
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 10648 | 3099 | 7549 | 754900 | 0.7549 | 2403 | 1 | 2402 | 240200 | 0.2402
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2820 | 3099 | -279 | -279000 | -0.279 | 1 | 1 | 0 | 0 | 0 | w.e.f 28/10/2015
3 | O/G VISHAL-1 | 4864821 | ELSTER | Kvarh(Lead/Lag) | 100 | 999463 | 999584 | -121 | -12100 | -0.0121 | 999901 | 999854 | 47 | 4700 | 0.0047 | Check Meter Data
|  | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 632 | 0 | 632 | 316000 | 0.316 | 6 | 0 | 6 | 3000 | 0.003 | w.wf 10/12/2015
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 40119 | 40433 | -314 | -294375 | -0.29437 | 19105 | 19105 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 980316 | 980967 | -651 | 325500 | 0.3255 | 909091 | 909091 | 0 | 0 | 0
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 986934 | 987146 | -212 | 106000 | 0.106 | 976511 | 976523 | -12 | 6000 | 0.006
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 109 | 109 | 0 | 0 | 0 | 9 | 20 | -11 | -3300 | -0.0033
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.91693 |  |  |  |  | 0.2506
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 996297 | 996799 | -502 | -100400 | -0.1004 | 999933 | 999933 | 0 | 0 | 0
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 936678 | 937969 | -1291 | -484125 | -0.48413 | 997625 | 997625 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.58453 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 272681 | 272893 | -212 | -42400 | -0.0424 | 266018 | 266025 | -7 | -1400 | -0.0014
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 130766 | 129480 | 1286 | 257200 | 0.2572 | 43246 | 43202 | 44 | 8800 | 0.0088
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 219302 | 216827 | 2475 | 247500 | 0.2475 | 75810 | 75715 | 95 | 9500 | 0.0095
13 | O/G 33KV SH.W.BAGH-I | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1000 | 540 | 699 | -159 | -159000 | -0.159 | 999984 | 999991 | -7 | -7000 | -0.007
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 997809 | 997809 | 0 | 0 | 0 | 999910 | 999910 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) |  | 999307 | 999584 | -277 | 0 | 0 | 152 | 999854 | -999702 | 0 | 0
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999685 | 999743 | -58 | 145000 | 0.145 | 3075 | 3075 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 109 | 109 | 0 | 0 | 0 | 9 | 20 | -11 | 3300 | 0.0033
| TOTAL NDPL | [8 empty] | 0.4483 |  |  |  |  | 0.0132
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.91693 |  |  |  |  | 0.2506
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.58453 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.4483 |  |  |  |  | 0.0132

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | December-2015
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 23036 | 21184 | 1852 | 3704000 | 3.704 | 1589 | 1589 | 0 | 0 | 0
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 547 | 115 | 432 | 2160000 | 2.16 | 999919 | 999919 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 5.864 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 5.864 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -2.8318 |  |  |  |  | -8.5611
[7 empty] | NDMC = |  |  | -0.476 |  |  |  |  | -1.3915
MES =
[7 empty] | 2)TOTAL |  |  | -3.3078 |  |  |  |  | -9.9526
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 2.5562 |  |  |  |  | -9.9526
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.0607 | % |  |  | 0.79397 |  |  |  |  | -3.0913
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.2061 | % |  |  | 1.0277 |  |  |  |  | -4.0016
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 21.846 | % |  |  | 0.55843 |  |  |  |  | -2.1742
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.7663 | % |  |  | 0.1474 |  |  |  |  | -0.5739
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.1203 | % |  |  | 0.028637 |  |  |  |  | -0.1115
Note :Sharing taken from wk-36 abt bill 2014-15

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st December-2015 TO 1st January-2016
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -13.7124 |  | -4.6977
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -10.2471 |  | -3.8779
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -8.055 |  | -1.8155
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 4.4004 |  | -1.8997
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.24111 | + | 0.48436
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2016 | INTIAL READING 01/12/2015 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 953171 | 953249 | -78 | -117000 | -0.117 | 979232 | 979232 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 993192 | 992451 | 741 | 1111500 | 1.1115 | 992897 | 992897 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 917502 | 926279 | -8777 | -6582750 | -6.5827 | 999302 | 999302 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -5.5883 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997898 | 997898 | 0 | 0 | 0 | 30718 | 30703 | 15 | 75000 | 0.075
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999962 | 999962 | 0 | 0 | 0 | 975700 | 977048 | -1348 | -1348000 | -1.348
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 978332 | 977388 | 944 | 944000 | 0.944 | 991171 | 991138 | 33 | 33000 | 0.033
[8 empty] | NET REACTIVE ENERGY |  | 0.944 |  |  | NET REACTIVE ENERGY |  | -1.24