## NDPL
DELHI TRANSCO LIMITED | [15 empty] | FABRUARY-2017
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996411 | 997551 | -1140 | 1140000 | 1.14 | 999713 | 999713 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16939 | 15124 | 1815 | -1815000 | -1.815 | 998768 | 998768 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961094 | 962324 | -1230 | 1230000 | 1.23 | 995709 | 995709 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998342 | 998940 | -598 | 598000 | 0.598 | 973433 | 973445 | -12 | 12000 | 0.012
5 | Tx.2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2869 | 2846 | 23 | -23000 | -0.023 | 999041 | 999041 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24509 | 24453 | 56 | -56000 | -0.056 | 17606 | 17606 | 0 | 0 | 0
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 586 | 615 | -29 | 29000 | 0.029 | 999713 | 999713 | 0 | 0 | 0
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 9690 | 9914 | -224 | 280000 | 0.28 | 991918 | 991918 | 0 | 0 | 0
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988607 | 989555 | -948 | 948000 | 0.948 | 981193 | 981193 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27 | 70 | -43 | 43000 | 0.043 | 20 | 20 | 0 | 0 | 0
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 94 | 178 | -84 | 84000 | 0.084 | 3 | 3 | 0 | 0 | 0
12 | Tx.-3 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973516 | 973998 | -482 | 482000 | 0.482 | 997828 | 997828 | 0 | 0 | 0 | Check Meter Data
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 931151 | 936971 | -5820 | -5820000 | -5.82 | 999983 | 999983 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984262 | 984020 | 242 | -242000 | -0.242 | 16892 | 16897 | -5 | 5000 | 0.005
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9585 | 8823 | 762 | -762000 | -0.762 | 20576 | 20580 | -4 | 4000 | 0.004
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16743 | 15667 | 1076 | -1076000 | -1.076 | 271 | 271 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1(payal) | 5295159 | ELSTER | Kvarh(Lead/Lag) | 400 | 16 | 16 | 0 | 0 | 0 | 5784 | 6114 | -330 | -132000 | -0.132
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 795 | 795 | 0 | 0 | 0 | 27439 | 27627 | -188 | -188000 | -0.188
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 651 | 650 | 1 | 500 | 0.0005 | 218 | 156 | 62 | 31000 | 0.031
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 126817 | 126709 | 108 | 10800 | 0.0108 | 255249 | 254833 | 416 | 41600 | 0.0416
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996179 | 996179 | 0 | 0 | 0 | 991553 | 992035 | -482 | -482000 | -0.482
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 507 | 507 | 0 | 0 | 0 | 90 | 502 | -412 | -412000 | -0.412
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 72821 | 72815 | 6 | 600 | 0.0006 | 7547 | 7303 | 244 | 24400 | 0.0244
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 626612 | 628575 | -1963 | -1963000 | -1.963 | 796080 | 796080 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 617884 | 620063 | -2179 | -2179000 | -2.179 | 829250 | 829250 | 0 | 0 | 0
26 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | 400 | 859 | 1034 | -175 | -70000 | -0.07 | 999053 | 999053 | 0 | 0 | 0
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 5823 | 5751 | 72 | 36000 | 0.036 | 2406 | 2406 | 0 | 0 | 0
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 365 | 73 | 292 | -292000 | -0.292 | 999896 | 999930 | -34 | 34000 | 0.034
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14154 | 13336 | 818 | -818000 | -0.818 | 996895 | 996895 | 0 | 0 | 0
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10096 | 9457 | 639 | -639000 | -0.639 | 999422 | 999504 | -82 | 82000 | 0.082
DSIDC BAWANA
32 | 66KV TX.1 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47729 | 46796 | 933 | -933000 | -0.933 | 999993 | 999993 | 0 | 0 | 0
|  | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 711 | 0 | 711 | -1422000 | -1.422 | 0 | 0 | 0 | 0 | 0 | W.E.F 09/02/17
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18373 | 17309 | 1064 | -1064000 | -1.064 | 998803 | 998803 | 0 | 0 | 0
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38676 | 35789 | 2887 | -2887000 | -2.887 | 1605 | 1606 | -1 | 1000 | 0.001
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10811 | 9765 | 1046 | -1046000 | -1.046 | 998414 | 998414 | 0 | 0 | 0
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3862 | 2674 | 1188 | -1188000 | -1.188 | 0 | 0 | 0 | 0 | 0
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993176 | 993176 | 0 | 0 | 0 | 998743 | 998743 | 0 | 0 | 0
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17112 | 16297 | 815 | -815000 | -0.815 | 1400 | 1400 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1938 | 1963 | -25 | -25000 | -0.025 | 27158 | 27128 | 30 | 30000 | 0.03
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 2303 | 971 | 1332 | 133200 | 0.1332 | 25141 | 24833 | 308 | 30800 | 0.0308
| NDPL(+) continue | [14 empty] | FABRUARY-2017
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
42 | 20MVA Tx-2 | 4902503 | ELSTER | Kvarh(Lead/Lag) | 416.66 | 998907 | 998733 | 174 | 72498.84 | 0.072499 | 368 | 304 | 64 | 26666.24 | 0.026666
VISHAL
43 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9141 | 9149 | -8 | -800 | -0.0008 | 37622 | 37637 | -15 | -1500 | -0.0015
44 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 12197 | 12230 | -33 | -3300 | -0.0033 | 72852 | 72814 | 38 | 3800 | 0.0038
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 751 | 705 | 46 | 4600 | 0.0046 | 13560 | 13010 | 550 | 55000 | 0.055
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 57 | 24 | 33 | 43989 | 0.043989 | 10 | 5 | 5 | 6665 | 0.006665
47 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 999183 | 999400 | -217 | -21700 | -0.0217 | 4593 | 4538 | 55 | 5500 | 0.0055
52 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989743 | 989743 | 0 | 0 | 0 | 390 | 390 | 0 | 0 | 0
B.G.ROAD
53 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5626 | 5626 | 0 | 0 | 0 | 34528 | 34468 | 60 | 30000 | 0.03
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999934 | 999934 | 0 | 0 | 0 | 462 | 477 | -15 | -7500 | -0.0075
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 321 | 293 | 28 | 18666.76 | 0.018667 | 108 | 108 | 0 | 0 | 0
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 2902 | 2908 | -6 | -4000 | -0.004 | 1337 | 1337 | 0 | 0 | 0
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997790 | 997795 | -5 | -500 | -0.0005 | 1104 | 1131 | -27 | -2700 | -0.0027
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999751 | 999751 | 0 | 0 | 0 | 999998 | 999998 | 0 | 0 | 0
59 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23906 | 23906 | 0 | 0 | 0 | 57760 | 57792 | -32 | -3200 | -0.0032
60 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
62 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
63 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1562 | 1636 | -74 | -7400 | -0.0074 | 5343 | 5705 | -362 | -36200 | -0.0362
64 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 27828 | 27879 | -51 | -5100 | -0.0051 | 66690 | 66993 | -303 | -30300 | -0.0303 | Data till 20/02
[10 empty] | -0.0005 |  |  |  |  | -0.00303
65 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7552 | 7567 | -15 | -1500 | -0.0015 | 3609 | 3186 | 423 | 42300 | 0.0423
KASHMIRI GATE
66 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 201609 | 201143 | 466 | 46600 | 0.0466 | 19854 | 19854 | 0 | 0 | 0 | Data till 06/02
[10 empty] | 0.16 |  |  |  |  | 0 | Assessment
67 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 24825 | 24828 | -3 | -300 | -0.0003 | 51066 | 51066 | 0 | 0 | 0
68 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 456 | 456 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
69 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995611 | 995611 | 0 | 0 | 0 | 59 | 69 | -10 | 4000 | 0.004
70 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999882 | 999882 | 0 | 0 | 0 | 8 | 8 | 0 | 0 | 0
MUNDKA
71 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 970233 | 970233 | 0 | 0 | 0 | 996606 | 996606 | 0 | 0 | 0 | Mater Faulty
[10 empty] | -0.35 |  |  |  |  | -0.0003 | Assessment
|  | 4864972 | ELSTER | Kvarh(Lead/Lag) | 800 | 998903 | 1000000 | -1097 | -877600 | -0.8776 | 999999 | 1000000 | -1 | -800 | -0.0008 | W.E.F 09/02/17
72 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1482 | 1705 | -223 | -446000 | -0.446 | 1096 | 1096 | 0 | 0 | 0
PEERAGARHI
73 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | RANI BAGH(L-2) | 4864811 | ELSTER | Kvarh(Lead/Lag) | 100 | 999674 | 1000236 | -562 | -56200 | -0.0562 | 999868 | 999868 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -21.5484 |  |  |  |  | -0.8298
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | FABRUARY-2017
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 5078 | 5077 | 1 | -100 | -0.0001 | 8532 | 7682 | 850 | -85000 | -0.085
MANGOLPURI
2 | NANGLOI-2 EXP | 4864959 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15119 | 15119 | 0 | 0 | 0 | 7737 | 7737 | 0 | 0 | 0 | Same Reading considered as Y-Phase Potential missing
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 12811 | 12811 | 0 | 0 | 0 | 21689 | 21689 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86677 | 86544 | 133 | -133000 | -0.133 | 123437 | 123437 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 5295128 | ELSTER | Kvarh(Lead/Lag) | -50 | 970093 | 971880 | -1787 | 89350 | 0.08935 | 1961 | 1962 | -1 | 50 | 5e-05 | Check Meter Data
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 990731 | 991696 | -965 | 772000 | 0.772 | 999703 | 999703 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.72825 |  |  |  |  | -0.08495
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -21.5484 |  |  |  |  | -0.8298
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.72825 |  |  |  |  | -0.08495
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 2.4673 |  |  |  |  | 0.0355
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -18.3529 |  |  |  |  | -0.87925
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -18.3529 | (REACTIVE MUs) |  |  |  | -0.87925 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.87348 | (REACTIVE MUs) |  |  |  | -1.3253 | (REACTIVE MUs)
[9 empty] | TOTAL | -17.4794 | (REACTIVE MUs) |  |  |  | -2.2046 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | FABRUARY-2017
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 13977 | 14305 | -328 | -32800 | -0.0328 | 91 | 596 | -505 | -50500 | -0.0505
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 8110 | 8052 | 58 | 17400 | 0.0174 | 2241 | 2652 | -411 | -123300 | -0.1233
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 24102 | 22984 | 1118 | 83850 | 0.08385 | 29960 | 24026 | 5934 | 445050 | 0.44505
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 999367 | 999502 | -135 | -40500 | -0.0405 | 4426 | 4674 | -248 | -74400 | -0.0744
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1811 | 1808 | 3 | 3999.9 | 0.0039999 | 2865 | 2828 | 37 | 49332.1 | 0.049332
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 35350 | 35336 | 14 | 1400 | 0.0014 | 168701 | 170238 | -1537 | -153700 | -0.1537
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 6900 | 5235 | 1665 | 124875 | 0.12487 | 19295 | 14222 | 5073 | 380475 | 0.38048
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988620 | 988863 | -243 | -243000 | -0.243 | 1888 | 1888 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997020 | 997070 | -50 | -50000 | -0.05 | 3368 | 3367 | 1 | 1000 | 0.001
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999168 | 999504 | -336 | -336000 | -0.336 | 771 | 771 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995796 | 996230 | -434 | -434000 | -0.434 | 1690 | 1691 | -1 | -1000 | -0.001
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993914 | 994357 | -443 | -443000 | -0.443 | 5244 | 5249 | -5 | -5000 | -0.005
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997572 | 997882 | -310 | -310000 | -0.31 | 999127 | 999138 | -11 | -11000 | -0.011
14 | JAMA MASJID-1 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999600 | 999782 | -182 | -182000 | -0.182 | 999982 | 1000000 | -18 | -18000 | -0.018
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 998965 | 999266 | -301 | -240800 | -0.2408 | 1245 | 1249 | -4 | -3200 | -0.0032
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999426 | 999615 | -189 | -189000 | -0.189 | 29607 | 29610 | -3 | -3000 | -0.003
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1064 | 1271 | -207 | -207000 | -0.207 | 9721 | 9721 | 0 | 0 | 0
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 12497 | 12392 | 105 | 10500 | 0.0105 | 358 | 358 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 507 | 82 | 425 | 425000 | 0.425 | 15634 | 15632 | 2 | 2000 | 0.002
GT
20 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1375 | 999628 | 999998 | -370 | -508750 | -0.50875 | 952234 | 952234 | 0 | 0 | 0
21 | DMRC CKT.-II | 5295164 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 990632 | 993848 | -3216 | -3537600 | -3.5376
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 976733 | 977702 | -969 | -969000 | -0.969 | 7809 | 7821 | -12 | -12000 | -0.012
| KASHMIRI GATE | [8 empty] | -1.4777 |  |  |  |  | -3.5496
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 947453 | 948164 | -711 | 711000 | 0.711 | 941164 | 941164 | 0 | 0 | 0
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959325 | 960163 | -838 | 838000 | 0.838 | 954757 | 954757 | 0 | 0 | 0
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 456 | 456 | 0 | 0 | 0
NARAINA
26 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999991 | 999991 | 0 | 0 | 0 | 1855 | 1718 | 137 | 137000 | 0.137
PARK STREET
27 | TX.-1 (66KV) | 5295179 | ELSTER | Kvarh(Lead/Lag) | -500 | 6817 | 3458 | 3359 | -1679500 | -1.6795 | 462 | 8 | 454 | -227000 | -0.227
28 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9355 | 7662 | 1693 | -1693000 | -1.693 | 1000087 | 999929 | 158 | -158000 | -0.158
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992544 | 992548 | -4 | 4000 | 0.004 | 993185 | 993381 | -196 | 196000 | 0.196
30 | TX.-2(33KV) | 4864944 | ELSTER | Kvarh(Lead/Lag) | -1000 | 101 | 177 | -76 | 76000 | 0.076 | 30 | 30 | 0 | 0 | 0
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8546 | 8409 | 137 | -274000 | -0.274 | 998897 | 999012 | -115 | 230000 | 0.23
32 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1801 | 1753 | 48 | -48000 | -0.048 | 1000068 | 999996 | 72 | -72000 | -0.072
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999868 | 999729 | 139 | -139000 | -0.139 | 999800 | 999855 | -55 | 55000 | 0.055
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 12811 | 12811 | 0 | 0 | 0 | 21689 | 21689 | 0 | 0 | 0
35 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 86677 | 86544 | 133 | 133000 | 0.133 | 123437 | 123437 | 0 | 0 | 0
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 100 | 998064 | 998204 | -140 | -14000 | -0.014 | 1141 | 1142 | -1 | -100 | -0.0001
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 151305 | 151278 | 27 | 2700 | 0.0027 | 52246 | 52249 | -3 | -300 | -0.0003
PREET VIHAR
38 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -5.6016 |  |  |  |  | -2.9542
| (A) NET ENERGY TO CENTRAL | [8 empty] | -5.6016 |  |  |  |  | -2.9542
FABRUARY-2017
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980602 | 980919 | -317 | 317000 | 0.317 | 883006 | 883006 | 0 | 0 | 0
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1186 | 1029 | 157 | -157000 | -0.157 | 973969 | 973969 | 0 | 0 | 0
3 | Tx.3 | 5295177 | ELSTER | Kvarh(Lead/Lag) | -500 | 997155 | 999631 | -2476 | 1238000 | 1.238 | 999861 | 999861 | 0 | 0 | 0
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 993337 | 994214 | -877 | 1754000 | 1.754 | 975377 | 975377 | 0 | 0 | 0
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998918 | 998652 | 266 | -266000 | -0.266 | 622 | 596 | 26 | -26000 | -0.026
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995192 | 994952 | 240 | -240000 | -0.24 | 999956 | 999941 | 15 | -15000 | -0.015
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 745 | 288 | 457 | -457000 | -0.457 | 1000109 | 999975 | 134 | -134000 | -0.134
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993216 | 993179 | 37 | -37000 | -0.037 | 976839 | 978956 | -2117 | 2117000 | 2.117
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989630 | 989596 | 34 | -34000 | -0.034 | 996225 | 996214 | 11 | -11000 | -0.011
GEETA COLONY
11 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980278 | 980238 | 40 | -40000 | -0.04 | 967785 | 967899 | -114 | 114000 | 0.114
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959359 | 959359 | 0 | 0 | 0 | 833426 | 833426 | 0 | 0 | 0
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17270 | 16700 | 570 | -570000 | -0.57 | 34018 | 33802 | 216 | -216000 | -0.216
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2738 | 2210 | 528 | -528000 | -0.528 | 1000076 | 999813 | 263 | -263000 | -0.263
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972043 | 971743 | 300 | -300000 | -0.3 | 920087 | 920007 | 80 | -80000 | -0.08
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 0.68 |  |  |  |  | 1.486
| (B) NET ENERGY TO EAST | [8 empty] | 0.68 |  |  |  |  | 1.486
FABRUARY-2017
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | -400 | 859 | 1034 | -175 | 70000 | 0.07 | 999053 | 999053 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 5823 | 5751 | 72 | -36000 | -0.036 | 2406 | 2406 | 0 | 0 | 0
| EXPORT TO NDMC FROM PARK STREET | [9 empty] | #N/A
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 54653 | 54780 | -127 | 25400 | 0.0254 | 85488 | 85529 | -41 | 8200 | 0.0082
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 71991 | 71061 | 930 | -93000 | -0.093 | 139496 | 139261 | 235 | -23500 | -0.0235
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 973799 | 974235 | -436 | 87200 | 0.0872 | 996472 | 996564 | -92 | 18400 | 0.0184
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 33156 | 31937 | 1219 | -243800 | -0.2438 | 1583 | 1034 | 549 | -109800 | -0.1098
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 16496 | 16339 | 157 | -125600 | -0.1256 | 10591 | 10528 | 63 | -50400 | -0.0504
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 14957 | 14921 | 36 | -72000 | -0.072 | 3808 | 3807 | 1 | -2000 | -0.002
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 975378 | 975616 | -238 | 190400 | 0.1904 | 988120 | 988198 | -78 | 62400 | 0.0624
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 987033 | 988374 | -1341 | 1072800 | 1.0728 | 993333 | 993781 | -448 | 358400 | 0.3584
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 992584 | 993253 | -669 | 535200 | 0.5352 | 997404 | 997674 | -270 | 216000 | 0.216
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 980793 | 981255 | -462 | 369600 | 0.3696 | 993984 | 994072 | -88 | 70400 | 0.0704
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980697 | 980697 | 0 | 0 | 0 | 34257 | 34257 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1938 | 1963 | -25 | 25000 | 0.025 | 27158 | 27128 | 30 | -30000 | -0.03
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 2303 | 971 | 1332 | -133200 | -0.1332 | 25141 | 24833 | 308 | -30800 | -0.0308
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5626 | 5626 | 0 | 0 | 0 | 34528 | 34468 | 60 | -30000 | -0.03
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999934 | 999934 | 0 | 0 | 0 | 462 | 477 | -15 | 7500 | 0.0075
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 321 | 293 | 28 | -18666.76 | -0.018667 | 108 | 108 | 0 | 0 | 0
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 2902 | 2908 | -6 | 4000 | 0.004 | 1337 | 1337 | 0 | 0 | 0
KASHMIRI GATE
22 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 201609 | 201143 | 466 | -46600 | -0.0466 | 19854 | 19854 | 0 | 0 | 0 | Data till 06/02
[10 empty] | -0.16 |  |  |  |  | 0 | Assessment
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 24825 | 24828 | -3 | 300 | 0.0003 | 51066 | 51066 | 0 | 0 | 0
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997790 | 997795 | -5 | 500 | 0.0005 | 1104 | 1131 | -27 | 2700 | 0.0027
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999751 | 999751 | 0 | 0 | 0 | 999998 | 999998 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23906 | 23906 | 0 | 0 | 0 | 57760 | 57792 | -32 | 3200 | 0.0032
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1562 | 1636 | -74 | 7400 | 0.0074 | 5343 | 5705 | -362 | 36200 | 0.0362
31 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 27828 | 27879 | -51 | 5100 | 0.0051 | 66690 | 66993 | -303 | 30300 | 0.0303 | Data till 20/02/17
32 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7552 | 7567 | -15 | 1500 | 0.0015 | 3609 | 3186 | 423 | -42300 | -0.0423
[10 empty] | 1.4655 |  |  |  |  | 0.4949
FABRUARY-2017
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -5.6016 |  |  |  |  | -2.9542
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 1.4655 |  |  |  |  | 0.4949
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.6764 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -5.8125 |  |  |  |  | -2.4593
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 0.68 |  |  |  |  | 1.486
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -5.1325 |  |  |  |  | -0.97334
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -5.1325 | (REACTIVE MUs) |  |  |  | -0.97334 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.57819 | (REACTIVE MUs) |  |  |  | -0.87728 | (REACTIVE MUs)
[9 empty] | TOTAL | -4.5543 | (REACTIVE MUs) |  |  |  | -1.8506 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | FABRUARY-2017
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999593 | 999604 | -11 | -55000 | -0.055 | 999667 | 999701 | -34 | -170000 | -0.17
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984702 | 984748 | -46 | -61333.18 | -0.061333 | 672485 | 672679 | -194 | -258666.02 | -0.25867
3 | BAY-13 | 5295153 | ELSTER | Kvarh(Lead/Lag) | 400 | 1087 | 1111 | -24 | -9600 | -0.0096 | 987697 | 988034 | -337 | -134800 | -0.1348
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 16944 | 16962 | -18 | -18000 | -0.018 | 999219 | 999569 | -350 | -350000 | -0.35
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 17243 | 17252 | -9 | -900 | -0.0009 | 3560 | 3752 | -192 | -19200 | -0.0192
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 726669 | 727188 | -519 | -38925 | -0.038925 | 15950 | 18954 | -3004 | -225300 | -0.2253
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 983398 | 983557 | -159 | -11925 | -0.011925 | 992873 | 994203 | -1330 | -99750 | -0.09975
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997395 | 997428 | -33 | -29700 | -0.0297 | 997120 | 997765 | -645 | -580500 | -0.5805
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 14690 | 1478 | -739000 | -0.739 | 988926 | 988906 | 20 | -10000 | -0.01
11 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1271 | 1193 | 78 | -78000 | -0.078 | 1000017 | 999982 | 35 | -35000 | -0.035
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997199 | 997199 | 0 | 0 | 0 | 996297 | 996297 | 0 | 0 | 0
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1838 | 1830 | 8 | -8000 | -0.008 | 999803 | 999806 | -3 | 3000 | 0.003
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962806 | 962858 | -52 | 52000 | 0.052 | 967344 | 967759 | -415 | 415000 | 0.415
PAAPANKALAN-II
15 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985776 | 985516 | 260 | -260000 | -0.26 | 967123 | 967120 | 3 | -3000 | -0.003
16 | Tx.2 | 4865004 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1124 | 745 | 379 | -379000 | -0.379 | 204 | 26 | 178 | -178000 | -0.178 | w..e.f 19/01/2017
17 | Tx.3 | 4865015 | ELSTER | Kvarh(Lead/Lag) | -2000 | 91 | 52 | 39 | -78000 | -0.078 | 1000016 | 999996 | 20 | -40000 | -0.04 | w.e.f 19/01/2017
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3386 | 3131 | 255 | -255000 | -0.255 | 954089 | 954088 | 1 | -1000 | -0.001
NAJAFGARH
19 | Tx.1 | 4865009 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47614 | 47529 | 85 | -85000 | -0.085 | 9684 | 9748 | -64 | 64000 | 0.064 | Check Meter Data till 20/02
20 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997814 | 997815 | -1 | 1000 | 0.001 | 990978 | 993236 | -2258 | 2258000 | 2.258
21 | Tx.3 | 4902502 | ELSTER | Kvarh(Lead/Lag) | -1666.66 | 995193 | 995197 | -4 | 6666.64 | 0.0066666 | 996543 | 996630 | -87 | 144999.42 | 0.145 | Check Meter Data
22 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13849 | 13848 | 1 | -1000 | -0.001 | 998232 | 998849 | -617 | 617000 | 0.617
IMPORT
MANGOLPURI
23 | NANGLOI-2 (03) IMP. | 5295163 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15119 | 15119 | 0 | 0 | 0 | 7737 | 7737 | 0 | 0 | 0 | Same Reading considered as Y-Phase Potential missing
LODHI ROAD
24 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981589 | 981473 | 116 | -116000 | -0.116 | 986108 | 986136 | -28 | 28000 | 0.028
25 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991640 | 991700 | -60 | 60000 | 0.06 | 985946 | 985952 | -6 | 6000 | 0.006
OKHLA
26 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995043 | 995005 | 38 | -38000 | -0.038 | 991415 | 991477 | -62 | 62000 | 0.062
27 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990102 | 989948 | 154 | -154000 | -0.154 | 931974 | 932135 | -161 | 161000 | 0.161
28 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1814 | 1370 | 444 | -444000 | -0.444 | 34240 | 34287 | -47 | 47000 | 0.047
29 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998126 | 998089 | 37 | -37000 | -0.037 | 996823 | 996825 | -2 | 2000 | 0.002
30 | Tx.4 (33 KV)-Ckt No. 5 | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995848 | 995851 | -3 | 3000 | 0.003 | 861975 | 862018 | -43 | 43000 | 0.043
BRPL(+) continue | [14 empty] | FABRUARY-2017
VASANT KUNJ
31 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 313 | 288 | 25 | -25000 | -0.025 | 999973 | 999979 | -6 | 6000 | 0.006
32 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 170 | 146 | 24 | -12000 | -0.012 | 998086 | 998100 | -14 | 7000 | 0.007
33 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13843 | 12252 | 1591 | -3182000 | -3.182 | 969505 | 969505 | 0 | 0 | 0
MEHRAULI
34 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994955 | 994647 | 308 | -308000 | -0.308 | 900281 | 900276 | 5 | -5000 | -0.005
35 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994407 | 994407 | 0 | 0 | 0 | 927470 | 927473 | -3 | 3000 | 0.003
36 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998910 | 998584 | 326 | -326000 | -0.326 | 985450 | 985445 | 5 | -5000 | -0.005
37 | Tx.4 | 5295171 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8066 | 8035 | 31 | -31000 | -0.031 | 8799 | 8813 | -14 | 14000 | 0.014
|  | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999947 | 1000000 | -53 | 106000 | 0.106 | 999976 | 1000000 | -24 | 48000 | 0.048 | W.E.F 10/02/17
RIDGE VALLEY
38 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 970345 | 969740 | 605 | -403332.93 | -0.40333 | 967309 | 967289 | 20 | -13333.32 | -0.013333
39 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 994399 | 993738 | 661 | -1652500 | -1.6525 | 999814 | 999814 | 0 | 0 | 0
DIAL
40 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5619 | 5516 | 103 | -206000 | -0.206 | 2085 | 1938 | 147 | -294000 | -0.294
41 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2538 | 2495 | 43 | -86000 | -0.086 | 1117 | 986 | 131 | -262000 | -0.262
MASJID MOD
42 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917324 | 917280 | 44 | -44000 | -0.044 | 983810 | 983885 | -75 | 75000 | 0.075
43 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 926404 | 926677 | -273 | 273000 | 0.273 | 987211 | 987332 | -121 | 121000 | 0.121
MUNDKA
44 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
45 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 29557 | 29021 | 536 | 428800 | 0.4288 | 6364 | 6364 | 0 | 0 | 0
46 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 896847 | 901085 | -4238 | -3390400 | -3.3904 | 997093 | 997093 | 0 | 0 | 0
47 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
48 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 999867 | 999846 | 21 | 16800 | 0.0168 | 999791 | 999791 | 0 | 0 | 0
49 | BAY No 616 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999757 | 999778 | -21 | -21000 | -0.021 | 619 | 619 | 0 | 0 | 0
PARK STREET
50 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980697 | 980697 | 0 | 0 | 0 | 34257 | 34257 | 0 | 0 | 0
51 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
52 | TX-1 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16382 | 12904 | 3478 | -3478000 | -3.478 | 999978 | 999978 | 0 | 0 | 0
53 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9131 | 8047 | 1084 | -1084000 | -1.084 | 999294 | 999275 | 19 | -19000 | -0.019
54 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1849 | 691 | 1158 | -1158000 | -1.158 | 999992 | 999997 | -5 | 5000 | 0.005
NARAINA
55 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 5078 | 5077 | 1 | 100 | 0.0001 | 8532 | 7682 | 850 | 85000 | 0.085
SUDARSHAN PARK
56 | VISHAL | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 970093 | 971880 | -1787 | -89350 | -0.08935 | 1961 | 1962 | -1 | -50 | -5e-05
57 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 997259 | 997509 | -250 | -100000 | -0.1 | 739 | 681 | 58 | 23200 | 0.0232
58 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 999126 | 999322 | -196 | -78400 | -0.0784 | 601 | 570 | 31 | 12400 | 0.0124
REWARI LINE
59 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0
KANJAWALA
60 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 990731 | 991696 | -965 | -772000 | -0.772 | 999703 | 999703 | 0 | 0 | 0
Trauma Centre
61 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 176887 | 165760 | 11127 | 1112700 | 1.1127 | 430 | 263 | 167 | 16700 | 0.0167
62 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1467 | 1127 | 340 | 340000 | 0.34 | 166 | 160 | 6 | 6000 | 0.006
A.I.I.M.S.
63 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 6741 | 6246 | 495 | 37125 | 0.037125 | 12460 | 12453 | 7 | 525 | 0.000525
64 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 2203 | 2103 | 100 | 10000 | 0.01 | 4417 | 4413 | 4 | 400 | 0.0004
PEERGARHI
65 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 884 | 860 | 24 | 12000 | 0.012 | 2633 | 2633 | 0 | 0 | 0
66 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1824 | 1644 | 180 | 180000 | 0.18 | 3593 | 3593 | 0 | 0 | 0
67 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997795 | 997894 | -99 | -99000 | -0.099 | 1234 | 1234 | 0 | 0 | 0
68 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2049 | 1652 | 397 | 397000 | 0.397 | 6126 | 6126 | 0 | 0 | 0
69 | PASCHIM PURI - I (L-7) | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999837 | 1000000 | -163 | -163000 | -0.163 | 0 | 0 | 0 | 0 | 0 | w.e.f 08/02/2017
70 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 1001402 | 998646 | 2756 | 275600 | 0.2756 | 42330 | 42330 | 0 | 0 | 0
71 | MUKHERJEE PARK - I | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 310 | 0 | 310 | 310000 | 0.31 | 0 | 0 | 0 | 0 | 0 | w.e.f 08/02/2017
72 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
73 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999505 | 999706 | -201 | -201000 | -0.201 | 4896 | 4896 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -16.1856 |  |  |  |  | 1.5706
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | FABRUARY-2017
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 168105 | 164633 | 3472 | -347200 | -0.3472 | 912847 | 912847 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -100 | 998064 | 998204 | -140 | 14000 | 0.014 | 1141 | 1142 | -1 | 100 | 0.0001
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 151305 | 151278 | 27 | -2700 | -0.0027 | 52246 | 52249 | -3 | 300 | 0.0003
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996384 | 996376 | 8 | -800 | -0.0008 | 838 | 838 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999699 | 999794 | -95 | 95000 | 0.095 | 999997 | 999999 | -2 | 2000 | 0.002
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15449 | 15396 | 53 | -53000 | -0.053 | 747 | 741 | 6 | -6000 | -0.006
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 906885 | 906857 | 28 | -14000 | -0.014 | 61331 | 61332 | -1 | 500 | 0.0005
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -500 | 999518 | 999651 | -133 | 66500 | 0.0665 | 999987 | 999997 | -10 | 5000 | 0.005
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 80458 | 79662 | 796 | -79600 | -0.0796 | 70843 | 70842 | 1 | -100 | -0.0001
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 93644 | 92748 | 896 | -89600 | -0.0896 | 71276 | 71275 | 1 | -100 | -0.0001
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 24656 | 24235 | 421 | -42100 | -0.0421 | 22138 | 22129 | 9 | -900 | -0.0009
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999175 | 999175 | 0 | 0 | 0 | 16688 | 16688 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 386068 | 383534 | 2534 | -253400 | -0.2534 | 49059 | 49059 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 4933 | 4933 | 0 | 0 | 0 | 27293 | 27207 | 86 | -8600 | -0.0086
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4902503 | ELSTER | Kvarh(Lead/Lag) | -416.66 | 998907 | 998733 | 174 | -72498.84 | -0.072499 | 368 | 304 | 64 | -26666.24 | -0.026666
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9141 | 9149 | -8 | 800 | 0.0008 | 37622 | 37637 | -15 | 1500 | 0.0015
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 12197 | 12230 | -33 | 3300 | 0.0033 | 72852 | 72814 | 38 | -3800 | -0.0038
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 751 | 705 | 46 | -4600 | -0.0046 | 13560 | 13010 | 550 | -55000 | -0.055
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 57 | 24 | 33 | -43989 | -0.043989 | 10 | 5 | 5 | -6665 | -0.006665
24 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 999183 | 999400 | -217 | 21700 | 0.0217 | 4593 | 4538 | 55 | -5500 | -0.0055
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989743 | 989743 | 0 | 0 | 0 | 390 | 390 | 0 | 0 | 0
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995611 | 995611 | 0 | 0 | 0 | 59 | 69 | -10 | -4000 | -0.004
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999882 | 999882 | 0 | 0 | 0 | 8 | 8 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.80219 |  |  |  |  | -0.10793
FABRUARY-2017
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -16.1856 |  |  |  |  | 1.5706
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.80219 |  |  |  |  | -0.10793
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.4334 |  |  |  |  | -0.01505
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0041 |  |  |  |  | -0.0572
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -16.5585 |  |  |  |  | 1.3904
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -16.5585 | (REACTIVE MUs) |  |  |  | 1.3904 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.0284 | (REACTIVE MUs) |  |  |  | -1.5604 | (REACTIVE MUs)
[9 empty] | TOTAL | -15.53 | (REACTIVE MUs) |  |  |  | -0.16994 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | FABRUARY-2017
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 54653 | 54780 | -127 | -25400 | -0.0254 | 85488 | 85529 | -41 | -8200 | -0.0082
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 71991 | 71061 | 930 | 93000 | 0.093 | 139496 | 139261 | 235 | 23500 | 0.0235
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 973799 | 974235 | -436 | -87200 | -0.0872 | 996472 | 996564 | -92 | -18400 | -0.0184
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 33156 | 31937 | 1219 | 243800 | 0.2438 | 1583 | 1034 | 549 | 109800 | 0.1098
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 16496 | 16339 | 157 | 125600 | 0.1256 | 10591 | 10528 | 63 | 50400 | 0.0504
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 14957 | 14921 | 36 | 72000 | 0.072 | 3808 | 3807 | 1 | 2000 | 0.002
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 975378 | 975616 | -238 | -190400 | -0.1904 | 988120 | 988198 | -78 | -62400 | -0.0624
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 987033 | 988374 | -1341 | -1072800 | -1.0728 | 993333 | 993781 | -448 | -358400 | -0.3584
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 992584 | 993253 | -669 | -535200 | -0.5352 | 997404 | 997674 | -270 | -216000 | -0.216
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 980793 | 981255 | -462 | -369600 | -0.3696 | 993984 | 994072 | -88 | -70400 | -0.0704
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 3366 | 3468 | -102 | -10200 | -0.0102 | 404003 | 404439 | -436 | -43600 | -0.0436
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 993541 | 993965 | -424 | -31800 | -0.0318 | 5272 | 4982 | 290 | 21750 | 0.02175
13 | BAY-6 (T MARG) | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 9688 | 9625 | 63 | 6300 | 0.0063 | 6654 | 6551 | 103 | 10300 | 0.0103 | Check Meter Data
|  | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 0 | 0 | 0 | 0 | 0 | 22 | 0 | 22 | 11000 | 0.011 | W.E.F 15/02/17
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998919 | 998893 | 26 | 9750 | 0.00975 | 1314 | 836 | 478 | 179250 | 0.17925
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 989466 | 989566 | -100 | -10000 | -0.01 | 316751 | 317478 | -727 | -72700 | -0.0727
16 | BAY-28 (C PLACE) | 4865117 | ELSTER | Kvarh(Lead/Lag) | 100 | 2618 | 2599 | 19 | 1900 | 0.0019 | 181786 | 181618 | 168 | 16800 | 0.0168 | Check Meter Data
|  | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 4 | 0 | 4 | 300 | 0.0003 | 589 | 0 | 589 | 44175 | 0.044175 | W.E.F 15/02/17
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 3225 | 3007 | 218 | 21800 | 0.0218 | 260354 | 259312 | 1042 | 104200 | 0.1042
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 82061 | 81556 | 505 | 50500 | 0.0505 | 721105 | 719181 | 1924 | 192400 | 0.1924
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999810 | 999999 | -189 | -207900 | -0.2079 | 101445 | 101891 | -446 | -490600 | -0.4906
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998260 | 998762 | -502 | -502000 | -0.502 | 44246 | 44269 | -23 | -23000 | -0.023
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999259 | 999894 | -635 | -698500 | -0.6985 | 143091 | 143119 | -28 | -30800 | -0.0308
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2686 | 2946 | -260 | -260000 | -0.26 | 58518 | 58516 | 2 | 2000 | 0.002
[10 empty] | -1.6684 |  |  |  |  | -0.5424
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999699 | 999794 | -95 | -95000 | -0.095 | 999997 | 999999 | -2 | -2000 | -0.002
24 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15449 | 15396 | 53 | 53000 | 0.053 | 747 | 741 | 6 | 6000 | 0.006
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 906885 | 906857 | 28 | 14000 | 0.014 | 61331 | 61332 | -1 | -500 | -0.0005
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 500 | 999518 | 999651 | -133 | -66500 | -0.0665 | 999987 | 999997 | -10 | -5000 | -0.005
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999175 | 999175 | 0 | 0 | 0 | 16688 | 16688 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
FABRUARY-2017
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 942459 | 943463 | -1004 | 1004000 | 1.004 | 971318 | 971330 | -12 | 12000 | 0.012
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991845 | 993643 | -1798 | 1798000 | 1.798 | 999969 | 999997 | -28 | 28000 | 0.028
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999456 | 999596 | -140 | 280000 | 0.28 | 999999 | 999999 | 0 | 0 | 0
33 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975419 | 975749 | -330 | 330000 | 0.33 | 990447 | 990447 | 0 | 0 | 0
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 386068 | 383534 | 2534 | 253400 | 0.2534 | 49059 | 49059 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 4933 | 4933 | 0 | 0 | 0 | 27293 | 27207 | 86 | 8600 | 0.0086
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 80458 | 79662 | 796 | 79600 | 0.0796 | 70843 | 70842 | 1 | 100 | 0.0001
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 93644 | 92748 | 896 | 89600 | 0.0896 | 71276 | 71275 | 1 | 100 | 0.0001
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 24656 | 24235 | 421 | 42100 | 0.0421 | 22138 | 22129 | 9 | 900 | 0.0009
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 168105 | 164633 | 3472 | 347200 | 0.3472 | 912847 | 912847 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 176887 | 165760 | 11127 | -1112700 | -1.1127 | 430 | 263 | 167 | -16700 | -0.0167
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1467 | 1127 | 340 | -340000 | -0.34 | 166 | 160 | 6 | -6000 | -0.006
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 6741 | 6246 | 495 | -37125 | -0.037125 | 12460 | 12453 | 7 | -525 | -0.000525
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 2203 | 2103 | 100 | -10000 | -0.01 | 4417 | 4413 | 4 | -400 | -0.0004
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 0.70623 |  |  |  |  | -0.57965
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 0.70623 |  |  |  |  | -0.57965
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.1166 |  |  |  |  | -0.17691
| TOTAL ENERGY TO NDMC | [8 empty] | 0.82282 |  |  |  |  | -0.75656

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FABRUARY-2017
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 824 | 820 | 4 | 800 | 0.0008 | 5977 | 5415 | 562 | 112400 | 0.1124
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1508 | 1508 | 0 | 0 | 0 | 38779 | 38680 | 99 | 99000 | 0.099
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4094 | 4094 | 0 | 0 | 0 | 48275 | 47960 | 315 | 315000 | 0.315
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 999960 | 999960 | 0 | 0 | 0 | 39332 | 39710 | -378 | -50399.874 | -0.0504
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6496 | 6491 | 5 | 5000 | 0.005 | 11492 | 11466 | 26 | 26000 | 0.026
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12243 | 12243 | 0 | 0 | 0 | 61229 | 61394 | -165 | -82500 | -0.0825
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996384 | 996376 | 8 | 800 | 0.0008 | 838 | 838 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0066 |  |  |  |  | 0.4195
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3438 | 3438 | 0 | 0 | 0 | 34490 | 34490 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 56131 | 56141 | -10 | -1000 | -0.001 | 88119 | 88117 | 2 | 200 | 0.0002
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 77824 | 77820 | 4 | 400 | 0.0004 | 15063 | 14928 | 135 | 13500 | 0.0135
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 61181 | 61134 | 47 | 4700 | 0.0047 | 100950 | 100515 | 435 | 43500 | 0.0435
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 629 | 629 | 0 | 0 | 0 | 1005 | 1005 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10255 | 10244 | 11 | 1100 | 0.0011 | 3290 | 3245 | 45 | 4500 | 0.0045
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0041 |  |  |  |  | 0.0572
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0041 |  |  |  |  | 0.0572
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0066 |  |  |  |  | 0.4195
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0107 |  |  |  |  | 0.4767
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0107 | (REACTIVE MUs) |  |  |  | 0.4767 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.02116 | (REACTIVE MUs) |  |  |  | -0.032106 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.03186 | (REACTIVE MUs) |  |  |  | 0.44459 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FABRUARY-2017
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 1004355 | 998804 | 5551 | 555100 | 0.5551 | 2191 | 2179 | 12 | 1200 | 0.0012
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 27484 | 30271 | -2787 | -278700 | -0.2787 | 2881 | 2881 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 3336 | 3436 | -100 | -50000 | -0.05 | 1387 | 1397 | -10 | -5000 | -0.005
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 771 | 635 | 136 | 127500 | 0.1275 | 0 | 0 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5129957 | ELSTER | Kvarh(Lead/Lag) | 250 | 998845 | 999127 | -282 | -70500 | -0.0705 | 990297 | 990350 | -53 | -13250 | -0.01325
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 982886 | 983186 | -300 | 150000 | 0.15 | 976486 | 976490 | -4 | 2000 | 0.002
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 999999 | 999999 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.4334 |  |  |  |  | -0.01505
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 987999 | 989434 | -1435 | -287000 | -0.287 | 999740 | 999740 | 0 | 0 | 0
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 910689 | 914394 | -3705 | -1389375 | -1.3894 | 997279 | 997279 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.6764 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 288748 | 287275 | 1473 | 294600 | 0.2946 | 267822 | 267828 | -6 | -1200 | -0.0012
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 187874 | 178522 | 9352 | 935200 | 0.9352 | 998992 | 998992 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 95992 | 78545 | 17447 | 1090437.5 | 1.0904 | 986845 | 986845 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 169 | 93 | 76 | 60800 | 0.0608 | 356 | 356 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 990524 | 991983 | -1459 | -145900 | -0.1459 | 999590 | 999595 | -5 | -500 | -0.0005
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 998871 | 998790 | 81 | 12150 | 0.01215 | 994959 | 994711 | 248 | 37200 | 0.0372
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999013 | 999101 | -88 | 220000 | 0.22 | 3071 | 3071 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 999999 | 999999 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 2.4673 |  |  |  |  | 0.0355
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.4334 |  |  |  |  | -0.01505
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.6764 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 2.4673 |  |  |  |  | 0.0355

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FABRUARY-2017
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 36070 | 34583 | 1487 | 2974000 | 2.974 | 1831 | 1806 | 25 | 50000 | 0.05
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 5890 | 5332 | 558 | 2790000 | 2.79 | 171 | 157 | 14 | 70000 | 0.07
[7 empty] | NET REACTIVE ENERGY |  |  | 5.764 |  | NET REACTIVE ENERGY |  |  | 0.12
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 5.764 |  |  |  |  | 0.12
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -1.4777 |  |  |  |  | -3.5496
[7 empty] | NDMC = |  |  | -1.6684 |  |  |  |  | -0.5424
MES =
[7 empty] | 2)TOTAL |  |  | -3.1461 |  |  |  |  | -4.092
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 2.6179 |  |  |  |  | -3.972
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 33.3665 | % |  |  | 0.87348 |  |  |  |  | -1.3253
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 39.2847 | % |  |  | 1.0284 |  |  |  |  | -1.5604
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.0866 | % |  |  | 0.57819 |  |  |  |  | -0.87728
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.4539 | % |  |  | 0.1166 |  |  |  |  | -0.17691
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.8083 | % |  |  | 0.02116 |  |  |  |  | -0.032106
Note :Sharing taken from wk-48 abt bill 2016-17

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st FEBRAURY-2017 TO 1st MARCH-2017
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -17.4794 |  | -2.2046
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -15.53 |  | -0.16994
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -4.5543 |  | -1.8506
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 0.82282 |  | -0.75656
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.03186 | + | 0.44459
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2017 | INTIAL READING 01/02/2017 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 4864 | 3599 | 1265 | 948750 | 0.94875 | 0 | 0 | 0 | 0 | 0 | w.e.f 14/10/2016
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 993648 | 992789 | 859 | 1288500 | 1.2885 | 991971 | 991971 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 870402 | 875350 | -4948 | -3711000 | -3.711 | 998643 | 998643 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -1.4737 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 999513 | 999412 | 101 | 505000 | 0.505 | 9268 | 9292 | -24 | -120000 | -0.12
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 956116 | 956862 | -746 | -746000 | -0.746
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 973317 | 973238 | 79 | 79000 | 0.079 | 995617 | 994313 | 1304 | 1304000 | 1.304
[8 empty] | NET REACTIVE ENERGY |  | 0.584 |  |  | NET REACTIVE ENERGY |  | 0.438