## NDPL
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999810 | 1001833 | -2023 | 2023000 | 2.023 | 999721 | 999721 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11248 | 9444 | 1804 | -1804000 | -1.804 | 998764 | 998764 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965003 | 967603 | -2600 | 2600000 | 2.6 | 995723 | 995723 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998933 | 999008 | -75 | 75000 | 0.075 | 973030 | 973323 | -293 | 293000 | 0.293
5 | Tx.2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1928 | 2252 | -324 | 324000 | 0.324 | 999110 | 999159 | -49 | 49000 | 0.049
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23665 | 23717 | -52 | 52000 | 0.052 | 17606 | 17606 | 0 | 0 | 0
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999897 | 1000077 | -180 | 180000 | 0.18 | 999713 | 999713 | 0 | 0 | 0
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 11075 | 11808 | -733 | 916250 | 0.91625 | 991918 | 991918 | 0 | 0 | 0
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992337 | 994035 | -1698 | 1698000 | 1.698 | 981193 | 981193 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999475 | 999469 | 6 | -6000 | -0.006 | 20 | 20 | 0 | 0 | 0
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999532 | 999518 | 14 | -14000 | -0.014 | 3 | 3 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976621 | 977885 | -1264 | 1264000 | 1.264 | 997757 | 997757 | 0 | 0 | 0
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 946963 | 954558 | -7595 | -7595000 | -7.595 | 999983 | 999983 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982967 | 982705 | 262 | -262000 | -0.262 | 16907 | 16908 | -1 | 1000 | 0.001
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6866 | 6027 | 839 | -839000 | -0.839 | 20580 | 20578 | 2 | -2000 | -0.002
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13652 | 12714 | 938 | -938000 | -0.938 | 264 | 252 | 12 | -12000 | -0.012
NARAINA
17 | O/G REWARI LINE 1(payal) | 5295159 | ELSTER | Kvarh(Lead/Lag) | 400 | 1000016 | 999996 | 20 | 8000 | 0.008 | 6608 | 6294 | 314 | 125600 | 0.1256
[5 empty] | 400 | [5 empty] | 999149 | 998566 | 583 | 233200 | 0.2332
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 793 | 783 | 10 | 10000 | 0.01 | 27731 | 27640 | 91 | 91000 | 0.091
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 642 | 250 | 392 | 196000 | 0.196 | 55 | 24 | 31 | 15500 | 0.0155
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 125964 | 122359 | 3605 | 360500 | 0.3605 | 254134 | 253916 | 218 | 21800 | 0.0218
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996206 | 996376 | -170 | -170000 | -0.17 | 992707 | 992861 | -154 | -154000 | -0.154
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 513 | 564 | -51 | -51000 | -0.051 | 1059 | 1265 | -206 | -206000 | -0.206
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 71430 | 65201 | 6229 | 622900 | 0.6229 | 7139 | 7135 | 4 | 400 | 0.0004
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 632117 | 633773 | -1656 | -1656000 | -1.656 | 796080 | 796080 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 625274 | 626243 | -969 | -969000 | -0.969 | 829250 | 829250 | 0 | 0 | 0
26 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | 400 | 1061 | 698 | 363 | 145200 | 0.1452 | 999053 | 999053 | 0 | 0 | 0
[10 empty] | -0.1674 |  |  |  |  | 0.0132 | Last Month Assessment
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 5664 | 5502 | 162 | 81000 | 0.081 | 2307 | 2305 | 2 | 1000 | 0.001
KANJAWALA
28 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23706 | 23706 | 0 | 0 | 0 | 980859 | 980859 | 0 | 0 | 0 | Meter Faulty
[10 empty] | 0.878 |  |  |  |  | 0 | Assessment
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12873 | 11894 | 979 | -979000 | -0.979 | 996755 | 996746 | 9 | -9000 | -0.009
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984101 | 984561 | -460 | 460000 | 0.46 | 999832 | 999835 | -3 | 3000 | 0.003
[5 empty] | -1000 | 992408 | 992815 | -407 | 407000 | 0.407
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7392 | 6824 | 568 | -568000 | -0.568 | 999560 | 999560 | 0 | 0 | 0
DSIDC BAWANA
32 | 66KV TX.1 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36387 | 30889 | 5498 | -5498000 | -5.498 | 12 | 12 | 0 | 0 | 0
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14587 | 13160 | 1427 | -1427000 | -1.427 | 998816 | 998816 | 0 | 0 | 0
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29740 | 26725 | 3015 | -3015000 | -3.015 | 1594 | 1594 | 0 | 0 | 0
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7731 | 6623 | 1108 | -1108000 | -1.108 | 998414 | 998414 | 0 | 0 | 0
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977 | 248 | 729 | -729000 | -0.729 | 0 | 0 | 0 | 0 | 0
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993176 | 993176 | 0 | 0 | 0 | 998743 | 998743 | 0 | 0 | 0
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11213 | 9246 | 1967 | -1967000 | -1.967 | 1400 | 1402 | -2 | 2000 | 0.002
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2059 | 2073 | -14 | -14000 | -0.014 | 27146 | 27126 | 20 | 20000 | 0.02
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 1751 | 290 | 1461 | 146100 | 0.1461 | 25281 | 26050 | -769 | -76900 | -0.0769
| NDPL(+) continue | [14 empty] | NOVEMBER-2016
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
42 | 20MVA Tx-2 | 4902503 | ELSTER | Kvarh(Lead/Lag) | 416.66 | 998352 | 998115 | 237 | 98748.42 | 0.098748 | 257 | 255 | 2 | 833.32 | 0.00083332
VISHAL
43 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9135 | 9135 | 0 | 0 | 0 | 37478 | 37478 | 0 | 0 | 0
44 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 12253 | 12240 | 13 | 1300 | 0.0013 | 72860 | 72152 | 708 | 70800 | 0.0708
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 728 | 724 | 4 | 400 | 0.0004 | 13063 | 12346 | 717 | 71700 | 0.0717
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 13682 | 13681 | 1 | 100 | 0.0001 | 11828 | 11825 | 3 | 300 | 0.0003 | Data till 02/11
[10 empty] | 0.052 |  |  |  |  | 0.042 | Assessment
47 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
|  | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 19/11/16
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 999899 | 999949 | -50 | -5000 | -0.005 | 4337 | 4165 | 172 | 17200 | 0.0172
52 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989743 | 989745 | -2 | -88.88 | -8.888e-05 | 390 | 390 | 0 | 0 | 0
B.G.ROAD
53 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5626 | 5652 | -26 | -13000 | -0.013 | 34437 | 34425 | 12 | 6000 | 0.006
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999934 | 999993 | -59 | -29500 | -0.0295 | 548 | 544 | 4 | 2000 | 0.002
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 244 | 203 | 41 | 27333.47 | 0.027333 | 107 | 107 | 0 | 0 | 0
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 2882 | 2821 | 61 | 40666.6667 | 0.040667 | 1333 | 1331 | 2 | 1333.3333 | 0.0013333
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997928 | 998366 | -438 | -43800 | -0.0438 | 1168 | 1116 | 52 | 5200 | 0.0052
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999754 | 999755 | -1 | -100 | -0.0001 | 6 | 5 | 1 | 100 | 0.0001
59 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23922 | 23956 | -34 | -3400 | -0.0034 | 57834 | 57841 | -7 | -700 | -0.0007
60 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
62 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
63 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1818 | 1983 | -165 | -16500 | -0.0165 | 6260 | 6401 | -141 | -14100 | -0.0141
64 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 28013 | 28256 | -243 | -24300 | -0.0243 | 67784 | 67790 | -6 | -600 | -0.0006
65 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7583 | 7089 | 494 | 49400 | 0.0494 | 2315 | 2296 | 19 | 1900 | 0.0019
KASHMIRI GATE
66 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 198037 | 195852 | 2185 | 218500 | 0.2185 | 19852 | 19852 | 0 | 0 | 0
67 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 24712 | 24537 | 175 | 17500 | 0.0175 | 51015 | 51014 | 1 | 100 | 0.0001
68 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 462 | 462 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
69 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995610 | 995610 | 0 | 0 | 0 | 69 | 69 | 0 | 0 | 0
70 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999919 | 999919 | 0 | 0 | 0 | 9 | 9 | 0 | 0 | 0
MUNDKA
71 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 972115 | 972849 | -734 | -587200 | -0.5872 | 996608 | 996608 | 0 | 0 | 0
72 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 2016 | 2073 | -57 | -114000 | -0.114 | 1097 | 1097 | 0 | 0 | 0
PEERAGARHI
73 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | RANI BAGH(L-2) | 4864811 | ELSTER | Kvarh(Lead/Lag) | 100 | 1000000 | 999739 | 261 | 26100 | 0.0261 | 999868 | 999865 | 3 | 300 | 0.0003
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -17.6343 |  |  |  |  | 0.61417
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 5019 | 3549 | 1470 | -147000 | -0.147 | 6253 | 5585 | 668 | -66800 | -0.0668
MANGOLPURI
2 | NANGLOI-2 EXP | 4864959 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15002 | 14929 | 73 | -73000 | -0.073 | 7133 | 7132 | 1 | -1000 | -0.001 | Check Meter Data
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 12344 | 12272 | 72 | -14400 | -0.0144 | 21078 | 20956 | 122 | -24400 | -0.0244
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86395 | 86185 | 210 | -210000 | -0.21 | 123323 | 123262 | 61 | -61000 | -0.061
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864813 | ELSTER | Kvarh(Lead/Lag) | -100 | 18913 | 19335 | -422 | 42200 | 0.0422 | 143180 | 143180 | 0 | 0 | 0 | Check Meter Data
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 993101 | 996201 | -3100 | 2480000 | 2.48 | 999987 | 999999 | -12 | 9600 | 0.0096
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 2.0778 |  |  |  |  | -0.1436
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -17.6343 |  |  |  |  | 0.61417
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 2.0778 |  |  |  |  | -0.1436
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.78774 |  |  |  |  | -0.028375
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -14.7688 |  |  |  |  | 0.44219
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -14.7688 | (REACTIVE MUs) |  |  |  | 0.44219 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 2.643 | (REACTIVE MUs) |  |  |  | -2.1775 | (REACTIVE MUs)
[9 empty] | TOTAL | -12.1258 | (REACTIVE MUs) |  |  |  | -1.7353 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | NOVEMBER-2016
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 14445 | 15607 | -1162 | -116200 | -0.1162 | 2145 | 2147 | -2 | -200 | -0.0002
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 7792 | 8164 | -372 | -111600 | -0.1116 | 1486 | 1502 | -16 | -4800 | -0.0048
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 22294 | 17898 | 4396 | 329700 | 0.3297 | 10227 | 9777 | 450 | 33750 | 0.03375
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 999653 | 999794 | -141 | -42300 | -0.0423 | 5270 | 5271 | -1 | -300 | -0.0003
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1817 | 1761 | 56 | 74664.8 | 0.074665 | 2682 | 2678 | 4 | 5333.2 | 0.0053332
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 35470 | 35885 | -415 | -41500 | -0.0415 | 171769 | 171767 | 2 | 200 | 0.0002
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 1004287 | 994387 | 9900 | 742500 | 0.7425 | 1216 | 1190 | 26 | 1950 | 0.00195
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989248 | 989317 | -69 | -69000 | -0.069 | 1888 | 1888 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997473 | 997548 | -75 | -75000 | -0.075 | 3367 | 3367 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999933 | 1000044 | -111 | -111000 | -0.111 | 771 | 771 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996755 | 996959 | -204 | -204000 | -0.204 | 1691 | 1691 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994818 | 994931 | -113 | -113000 | -0.113 | 5249 | 5249 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998179 | 998328 | -149 | -149000 | -0.149 | 999138 | 999138 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999212 | 999293 | -81 | -81000 | -0.081 | 17363 | 17363 | 0 | 0 | 0 | Data till 16/11
|  | 4864868 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999192 | 999204 | -12 | -12000 | -0.012 | 16397 | 16396 | 1 | 1000 | 0.001 | Check Meter Data
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999590 | 999814 | -224 | -179200 | -0.1792 | 1249 | 1249 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999736 | 999736 | 0 | 0 | 0 | 29610 | 29610 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1296 | 1252 | 44 | 44000 | 0.044 | 9721 | 9721 | 0 | 0 | 0
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 12172 | 12086 | 86 | 8600 | 0.0086 | 358 | 358 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999901 | 998643 | 1258 | 1258000 | 1.258 | 15632 | 15632 | 0 | 0 | 0
GT
20 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1375 | 999998 | 999999 | -1 | -1375 | -0.001375 | 957592 | 960015 | -2423 | -3331625 | -3.3316
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 659319 | 661206 | -1887 | -2075700 | -2.0757
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979345 | 980324 | -979 | -979000 | -0.979 | 7821 | 7821 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -0.66297 |  |  |  |  | -5.4063
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 949064 | 949978 | -914 | 914000 | 0.914 | 941599 | 941599 | 0 | 0 | 0
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961239 | 961647 | -408 | 408000 | 0.408 | 954786 | 954786 | 0 | 0 | 0
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 462 | 462 | 0 | 0 | 0
NARAINA
26 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999994 | 1000000 | -6 | -6000 | -0.006 | 1444 | 1244 | 200 | 200000 | 0.2 | w.e.f 23/09/16
PARK STREET
27 | TX.-1 (66KV) | 5295161 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15219 | 4821 | 10398 | -10398000 | -10.398 | 997404 | 997404 | 0 | 0 | 0
28 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2757 | 592 | 2165 | -2165000 | -2.165 | 999993 | 999996 | -3 | 3000 | 0.003 | w.e.f 26/10/16
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992867 | 994116 | -1249 | 1249000 | 1.249 | 993699 | 993744 | -45 | 45000 | 0.045
30 | TX.-2(33KV) | 4864944 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999531 | 999510 | 21 | -21000 | -0.021 | 30 | 30 | 0 | 0 | 0 | Check Meter Data
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7154 | 6664 | 490 | -980000 | -0.98 | 999037 | 999043 | -6 | 12000 | 0.012
32 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1370 | 1650 | -280 | 280000 | 0.28 | 999998 | 999998 | 0 | 0 | 0 | w.e.f 06/09/16
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999135 | 999740 | -605 | 605000 | 0.605 | 999855 | 999855 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 12344 | 12272 | 72 | 14400 | 0.0144 | 21078 | 20956 | 122 | 24400 | 0.0244
35 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 86395 | 86185 | 210 | 210000 | 0.21 | 123323 | 123262 | 61 | 61000 | 0.061
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 100 | 999138 | 999628 | -490 | -49000 | -0.049 | 1149 | 1155 | -6 | -600 | -0.0006
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 151725 | 151736 | -11 | -1100 | -0.0011 | 52229 | 52048 | 181 | 18100 | 0.0181
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -9.7674 |  |  |  |  | -5.0075
| (A) NET ENERGY TO CENTRAL | [8 empty] | -9.7674 |  |  |  |  | -5.0075
NOVEMBER-2016
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980680 | 981173 | -493 | 493000 | 0.493 | 883080 | 883123 | -43 | 43000 | 0.043
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999723 | 999966 | -243 | 243000 | 0.243 | 974032 | 974060 | -28 | 28000 | 0.028
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979227 | 979910 | -683 | 683000 | 0.683 | 948987 | 949023 | -36 | 36000 | 0.036 | Data till 28/11
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 995097 | 995985 | -888 | 1776000 | 1.776 | 975389 | 975410 | -21 | 42000 | 0.042
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997923 | 997287 | 636 | -636000 | -0.636 | 634 | 634 | 0 | 0 | 0
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994139 | 993962 | 177 | -177000 | -0.177 | 999967 | 999971 | -4 | 4000 | 0.004
7 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8207 | 8222 | -15 | 15000 | 0.015 | 983384 | 983384 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993165 | 996417 | -3252 | 3252000 | 3.252 | 979033 | 979033 | 0 | 0 | 0
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990013 | 991034 | -1021 | 1021000 | 1.021 | 996316 | 996316 | 0 | 0 | 0
GEETA COLONY
11 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980523 | 980922 | -399 | 399000 | 0.399 | 968542 | 968542 | 0 | 0 | 0
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959403 | 959669 | -266 | 266000 | 0.266 | 833422 | 833466 | -44 | 44000 | 0.044
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15522 | 15199 | 323 | -323000 | -0.323 | 33780 | 33776 | 4 | -4000 | -0.004
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1189 | 707 | 482 | -482000 | -0.482 | 999778 | 999772 | 6 | -6000 | -0.006 | Data till 28/11
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971263 | 972233 | -970 | 970000 | 0.97 | 920013 | 920017 | -4 | 4000 | 0.004
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 7.5 |  |  |  |  | 0.191
| (B) NET ENERGY TO EAST | [8 empty] | 7.5 |  |  |  |  | 0.191
NOVEMBER-2016
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | -400 | 1061 | 698 | 363 | -145200 | -0.1452 | 999053 | 999053 | 0 | 0 | 0
[10 empty] | 0.1674 |  |  |  |  | -0.0132 | Last Month Assessment
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 5664 | 5502 | 162 | -81000 | -0.081 | 2307 | 2305 | 2 | -1000 | -0.001
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 54790 | 54692 | 98 | -19600 | -0.0196 | 85481 | 85479 | 2 | -400 | -0.0004
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 71835 | 72269 | -434 | 43400 | 0.0434 | 139301 | 139310 | -9 | 900 | 0.0009
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 975801 | 976547 | -746 | 149200 | 0.1492 | 996535 | 996542 | -7 | 1400 | 0.0014
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 3120 | 1142 | 1978 | -395600 | -0.3956 | 800 | 729 | 71 | -14200 | -0.0142
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 15512 | 14952 | 560 | -448000 | -0.448 | 10514 | 10513 | 1 | -800 | -0.0008
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 14429 | 14268 | 161 | -322000 | -0.322 | 3801 | 3801 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 976714 | 977396 | -682 | 545600 | 0.5456 | 988212 | 988212 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 993336 | 996434 | -3098 | 2478400 | 2.4784 | 993857 | 993858 | -1 | 800 | 0.0008
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 995972 | 997456 | -1484 | 1187200 | 1.1872 | 997715 | 997716 | -1 | 800 | 0.0008
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 982836 | 983792 | -956 | 764800 | 0.7648 | 994073 | 994073 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981911 | 983196 | -1285 | 1285000 | 1.285 | 34257 | 34260 | -3 | 3000 | 0.003
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2059 | 2073 | -14 | 14000 | 0.014 | 27146 | 27126 | 20 | -20000 | -0.02
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 1751 | 290 | 1461 | -146100 | -0.1461 | 25281 | 26050 | -769 | 76900 | 0.0769
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5626 | 5652 | -26 | 13000 | 0.013 | 34437 | 34425 | 12 | -6000 | -0.006
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999934 | 999993 | -59 | 29500 | 0.0295 | 548 | 544 | 4 | -2000 | -0.002
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 244 | 203 | 41 | -27333.47 | -0.027333 | 107 | 107 | 0 | 0 | 0
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 2882 | 2821 | 61 | -40666.6667 | -0.040667 | 1333 | 1331 | 2 | -1333.3333 | -0.0013333
KASHMIRI GATE
22 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 198037 | 195852 | 2185 | -218500 | -0.2185 | 19852 | 19852 | 0 | 0 | 0
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 24712 | 24537 | 175 | -17500 | -0.0175 | 51015 | 51014 | 1 | -100 | -0.0001
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997928 | 998366 | -438 | 43800 | 0.0438 | 1168 | 1116 | 52 | -5200 | -0.0052
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999754 | 999755 | -1 | 100 | 0.0001 | 6 | 5 | 1 | -100 | -0.0001
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23922 | 23956 | -34 | 3400 | 0.0034 | 57834 | 57841 | -7 | 700 | 0.0007
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1818 | 1983 | -165 | 16500 | 0.0165 | 6260 | 6401 | -141 | 14100 | 0.0141
31 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 28013 | 28256 | -243 | 24300 | 0.0243 | 67784 | 67790 | -6 | 600 | 0.0006
32 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7583 | 7089 | 494 | -49400 | -0.0494 | 2315 | 2296 | 19 | -1900 | -0.0019
[10 empty] | 4.8547 |  |  |  |  | 0.032967
NOVEMBER-2016
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -9.7674 |  |  |  |  | -5.0075
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 4.8547 |  |  |  |  | 0.032967
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.9769 |  |  |  |  | 0.0004
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -5.8896 |  |  |  |  | -4.9741
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 7.5 |  |  |  |  | 0.191
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 1.6104 |  |  |  |  | -4.7831
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.6104 | (REACTIVE MUs) |  |  |  | -4.7831 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.9153 | (REACTIVE MUs) |  |  |  | -1.578 | (REACTIVE MUs)
[9 empty] | TOTAL | 3.5257 | (REACTIVE MUs) |  |  |  | -6.3611 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | NOVEMBER-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999615 | 999660 | -45 | -225000 | -0.225 | 999833 | 999833 | 0 | 0 | 0
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984825 | 985019 | -194 | -258666.02 | -0.25867 | 673055 | 673058 | -3 | -3999.99 | -0.004
3 | BAY-13 | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 1751 | 290 | 1461 | 146100 | 0.1461 | 25281 | 26050 | -769 | -76900 | -0.0769
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 16984 | 16980 | 4 | 4000 | 0.004 | 412 | 408 | 4 | 4000 | 0.004
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 17243 | 16335 | 908 | 90800 | 0.0908 | 4132 | 4096 | 36 | 3600 | 0.0036
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 727681 | 730627 | -2946 | -220950 | -0.22095 | 23419 | 23423 | -4 | -300 | -0.0003
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 983867 | 985439 | -1572 | -117900 | -0.1179 | 997376 | 997421 | -45 | -3375 | -0.003375
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997514 | 997710 | -196 | -176400 | -0.1764 | 998446 | 998438 | 8 | 7200 | 0.0072
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 6883 | 3422 | 3461 | -1730500 | -1.7305 | 988853 | 988853 | 0 | 0 | 0
11 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000265 | 999840 | 425 | -425000 | -0.425 | 999995 | 1000000 | -5 | 5000 | 0.005
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997199 | 997199 | 0 | 0 | 0 | 996297 | 996297 | 0 | 0 | 0
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1560 | 1549 | 11 | -11000 | -0.011 | 999887 | 999899 | -12 | 12000 | 0.012
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964542 | 964968 | -426 | 426000 | 0.426 | 968057 | 968074 | -17 | 17000 | 0.017
[5 empty] | -1000 | 997819 | 998291 | -472 | 472000 | 0.472
PAAPANKALAN-II
15 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984692 | 981863 | 2829 | -2829000 | -2.829 | 967119 | 967119 | 0 | 0 | 0
16 | Tx.2 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 55918 | 45624 | 10294 | -10294000 | -10.294 | 13308 | 13308 | 0 | 0 | 0
17 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36664 | 36300 | 364 | -364000 | -0.364 | 984850 | 984850 | 0 | 0 | 0
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997843 | 998304 | -461 | 461000 | 0.461 | 954095 | 954095 | 0 | 0 | 0
NAJAFGARH
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -500 | 998189 | 1000010 | -1821 | 910500 | 0.9105 | 992062 | 991822 | 240 | -120000 | -0.12
20 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997921 | 998767 | -846 | 846000 | 0.846 | 994931 | 994937 | -6 | 6000 | 0.006
21 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18038 | 19412 | -1374 | 1374000 | 1.374 | 997445 | 997368 | 77 | -77000 | -0.077
22 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13845 | 14683 | -838 | 838000 | 0.838 | 999128 | 999135 | -7 | 7000 | 0.007
IMPORT
MANGOLPURI
23 | NANGLOI-2 (03) IMP. | 4864959 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15002 | 14929 | 73 | 73000 | 0.073 | 7133 | 7132 | 1 | 1000 | 0.001 | Check Meter Data
LODHI ROAD
24 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980894 | 982722 | -1828 | 1828000 | 1.828 | 986217 | 986217 | 0 | 0 | 0
25 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991738 | 992130 | -392 | 392000 | 0.392 | 986112 | 986112 | 0 | 0 | 0
OKHLA
26 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994618 | 994779 | -161 | 161000 | 0.161 | 991564 | 991587 | -23 | 23000 | 0.023
27 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989159 | 989536 | -377 | 377000 | 0.377 | 932613 | 932657 | -44 | 44000 | 0.044
28 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000054 | 999998 | 56 | -56000 | -0.056 | 34412 | 34429 | -17 | 17000 | 0.017
29 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998074 | 997943 | 131 | -131000 | -0.131 | 996849 | 996852 | -3 | 3000 | 0.003
30 | Tx.4 (33 KV)-Ckt No. 5 | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995920 | 995807 | 113 | -113000 | -0.113 | 862069 | 862125 | -56 | 56000 | 0.056
BRPL(+) continue | [14 empty] | NOVEMBER-2016
VASANT KUNJ
31 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000205 | 999660 | 545 | -545000 | -0.545 | 0 | 0 | 0 | 0 | 0 | w.e.f 19/10/16
32 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 999875 | 998715 | 1160 | -580000 | -0.58 | 998139 | 998139 | 0 | 0 | 0
33 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 9483 | 8960 | 523 | -1046000 | -1.046 | 969503 | 969503 | 0 | 0 | 0
MEHRAULI
34 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993832 | 993668 | 164 | -164000 | -0.164 | 900317 | 900327 | -10 | 10000 | 0.01
35 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994405 | 994405 | 0 | 0 | 0 | 927475 | 927475 | 0 | 0 | 0
36 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997718 | 997538 | 180 | -180000 | -0.18 | 985479 | 985487 | -8 | 8000 | 0.008
37 | Tx.4 | 5295171 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000065 | 999265 | 800 | -800000 | -0.8 | 6106 | 6140 | -34 | 34000 | 0.034
RIDGE VALLEY
38 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 968807 | 969575 | -768 | 511999.488 | 0.512 | 967287 | 967292 | -5 | 3333.33 | 0.0033333
39 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 991983 | 991696 | 287 | -717500 | -0.7175 | 999814 | 999814 | 0 | 0 | 0
DIAL
40 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5134 | 4866 | 268 | -536000 | -0.536 | 1923 | 1923 | 0 | 0 | 0
41 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2093 | 1797 | 296 | -592000 | -0.592 | 974 | 974 | 0 | 0 | 0
MASJID MOD
42 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 918522 | 920148 | -1626 | 1626000 | 1.626 | 983892 | 983904 | -12 | 12000 | 0.012
43 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 927673 | 928805 | -1132 | 1132000 | 1.132 | 987336 | 987336 | 0 | 0 | 0
MUNDKA
44 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
45 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 30238 | 30581 | -343 | -274400 | -0.2744 | 6349 | 6349 | 0 | 0 | 0
46 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 904850 | 905624 | -774 | -619200 | -0.6192 | 997110 | 997110 | 0 | 0 | 0
| 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
48 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 999920 | 999899 | 21 | 16800 | 0.0168 | 999790 | 999790 | 0 | 0 | 0
49 | BAY No 616 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999917 | 999941 | -24 | -24000 | -0.024 | 617 | 617 | 0 | 0 | 0
PARK STREET
50 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981911 | 983196 | -1285 | -1285000 | -1.285 | 34257 | 34260 | -3 | -3000 | -0.003
51 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
52 | TX-1 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6271 | 3145 | 3126 | -3126000 | -3.126 | 999976 | 999976 | 0 | 0 | 0
53 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3295 | 2259 | 1036 | -1036000 | -1.036 | 999236 | 999236 | 0 | 0 | 0
54 | Tx-3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29192 | 28410 | 782 | -782000 | -0.782 | 999917 | 999917 | 0 | 0 | 0
[5 empty] | -1000 | 25595 | 21109 | 4486 | -4486000 | -4.486
NARAINA
55 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 5019 | 3549 | 1470 | 147000 | 0.147 | 6253 | 5585 | 668 | 66800 | 0.0668
SUDARSHAN PARK
56 | VISHAL | 4864813 | ELSTER | Kvarh(Lead/Lag) | 100 | 18913 | 19335 | -422 | -42200 | -0.0422 | 143180 | 143180 | 0 | 0 | 0 | Check Meter Data
57 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 999206 | 999773 | -567 | -226800 | -0.2268 | 395 | 402 | -7 | -2800 | -0.0028
58 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 809 | 1168 | -359 | -143600 | -0.1436 | 577 | 577 | 0 | 0 | 0
REWARI LINE
59 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
KANJAWALA
60 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 993101 | 996201 | -3100 | -2480000 | -2.48 | 999987 | 999999 | -12 | -9600 | -0.0096
Trauma Centre
61 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 140800 | 119633 | 21167 | 2116700 | 2.1167 | 259 | 259 | 0 | 0 | 0
62 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 100 | 764 | 609 | 155 | 15500 | 0.0155 | 160 | 160 | 0 | 0 | 0
A.I.I.M.S.
63 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 5080 | 4363 | 717 | 53775 | 0.053775 | 11805 | 11805 | 0 | 0 | 0
64 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 1855 | 1531 | 324 | 32400 | 0.0324 | 4218 | 4218 | 0 | 0 | 0
PEERGARHI
65 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 1000 | 600 | 82 | 518 | 518000 | 0.518 | 2633 | 2633 | 0 | 0 | 0
66 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 631 | 463 | 168 | 168000 | 0.168 | 3593 | 3592 | 1 | 1000 | 0.001
67 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998104 | 998333 | -229 | -229000 | -0.229 | 1234 | 1232 | 2 | 2000 | 0.002
68 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1127 | 1246 | -119 | -119000 | -0.119 | 6126 | 6126 | 0 | 0 | 0
69 | PASCHIM PURI - I (L-7) | 5269791 | ELSTER | Kvarh(Lead/Lag) | 2000 | 266 | 266 | 0 | 0 | 0 | 1077 | 1077 | 0 | 0 | 0
70 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 998968 | 998883 | 85 | 8500 | 0.0085 | 42330 | 42320 | 10 | 1000 | 0.001
71 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
72 | PEERGARHI - 2(L-10) | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 386 | 518 | -132 | -132000 | -0.132 | 4896 | 4886 | 10 | 10000 | 0.01
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -22.372 |  |  |  |  | 0.056958
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 159895 | 159177 | 718 | -71800 | -0.0718 | 912835 | 912835 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -100 | 999138 | 999628 | -490 | 49000 | 0.049 | 1149 | 1155 | -6 | 600 | 0.0006
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 151725 | 151736 | -11 | 1100 | 0.0011 | 52229 | 52048 | 181 | -18100 | -0.0181
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996363 | 996367 | -4 | 400 | 0.0004 | 838 | 838 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6439 | 6373 | 66 | -132000 | -0.132 | 74966 | 74966 | 0 | 0 | 0 | Data till 28/11
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15107 | 14866 | 241 | -241000 | -0.241 | 741 | 741 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 906781 | 906656 | 125 | -62500 | -0.0625 | 61329 | 61324 | 5 | -2500 | -0.0025
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 994836 | 994836 | 0 | 0 | 0 | 2916 | 2916 | 0 | 0 | 0 | Data upto 15/11/16
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 79611 | 79612 | -1 | 100 | 0.0001 | 70842 | 70842 | 0 | 0 | 0
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 90935 | 89229 | 1706 | -170600 | -0.1706 | 71213 | 71213 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 23186 | 20645 | 2541 | -254100 | -0.2541 | 21831 | 21831 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999245 | 999369 | -124 | -62000 | -0.062 | 17069 | 17069 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 376176 | 371540 | 4636 | -463600 | -0.4636 | 49059 | 49059 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 4930 | 4927 | 3 | -300 | -0.0003 | 26603 | 26584 | 19 | -1900 | -0.0019
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4902503 | ELSTER | Kvarh(Lead/Lag) | -416.66 | 998352 | 998115 | 237 | -98748.42 | -0.098748 | 257 | 255 | 2 | -833.32 | -0.00083332
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9135 | 9135 | 0 | 0 | 0 | 37478 | 37478 | 0 | 0 | 0
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 12253 | 12240 | 13 | -1300 | -0.0013 | 72860 | 72152 | 708 | -70800 | -0.0708
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 728 | 724 | 4 | -400 | -0.0004 | 13063 | 12346 | 717 | -71700 | -0.0717
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 13682 | 13681 | 1 | -100 | -0.0001 | 11828 | 11825 | 3 | -300 | -0.0003 | Data till 02/11
[10 empty] | -0.052 |  |  |  |  | -0.042 | Assessment
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
|  | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 19/11/16
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 999899 | 999949 | -50 | 5000 | 0.005 | 4337 | 4165 | 172 | -17200 | -0.0172
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989743 | 989745 | -2 | 88.88 | 8.888e-05 | 390 | 390 | 0 | 0 | 0
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995610 | 995610 | 0 | 0 | 0 | 69 | 69 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999919 | 999919 | 0 | 0 | 0 | 9 | 9 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -1.5548 |  |  |  |  | -0.22473
NOVEMBER-2016
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -22.372 |  |  |  |  | 0.056958
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -1.5548 |  |  |  |  | -0.22473
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.45963 |  |  |  |  | -0.1067
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.3123 |  |  |  |  | -0.0382
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -23.7795 |  |  |  |  | -0.31267
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -23.7795 | (REACTIVE MUs) |  |  |  | -0.31267 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 3.6567 | (REACTIVE MUs) |  |  |  | -3.0127 | (REACTIVE MUs)
[9 empty] | TOTAL | -20.1227 | (REACTIVE MUs) |  |  |  | -3.3254 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 54790 | 54692 | 98 | 19600 | 0.0196 | 85481 | 85479 | 2 | 400 | 0.0004
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 71835 | 72269 | -434 | -43400 | -0.0434 | 139301 | 139310 | -9 | -900 | -0.0009
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 975801 | 976547 | -746 | -149200 | -0.1492 | 996535 | 996542 | -7 | -1400 | -0.0014
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 3120 | 1142 | 1978 | 395600 | 0.3956 | 800 | 729 | 71 | 14200 | 0.0142
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 15512 | 14952 | 560 | 448000 | 0.448 | 10514 | 10513 | 1 | 800 | 0.0008
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 14429 | 14268 | 161 | 322000 | 0.322 | 3801 | 3801 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 976714 | 977396 | -682 | -545600 | -0.5456 | 988212 | 988212 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 993336 | 996434 | -3098 | -2478400 | -2.4784 | 993857 | 993858 | -1 | -800 | -0.0008
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 995972 | 997456 | -1484 | -1187200 | -1.1872 | 997715 | 997716 | -1 | -800 | -0.0008
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 982836 | 983792 | -956 | -764800 | -0.7648 | 994073 | 994073 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 3677 | 4616 | -939 | -93900 | -0.0939 | 406294 | 406295 | -1 | -100 | -0.0001
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 994459 | 995794 | -1335 | -100125 | -0.10013 | 6009 | 6010 | -1 | -75 | -7.5e-05
13 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 28419 | 29013 | -594 | -59400 | -0.0594 | 383362 | 383330 | 32 | 3200 | 0.0032
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998851 | 998640 | 211 | 79125 | 0.079125 | 999988 | 999957 | 31 | 11625 | 0.011625
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 989716 | 990547 | -831 | -83100 | -0.0831 | 318500 | 318489 | 11 | 1100 | 0.0011
16 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 2970 | 3608 | -638 | -63800 | -0.0638 | 200148 | 200167 | -19 | -1900 | -0.0019
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 2829 | 3706 | -877 | -87700 | -0.0877 | 257986 | 257987 | -1 | -100 | -0.0001
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 81018 | 78770 | 2248 | 224800 | 0.2248 | 715895 | 715891 | 4 | 400 | 0.0004
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 1000000 | -1 | -1100 | -0.0011 | 103929 | 104774 | -845 | -929500 | -0.9295
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999611 | 999845 | -234 | -234000 | -0.234 | 44269 | 44269 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 144872 | 145641 | -769 | -845900 | -0.8459
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3531 | 3024 | 507 | 507000 | 0.507 | 58516 | 58516 | 0 | 0 | 0
[10 empty] | 0.2719 |  |  |  |  | -1.7754
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 6439 | 6373 | 66 | 132000 | 0.132 | 74966 | 74966 | 0 | 0 | 0 | Data upto 28/11
24 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15107 | 14866 | 241 | 241000 | 0.241 | 741 | 741 | 0 | 0 | 0
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 906781 | 906656 | 125 | 62500 | 0.0625 | 61329 | 61324 | 5 | 2500 | 0.0025
26 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 994836 | 994836 | 0 | 0 | 0 | 2916 | 2916 | 0 | 0 | 0 | Data upto 15/11/16
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999245 | 999369 | -124 | 62000 | 0.062 | 17069 | 17069 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
NOVEMBER-2016
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 946295 | 948271 | -1976 | 1976000 | 1.976 | 971331 | 971331 | 0 | 0 | 0
31 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984113 | 984113 | 0 | 0 | 0 | 995308 | 995308 | 0 | 0 | 0
[10 empty] | 0.992 |  |  |  |  | 0 | Assessment
|  | 5128457 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998988 | 1000000 | -1012 | 1012000 | 1.012 | 0 | 0 | 0 | 0 | 0 | w.e.f 21/11/16
ELECTRIC LANE
32 | 33KV TX-1 | 5128423 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961455 | 962299 | -844 | 844000 | 0.844 | 978948 | 978948 | 0 | 0 | 0 | Check Meter Data
|  | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999905 | 1000000 | -95 | 190000 | 0.19 | 0 | 0 | 0 | 0 | 0 | w.e.f 23/11/16
33 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976436 | 977545 | -1109 | 1109000 | 1.109 | 990447 | 990447 | 0 | 0 | 0
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 376176 | 371540 | 4636 | 463600 | 0.4636 | 49059 | 49059 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 4930 | 4927 | 3 | 300 | 0.0003 | 26603 | 26584 | 19 | 1900 | 0.0019
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 79611 | 79612 | -1 | -100 | -0.0001 | 70842 | 70842 | 0 | 0 | 0
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 90935 | 89229 | 1706 | 170600 | 0.1706 | 71213 | 71213 | 0 | 0 | 0
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 23186 | 20645 | 2541 | 254100 | 0.2541 | 21831 | 21831 | 0 | 0 | 0
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 159895 | 159177 | 718 | 71800 | 0.0718 | 912835 | 912835 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 140800 | 119633 | 21167 | -2116700 | -2.1167 | 259 | 259 | 0 | 0 | 0
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -100 | 764 | 609 | 155 | -15500 | -0.0155 | 160 | 160 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 5080 | 4363 | 717 | -53775 | -0.053775 | 11805 | 11805 | 0 | 0 | 0
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 1855 | 1531 | 324 | -32400 | -0.0324 | 4218 | 4218 | 0 | 0 | 0
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 3.599 |  |  |  |  | -1.7454
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 3.599 |  |  |  |  | -1.7454
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.42651 |  |  |  |  | -0.35139
| TOTAL ENERGY TO NDMC | [8 empty] | 4.0255 |  |  |  |  | -2.0967

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2016
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 425 | 0 | 425 | 85000 | 0.085 | 4080 | 3752 | 328 | 65600 | 0.0656 | w.e.f 14/09/2016
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1509 | 1487 | 22 | 22000 | 0.022 | 38676 | 38637 | 39 | 39000 | 0.039
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4055 | 3949 | 106 | 106000 | 0.106 | 47609 | 47437 | 172 | 172000 | 0.172
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 999929 | 1000047 | -118 | -15733.294 | -0.015733 | 38451 | 38607 | -156 | -20799.948 | -0.0208
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6334 | 5873 | 461 | 461000 | 0.461 | 11446 | 11445 | 1 | 1000 | 0.001
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12313 | 12564 | -251 | -125500 | -0.1255 | 61559 | 61601 | -42 | -21000 | -0.021
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996363 | 996367 | -4 | -400 | -0.0004 | 838 | 838 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.53237 |  |  |  |  | 0.2358
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3438 | 3438 | 0 | 0 | 0 | 34490 | 34490 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 56135 | 56159 | -24 | -2400 | -0.0024 | 87852 | 87687 | 165 | 16500 | 0.0165
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 77807 | 77529 | 278 | 27800 | 0.0278 | 14916 | 14916 | 0 | 0 | 0
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 60871 | 58002 | 2869 | 286900 | 0.2869 | 99158 | 98941 | 217 | 21700 | 0.0217
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 629 | 629 | 0 | 0 | 0 | 1005 | 1005 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10223 | 10083 | 140 | 14000 | 0.014 | 3212 | 3212 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.3123 |  |  |  |  | 0.0382
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.3123 |  |  |  |  | 0.0382
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.53237 |  |  |  |  | 0.2358
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.84467 |  |  |  |  | 0.274
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.84467 | (REACTIVE MUs) |  |  |  | 0.274 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.075393 | (REACTIVE MUs) |  |  |  | -0.062115 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.92006 | (REACTIVE MUs) |  |  |  | 0.21189 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2016
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 433 | 2553 | -2120 | -212000 | -0.212 | 2180 | 2192 | -12 | -1200 | -0.0012
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 29345 | 27880 | 1465 | 146500 | 0.1465 | 2881 | 2863 | 18 | 1800 | 0.0018
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 3990 | 4154 | -164 | -82000 | -0.082 | 1397 | 1396 | 1 | 500 | 0.0005
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 602 | 24 | 578 | 541875 | 0.54187 | 0 | 0 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5129957 | ELSTER | Kvarh(Lead/Lag) | 250 | 999931 | 999970 | -39 | -9750 | -0.00975 | 990553 | 990997 | -444 | -111000 | -0.111
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 983658 | 983808 | -150 | 75000 | 0.075 | 976554 | 976561 | -7 | 3500 | 0.0035
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 109 | 109 | 0 | 0 | 0 | 999964 | 999964 | 0 | 0 | 0
[10 empty] | 0 |  |  |  |  | -0.0001 | Asessment
|  | 4902559 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 999998 | 1000000 | -2 | -200 | -0.0002 | w.e.f 17/11/2016
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.45963 |  |  |  |  | -0.1067
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 992424 | 993521 | -1097 | -219400 | -0.2194 | 999740 | 999738 | 2 | 400 | 0.0004
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 921860 | 923880 | -2020 | -757500 | -0.7575 | 997279 | 997279 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.9769 |  |  |  |  | 0.0004
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 284044 | 283134 | 910 | 182000 | 0.182 | 267764 | 267744 | 20 | 4000 | 0.004
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 159795 | 156530 | 3265 | 326500 | 0.3265 | 998992 | 998984 | 8 | 800 | 0.0008
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 50479 | 45812 | 4667 | 291687.5 | 0.29169 | 986845 | 986827 | 18 | 1125 | 0.001125
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 180 | 140 | 40 | 32000 | 0.032 | 347 | 343 | 4 | 3200 | 0.0032
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 994882 | 995764 | -882 | -88200 | -0.0882 | 999595 | 999638 | -43 | -4300 | -0.0043
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 999065 | 999090 | -25 | -3750 | -0.00375 | 994456 | 994692 | -236 | -35400 | -0.0354
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999294 | 999313 | -19 | 47500 | 0.0475 | 3072 | 3073 | -1 | 2500 | 0.0025
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 109 | 109 | 0 | 0 | 0 | 999964 | 999964 | 0 | 0 | 0
[10 empty] | 0 |  |  |  |  | -0.0001 | Asessment
|  | 4902559 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 999998 | 1000000 | -2 | -200 | -0.0002 | w.e.f 17/11/2016
| TOTAL NDPL | [8 empty] | 0.78774 |  |  |  |  | -0.028375
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.45963 |  |  |  |  | -0.1067
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.9769 |  |  |  |  | 0.0004
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.78774 |  |  |  |  | -0.028375

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2016
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 29921 | 27622 | 2299 | 4598000 | 4.598 | 1806 | 1806 | 0 | 0 | 0
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 3541 | 2639 | 902 | 4510000 | 4.51 | 157 | 157 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 9.108 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 9.108 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.66297 |  |  |  |  | -5.4063
[7 empty] | NDMC = |  |  | 0.2719 |  |  |  |  | -1.7754
MES =
[7 empty] | 2)TOTAL |  |  | -0.39107 |  |  |  |  | -7.1817
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 8.7169 |  |  |  |  | -7.1817
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 30.3198 | % |  |  | 2.643 |  |  |  |  | -2.1775
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.9499 | % |  |  | 3.6567 |  |  |  |  | -3.0127
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 21.9725 | % |  |  | 1.9153 |  |  |  |  | -1.578
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.8929 | % |  |  | 0.42651 |  |  |  |  | -0.35139
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.8649 | % |  |  | 0.075393 |  |  |  |  | -0.062115
Note :Sharing taken from wk-34 abt bill 2016-17

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st NOVMBER-2016 TO 1st DECEMBER-2016
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -12.1258 |  | -1.7353
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -20.1227 |  | -3.3254
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 3.5257 |  | -6.3611
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 4.0255 |  | -2.0967
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.92006 | + | 0.21189
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 1229 | 409 | 820 | 615000 | 0.615 | 0 | 0 | 0 | 0 | 0 | w.e.f 14/10/2016
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 991546 | 992633 | -1087 | -1630500 | -1.6305 | 991971 | 991971 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 883179 | 887098 | -3919 | -2939250 | -2.9392 | 999008 | 999022 | -14 | -10500 | -0.0105
[8 empty] | NET REACTIVE ENERGY |  | -3.9547 |  |  | NET REACTIVE ENERGY |  | -0.0105
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 2000 | 999428 | 999464 | -36 | -72000 | -0.072 | 9288 | 9281 | 7 | 14000 | 0.014
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 958427 | 959474 | -1047 | -1047000 | -1.047
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 973026 | 972242 | 784 | 784000 | 0.784 | 991875 | 991870 | 5 | 5000 | 0.005
[8 empty] | NET REACTIVE ENERGY |  | 0.712 |  |  | NET REACTIVE ENERGY |  | -1.028