## NDPL
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997551 | 998404 | -853 | 853000 | 0.853 | 999713 | 999716 | -3 | 3000 | 0.003
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15124 | 13093 | 2031 | -2031000 | -2.031 | 998768 | 998762 | 6 | -6000 | -0.006
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962324 | 963390 | -1066 | 1066000 | 1.066 | 995709 | 995720 | -11 | 11000 | 0.011
SUBZI MANDI
4 | Tx.1 | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998940 | 999312 | -372 | 372000 | 0.372 | 973445 | 973305 | 140 | -140000 | -0.14
5 | Tx.2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2846 | 2405 | 441 | -441000 | -0.441 | 999041 | 999053 | -12 | 12000 | 0.012
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24453 | 24027 | 426 | -426000 | -0.426 | 17606 | 17606 | 0 | 0 | 0
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 615 | 297 | 318 | -318000 | -0.318 | 999713 | 999713 | 0 | 0 | 0
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 9914 | 10430 | -516 | 645000 | 0.645 | 991918 | 991918 | 0 | 0 | 0
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989555 | 990891 | -1336 | 1336000 | 1.336 | 981193 | 981193 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000070 | 999770 | 300 | -300000 | -0.3 | 20 | 20 | 0 | 0 | 0
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000178 | 999847 | 331 | -331000 | -0.331 | 3 | 3 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974306 | 975323 | -1017 | 1017000 | 1.017 | 997757 | 997757 | 0 | 0 | 0
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 936971 | 941256 | -4285 | -4285000 | -4.285 | 999983 | 999983 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984020 | 983554 | 466 | -466000 | -0.466 | 16897 | 16905 | -8 | 8000 | 0.008
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8823 | 7778 | 1045 | -1045000 | -1.045 | 20580 | 20580 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15667 | 14424 | 1243 | -1243000 | -1.243 | 271 | 265 | 6 | -6000 | -0.006
NARAINA
17 | O/G REWARI LINE 1(payal) | 5295159 | ELSTER | Kvarh(Lead/Lag) | 400 | 16 | 16 | 0 | 0 | 0 | 6114 | 7203 | -1089 | -435600 | -0.4356
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 795 | 795 | 0 | 0 | 0 | 27627 | 27784 | -157 | -157000 | -0.157
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 650 | 650 | 0 | 0 | 0 | 156 | 117 | 39 | 19500 | 0.0195
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 126709 | 126530 | 179 | 17900 | 0.0179 | 254833 | 254460 | 373 | 37300 | 0.0373
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996179 | 996180 | -1 | -1000 | -0.001 | 992035 | 992366 | -331 | -331000 | -0.331
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 507 | 506 | 1 | 1000 | 0.001 | 502 | 801 | -299 | -299000 | -0.299
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 72815 | 72693 | 122 | 12200 | 0.0122 | 7303 | 7211 | 92 | 9200 | 0.0092
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 628575 | 630919 | -2344 | -2344000 | -2.344 | 796080 | 796080 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 620063 | 623195 | -3132 | -3132000 | -3.132 | 829250 | 829250 | 0 | 0 | 0
26 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | 400 | 1034 | 1015 | 19 | 7600 | 0.0076 | 999053 | 999053 | 0 | 0 | 0
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 5751 | 5676 | 75 | 37500 | 0.0375 | 2406 | 2375 | 31 | 15500 | 0.0155
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000073 | 999997 | 76 | -76000 | -0.076 | 999930 | 999969 | -39 | 39000 | 0.039
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13336 | 13102 | 234 | -234000 | -0.234 | 996895 | 996812 | 83 | -83000 | -0.083
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18193 | 696 | -696000 | -0.696 | 1000497 | 999953 | 544 | -544000 | -0.544
[5 empty] | -1000 | 985289 | 984739 | 550 | -550000 | -0.55
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9457 | 8435 | 1022 | -1022000 | -1.022 | 999504 | 999560 | -56 | 56000 | 0.056
DSIDC BAWANA
32 | 66KV TX.1 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -1000 | 46796 | 42092 | 4704 | -4704000 | -4.704 | 999993 | 1000012 | -19 | 19000 | 0.019
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17309 | 16143 | 1166 | -1166000 | -1.166 | 998803 | 998816 | -13 | 13000 | 0.013
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35789 | 32922 | 2867 | -2867000 | -2.867 | 1606 | 1594 | 12 | -12000 | -0.012
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9765 | 8767 | 998 | -998000 | -0.998 | 998414 | 998414 | 0 | 0 | 0
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2674 | 1877 | 797 | -797000 | -0.797 | 0 | 0 | 0 | 0 | 0
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993176 | 993176 | 0 | 0 | 0 | 998743 | 998743 | 0 | 0 | 0
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16297 | 13808 | 2489 | -2489000 | -2.489 | 1400 | 1400 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1963 | 2053 | -90 | -90000 | -0.09 | 27128 | 27137 | -9 | -9000 | -0.009
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 971 | 1775 | -804 | -80400 | -0.0804 | 24833 | 24929 | -96 | -9600 | -0.0096
| NDPL(+) continue | [14 empty] | NOVEMBER-2016
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
42 | 20MVA Tx-2 | 4902503 | ELSTER | Kvarh(Lead/Lag) | 416.66 | 998733 | 998410 | 323 | 134581.18 | 0.13458 | 304 | 266 | 38 | 15833.08 | 0.015833
VISHAL
43 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9149 | 9133 | 16 | 1600 | 0.0016 | 37637 | 37461 | 176 | 17600 | 0.0176
44 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 12230 | 12254 | -24 | -2400 | -0.0024 | 72814 | 72884 | -70 | -7000 | -0.007
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 705 | 722 | -17 | -1700 | -0.0017 | 13010 | 12946 | 64 | 6400 | 0.0064
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 24 | 0 | 24 | 31992 | 0.031992 | 5 | 0 | 5 | 6665 | 0.006665
47 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 999400 | 999580 | -180 | -18000 | -0.018 | 4538 | 4500 | 38 | 3800 | 0.0038
52 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989743 | 989743 | 0 | 0 | 0 | 390 | 390 | 0 | 0 | 0
B.G.ROAD
53 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5626 | 5626 | 0 | 0 | 0 | 34468 | 34468 | 0 | 0 | 0
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999934 | 999934 | 0 | 0 | 0 | 477 | 489 | -12 | -6000 | -0.006
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 293 | 263 | 30 | 20000.1 | 0.02 | 108 | 108 | 0 | 0 | 0
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 2908 | 2902 | 6 | 4000 | 0.004 | 1337 | 1337 | 0 | 0 | 0
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997795 | 997797 | -2 | -200 | -0.0002 | 1131 | 1147 | -16 | -1600 | -0.0016
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999751 | 999751 | 0 | 0 | 0 | 999998 | 999998 | 0 | 0 | 0
59 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23906 | 23916 | -10 | -1000 | -0.001 | 57792 | 57809 | -17 | -1700 | -0.0017
60 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
62 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
63 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1636 | 1780 | -144 | -14400 | -0.0144 | 5705 | 5964 | -259 | -25900 | -0.0259
64 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 27879 | 27985 | -106 | -10600 | -0.0106 | 66993 | 67382 | -389 | -38900 | -0.0389
65 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7567 | 7599 | -32 | -3200 | -0.0032 | 3186 | 2790 | 396 | 39600 | 0.0396
KASHMIRI GATE
66 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 201143 | 199086 | 2057 | 205700 | 0.2057 | 19854 | 19852 | 2 | 200 | 0.0002
67 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 24828 | 24768 | 60 | 6000 | 0.006 | 51066 | 51060 | 6 | 600 | 0.0006
68 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 456 | 457 | -1 | 300 | 0.0003
REWARI LINE (11KV TRANSFER OF ENERGY)
69 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995611 | 995610 | 1 | -400 | -0.0004 | 69 | 69 | 0 | 0 | 0
70 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999882 | 999883 | -1 | -400 | -0.0004 | 8 | 8 | 0 | 0 | 0
MUNDKA
71 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 970233 | 971074 | -841 | -672800 | -0.6728 | 996606 | 996608 | -2 | -1600 | -0.0016 | Data till 23/01/17
72 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1705 | 1900 | -195 | -390000 | -0.39 | 1096 | 1097 | -1 | -2000 | -0.002
PEERAGARHI
73 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | RANI BAGH(L-2) | 4864811 | ELSTER | Kvarh(Lead/Lag) | 100 | 236 | 367 | -131 | -13100 | -0.0131 | 999868 | 999868 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -27.4915 |  |  |  |  | -1.7834
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 5077 | 5077 | 0 | 0 | 0 | 7682 | 6685 | 997 | -99700 | -0.0997
MANGOLPURI
2 | NANGLOI-2 EXP | 5295163 | ELSTER | Kvarh(Lead/Lag) | -1000 | 516 | 381 | 135 | -135000 | -0.135 | 1689 | 156 | 1533 | -1533000 | -1.533
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 12811 | 12790 | 21 | -4200 | -0.0042 | 21689 | 21643 | 46 | -9200 | -0.0092 | data till 23/01/17
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86544 | 86373 | 171 | -171000 | -0.171 | 123437 | 123404 | 33 | -33000 | -0.033
SUDARSHAN PARK
5 | VISHAL (EXP) | 5295128 | ELSTER | Kvarh(Lead/Lag) | -50 | 971880 | 973342 | -1462 | 73100 | 0.0731 | 1962 | 1962 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 1 | -1000 | -0.001
KANJAWALA
7 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 991696 | 992544 | -848 | 678400 | 0.6784 | 999703 | 999901 | -198 | 158400 | 0.1584
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.4413 |  |  |  |  | -1.5175
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -27.4915 |  |  |  |  | -1.7834
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.4413 |  |  |  |  | -1.5175
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 2.5061 |  |  |  |  | 0.02265
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -24.5441 |  |  |  |  | -3.2783
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -24.5441 | (REACTIVE MUs) |  |  |  | -3.2783 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 2.1043 | (REACTIVE MUs) |  |  |  | -3.1153 | (REACTIVE MUs)
[9 empty] | TOTAL | -22.4398 | (REACTIVE MUs) |  |  |  | -6.3936 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | NOVEMBER-2016
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 14305 | 14428 | -123 | -12300 | -0.0123 | 596 | 1203 | -607 | -60700 | -0.0607
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 8052 | 7909 | 143 | 42900 | 0.0429 | 2652 | 1433 | 1219 | 365700 | 0.3657
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 22984 | 22490 | 494 | 37050 | 0.03705 | 24026 | 18624 | 5402 | 405150 | 0.40515
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 999502 | 999646 | -144 | -43200 | -0.0432 | 4674 | 5007 | -333 | -99900 | -0.0999
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1808 | 1816 | -8 | -10666.4 | -0.010666 | 2828 | 2731 | 97 | 129330.1 | 0.12933
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 35336 | 35454 | -118 | -11800 | -0.0118 | 170238 | 170837 | -599 | -59900 | -0.0599
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 5235 | 4895 | 340 | 25500 | 0.0255 | 14222 | 9355 | 4867 | 365025 | 0.36502
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988863 | 989076 | -213 | -213000 | -0.213 | 1888 | 1888 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997070 | 997301 | -231 | -231000 | -0.231 | 3367 | 3367 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999504 | 999791 | -287 | -287000 | -0.287 | 771 | 771 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996230 | 996579 | -349 | -349000 | -0.349 | 1691 | 1691 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994357 | 994515 | -158 | -158000 | -0.158 | 5249 | 5249 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997882 | 998082 | -200 | -200000 | -0.2 | 999138 | 999138 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999782 | 999964 | -182 | -182000 | -0.182 | 0 | 0 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999266 | 999502 | -236 | -188800 | -0.1888 | 1249 | 1249 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999615 | 999686 | -71 | -71000 | -0.071 | 29610 | 29610 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1271 | 1323 | -52 | -52000 | -0.052 | 9721 | 9721 | 0 | 0 | 0
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 12392 | 12265 | 127 | 12700 | 0.0127 | 358 | 358 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 82 | 307 | -225 | -225000 | -0.225 | 15632 | 15632 | 0 | 0 | 0
GT
20 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1375 | 999998 | 999998 | 0 | 0 | 0 | 952234 | 954790 | -2556 | -3514500 | -3.5145
21 | DMRC CKT.-II | 5295164 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 993848 | 997711 | -3863 | -4249300 | -4.2493
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 977702 | 978657 | -955 | -955000 | -0.955 | 7821 | 7821 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -3.0991 |  |  |  |  | -7.7638
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 948164 | 948806 | -642 | 642000 | 0.642 | 941164 | 941254 | -90 | 90000 | 0.09
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960163 | 960945 | -782 | 782000 | 0.782 | 954757 | 954779 | -22 | 22000 | 0.022
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 456 | 457 | -1 | -300 | -0.0003
NARAINA
26 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999991 | 999991 | 0 | 0 | 0 | 1718 | 1597 | 121 | 121000 | 0.121 | w.e.f 23/09/16
PARK STREET
27 | TX.-1 (66KV) | 5295161 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35640 | 34197 | 1443 | -1443000 | -1.443 | 997413 | 997404 | 9 | -9000 | -0.009
[5 empty] | -1000 | 22724 | 21660 | 1064 | -1064000 | -1.064
|  | 5295179 | ELSTER | Kvarh(Lead/Lag) | -500 | 3458 | 0 | 3458 | -1729000 | -1.729 | 8 | 0 | 8 | -4000 | -0.004 | w.e.f 17/01/2017
28 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7662 | 5893 | 1769 | -1769000 | -1.769 | 999929 | 999993 | -64 | 64000 | 0.064 | w.e.f 26/10/16
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992548 | 992686 | -138 | 138000 | 0.138 | 993381 | 993551 | -170 | 170000 | 0.17
30 | TX.-2(33KV) | 4864944 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000177 | 999876 | 301 | -301000 | -0.301 | 30 | 30 | 0 | 0 | 0 | Check Meter Data
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8409 | 8071 | 338 | -676000 | -0.676 | 999012 | 999025 | -13 | 26000 | 0.026
32 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1753 | 1663 | 90 | -90000 | -0.09 | 999996 | 999996 | 0 | 0 | 0 | w.e.f 06/09/16
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999729 | 999618 | 111 | -111000 | -0.111 | 999855 | 999855 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 12811 | 12790 | 21 | 4200 | 0.0042 | 21689 | 21643 | 46 | 9200 | 0.0092 | data till 23/01/17
35 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 86544 | 86373 | 171 | 171000 | 0.171 | 123437 | 123404 | 33 | 33000 | 0.033
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 100 | 998204 | 998694 | -490 | -49000 | -0.049 | 1142 | 1144 | -2 | -200 | -0.0002
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 151278 | 151757 | -479 | -47900 | -0.0479 | 52249 | 52252 | -3 | -300 | -0.0003
PREET VIHAR
38 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -8.6143 |  |  |  |  | -6.1977
| (A) NET ENERGY TO CENTRAL | [8 empty] | -8.6143 |  |  |  |  | -6.1977
NOVEMBER-2016
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980919 | 980987 | -68 | 68000 | 0.068 | 883006 | 883050 | -44 | 44000 | 0.044
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1029 | 545 | 484 | -484000 | -0.484 | 973969 | 974007 | -38 | 38000 | 0.038
3 | Tx.3 | 5295177 | ELSTER | Kvarh(Lead/Lag) | -500 | 999631 | 1000442 | -811 | 405500 | 0.4055 | 999861 | 999972 | -111 | 55500 | 0.0555
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 994214 | 994907 | -693 | 1386000 | 1.386 | 975377 | 975383 | -6 | 12000 | 0.012
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998652 | 997958 | 694 | -694000 | -0.694 | 596 | 635 | -39 | 39000 | 0.039
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994952 | 994261 | 691 | -691000 | -0.691 | 999941 | 999966 | -25 | 25000 | 0.025
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 288 | 53 | 235 | -235000 | -0.235 | 999975 | 1000001 | -26 | 26000 | 0.026
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993179 | 993138 | 41 | -41000 | -0.041 | 978956 | 979023 | -67 | 67000 | 0.067
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989596 | 989666 | -70 | 70000 | 0.07 | 996214 | 996278 | -64 | 64000 | 0.064
GEETA COLONY
11 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980238 | 980580 | -342 | 342000 | 0.342 | 967899 | 968044 | -145 | 145000 | 0.145
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959359 | 959359 | 0 | 0 | 0 | 833426 | 833426 | 0 | 0 | 0
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16700 | 16082 | 618 | -618000 | -0.618 | 33802 | 33798 | 4 | -4000 | -0.004
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2210 | 1655 | 555 | -555000 | -0.555 | 999813 | 999797 | 16 | -16000 | -0.016
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971743 | 971684 | 59 | -59000 | -0.059 | 920007 | 920009 | -2 | 2000 | 0.002
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -1.1055 |  |  |  |  | 0.4975
| (B) NET ENERGY TO EAST | [8 empty] | -1.1055 |  |  |  |  | 0.4975
NOVEMBER-2016
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | -400 | 1034 | 1015 | 19 | -7600 | -0.0076 | 999053 | 999053 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 5751 | 5676 | 75 | -37500 | -0.0375 | 2406 | 2375 | 31 | -15500 | -0.0155
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 54780 | 54595 | 185 | -37000 | -0.037 | 85529 | 85497 | 32 | -6400 | -0.0064
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 71061 | 71423 | -362 | 36200 | 0.0362 | 139261 | 139286 | -25 | 2500 | 0.0025
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 974235 | 974915 | -680 | 136000 | 0.136 | 996564 | 996528 | 36 | -7200 | -0.0072
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 31937 | 31562 | 375 | -75000 | -0.075 | 1034 | 885 | 149 | -29800 | -0.0298
|  | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 7224 | 5550 | 1674 | -334800 | -0.3348
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 16339 | 15920 | 419 | -335200 | -0.3352 | 10528 | 10514 | 14 | -11200 | -0.0112
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 14921 | 14623 | 298 | -596000 | -0.596 | 3807 | 3801 | 6 | -12000 | -0.012
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 975616 | 976166 | -550 | 440000 | 0.44 | 988198 | 988211 | -13 | 10400 | 0.0104
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 988374 | 990842 | -2468 | 1974400 | 1.9744 | 993781 | 993855 | -74 | 59200 | 0.0592
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 993253 | 994668 | -1415 | 1132000 | 1.132 | 997674 | 997713 | -39 | 31200 | 0.0312
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 981255 | 981996 | -741 | 592800 | 0.5928 | 994072 | 994072 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980697 | 980697 | 0 | 0 | 0 | 34257 | 34257 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1963 | 2053 | -90 | 90000 | 0.09 | 27128 | 27137 | -9 | 9000 | 0.009
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 971 | 1775 | -804 | 80400 | 0.0804 | 24833 | 24929 | -96 | 9600 | 0.0096
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5626 | 5626 | 0 | 0 | 0 | 34468 | 34468 | 0 | 0 | 0
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999934 | 999934 | 0 | 0 | 0 | 477 | 489 | -12 | 6000 | 0.006
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 293 | 263 | 30 | -20000.1 | -0.02 | 108 | 108 | 0 | 0 | 0
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 2908 | 2902 | 6 | -4000 | -0.004 | 1337 | 1337 | 0 | 0 | 0
KASHMIRI GATE
22 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 201143 | 199086 | 2057 | -205700 | -0.2057 | 19854 | 19852 | 2 | -200 | -0.0002
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 24828 | 24768 | 60 | -6000 | -0.006 | 51066 | 51060 | 6 | -600 | -0.0006
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997795 | 997797 | -2 | 200 | 0.0002 | 1131 | 1147 | -16 | 1600 | 0.0016
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999751 | 999751 | 0 | 0 | 0 | 999998 | 999998 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23906 | 23916 | -10 | 1000 | 0.001 | 57792 | 57809 | -17 | 1700 | 0.0017
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1636 | 1780 | -144 | 14400 | 0.0144 | 5705 | 5964 | -259 | 25900 | 0.0259
31 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 27879 | 27985 | -106 | 10600 | 0.0106 | 66993 | 67382 | -389 | 38900 | 0.0389
32 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7567 | 7599 | -32 | 3200 | 0.0032 | 3186 | 2790 | 396 | -39600 | -0.0396
[10 empty] | 2.8524 |  |  |  |  | 0.0735
NOVEMBER-2016
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -8.6143 |  |  |  |  | -6.1977
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 2.8524 |  |  |  |  | 0.0735
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.7962 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -7.5581 |  |  |  |  | -6.1242
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -1.1055 |  |  |  |  | 0.4975
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -8.6636 |  |  |  |  | -5.6267
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -8.6636 | (REACTIVE MUs) |  |  |  | -5.6267 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.4087 | (REACTIVE MUs) |  |  |  | -2.0855 | (REACTIVE MUs)
[9 empty] | TOTAL | -7.255 | (REACTIVE MUs) |  |  |  | -7.7122 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | NOVEMBER-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999604 | 999610 | -6 | -30000 | -0.03 | 999701 | 999770 | -69 | -345000 | -0.345 | Data till 28/01/17
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984748 | 984810 | -62 | -82666.46 | -0.082666 | 672679 | 672818 | -139 | -185332.87 | -0.18533
3 | BAY-13 | 5295153 | ELSTER | Kvarh(Lead/Lag) | 400 | 1111 | 1183 | -72 | -28800 | -0.0288 | 988034 | 988204 | -170 | -68000 | -0.068
|  | 5295153 | ELSTER | Kvarh(Lead/Lag) | 400 | [5 empty] | 508 | 907 | -399 | -159600 | -0.1596
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 16962 | 16979 | -17 | -17000 | -0.017 | 999569 | 999959 | -390 | -390000 | -0.39
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 17252 | 17262 | -10 | -1000 | -0.001 | 3752 | 3867 | -115 | -11500 | -0.0115
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 727188 | 727524 | -336 | -25200 | -0.0252 | 18954 | 21210 | -2256 | -169200 | -0.1692
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 983557 | 983765 | -208 | -15600 | -0.0156 | 994203 | 995556 | -1353 | -101475 | -0.10147
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997428 | 997476 | -48 | -43200 | -0.0432 | 997765 | 998070 | -305 | -274500 | -0.2745
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 14690 | 10909 | 3781 | -1890500 | -1.8905 | 988906 | 988872 | 34 | -17000 | -0.017
11 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1193 | 656 | 537 | -537000 | -0.537 | 999982 | 999990 | -8 | 8000 | 0.008
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997199 | 997199 | 0 | 0 | 0 | 996297 | 996297 | 0 | 0 | 0
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1830 | 1616 | 214 | -214000 | -0.214 | 999806 | 999856 | -50 | 50000 | 0.05
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962858 | 962897 | -39 | 39000 | 0.039 | 967759 | 967818 | -59 | 59000 | 0.059
|  | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964290 | 964318 | -28 | 28000 | 0.028
PAAPANKALAN-II
15 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985516 | 985010 | 506 | -506000 | -0.506 | 967120 | 967118 | 2 | -2000 | -0.002
16 | Tx.2 | 5128440 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60738 | 58933 | 1805 | -1805000 | -1.805 | 985806 | 985736 | 70 | -70000 | -0.07 | Check Meter Data
|  | 4865004 | ELSTER | Kvarh(Lead/Lag) | -1000 | 745 | 0 | 745 | -745000 | -0.745 | 26 | 0 | 26 | -26000 | -0.026 | w..e.f 19/01/2017
17 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37008 | 37008 | 0 | 0 | 0 | 984852 | 984852 | 0 | 0 | 0
[10 empty] | -0.144 |  |  |  |  | 0.011 | Assessment
|  | 4865015 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52 | 0 | 52 | -104000 | -0.104 | 999996 | 1000000 | -4 | 8000 | 0.008 | w.e.f 19/01/2017
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3131 | 3029 | 102 | -102000 | -0.102 | 954088 | 954096 | -8 | 8000 | 0.008
|  | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998801 | 998332 | 469 | -469000 | -0.469
NAJAFGARH
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -500 | 998722 | 998672 | 50 | -25000 | -0.025 | 992337 | 991944 | 393 | -196500 | -0.1965 | Data till 23/01
|  | 4865009 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47529 | 47462 | 67 | -67000 | -0.067 | 9748 | 9753 | -5 | 5000 | 0.005 | Check Meter Data
20 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997815 | 997803 | 12 | -12000 | -0.012 | 993236 | 994363 | -1127 | 1127000 | 1.127
21 | Tx.3 | 4902502 | ELSTER | Kvarh(Lead/Lag) | -1666.66 | 995197 | 995195 | 2 | -3333.32 | -0.0033333 | 996630 | 996639 | -9 | 14999.94 | 0.015 | Check Meter Data
22 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13848 | 13768 | 80 | -80000 | -0.08 | 998849 | 998996 | -147 | 147000 | 0.147
IMPORT
MANGOLPURI
23 | NANGLOI-2 (03) IMP. | 5295163 | ELSTER | Kvarh(Lead/Lag) | 1000 | 516 | 381 | 135 | 135000 | 0.135 | 1689 | 156 | 1533 | 1533000 | 1.533
LODHI ROAD
24 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981473 | 981059 | 414 | -414000 | -0.414 | 986136 | 986196 | -60 | 60000 | 0.06
25 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991700 | 991784 | -84 | 84000 | 0.084 | 985952 | 986082 | -130 | 130000 | 0.13
OKHLA
26 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995005 | 994865 | 140 | -140000 | -0.14 | 991477 | 991484 | -7 | 7000 | 0.007
27 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989948 | 989435 | 513 | -513000 | -0.513 | 932135 | 932447 | -312 | 312000 | 0.312
28 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1370 | 595 | 775 | -775000 | -0.775 | 34287 | 34356 | -69 | 69000 | 0.069
29 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998089 | 998125 | -36 | 36000 | 0.036 | 996825 | 996832 | -7 | 7000 | 0.007
30 | Tx.4 (33 KV)-Ckt No. 5 | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995851 | 995924 | -73 | 73000 | 0.073 | 862018 | 861999 | 19 | -19000 | -0.019
BRPL(+) continue | [14 empty] | NOVEMBER-2016
VASANT KUNJ
31 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 288 | 364 | -76 | 76000 | 0.076 | 999979 | 999991 | -12 | 12000 | 0.012 | w.e.f 19/10/16
32 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 146 | 285 | -139 | 69500 | 0.0695 | 998100 | 998122 | -22 | 11000 | 0.011
33 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 12252 | 10836 | 1416 | -2832000 | -2.832 | 969505 | 969503 | 2 | -4000 | -0.004
MEHRAULI
34 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994647 | 994199 | 448 | -448000 | -0.448 | 900276 | 900273 | 3 | -3000 | -0.003
35 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994407 | 994405 | 2 | -2000 | -0.002 | 927473 | 927475 | -2 | 2000 | 0.002
36 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998584 | 998111 | 473 | -473000 | -0.473 | 985445 | 985440 | 5 | -5000 | -0.005
37 | Tx.4 | 5295171 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8035 | 8586 | -551 | 551000 | 0.551 | 8813 | 8934 | -121 | 121000 | 0.121
RIDGE VALLEY
38 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 969740 | 968409 | 1331 | -887332.446 | -0.88733 | 967289 | 967286 | 3 | -1999.998 | -0.002
39 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 993738 | 992910 | 828 | -2070000 | -2.07 | 999814 | 999814 | 0 | 0 | 0
DIAL
40 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5516 | 5316 | 200 | -400000 | -0.4 | 1938 | 1924 | 14 | -28000 | -0.028
41 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2495 | 2287 | 208 | -416000 | -0.416 | 986 | 975 | 11 | -22000 | -0.022
MASJID MOD
42 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917280 | 917575 | -295 | 295000 | 0.295 | 983885 | 983892 | -7 | 7000 | 0.007
43 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 926677 | 927166 | -489 | 489000 | 0.489 | 987332 | 987336 | -4 | 4000 | 0.004
MUNDKA
44 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
45 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 29021 | 29552 | -531 | -424800 | -0.4248 | 6364 | 6349 | 15 | 12000 | 0.012
46 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 901085 | 903109 | -2024 | -1619200 | -1.6192 | 997093 | 997110 | -17 | -13600 | -0.0136
47 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
48 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 999846 | 999885 | -39 | -31200 | -0.0312 | 999791 | 999790 | 1 | 800 | 0.0008
49 | BAY No 616 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999778 | 999851 | -73 | -73000 | -0.073 | 619 | 617 | 2 | 2000 | 0.002
PARK STREET
50 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980697 | 980697 | 0 | 0 | 0 | 34257 | 34257 | 0 | 0 | 0
51 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
52 | TX-1 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12904 | 9856 | 3048 | -3048000 | -3.048 | 999978 | 999976 | 2 | -2000 | -0.002
53 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8047 | 6586 | 1461 | -1461000 | -1.461 | 999275 | 999275 | 0 | 0 | 0
54 | Tx-3 | 5295148 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14201 | 10195 | 4006 | -4006000 | -4.006 | 999878 | 999877 | 1 | -1000 | -0.001 | Check Meter Data
|  | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 691 | 0 | 691 | -691000 | -0.691 | 999997 | 1000000 | -3 | 3000 | 0.003 | w.e.f 23/10/2017
NARAINA
55 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 5077 | 5077 | 0 | 0 | 0 | 7682 | 6685 | 997 | 99700 | 0.0997
SUDARSHAN PARK
56 | VISHAL | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 971880 | 973342 | -1462 | -73100 | -0.0731 | 1962 | 1962 | 0 | 0 | 0
57 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 997509 | 998286 | -777 | -310800 | -0.3108 | 681 | 553 | 128 | 51200 | 0.0512
58 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 999322 | 999669 | -347 | -138800 | -0.1388 | 570 | 604 | -34 | -13600 | -0.0136
REWARI LINE
59 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 1 | 1000 | 0.001
KANJAWALA
60 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 991696 | 992544 | -848 | -678400 | -0.6784 | 999703 | 999901 | -198 | -158400 | -0.1584
Trauma Centre
61 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 165760 | 150108 | 15652 | 1565200 | 1.5652 | 263 | 259 | 4 | 400 | 0.0004
62 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1127 | 750 | 377 | 377000 | 0.377 | 160 | 160 | 0 | 0 | 0
[10 empty] | -0.0126 |  |  |  |  | 0 | Assessment
A.I.I.M.S.
63 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 6246 | 5420 | 826 | 61950 | 0.06195 | 12453 | 12446 | 7 | 525 | 0.000525
64 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 2103 | 1918 | 185 | 18500 | 0.0185 | 4413 | 4410 | 3 | 300 | 0.0003
PEERGARHI
65 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 860 | 883 | -23 | -11500 | -0.0115 | 2633 | 2633 | 0 | 0 | 0
[10 empty] | -0.1416 |  |  |  |  | 0 | Assessment
66 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1644 | 1215 | 429 | 429000 | 0.429 | 3593 | 3593 | 0 | 0 | 0
67 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997894 | 998039 | -145 | -145000 | -0.145 | 1234 | 1234 | 0 | 0 | 0
68 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1652 | 1432 | 220 | 220000 | 0.22 | 6126 | 6126 | 0 | 0 | 0
69 | PASCHIM PURI - I (L-7) | 5269791 | ELSTER | Kvarh(Lead/Lag) | 2000 | 266 | 266 | 0 | 0 | 0 | 1077 | 1077 | 0 | 0 | 0
70 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 998646 | 998704 | -58 | -5800 | -0.0058 | 42330 | 42330 | 0 | 0 | 0
71 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
72 | PEERGARHI - 2(L-10) | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999706 | 1000162 | -456 | -456000 | -0.456 | 4896 | 4896 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -25.0983 |  |  |  |  | 1.5962
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 164633 | 162722 | 1911 | -191100 | -0.1911 | 912847 | 912835 | 12 | -1200 | -0.0012
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -100 | 998204 | 998694 | -490 | 49000 | 0.049 | 1142 | 1144 | -2 | 200 | 0.0002
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 151278 | 151757 | -479 | 47900 | 0.0479 | 52249 | 52252 | -3 | 300 | 0.0003
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996376 | 996361 | 15 | -1500 | -0.0015 | 838 | 838 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999794 | 999952 | -158 | 158000 | 0.158 | 999999 | 1000000 | -1 | 1000 | 0.001
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15396 | 15260 | 136 | -136000 | -0.136 | 741 | 741 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 906857 | 906820 | 37 | -18500 | -0.0185 | 61332 | 61328 | 4 | -2000 | -0.002
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -500 | 999651 | 999935 | -284 | 142000 | 0.142 | 999997 | 1000000 | -3 | 1500 | 0.0015
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 79662 | 79645 | 17 | -1700 | -0.0017 | 70842 | 70842 | 0 | 0 | 0
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 92748 | 91882 | 866 | -86600 | -0.0866 | 71275 | 71214 | 61 | -6100 | -0.0061
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 24235 | 23637 | 598 | -59800 | -0.0598 | 22129 | 21868 | 261 | -26100 | -0.0261
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999175 | 999175 | 0 | 0 | 0 | 16688 | 16688 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 383534 | 380362 | 3172 | -317200 | -0.3172 | 49059 | 49059 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 4933 | 4933 | 0 | 0 | 0 | 27207 | 26855 | 352 | -35200 | -0.0352
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4902503 | ELSTER | Kvarh(Lead/Lag) | -416.66 | 998733 | 998410 | 323 | -134581.18 | -0.13458 | 304 | 266 | 38 | -15833.08 | -0.015833
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9149 | 9133 | 16 | -1600 | -0.0016 | 37637 | 37461 | 176 | -17600 | -0.0176
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 12230 | 12254 | -24 | 2400 | 0.0024 | 72814 | 72884 | -70 | 7000 | 0.007
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 705 | 722 | -17 | 1700 | 0.0017 | 13010 | 12946 | 64 | -6400 | -0.0064
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 24 | 0 | 24 | -31992 | -0.031992 | 5 | 0 | 5 | -6665 | -0.006665
24 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 19/11/16
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 999400 | 999580 | -180 | 18000 | 0.018 | 4538 | 4500 | 38 | -3800 | -0.0038
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989743 | 989743 | 0 | 0 | 0 | 390 | 390 | 0 | 0 | 0
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995611 | 995610 | 1 | 400 | 0.0004 | 69 | 69 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999882 | 999883 | -1 | 400 | 0.0004 | 8 | 8 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.56077 |  |  |  |  | -0.1109
NOVEMBER-2016
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -25.0983 |  |  |  |  | 1.5962
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.56077 |  |  |  |  | -0.1109
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.22486 |  |  |  |  | -0.0168
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0135 |  |  |  |  | -0.0446
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -25.4477 |  |  |  |  | 1.4239
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -25.4477 | (REACTIVE MUs) |  |  |  | 1.4239 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 2.5935 | (REACTIVE MUs) |  |  |  | -3.8397 | (REACTIVE MUs)
[9 empty] | TOTAL | -22.8541 | (REACTIVE MUs) |  |  |  | -2.4157 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 54780 | 54595 | 185 | 37000 | 0.037 | 85529 | 85497 | 32 | 6400 | 0.0064
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 71061 | 71423 | -362 | -36200 | -0.0362 | 139261 | 139286 | -25 | -2500 | -0.0025
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 974235 | 974915 | -680 | -136000 | -0.136 | 996564 | 996528 | 36 | 7200 | 0.0072
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 31937 | 31562 | 375 | 75000 | 0.075 | 1034 | 885 | 149 | 29800 | 0.0298
|  | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 7224 | 5550 | 1674 | 334800 | 0.3348
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 16339 | 15920 | 419 | 335200 | 0.3352 | 10528 | 10514 | 14 | 11200 | 0.0112
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 14921 | 14623 | 298 | 596000 | 0.596 | 3807 | 3801 | 6 | 12000 | 0.012
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 975616 | 976166 | -550 | -440000 | -0.44 | 988198 | 988211 | -13 | -10400 | -0.0104
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 988374 | 990842 | -2468 | -1974400 | -1.9744 | 993781 | 993855 | -74 | -59200 | -0.0592
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 993253 | 994668 | -1415 | -1132000 | -1.132 | 997674 | 997713 | -39 | -31200 | -0.0312
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 981255 | 981996 | -741 | -592800 | -0.5928 | 994072 | 994072 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 3468 | 3611 | -143 | -14300 | -0.0143 | 404439 | 405209 | -770 | -77000 | -0.077
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 993965 | 994363 | -398 | -29850 | -0.02985 | 4982 | 5074 | -92 | -6900 | -0.0069
13 | BAY-6 (T MARG) | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 9610 | 9537 | 73 | 7300 | 0.0073 | 6530 | 6352 | 178 | 17800 | 0.0178 | Check Meter Data
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998893 | 998860 | 33 | 12375 | 0.012375 | 836 | 400 | 436 | 163500 | 0.1635
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 989566 | 989657 | -91 | -9100 | -0.0091 | 317478 | 317825 | -347 | -34700 | -0.0347
16 | BAY-28 (C PLACE) | 4865117 | ELSTER | Kvarh(Lead/Lag) | 100 | 2593 | 2532 | 61 | 6100 | 0.0061 | 181585 | 180787 | 798 | 79800 | 0.0798 | Check Meter Data
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 3007 | 2760 | 247 | 24700 | 0.0247 | 259312 | 258361 | 951 | 95100 | 0.0951
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 81556 | 81161 | 395 | 39500 | 0.0395 | 719181 | 717669 | 1512 | 151200 | 0.1512
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 101891 | 102882 | -991 | -1090100 | -1.0901
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998762 | 999210 | -448 | -448000 | -0.448 | 44269 | 44269 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 143142 | 143800 | -658 | -723800 | -0.7238 | w.e.f 29/01/2017
[5 empty] | 1000 | 999894 | 1000000 | -106 | -106000 | -0.106 | 143119 | 143142 | -23 | -23000 | -0.023
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2946 | 3295 | -349 | -349000 | -0.349 | 58516 | 58516 | 0 | 0 | 0
[10 empty] | -0.903 |  |  |  |  | -1.8369
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999794 | 999952 | -158 | -158000 | -0.158 | 999999 | 1000000 | -1 | -1000 | -0.001
24 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15396 | 15260 | 136 | 136000 | 0.136 | 741 | 741 | 0 | 0 | 0
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 906857 | 906820 | 37 | 18500 | 0.0185 | 61332 | 61328 | 4 | 2000 | 0.002
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 500 | 999651 | 999935 | -284 | -142000 | -0.142 | 999997 | 1000000 | -3 | -1500 | -0.0015
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999175 | 999175 | 0 | 0 | 0 | 16688 | 16688 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
NOVEMBER-2016
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 943463 | 944985 | -1522 | 1522000 | 1.522 | 971330 | 971331 | -1 | 1000 | 0.001
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993643 | 996497 | -2854 | 2854000 | 2.854 | 999997 | 1000000 | -3 | 3000 | 0.003
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999596 | 999610 | -14 | 28000 | 0.028 | 999999 | 1000000 | -1 | 2000 | 0.002
33 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975749 | 975791 | -42 | 42000 | 0.042 | 990447 | 990447 | 0 | 0 | 0
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 383534 | 380362 | 3172 | 317200 | 0.3172 | 49059 | 49059 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 4933 | 4933 | 0 | 0 | 0 | 27207 | 26855 | 352 | 35200 | 0.0352
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 79662 | 79645 | 17 | 1700 | 0.0017 | 70842 | 70842 | 0 | 0 | 0
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 92748 | 91882 | 866 | 86600 | 0.0866 | 71275 | 71214 | 61 | 6100 | 0.0061
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 24235 | 23637 | 598 | 59800 | 0.0598 | 22129 | 21868 | 261 | 26100 | 0.0261
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 164633 | 162722 | 1911 | 191100 | 0.1911 | 912847 | 912835 | 12 | 1200 | 0.0012
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 165760 | 150108 | 15652 | -1565200 | -1.5652 | 263 | 259 | 4 | -400 | -0.0004
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1127 | 750 | 377 | -377000 | -0.377 | 160 | 160 | 0 | 0 | 0
[10 empty] | 0.0126 |  |  |  |  | 0 | Assessment
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 6246 | 5420 | 826 | -61950 | -0.06195 | 12453 | 12446 | 7 | -525 | -0.000525
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 2103 | 1918 | 185 | -18500 | -0.0185 | 4413 | 4410 | 3 | -300 | -0.0003
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 1.0768 |  |  |  |  | -1.4115
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 1.0768 |  |  |  |  | -1.4115
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.31046 |  |  |  |  | -0.45962
| TOTAL ENERGY TO NDMC | [8 empty] | 1.3872 |  |  |  |  | -1.8711

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2016
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 820 | 798 | 22 | 4400 | 0.0044 | 5415 | 4660 | 755 | 151000 | 0.151 | w.e.f 14/09/2016
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1508 | 1508 | 0 | 0 | 0 | 38680 | 38676 | 4 | 4000 | 0.004
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4094 | 4094 | 0 | 0 | 0 | 47960 | 47722 | 238 | 238000 | 0.238
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 999960 | 999960 | 0 | 0 | 0 | 39710 | 39576 | 134 | 17866.622 | 0.017867
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6491 | 6446 | 45 | 45000 | 0.045 | 11466 | 11450 | 16 | 16000 | 0.016
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12243 | 12264 | -21 | -10500 | -0.0105 | 61394 | 61440 | -46 | -23000 | -0.023
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996376 | 996361 | 15 | 1500 | 0.0015 | 838 | 838 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0404 |  |  |  |  | 0.40387
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3438 | 3438 | 0 | 0 | 0 | 34490 | 34490 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 56141 | 56141 | 0 | 0 | 0 | 88117 | 88117 | 0 | 0 | 0
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 77820 | 77807 | 13 | 1300 | 0.0013 | 14928 | 14916 | 12 | 1200 | 0.0012
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 61134 | 61012 | 122 | 12200 | 0.0122 | 100515 | 100081 | 434 | 43400 | 0.0434
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 629 | 629 | 0 | 0 | 0 | 1005 | 1005 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10244 | 10223 | 21 | 2100 | 0.0021 | 3245 | 3214 | 31 | 3100 | 0.0031
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0135 |  |  |  |  | 0.0446
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0135 |  |  |  |  | 0.0446
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0404 |  |  |  |  | 0.40387
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0539 |  |  |  |  | 0.44847
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0539 | (REACTIVE MUs) |  |  |  | 0.44847 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.067968 | (REACTIVE MUs) |  |  |  | -0.10062 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.12187 | (REACTIVE MUs) |  |  |  | 0.34784 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2016
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 998804 | 995956 | 2848 | 284800 | 0.2848 | 2179 | 2179 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 30271 | 32601 | -2330 | -233000 | -0.233 | 2881 | 2881 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 3436 | 3621 | -185 | -92500 | -0.0925 | 1397 | 1397 | 0 | 0 | 0
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 635 | 412 | 223 | 209062.5 | 0.20906 | 0 | 0 | 0 | 0 | 0 | w.e.f 20/10/16
AT 33/11 KV LEVEL
5 | TX.-I | 5129957 | ELSTER | Kvarh(Lead/Lag) | 250 | 999127 | 999509 | -382 | -95500 | -0.0955 | 990350 | 990416 | -66 | -16500 | -0.0165
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 983186 | 983490 | -304 | 152000 | 0.152 | 976490 | 976490 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 999999 | 999999 | 0 | 0 | 0 | 999997 | 999998 | -1 | -300 | -0.0003 | w.e.f 17/11/2016
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.22486 |  |  |  |  | -0.0168
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 989434 | 991140 | -1706 | -341200 | -0.3412 | 999740 | 999740 | 0 | 0 | 0
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 914394 | 918274 | -3880 | -1455000 | -1.455 | 997279 | 997279 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.7962 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 287275 | 285474 | 1801 | 360200 | 0.3602 | 267828 | 267817 | 11 | 2200 | 0.0022
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 178522 | 167849 | 10673 | 1067300 | 1.0673 | 998992 | 998992 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 78545 | 62559 | 15986 | 999125 | 0.99913 | 986845 | 986845 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 93 | 101 | -8 | -6400 | -0.0064 | 356 | 355 | 1 | 800 | 0.0008
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 991983 | 993494 | -1511 | -151100 | -0.1511 | 999595 | 999595 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 998790 | 998610 | 180 | 27000 | 0.027 | 994711 | 994582 | 129 | 19350 | 0.01935
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999101 | 999185 | -84 | 210000 | 0.21 | 3071 | 3071 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 999999 | 999999 | 0 | 0 | 0 | 999997 | 999998 | -1 | 300 | 0.0003
| TOTAL NDPL | [8 empty] | 2.5061 |  |  |  |  | 0.02265
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.22486 |  |  |  |  | -0.0168
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.7962 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 2.5061 |  |  |  |  | 0.02265

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2016
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 34583 | 31912 | 2671 | 5342000 | 5.342 | 1806 | 1806 | 0 | 0 | 0
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 5332 | 4303 | 1029 | 5145000 | 5.145 | 157 | 157 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 10.487 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 10.487 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -3.0991 |  |  |  |  | -7.7638
[7 empty] | NDMC = |  |  | -0.903 |  |  |  |  | -1.8369
MES =
[7 empty] | 2)TOTAL |  |  | -4.0021 |  |  |  |  | -9.6007
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 6.4849 |  |  |  |  | -9.6007
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 32.4489 | % |  |  | 2.1043 |  |  |  |  | -3.1153
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 39.9936 | % |  |  | 2.5935 |  |  |  |  | -3.8397
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 21.7221 | % |  |  | 1.4087 |  |  |  |  | -2.0855
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.7874 | % |  |  | 0.31046 |  |  |  |  | -0.45962
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.0481 | % |  |  | 0.067968 |  |  |  |  | -0.10062
Note :Sharing taken from wk-45 abt bill 2016-17

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st NOVMBER-2016 TO 1st DECEMBER-2016
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -22.4398 |  | -6.3936
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -22.8541 |  | -2.4157
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -7.255 |  | -7.7122
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 1.3872 |  | -1.8711
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.12187 | + | 0.34784
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2016 | INTIAL READING 01/11/2016 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 3599 | 2601 | 998 | 748500 | 0.7485 | 0 | 0 | 0 | 0 | 0 | w.e.f 14/10/2016
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 992789 | 991765 | 1024 | 1536000 | 1.536 | 991971 | 991971 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 875350 | 880753 | -5403 | -4052250 | -4.0522 | 998643 | 998807 | -164 | -123000 | -0.123
[8 empty] | NET REACTIVE ENERGY |  | -1.7677 |  |  | NET REACTIVE ENERGY |  | -0.123
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 999412 | 999298 | 114 | 570000 | 0.57 | 9292 | 9289 | 3 | 15000 | 0.015
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 956862 | 958057 | -1195 | -1195000 | -1.195
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 973238 | 973070 | 168 | 168000 | 0.168 | 994313 | 993203 | 1110 | 1110000 | 1.11
[8 empty] | NET REACTIVE ENERGY |  | 0.738 |  |  | NET REACTIVE ENERGY |  | -0.07