## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MAY-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15613 | 15659 | -46 | 46000 | 0.046 | 978406 | 978421 | -15 | 15000 | 0.015
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999996 | 999986 | 10 | -10000 | -0.01 | 999697 | 999915 | -218 | 218000 | 0.218
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16999 | 17026 | -27 | 27000 | 0.027 | 997127 | 997174 | -47 | 47000 | 0.047
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974210 | 974210 | 0 | 0 | 0 | 978067 | 978155 | -88 | 88000 | 0.088
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 921655 | 921682 | -27 | 27000 | 0.027 | 949700 | 949919 | -219 | 219000 | 0.219
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18697 | 18699 | -2 | 2000 | 0.002 | 16472 | 16495 | -23 | 23000 | 0.023
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19612 | 19614 | -2 | 2000 | 0.002 | 12595 | 12619 | -24 | 24000 | 0.024
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 16638 | 16642 | -4 | 5000 | 0.005 | 996535 | 996621 | -86 | 107500 | 0.1075
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15390 | 15403 | -13 | 13000 | 0.013 | 986720 | 986824 | -104 | 104000 | 0.104
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33353 | 33392 | -39 | 39000 | 0.039 | 9760 | 9807 | -47 | 47000 | 0.047
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999850 | 999899 | -49 | 49000 | 0.049 | 4141 | 4166 | -25 | 25000 | 0.025
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997224 | 997263 | -39 | 39000 | 0.039 | 999511 | 999512 | -1 | 1000 | 0.001
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 947634 | 948243 | -609 | -609000 | -0.609 | 920550 | 920550 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997190 | 997194 | -4 | 4000 | 0.004 | 17038 | 17149 | -111 | 111000 | 0.111
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999614 | 999605 | 9 | -9000 | -0.009 | 19545 | 19558 | -13 | 13000 | 0.013
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 753 | 755 | -2 | 2000 | 0.002 | 20688 | 20960 | -272 | 272000 | 0.272
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999545 | 999545 | 0 | 0 | 0 | 27123 | 28083 | -960 | -960000 | -0.96
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 218 | 218 | 0 | 0 | 0 | 27055 | 26731 | 324 | 324000 | 0.324
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 2338 | 2338 | 0 | 0 | 0 | 125852 | 123515 | 2337 | 233700 | 0.2337
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 4214 | 4214 | 0 | 0 | 0 | 180051 | 172971 | 7080 | 708000 | 0.708
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996022 | 996022 | 0 | 0 | 0 | 997964 | 997575 | 389 | 389000 | 0.389
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999910 | 999910 | 0 | 0 | 0 | 2702 | 1834 | 868 | 868000 | 0.868
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 652730 | 652741 | -11 | -11000 | -0.011 | 801333 | 801370 | -37 | -37000 | -0.037
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 659799 | 659828 | -29 | -29000 | -0.029 | 833773 | 833848 | -75 | -75000 | -0.075
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991634 | 991628 | 6 | 6000 | 0.006 | 998462 | 998460 | 2 | 2000 | 0.002
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 112 | 108 | 4 | 2000 | 0.002 | 999892 | 999845 | 47 | 23500 | 0.0235
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8237 | 8185 | 52 | -52000 | -0.052 | 981888 | 981904 | -16 | 16000 | 0.016
28 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 101 | 106 | -5 | 5000 | 0.005 | 948533 | 948562 | -29 | 29000 | 0.029
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991578 | 991578 | 0 | 0 | 0 | 932342 | 933404 | -1062 | 1062000 | 1.062
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999485 | 999514 | -29 | 29000 | 0.029 | 0 | 0 | 0 | 0 | 0
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12624 | 11756 | 868 | -868000 | -0.868 | 999970 | 999970 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
32 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 746 | 725 | 21 | 21000 | 0.021 | 16564 | 16402 | 162 | 162000 | 0.162
33 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999666 | 999603 | 63 | 63000 | 0.063 | 3231 | 3183 | 48 | 48000 | 0.048
| NDPL(+) continue | [14 empty] | MAY-2012
DMS
34 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1363 | 1361 | 2 | 2000 | 0.002 | 57042 | 56374 | 668 | 668000 | 0.668
REWARI LINE
35 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 14240 | 14267 | -27 | -2700 | -0.0027 | 65011 | 62522 | 2489 | 248900 | 0.2489
VISHAL
36 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 8860 | 8849 | 11 | 1100 | 0.0011 | 16927 | 15370 | 1557 | 155700 | 0.1557
37 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 9691 | 9681 | 10 | 1000 | 0.001 | 32330 | 31397 | 933 | 93300 | 0.0933
38 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13769 | 13757 | 12 | 1200 | 0.0012 | 41706 | 39479 | 2227 | 222700 | 0.2227
S.B.MILL
39 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 33529 | 33364 | 165 | 16500 | 0.0165 | 11611 | 11020 | 591 | 59100 | 0.0591
40 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
41 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
42 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16042 | 16025 | 17 | 1700 | 0.0017 | 11567 | 11291 | 276 | 27600 | 0.0276
45 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 997137 | 997175 | -38 | -3800 | -0.0038 | 1403 | 1337 | 66 | 6600 | 0.0066
B.G.ROAD
46 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5132 | 5132 | 0 | 0 | 0 | 23443 | 22929 | 514 | 257000 | 0.257
47 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3313 | 3313 | 0 | 0 | 0 | 21301 | 20907 | 394 | 197000 | 0.197
48 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 3366 | 3354 | 12 | 6000 | 0.006 | 14020 | 13993 | 27 | 13500 | 0.0135
49 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 3338 | 3338 | 0 | 0 | 0 | 16607 | 16411 | 196 | 98000 | 0.098 | 01/05/12 TO 24/05/12
49 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 3332 | 3338 | -6 | 3000 | 0.003 | 16592 | 16607 | -15 | 7500 | 0.0075 | 24/05/12 TO 29/05/12 Mode Change
49 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 3357 | 3332 | 25 | 12500 | 0.0125 | 16592 | 16592 | 0 | 0 | 0 | 29/05/12 TO 31/05/12
D.M.S.
50 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 999037 | 999051 | -14 | -1400 | -0.0014 | 5879 | 5806 | 73 | 7300 | 0.0073
51 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 3917 | 3826 | 91 | 9100 | 0.0091 | 14025 | 13744 | 281 | 28100 | 0.0281
52 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 10274 | 9952 | 322 | 32200 | 0.0322 | 49063 | 48870 | 193 | 19300 | 0.0193
53 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 7988 | 7989 | -1 | -100 | -0.0001 | 18984 | 19040 | -56 | -5600 | -0.0056
54 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999383 | 999387 | -4 | -400 | -0.0004 | 243 | 250 | -7 | -700 | -0.0007
55 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
56 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 4666 | 3825 | 841 | 84100 | 0.0841 | 64097 | 63145 | 952 | 95200 | 0.0952
57 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 5711 | 5653 | 58 | 5800 | 0.0058 | 54305 | 53507 | 798 | 79800 | 0.0798
58 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 6696 | 6634 | 62 | 6200 | 0.0062 | 78796 | 77541 | 1255 | 125500 | 0.1255
KASHMIRI GATE
59 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 115939 | 115617 | 322 | 32200 | 0.0322 | 28381 | 27023 | 1358 | 135800 | 0.1358
60 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 16587 | 16552 | 35 | 3500 | 0.0035 | 34256 | 33519 | 737 | 73700 | 0.0737
61 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 41 | 41 | 0 | 0 | 0 | 28 | 23 | 5 | -1500 | -0.0015
REWARI LINE (11KV TRANSFER OF ENERGY)
62 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | -400 | 4570 | 4570 | 0 | 0 | 0 | 12611 | 12611 | 0 | 0 | 0
63 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999301 | 999301 | 0 | 0 | 0 | 999393 | 999393 | 0 | 0 | 0
Mundka
64 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 1336 | 1203 | 133 | 106400 | 0.1064 | 65 | 45 | 20 | 16000 | 0.016
MANGOLPURI
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -0.8909 |  |  |  |  | 6.7355
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | MAY-2012
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 6890 | 6700 | 190 | -19000 | -0.019 | 10664 | 9835 | 829 | -82900 | -0.0829
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6387 | 6383 | 4 | -4000 | -0.004 | 5164 | 4786 | 378 | -378000 | -0.378
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13350 | 13349 | 1 | -1000 | -0.001 | 25521 | 24753 | 768 | -768000 | -0.768
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 38270 | 38176 | 94 | -9400 | -0.0094 | 147052 | 147101 | -49 | 4900 | 0.0049
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973532 | 973711 | -179 | 179000 | 0.179 | 992660 | 992679 | -19 | 19000 | 0.019
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999531 | 999564 | -33 | -66000 | -0.066 | 999998 | 999998 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.0796 |  |  |  |  | -1.205
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -0.8909 |  |  |  |  | 6.7355
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.0796 |  |  |  |  | -1.205
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.78945 |  |  |  |  | -0.0007625
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -0.02185 |  |  |  |  | 5.5297
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.02185 | (REACTIVE MUs) |  |  |  | 5.5297 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.068231 | (REACTIVE MUs) |  |  |  | -1.0671 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.046381 | (REACTIVE MUs) |  |  |  | 4.4626 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MAY-2012
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 988676 | 988708 | -32 | -3200 | -0.0032 | 77035 | 78967 | -1932 | -193200 | -0.1932
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 17257 | 17251 | 6 | 600 | 0.0006 | 5572 | 3256 | 2316 | 231600 | 0.2316
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 23384 | 23855 | -471 | -47100 | -0.0471 | 30716 | 31927 | -1211 | -121100 | -0.1211
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 998674 | 998676 | -2 | -200 | -0.0002 | 7959 | 7003 | 956 | 95600 | 0.0956
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 8902 | 8911 | -9 | -900 | -0.0009 | 78002 | 79983 | -1981 | -198100 | -0.1981
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 714 | 710 | 4 | 400 | 0.0004 | 50325 | 49164 | 1161 | 116100 | 0.1161
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999574 | 999589 | -15 | -15000 | -0.015 | 999767 | 999776 | -9 | -9000 | -0.009
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999791 | 999794 | -3 | -3000 | -0.003 | 2344 | 2283 | 61 | 61000 | 0.061
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 396 | 400 | -4 | -4000 | -0.004 | 1710 | 1691 | 19 | 19000 | 0.019
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 83 | 84 | -1 | -1000 | -0.001 | 3220 | 3271 | -51 | -51000 | -0.051
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999703 | 999709 | -6 | -6000 | -0.006 | 2859 | 2756 | 103 | 103000 | 0.103
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 476 | 476 | 0 | 0 | 0 | 1045 | 1144 | -99 | -99000 | -0.099
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 156 | 157 | -1 | -1000 | -0.001 | 15022 | 14972 | 50 | 50000 | 0.05
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 300 | 302 | -2 | -2000 | -0.002 | 34821 | 34791 | 30 | 30000 | 0.03
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 256 | 256 | 0 | 0 | 0 | 12835 | 12404 | 431 | 431000 | 0.431
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 251 | 250 | 1 | 1000 | 0.001 | 5629 | 5525 | 104 | 104000 | 0.104
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 32338 | 32264 | 74 | 7400 | 0.0074 | 549 | 536 | 13 | 1300 | 0.0013
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998535 | 998523 | 12 | 12000 | 0.012 | 8512 | 8251 | 261 | 261000 | 0.261
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 817023 | 820035 | -3012 | -3313200 | -3.3132
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 859355 | 862125 | -2770 | -3047000 | -3.047
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991969 | 992035 | -66 | -66000 | -0.066 | 10042 | 10042 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -0.0776 |  |  |  |  | -5.4589
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964880 | 964903 | -23 | 23000 | 0.023 | 977591 | 977925 | -334 | 334000 | 0.334
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981038 | 981052 | -14 | 14000 | 0.014 | 982821 | 983991 | -1170 | 1170000 | 1.17
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 41 | 41 | 0 | 0 | 0 | 28 | 23 | 5 | 1500 | 0.0015
NARAINA
26 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1237 | 1237 | 0 | 0 | 0 | 58796 | 57646 | 1150 | 1150000 | 1.15
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10486 | 10236 | 250 | -250000 | -0.25 | 974314 | 974685 | -371 | 371000 | 0.371
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7048 | 6955 | 93 | -93000 | -0.093 | 976277 | 977174 | -897 | 897000 | 0.897
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000079 | 999935 | 144 | -144000 | -0.144 | 999968 | 999999 | -31 | 31000 | 0.031 | ROLL OVER
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989453 | 989525 | -72 | 72000 | 0.072 | 995751 | 995904 | -153 | 153000 | 0.153
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13350 | 13349 | 1 | 1000 | 0.001 | 25521 | 24753 | 768 | 768000 | 0.768
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 97413 | 95417 | 1996 | 199600 | 0.1996 | 1704 | 1707 | -3 | -300 | -0.0003
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 62006 | 61920 | 86 | 8600 | 0.0086 | 999676 | 999577 | 99 | 9900 | 0.0099
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.2968 |  |  |  |  | -0.6429
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.2968 |  |  |  |  | -0.6429
MAY-2012
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996818 | 996819 | -1 | 1000 | 0.001 | 937719 | 938906 | -1187 | 1187000 | 1.187
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15159 | 15158 | 1 | -1000 | -0.001 | 956363 | 957377 | -1014 | 1014000 | 1.014
3 | Tx.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12904 | 12906 | -2 | 2000 | 0.002 | 944152 | 945235 | -1083 | 1083000 | 1.083
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 947983 | 947994 | -11 | 11000 | 0.011 | 993712 | 993715 | -3 | 3000 | 0.003
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 938404 | 938404 | 0 | 0 | 0 | 992009 | 992010 | -1 | 1000 | 0.001
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 129 | 133 | -4 | 4000 | 0.004 | 993116 | 993283 | -167 | 167000 | 0.167
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1654 | 1 | -1000 | -0.001 | 982918 | 983021 | -103 | 103000 | 0.103
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998631 | 998638 | -7 | 14000 | 0.014 | 989312 | 989564 | -252 | 504000 | 0.504
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12553 | 12485 | 68 | -68000 | -0.068 | 956470 | 956614 | -144 | 144000 | 0.144
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966045 | 966049 | -4 | 4000 | 0.004 | 893280 | 897378 | -4098 | 4098000 | 4.098
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21429 | 21428 | 1 | -1000 | -0.001 | 30359 | 29490 | 869 | -869000 | -0.869
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19323 | 19310 | 13 | -13000 | -0.013 | 36988 | 36627 | 361 | -361000 | -0.361
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -0.048 |  |  |  |  | 7.074
| (B) NET ENERGY TO EAST | [8 empty] | -0.048 |  |  |  |  | 7.074
6
MAY-2012
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991634 | 991628 | 6 | -6000 | -0.006 | 998462 | 998460 | 2 | -2000 | -0.002
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 112 | 108 | 4 | -2000 | -0.002 | 999892 | 999845 | 47 | -23500 | -0.0235
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 27275 | 26522 | 753 | -150600 | -0.1506 | 62596 | 62480 | 116 | -23200 | -0.0232
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 46676 | 44190 | 2486 | -248600 | -0.2486 | 121609 | 121505 | 104 | -10400 | -0.0104
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 987970 | 988140 | -170 | 34000 | 0.034 | 4288 | 4293 | -5 | 1000 | 0.001
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 49134 | 47924 | 1210 | -242000 | -0.242 | 80375 | 80321 | 54 | -10800 | -0.0108
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 68842 | 67942 | 900 | -900000 | -0.9 | 249 | 232 | 17 | -17000 | -0.017
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10280 | 9201 | 1079 | -1079000 | -1.079 | 63 | 54 | 9 | -9000 | -0.009
9 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 993430 | 993544 | -114 | 91200 | 0.0912 | 998305 | 998394 | -89 | 71200 | 0.0712
10 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 3636 | 3568 | 68 | -54400 | -0.0544 | 177 | 160 | 17 | -13600 | -0.0136 | 01/05/12 TO 12/05/12
10 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 3685 | 3636 | 49 | 39200 | 0.0392 | 203 | 177 | 26 | 20800 | 0.0208 | 12/0512 TO 29/05/12 Mode Change
10 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 3685 | 3685 | 0 | 0 | 0 | 193 | 203 | -10 | 8000 | 0.008 | 29/05/12 TO 31/05/12
EXPORT TO SOUTH & WEST FROM PARK STREET
11 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996833 | 996874 | -41 | 41000 | 0.041 | 38096 | 38056 | 40 | -40000 | -0.04
12 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 996787 | 996863 | -76 | 101333.08 | 0.10133 | 502 | 491 | 11 | -14666.63 | -0.014667
EXPORT TO NORTH from SHASTRI PARK
13 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 746 | 725 | 21 | -21000 | -0.021 | 16564 | 16402 | 162 | -162000 | -0.162
14 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999666 | 999603 | 63 | -63000 | -0.063 | 3231 | 3183 | 48 | -48000 | -0.048
DMS
15 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1363 | 1361 | 2 | -2000 | -0.002 | 57042 | 56374 | 668 | -668000 | -0.668
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5132 | 5132 | 0 | 0 | 0 | 23443 | 22929 | 514 | -257000 | -0.257
17 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3313 | 3313 | 0 | 0 | 0 | 21301 | 20907 | 394 | -197000 | -0.197
18 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 3366 | 3354 | 12 | -6000 | -0.006 | 14020 | 13993 | 27 | -13500 | -0.0135
19 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 3338 | 3338 | 0 | 0 | 0 | 16607 | 16411 | 196 | -98000 | -0.098 | 01/05/12 TO 24/05/12
19 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 3332 | 3338 | -6 | -3000 | -0.003 | 16592 | 16607 | -15 | -7500 | -0.0075 | 24/05/12 TO 29/05/12 Mode Change
19 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 3357 | 3332 | 25 | -12500 | -0.0125 | 16592 | 16592 | 0 | 0 | 0 | 29/05/12 TO 31/05/12
KASHMIRI GATE
20 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 115939 | 115617 | 322 | -32200 | -0.0322 | 28381 | 27023 | 1358 | -135800 | -0.1358
21 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 16587 | 16552 | 35 | -3500 | -0.0035 | 34256 | 33519 | 737 | -73700 | -0.0737
D.M.S.
22 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 999037 | 999051 | -14 | 1400 | 0.0014 | 5879 | 5806 | 73 | -7300 | -0.0073
23 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 3917 | 3826 | 91 | -9100 | -0.0091 | 14025 | 13744 | 281 | -28100 | -0.0281
24 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 10274 | 9952 | 322 | -32200 | -0.0322 | 49063 | 48870 | 193 | -19300 | -0.0193
25 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 7988 | 7989 | -1 | 100 | 0.0001 | 18984 | 19040 | -56 | 5600 | 0.0056
26 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999383 | 999387 | -4 | 400 | 0.0004 | 243 | 250 | -7 | 700 | 0.0007
27 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
28 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 4666 | 3825 | 841 | -84100 | -0.0841 | 64097 | 63145 | 952 | -95200 | -0.0952
29 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 5711 | 5653 | 58 | -5800 | -0.0058 | 54305 | 53507 | 798 | -79800 | -0.0798
30 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 6696 | 6634 | 62 | -6200 | -0.0062 | 78796 | 77541 | 1255 | -125500 | -0.1255
[10 empty] | -2.6546 |  |  |  |  | -2.0726
MAY-2012
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.2968 |  |  |  |  | -0.6429
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -2.6546 |  |  |  |  | -2.0726
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.081 |  |  |  |  | -0.0141
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -3.0324 |  |  |  |  | -2.7296
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -0.048 |  |  |  |  | 7.074
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -3.0804 |  |  |  |  | 4.3444
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -3.0804 | (REACTIVE MUs) |  |  |  | 4.3444 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.059057 | (REACTIVE MUs) |  |  |  | -0.92364 | (REACTIVE MUs)
[9 empty] | TOTAL | -3.0213 | (REACTIVE MUs) |  |  |  | 3.4208 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | MAY-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998208 | 998213 | -5 | -5000 | -0.005 | 10616 | 10779 | -163 | -163000 | -0.163
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 990404 | 990439 | -35 | -46666.55 | -0.046667 | 677212 | 677359 | -147 | -195999.51 | -0.196
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6702 | 6686 | 16 | 16000 | 0.016 | 49306 | 48049 | 1257 | 1257000 | 1.257
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10906 | 10906 | 0 | 0 | 0 | 728 | 893 | -165 | -165000 | -0.165
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 7509 | 7486 | 23 | 2300 | 0.0023 | 91041 | 88004 | 3037 | 303700 | 0.3037
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 39903 | 40708 | -805 | -80500 | -0.0805 | 267832 | 269300 | -1468 | -146800 | -0.1468
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 8476 | 8396 | 80 | 8000 | 0.008 | 359514 | 351192 | 8322 | 832200 | 0.8322
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999965 | 999968 | -3 | -3000 | -0.003 | 131 | 432 | -301 | -301000 | -0.301
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992879 | 992895 | -16 | 16000 | 0.016 | 959855 | 961100 | -1245 | 1245000 | 1.245
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991191 | 991207 | -16 | 16000 | 0.016 | 962621 | 963851 | -1230 | 1230000 | 1.23
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987616 | 987624 | -8 | 8000 | 0.008 | 946663 | 947812 | -1149 | 1149000 | 1.149
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998238 | 998246 | -8 | 8000 | 0.008 | 962721 | 963976 | -1255 | 1255000 | 1.255
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996016 | 996079 | -63 | 63000 | 0.063 | 992636 | 993439 | -803 | 803000 | 0.803
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6833 | 6769 | 64 | -64000 | -0.064 | 995603 | 996773 | -1170 | 1170000 | 1.17
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41699 | 41612 | 87 | -87000 | -0.087 | 25341 | 25969 | -628 | 628000 | 0.628
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4816 | 4500 | 316 | -316000 | -0.316 | 10063 | 10673 | -610 | 610000 | 0.61
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25204 | 25118 | 86 | -86000 | -0.086 | 11437 | 12069 | -632 | 632000 | 0.632
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19004 | 18435 | 569 | -569000 | -0.569 | 42531 | 42492 | 39 | -39000 | -0.039
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6387 | 6383 | 4 | 4000 | 0.004 | 5164 | 4786 | 378 | 378000 | 0.378
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 944351 | 945556 | -1205 | 1205000 | 1.205 | 906402 | 906489 | -87 | 87000 | 0.087
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982529 | 982951 | -422 | 422000 | 0.422 | 868688 | 869875 | -1187 | 1187000 | 1.187
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 336 | 333 | 3 | -3000 | -0.003 | 990540 | 991895 | -1355 | 1355000 | 1.355
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 451 | 446 | 5 | -5000 | -0.005 | 973684 | 975919 | -2235 | 2235000 | 2.235
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1653 | 1358 | 295 | -295000 | -0.295 | 957889 | 957888 | 1 | -1000 | -0.001
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999630 | 999630 | 0 | 0 | 0 | 903332 | 907298 | -3966 | 3966000 | 3.966
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999027 | 999027 | 0 | 0 | 0 | 888279 | 892587 | -4308 | 4308000 | 4.308
BRPL(+) continue | [14 empty] | MAY-2012
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998910 | 998878 | 32 | -32000 | -0.032 | 974601 | 975057 | -456 | 456000 | 0.456
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 91 | 68 | 23 | -23000 | -0.023 | 991621 | 992133 | -512 | 512000 | 0.512
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 990716 | 990702 | 14 | -28000 | -0.028 | 972945 | 972880 | 65 | -130000 | -0.13
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997520 | 997527 | -7 | 7000 | 0.007 | 930951 | 932060 | -1109 | 1109000 | 1.109
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1508 | 1500 | 8 | -8000 | -0.008 | 942435 | 944651 | -2216 | 2216000 | 2.216
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997413 | 997420 | -7 | 7000 | 0.007 | 937612 | 938652 | -1040 | 1040000 | 1.04
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 997548 | 997697 | -149 | 99333.234 | 0.099333 | 150 | 596 | -446 | 297333.036 | 0.29733
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 973274 | 973592 | -318 | 211999.788 | 0.212 | 975752 | 976462 | -710 | 473332.86 | 0.47333
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 555 | 553 | 2 | -4000 | -0.004 | 1214 | 1160 | 54 | -108000 | -0.108
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997336 | 997334 | 2 | -4000 | -0.004 | 458 | 414 | 44 | -88000 | -0.088
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978489 | 980291 | -1802 | 1802000 | 1.802 | 999915 | 999915 | 0 | 0 | 0
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978403 | 979682 | -1279 | 1279000 | 1.279 | 999997 | 999997 | 0 | 0 | 0
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 999585 | 999577 | 8 | 6400 | 0.0064 | 636 | 550 | 86 | 68800 | 0.0688
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 3544 | 3510 | 34 | 27200 | 0.0272 | 338 | 224 | 114 | 91200 | 0.0912
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 989700 | 989928 | -228 | -182400 | -0.1824 | 999870 | 999896 | -26 | -20800 | -0.0208
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999531 | 999564 | -33 | 66000 | 0.066 | 999998 | 999998 | 0 | 0 | 0
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996833 | 996874 | -41 | -41000 | -0.041 | 38096 | 38056 | 40 | 40000 | 0.04
47 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 996787 | 996863 | -76 | -101333.08 | -0.10133 | 502 | 491 | 11 | 14666.63 | 0.014667
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3861 | 3603 | 258 | -258000 | -0.258 | 981872 | 981965 | -93 | 93000 | 0.093
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999095 | 999108 | -13 | 13000 | 0.013 | 989386 | 989719 | -333 | 333000 | 0.333
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 6890 | 6700 | 190 | 19000 | 0.019 | 10664 | 9835 | 829 | 82900 | 0.0829
SUDARSHAN PARK
51 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 38270 | 38176 | 94 | 9400 | 0.0094 | 147052 | 147101 | -49 | -4900 | -0.0049
REWARI LINE
52 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 973532 | 973711 | -179 | -179000 | -0.179 | 992660 | 992679 | -19 | -19000 | -0.019
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 1428 | 1428 | 0 | 0 | 0 | 5353 | 5353 | 0 | 0 | 0
55 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 8202 | 8202 | 0 | 0 | 0 | 12641 | 12641 | 0 | 0 | 0
ASSESSMENT OF I.P. BAY-37 FOR MARCH2012(13 DAYS),APRIL2012, MAY2012 (9 DAYS). ENERGY IS CALCULATED ON PRO-RATA BASIS WITH REFERENCE TO I.P. BAY-37 ENERGY OF FEB.2012 MONTH . | [9 empty] | -0.25677 |  |  |  |  | -0.0037655
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.638 |  |  |  |  | 30.0719
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | MAY-2012
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 4207 | 3059 | 1148 | -114800 | -0.1148 | 861937 | 858411 | 3526 | -352600 | -0.3526
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 97413 | 95417 | 1996 | -199600 | -0.1996 | 1704 | 1707 | -3 | 300 | 0.0003
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 62006 | 61920 | 86 | -8600 | -0.0086 | 999676 | 999577 | 99 | -9900 | -0.0099
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 999176 | 999282 | -106 | 10600 | 0.0106 | 999970 | 999973 | -3 | 300 | 0.0003
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 999062 | 999207 | -145 | 14500 | 0.0145 | 999995 | 999997 | -2 | 200 | 0.0002
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 636 | 660 | -24 | 24000 | 0.024 | 72589 | 72621 | -32 | 32000 | 0.032
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7453 | 7860 | -407 | 407000 | 0.407 | 2118 | 2117 | 1 | -1000 | -0.001
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 848169 | 842227 | 5942 | -594200 | -0.5942 | 46552 | 46068 | 484 | -48400 | -0.0484
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 37790 | 36344 | 1446 | -144600 | -0.1446 | 51558 | 51151 | 407 | -40700 | -0.0407
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 29125 | 28956 | 169 | -16900 | -0.0169 | 53452 | 52818 | 634 | -63400 | -0.0634
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 66334 | 64045 | 2289 | -457800 | -0.4578 | 103652 | 103479 | 173 | -34600 | -0.0346
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865103 | ELSTER | Kvarh(Lead/Lag) | -100 | 53962 | 49886 | 4076 | -407600 | -0.4076 | 12575 | 12543 | 32 | -3200 | -0.0032
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 36266 | 36248 | 18 | -1800 | -0.0018 | 648527 | 636150 | 12377 | -1237700 | -1.2377
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 111299 | 111299 | 0 | 0 | 0 | 231508 | 231508 | 0 | 0 | 0
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 223588 | 219464 | 4124 | -412400 | -0.4124 | 36323 | 36220 | 103 | -10300 | -0.0103
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 867 | 863 | 4 | -400 | -0.0004 | 13619 | 13178 | 441 | -44100 | -0.0441
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 14240 | 14267 | -27 | 2700 | 0.0027 | 65011 | 62522 | 2489 | -248900 | -0.2489
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 8860 | 8849 | 11 | -1100 | -0.0011 | 16927 | 15370 | 1557 | -155700 | -0.1557
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 9691 | 9681 | 10 | -1000 | -0.001 | 32330 | 31397 | 933 | -93300 | -0.0933
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13769 | 13757 | 12 | -1200 | -0.0012 | 41706 | 39479 | 2227 | -222700 | -0.2227
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 33529 | 33364 | 165 | -16500 | -0.0165 | 11611 | 11020 | 591 | -59100 | -0.0591
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16042 | 16025 | 17 | -1700 | -0.0017 | 11567 | 11291 | 276 | -27600 | -0.0276
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 997137 | 997175 | -38 | 3800 | 0.0038 | 1403 | 1337 | 66 | -6600 | -0.0066
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | 400 | 4570 | 4570 | 0 | 0 | 0 | 12611 | 12611 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999301 | 999301 | 0 | 0 | 0 | 999393 | 999393 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -1.9176 |  |  |  |  | -2.627
MAY-2012
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 2.638 |  |  |  |  | 30.0719
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -1.9176 |  |  |  |  | -2.627
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.19465 |  |  |  |  | 1.5599
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0303 |  |  |  |  | -0.8771
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 0.88471 |  |  |  |  | 28.1277
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.88471 | (REACTIVE MUs) |  |  |  | 28.1277 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.10572 | (REACTIVE MUs) |  |  |  | -1.6535 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.99043 | (REACTIVE MUs) |  |  |  | 26.4742 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MAY-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 27275 | 26522 | 753 | 150600 | 0.1506 | 62596 | 62480 | 116 | 23200 | 0.0232
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 46676 | 44190 | 2486 | 248600 | 0.2486 | 121609 | 121505 | 104 | 10400 | 0.0104
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 987970 | 988140 | -170 | -34000 | -0.034 | 4288 | 4293 | -5 | -1000 | -0.001
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 49134 | 47924 | 1210 | 242000 | 0.242 | 80375 | 80321 | 54 | 10800 | 0.0108
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 68842 | 67942 | 900 | 900000 | 0.9 | 249 | 232 | 17 | 17000 | 0.017
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10280 | 9201 | 1079 | 1079000 | 1.079 | 63 | 54 | 9 | 9000 | 0.009
7 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 993430 | 993544 | -114 | -91200 | -0.0912 | 998305 | 998394 | -89 | -71200 | -0.0712
8 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 3636 | 3568 | 68 | 54400 | 0.0544 | 177 | 160 | 17 | 13600 | 0.0136 | 01/05/12 TO 12/05/12
8 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 3685 | 3636 | 49 | -39200 | -0.0392 | 203 | 177 | 26 | -20800 | -0.0208 | 12/0512 TO 29/05/12 Mode Change
8 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 3685 | 3685 | 0 | 0 | 0 | 193 | 203 | -10 | -8000 | -0.008 | 29/05/12 TO 31/05/12
I.P.STATION EXPORT TO NDMC
9 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998401 | 998362 | 39 | 3900 | 0.0039 | 297245 | 290071 | 7174 | 717400 | 0.7174
10 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 7124 | 7079 | 45 | 4500 | 0.0045 | 426720 | 422564 | 4156 | 415600 | 0.4156
11 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 11134 | 11134 | 0 | 0 | 0 | 230424 | 224126 | 6298 | 629800 | 0.6298
12 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5319 | 5280 | 39 | 3900 | 0.0039 | 302030 | 301349 | 681 | 68100 | 0.0681
13 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 998700 | 998701 | -1 | -100 | -0.0001 | 240239 | 234542 | 5697 | 569700 | 0.5697
14 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 259 | 200 | 59 | 5900 | 0.0059 | 136021 | 132685 | 3336 | 333600 | 0.3336
15 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 12999 | 12996 | 3 | 300 | 0.0003 | 205362 | 197501 | 7861 | 786100 | 0.7861
16 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 13531 | 13456 | 75 | 7500 | 0.0075 | 241248 | 235341 | 5907 | 590700 | 0.5907
G.T.
17 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 59540 | 58339 | 1201 | 1321100 | 1.3211
18 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4826 | 4820 | 6 | 6000 | 0.006 | 36471 | 36470 | 1 | 1000 | 0.001
19 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 132218 | 131743 | 475 | 522500 | 0.5225
20 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9189 | 9080 | 109 | 109000 | 0.109 | 48402 | 48402 | 0 | 0 | 0
[10 empty] | 0.115 |  |  |  |  | 1.8446
RIDGE VALLEY
21 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 636 | 660 | -24 | -24000 | -0.024 | 72589 | 72621 | -32 | -32000 | -0.032
22 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7453 | 7860 | -407 | -407000 | -0.407 | 2118 | 2117 | 1 | 1000 | 0.001
23 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 848169 | 842227 | 5942 | 594200 | 0.5942 | 46552 | 46068 | 484 | 48400 | 0.0484
24 | A.I.I.M.S.
25 | TX-I | 4865103 | ELSTER | Kvarh(Lag) | 100 | 53962 | 49886 | 4076 | 407600 | 0.4076 | 12575 | 12543 | 32 | 3200 | 0.0032
26 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 36266 | 36248 | 18 | 1800 | 0.0018 | 648527 | 636150 | 12377 | 1237700 | 1.2377
27 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 111299 | 111299 | 0 | 0 | 0 | 231508 | 231508 | 0 | 0 | 0
MAY-2012
NDMC(+) Continue…
KIDWAI NAGAR
28 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 223588 | 219464 | 4124 | 412400 | 0.4124 | 36323 | 36220 | 103 | 10300 | 0.0103
EXHIBITION I
29 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 867 | 863 | 4 | 400 | 0.0004 | 13619 | 13178 | 441 | 44100 | 0.0441
30 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
31 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 37790 | 36344 | 1446 | 144600 | 0.1446 | 51558 | 51151 | 407 | 40700 | 0.0407
32 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 29125 | 28956 | 169 | 16900 | 0.0169 | 53452 | 52818 | 634 | 63400 | 0.0634
33 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 66334 | 64045 | 2289 | 457800 | 0.4578 | 103652 | 103479 | 173 | 34600 | 0.0346
TILAK MARG
34 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 4207 | 3059 | 1148 | 114800 | 0.1148 | 861937 | 858411 | 3526 | 352600 | 0.3526
NDMC(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 1428 | 1428 | 0 | 0 | 0 | 5353 | 5353 | 0 | 0 | 0
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 8202 | 8202 | 0 | 0 | 0 | 12641 | 12641 | 0 | 0 | 0
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 4.3706 |  |  |  |  | 7.7426
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 4.3706 |  |  |  |  | 7.7426
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.012484 |  |  |  |  | -0.19524
| TOTAL ENERGY TO NDMC | [8 empty] | 4.3831 |  |  |  |  | 7.5474

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2012
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 645 | 643 | 2 | 2000 | 0.002 | 14770 | 14311 | 459 | 459000 | 0.459
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 452 | 452 | 0 | 0 | 0 | 19169 | 18656 | 513 | 513000 | 0.513
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 825 | 823 | 2 | 2000 | 0.002 | 27735 | 26650 | 1085 | 1085000 | 1.085
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 464 | 463 | 1 | 1000 | 0.001 | 13999 | 13599 | 400 | 400000 | 0.4
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2205 | 2200 | 5 | 5000 | 0.005 | 6911 | 6764 | 147 | 147000 | 0.147
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 999176 | 999282 | -106 | -10600 | -0.0106 | 999970 | 999973 | -3 | -300 | -0.0003
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 999062 | 999207 | -145 | -14500 | -0.0145 | 999995 | 999997 | -2 | -200 | -0.0002
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0151 |  |  |  |  | 2.6035
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3287 | 3287 | 0 | 0 | 0 | 32967 | 32967 | 0 | 0 | 0
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 29679 | 29464 | 215 | 21500 | 0.0215 | 60710 | 59608 | 1102 | 110200 | 0.1102
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 66776 | 66775 | 1 | 100 | 0.0001 | 7947 | 7290 | 657 | 65700 | 0.0657
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 20781 | 20706 | 75 | 7500 | 0.0075 | 49245 | 46996 | 2249 | 224900 | 0.2249
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999982 | 7 | 700 | 0.0007 | 18738 | 18220 | 518 | 51800 | 0.0518
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 76815 | 76815 | 0 | 0 | 0 | 44544 | 41123 | 3421 | 342100 | 0.3421
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 2893 | 2888 | 5 | 500 | 0.0005 | 5104 | 4280 | 824 | 82400 | 0.0824
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0303 |  |  |  |  | 0.8771
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0303 |  |  |  |  | 0.8771
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0151 |  |  |  |  | 2.6035
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0152 |  |  |  |  | 3.4806
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0152 | (REACTIVE MUs) |  |  |  | 3.4806 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0019062 | (REACTIVE MUs) |  |  |  | -0.029813 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.017106 | (REACTIVE MUs) |  |  |  | 3.4508 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2012
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 57142 | 57563 | -421 | -42100 | -0.0421 | 77706 | 77748 | -42 | -4200 | -0.0042
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 11120 | 11799 | -679 | -67900 | -0.0679 | 999910 | 999481 | 429 | 42900 | 0.0429
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 173569 | 172705 | 864 | 86400 | 0.0864 | 92337 | 91993 | 344 | 34400 | 0.0344
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 18279 | 18091 | 188 | 176250 | 0.17625 | 17982 | 17801 | 181 | 169687.5 | 0.16969
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 992776 | 992859 | -83 | 41500 | 0.0415 | 941209 | 943615 | -2406 | 1203000 | 1.203
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 994043 | 994044 | -1 | 500 | 0.0005 | 986206 | 986433 | -227 | 113500 | 0.1135
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999987 | 999987 | 0 | 0 | 0 | 999886 | 999884 | 2 | 600 | 0.0006
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.19465 |  |  |  |  | 1.5599
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 950423 | 950839 | -416 | -83200 | -0.0832 | 991908 | 991979 | -71 | -14200 | -0.0142
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 865044 | 865022 | 22 | 2200 | 0.0022 | 928496 | 928495 | 1 | 100 | 0.0001
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.081 |  |  |  |  | -0.0141
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 175319 | 173874 | 1445 | 289000 | 0.289 | 258947 | 258664 | 283 | 56600 | 0.0566
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 66426 | 65417 | 1009 | 201800 | 0.2018 | 40189 | 40207 | -18 | -3600 | -0.0036
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 96402 | 94487 | 1915 | 191500 | 0.1915 | 69889 | 69971 | -82 | -8200 | -0.0082
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987584 | 987488 | 96 | 96000 | 0.096 | 997870 | 997820 | 50 | 50000 | 0.05
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 981192 | 981418 | -226 | -22600 | -0.0226 | 7330 | 7389 | -59 | -5900 | -0.0059
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 9 | 15 | -6 | -5625 | -0.005625 | 2790 | 2891 | -101 | -94687.5 | -0.094687
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 991875 | 991938 | -63 | 39375 | 0.039375 | 995706 | 995715 | -9 | 5625 | 0.005625
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999987 | 999987 | 0 | 0 | 0 | 999886 | 999884 | 2 | -600 | -0.0006
| TOTAL NDPL | [8 empty] | 0.78945 |  |  |  |  | -0.0007625
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.19465 |  |  |  |  | 1.5599
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.081 |  |  |  |  | -0.0141
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.78945 |  |  |  |  | -0.0007625

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2012
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 6208 | 6170 | 38 | 76000 | 0.076 | 999986 | 999985 | 1 | 2000 | 0.002
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 9512 | 9426 | 86 | 172000 | 0.172 | 138 | 137 | 1 | 2000 | 0.002
[7 empty] | NET REACTIVE ENERGY |  |  | 0.248 |  | NET REACTIVE ENERGY |  |  | 0.004
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 999579 | 999579 | 0 | 0 | 0 | 43616 | 43618 | -2 | -2000 | -0.002
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 985471 | 985509 | -38 | -38000 | -0.038 | 985188 | 985445 | -257 | -257000 | -0.257
[7 empty] | NET REACTIVE ENERGY |  |  | -0.038 |  | NET REACTIVE ENERGY |  |  | -0.259
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.21 |  |  |  |  | -0.255
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.0776 |  |  |  |  | -5.4589
[7 empty] | NDMC = |  |  | 0.115 |  |  |  |  | 1.8446
MES =
[7 empty] | 2)TOTAL |  |  | 0.0374 |  |  |  |  | -3.6143
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.2474 |  |  |  |  | -3.8693
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 27.5794 | % |  |  | 0.068231 |  |  |  |  | -1.0671
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.7332 | % |  |  | 0.10572 |  |  |  |  | -1.6535
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.8709 | % |  |  | 0.059057 |  |  |  |  | -0.92364
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.046 | % |  |  | 0.012484 |  |  |  |  | -0.19524
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7705 | % |  |  | 0.0019062 |  |  |  |  | -0.029813
Note :Sharing taken from wk-08 abt bill 2012-13

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st MAY-2012 TO 31st MAY-2012
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 0.046381 | + | 4.4626
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 0.99043 | + | 26.4742
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -3.0213 | + | 3.4208
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 4.3831 | + | 7.5474
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.017106 | + | 3.4508
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/12 | INTIAL READING 01/05/12 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 972869 | 975271 | -2402 | -3603000 | -3.603 | 981175 | 981175 | 0 | 0 | 0
2 | GT-II | 4902493 | ELSTER | kvarh (lag) | 1500 | 975428 | 975441 | -13 | -19500 | -0.0195 | 986547 | 986777 | -230 | -345000 | -0.345
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 929399 | 929576 | -177 | -265500 | -0.2655 | 970073 | 970170 | -97 | -145500 | -0.1455
[8 empty] | NET REACTIVE ENERGY |  | -3.888 |  |  | NET REACTIVE ENERGY |  | -0.4905
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997237 | 997235 | 2 | 10000 | 0.01 | 36357 | 36525 | -168 | -840000 | -0.84
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999434 | 999433 | 1 | 1000 | 0.001 | 8259 | 7828 | 431 | 431000 | 0.431
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 970042 | 970039 | 3 | 3000 | 0.003 | 989604 | 990152 | -548 | -548000 | -0.548
[8 empty] | NET REACTIVE ENERGY |  | 0.014 |  |  | NET REACTIVE ENERGY |  | -0.957