## NDPL
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977256 | 979564 | -2308 | 2308000 | 2.308 | 995940 | 995942 | -2 | 2000 | 0.002
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995356 | 995142 | 214 | -214000 | -0.214 | 996316 | 996316 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988817 | 990967 | -2150 | 2150000 | 2.15 | 996157 | 996169 | -12 | 12000 | 0.012
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974068 | 974184 | -116 | 116000 | 0.116 | 972001 | 972063 | -62 | 62000 | 0.062 | Data upto 27/04/2015
[10 empty] | 0.012 |  |  |  |  | 0.006 | Assessment
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917508 | 917622 | -114 | 114000 | 0.114 | 933734 | 933748 | -14 | 14000 | 0.014
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22945 | 23529 | -584 | 584000 | 0.584 | 17952 | 17962 | -10 | 10000 | 0.01
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8220 | 8910 | -690 | 690000 | 0.69 | 11625 | 11633 | -8 | 8000 | 0.008
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 13469 | 13872 | -403 | 503750 | 0.50375 | 994526 | 994574 | -48 | 60000 | 0.06
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 818 | 1789 | -971 | 971000 | 0.971 | 983864 | 983902 | -38 | 38000 | 0.038
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26395 | 27094 | -699 | 699000 | 0.699 | 9031 | 9032 | -1 | 1000 | 0.001
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987537 | 988480 | -943 | 943000 | 0.943 | 3213 | 3213 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986424 | 987124 | -700 | 700000 | 0.7 | 998013 | 998017 | -4 | 4000 | 0.004
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 871207 | 874686 | -3479 | -3479000 | -3.479 | 920488 | 920488 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984431 | 985261 | -830 | 830000 | 0.83 | 16834 | 16836 | -2 | 2000 | 0.002
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 562 | 796 | -234 | 234000 | 0.234 | 20151 | 20152 | -1 | 1000 | 0.001
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4667 | 4372 | 295 | -295000 | -0.295 | 999980 | 999980 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 999998 | 999926 | 72 | 14400 | 0.0144 | 986325 | 986425 | -100 | -20000 | -0.02
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 713 | 677 | 36 | 36000 | 0.036 | 29437 | 29439 | -2 | -2000 | -0.002
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 5578 | 5380 | 198 | 19800 | 0.0198 | 161721 | 161709 | 12 | 1200 | 0.0012
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 32984 | 30209 | 2775 | 277500 | 0.2775 | 241027 | 241017 | 10 | 1000 | 0.001
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996478 | 996450 | 28 | 28000 | 0.028 | 3463 | 3468 | -5 | -5000 | -0.005
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 557 | 523 | 34 | 34000 | 0.034 | 8122 | 8148 | -26 | -26000 | -0.026
23 | PANDAV NAGAR | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999816 | 1000000 | -184 | -184000 | -0.184 | 0 | 0 | 0 | 0 | 0
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 634706 | 634855 | -149 | -149000 | -0.149 | 797618 | 797622 | -4 | -4000 | -0.004
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 640802 | 642237 | -1435 | -1435000 | -1.435 | 830705 | 830705 | 0 | 0 | 0
26 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 4616 | 4303 | 313 | 125200 | 0.1252 | 999657 | 999653 | 4 | 1600 | 0.0016
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 4003 | 3864 | 139 | 69500 | 0.0695 | 4265 | 4174 | 91 | 45500 | 0.0455
KANJAWALA
28 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23302 | 22337 | 965 | -965000 | -0.965 | 981108 | 981108 | 0 | 0 | 0
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7222 | 7710 | -488 | 488000 | 0.488 | 999384 | 999444 | -60 | 60000 | 0.06
BAWANA
30 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6608 | 5884 | 724 | -724000 | -0.724 | 924246 | 924247 | -1 | 1000 | 0.001
DSIDC BAWANA
0.001 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12704 | 11639 | 1065 | -1065000 | -1.065 | 999027 | 999068 | -41 | 41000 | 0.041 | Data upto 27/04/2015
[10 empty] | -0.097 |  |  |  |  | 0.0045 | Assesment
32 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 73172 | 71748 | 1424 | -1424000 | -1.424 | 2603 | 2595 | 8 | -8000 | -0.008
ROHINI-II
33 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3251 | 3298 | -47 | 47000 | 0.047 | 998731 | 998731 | 0 | 0 | 0
34 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3309 | 3309 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
WAZIRPUR
35 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996613 | 997593 | -980 | 980000 | 0.98 | 999993 | 999993 | 0 | 0 | 0
36 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4608 | 4205 | 403 | -403000 | -0.403 | 999995 | 999995 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
37 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2127 | 2075 | 52 | 52000 | 0.052 | 23415 | 23402 | 13 | 13000 | 0.013
38 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 611 | 466 | 145 | 145000 | 0.145 | 2825 | 2825 | 0 | 0 | 0
| NDPL(+) continue | [14 empty] | APRIL-2015
DMS
39 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1365 | -5 | -5000 | -0.005 | 61319 | 61321 | -2 | -2000 | -0.002
REWARI LINE
40 | 20MVA Tx-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | 125 | 174179 | 173204 | 975 | 121875 | 0.12187 | 261546 | 261090 | 456 | 57000 | 0.057
VISHAL
41 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9227 | 9064 | 163 | 16300 | 0.0163 | 29080 | 29053 | 27 | 2700 | 0.0027
42 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11030 | 10594 | 436 | 43600 | 0.0436 | 58266 | 58217 | 49 | 4900 | 0.0049
43 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 18172 | 17905 | 267 | 26700 | 0.0267 | 62438 | 62111 | 327 | 32700 | 0.0327
S.B.MILL
44 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 6484 | 5898 | 586 | 58600 | 0.0586 | 4617 | 4499 | 118 | 11800 | 0.0118
45 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
46 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
47 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
48 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
49 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 17132 | 16862 | 270 | 27000 | 0.027 | 19766 | 19737 | 29 | 2900 | 0.0029
50 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 995527 | 995826 | -299 | -13287.56 | -0.013288 | 329 | 312 | 17 | 755.48 | 0.00075548
B.G.ROAD
51 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5473 | 5477 | -4 | -2000 | -0.002 | 31433 | 31346 | 87 | 43500 | 0.0435
52 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3706 | 3728 | -22 | -11000 | -0.011 | 29122 | 29059 | 63 | 31500 | 0.0315
53 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 6539 | 6481 | 58 | 29000 | 0.029 | 14891 | 14891 | 0 | 0 | 0
54 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 1711 | 1644 | 67 | 44666.6667 | 0.044667 | 937 | 935 | 2 | 1333.3333 | 0.0013333
D.M.S.
55 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 998638 | 998786 | -148 | -14800 | -0.0148 | 27 | 27 | 0 | 0 | 0
56 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999957 | 999991 | -34 | -3400 | -0.0034 | 999999 | 1000000 | -1 | -100 | -0.0001
57 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23588 | 23653 | -65 | -6500 | -0.0065 | 57143 | 57143 | 0 | 0 | 0
58 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 998452 | 998452 | 0 | 0 | 0 | 58 | 58 | 0 | 0 | 0
[10 empty] | -0.0023 |  |  |  |  | 0 | Assessment upto 26/04/2015
| SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 1000000 | -2 | -200 | -0.0002 | 999999 | 1000000 | -1 | -100 | -0.0001 | w.e.f 27/04/2015
60 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
| BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 27/04/2015
FAIZ ROAD
61 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | 100 | 177952 | 177368 | 584 | 58400 | 0.0584 | 51798 | 51745 | 53 | 5300 | 0.0053
62 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 18308 | 18113 | 195 | 19500 | 0.0195 | 65878 | 65754 | 124 | 12400 | 0.0124
63 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 6595 | 6351 | 244 | 24400 | 0.0244 | 4132 | 3957 | 175 | 17500 | 0.0175
KASHMIRI GATE
64 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 166405 | 163836 | 2569 | 256900 | 0.2569 | 20889 | 20888 | 1 | 100 | 0.0001
65 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 23850 | 23751 | 99 | 9900 | 0.0099 | 44624 | 44440 | 184 | 18400 | 0.0184
66 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 22 | 22 | 0 | 0 | 0 | 381 | 381 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
67 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995596 | 995596 | 0 | 0 | 0 | 50 | 50 | 0 | 0 | 0
68 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999933 | 999933 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0
Mundka
69 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 977213 | 978819 | -1606 | -1284800 | -1.2848 | 264 | 264 | 0 | 0 | 0
70 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 49 | 668 | -619 | -1238000 | -1.238 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | 0.8927 |  |  |  |  | 0.56439
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-2015
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 20643 | 19804 | 839 | -83900 | -0.0839 | 16191 | 16158 | 33 | -3300 | -0.0033
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13273 | 12839 | 434 | -434000 | -0.434 | 7633 | 7608 | 25 | -25000 | -0.025
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 9460 | 8299 | 1161 | -232200 | -0.2322 | 15689 | 15152 | 537 | -107400 | -0.1074
4 | O/G BG Rd.2 | 4864877 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999280 | 999291 | -11 | 11000 | 0.011 | 936 | 936 | 0 | 0 | 0 | Data upto 06/04/2015
|  | 4864855 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14206 | 14227 | -21 | 21000 | 0.021 | 34768 | 34773 | -5 | 5000 | 0.005 | Check Meter Data
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 9630 | 9889 | -259 | 25900 | 0.0259 | 61395 | 61395 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 920764 | 923911 | -3147 | 3147000 | 3.147 | 991947 | 991947 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 1000000 | -573 | -1146000 | -1.146 | 999958 | 1000000 | -42 | -84000 | -0.084
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.3088 |  |  |  |  | -0.2147
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | 0.8927 |  |  |  |  | 0.56439
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.3088 |  |  |  |  | -0.2147
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 2.2363 |  |  |  |  | 0.0047375
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 4.4378 |  |  |  |  | 0.35443
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 4.4378 | (REACTIVE MUs) |  |  |  | 0.35443 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.026517 | (REACTIVE MUs) |  |  |  | -1.8377 | (REACTIVE MUs)
[9 empty] | TOTAL | 4.4643 | (REACTIVE MUs) |  |  |  | -1.4832 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | APRIL-2015
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 998255 | 999462 | -1207 | -120700 | -0.1207 | 37013 | 37078 | -65 | -6500 | -0.0065
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 1197 | 2047 | -850 | -85000 | -0.085 | 53555 | 52656 | 899 | 89900 | 0.0899
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 14209 | 15610 | -1401 | -140100 | -0.1401 | 33404 | 34080 | -676 | -67600 | -0.0676
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 600 | 999986 | 1000542 | -556 | -333600 | -0.3336 | 5383 | 5426 | -43 | -25800 | -0.0258
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 500 | 1967 | 1909 | 58 | 29000 | 0.029 | 2039 | 1802 | 237 | 118500 | 0.1185
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 17870 | 16051 | 1819 | 181900 | 0.1819 | 170989 | 170540 | 449 | 44900 | 0.0449
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 21880 | 16274 | 5606 | 560600 | 0.5606 | 123740 | 122983 | 757 | 75700 | 0.0757
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990778 | 991014 | -236 | -236000 | -0.236 | 947 | 947 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998241 | 998259 | -18 | -18000 | -0.018 | 2030 | 2030 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 495 | 708 | -213 | -213000 | -0.213 | 1540 | 1540 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997674 | 997944 | -270 | -270000 | -0.27 | 2688 | 2688 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997451 | 997437 | 14 | 14000 | 0.014 | 4442 | 4442 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 388 | 395 | -7 | -7000 | -0.007 | 2305 | 2296 | 9 | 9000 | 0.009 | data upto 20/04/2015
[10 empty] | -0.00245 |  |  |  |  | 0.00315 | Assessment
| LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999997 | 1000000 | -3 | -3000 | -0.003 | 999992 | 1000000 | -8 | -8000 | -0.008 | w.e.f 28/04/2015
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999310 | 999369 | -59 | -59000 | -0.059 | 16776 | 16774 | 2 | 2000 | 0.002
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1096 | 1160 | -64 | -64000 | -0.064 | 37358 | 37358 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999936 | 999954 | -18 | -18000 | -0.018 | 27536 | 27536 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1599 | 1541 | 58 | 58000 | 0.058 | 9303 | 9303 | 0 | 0 | 0
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 11127 | 10553 | 574 | 57400 | 0.0574 | 250 | 250 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996829 | 996996 | -167 | -167000 | -0.167 | 14136 | 14136 | 0 | 0 | 0
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 701239 | 704323 | -3084 | -3392400 | -3.3924
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 732861 | 736821 | -3960 | -4356000 | -4.356
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984856 | 984856 | 0 | 0 | 0 | 9080 | 9080 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -0.92805 |  |  |  |  | -7.7423
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955430 | 955465 | -35 | 35000 | 0.035 | 949049 | 949290 | -241 | 241000 | 0.241
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963790 | 964609 | -819 | 819000 | 0.819 | 955463 | 955464 | -1 | 1000 | 0.001
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 22 | 22 | 0 | 0 | 0 | 381 | 381 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 538 | 531 | 7 | 7000 | 0.007 | 5938 | 6075 | -137 | -137000 | -0.137
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53652 | 52453 | 1199 | -1199000 | -1.199 | 974188 | 974199 | -11 | 11000 | 0.011
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41229 | 39687 | 1542 | -1542000 | -1.542 | 969806 | 969805 | 1 | -1000 | -0.001
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996580 | 996256 | 324 | -324000 | -0.324 | 995537 | 995576 | -39 | 39000 | 0.039
30 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999337 | 999675 | -338 | 338000 | 0.338 | 999839 | 999997 | -158 | 158000 | 0.158
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3004 | 3096 | -92 | 184000 | 0.184 | 999790 | 999790 | 0 | 0 | 0
32 | TX.-2 (66KV) | 5128431 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999445 | 999648 | -203 | 406000 | 0.406 | 999999 | 999999 | 0 | 0 | 0
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 465 | 1443 | -978 | 978000 | 0.978 | 999998 | 999998 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 9460 | 8299 | 1161 | 232200 | 0.2322 | 15689 | 15152 | 537 | 107400 | 0.1074
35 | O/G BG Rd.2 | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999280 | 999291 | -11 | -11000 | -0.011 | 936 | 936 | 0 | 0 | 0 | data upto 06/04/2015
|  | 4864855 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14206 | 14227 | -21 | -21000 | -0.021 | 34768 | 34773 | -5 | -5000 | -0.005 | Check Meter Data
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 98167 | 98210 | -43 | -4300 | -0.0043 | 1585 | 1595 | -10 | -1000 | -0.001
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 148875 | 150042 | -1167 | -116700 | -0.1167 | 4469 | 4530 | -61 | -6100 | -0.0061
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -1.0547 |  |  |  |  | -7.1059
| (A) NET ENERGY TO CENTRAL | [8 empty] | -1.0547 |  |  |  |  | -7.1059
APRIL-2015
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982981 | 983581 | -600 | 600000 | 0.6 | 908090 | 908281 | -191 | 191000 | 0.191
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6327 | 6813 | -486 | 486000 | 0.486 | 927375 | 927537 | -162 | 162000 | 0.162
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982747 | 983496 | -749 | 749000 | 0.749 | 972885 | 973040 | -155 | 155000 | 0.155
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 995699 | 996178 | -479 | 958000 | 0.958 | 986679 | 986687 | -8 | 16000 | 0.016
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 898497 | 897543 | 954 | -954000 | -0.954 | 990285 | 990286 | -1 | 1000 | 0.001
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 877181 | 878817 | -1636 | 1636000 | 1.636 | 988831 | 988831 | 0 | 0 | 0 | Data upto 13/04/2015
[10 empty] | 0.755 |  |  |  |  | 0 | Assessment
| Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998785 | 1000000 | -1215 | 1215000 | 1.215 | 999999 | 1000000 | -1 | 1000 | 0.001 | w.e.f 20/04/2015
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6014 | 5860 | 154 | -154000 | -0.154 | 984410 | 984442 | -32 | 32000 | 0.032
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1272 | 557 | 715 | -715000 | -0.715 | 999999 | 1000000 | -1 | 1000 | 0.001
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997984 | 998405 | -421 | 421000 | 0.421 | 945009 | 945054 | -45 | 45000 | 0.045
GEETA COLONY
10 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984278 | 985313 | -1035 | 1035000 | 1.035 | 990861 | 991563 | -702 | 702000 | 0.702
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958434 | 958009 | 425 | -425000 | -0.425 | 863138 | 863141 | -3 | 3000 | 0.003
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17465 | 18947 | -1482 | 1482000 | 1.482 | 34927 | 34929 | -2 | 2000 | 0.002
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23169 | 23794 | -625 | 625000 | 0.625 | 44997 | 44999 | -2 | 2000 | 0.002
14 | TX-3 | 5128450 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998613 | 998853 | -240 | 240000 | 0.24 | 999997 | 1000000 | -3 | 3000 | 0.003
SB MILL
15 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 7.954 |  |  |  |  | 1.316
| (B) NET ENERGY TO EAST | [8 empty] | 7.954 |  |  |  |  | 1.316
APRIL-2015
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 4616 | 4303 | 313 | -125200 | -0.1252 | 999657 | 999653 | 4 | -1600 | -0.0016
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 4003 | 3864 | 139 | -69500 | -0.0695 | 4265 | 4174 | 91 | -45500 | -0.0455
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 51199 | 50436 | 763 | -152600 | -0.1526 | 77908 | 77821 | 87 | -17400 | -0.0174
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 73445 | 73098 | 347 | -34700 | -0.0347 | 139453 | 139377 | 76 | -7600 | -0.0076
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 978346 | 978642 | -296 | 59200 | 0.0592 | 999199 | 999150 | 49 | -9800 | -0.0098
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 80379 | 79467 | 912 | -182400 | -0.1824 | 95531 | 95409 | 122 | -24400 | -0.0244
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 11442 | 11256 | 186 | -148800 | -0.1488 | 4200 | 4157 | 43 | -34400 | -0.0344
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13964 | 13825 | 139 | -278000 | -0.278 | 2267 | 2256 | 11 | -22000 | -0.022
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 980697 | 980949 | -252 | 201600 | 0.2016 | 990766 | 990792 | -26 | 20800 | 0.0208
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 979278 | 980114 | -836 | 668800 | 0.6688 | 987569 | 987690 | -121 | 96800 | 0.0968
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 988365 | 988472 | -107 | 85600 | 0.0856 | 994779 | 994823 | -44 | 35200 | 0.0352
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988637 | 989077 | -440 | 440000 | 0.44 | 36466 | 36472 | -6 | 6000 | 0.006
13 | 66KV R VALLEY-2 | 4864958 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999605 | 999846 | -241 | 482000 | 0.482 | 999999 | 999999 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2127 | 2075 | 52 | -52000 | -0.052 | 23415 | 23402 | 13 | -13000 | -0.013
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 611 | 466 | 145 | -145000 | -0.145 | 2825 | 2825 | 0 | 0 | 0
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1365 | -5 | 5000 | 0.005 | 61319 | 61321 | -2 | 2000 | 0.002
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5473 | 5477 | -4 | 2000 | 0.002 | 31433 | 31346 | 87 | -43500 | -0.0435
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3706 | 3728 | -22 | 11000 | 0.011 | 29122 | 29059 | 63 | -31500 | -0.0315
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 6539 | 6481 | 58 | -29000 | -0.029 | 14891 | 14891 | 0 | 0 | 0
20 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 1711 | 1644 | 67 | -44666.6667 | -0.044667 | 937 | 935 | 2 | -1333.3333 | -0.0013333
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 166405 | 163836 | 2569 | -256900 | -0.2569 | 20889 | 20888 | 1 | -100 | -0.0001
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 23850 | 23751 | 99 | -9900 | -0.0099 | 44624 | 44440 | 184 | -18400 | -0.0184
D.M.S.
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 998638 | 998786 | -148 | 14800 | 0.0148 | 27 | 27 | 0 | 0 | 0
24 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999957 | 999991 | -34 | 3400 | 0.0034 | 999999 | 1000000 | -1 | 100 | 0.0001
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23588 | 23653 | -65 | 6500 | 0.0065 | 57143 | 57143 | 0 | 0 | 0
26 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 998452 | 998452 | 0 | 0 | 0 | 58 | 58 | 0 | 0 | 0
[10 empty] | -0.0023 |  |  |  |  | 0 | Assessment upto 26/04
| SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999998 | 1000000 | -2 | 200 | 0.0002 | 999999 | 1000000 | -1 | 100 | 0.0001 | w.e.f 27/04/2015
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
| BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 27/04/2015
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | -100 | 177952 | 177368 | 584 | -58400 | -0.0584 | 51798 | 51745 | 53 | -5300 | -0.0053
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 18308 | 18113 | 195 | -19500 | -0.0195 | 65878 | 65754 | 124 | -12400 | -0.0124
31 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 6595 | 6351 | 244 | -24400 | -0.0244 | 4132 | 3957 | 175 | -17500 | -0.0175
[10 empty] | 0.34683 |  |  |  |  | -0.14473
APRIL-2015
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -1.0547 |  |  |  |  | -7.1059
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 0.34683 |  |  |  |  | -0.14473
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.329 |  |  |  |  | -0.0028
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -2.0369 |  |  |  |  | -7.2534
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 7.954 |  |  |  |  | 1.316
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 5.9171 |  |  |  |  | -5.9374
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 5.9171 | (REACTIVE MUs) |  |  |  | -5.9374 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.020513 | (REACTIVE MUs) |  |  |  | -1.4216 | (REACTIVE MUs)
[9 empty] | TOTAL | 5.9376 | (REACTIVE MUs) |  |  |  | -7.359 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | APRIL-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999970 | 1000035 | -65 | -325000 | -0.325 | 999932 | 999949 | -17 | -85000 | -0.085
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984890 | 985063 | -173 | -230666.09 | -0.23067 | 672931 | 672848 | 83 | 110666.39 | 0.11067
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 500 | 10016 | 10293 | -277 | -138500 | -0.1385 | 71143 | 71150 | -7 | -3500 | -0.0035
|  | 4865166 | ELSTER | Kvarh(Lead/Lag) | 5000 | 10015 | 10016 | -1 | -5000 | -0.005 | 71151 | 71143 | 8 | 40000 | 0.04 | w.e.f 19/04/2015
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12632 | 12557 | 75 | 75000 | 0.075 | 999858 | 999872 | -14 | -14000 | -0.014
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 75 | 660 | 31 | 629 | 47175 | 0.047175 | 586 | 456 | 130 | 9750 | 0.00975
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 711969 | 717577 | -5608 | -420600 | -0.4206 | 26435 | 25891 | 544 | 40800 | 0.0408
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 996644 | 996795 | -151 | -11325 | -0.011325 | 656 | 847 | -191 | -14325 | -0.014325
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999190 | 999157 | 33 | 29700 | 0.0297 | 998505 | 998592 | -87 | -78300 | -0.0783
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 999101 | 999250 | -149 | 74500 | 0.0745 | 995090 | 995281 | -191 | 95500 | 0.0955
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987241 | 987328 | -87 | 87000 | 0.087 | 948314 | 948414 | -100 | 100000 | 0.1
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995561 | 996212 | -651 | 651000 | 0.651 | 996236 | 996421 | -185 | 185000 | 0.185
13 | Tx.4 | 4864824 | ELSTER | Kvarh(Lead/Lag) | -400 | 992635 | 994315 | -1680 | 672000 | 0.672 | 77110 | 77599 | -489 | 195600 | 0.1956 | Check meter Data
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979345 | 980245 | -900 | 900000 | 0.9 | 972961 | 973161 | -200 | 200000 | 0.2
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35579 | 34502 | 1077 | -1077000 | -1.077 | 983663 | 983730 | -67 | 67000 | 0.067
16 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37954 | 38017 | -63 | 63000 | 0.063 | 995080 | 995342 | -262 | 262000 | 0.262
NAJAFGARH
17 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2684 | 3225 | -541 | 541000 | 0.541 | 999358 | 999411 | -53 | 53000 | 0.053
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 750 | 994 | -244 | 244000 | 0.244 | 996559 | 996721 | -162 | 162000 | 0.162
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23073 | 23704 | -631 | 631000 | 0.631 | 3057 | 3082 | -25 | 25000 | 0.025
20 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8199 | 7757 | 442 | -442000 | -0.442 | 998879 | 998933 | -54 | 54000 | 0.054
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13273 | 12839 | 434 | 434000 | 0.434 | 7633 | 7608 | 25 | 25000 | 0.025
LODHI ROAD
22 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991762 | 994078 | -2316 | 2316000 | 2.316 | 998979 | 999959 | -980 | 980000 | 0.98
23 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997925 | 998845 | -920 | 920000 | 0.92 | 999542 | 999993 | -451 | 451000 | 0.451
OKHLA
24 | Tx.1 (66 KV) | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998003 | 998416 | -413 | 413000 | 0.413 | 999368 | 999768 | -400 | 400000 | 0.4
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989670 | 990250 | -580 | 580000 | 0.58 | 946698 | 946916 | -218 | 218000 | 0.218
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995596 | 995596 | 0 | 0 | 0 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998036 | 997696 | 340 | -340000 | -0.34 | 38827 | 39064 | -237 | 237000 | 0.237
28 | Tx.3 (33 KV) | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25 | 109 | -84 | 84000 | 0.084 | 998783 | 999035 | -252 | 252000 | 0.252
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997116 | 997159 | -43 | 43000 | 0.043 | 866011 | 866660 | -649 | 649000 | 0.649
BRPL(+) continue | [14 empty] | APRIL-2015
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996590 | 996590 | 0 | 0 | 0 | 972291 | 972451 | -160 | 160000 | 0.16
31 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998711 | 998633 | 78 | -78000 | -0.078 | 999230 | 999736 | -506 | 506000 | 0.506
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1784 | 1527 | 257 | -514000 | -0.514 | 969842 | 969838 | 4 | -8000 | -0.008
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993112 | 993557 | -445 | 445000 | 0.445 | 910025 | 910219 | -194 | 194000 | 0.194
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994697 | 994697 | 0 | 0 | 0 | 927917 | 927917 | 0 | 0 | 0
35 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996909 | 997336 | -427 | 427000 | 0.427 | 994958 | 995151 | -193 | 193000 | 0.193
36 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980751 | 981401 | -650 | 650000 | 0.65 | 987390 | 988474 | -1084 | 1084000 | 1.084
RIDGE VALLEY
37 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 982028 | 981169 | 859 | -572666.094 | -0.57267 | 978854 | 978858 | -4 | 2666.664 | 0.0026667
38 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 993362 | 994234 | -872 | 2180000 | 2.18 | 501 | 501 | 0 | 0 | 0
DIAL
39 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3762 | 3678 | 84 | -168000 | -0.168 | 1933 | 1930 | 3 | -6000 | -0.006
40 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 552 | 455 | 97 | -194000 | -0.194 | 1002 | 1000 | 2 | -4000 | -0.004
MASJID MOD
41 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 930220 | 931731 | -1511 | 1511000 | 1.511 | 990298 | 990421 | -123 | 123000 | 0.123
42 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 938554 | 940115 | -1561 | 1561000 | 1.561 | 994473 | 994525 | -52 | 52000 | 0.052
MUNDKA
43 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993096 | -9 | -7200 | -0.0072 | 1367 | 1367 | 0 | 0 | 0
44 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 29855 | 27270 | 2585 | 2068000 | 2.068 | 1521 | 1521 | 0 | 0 | 0
45 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 916100 | 918108 | -2008 | -1606400 | -1.6064 | 999636 | 999636 | 0 | 0 | 0
46 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 1000000 | -573 | 1146000 | 1.146 | 999958 | 1000000 | -42 | 84000 | 0.084
PARK STREET
47 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988637 | 989077 | -440 | -440000 | -0.44 | 36466 | 36472 | -6 | -6000 | -0.006
48 | 66KV R VALLEY-2 | 4864958 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999605 | 999846 | -241 | -482000 | -0.482 | 999999 | 999999 | 0 | 0 | 0
SARITA VIHAR
49 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29860 | 30045 | -185 | 185000 | 0.185 | 973856 | 973859 | -3 | 3000 | 0.003
50 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16673 | 15509 | 1164 | -1164000 | -1.164 | 989207 | 989220 | -13 | 13000 | 0.013
NARAINA
51 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 20643 | 19804 | 839 | 83900 | 0.0839 | 16191 | 16158 | 33 | 3300 | 0.0033
SUDARSHAN PARK
52 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 9630 | 9889 | -259 | -25900 | -0.0259 | 61395 | 61395 | 0 | 0 | 0
REWARI LINE
53 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
54 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 920764 | 923911 | -3147 | -3147000 | -3.147 | 991947 | 991947 | 0 | 0 | 0
A.I.I.M.S.
55 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 1329 | 1157 | 172 | 12900 | 0.0129 | 2135 | 1976 | 159 | 11925 | 0.011925
56 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 12545 | 12378 | 167 | 16700 | 0.0167 | 26739 | 26587 | 152 | 15200 | 0.0152
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 7.7026 |  |  |  |  | 7.0383
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-2015
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 69179 | 63227 | 5952 | -595200 | -0.5952 | 909272 | 909272 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 98167 | 98210 | -43 | 4300 | 0.0043 | 1585 | 1595 | -10 | 1000 | 0.001
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 148875 | 150042 | -1167 | 116700 | 0.1167 | 4469 | 4530 | -61 | 6100 | 0.0061
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996191 | 996209 | -18 | 1800 | 0.0018 | 999910 | 999911 | -1 | 100 | 0.0001
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4154 | 3834 | 320 | -320000 | -0.32 | 73763 | 73763 | 0 | 0 | 0
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14977 | 14615 | 362 | -362000 | -0.362 | 171 | 170 | 1 | -1000 | -0.001
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 905636 | 905721 | -85 | 42500 | 0.0425 | 54662 | 54663 | -1 | 500 | 0.0005
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 2201 | 3650 | -1449 | 579600 | 0.5796 | 3079 | 3081 | -2 | 800 | 0.0008
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 75487 | 75334 | 153 | -15300 | -0.0153 | 65944 | 65464 | 480 | -48000 | -0.048
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 78735 | 76573 | 2162 | -216200 | -0.2162 | 64030 | 63756 | 274 | -27400 | -0.0274
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -200 | 8137 | 6325 | 1812 | -362400 | -0.3624 | 932 | 11 | 921 | -184200 | -0.1842
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999654 | 999918 | -264 | -132000 | -0.132 | 17094 | 17114 | -20 | -10000 | -0.01
14 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.33 | 2719 | 2719 | 0 | 0 | 0 | 978921 | 978921 | 0 | 0 | 0 | Dtat up to 22/4/2015
[10 empty] | 0 |  |  |  |  | 0 | Assessment
15 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 987604 | 987604 | 0 | 0 | 0 | 993182 | 993182 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 341394 | 338069 | 3325 | -332500 | -0.3325 | 48566 | 48566 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 3862 | 3870 | -8 | 800 | 0.0008 | 22169 | 22032 | 137 | -13700 | -0.0137
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864806 | ELSTER | Kvarh(Lead/Lag) | -125 | 174179 | 173204 | 975 | -121875 | -0.12187 | 261546 | 261090 | 456 | -57000 | -0.057
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9227 | 9064 | 163 | -16300 | -0.0163 | 29080 | 29053 | 27 | -2700 | -0.0027
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11030 | 10594 | 436 | -43600 | -0.0436 | 58266 | 58217 | 49 | -4900 | -0.0049
22 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 18172 | 17905 | 267 | -26700 | -0.0267 | 62438 | 62111 | 327 | -32700 | -0.0327
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 6484 | 5898 | 586 | -58600 | -0.0586 | 4617 | 4499 | 118 | -11800 | -0.0118
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 17132 | 16862 | 270 | -27000 | -0.027 | 19766 | 19737 | 29 | -2900 | -0.0029
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 995527 | 995826 | -299 | 13287.56 | 0.013288 | 329 | 312 | 17 | -755.48 | -0.00075548
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995596 | 995596 | 0 | 0 | 0 | 50 | 50 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999933 | 999933 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -1.8707 |  |  |  |  | -0.38856
APRIL-2015
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 7.7026 |  |  |  |  | 7.0383
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -1.8707 |  |  |  |  | -0.38856
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 3.5042 |  |  |  |  | 0.48838
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0366 |  |  |  |  | -0.1186
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 9.2995 |  |  |  |  | 7.0195
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 9.2995 | (REACTIVE MUs) |  |  |  | 7.0195 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.034959 | (REACTIVE MUs) |  |  |  | -2.4227 | (REACTIVE MUs)
[9 empty] | TOTAL | 9.3345 | (REACTIVE MUs) |  |  |  | 4.5968 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 51199 | 50436 | 763 | 152600 | 0.1526 | 77908 | 77821 | 87 | 17400 | 0.0174
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 73445 | 73098 | 347 | 34700 | 0.0347 | 139453 | 139377 | 76 | 7600 | 0.0076
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 978346 | 978642 | -296 | -59200 | -0.0592 | 999199 | 999150 | 49 | 9800 | 0.0098
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 80379 | 79467 | 912 | 182400 | 0.1824 | 95531 | 95409 | 122 | 24400 | 0.0244
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 11442 | 11256 | 186 | 148800 | 0.1488 | 4200 | 4157 | 43 | 34400 | 0.0344
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13964 | 13825 | 139 | 278000 | 0.278 | 2267 | 2256 | 11 | 22000 | 0.022
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 980697 | 980949 | -252 | -201600 | -0.2016 | 990766 | 990792 | -26 | -20800 | -0.0208
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 979278 | 980114 | -836 | -668800 | -0.6688 | 987569 | 987690 | -121 | -96800 | -0.0968
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 988365 | 988472 | -107 | -85600 | -0.0856 | 994779 | 994823 | -44 | -35200 | -0.0352
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998651 | 998176 | 475 | 47500 | 0.0475 | 390043 | 389369 | 674 | 67400 | 0.0674
11 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 1000299 | 999908 | 391 | 29325 | 0.029325 | 1330 | 1044 | 286 | 21450 | 0.02145
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 16236 | 16403 | -167 | -16700 | -0.0167 | 373072 | 372429 | 643 | 64300 | 0.0643
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 1818 | 2364 | -546 | -54600 | -0.0546 | 364106 | 364234 | -128 | -12800 | -0.0128
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 995339 | 995751 | -412 | -41200 | -0.0412 | 309627 | 309242 | 385 | 38500 | 0.0385
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 947 | 1426 | -479 | -47900 | -0.0479 | 195206 | 195327 | -121 | -12100 | -0.0121
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 11869 | 12483 | -614 | -61400 | -0.0614 | 258935 | 258971 | -36 | -3600 | -0.0036
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 55854 | 54493 | 1361 | 136100 | 0.1361 | 709206 | 708938 | 268 | 26800 | 0.0268
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 88663 | 88565 | 98 | 107800 | 0.1078
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1087 | 1176 | -89 | -89000 | -0.089 | 39913 | 39861 | 52 | 52000 | 0.052
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 150721 | 149334 | 1387 | 1525700 | 1.5257
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3230 | 3466 | -236 | -236000 | -0.236 | 54066 | 54066 | 0 | 0 | 0
[10 empty] | -0.325 |  |  |  |  | 1.6855
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4154 | 3834 | 320 | 320000 | 0.32 | 73763 | 73763 | 0 | 0 | 0
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14977 | 14615 | 362 | 362000 | 0.362 | 171 | 170 | 1 | 1000 | 0.001
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 905636 | 905721 | -85 | -42500 | -0.0425 | 54662 | 54663 | -1 | -500 | -0.0005
25 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 2201 | 3650 | -1449 | -579600 | -0.5796 | 3079 | 3081 | -2 | -800 | -0.0008
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999654 | 999918 | -264 | 132000 | 0.132 | 17094 | 17114 | -20 | 10000 | 0.01
26 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | -83.3333 | 2719 | 2719 | 0 | 0 | 0 | 978921 | 978921 | 0 | 0 | 0 | Data upto 22/04/2015
[10 empty] | 0 | [5 empty] | Assessment
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 987604 | 987604 | 0 | 0 | 0 | 993182 | 993182 | 0 | 0 | 0
APRIL-2015
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964768 | 967158 | -2390 | 2390000 | 2.39 | 978455 | 978507 | -52 | 52000 | 0.052
27 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23 | 23 | 0 | 0 | 0 | 44 | 44 | 0 | 0 | 0
ELECTRIC LANE
28 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972847 | 973924 | -1077 | 1077000 | 1.077 | 984585 | 984585 | 0 | 0 | 0
29 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988114 | 989234 | -1120 | 1120000 | 1.12 | 996400 | 996400 | 0 | 0 | 0
KIDWAI NAGAR
30 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 341394 | 338069 | 3325 | 332500 | 0.3325 | 48566 | 48566 | 0 | 0 | 0
EXHIBITION I
31 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 3862 | 3870 | -8 | -800 | -0.0008 | 22169 | 22032 | 137 | 13700 | 0.0137
32 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
33 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 75487 | 75334 | 153 | 15300 | 0.0153 | 65944 | 65464 | 480 | 48000 | 0.048
34 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 78735 | 76573 | 2162 | 216200 | 0.2162 | 64030 | 63756 | 274 | 27400 | 0.0274
35 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 8137 | 6325 | 1812 | 181200 | 0.1812 | 932 | 11 | 921 | 92100 | 0.0921
TILAK MARG
36 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 69179 | 63227 | 5952 | 595200 | 0.5952 | 909272 | 909272 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 1329 | 1157 | 172 | -12900 | -0.0129 | 2135 | 1976 | 159 | -11925 | -0.011925
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 12545 | 12378 | 167 | -16700 | -0.0167 | 26739 | 26587 | 152 | -15200 | -0.0152
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 5.5363 |  |  |  |  | 2.054
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 5.5363 |  |  |  |  | 2.054
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.0043052 |  |  |  |  | -0.29836
| TOTAL ENERGY TO NDMC | [8 empty] | 5.5406 |  |  |  |  | 1.7557

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2015
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2414 | 2407 | 7 | 7000 | 0.007 | 27968 | 27677 | 291 | 291000 | 0.291
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1482 | 1478 | 4 | 4000 | 0.004 | 29421 | 29170 | 251 | 251000 | 0.251
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3917 | 3901 | 16 | 16000 | 0.016 | 36336 | 36296 | 40 | 40000 | 0.04
4 | KIRBY PLACE-2 | 4864857 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1133 | 1134 | -1 | -1000 | -0.001 | 20690 | 20410 | 280 | 280000 | 0.28 | Check Meter data upto 26/04/2015
| KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 0 | 0 | 0 | 0 | 0 | 1481 | 0 | 1481 | 197461.73 | 0.19746 | w.e.f 27/04/2015
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5312 | 5180 | 132 | 132000 | 0.132 | 10891 | 10879 | 12 | 12000 | 0.012
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12350 | 12355 | -5 | -2500 | -0.0025 | 59146 | 59153 | -7 | -3500 | -0.0035
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996191 | 996209 | -18 | -1800 | -0.0018 | 999910 | 999911 | -1 | -100 | -0.0001
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.1537 |  |  |  |  | 1.0679
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 53305 | 53287 | 18 | 1800 | 0.0018 | 76723 | 76653 | 70 | 7000 | 0.007
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 76600 | 76319 | 281 | 28100 | 0.0281 | 13121 | 13029 | 92 | 9200 | 0.0092
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 52274 | 52207 | 67 | 6700 | 0.0067 | 69168 | 68170 | 998 | 99800 | 0.0998
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4865074 | ELSTER | Kvarh(Lead/Lag) | 100 | 7701 | 7701 | 0 | 0 | 0 | 10280 | 10254 | 26 | 2600 | 0.0026
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 9375 | 9375 | 0 | 0 | 0 | 3074 | 3043 | 31 | 3100 | 0.0031
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0366 |  |  |  |  | 0.1186
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0366 |  |  |  |  | 0.1186
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.1537 |  |  |  |  | 1.0679
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.1903 |  |  |  |  | 1.1865
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.1903 | (REACTIVE MUs) |  |  |  | 1.1865 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.00065552 | (REACTIVE MUs) |  |  |  | -0.045428 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.19096 | (REACTIVE MUs) |  |  |  | 1.141 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2015
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 11950 | 8172 | 3778 | 377800 | 0.3778 | 1677 | 1662 | 15 | 1500 | 0.0015
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 5894 | 4593 | 1301 | 130100 | 0.1301 | 999209 | 999213 | -4 | -400 | -0.0004
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 300734 | 285551 | 15183 | 1518300 | 1.5183 | 102943 | 102930 | 13 | 1300 | 0.0013
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 40786 | 39322 | 1464 | 1372500 | 1.3725 | 19129 | 19119 | 10 | 9375 | 0.009375
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 983861 | 983936 | -75 | 37500 | 0.0375 | 913336 | 913650 | -314 | 157000 | 0.157
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 988702 | 988838 | -136 | 68000 | 0.068 | 977351 | 978022 | -671 | 335500 | 0.3355
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 31 | 31 | 0 | 0 | 0 | 13 | 66 | -53 | -15900 | -0.0159
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 3.5042 |  |  |  |  | 0.48838
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 998011 | 999522 | -1511 | -302200 | -0.3022 | 999998 | 1000000 | -2 | -400 | -0.0004
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 200 | 943899 | 949033 | -5134 | -1026800 | -1.0268 | 999397 | 999409 | -12 | -2400 | -0.0024
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.329 |  |  |  |  | -0.0028
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 268619 | 263601 | 5018 | 1003600 | 1.0036 | 265577 | 265574 | 3 | 600 | 0.0006
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 125498 | 122903 | 2595 | 519000 | 0.519 | 42581 | 42577 | 4 | 800 | 0.0008
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 209024 | 204153 | 4871 | 487100 | 0.4871 | 74528 | 74519 | 9 | 900 | 0.0009
13 | O/G 33KV SH.W.BAGH-I | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1000 | 305 | 34 | 271 | 271000 | 0.271 | 999998 | 999997 | 1 | 1000 | 0.001
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 998157 | 999407 | -1250 | -125000 | -0.125 | 999996 | 1000000 | -4 | -400 | -0.0004
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998851 | 998869 | -18 | -16875 | -0.016875 | 997408 | 997423 | -15 | -14062.5 | -0.014063
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 984721 | 984825 | -104 | 65000 | 0.065 | 995390 | 995390 | 0 | 0 | 0 | data till 20/04/2015
[10 empty] | 0.0325 |  |  |  |  | 0 | Assessment
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 31 | 31 | 0 | 0 | 0 | 13 | 66 | -53 | 15900 | 0.0159
| TOTAL NDPL | [8 empty] | 2.2363 |  |  |  |  | 0.0047375
| E) NET EXPORT TO BSES RPL | [8 empty] | 3.5042 |  |  |  |  | 0.48838
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.329 |  |  |  |  | -0.0028
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 2.2363 |  |  |  |  | 0.0047375

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2015
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 15593 | 15147 | 446 | 892000 | 0.892 | 818 | 811 | 7 | 14000 | 0.014
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 18836 | 18435 | 401 | 802000 | 0.802 | 2309 | 2300 | 9 | 18000 | 0.018
[7 empty] | NET REACTIVE ENERGY |  |  | 1.694 |  | NET REACTIVE ENERGY |  |  | 0.032
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 991966 | 992205 | -239 | -239000 | -0.239 | 38625 | 38626 | -1 | -1000 | -0.001
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 995061 | 995176 | -115 | -115000 | -0.115 | 993895 | 993895 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | -0.354 |  | NET REACTIVE ENERGY |  |  | -0.001
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 1.34 |  |  |  |  | 0.031
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.92805 |  |  |  |  | -7.7423
[7 empty] | NDMC = |  |  | -0.325 |  |  |  |  | 1.6855
MES =
[7 empty] | 2)TOTAL |  |  | -1.253 |  |  |  |  | -6.0568
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.08695 |  |  |  |  | -6.0258
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 30.497 | % |  |  | 0.026517 |  |  |  |  | -1.8377
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.206 | % |  |  | 0.034959 |  |  |  |  | -2.4227
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.5917 | % |  |  | 0.020513 |  |  |  |  | -1.4216
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.9514 | % |  |  | 0.0043052 |  |  |  |  | -0.29836
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7539 | % |  |  | 0.00065552 |  |  |  |  | -0.045428
Note :Sharing taken from wk-03 abt bill 2015-16

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st April-2015 TO 1st May-2015
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 4.4643 |  | -1.4832
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 9.3345 | + | 4.5968
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 5.9376 |  | -7.359
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 5.5406 | + | 1.7557
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.19096 | + | 1.141
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2015 | INTIAL READING 01/04/2015 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 952734 | 952776 | -42 | -63000 | -0.063 | 979525 | 979525 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 991569 | 991434 | 135 | 202500 | 0.2025 | 995425 | 995425 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 951295 | 958750 | -7455 | -5591250 | -5.5912 | 999331 | 999331 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -5.4517 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997882 | 997882 | 0 | 0 | 0 | 29759 | 27807 | 1952 | 9760000 | 9.76
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 7809 | 322 | 7487 | 7487000 | 7.487
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 977759 | 976954 | 805 | 805000 | 0.805 | 991468 | 991645 | -177 | -177000 | -0.177
[8 empty] | NET REACTIVE ENERGY |  | 0.805 |  |  | NET REACTIVE ENERGY |  | 17.07