## NDPL
DELHI TRANSCO LIMITED | [15 empty] | January-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:TATA POWER DELHI DISTRIBUTION LIMITED
TPDDL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971410 | 973030 | -1620 | 1620000 | 1.62 | 995525 | 995525 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6038 | 4418 | 1620 | -1620000 | -1.62 | 172 | 173 | -1 | 1000 | 0.001
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977586 | 980253 | -2667 | 2667000 | 2.667 | 996034 | 996034 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968189 | 968264 | -75 | 75000 | 0.075 | 968222 | 968229 | -7 | 7000 | 0.007 | check meter Data
|  | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999671 | 1000000 | -329 | 329000 | 0.329 | 999987 | 1000000 | -13 | 13000 | 0.013 | w.e.f 12/01/2016
5 | Tx.2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 550 | 203 | 347 | -347000 | -0.347 | 0 | 0 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23173 | 22657 | 516 | -516000 | -0.516 | 17857 | 17859 | -2 | 2000 | 0.002
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999887 | 999487 | 400 | -400000 | -0.4 | 999997 | 999999 | -2 | 2000 | 0.002
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 13197 | 13004 | 193 | -241250 | -0.24125 | 993244 | 993253 | -9 | 11250 | 0.01125
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997964 | 998542 | -578 | 578000 | 0.578 | 982506 | 982515 | -9 | 9000 | 0.009
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999824 | 999672 | 152 | -152000 | -0.152 | 0 | 0 | 0 | 0 | 0
11 | Tx.-2 | 4864944 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000049 | 999989 | 60 | -60000 | -0.06 | 0 | 0 | 0 | 0 | 0 | check meter Data
|  | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 176 | 0 | 176 | -176000 | -0.176 | 0 | 0 | 0 | 0 | 0 | w.e.f 20/01/2016
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982534 | 983401 | -867 | 867000 | 0.867 | 997759 | 997759 | 0 | 0 | 0
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 978758 | 983087 | -4329 | -4329000 | -4.329 | 999999 | 999999 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983981 | 984095 | -114 | 114000 | 0.114 | 16835 | 16835 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4338 | 3392 | 946 | -946000 | -0.946 | 20178 | 20178 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9862 | 8656 | 1206 | -1206000 | -1.206 | 0 | 0 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 123 | 133 | -10 | -2000 | -0.002 | 981308 | 981461 | -153 | -30600 | -0.0306
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 782 | 785 | -3 | -3000 | -0.003 | 28923 | 28973 | -50 | -50000 | -0.05
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 5993 | 5950 | 43 | 4300 | 0.0043 | 167700 | 167226 | 474 | 47400 | 0.0474
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 41160 | 40940 | 220 | 22000 | 0.022 | 249657 | 248938 | 719 | 71900 | 0.0719
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996456 | 996456 | 0 | 0 | 0 | 999521 | 1000134 | -613 | -613000 | -0.613
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 541 | 541 | 0 | 0 | 0 | 4783 | 5329 | -546 | -546000 | -0.546
23 | Pandav Nagar | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999911 | 999985 | -74 | -74000 | -0.074 | 58 | 57 | 1 | 1000 | 0.001
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 634586 | 634586 | 0 | 0 | 0 | 797068 | 797068 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 632566 | 635057 | -2491 | -2491000 | -2.491 | 830233 | 830233 | 0 | 0 | 0
26 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 5532 | 5549 | -17 | -6800 | -0.0068 | 999007 | 999007 | 0 | 0 | 0
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 5136 | 4926 | 210 | 105000 | 0.105 | 3391 | 3390 | 1 | 500 | 0.0005
KANJAWALA
29 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23410 | 23221 | 189 | -189000 | -0.189 | 980930 | 980953 | -23 | 23000 | 0.023
30 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9306 | 8798 | 508 | -508000 | -0.508 | 996752 | 996755 | -3 | 3000 | 0.003
31 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 08/01/2016
BAWANA
32 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2588 | 1531 | 1057 | -1057000 | -1.057 | 999997 | 999999 | -2 | 2000 | 0.002
DSIDC BAWANA
33 | 66KV TX.1 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3451 | 0 | 3451 | -3451000 | -3.451 | 999999 | 1000000 | -1 | 1000 | 0.001
34 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6082 | 4920 | 1162 | -1162000 | -1.162 | 998827 | 998839 | -12 | 12000 | 0.012
35 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11296 | 8698 | 2598 | -2598000 | -2.598 | 1503 | 1499 | 4 | -4000 | -0.004
ROHINI-II
36 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5127 | 4549 | 578 | -578000 | -0.578 | 998683 | 998687 | -4 | 4000 | 0.004
37 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3302 | 3302 | 0 | 0 | 0 | 999996 | 999996 | 0 | 0 | 0
WAZIRPUR
38 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993603 | 994162 | -559 | 559000 | 0.559 | 999493 | 999496 | -3 | 3000 | 0.003
39 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7789 | 6759 | 1030 | -1030000 | -1.03 | 999992 | 999993 | -1 | 1000 | 0.001
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
40 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2080 | 2090 | -10 | -10000 | -0.01 | 24761 | 24729 | 32 | 32000 | 0.032
41 | PUSA GRID-II | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 156 | 274 | -118 | -118000 | -0.118 | 999633 | 999900 | -267 | -267000 | -0.267
| TPDDL(+) continue | [14 empty] | January-2016
DMS
42 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
43 | 20MVA Tx-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | 125 | 177022 | 176060 | 962 | 120250 | 0.12025 | 261484 | 261352 | 132 | 16500 | 0.0165
VISHAL
44 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9304 | 9417 | -113 | -11300 | -0.0113 | 32296 | 32270 | 26 | 2600 | 0.0026
45 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11557 | 11723 | -166 | -16600 | -0.0166 | 64558 | 64611 | -53 | -5300 | -0.0053
46 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 233 | 120 | 113 | 11300 | 0.0113 | 498 | 181 | 317 | 31700 | 0.0317 | w.e.f 09/12
S.B.MILL
47 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 9922 | 9339 | 583 | 58300 | 0.0583 | 6324 | 6301 | 23 | 2300 | 0.0023
48 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
49 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
50 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
51 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16468 | 16839 | -371 | -37100 | -0.0371 | 21215 | 21208 | 7 | 700 | 0.0007
52 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 992704 | 993285 | -581 | -25819.64 | -0.02582 | 774 | 790 | -16 | -711.04 | -0.00071104
53 | B.G.ROAD
54 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5445 | 5452 | -7 | -3500 | -0.0035 | 33224 | 33104 | 120 | 60000 | 0.06
55 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999921 | 999940 | -19 | -9500 | -0.0095 | 175 | 203 | -28 | -14000 | -0.014
56 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 7015 | 6957 | 58 | 29000 | 0.029 | 14988 | 14988 | 0 | 0 | 0
57 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 2319 | 2271 | 48 | 32000 | 0.032 | 1084 | 1084 | 0 | 0 | 0
D.M.S.
58 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 998415 | 998454 | -39 | -3900 | -0.0039 | 27 | 28 | -1 | -100 | -0.0001
59 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999800 | 999833 | -33 | -3300 | -0.0033 | 999986 | 999986 | 0 | 0 | 0
60 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23724 | 24055 | -331 | -33100 | -0.0331 | 57211 | 57160 | 51 | 5100 | 0.0051
61 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
62 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999807 | 999840 | -33 | -3300 | -0.0033 | 999991 | 999993 | -2 | -200 | -0.0002
63 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
64 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1836 | 1786 | 50 | 5000 | 0.005 | 1356 | 575 | 781 | 78100 | 0.0781
65 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 25741 | 25058 | 683 | 68300 | 0.0683 | 66469 | 66463 | 6 | 600 | 0.0006
| MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 3311 | 2720 | 591 | 59100 | 0.0591 | 62 | 52 | 10 | 1000 | 0.001
66 | KASHMIRI GATE
67 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 178986 | 177410 | 1576 | 157600 | 0.1576 | 20593 | 20593 | 0 | 0 | 0
68 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 24209 | 24124 | 85 | 8500 | 0.0085 | 47849 | 47842 | 7 | 700 | 0.0007
69 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 22 | 22 | 0 | 0 | 0 | 426 | 426 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
70 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995602 | 995602 | 0 | 0 | 0 | 54 | 52 | 2 | -800 | -0.0008
71 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999922 | 999922 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
MUNDKA
72 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 974315 | 974457 | -142 | -113600 | -0.1136 | 254 | 254 | 0 | 0 | 0
73 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 2009 | 1989 | 20 | 40000 | 0.04 | 30 | 29 | 1 | 2000 | 0.002
PEERAGARHI
74 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
75 | RANI BAGH(L-2) | 4864811 | ELSTER | Kvarh(Lead/Lag) | 100 | 311 | 512 | -201 | -20100 | -0.0201 | 175 | 162 | 13 | 1300 | 0.0013
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -16.0225 |  |  |  |  | -1.0821
TPDDL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | January-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 22695 | 22507 | 188 | -18800 | -0.0188 | 21665 | 21557 | 108 | -10800 | -0.0108
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13906 | 13931 | -25 | 25000 | 0.025 | 7863 | 7863 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 10278 | 10047 | 231 | -46200 | -0.0462 | 21483 | 21480 | 3 | -600 | -0.0006
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 85906 | 85834 | 72 | -72000 | -0.072 | 120117 | 120116 | 1 | -1000 | -0.001
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 8578 | 8758 | -180 | 18000 | 0.018 | 61313 | 61338 | -25 | 2500 | 0.0025
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 915448 | 915448 | 0 | 0 | 0 | 991937 | 991937 | 0 | 0 | 0
[10 empty] | 0.274 |  |  |  |  | 0 | Assessment
|  | 4864964 | ELSTER | Kvarh(Lead/Lag) | -800 | 998823 | 1000000 | -1177 | 941600 | 0.9416 | 999999 | 1000000 | -1 | 800 | 0.0008 | w.e.f 08/01/2016
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.1216 |  |  |  |  | -0.0091
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -16.0225 |  |  |  |  | -1.0821
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.1216 |  |  |  |  | -0.0091
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.51527 |  |  |  |  | 0.035497
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -14.3856 |  |  |  |  | -1.0557
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -14.3856 | (REACTIVE MUs) |  |  |  | -1.0557 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.5933 | (REACTIVE MUs) |  |  |  | -3.2692 | (REACTIVE MUs)
[9 empty] | TOTAL | -12.7924 | (REACTIVE MUs) |  |  |  | -4.3248 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | January-2016
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 6280 | 7357 | -1077 | -107700 | -0.1077 | 999989 | 1000091 | -102 | -10200 | -0.0102
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 2887 | 3399 | -512 | -153600 | -0.1536 | 144 | 72 | 72 | 21600 | 0.0216
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 17443 | 15264 | 2179 | 217900 | 0.2179 | 33097 | 32573 | 524 | 52400 | 0.0524
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 999881 | 1000268 | -387 | -116100 | -0.1161 | 5361 | 5365 | -4 | -1200 | -0.0012
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1627 | 1654 | -27 | -35999.1 | -0.035999 | 2710 | 2699 | 11 | 14666.3 | 0.014666
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 34085 | 33371 | 714 | 71400 | 0.0714 | 172658 | 172626 | 32 | 3200 | 0.0032
7 | MINTO RD. B-34 | 4865120 | ELSTER | Kvarh(Lead/Lag) | 100 | 18847 | 18221 | 626 | 62600 | 0.0626 | 256 | 64 | 192 | 19200 | 0.0192
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989820 | 990110 | -290 | -290000 | -0.29 | 1680 | 1680 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997729 | 997782 | -53 | -53000 | -0.053 | 2878 | 2870 | 8 | 8000 | 0.008
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 389 | 418 | -29 | -29000 | -0.029 | 1299 | 1299 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997067 | 996981 | 86 | 86000 | 0.086 | 2126 | 2126 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996106 | 996611 | -505 | -505000 | -0.505 | 4872 | 4872 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999171 | 999392 | -221 | -221000 | -0.221 | 999531 | 999531 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999285 | 999088 | 197 | 197000 | 0.197 | 17370 | 17370 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 419 | 579 | -160 | -160000 | -0.16 | 38810 | 38810 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999864 | 1000004 | -140 | -140000 | -0.14 | 28365 | 28366 | -1 | -1000 | -0.001
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1461 | 1509 | -48 | -48000 | -0.048 | 9503 | 9503 | 0 | 0 | 0
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 11699 | 11608 | 91 | 9100 | 0.0091 | 338 | 338 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998215 | 997679 | 536 | 536000 | 0.536 | 15142 | 15142 | 0 | 0 | 0
GT
20 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1375 | 999999 | 999999 | 0 | 0 | 0 | 981128 | 983913 | -2785 | -3829375 | -3.8294
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 695287 | 699655 | -4368 | -4804800 | -4.8048
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981635 | 982394 | -759 | -759000 | -0.759 | 8329 | 8329 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -1.3769 |  |  |  |  | -8.6272
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 952562 | 953590 | -1028 | 1028000 | 1.028 | 945635 | 945635 | 0 | 0 | 0
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961250 | 961615 | -365 | 365000 | 0.365 | 955082 | 955082 | 0 | 0 | 0
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 22 | 22 | 0 | 0 | 0 | 426 | 426 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 826 | 824 | 2 | 2000 | 0.002 | 6083 | 5965 | 118 | 118000 | 0.118
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 65266 | 61668 | 3598 | -3598000 | -3.598 | 974952 | 974939 | 13 | -13000 | -0.013
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 49460 | 46454 | 3006 | -3006000 | -3.006 | 970434 | 970485 | -51 | 51000 | 0.051
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995123 | 995758 | -635 | 635000 | 0.635 | 994609 | 994686 | -77 | 77000 | 0.077
30 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998223 | 998946 | -723 | 723000 | 0.723 | 999549 | 999580 | -31 | 31000 | 0.031
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4108 | 3431 | 677 | -1354000 | -1.354 | 999597 | 999598 | -1 | 2000 | 0.002
32 | TX.-2 (66KV) | 5128431 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999206 | 999086 | 120 | -240000 | -0.24 | 999932 | 999932 | 0 | 0 | 0
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999097 | 998924 | 173 | -173000 | -0.173 | 999919 | 999919 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 10278 | 10047 | 231 | 46200 | 0.0462 | 21483 | 21480 | 3 | 600 | 0.0006
35 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 85906 | 85834 | 72 | 72000 | 0.072 | 120117 | 120116 | 1 | 1000 | 0.001
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 95246 | 95656 | -410 | -41000 | -0.041 | 1061 | 1070 | -9 | -900 | -0.0009
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 150785 | 151137 | -352 | -35200 | -0.0352 | 17518 | 17441 | 77 | 7700 | 0.0077
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -7.0144 |  |  |  |  | -8.2531
| (A) NET ENERGY TO CENTRAL | [8 empty] | -7.0144 |  |  |  |  | -8.2531
January-2016
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981406 | 981340 | 66 | -66000 | -0.066 | 895821 | 896540 | -719 | 719000 | 0.719
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5404 | 5250 | 154 | -154000 | -0.154 | 916525 | 917082 | -557 | 557000 | 0.557
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980536 | 980626 | -90 | 90000 | 0.09 | 961280 | 962004 | -724 | 724000 | 0.724
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 995713 | 995398 | 315 | -630000 | -0.63 | 984124 | 984155 | -31 | 62000 | 0.062
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995437 | 994504 | 933 | -933000 | -0.933 | 999876 | 999929 | -53 | 53000 | 0.053
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993332 | 992598 | 734 | -734000 | -0.734 | 999606 | 999631 | -25 | 25000 | 0.025
7 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7853 | 7209 | 644 | -644000 | -0.644 | 984095 | 984095 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998623 | 999060 | -437 | 437000 | 0.437 | 999569 | 999569 | 0 | 0 | 0
10 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995648 | 995982 | -334 | 334000 | 0.334 | 944500 | 944500 | 0 | 0 | 0 | Data till 25/01/2016
|  | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987819 | 987948 | -129 | 129000 | 0.129 | 938363 | 938363 | 0 | 0 | 0 | check meter data
GEETA COLONY
11 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980141 | 980338 | -197 | 197000 | 0.197 | 973502 | 973680 | -178 | 178000 | 0.178
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958732 | 958191 | 541 | -541000 | -0.541 | 848747 | 849921 | -1174 | 1174000 | 1.174
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13698 | 12636 | 1062 | -1062000 | -1.062 | 34566 | 34565 | 1 | -1000 | -0.001
14 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20940 | 19979 | 961 | -961000 | -0.961 | 44358 | 44355 | 3 | -3000 | -0.003
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18397 | 16990 | 1407 | -1407000 | -1.407 | 994313 | 994313 | 0 | 0 | 0
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -5.945 |  |  |  |  | 3.488
| (B) NET ENERGY TO EAST | [8 empty] | -5.945 |  |  |  |  | 3.488
January-2016
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 5532 | 5549 | -17 | 6800 | 0.0068 | 999007 | 999007 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 5136 | 4926 | 210 | -105000 | -0.105 | 3391 | 3390 | 1 | -500 | -0.0005
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 53520 | 52915 | 605 | -121000 | -0.121 | 81611 | 81573 | 38 | -7600 | -0.0076
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 73191 | 73593 | -402 | 40200 | 0.0402 | 139943 | 139957 | -14 | 1400 | 0.0014
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 977256 | 977567 | -311 | 62200 | 0.0622 | 997259 | 997234 | 25 | -5000 | -0.005
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 83212 | 82192 | 1020 | -204000 | -0.204 | 102355 | 102313 | 42 | -8400 | -0.0084
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 13942 | 13183 | 759 | -607200 | -0.6072 | 7150 | 7143 | 7 | -5600 | -0.0056
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 14104 | 14053 | 51 | -102000 | -0.102 | 2927 | 2927 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 978910 | 979451 | -541 | 432800 | 0.4328 | 989706 | 989709 | -3 | 2400 | 0.0024
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 972968 | 975061 | -2093 | 1674400 | 1.6744 | 983783 | 983803 | -20 | 16000 | 0.016
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 984690 | 985719 | -1029 | 823200 | 0.8232 | 992641 | 992648 | -7 | 5600 | 0.0056 | w.e.f 25/01/2016
|  | 5128446 | ELSTER | Kvarh(Lead/Lag) | -800 | 983881 | 984192 | -311 | 248800 | 0.2488 | 992934 | 992934 | 0 | 0 | 0 | Check Meter Data
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 985952 | 986905 | -953 | 762400 | 0.7624 | 994524 | 994526 | -2 | 1600 | 0.0016 | W.E.f 04/07/2015
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985804 | 987037 | -1233 | 1233000 | 1.233 | 35170 | 35215 | -45 | 45000 | 0.045
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2080 | 2090 | -10 | 10000 | 0.01 | 24761 | 24729 | 32 | -32000 | -0.032
16 | PUSA GRID-II | 4864835 | ELSTER | Kvarh(Lead/Lag) | -1000 | 156 | 274 | -118 | 118000 | 0.118 | 999633 | 999900 | -267 | 267000 | 0.267
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5445 | 5452 | -7 | 3500 | 0.0035 | 33224 | 33104 | 120 | -60000 | -0.06
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999921 | 999940 | -19 | 9500 | 0.0095 | 175 | 203 | -28 | 14000 | 0.014
20 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 7015 | 6957 | 58 | -29000 | -0.029 | 14988 | 14988 | 0 | 0 | 0
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 2319 | 2271 | 48 | -32000 | -0.032 | 1084 | 1084 | 0 | 0 | 0
KASHMIRI GATE
22 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 178986 | 177410 | 1576 | -157600 | -0.1576 | 20593 | 20593 | 0 | 0 | 0
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 24209 | 24124 | 85 | -8500 | -0.0085 | 47849 | 47842 | 7 | -700 | -0.0007
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 998415 | 998454 | -39 | 3900 | 0.0039 | 27 | 28 | -1 | 100 | 0.0001
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999800 | 999833 | -33 | 3300 | 0.0033 | 999986 | 999986 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23724 | 24055 | -331 | 33100 | 0.0331 | 57211 | 57160 | 51 | -5100 | -0.0051
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999807 | 999840 | -33 | 3300 | 0.0033 | 999991 | 999993 | -2 | 200 | 0.0002
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1836 | 1786 | 50 | -5000 | -0.005 | 1356 | 575 | 781 | -78100 | -0.0781
31 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 25741 | 25058 | 683 | -68300 | -0.0683 | 66469 | 66463 | 6 | -600 | -0.0006
32 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 3311 | 2720 | 591 | -59100 | -0.0591 | 62 | 52 | 10 | -1000 | -0.001
[10 empty] | 3.9697 |  |  |  |  | 0.1487
January-2016
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -7.0144 |  |  |  |  | -8.2531
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 3.9697 |  |  |  |  | 0.1487
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.1845 |  |  |  |  | 0.0002
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -4.2292 |  |  |  |  | -8.1042
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -5.945 |  |  |  |  | 3.488
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -10.1742 |  |  |  |  | -4.6162
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -10.1742 | (REACTIVE MUs) |  |  |  | -4.6162 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.1488 | (REACTIVE MUs) |  |  |  | -2.3571 | (REACTIVE MUs)
[9 empty] | TOTAL | -9.0255 | (REACTIVE MUs) |  |  |  | -6.9733 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | January-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999750 | 999805 | -55 | -275000 | -0.275 | 999912 | 999921 | -9 | -45000 | -0.045
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984337 | 984542 | -205 | -273332.65 | -0.27333 | 673108 | 673117 | -9 | -11999.97 | -0.012
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 5000 | 10030 | 10016 | 14 | 70000 | 0.07 | 71142 | 71150 | -8 | -40000 | -0.04
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14910 | 14986 | -76 | -76000 | -0.076 | 190 | 180 | 10 | 10000 | 0.01
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 9795 | 8799 | 996 | 99600 | 0.0996 | 416 | 422 | -6 | -600 | -0.0006
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 707654 | 713132 | -5478 | -410850 | -0.41085 | 27974 | 28016 | -42 | -3150 | -0.00315
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 990897 | 992387 | -1490 | -111750 | -0.11175 | 999605 | 999761 | -156 | -11700 | -0.0117
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997666 | 997984 | -318 | -286200 | -0.2862 | 998688 | 998736 | -48 | -43200 | -0.0432
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 1000355 | 999885 | 470 | -235000 | -0.235 | 994675 | 994677 | -2 | 1000 | 0.001
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987827 | 987602 | 225 | -225000 | -0.225 | 948088 | 948089 | -1 | 1000 | 0.001
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995605 | 995116 | 489 | -489000 | -0.489 | 996168 | 996160 | 8 | -8000 | -0.008
13 | Tx.4 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999352 | 999255 | 97 | -97000 | -0.097 | 999986 | 999981 | 5 | -5000 | -0.005 | data till 12/01/2016
|  | 4864824 | ELSTER | Kvarh(Lead/Lag) | -400 | 992412 | 991785 | 627 | -250800 | -0.2508 | 75712 | 76888 | -1176 | 470400 | 0.4704 | Check data since 13/01/2016
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980546 | 979860 | 686 | -686000 | -0.686 | 969967 | 969962 | 5 | -5000 | -0.005
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47103 | 44363 | 2740 | -2740000 | -2.74 | 983893 | 983858 | 35 | -35000 | -0.035
16 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36306 | 36227 | 79 | -79000 | -0.079 | 992400 | 992405 | -5 | 5000 | 0.005
17 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999609 | 999831 | -222 | 222000 | 0.222 | 999997 | 1000000 | -3 | 3000 | 0.003
NAJAFGARH
18 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -500 | 910 | 1367 | -457 | 228500 | 0.2285 | 996470 | 996474 | -4 | 2000 | 0.002
19 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998468 | 1000020 | -1552 | 1552000 | 1.552 | 995528 | 995536 | -8 | 8000 | 0.008
20 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20571 | 21240 | -669 | 669000 | 0.669 | 1321 | 1325 | -4 | 4000 | 0.004
21 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11257 | 10541 | 716 | -716000 | -0.716 | 999728 | 999720 | 8 | -8000 | -0.008
IMPORT
MANGOLPURI
22 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13906 | 13931 | -25 | -25000 | -0.025 | 7863 | 7863 | 0 | 0 | 0
LODHI ROAD
23 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986236 | 986907 | -671 | 671000 | 0.671 | 993431 | 993432 | -1 | 1000 | 0.001
24 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993771 | 994042 | -271 | 271000 | 0.271 | 994367 | 994368 | -1 | 1000 | 0.001
OKHLA
25 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996246 | 996414 | -168 | 168000 | 0.168 | 997141 | 997168 | -27 | 27000 | 0.027
26 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992754 | 992286 | 468 | -468000 | -0.468 | 942426 | 942470 | -44 | 44000 | 0.044
27 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998574 | 998175 | 399 | -399000 | -0.399 | 37024 | 37025 | -1 | 1000 | 0.001
28 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999783 | 999828 | -45 | 45000 | 0.045 | 998110 | 998110 | 0 | 0 | 0
29 | Tx.4 (33 KV)-Ckt No. 5 | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996691 | 996816 | -125 | 125000 | 0.125 | 864737 | 864740 | -3 | 3000 | 0.003
BRPL(+) continue | [14 empty] | January-2016
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996118 | 996164 | -46 | 46000 | 0.046 | 972330 | 972331 | -1 | 1000 | 0.001
31 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 997901 | 997864 | 37 | -18500 | -0.0185 | 999221 | 999232 | -11 | 5500 | 0.0055
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6504 | 5319 | 1185 | -2370000 | -2.37 | 969686 | 969682 | 4 | -8000 | -0.008
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993454 | 992995 | 459 | -459000 | -0.459 | 906180 | 906177 | 3 | -3000 | -0.003
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994500 | 994500 | 0 | 0 | 0 | 927516 | 927516 | 0 | 0 | 0
35 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997304 | 996829 | 475 | -475000 | -0.475 | 991285 | 991280 | 5 | -5000 | -0.005
36 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977842 | 978197 | -355 | 355000 | 0.355 | 980667 | 980688 | -21 | 21000 | 0.021
RIDGE VALLEY
37 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 969954 | 970046 | -92 | 61333.272 | 0.061333 | 977045 | 977072 | -27 | 17999.982 | 0.018
38 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 992567 | 992497 | 70 | -175000 | -0.175 | 481 | 481 | 0 | 0 | 0
DIAL
39 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4297 | 4033 | 264 | -528000 | -0.528 | 2025 | 2022 | 3 | -6000 | -0.006
40 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1155 | 865 | 290 | -580000 | -0.58 | 1069 | 1066 | 3 | -6000 | -0.006
MASJID MOD
41 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 925222 | 926085 | -863 | 863000 | 0.863 | 988356 | 988357 | -1 | 1000 | 0.001
42 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 933603 | 934543 | -940 | 940000 | 0.94 | 991924 | 991924 | 0 | 0 | 0
MUNDKA
43 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
44 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 31040 | 31212 | -172 | -137600 | -0.1376 | 1682 | 1674 | 8 | 6400 | 0.0064
45 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 907618 | 908060 | -442 | -353600 | -0.3536 | 999534 | 999542 | -8 | -6400 | -0.0064
46 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
47 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 999982 | 1000000 | -18 | -14400 | -0.0144 | 999999 | 1000000 | -1 | -800 | -0.0008
48 | BAY No 616 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999982 | 1000000 | -18 | -18000 | -0.018 | 999999 | 1000000 | -1 | -1000 | -0.001
PARK STREET
49 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985804 | 987037 | -1233 | -1233000 | -1.233 | 35170 | 35215 | -45 | -45000 | -0.045
50 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
51 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36126 | 34827 | 1299 | -1299000 | -1.299 | 973272 | 973256 | 16 | -16000 | -0.016
52 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 791 | 8 | 783 | -783000 | -0.783 | 23 | 6 | 17 | -17000 | -0.017
53 | Tx-3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 6 | 0 | 6 | -7999.98 | -0.008 | 0 | 0 | 0 | 0 | 0 | till 03/01/2016
[5 empty] | -1000 | 1608 | 6 | 1602 | -1602000 | -1.602 | 999999 | 1000000 | -1 | 1000 | 0.001 | from 04/01/2016
NARAINA
54 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 22695 | 22507 | 188 | 18800 | 0.0188 | 21665 | 21557 | 108 | 10800 | 0.0108
SUDARSHAN PARK
55 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 8578 | 8758 | -180 | -18000 | -0.018 | 61313 | 61338 | -25 | -2500 | -0.0025
REWARI LINE
56 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
57 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 915448 | 915448 | 0 | 0 | 0 | 991937 | 991937 | 0 | 0 | 0
[10 empty] | -0.274 |  |  |  |  | 0 | Assessmeent
|  | 4864964 | ELSTER | Kvarh(Lead/Lag) | 800 | 998823 | 1000000 | -1177 | -941600 | -0.9416 | 999999 | 1000000 | -1 | -800 | -0.0008 | w.e.f 08/01/2016
A.I.I.M.S.
58 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 3071 | 2797 | 274 | 20550 | 0.02055 | 7024 | 6957 | 67 | 5025 | 0.005025
59 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 849 | 770 | 79 | 7900 | 0.0079 | 1529 | 1491 | 38 | 3800 | 0.0038
PEERGARHI
60 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 1000 | 40 | 56 | -16 | -16000 | -0.016 | 999994 | 999983 | 11 | 11000 | 0.011
61 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 371 | 370 | 1 | 1000 | 0.001 | 156 | 144 | 12 | 12000 | 0.012
62 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998822 | 998937 | -115 | -115000 | -0.115 | 68 | 62 | 6 | 6000 | 0.006
63 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1128 | 1117 | 11 | 11000 | 0.011 | 537 | 522 | 15 | 15000 | 0.015
64 | PASCHIM PURI - I (L-7) | 5269791 | ELSTER | Kvarh(Lead/Lag) | 2000 | 266 | 266 | 0 | 0 | 0 | 1077 | 1077 | 0 | 0 | 0
65 | PASCHIM PURI - 2(L-8) | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2897 | 2909 | -12 | -12000 | -0.012 | 769 | 769 | 0 | 0 | 0 | Check meter data
|  | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999964 | 1000000 | -36 | -3600 | -0.0036 | 39 | 0 | 39 | 3900 | 0.0039 | w.e.f 20/01/2016
66 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
67 | PEERGARHI - 2(L-10) | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 538 | 573 | -35 | -35000 | -0.035 | 34 | 33 | 1 | 1000 | 0.001
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -12.8665 |  |  |  |  | 0.36968
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | January-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 122530 | 114538 | 7992 | -799200 | -0.7992 | 910763 | 910763 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 95246 | 95656 | -410 | 41000 | 0.041 | 1061 | 1070 | -9 | 900 | 0.0009
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 150785 | 151137 | -352 | 35200 | 0.0352 | 17518 | 17441 | 77 | -7700 | -0.0077
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996368 | 996371 | -3 | 300 | 0.0003 | 135 | 135 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6219 | 6122 | 97 | -194000 | -0.194 | 73946 | 73943 | 3 | -6000 | -0.006
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14342 | 14281 | 61 | -61000 | -0.061 | 284 | 284 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 906463 | 906395 | 68 | -34000 | -0.034 | 56966 | 56949 | 17 | -8500 | -0.0085
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 995119 | 995720 | -601 | 240400 | 0.2404 | 2916 | 2926 | -10 | 4000 | 0.004
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 79082 | 78950 | 132 | -13200 | -0.0132 | 68418 | 68418 | 0 | 0 | 0
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 85971 | 84357 | 1614 | -161400 | -0.1614 | 66994 | 66994 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -200 | 16267 | 14830 | 1437 | -287400 | -0.2874 | 10625 | 10623 | 2 | -400 | -0.0004
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999583 | 999654 | -71 | -35500 | -0.0355 | 17091 | 17091 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999871 | 999953 | -82 | -20500 | -0.0205 | 999883 | 999908 | -25 | -6250 | -0.00625
15 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 987086 | 987102 | -16 | -2666.6667 | -0.0026667 | 993178 | 993179 | -1 | -166.6667 | -0.00016667
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 368829 | 364973 | 3856 | -385600 | -0.3856 | 49584 | 49584 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 4091 | 4096 | -5 | 500 | 0.0005 | 23478 | 23477 | 1 | -100 | -0.0001
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864806 | ELSTER | Kvarh(Lead/Lag) | -125 | 177022 | 176060 | 962 | -120250 | -0.12025 | 261484 | 261352 | 132 | -16500 | -0.0165
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9304 | 9417 | -113 | 11300 | 0.0113 | 32296 | 32270 | 26 | -2600 | -0.0026
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11557 | 11723 | -166 | 16600 | 0.0166 | 64558 | 64611 | -53 | 5300 | 0.0053
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 233 | 120 | 113 | -11300 | -0.0113 | 498 | 181 | 317 | -31700 | -0.0317 | w.e.f 09/12/2015
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 9922 | 9339 | 583 | -58300 | -0.0583 | 6324 | 6301 | 23 | -2300 | -0.0023
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16468 | 16839 | -371 | 37100 | 0.0371 | 21215 | 21208 | 7 | -700 | -0.0007
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 992704 | 993285 | -581 | 25819.64 | 0.02582 | 774 | 790 | -16 | 711.04 | 0.00071104
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995602 | 995602 | 0 | 0 | 0 | 54 | 52 | 2 | 800 | 0.0008
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999922 | 999922 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -1.7761 |  |  |  |  | -0.071206
January-2016
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -12.8665 |  |  |  |  | 0.36968
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -1.7761 |  |  |  |  | -0.071206
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -1.7072 |  |  |  |  | 0.046801
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0936 |  |  |  |  | -0.0738
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -16.4435 |  |  |  |  | 0.27147
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -16.4435 | (REACTIVE MUs) |  |  |  | 0.27147 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 2.0314 | (REACTIVE MUs) |  |  |  | -4.1681 | (REACTIVE MUs)
[9 empty] | TOTAL | -14.4121 | (REACTIVE MUs) |  |  |  | -3.8966 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | January-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 53520 | 52915 | 605 | 121000 | 0.121 | 81611 | 81573 | 38 | 7600 | 0.0076
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 73191 | 73593 | -402 | -40200 | -0.0402 | 139943 | 139957 | -14 | -1400 | -0.0014
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 977256 | 977567 | -311 | -62200 | -0.0622 | 997259 | 997234 | 25 | 5000 | 0.005
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 83212 | 82192 | 1020 | 204000 | 0.204 | 102355 | 102313 | 42 | 8400 | 0.0084
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 13942 | 13183 | 759 | 607200 | 0.6072 | 7150 | 7145 | 5 | 4000 | 0.004
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 14104 | 14053 | 51 | 102000 | 0.102 | 2927 | 2927 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 978910 | 979451 | -541 | -432800 | -0.4328 | 989706 | 989709 | -3 | -2400 | -0.0024
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 972968 | 975061 | -2093 | -1674400 | -1.6744 | 983783 | 983803 | -20 | -16000 | -0.016
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 984690 | 985719 | -1029 | -823200 | -0.8232 | 992641 | 992648 | -7 | -5600 | -0.0056 | w.e.f 25/01/2016
|  | 5128446 | ELSTER | Kvarh(Lead/Lag) | 800 | 983881 | 984192 | -311 | -248800 | -0.2488 | 992934 | 992934 | 0 | 0 | 0 | Check Meter Data
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 985952 | 986905 | -953 | -762400 | -0.7624 | 994524 | 994526 | -2 | -1600 | -0.0016
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 4832 | 4370 | 462 | 46200 | 0.0462 | 397947 | 397895 | 52 | 5200 | 0.0052
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 988700 | 989923 | -1223 | -91725 | -0.091725 | 3257 | 3303 | -46 | -3450 | -0.00345
13 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 24974 | 24698 | 276 | 27600 | 0.0276 | 377524 | 377410 | 114 | 11400 | 0.0114
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998779 | 998998 | -219 | -82125 | -0.082125 | 999981 | 999993 | -12 | -4500 | -0.0045
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 991608 | 992377 | -769 | -76900 | -0.0769 | 315375 | 315397 | -22 | -2200 | -0.0022
16 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 3521 | 2883 | 638 | 63800 | 0.0638 | 194696 | 194532 | 164 | 16400 | 0.0164
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 8109 | 8932 | -823 | -82300 | -0.0823 | 258470 | 258496 | -26 | -2600 | -0.0026
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 69129 | 69374 | -245 | -24500 | -0.0245 | 714130 | 714156 | -26 | -2600 | -0.0026
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 99135 | 99789 | -654 | -719400 | -0.7194
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 290 | 742 | -452 | -452000 | -0.452 | 42512 | 42512 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 147273 | 148239 | -966 | -1062600 | -1.0626
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3125 | 3373 | -248 | -248000 | -0.248 | 56275 | 56275 | 0 | 0 | 0
[10 empty] | -0.7 |  |  |  |  | -1.782
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 6219 | 6122 | 97 | 194000 | 0.194 | 73946 | 73943 | 3 | 6000 | 0.006
24 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14342 | 14281 | 61 | 61000 | 0.061 | 284 | 284 | 0 | 0 | 0
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 906463 | 906395 | 68 | 34000 | 0.034 | 56966 | 56949 | 17 | 8500 | 0.0085
26 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 995119 | 995720 | -601 | -240400 | -0.2404 | 2916 | 2926 | -10 | -4000 | -0.004
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999583 | 999654 | -71 | 35500 | 0.0355 | 17091 | 17091 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999871 | 999953 | -82 | -20500 | -0.0205 | 999883 | 999908 | -25 | -6250 | -0.00625
29 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 987086 | 987102 | -16 | 2666.6667 | 0.0026667 | 993178 | 993179 | -1 | 166.6667 | 0.00016667
January-2016
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 957379 | 958787 | -1408 | 1408000 | 1.408 | 973046 | 973046 | 0 | 0 | 0
31 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992955 | 994331 | -1376 | 1376000 | 1.376 | 997074 | 997074 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968482 | 969119 | -637 | 637000 | 0.637 | 981319 | 981319 | 0 | 0 | 0
33 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983566 | 984243 | -677 | 677000 | 0.677 | 993117 | 993117 | 0 | 0 | 0
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 368829 | 364973 | 3856 | 385600 | 0.3856 | 49584 | 49584 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 4091 | 4096 | -5 | -500 | -0.0005 | 23478 | 23477 | 1 | 100 | 0.0001
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 79082 | 78950 | 132 | 13200 | 0.0132 | 68418 | 68418 | 0 | 0 | 0
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 85971 | 84357 | 1614 | 161400 | 0.1614 | 66994 | 66994 | 0 | 0 | 0
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 16267 | 14830 | 1437 | 143700 | 0.1437 | 10625 | 10623 | 2 | 200 | 0.0002
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 122530 | 114538 | 7992 | 799200 | 0.7992 | 910763 | 910763 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 3071 | 2797 | 274 | -20550 | -0.02055 | 7024 | 6957 | 67 | -5025 | -0.005025
2 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 849 | 770 | 79 | -7900 | -0.0079 | 1529 | 1491 | 38 | -3800 | -0.0038
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 1.7087 |  |  |  |  | -1.7705
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 1.7087 |  |  |  |  | -1.7705
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.25318 |  |  |  |  | -0.51949
| TOTAL ENERGY TO NDMC | [8 empty] | 1.9618 |  |  |  |  | -2.2899

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | January-2016
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2460 | 2453 | 7 | 7000 | 0.007 | 31384 | 31230 | 154 | 154000 | 0.154
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1487 | 1487 | 0 | 0 | 0 | 32404 | 32308 | 96 | 96000 | 0.096
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3940 | 3930 | 10 | 10000 | 0.01 | 40806 | 40438 | 368 | 368000 | 0.368
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 47 | 47 | 0 | 0 | 0 | 10692 | 10641 | 51 | 6799.983 | 0.0068
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5444 | 5430 | 14 | 14000 | 0.014 | 11028 | 11028 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12641 | 12628 | 13 | 6500 | 0.0065 | 60842 | 60767 | 75 | 37500 | 0.0375
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996368 | 996371 | -3 | -300 | -0.0003 | 135 | 135 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0372 |  |  |  |  | 0.6623
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 55203 | 54896 | 307 | 30700 | 0.0307 | 80616 | 80549 | 67 | 6700 | 0.0067
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 76635 | 76635 | 0 | 0 | 0 | 13641 | 13255 | 386 | 38600 | 0.0386
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 54788 | 54159 | 629 | 62900 | 0.0629 | 83212 | 82927 | 285 | 28500 | 0.0285
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 596 | 596 | 0 | 0 | 0 | 147 | 147 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 9735 | 9659 | 76 | 7600 | 0.0076 | 3192 | 3181 | 11 | 1100 | 0.0011
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0936 |  |  |  |  | 0.0738
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0936 |  |  |  |  | 0.0738
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0372 |  |  |  |  | 0.6623
| GRAND TOTAL (BSES RPL+TPPDL+DTL) | [8 empty] | 0.1308 |  |  |  |  | 0.7361
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.1308 | (REACTIVE MUs) |  |  |  | 0.7361 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.046454 | (REACTIVE MUs) |  |  |  | -0.095317 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.17725 | (REACTIVE MUs) |  |  |  | 0.64078 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | January-2016
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 12741 | 10648 | 2093 | 209300 | 0.2093 | 2465 | 2403 | 62 | 6200 | 0.0062
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 1000 | 660 | 2820 | -2160 | -2160000 | -2.16 | 0 | 1 | -1 | -1000 | -0.001
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 1206 | 632 | 574 | 287000 | 0.287 | 999982 | 1000006 | -24 | -12000 | -0.012
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 39761 | 40119 | -358 | -335625 | -0.33563 | 19105 | 19105 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 980316 | 980316 | 0 | 0 | 0 | 909091 | 909091 | 0 | 0 | 0
[10 empty] | 0.0484 |  |  |  |  | 0.0336 | Assessment
|  | 4864826 | ELSTER | Kvarh(Lead/Lag) | -66.67 | 999637 | 1000000 | -363 | 24201.21 | 0.024201 | 999748 | 1000000 | -252 | 16800.84 | 0.016801 | w.e.f 20/01/2016
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 986495 | 986934 | -439 | 219500 | 0.2195 | 976501 | 976511 | -10 | 5000 | 0.005
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 109 | 109 | 0 | 0 | 0 | 3 | 9 | -6 | -1800 | -0.0018
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -1.7072 |  |  |  |  | 0.046801
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 996213 | 996297 | -84 | -16800 | -0.0168 | 999934 | 999933 | 1 | 200 | 0.0002
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 933564 | 936678 | -3114 | -1167750 | -1.1678 | 997625 | 997625 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.1845 |  |  |  |  | 0.0002
TO TPDDL
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 274160 | 272681 | 1479 | 295800 | 0.2958 | 266015 | 266018 | -3 | -600 | -0.0006
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 131394 | 130766 | 628 | 125600 | 0.1256 | 43246 | 43246 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 220515 | 219302 | 1213 | 121300 | 0.1213 | 75810 | 75810 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1000 | 378 | 540 | -162 | -162000 | -0.162 | 999983 | 999984 | -1 | -1000 | -0.001
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 997809 | 997809 | 0 | 0 | 0 | 999910 | 999910 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 66.66 | 999015 | 999584 | -569 | -37929.54 | -0.03793 | 1000271 | 999854 | 417 | 27797.22 | 0.027797
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999616 | 999685 | -69 | 172500 | 0.1725 | 3072 | 3075 | -3 | 7500 | 0.0075
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 109 | 109 | 0 | 0 | 0 | 3 | 9 | -6 | 1800 | 0.0018
| TOTAL TPDDL | [8 empty] | 0.51527 |  |  |  |  | 0.035497
| E) NET EXPORT TO BSES RPL | [8 empty] | -1.7072 |  |  |  |  | 0.046801
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.1845 |  |  |  |  | 0.0002
| G) NET EXPORT TO TPDDL. | [8 empty] | 0.51527 |  |  |  |  | 0.035497

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | January-2016
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 24861 | 23036 | 1825 | 3650000 | 3.65 | 1589 | 1589 | 0 | 0 | 0
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 1247 | 547 | 700 | 3500000 | 3.5 | 999919 | 999919 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 7.15 |  | NET REACTIVE ENERGY |  |  | 0
3
4
[7 empty] | NET REACTIVE ENERGY |  |  | 0 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 7.15 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | TPDDL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -1.3769 |  |  |  |  | -8.6272
[7 empty] | NDMC = |  |  | -0.7 |  |  |  |  | -1.782
MES =
[7 empty] | 2)TOTAL |  |  | -2.0769 |  |  |  |  | -10.4092
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 5.0731 |  |  |  |  | -10.4092
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | TPDDL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.4065 | % |  |  | 1.5933 |  |  |  |  | -3.2692
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.0425 | % |  |  | 2.0314 |  |  |  |  | -4.1681
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.6446 | % |  |  | 1.1488 |  |  |  |  | -2.3571
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.9907 | % |  |  | 0.25318 |  |  |  |  | -0.51949
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.9157 | % |  |  | 0.046454 |  |  |  |  | -0.095317
Note :Sharing taken from wk-36 abt bill 2014-15

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st January-2016 TO 1st February-2016
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO T.P.D.D.L |  |  |  |  | -12.7924 |  | -4.3248
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -14.4121 |  | -3.8966
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -9.0255 |  | -6.9733
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 1.9618 |  | -2.2899
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.17725 | + | 0.64078
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2016 | INTIAL READING 01/01/2016 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 953167 | 953171 | -4 | -6000 | -0.006 | 979232 | 979232 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 992612 | 993192 | -580 | -870000 | -0.87 | 992897 | 992897 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 907640 | 917502 | -9862 | -7396500 | -7.3965 | 999302 | 999302 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -8.2725 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997898 | 997898 | 0 | 0 | 0 | 30690 | 30718 | -28 | -140000 | -0.14
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999960 | 999962 | -2 | -2000 | -0.002 | 975131 | 975700 | -569 | -569000 | -0.569
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 978795 | 978332 | 463 | 463000 | 0.463 | 991233 | 991171 | 62 | 62000 | 0.062
[8 empty] | NET REACTIVE ENERGY |  | 0.461 |  |  | NET REACTIVE ENERGY |  | -0.647