## NDPL
DELHI TRANSCO LIMITED | [15 empty] | OCTOBER-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18752 | 18772 | -20 | 20000 | 0.02 | 979305 | 979300 | 5 | -5000 | -0.005
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18752 | 18772 | -20 | 20000 | 0.02 | 979305 | 979300 | 5 | -5000 | -0.005 | ASSESSMENT
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13 | 16 | -3 | 3000 | 0.003 | 320 | 659 | -339 | 339000 | 0.339
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20407 | 20466 | -59 | 59000 | 0.059 | 997176 | 997271 | -95 | 95000 | 0.095
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975034 | 975034 | 0 | 0 | 0 | 978598 | 979251 | -653 | 653000 | 0.653
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 923151 | 923243 | -92 | 92000 | 0.092 | 950007 | 950299 | -292 | 292000 | 0.292
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18257 | 18245 | 12 | -12000 | -0.012 | 16573 | 16576 | -3 | 3000 | 0.003
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19278 | 19270 | 8 | -8000 | -0.008 | 12716 | 12719 | -3 | 3000 | 0.003
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17076 | 17075 | 1 | -1000 | -0.001 | 996633 | 996633 | 0 | 0 | 0
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12039 | 11916 | 123 | -123000 | -0.123 | 986853 | 986853 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35545 | 35712 | -167 | 167000 | 0.167 | 9897 | 9897 | 0 | 0 | 0
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2600 | 2805 | -205 | 205000 | 0.205 | 4236 | 4236 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998798 | 998813 | -15 | 15000 | 0.015 | 999502 | 999502 | 0 | 0 | 0
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 962098 | 963719 | -1621 | -1621000 | -1.621 | 920550 | 920550 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997502 | 997444 | 58 | -58000 | -0.058 | 17317 | 17381 | -64 | 64000 | 0.064
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998602 | 998381 | 221 | -221000 | -0.221 | 19576 | 19576 | 0 | 0 | 0
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1112 | 1113 | -1 | 1000 | 0.001 | 21199 | 21239 | -40 | 40000 | 0.04
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999566 | 999566 | 0 | 0 | 0 | 27716 | 27875 | -159 | -159000 | -0.159
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 192 | 192 | 0 | 0 | 0 | 26316 | 26342 | -26 | -26000 | -0.026
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 1769 | 1769 | 0 | 0 | 0 | 120077 | 119185 | 892 | 89200 | 0.0892
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 2912 | 2906 | 6 | 600 | 0.0006 | 167941 | 167100 | 841 | 84100 | 0.0841
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996109 | 996109 | 0 | 0 | 0 | 997716 | 997659 | 57 | 57000 | 0.057
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999947 | 999947 | 0 | 0 | 0 | 1654 | 1348 | 306 | 306000 | 0.306
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 654935 | 655052 | -117 | -117000 | -0.117 | 801428 | 801430 | -2 | -2000 | -0.002
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 662397 | 662472 | -75 | -75000 | -0.075 | 833903 | 833904 | -1 | -1000 | -0.001
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990956 | 990759 | 197 | 197000 | 0.197 | 998457 | 998457 | 0 | 0 | 0
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 999257 | 999105 | 152 | 76000 | 0.076 | 999815 | 999814 | 1 | 500 | 0.0005
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6870 | 6959 | -89 | 89000 | 0.089 | 981915 | 981910 | 5 | -5000 | -0.005
28 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998020 | 997872 | 148 | -148000 | -0.148 | 948541 | 948563 | -22 | 22000 | 0.022
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992808 | 992756 | 52 | -52000 | -0.052 | 936425 | 936865 | -440 | 440000 | 0.44
DSIDC BAWANA
30 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3346 | 2233 | 1113 | -1113000 | -1.113 | 18 | 19 | -1 | 1000 | 0.001
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
31 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 763 | 757 | 6 | 6000 | 0.006 | 16213 | 16115 | 98 | 98000 | 0.098
32 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999111 | 999071 | 40 | 40000 | 0.04 | 3002 | 2983 | 19 | 19000 | 0.019
| NDPL(+) continue | [14 empty] | OCTOBER-2011
DMS
33 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 682 | 678 | 4 | 4000 | 0.004 | 55273 | 54921 | 352 | 352000 | 0.352
REWARI LINE
34 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 9895 | 9727 | 168 | 16800 | 0.0168 | 58442 | 57120 | 1322 | 132200 | 0.1322
VISHAL
35 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 7474 | 7206 | 268 | 26800 | 0.0268 | 11502 | 10909 | 593 | 59300 | 0.0593
36 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 9526 | 9253 | 273 | 27300 | 0.0273 | 30456 | 30294 | 162 | 16200 | 0.0162
37 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13706 | 13706 | 0 | 0 | 0 | 35068 | 35157 | -89 | -8900 | -0.0089
S.B.MILL
38 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 31643 | 31450 | 193 | 19300 | 0.0193 | 10420 | 10348 | 72 | 7200 | 0.0072
39 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
40 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
41 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 14789 | 14674 | 115 | 11500 | 0.0115 | 10741 | 10556 | 185 | 18500 | 0.0185
44 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 998171 | 998171 | 0 | 0 | 0 | 947 | 947 | 0 | 0 | 0
B.G.ROAD
45 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | 500 | 3442 | 3440 | 2 | 1000 | 0.001 | 29054 | 28839 | 215 | 107500 | 0.1075
46 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3193 | 3187 | 6 | 3000 | 0.003 | 20288 | 20138 | 150 | 75000 | 0.075
47 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 3233 | 3232 | 1 | 500 | 0.0005 | 13766 | 13624 | 142 | 71000 | 0.071
48 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 3182 | 3182 | 0 | 0 | 0 | 15876 | 15615 | 261 | 130500 | 0.1305
D.M.S.
49 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 999941 | 999593 | 348 | 34800 | 0.0348 | 5730 | 5690 | 40 | 4000 | 0.004
50 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 2594 | 2554 | 40 | 4000 | 0.004 | 13582 | 13551 | 31 | 3100 | 0.0031
51 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 6597 | 6290 | 307 | 30700 | 0.0307 | 48646 | 48555 | 91 | 9100 | 0.0091
52 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 8161 | 8216 | -55 | -5500 | -0.0055 | 19093 | 19094 | -1 | -100 | -0.0001
53 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999622 | 999666 | -44 | -4400 | -0.0044 | 239 | 240 | -1 | -100 | -0.0001
54 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
55 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 2223 | 2027 | 196 | 19600 | 0.0196 | 61147 | 60911 | 236 | 23600 | 0.0236
56 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 3763 | 3554 | 209 | 20900 | 0.0209 | 52466 | 52285 | 181 | 18100 | 0.0181
57 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 4445 | 4237 | 208 | 20800 | 0.0208 | 75462 | 75237 | 225 | 22500 | 0.0225
KASHMIRI GATE
58 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 103049 | 99414 | 3635 | 363500 | 0.3635 | 26728 | 26720 | 8 | 800 | 0.0008
59 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 13878 | 12421 | 1457 | 145700 | 0.1457 | 33449 | 33449 | 0 | 0 | 0
60 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 2 | 2 | 0 | 0 | 0 | 999952 | 999952 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
61 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | -400 | 4570 | 4570 | 0 | 0 | 0 | 12608 | 12608 | 0 | 0 | 0
62 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999305 | 999305 | 0 | 0 | 0 | 999157 | 999188 | -31 | -3100 | -0.0031
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -1.8181 |  |  |  |  | 3.4412
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | OCTOBER-2011
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 5159 | 5034 | 125 | -12500 | -0.0125 | 8664 | 8471 | 193 | -19300 | -0.0193
MANGOLPURI
2 | NANGLOI-1 EXP | 4864954 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4330 | 4330 | 0 | 0 | 0 | 3697 | 3697 | 0 | 0 | 0
3 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5738 | 5742 | -4 | 4000 | 0.004 | 4040 | 4040 | 0 | 0 | 0
SUBZI MANDI
4 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3504 | 3509 | -5 | 1000 | 0.001 | 1605 | 1696 | -91 | 18200 | 0.0182
5 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12833 | 12824 | 9 | -9000 | -0.009 | 24018 | 23219 | 799 | -799000 | -0.799
SUDARSHAN PARK
6 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 38527 | 37843 | 684 | -68400 | -0.0684 | 147110 | 146880 | 230 | -23000 | -0.023
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
7 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
8 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980286 | 980860 | -574 | 574000 | 0.574 | 992720 | 992721 | -1 | 1000 | 0.001
66KV GHEBRA
9 | GHEBRA-NANGLOI | 4902502 | ELSTER | Kvarh(Lead/Lag) | -1250 | 998215 | 998279 | -64 | 80000 | 0.08 | 628 | 588 | 40 | -50000 | -0.05
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.5691 |  |  |  |  | -0.8721
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -1.8181 |  |  |  |  | 3.4412
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.5691 |  |  |  |  | -0.8721
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.1252 |  |  |  |  | 0.24639
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -0.1238 |  |  |  |  | 2.8155
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.1238 | (REACTIVE MUs) |  |  |  | 2.8155 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.2412 | (REACTIVE MUs) |  |  |  | 1.9281 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.1174 | (REACTIVE MUs) |  |  |  | 4.7436 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | OCTOBER-2011
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 990484 | 991191 | -707 | -70700 | -0.0707 | 77648 | 77165 | 483 | 48300 | 0.0483
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 15618 | 15378 | 240 | 24000 | 0.024 | 999388 | 999315 | 73 | 7300 | 0.0073
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 23833 | 22819 | 1014 | 101400 | 0.1014 | 31173 | 30945 | 228 | 22800 | 0.0228
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 999004 | 999122 | -118 | -11800 | -0.0118 | 5086 | 5100 | -14 | -1400 | -0.0014
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 8205 | 8151 | 54 | 5400 | 0.0054 | 72757 | 72777 | -20 | -2000 | -0.002
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 802 | 1052 | -250 | -25000 | -0.025 | 46355 | 46495 | -140 | -14000 | -0.014
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999784 | 999897 | -113 | -113000 | -0.113 | 999713 | 999713 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999880 | 999899 | -19 | -19000 | -0.019 | 2314 | 2314 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 285 | 136 | 149 | 149000 | 0.149 | 1306 | 1306 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 73 | 11 | 62 | 62000 | 0.062 | 2432 | 2432 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999712 | 999872 | -160 | -160000 | -0.16 | 2214 | 2214 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 470 | 484 | -14 | -14000 | -0.014 | 1077 | 1078 | -1 | -1000 | -0.001
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 155 | 32 | 123 | 123000 | 0.123 | 13443 | 13432 | 11 | 11000 | 0.011
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 300 | 210 | 90 | 90000 | 0.09 | 34086 | 34077 | 9 | 9000 | 0.009
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 258 | 260 | -2 | -2000 | -0.002 | 8827 | 8838 | -11 | -11000 | -0.011
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 236 | 220 | 16 | 16000 | 0.016 | 5325 | 5325 | 0 | 0 | 0
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 29697 | 29481 | 216 | 21600 | 0.0216 | 530 | 530 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998499 | 998525 | -26 | -26000 | -0.026 | 5553 | 5526 | 27 | 27000 | 0.027
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 838958 | 842272 | -3314 | -3645400 | -3.6454
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 880370 | 883417 | -3047 | -3351700 | -3.3517
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994326 | 994854 | -528 | -528000 | -0.528 | 10106 | 10106 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -0.4004 |  |  |  |  | -6.9621
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966298 | 966745 | -447 | 447000 | 0.447 | 978078 | 978080 | -2 | 2000 | 0.002
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983285 | 983757 | -472 | 472000 | 0.472 | 984544 | 984555 | -11 | 11000 | 0.011
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 2 | 2 | 0 | 0 | 0 | 999952 | 999952 | 0 | 0 | 0
NARAINA
26 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 928 | 928 | 0 | 0 | 0 | 56002 | 55567 | 435 | 435000 | 0.435
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1298 | 867 | 431 | -431000 | -0.431 | 974886 | 975695 | -809 | 809000 | 0.809
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3431 | 3291 | 140 | -140000 | -0.14 | 980329 | 981131 | -802 | 802000 | 0.802
29 | TX.-1(33KV) | 4864902 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995821 | 996037 | -216 | 216000 | 0.216 | 991326 | 991340 | -14 | 14000 | 0.014
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998824 | 999008 | -184 | 184000 | 0.184 | 996276 | 996354 | -78 | 78000 | 0.078
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3504 | 3509 | -5 | -1000 | -0.001 | 1605 | 1696 | -91 | -18200 | -0.0182
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12833 | 12824 | 9 | 9000 | 0.009 | 24018 | 23219 | 799 | 799000 | 0.799
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 85690 | 85954 | -264 | -26400 | -0.0264 | 1663 | 1642 | 21 | 2100 | 0.0021
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 52598 | 53124 | -526 | -52600 | -0.0526 | 999577 | 999576 | 1 | 100 | 0.0001
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.2999 |  |  |  |  | -3.9671
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.2999 |  |  |  |  | -3.9671
OCTOBER-2011
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997785 | 997811 | -26 | 26000 | 0.026 | 944420 | 945654 | -1234 | 1234000 | 1.234
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15659 | 15675 | -16 | 16000 | 0.016 | 963037 | 964136 | -1099 | 1099000 | 1.099
3 | Tx.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14229 | 14266 | -37 | 37000 | 0.037 | 950373 | 952527 | -2154 | 2154000 | 2.154
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964840 | 973439 | -8599 | 8599000 | 8.599 | 993732 | 993734 | -2 | 2000 | 0.002
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955906 | 964594 | -8688 | 8688000 | 8.688 | 992021 | 992023 | -2 | 2000 | 0.002
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 796 | 1296 | -500 | 500000 | 0.5 | 994563 | 994859 | -296 | 296000 | 0.296
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1862 | 2042 | -180 | 180000 | 0.18 | 984381 | 984798 | -417 | 417000 | 0.417
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999894 | 1000317 | -423 | 846000 | 0.846 | 990723 | 990977 | -254 | 508000 | 0.508 | ROLLOVER
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | [10 empty] | OFF
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13679 | 13605 | 74 | -74000 | -0.074 | 958800 | 959348 | -548 | 548000 | 0.548
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970322 | 970402 | -80 | 80000 | 0.08 | 907100 | 908159 | -1059 | 1059000 | 1.059
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21356 | 21343 | 13 | -13000 | -0.013 | 26850 | 26807 | 43 | -43000 | -0.043
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15424 | 15390 | 34 | -34000 | -0.034 | 36137 | 35590 | 547 | -547000 | -0.547
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 18.851 |  |  |  |  | 6.729
| (B) NET ENERGY TO EAST | [8 empty] | 18.851 |  |  |  |  | 6.729
OCTOBER-2011
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990956 | 990759 | 197 | -197000 | -0.197 | 998457 | 998457 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 999257 | 999105 | 152 | -76000 | -0.076 | 999815 | 999814 | 1 | -500 | -0.0005
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -100 | 16917 | 16569 | 348 | -34800 | -0.0348 | 62304 | 62219 | 85 | -8500 | -0.0085
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 17445 | 16917 | 528 | -105600 | -0.1056 | 62307 | 62304 | 3 | -600 | -0.0006 | CT replaced with New CT 800/5 on dated 13/10/11
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 21587 | 20120 | 1467 | -146700 | -0.1467 | 121060 | 120911 | 149 | -14900 | -0.0149
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -100 | 993256 | 993955 | -699 | 69900 | 0.0699 | 4243 | 4305 | -62 | 6200 | 0.0062
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 29645 | 26642 | 3003 | -300300 | -0.3003 | 80033 | 79912 | 121 | -12100 | -0.0121
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60725 | 58684 | 2041 | -2041000 | -2.041 | 232 | 232 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1163 | 584 | 579 | -579000 | -0.579 | 53 | 37 | 16 | -16000 | -0.016
9 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 999470 | 999671 | -201 | 160800 | 0.1608 | 998713 | 998967 | -254 | 203200 | 0.2032
EXPORT TO SOUTH & WEST FROM PARK STREET
10 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999390 | 999568 | -178 | 178000 | 0.178 | 37739 | 37169 | 570 | -570000 | -0.57
11 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 999226 | 999388 | -162 | 215999.46 | 0.216 | 485 | 382 | 103 | -137332.99 | -0.13733
EXPORT TO NORTH from SHASTRI PARK
12 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 763 | 757 | 6 | -6000 | -0.006 | 16213 | 16115 | 98 | -98000 | -0.098
13 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999111 | 999071 | 40 | -40000 | -0.04 | 3002 | 2983 | 19 | -19000 | -0.019
DMS
14 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 682 | 678 | 4 | -4000 | -0.004 | 55273 | 54921 | 352 | -352000 | -0.352
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
15 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | -500 | 3442 | 3440 | 2 | -1000 | -0.001 | 29054 | 28839 | 215 | -107500 | -0.1075
16 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3193 | 3187 | 6 | -3000 | -0.003 | 20288 | 20138 | 150 | -75000 | -0.075
17 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 3233 | 3232 | 1 | -500 | -0.0005 | 13766 | 13624 | 142 | -71000 | -0.071
18 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 3182 | 3182 | 0 | 0 | 0 | 15876 | 15615 | 261 | -130500 | -0.1305
KASHMIRI GATE
19 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 103049 | 99414 | 3635 | -363500 | -0.3635 | 26728 | 26720 | 8 | -800 | -0.0008
20 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 13878 | 12421 | 1457 | -145700 | -0.1457 | 33449 | 33449 | 0 | 0 | 0
D.M.S.
21 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 999941 | 999593 | 348 | -34800 | -0.0348 | 5730 | 5690 | 40 | -4000 | -0.004
22 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 2594 | 2554 | 40 | -4000 | -0.004 | 13582 | 13551 | 31 | -3100 | -0.0031
23 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 6597 | 6290 | 307 | -30700 | -0.0307 | 48646 | 48555 | 91 | -9100 | -0.0091
24 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 8161 | 8216 | -55 | 5500 | 0.0055 | 19093 | 19094 | -1 | 100 | 0.0001
25 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999622 | 999666 | -44 | 4400 | 0.0044 | 239 | 240 | -1 | 100 | 0.0001
26 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
27 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 2223 | 2027 | 196 | -19600 | -0.0196 | 61147 | 60911 | 236 | -23600 | -0.0236
28 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 3763 | 3554 | 209 | -20900 | -0.0209 | 52466 | 52285 | 181 | -18100 | -0.0181
29 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 4445 | 4237 | 208 | -20800 | -0.0208 | 75462 | 75237 | 225 | -22500 | -0.0225
[10 empty] | -3.5403 |  |  |  |  | -1.4845
OCTOBER-2011
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.2999 |  |  |  |  | -3.9671
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -3.5403 |  |  |  |  | -1.4845
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.8738 |  |  |  |  | -0.003
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -4.1142 |  |  |  |  | -5.4546
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 18.851 |  |  |  |  | 6.729
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 14.7368 |  |  |  |  | 1.2744
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 14.7368 | (REACTIVE MUs) |  |  |  | 1.2744 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.21391 | (REACTIVE MUs) |  |  |  | 1.71 | (REACTIVE MUs)
[9 empty] | TOTAL | 14.9507 | (REACTIVE MUs) |  |  |  | 2.9843 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | OCTOBER-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999064 | 999130 | -66 | -66000 | -0.066 | 11292 | 11293 | -1 | -1000 | -0.001
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 992138 | 993180 | -1042 | -104200 | -0.1042 | 677683 | 677690 | -7 | -700 | -0.0007
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5722 | 5366 | 356 | 356000 | 0.356 | 45689 | 45613 | 76 | 76000 | 0.076
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10479 | 10312 | 167 | 167000 | 0.167 | 477 | 479 | -2 | -2000 | -0.002
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 7012 | 6959 | 53 | 5300 | 0.0053 | 85871 | 85686 | 185 | 18500 | 0.0185
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 42399 | 37077 | 5322 | 532200 | 0.5322 | 268753 | 268756 | -3 | -300 | -0.0003
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 6461 | 5877 | 584 | 58400 | 0.0584 | 343353 | 342991 | 362 | 36200 | 0.0362
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999889 | 999883 | 6 | 6000 | 0.006 | 12166 | 11891 | 275 | 275000 | 0.275
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995281 | 995340 | -59 | 59000 | 0.059 | 962257 | 963541 | -1284 | 1284000 | 1.284
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993941 | 994016 | -75 | 75000 | 0.075 | 964826 | 965944 | -1118 | 1118000 | 1.118
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989374 | 989454 | -80 | 80000 | 0.08 | 949377 | 949834 | -457 | 457000 | 0.457
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 127 | 156 | -29 | 29000 | 0.029 | 965503 | 965863 | -360 | 360000 | 0.36
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 362 | 453 | -91 | 91000 | 0.091 | 994465 | 994520 | -55 | 55000 | 0.055
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1035 | 484 | 551 | -551000 | -0.551 | 996776 | 996786 | -10 | 10000 | 0.01
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39233 | 38873 | 360 | -360000 | -0.36 | 27448 | 27685 | -237 | 237000 | 0.237
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5143 | 5074 | 69 | -69000 | -0.069 | 12116 | 12505 | -389 | 389000 | 0.389
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24508 | 24189 | 319 | -319000 | -0.319 | 13605 | 13818 | -213 | 213000 | 0.213
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13082 | 12869 | 213 | -213000 | -0.213 | 42891 | 43063 | -172 | 172000 | 0.172
IMPORT
MANGOLPURI
20 | NANGLOI-1 (03) IMP. | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4330 | 4330 | 0 | 0 | 0 | 3697 | 3697 | 0 | 0 | 0
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5738 | 5742 | -4 | -4000 | -0.004 | 4040 | 4040 | 0 | 0 | 0
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960774 | 963796 | -3022 | 3022000 | 3.022 | 906495 | 906495 | 0 | 0 | 0
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992948 | 993025 | -77 | 77000 | 0.077 | 870739 | 872288 | -1549 | 1549000 | 1.549
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 317 | 306 | 11 | -11000 | -0.011 | 999498 | 1001416 | -1918 | 1918000 | 1.918
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 450 | 449 | 1 | -1000 | -0.001 | 987020 | 989571 | -2551 | 2551000 | 2.551
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998770 | 998702 | 68 | -68000 | -0.068 | 957954 | 958047 | -93 | 93000 | 0.093
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 | [10 empty] | OFF
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999630 | 999630 | 0 | 0 | 0 | 931828 | 937709 | -5881 | 5881000 | 5.881
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999027 | 999027 | 0 | 0 | 0 | 919433 | 926328 | -6895 | 6895000 | 6.895
BRPL(+) continue | [14 empty] | OCTOBER-2011
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998860 | 998877 | -17 | 17000 | 0.017 | 977382 | 978163 | -781 | 781000 | 0.781
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 69 | 77 | -8 | 8000 | 0.008 | 994559 | 995640 | -1081 | 1081000 | 1.081
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 990127 | 989964 | 163 | -326000 | -0.326 | 972324 | 972788 | -464 | 928000 | 0.928
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998502 | 998545 | -43 | 43000 | 0.043 | 934460 | 936813 | -2353 | 2353000 | 2.353
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1592 | 1592 | 0 | 0 | 0 | 950418 | 950418 | 0 | 0 | 0
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998693 | 998746 | -53 | 53000 | 0.053 | 940817 | 943073 | -2256 | 2256000 | 2.256
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 783 | 783 | 0 | 0 | 0 | 597 | 597 | 0 | 0 | 0
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 990984 | 991610 | -626 | 417332.916 | 0.41733 | 976550 | 976550 | 0 | 0 | 0
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 189 | 187 | 2 | -4000 | -0.004 | 1037 | 1023 | 14 | -28000 | -0.028
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996907 | 996903 | 4 | -8000 | -0.008 | 314 | 304 | 10 | -20000 | -0.02
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993657 | 995039 | -1382 | 1382000 | 1.382 | 999915 | 999915 | 0 | 0 | 0
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992556 | 995131 | -2575 | 2575000 | 2.575 | 999997 | 999997 | 0 | 0 | 0
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 19 | 42 | -23 | -18400 | -0.0184 | 118 | 113 | 5 | 4000 | 0.004
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 1000588 | 999878 | 710 | 568000 | 0.568 | 57 | 55 | 2 | 1600 | 0.0016 | ROLL OVER
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 998345 | 999416 | -1071 | -856800 | -0.8568 | 999960 | 999961 | -1 | -800 | -0.0008
PARK STREET
45 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999390 | 999568 | -178 | -178000 | -0.178 | 37739 | 37169 | 570 | 570000 | 0.57
46 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999226 | 999388 | -162 | -215999.46 | -0.216 | 485 | 382 | 103 | 137332.99 | 0.13733
SARITA VIHAR
47 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2349 | 2628 | -279 | 279000 | 0.279 | 983054 | 983206 | -152 | 152000 | 0.152
48 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999232 | 999288 | -56 | 56000 | 0.056 | 989780 | 990977 | -1197 | 1197000 | 1.197
NARAINA
49 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 5159 | 5034 | 125 | 12500 | 0.0125 | 8664 | 8471 | 193 | 19300 | 0.0193
SUDARSHAN PARK
50 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 38527 | 37843 | 684 | 68400 | 0.0684 | 147110 | 146880 | 230 | 23000 | 0.023
REWARI LINE
51 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
52 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980286 | 980860 | -574 | -574000 | -0.574 | 992720 | 992721 | -1 | -1000 | -0.001
A.I.I.M.S.
53 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 999608 | 999591 | 17 | 1700 | 0.0017 | 5311 | 5069 | 242 | 24200 | 0.0242
54 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 3350 | 3148 | 202 | 20200 | 0.0202 | 12555 | 11646 | 909 | 90900 | 0.0909
66KV GHEBRA
55 | GHEBRA-NANGLOI | 4902502 | ELSTER | Kvarh(Lead/Lag) | 1250 | 998215 | 998279 | -64 | -80000 | -0.08 | 628 | 588 | 40 | 50000 | 0.05
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 6.0316 |  |  |  |  | 33.2022
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | OCTOBER-2011
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 990615 | 984701 | 5914 | -591400 | -0.5914 | 857824 | 857824 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 85690 | 85954 | -264 | 26400 | 0.0264 | 1663 | 1642 | 21 | -2100 | -0.0021
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 52598 | 53124 | -526 | 52600 | 0.0526 | 999577 | 999576 | 1 | -100 | -0.0001
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 333 | 402 | -69 | 6900 | 0.0069 | 999974 | 999959 | 15 | -1500 | -0.0015
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 459 | 547 | -88 | 8800 | 0.0088 | 999997 | 999987 | 10 | -1000 | -0.001
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -100 | 766165 | 764766 | 1399 | -139900 | -0.1399 | 49624 | 48258 | 1366 | -136600 | -0.1366
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3442 | 3239 | 203 | -203000 | -0.203 | 2117 | 2088 | 29 | -29000 | -0.029
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 800739 | 798351 | 2388 | -238800 | -0.2388 | 45982 | 43296 | 2686 | -268600 | -0.2686
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 19964 | 18426 | 1538 | -153800 | -0.1538 | 51164 | 51163 | 1 | -100 | -0.0001
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 16888 | 15318 | 1570 | -157000 | -0.157 | 52492 | 52296 | 196 | -19600 | -0.0196
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 51903 | 48278 | 3625 | -725000 | -0.725 | 103507 | 103485 | 22 | -4400 | -0.0044
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865103 | ELSTER | Kvarh(Lead/Lag) | -100 | 21354 | 19299 | 2055 | -205500 | -0.2055 | 12532 | 12199 | 333 | -33300 | -0.0333
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 22094 | 20674 | 1420 | -142000 | -0.142 | 621847 | 620760 | 1087 | -108700 | -0.1087
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 86997 | 86162 | 835 | -83500 | -0.0835 | 228778 | 221515 | 7263 | -726300 | -0.7263
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 165942 | 161722 | 4220 | 422000 | 0.422 | 36212 | 35715 | 497 | 49700 | 0.0497
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 893 | 894 | -1 | 100 | 0.0001 | 12619 | 12551 | 68 | -6800 | -0.0068
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 9895 | 9727 | 168 | -16800 | -0.0168 | 58442 | 57120 | 1322 | -132200 | -0.1322
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 7474 | 7206 | 268 | -26800 | -0.0268 | 11502 | 10909 | 593 | -59300 | -0.0593
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 9526 | 9253 | 273 | -27300 | -0.0273 | 30456 | 30294 | 162 | -16200 | -0.0162
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13706 | 13706 | 0 | 0 | 0 | 35068 | 35157 | -89 | 8900 | 0.0089
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 31643 | 31450 | 193 | -19300 | -0.0193 | 10420 | 10348 | 72 | -7200 | -0.0072
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 14789 | 14674 | 115 | -11500 | -0.0115 | 10741 | 10556 | 185 | -18500 | -0.0185
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 998171 | 998171 | 0 | 0 | 0 | 947 | 947 | 0 | 0 | 0
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | 400 | 4570 | 4570 | 0 | 0 | 0 | 12608 | 12608 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999305 | 999305 | 0 | 0 | 0 | 999157 | 999188 | -31 | 3100 | 0.0031
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -2.2248 |  |  |  |  | -1.5098
OCTOBER-2011
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 6.0316 |  |  |  |  | 33.2022
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -2.2248 |  |  |  |  | -1.5098
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.6068 |  |  |  |  | 1.0591
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.38135 |  |  |  |  | -0.1485
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 4.0323 |  |  |  |  | 32.603
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 4.0323 | (REACTIVE MUs) |  |  |  | 32.603 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.37456 | (REACTIVE MUs) |  |  |  | 2.9942 | (REACTIVE MUs)
[9 empty] | TOTAL | 4.4068 | (REACTIVE MUs) |  |  |  | 35.5973 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | OCTOBER-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 100 | 16917 | 16569 | 348 | 34800 | 0.0348 | 62304 | 62219 | 85 | 8500 | 0.0085
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 17445 | 16917 | 528 | 105600 | 0.1056 | 62307 | 62304 | 3 | 600 | 0.0006 | CT replaced with New CT 800/5 on dated 13/10/11
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 21587 | 20120 | 1467 | 146700 | 0.1467 | 121060 | 120911 | 149 | 14900 | 0.0149
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 100 | 993256 | 993955 | -699 | -69900 | -0.0699 | 4243 | 4305 | -62 | -6200 | -0.0062
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 29645 | 26642 | 3003 | 300300 | 0.3003 | 80033 | 79912 | 121 | 12100 | 0.0121
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 60725 | 58684 | 2041 | 2041000 | 2.041 | 232 | 232 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1163 | 584 | 579 | 579000 | 0.579 | 53 | 37 | 16 | 16000 | 0.016
7 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 999470 | 999671 | -201 | -160800 | -0.1608 | 998713 | 998967 | -254 | -203200 | -0.2032
I.P.STATION EXPORT TO NDMC
8 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998174 | 997969 | 205 | 20500 | 0.0205 | 279873 | 279277 | 596 | 59600 | 0.0596
9 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6227 | 5801 | 426 | 42600 | 0.0426 | 416866 | 416523 | 343 | 34300 | 0.0343
10 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 10418 | 10438 | -20 | -2000 | -0.002 | 199432 | 195979 | 3453 | 345300 | 0.3453
11 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5246 | 5246 | 0 | 0 | 0 | 299764 | 299764 | 0 | 0 | 0
12 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 998887 | 998889 | -2 | -200 | -0.0002 | 227120 | 225008 | 2112 | 211200 | 0.2112
13 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 999271 | 999132 | 139 | 13900 | 0.0139 | 125824 | 125730 | 94 | 9400 | 0.0094
14 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 10965 | 10268 | 697 | 69700 | 0.0697 | 183044 | 182740 | 304 | 30400 | 0.0304
15 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 10665 | 9801 | 864 | 86400 | 0.0864 | 223744 | 223544 | 200 | 20000 | 0.02
G.T.
16 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 58336 | 58429 | -93 | -102300 | -0.1023
17 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4987 | 4860 | 127 | 127000 | 0.127 | 36417 | 36417 | 0 | 0 | 0
18 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 128527 | 128532 | -5 | -5500 | -0.0055
19 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8510 | 8267 | 243 | 243000 | 0.243 | 48268 | 48268 | 0 | 0 | 0
[10 empty] | 0.37 |  |  |  |  | -0.1078
RIDGE VALLEY
20 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 100 | 766165 | 764766 | 1399 | 139900 | 0.1399 | 49624 | 48258 | 1366 | 136600 | 0.1366
21 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3442 | 3239 | 203 | 203000 | 0.203 | 2117 | 2088 | 29 | 29000 | 0.029
22 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 800739 | 798351 | 2388 | 238800 | 0.2388 | 45982 | 43296 | 2686 | 268600 | 0.2686
A.I.I.M.S.
23 | TX-I | 4865103 | ELSTER | Kvarh(Lag) | 100 | 21354 | 19299 | 2055 | 205500 | 0.2055 | 12532 | 12199 | 333 | 33300 | 0.0333
24 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 22094 | 20674 | 1420 | 142000 | 0.142 | 621847 | 620760 | 1087 | 108700 | 0.1087
25 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 86997 | 86162 | 835 | 83500 | 0.0835 | 228778 | 221515 | 7263 | 726300 | 0.7263
OCTOBER-2011
NDMC(+) Continue…
KIDWAI NAGAR
26 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 165942 | 161722 | 4220 | -422000 | -0.422 | 36212 | 35715 | 497 | -49700 | -0.0497
EXHIBITION I
27 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 893 | 894 | -1 | -100 | -0.0001 | 12619 | 12551 | 68 | 6800 | 0.0068
28 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
29 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 19964 | 18426 | 1538 | 153800 | 0.1538 | 51164 | 51163 | 1 | 100 | 0.0001
30 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 16888 | 15318 | 1570 | 157000 | 0.157 | 52492 | 52296 | 196 | 19600 | 0.0196
31 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 51903 | 48278 | 3625 | 725000 | 0.725 | 103507 | 103485 | 22 | 4400 | 0.0044
TILAK MARG
32 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 990615 | 984701 | 5914 | 591400 | 0.5914 | 857824 | 857824 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 999608 | 999591 | 17 | -1700 | -0.0017 | 5311 | 5069 | 242 | -24200 | -0.0242
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 3350 | 3148 | 202 | -20200 | -0.0202 | 12555 | 11646 | 909 | -90900 | -0.0909
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 5.7735 |  |  |  |  | 1.6137
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 5.7735 |  |  |  |  | 1.6137
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.048021 |  |  |  |  | 0.38388
| TOTAL ENERGY TO NDMC | [8 empty] | 5.8215 |  |  |  |  | 1.9976

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2011
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 549 | 549 | 0 | 0 | 0 | 13921 | 13880 | 41 | 41000 | 0.041
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 382 | 382 | 0 | 0 | 0 | 18338 | 18277 | 61 | 61000 | 0.061
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 669 | 669 | 0 | 0 | 0 | 26094 | 25749 | 345 | 345000 | 0.345
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 410 | 410 | 0 | 0 | 0 | 13439 | 13438 | 1 | 1000 | 0.001
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1324 | 1297 | 27 | 27000 | 0.027 | 6693 | 6687 | 6 | 6000 | 0.006
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 333 | 402 | -69 | -6900 | -0.0069 | 999974 | 999959 | 15 | 1500 | 0.0015
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 459 | 547 | -88 | -8800 | -0.0088 | 999997 | 999987 | 10 | 1000 | 0.001
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0113 |  |  |  |  | 0.4565
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3287 | 3287 | 0 | 0 | 0 | 32952 | 32952 | 0 | 0 | 0
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 25909 | 25388 | 521 | 52100 | 0.0521 | 59076 | 58970 | 106 | 10600 | 0.0106
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 64605 | 64074 | 531 | 53100 | 0.0531 | 6611 | 6567 | 44 | 4400 | 0.0044
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 16636 | 16183 | 453 | 45300 | 0.0453 | 45247 | 44872 | 375 | 37500 | 0.0375
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999796 | 999795 | 1 | 100 | 0.0001 | 16676 | 16250 | 426 | 42600 | 0.0426
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 71412 | 69905 | 1507 | 150700 | 0.1507 | 38382 | 38010 | 372 | 37200 | 0.0372
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 1660 | 837 | 823 | 82300 | 0.0823 | 3608 | 3438 | 170 | 17000 | 0.017
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.3836 |  |  |  |  | 0.1493
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 7503 | 7458 | 45 | 2250 | 0.00225 | 18966 | 18950 | 16 | 800 | 0.0008
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.00225 |  |  |  |  | 0.0008
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.38135 |  |  |  |  | 0.1485
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0113 |  |  |  |  | 0.4565
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.39265 |  |  |  |  | 0.605
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.39265 | (REACTIVE MUs) |  |  |  | 0.605 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0067179 | (REACTIVE MUs) |  |  |  | 0.053703 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.39937 | (REACTIVE MUs) |  |  |  | 0.6587 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2011
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 55880 | 54952 | 928 | 92800 | 0.0928 | 77499 | 77475 | 24 | 2400 | 0.0024
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 9081 | 11803 | -2722 | -272200 | -0.2722 | 999413 | 999370 | 43 | 4300 | 0.0043
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 169168 | 161236 | 7932 | 793200 | 0.7932 | 91884 | 91770 | 114 | 11400 | 0.0114
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13567 | 13574 | -7 | -7000 | -0.007 | 17716 | 17696 | 20 | 20000 | 0.02
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 993839 | 993839 | 0 | 0 | 0 | 945576 | 946954 | -1378 | 689000 | 0.689
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 994432 | 994432 | 0 | 0 | 0 | 987849 | 988513 | -664 | 332000 | 0.332
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999987 | 999987 | 0 | 0 | 0 | 999890 | 999890 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.6068 |  |  |  |  | 1.0591
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 954156 | 955196 | -1040 | -208000 | -0.208 | 991826 | 991821 | 5 | 1000 | 0.001
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 904158 | 910816 | -6658 | -665800 | -0.6658 | 928744 | 928784 | -40 | -4000 | -0.004
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.8738 |  |  |  |  | -0.003
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 160692 | 160063 | 629 | 125800 | 0.1258 | 258260 | 257884 | 376 | 75200 | 0.0752
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 46314 | 44411 | 1903 | 380600 | 0.3806 | 40240 | 40238 | 2 | 400 | 0.0004
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 59110 | 55528 | 3582 | 358200 | 0.3582 | 70040 | 70034 | 6 | 600 | 0.0006
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987026 | 986770 | 256 | 256000 | 0.256 | 997776 | 997768 | 8 | 8000 | 0.008
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 982524 | 983193 | -669 | -66900 | -0.0669 | 7432 | 7447 | -15 | -1500 | -0.0015
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 138 | 138 | 0 | 0 | 0 | 2412 | 2239 | 173 | 162187.5 | 0.16219
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -500 | 993285 | 993428 | -143 | 71500 | 0.0715 | 995745 | 995748 | -3 | 1500 | 0.0015
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999987 | 999987 | 0 | 0 | 0 | 999890 | 999890 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 1.1252 |  |  |  |  | 0.24639
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.6068 |  |  |  |  | 1.0591
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.8738 |  |  |  |  | -0.003
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.1252 |  |  |  |  | 0.24639

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2011
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 7539 | 7435 | 104 | 208000 | 0.208 | 1 | 1 | 0 | 0 | 0
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 5817 | 5748 | 69 | 138000 | 0.138 | 999697 | 999697 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 0.346 |  | NET REACTIVE ENERGY |  |  | 0
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 999647 | 999647 | 0 | 0 | 0 | 43618 | 43618 | 0 | 0 | 0
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 987811 | 989011 | -1200 | -1200000 | -1.2 | 991852 | 991852 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | -1.2 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | -0.854 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.4004 |  |  |  |  | -6.9621
[7 empty] | NDMC = |  |  | 0.37 |  |  |  |  | -0.1078
MES =
[7 empty] | 2)TOTAL |  |  | -0.0304 |  |  |  |  | -7.0699
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -0.8844 |  |  |  |  | -7.0699
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 27.2723 | % |  |  | -0.2412 |  |  |  |  | -1.9281
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.3518 | % |  |  | -0.37456 |  |  |  |  | -2.9942
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 24.1866 | % |  |  | -0.21391 |  |  |  |  | -1.71
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.4298 | % |  |  | -0.048021 |  |  |  |  | -0.38388
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7596 | % |  |  | -0.0067179 |  |  |  |  | -0.053703
Note :Sharing taken from wk-31abt bill 2011-12

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st OCTOBER-2011 TO 31st OCTOBER-2011
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 0.1174 | + | 4.7436
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 4.4068 | + | 35.5973
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 14.9507 | + | 2.9843
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 5.8215 | + | 1.9976
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.39937 | + | 0.6587
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/11 | INTIAL READING 01/10/11 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 984493 | 985949 | -1456 | -2184000 | -2.184 | 981175 | 981175 | 0 | 0 | 0
2 | GT-II | 4902493 | ELSTER | kvarh (lag) | 1500 | 978183 | 980497 | -2314 | -3471000 | -3.471 | 986915 | 986915 | 0 | 0 | 0
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 936905 | 940963 | -4058 | -6087000 | -6.087 | 970201 | 970201 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -11.742 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997019 | 997010 | 9 | 45000 | 0.045 | 37234 | 37307 | -73 | -365000 | -0.365 | CTR CHANGE FROM 2000/5 TO 2000/1
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999405 | 999417 | -12 | -12000 | -0.012 | 8253 | 8452 | -199 | -199000 | -0.199 | ROLL OVER
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 973677 | 975555 | -1878 | -1878000 | -1.878 | 991337 | 991350 | -13 | -13000 | -0.013
[8 empty] | NET REACTIVE ENERGY |  | -1.845 |  |  | NET REACTIVE ENERGY |  | -0.577