## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MAY-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977162 | 977256 | -94 | 94000 | 0.094 | 995617 | 995940 | -323 | 323000 | 0.323
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995350 | 995356 | -6 | 6000 | 0.006 | 996352 | 996316 | 36 | -36000 | -0.036
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988445 | 988817 | -372 | 372000 | 0.372 | 996151 | 996157 | -6 | 6000 | 0.006
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974068 | 974068 | 0 | 0 | 0 | 972001 | 972001 | 0 | 0 | 0
[10 empty] | 0 |  |  |  |  | 0.633 | Assessment upto 19/05/2015
| Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999600 | 1000000 | -400 | 400000 | 0.4 | w.e.f 20/05/2015
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917778 | 917508 | 270 | -270000 | -0.27 | 933707 | 933734 | -27 | 27000 | 0.027
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22955 | 22945 | 10 | -10000 | -0.01 | 17869 | 17952 | -83 | 83000 | 0.083
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8225 | 8220 | 5 | -5000 | -0.005 | 11553 | 11625 | -72 | 72000 | 0.072
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 13440 | 13469 | -29 | 36250 | 0.03625 | 993919 | 994526 | -607 | 758750 | 0.75875
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 741 | 818 | -77 | 77000 | 0.077 | 983235 | 983864 | -629 | 629000 | 0.629
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26311 | 26395 | -84 | 84000 | 0.084 | 8832 | 9031 | -199 | 199000 | 0.199
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987330 | 987537 | -207 | 207000 | 0.207 | 3194 | 3213 | -19 | 19000 | 0.019
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986300 | 986424 | -124 | 124000 | 0.124 | 997811 | 998013 | -202 | 202000 | 0.202
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 869526 | 871207 | -1681 | -1681000 | -1.681 | 920488 | 920488 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984438 | 984431 | 7 | -7000 | -0.007 | 16832 | 16834 | -2 | 2000 | 0.002
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 658 | 562 | 96 | -96000 | -0.096 | 20151 | 20151 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4812 | 4667 | 145 | -145000 | -0.145 | 999980 | 999980 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 999998 | 999998 | 0 | 0 | 0 | 985182 | 986325 | -1143 | -228600 | -0.2286
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 713 | 713 | 0 | 0 | 0 | 29429 | 29437 | -8 | -8000 | -0.008
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 5578 | 5578 | 0 | 0 | 0 | 162405 | 161721 | 684 | 68400 | 0.0684
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 33052 | 32984 | 68 | 6800 | 0.0068 | 242888 | 241027 | 1861 | 186100 | 0.1861
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996478 | 996478 | 0 | 0 | 0 | 2861 | 3463 | -602 | -602000 | -0.602
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 557 | 557 | 0 | 0 | 0 | 7251 | 8122 | -871 | -871000 | -0.871
23 | Pandav Nagar | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999846 | 999816 | 30 | 30000 | 0.03 | 14 | 0 | 14 | 14000 | 0.014
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 634699 | 634706 | -7 | -7000 | -0.007 | 797369 | 797618 | -249 | -249000 | -0.249
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 640671 | 640802 | -131 | -131000 | -0.131 | 830683 | 830705 | -22 | -22000 | -0.022
26 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 4488 | 4616 | -128 | -51200 | -0.0512 | 999501 | 999657 | -156 | -62400 | -0.0624
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 4010 | 4003 | 7 | 3500 | 0.0035 | 4101 | 4265 | -164 | -82000 | -0.082
KANJAWALA
28 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23505 | 23302 | 203 | -203000 | -0.203 | 981069 | 981108 | -39 | 39000 | 0.039
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7185 | 7222 | -37 | 37000 | 0.037 | 997510 | 999384 | -1874 | 1874000 | 1.874
BAWANA
30 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6762 | 6608 | 154 | -154000 | -0.154 | 924227 | 924246 | -19 | 19000 | 0.019
DSIDC BAWANA
31 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12704 | 12704 | 0 | 0 | 0 | 999027 | 999027 | 0 | 0 | 0
[10 empty] | -0.019 |  |  |  |  | 0.106 | Aseessment upto 10/05/2015
| 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39 | 0 | 39 | -39000 | -0.039 | 999788 | 1000000 | -212 | 212000 | 0.212 | w.e.f 11/05/2015
32 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 73172 | 73172 | 0 | 0 | 0 | 2603 | 2603 | 0 | 0 | 0
[10 empty] | -0.032 |  |  |  |  | -0.118 | Aseessment upto 14/05/2015
| 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39 | 0 | 39 | -39000 | -0.039 | 144 | 0 | 144 | -144000 | -0.144 | w.e.f 15/05/2015
ROHINI-II
33 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3107 | 3251 | -144 | 144000 | 0.144 | 998720 | 998731 | -11 | 11000 | 0.011
34 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3309 | 3309 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
WAZIRPUR
35 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996399 | 996613 | -214 | 214000 | 0.214 | 999913 | 999993 | -80 | 80000 | 0.08
36 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4558 | 4608 | -50 | 50000 | 0.05 | 999995 | 999995 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
37 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2133 | 2127 | 6 | 6000 | 0.006 | 23681 | 23415 | 266 | 266000 | 0.266
38 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 626 | 611 | 15 | 15000 | 0.015 | 2819 | 2825 | -6 | -6000 | -0.006 | Data upto 18/05/2015
[10 empty] | 0.012 |  |  |  |  | -0.004 | Assessment
| NDPL(+) continue | [14 empty] | MAY-2015
DMS
39 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61314 | 61319 | -5 | -5000 | -0.005
REWARI LINE
40 | 20MVA Tx-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | 125 | 173982 | 174179 | -197 | -24625 | -0.024625 | 261694 | 261546 | 148 | 18500 | 0.0185
VISHAL
41 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9227 | 9227 | 0 | 0 | 0 | 29553 | 29080 | 473 | 47300 | 0.0473
42 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11030 | 11030 | 0 | 0 | 0 | 59230 | 58266 | 964 | 96400 | 0.0964
43 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 18174 | 18172 | 2 | 200 | 0.0002 | 63986 | 62438 | 1548 | 154800 | 0.1548
S.B.MILL
44 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 7024 | 6484 | 540 | 54000 | 0.054 | 4804 | 4617 | 187 | 18700 | 0.0187
45 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
46 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
47 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
48 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
49 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 17262 | 17132 | 130 | 13000 | 0.013 | 19875 | 19766 | 109 | 10900 | 0.0109
50 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 995431 | 995527 | -96 | -4266.24 | -0.0042662 | 366 | 329 | 37 | 1644.28 | 0.0016443
B.G.ROAD
51 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5473 | 5473 | 0 | 0 | 0 | 31699 | 31433 | 266 | 133000 | 0.133
52 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3706 | 3706 | 0 | 0 | 0 | 29265 | 29122 | 143 | 71500 | 0.0715
53 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 6589 | 6539 | 50 | 25000 | 0.025 | 14909 | 14891 | 18 | 9000 | 0.009
54 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 1796 | 1711 | 85 | 56666.6667 | 0.056667 | 978 | 937 | 41 | 27333.3333 | 0.027333
D.M.S.
55 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 998574 | 998638 | -64 | -6400 | -0.0064 | 26 | 27 | -1 | -100 | -0.0001
56 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999937 | 999957 | -20 | -2000 | -0.002 | 999999 | 999999 | 0 | 0 | 0
57 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23574 | 23588 | -14 | -1400 | -0.0014 | 57144 | 57143 | 1 | 100 | 0.0001
58 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999984 | 999998 | -14 | -1400 | -0.0014 | 999999 | 999999 | 0 | 0 | 0
60 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
61 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | 100 | 178610 | 177952 | 658 | 65800 | 0.0658 | 52342 | 51798 | 544 | 54400 | 0.0544
62 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 18671 | 18308 | 363 | 36300 | 0.0363 | 66225 | 65878 | 347 | 34700 | 0.0347
63 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 6987 | 6595 | 392 | 39200 | 0.0392 | 4599 | 4132 | 467 | 46700 | 0.0467
KASHMIRI GATE
64 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 167337 | 166405 | 932 | 93200 | 0.0932 | 20819 | 20889 | -70 | -7000 | -0.007
65 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 23862 | 23850 | 12 | 1200 | 0.0012 | 45156 | 44624 | 532 | 53200 | 0.0532
66 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 22 | 22 | 0 | 0 | 0 | 381 | 381 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
67 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995596 | 995596 | 0 | 0 | 0 | 50 | 50 | 0 | 0 | 0
68 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999933 | 999933 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0
MUNDKA
69 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 976985 | 977213 | -228 | -182400 | -0.1824 | 258 | 264 | -6 | -4800 | -0.0048
70 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 191 | 49 | 142 | 284000 | 0.284 | 6 | 0 | 6 | 12000 | 0.012
PEERAGARHI
71 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
72 | RANI BAGH(L-2) | 5269783 | ELSTER | Kvarh(Lead/Lag) | 1000 | 106 | 0 | 106 | 106000 | 0.106 | 73 | 0 | 73 | 73000 | 0.073 | W.E.F 12/04/2015
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -0.81857 |  |  |  |  | 4.6425
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MAY-2015
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 20649 | 20643 | 6 | -600 | -0.0006 | 17688 | 16191 | 1497 | -149700 | -0.1497
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13269 | 13273 | -4 | 4000 | 0.004 | 7746 | 7633 | 113 | -113000 | -0.113
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 9457 | 9460 | -3 | 600 | 0.0006 | 19457 | 15689 | 3768 | -753600 | -0.7536
4 | O/G BG Rd.2 | 4864855 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14205 | 14206 | -1 | 1000 | 0.001 | 34755 | 34768 | -13 | 13000 | 0.013 | check meter data used
| O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 85721 | 85721 | 0 | 0 | 0 | 118057 | 118057 | 0 | 0 | 0 | w.e.f 28/05/2015
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 9549 | 9630 | -81 | 8100 | 0.0081 | 61392 | 61395 | -3 | 300 | 0.0003
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919875 | 920764 | -889 | 889000 | 0.889 | 991943 | 991947 | -4 | 4000 | 0.004
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.9021 |  |  |  |  | -0.999
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -0.81857 |  |  |  |  | 4.6425
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.9021 |  |  |  |  | -0.999
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.0368 |  |  |  |  | -0.34943
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 1.1203 |  |  |  |  | 3.2941
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.1203 | (REACTIVE MUs) |  |  |  | 3.2941 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.0038181 | (REACTIVE MUs) |  |  |  | -1.105 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.1165 | (REACTIVE MUs) |  |  |  | 2.1891 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MAY-2015
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 998146 | 998255 | -109 | -10900 | -0.0109 | 36748 | 37013 | -265 | -26500 | -0.0265
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 1560 | 1197 | 363 | 36300 | 0.0363 | 55654 | 53555 | 2099 | 209900 | 0.2099
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 14173 | 14209 | -36 | -3600 | -0.0036 | 31998 | 33404 | -1406 | -140600 | -0.1406
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 600 | 999902 | 999986 | -84 | -50400 | -0.0504 | 5229 | 5383 | -154 | -92400 | -0.0924
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 500 | 1973 | 1967 | 6 | 3000 | 0.003 | 2524 | 2039 | 485 | 242500 | 0.2425
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 18267 | 17870 | 397 | 39700 | 0.0397 | 172261 | 170989 | 1272 | 127200 | 0.1272
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 21757 | 21880 | -123 | -12300 | -0.0123 | 122963 | 123740 | -777 | -77700 | -0.0777
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990774 | 990778 | -4 | -4000 | -0.004 | 947 | 947 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998241 | 998241 | 0 | 0 | 0 | 2138 | 2030 | 108 | 108000 | 0.108
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 501 | 495 | 6 | 6000 | 0.006 | 1520 | 1540 | -20 | -20000 | -0.02
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997670 | 997674 | -4 | -4000 | -0.004 | 2615 | 2688 | -73 | -73000 | -0.073
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997399 | 997451 | -52 | -52000 | -0.052 | 4471 | 4442 | 29 | 29000 | 0.029
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999997 | 999997 | 0 | 0 | 0 | 999965 | 999992 | -27 | -27000 | -0.027
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999310 | 999310 | 0 | 0 | 0 | 17121 | 16776 | 345 | 345000 | 0.345
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1096 | 1096 | 0 | 0 | 0 | 37516 | 37358 | 158 | 158000 | 0.158
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999936 | 999936 | 0 | 0 | 0 | 27494 | 27536 | -42 | -42000 | -0.042
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1599 | 1599 | 0 | 0 | 0 | 9388 | 9303 | 85 | 85000 | 0.085
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 11222 | 11127 | 95 | 9500 | 0.0095 | 293 | 250 | 43 | 4300 | 0.0043
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996829 | 996829 | 0 | 0 | 0 | 14350 | 14136 | 214 | 214000 | 0.214
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 698126 | 701239 | -3113 | -3424300 | -3.4243
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 727541 | 732861 | -5320 | -5852000 | -5.852
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984856 | 984856 | 0 | 0 | 0 | 9080 | 9080 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -0.0445 |  |  |  |  | -8.495
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955467 | 955430 | 37 | -37000 | -0.037 | 948477 | 949049 | -572 | 572000 | 0.572
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963842 | 963790 | 52 | -52000 | -0.052 | 955424 | 955463 | -39 | 39000 | 0.039
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 22 | 22 | 0 | 0 | 0 | 381 | 381 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 538 | 538 | 0 | 0 | 0 | 5867 | 5938 | -71 | -71000 | -0.071
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53833 | 53652 | 181 | -181000 | -0.181 | 974217 | 974188 | 29 | -29000 | -0.029
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41420 | 41229 | 191 | -191000 | -0.191 | 970042 | 969806 | 236 | -236000 | -0.236
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996918 | 996580 | 338 | -338000 | -0.338 | 995517 | 995537 | -20 | 20000 | 0.02
30 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999402 | 999337 | 65 | -65000 | -0.065 | 999714 | 999839 | -125 | 125000 | 0.125
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3027 | 3004 | 23 | -46000 | -0.046 | 999790 | 999790 | 0 | 0 | 0
32 | TX.-2 (66KV) | 5128431 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999433 | 999445 | -12 | 24000 | 0.024 | 999996 | 999999 | -3 | 6000 | 0.006
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 542 | 465 | 77 | -77000 | -0.077 | 999995 | 999998 | -3 | 3000 | 0.003
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 9457 | 9460 | -3 | -600 | -0.0006 | 19457 | 15689 | 3768 | 753600 | 0.7536
35 | O/G BG Rd.2 | 4864855 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14205 | 14206 | -1 | -1000 | -0.001 | 34755 | 34768 | -13 | -13000 | -0.013 | Check meter data
| O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 85721 | 85721 | 0 | 0 | 0 | 118057 | 118057 | 0 | 0 | 0 | w.e.f 28/05/2015
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 4865156 | ELSTER | Kvarh(Lead/Lag) | 100 | 98515 | 98553 | -38 | -3800 | -0.0038 | 1677 | 1605 | 72 | 7200 | 0.0072 | Check meter data
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 148997 | 148875 | 122 | 12200 | 0.0122 | 6041 | 4469 | 1572 | 157200 | 0.1572
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.9989 |  |  |  |  | -6.9186
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.9989 |  |  |  |  | -6.9186
MAY-2015
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982980 | 982981 | -1 | 1000 | 0.001 | 906091 | 908090 | -1999 | 1999000 | 1.999
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6326 | 6327 | -1 | 1000 | 0.001 | 925839 | 927375 | -1536 | 1536000 | 1.536
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982744 | 982747 | -3 | 3000 | 0.003 | 971012 | 972885 | -1873 | 1873000 | 1.873
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 995673 | 995699 | -26 | 52000 | 0.052 | 985673 | 986679 | -1006 | 2012000 | 2.012
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 899127 | 898497 | 630 | -630000 | -0.63 | 990285 | 990285 | 0 | 0 | 0
5 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996222 | 998785 | -2563 | 2563000 | 2.563 | 999949 | 999999 | -50 | 50000 | 0.05
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6068 | 6014 | 54 | -54000 | -0.054 | 984294 | 984410 | -116 | 116000 | 0.116
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864916 | ELSTER | Kvarh(Lead/Lag) |  | 1273 | 1272 | 1 | 0 | 0 | 999886 | 999999 | -113 | 0 | 0
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998172 | 997984 | 188 | -188000 | -0.188 | 944848 | 945009 | -161 | 161000 | 0.161
GEETA COLONY
10 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984238 | 984278 | -40 | 40000 | 0.04 | 985285 | 990861 | -5576 | 5576000 | 5.576
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958564 | 958434 | 130 | -130000 | -0.13 | 862946 | 863138 | -192 | 192000 | 0.192
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17325 | 17465 | -140 | 140000 | 0.14 | 34819 | 34927 | -108 | 108000 | 0.108
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23124 | 23169 | -45 | 45000 | 0.045 | 44881 | 44997 | -116 | 116000 | 0.116
14 | TX-3 | 5128450 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998875 | 998613 | 262 | -262000 | -0.262 | 1000164 | 999997 | 167 | -167000 | -0.167
SB MILL
15 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 1.581 |  |  |  |  | 13.572
| (B) NET ENERGY TO EAST | [8 empty] | 1.581 |  |  |  |  | 13.572
MAY-2015
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 4488 | 4616 | -128 | 51200 | 0.0512 | 999501 | 999657 | -156 | 62400 | 0.0624
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 4010 | 4003 | 7 | -3500 | -0.0035 | 4101 | 4265 | -164 | 82000 | 0.082
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 51443 | 51199 | 244 | -48800 | -0.0488 | 78600 | 77908 | 692 | -138400 | -0.1384
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 73786 | 73445 | 341 | -34100 | -0.0341 | 140391 | 139453 | 938 | -93800 | -0.0938
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 978324 | 978346 | -22 | 4400 | 0.0044 | 999120 | 999199 | -79 | 15800 | 0.0158
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 80596 | 80379 | 217 | -43400 | -0.0434 | 96382 | 95531 | 851 | -170200 | -0.1702
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 11473 | 11442 | 31 | -24800 | -0.0248 | 4735 | 4200 | 535 | -428000 | -0.428
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13972 | 13964 | 8 | -16000 | -0.016 | 2412 | 2267 | 145 | -290000 | -0.29
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 980687 | 980697 | -10 | 8000 | 0.008 | 990540 | 990766 | -226 | 180800 | 0.1808
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 979253 | 979278 | -25 | 20000 | 0.02 | 986853 | 987569 | -716 | 572800 | 0.5728
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 988335 | 988365 | -30 | 24000 | 0.024 | 994337 | 994779 | -442 | 353600 | 0.3536
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988587 | 988637 | -50 | 50000 | 0.05 | 36287 | 36466 | -179 | 179000 | 0.179
13 | 66KV R VALLEY-2 | 4864958 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999563 | 999605 | -42 | 84000 | 0.084 | 999953 | 999999 | -46 | 92000 | 0.092
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2133 | 2127 | 6 | -6000 | -0.006 | 23681 | 23415 | 266 | -266000 | -0.266
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 626 | 611 | 15 | -15000 | -0.015 | 2819 | 2825 | -6 | 6000 | 0.006 | data upto 18/05/2015
[10 empty] | -0.0102 |  |  |  |  | 0.0043 | Assessment
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61314 | 61319 | -5 | 5000 | 0.005
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5473 | 5473 | 0 | 0 | 0 | 31699 | 31433 | 266 | -133000 | -0.133
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3706 | 3706 | 0 | 0 | 0 | 29265 | 29122 | 143 | -71500 | -0.0715
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 6589 | 6539 | 50 | -25000 | -0.025 | 14909 | 14891 | 18 | -9000 | -0.009
20 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 1796 | 1711 | 85 | -56666.6667 | -0.056667 | 978 | 937 | 41 | -27333.3333 | -0.027333
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 167337 | 166405 | 932 | -93200 | -0.0932 | 20819 | 20889 | -70 | 7000 | 0.007
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 23862 | 23850 | 12 | -1200 | -0.0012 | 45156 | 44624 | 532 | -53200 | -0.0532
D.M.S.
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 998574 | 998638 | -64 | 6400 | 0.0064 | 26 | 27 | -1 | 100 | 0.0001
24 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999937 | 999957 | -20 | 2000 | 0.002 | 999999 | 999999 | 0 | 0 | 0
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23574 | 23588 | -14 | 1400 | 0.0014 | 57144 | 57143 | 1 | -100 | -0.0001
26 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999984 | 999998 | -14 | 1400 | 0.0014 | 999999 | 999999 | 0 | 0 | 0
28 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | -100 | 178610 | 177952 | 658 | -65800 | -0.0658 | 52342 | 51798 | 544 | -54400 | -0.0544
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 18671 | 18308 | 363 | -36300 | -0.0363 | 66225 | 65878 | 347 | -34700 | -0.0347
31 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 6987 | 6595 | 392 | -39200 | -0.0392 | 4599 | 4132 | 467 | -46700 | -0.0467
[10 empty] | -0.26637 |  |  |  |  | -0.25553
MAY-2015
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.9989 |  |  |  |  | -6.9186
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.26637 |  |  |  |  | -0.25553
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.4374 |  |  |  |  | -0.097
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.7027 |  |  |  |  | -7.2711
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 1.581 |  |  |  |  | 13.572
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -0.12167 |  |  |  |  | 6.3009
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.12167 | (REACTIVE MUs) |  |  |  | 6.3009 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.0032072 | (REACTIVE MUs) |  |  |  | -0.92823 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.12487 | (REACTIVE MUs) |  |  |  | 5.3726 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | MAY-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999968 | 999970 | -2 | -10000 | -0.01 | 999889 | 999932 | -43 | -215000 | -0.215
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984877 | 984890 | -13 | -17333.29 | -0.017333 | 673092 | 672931 | 161 | 214666.13 | 0.21467
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 5000 | 10016 | 10015 | 1 | 5000 | 0.005 | 71138 | 71151 | -13 | -65000 | -0.065
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12638 | 12632 | 6 | 6000 | 0.006 | 999953 | 999858 | 95 | 95000 | 0.095
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 75 | 645 | 660 | -15 | -1125 | -0.001125 | 1652 | 586 | 1066 | 79950 | 0.07995
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 711198 | 711969 | -771 | -57825 | -0.057825 | 28169 | 26435 | 1734 | 130050 | 0.13005
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 996610 | 996644 | -34 | -2550 | -0.00255 | 999243 | 1000656 | -1413 | -105975 | -0.10597
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999185 | 999190 | -5 | -4500 | -0.0045 | 998588 | 998505 | 83 | 74700 | 0.0747
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 999787 | 999101 | 686 | -343000 | -0.343 | 994875 | 995090 | -215 | 107500 | 0.1075
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987579 | 987241 | 338 | -338000 | -0.338 | 948200 | 948314 | -114 | 114000 | 0.114
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995859 | 995561 | 298 | -298000 | -0.298 | 996167 | 996236 | -69 | 69000 | 0.069
13 | Tx.4 | 4864824 | ELSTER | Kvarh(Lead/Lag) | -400 | 993408 | 992635 | 773 | -309200 | -0.3092 | 76928 | 77110 | -182 | 72800 | 0.0728
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979321 | 979345 | -24 | 24000 | 0.024 | 972208 | 972961 | -753 | 753000 | 0.753
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35625 | 35579 | 46 | -46000 | -0.046 | 983634 | 983663 | -29 | 29000 | 0.029
16 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38089 | 37954 | 135 | -135000 | -0.135 | 994349 | 995080 | -731 | 731000 | 0.731
NAJAFGARH
17 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2675 | 2684 | -9 | 9000 | 0.009 | 998996 | 999358 | -362 | 362000 | 0.362
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1288 | 750 | 538 | -538000 | -0.538 | 996286 | 996559 | -273 | 273000 | 0.273
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23047 | 23073 | -26 | 26000 | 0.026 | 2835 | 3057 | -222 | 222000 | 0.222
20 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9198 | 8199 | 999 | -999000 | -0.999 | 999002 | 998879 | 123 | -123000 | -0.123
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13269 | 13273 | -4 | -4000 | -0.004 | 7746 | 7633 | 113 | 113000 | 0.113
LODHI ROAD
22 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991645 | 991762 | -117 | 117000 | 0.117 | 997283 | 998979 | -1696 | 1696000 | 1.696
23 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997838 | 997925 | -87 | 87000 | 0.087 | 998219 | 999542 | -1323 | 1323000 | 1.323
OKHLA
24 | Tx.1 (66 KV) | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997996 | 998003 | -7 | 7000 | 0.007 | 998702 | 999368 | -666 | 666000 | 0.666
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989618 | 989670 | -52 | 52000 | 0.052 | 945408 | 946698 | -1290 | 1290000 | 1.29
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995596 | 995596 | 0 | 0 | 0 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998099 | 998036 | 63 | -63000 | -0.063 | 37906 | 38827 | -921 | 921000 | 0.921
28 | Tx.3 (33 KV) | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23 | 25 | -2 | 2000 | 0.002 | 998461 | 998783 | -322 | 322000 | 0.322
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997116 | 997116 | 0 | 0 | 0 | 865532 | 866011 | -479 | 479000 | 0.479
BRPL(+) continue | [14 empty] | MAY-2015
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996858 | 996590 | 268 | -268000 | -0.268 | 972318 | 972291 | 27 | -27000 | -0.027
31 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999340 | 998711 | 629 | -629000 | -0.629 | 999247 | 999230 | 17 | -17000 | -0.017
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1840 | 1784 | 56 | -112000 | -0.112 | 969821 | 969842 | -21 | 42000 | 0.042
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993143 | 993112 | 31 | -31000 | -0.031 | 908960 | 910025 | -1065 | 1065000 | 1.065
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994697 | 994697 | 0 | 0 | 0 | 927902 | 927917 | -15 | 15000 | 0.015
35 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996944 | 996909 | 35 | -35000 | -0.035 | 993931 | 994958 | -1027 | 1027000 | 1.027
36 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980753 | 980751 | 2 | -2000 | -0.002 | 985487 | 987390 | -1903 | 1903000 | 1.903
RIDGE VALLEY
37 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 981412 | 982028 | -616 | 410666.256 | 0.41067 | 978720 | 978854 | -134 | 89333.244 | 0.089333
38 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 992706 | 993362 | -656 | 1640000 | 1.64 | 500 | 501 | -1 | 2500 | 0.0025
DIAL
39 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3762 | 3762 | 0 | 0 | 0 | 1963 | 1933 | 30 | -60000 | -0.06
40 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 552 | 552 | 0 | 0 | 0 | 1028 | 1002 | 26 | -52000 | -0.052
MASJID MOD
41 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 930210 | 930220 | -10 | 10000 | 0.01 | 989916 | 990298 | -382 | 382000 | 0.382
42 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 938511 | 938554 | -43 | 43000 | 0.043 | 993997 | 994473 | -476 | 476000 | 0.476
MUNDKA
43 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
44 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 30181 | 29855 | 326 | 260800 | 0.2608 | 1554 | 1521 | 33 | 26400 | 0.0264
45 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 915749 | 916100 | -351 | -280800 | -0.2808 | 999615 | 999636 | -21 | -16800 | -0.0168
46 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
PARK STREET
47 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988587 | 988637 | -50 | -50000 | -0.05 | 36287 | 36466 | -179 | -179000 | -0.179
48 | 66KV R VALLEY-2 | 4864958 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999563 | 999605 | -42 | -84000 | -0.084 | 999953 | 999999 | -46 | -92000 | -0.092
SARITA VIHAR
49 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29934 | 29860 | 74 | -74000 | -0.074 | 973741 | 973856 | -115 | 115000 | 0.115
50 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16631 | 16673 | -42 | 42000 | 0.042 | 988998 | 989207 | -209 | 209000 | 0.209
NARAINA
51 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 20649 | 20643 | 6 | 600 | 0.0006 | 17688 | 16191 | 1497 | 149700 | 0.1497
SUDARSHAN PARK
52 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 9549 | 9630 | -81 | -8100 | -0.0081 | 61392 | 61395 | -3 | -300 | -0.0003
REWARI LINE
53 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
54 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 919875 | 920764 | -889 | -889000 | -0.889 | 991943 | 991947 | -4 | -4000 | -0.004
A.I.I.M.S.
55 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 1336 | 1329 | 7 | 525 | 0.000525 | 3116 | 2135 | 981 | 73575 | 0.073575
56 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 12563 | 12545 | 18 | 1800 | 0.0018 | 27434 | 26739 | 695 | 69500 | 0.0695
PEERGARHI
57 | 33KV VISHAL (L-3) | 5269779 | ELSTER | Kvarh(Lead/Lag) | 1000 | 68 | 0 | 68 | 68000 | 0.068 | 57 | 0 | 57 | 57000 | 0.057 | w.e.f 27/04/2015
58 | 33KV A-4 PASCHIM VIHAR(LINE - 4) | 5269789 | ELSTER | Kvarh(Lead/Lag) | 2000 | 0 | 0 | 0 | 0 | 0 | 2095 | 2080 | 15 | 30000 | 0.03
|  | 5269789 | ELSTER | Kvarh(Lead/Lag) | 2000 | 0 | 0 | 0 | 0 | 0 | 212 | 52 | 160 | 320000 | 0.32 | w.e.f 25/05/2015
|  | 5269789 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 52 | 0 | 52 | 52000 | 0.052 | w.e.f 23/05/2015-25/05/2015
59 | 33KV UDYOG NAGAR(L-5) | 5269782 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999998 | 1000000 | -2 | -4000 | -0.004 | 48 | 2 | 46 | 92000 | 0.092 | w.e.f 12/05/2015
|  | 5269782 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999998 | 1000000 | -2 | -2000 | -0.002 | 2 | 0 | 2 | 2000 | 0.002 | w.e.f 27/04/2015-25/05/2015
60 | 33KV MADIPUR(L-6) | 5269784 | ELSTER | Kvarh(Lead/Lag) | 2000 | 5658 | 5658 | 0 | 0 | 0 | 3249 | 3247 | 2 | 4000 | 0.004 | w.e.f 26/05/2015
|  | 5269784 | ELSTER | Kvarh(Lead/Lag) | 2000 | 5658 | 5658 | 0 | 0 | 0 | 155 | 82 | 73 | 146000 | 0.146 | w.e.f 26/05/2015
|  | 5269784 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5658 | 5657 | 1 | 1000 | 0.001 | 82 | 0 | 82 | 82000 | 0.082 | w.e.f 11/05/2015 -25/05/2015
61 | PASCHIM PURI - I (L-7) | 5269791 | ELSTER | Kvarh(Lead/Lag) | 300 | 266 | 266 | 0 | 0 | 0 | 1077 | 569 | 508 | 152400 | 0.1524 | w.e.f 25/05/2015
|  | 5269791 | ELSTER | Kvarh(Lead/Lag) | 150 | 266 | 0 | 266 | 39900 | 0.0399 | 569 | 0 | 569 | 85350 | 0.08535 | w.e.f 11/05/2015-25/05/2015
62 | PASCHIM PURI - 2(L-8) | 5269777 | ELSTER | Kvarh(Lead/Lag) | 2000 | 2793 | 2790 | 3 | 6000 | 0.006 | 91 | 39 | 52 | 104000 | 0.104 | w.e.f 25/05/2015
|  | 5269777 | ELSTER | Kvarh(Lead/Lag) | 2000 | 2790 | 2736 | 54 | 108000 | 0.108
|  | 5269777 | ELSTER | Kvarh(Lead/Lag) | 1000 | 24 | 0 | 24 | 24000 | 0.024 | 39 | 0 | 39 | 39000 | 0.039 | w.e.f 27/04/2015-
63 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
64 | PEERGARHI - 2(L-10) | 5269780 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999996 | 1000000 | -4 | -4000 | -0.004 | 9 | 0 | 9 | 9000 | 0.009 | w.e.f 25/05/2015
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -2.6481 |  |  |  |  | 16.0003
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MAY-2015
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 71571 | 69179 | 2392 | -239200 | -0.2392 | 909691 | 909272 | 419 | -41900 | -0.0419
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865156 | ELSTER | Kvarh(Lead/Lag) | -100 | 98515 | 98553 | -38 | 3800 | 0.0038 | 1677 | 1605 | 72 | -7200 | -0.0072 | Check meter data
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 148997 | 148875 | 122 | -12200 | -0.0122 | 6041 | 4469 | 1572 | -157200 | -0.1572
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996187 | 996191 | -4 | 400 | 0.0004 | 999876 | 999910 | -34 | 3400 | 0.0034
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4262 | 4154 | 108 | -108000 | -0.108 | 73768 | 73763 | 5 | -5000 | -0.005
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15079 | 14977 | 102 | -102000 | -0.102 | 234 | 171 | 63 | -63000 | -0.063
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 905647 | 905636 | 11 | -5500 | -0.0055 | 54750 | 54662 | 88 | -44000 | -0.044
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 1961 | 2201 | -240 | 96000 | 0.096 | 3055 | 3079 | -24 | 9600 | 0.0096
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 75529 | 75487 | 42 | -4200 | -0.0042 | 66975 | 65944 | 1031 | -103100 | -0.1031
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 79222 | 78735 | 487 | -48700 | -0.0487 | 64936 | 64030 | 906 | -90600 | -0.0906
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -200 | 8261 | 8137 | 124 | -24800 | -0.0248 | 2994 | 932 | 2062 | -412400 | -0.4124
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999654 | 999654 | 0 | 0 | 0 | 17094 | 17094 | 0 | 0 | 0
14 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.33 | 2719 | 2719 | 0 | 0 | 0 | 978921 | 978921 | 0 | 0 | 0
|  | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 07/05/2015
15 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 987604 | 987604 | 0 | 0 | 0 | 993182 | 993182 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 341932 | 341394 | 538 | -53800 | -0.0538 | 48950 | 48566 | 384 | -38400 | -0.0384
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 3872 | 3862 | 10 | -1000 | -0.001 | 22653 | 22169 | 484 | -48400 | -0.0484
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864806 | ELSTER | Kvarh(Lead/Lag) | -125 | 173982 | 174179 | -197 | 24625 | 0.024625 | 261694 | 261546 | 148 | -18500 | -0.0185
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9227 | 9227 | 0 | 0 | 0 | 29553 | 29080 | 473 | -47300 | -0.0473
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11030 | 11030 | 0 | 0 | 0 | 59230 | 58266 | 964 | -96400 | -0.0964
22 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 18174 | 18172 | 2 | -200 | -0.0002 | 63986 | 62438 | 1548 | -154800 | -0.1548
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 7024 | 6484 | 540 | -54000 | -0.054 | 4804 | 4617 | 187 | -18700 | -0.0187
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 17262 | 17132 | 130 | -13000 | -0.013 | 19875 | 19766 | 109 | -10900 | -0.0109
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 995431 | 995527 | -96 | 4266.24 | 0.0042662 | 366 | 329 | 37 | -1644.28 | -0.0016443
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995596 | 995596 | 0 | 0 | 0 | 50 | 50 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999933 | 999933 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.53751 |  |  |  |  | -1.3464
MAY-2015
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -2.6481 |  |  |  |  | 16.0003
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.53751 |  |  |  |  | -1.3464
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.96971 |  |  |  |  | 1.4549
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0078 |  |  |  |  | -0.2953
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -2.2237 |  |  |  |  | 15.8135
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -2.2237 | (REACTIVE MUs) |  |  |  | 15.8135 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.0056649 | (REACTIVE MUs) |  |  |  | -1.6396 | (REACTIVE MUs)
[9 empty] | TOTAL | -2.2294 | (REACTIVE MUs) |  |  |  | 14.174 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MAY-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 51443 | 51199 | 244 | 48800 | 0.0488 | 78600 | 77908 | 692 | 138400 | 0.1384
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 73786 | 73445 | 341 | 34100 | 0.0341 | 140391 | 139453 | 938 | 93800 | 0.0938
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 978324 | 978346 | -22 | -4400 | -0.0044 | 999120 | 999199 | -79 | -15800 | -0.0158
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 80596 | 80379 | 217 | 43400 | 0.0434 | 96382 | 95531 | 851 | 170200 | 0.1702
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 11473 | 11442 | 31 | 24800 | 0.0248 | 4735 | 4200 | 535 | 428000 | 0.428
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13972 | 13964 | 8 | 16000 | 0.016 | 2412 | 2267 | 145 | 290000 | 0.29
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 980687 | 980697 | -10 | -8000 | -0.008 | 990540 | 990766 | -226 | -180800 | -0.1808
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 979253 | 979278 | -25 | -20000 | -0.02 | 986853 | 987569 | -716 | -572800 | -0.5728
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 988335 | 988365 | -30 | -24000 | -0.024 | 994337 | 994779 | -442 | -353600 | -0.3536
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998654 | 998651 | 3 | 300 | 0.0003 | 394239 | 390043 | 4196 | 419600 | 0.4196
11 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 341 | 299 | 42 | 3150 | 0.00315 | 3535 | 1330 | 2205 | 165375 | 0.16537
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 16234 | 16236 | -2 | -200 | -0.0002 | 375090 | 373072 | 2018 | 201800 | 0.2018
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 1799 | 1818 | -19 | -1900 | -0.0019 | 363440 | 364106 | -666 | -66600 | -0.0666
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 995337 | 995339 | -2 | -200 | -0.0002 | 312928 | 309627 | 3301 | 330100 | 0.3301
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 932 | 947 | -15 | -1500 | -0.0015 | 194623 | 195206 | -583 | -58300 | -0.0583
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 11803 | 11869 | -66 | -6600 | -0.0066 | 258556 | 258935 | -379 | -37900 | -0.0379
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 55971 | 55854 | 117 | 11700 | 0.0117 | 712500 | 709206 | 3294 | 329400 | 0.3294
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 90795 | 88663 | 2132 | 2345200 | 2.3452
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1088 | 1087 | 1 | 1000 | 0.001 | 40449 | 39913 | 536 | 536000 | 0.536
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 152047 | 150721 | 1326 | 1458600 | 1.4586
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3225 | 3230 | -5 | -5000 | -0.005 | 54019 | 54066 | -47 | -47000 | -0.047
[10 empty] | -0.004 |  |  |  |  | 4.2928
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4262 | 4154 | 108 | 108000 | 0.108 | 73768 | 73763 | 5 | 5000 | 0.005
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15079 | 14977 | 102 | 102000 | 0.102 | 234 | 171 | 63 | 63000 | 0.063
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 905647 | 905636 | 11 | 5500 | 0.0055 | 54750 | 54662 | 88 | 44000 | 0.044
25 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 1961 | 2201 | -240 | -96000 | -0.096 | 3055 | 3079 | -24 | -9600 | -0.0096
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999654 | 999654 | 0 | 0 | 0 | 17094 | 17094 | 0 | 0 | 0
26 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.33 | 2719 | 2719 | 0 | 0 | 0 | 978921 | 978921 | 0 | 0 | 0
|  | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 07/05/2015
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 987604 | 987604 | 0 | 0 | 0 | 993182 | 993182 | 0 | 0 | 0
MAY-2015
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964659 | 964768 | -109 | 109000 | 0.109 | 975631 | 978455 | -2824 | 2824000 | 2.824
27 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23 | 23 | 0 | 0 | 0 | 999720 | 1000044 | -324 | 324000 | 0.324
ELECTRIC LANE
28 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972658 | 972847 | -189 | 189000 | 0.189 | 984214 | 984585 | -371 | 371000 | 0.371
29 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987914 | 988114 | -200 | 200000 | 0.2 | 996029 | 996400 | -371 | 371000 | 0.371
KIDWAI NAGAR
30 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 341932 | 341394 | 538 | 53800 | 0.0538 | 48950 | 48566 | 384 | 38400 | 0.0384
EXHIBITION I
31 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 3872 | 3862 | 10 | 1000 | 0.001 | 22653 | 22169 | 484 | 48400 | 0.0484
32 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
33 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 75529 | 75487 | 42 | 4200 | 0.0042 | 66975 | 65944 | 1031 | 103100 | 0.1031
34 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 79222 | 78735 | 487 | 48700 | 0.0487 | 64936 | 64030 | 906 | 90600 | 0.0906
35 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 8261 | 8137 | 124 | 12400 | 0.0124 | 2994 | 932 | 2062 | 206200 | 0.2062
TILAK MARG
36 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 71571 | 69179 | 2392 | 239200 | 0.2392 | 909691 | 909272 | 419 | 41900 | 0.0419
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 1336 | 1329 | 7 | -525 | -0.000525 | 3116 | 2135 | 981 | -73575 | -0.073575
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 12563 | 12545 | 18 | -1800 | -0.0018 | 27434 | 26739 | 695 | -69500 | -0.0695
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 1.0859 |  |  |  |  | 9.9516
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 1.0859 |  |  |  |  | 9.9516
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.00071034 |  |  |  |  | -0.20559
| TOTAL ENERGY TO NDMC | [8 empty] | 1.0852 |  |  |  |  | 9.746

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2015
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2414 | 2414 | 0 | 0 | 0 | 28628 | 27968 | 660 | 660000 | 0.66
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1482 | 1482 | 0 | 0 | 0 | 30058 | 29421 | 637 | 637000 | 0.637
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3917 | 3917 | 0 | 0 | 0 | 36901 | 36336 | 565 | 565000 | 0.565
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 0 | 0 | 0 | 0 | 0 | 5242 | 1481 | 3761 | 501465.413 | 0.50147
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5312 | 5312 | 0 | 0 | 0 | 10939 | 10891 | 48 | 48000 | 0.048
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12350 | 12350 | 0 | 0 | 0 | 59310 | 59146 | 164 | 82000 | 0.082
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996187 | 996191 | -4 | -400 | -0.0004 | 999876 | 999910 | -34 | -3400 | -0.0034
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0004 |  |  |  |  | 2.4901
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 53338 | 53305 | 33 | 3300 | 0.0033 | 77004 | 76723 | 281 | 28100 | 0.0281
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 76635 | 76600 | 35 | 3500 | 0.0035 | 13150 | 13121 | 29 | 2900 | 0.0029
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 52285 | 52274 | 11 | 1100 | 0.0011 | 71666 | 69168 | 2498 | 249800 | 0.2498
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4865074 | ELSTER | Kvarh(Lead/Lag) | 100 | 7700 | 7701 | -1 | -100 | -0.0001 | 10425 | 10280 | 145 | 14500 | 0.0145 | Check Meter
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 9375 | 9375 | 0 | 0 | 0 | 3086 | 3074 | 12 | 1200 | 0.0012
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0078 |  |  |  |  | 0.2953
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0078 |  |  |  |  | 0.2953
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0004 |  |  |  |  | 2.4901
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0074 |  |  |  |  | 2.7854
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0074 | (REACTIVE MUs) |  |  |  | 2.7854 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -9.9481e-05 | (REACTIVE MUs) |  |  |  | -0.028792 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.0073005 | (REACTIVE MUs) |  |  |  | 2.7566 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2015
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 13117 | 11950 | 1167 | 116700 | 0.1167 | 1687 | 1677 | 10 | 1000 | 0.001
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 7957 | 5894 | 2063 | 206300 | 0.2063 | 999154 | 999209 | -55 | -5500 | -0.0055
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 303908 | 300734 | 3174 | 317400 | 0.3174 | 103031 | 102943 | 88 | 8800 | 0.0088
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 40989 | 40786 | 203 | 190312.5 | 0.19031 | 19122 | 19129 | -7 | -6562.5 | -0.0065625
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 983861 | 983861 | 0 | 0 | 0 | 911191 | 913336 | -2145 | 1072500 | 1.0725
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 988415 | 988702 | -287 | 143500 | 0.1435 | 976533 | 977351 | -818 | 409000 | 0.409
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 16 | 31 | -15 | -4500 | -0.0045 | 999932 | 1000013 | -81 | -24300 | -0.0243
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.96971 |  |  |  |  | 1.4549
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 997570 | 998011 | -441 | -88200 | -0.0882 | 999990 | 999998 | -8 | -1600 | -0.0016
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 200 | 942153 | 943899 | -1746 | -349200 | -0.3492 | 998920 | 999397 | -477 | -95400 | -0.0954
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.4374 |  |  |  |  | -0.097
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 271589 | 268619 | 2970 | 594000 | 0.594 | 265600 | 265577 | 23 | 4600 | 0.0046
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 126095 | 125498 | 597 | 119400 | 0.1194 | 42594 | 42581 | 13 | 2600 | 0.0026
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 210192 | 209024 | 1168 | 116800 | 0.1168 | 74554 | 74528 | 26 | 2600 | 0.0026
13 | O/G 33KV SH.W.BAGH-I | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1000 | 493 | 305 | 188 | 188000 | 0.188 | 1000000 | 999998 | 2 | 2000 | 0.002
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 997819 | 998157 | -338 | -33800 | -0.0338 | 999910 | 999996 | -86 | -8600 | -0.0086
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998851 | 998851 | 0 | 0 | 0 | 997002 | 997408 | -406 | -380625 | -0.38062
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 984721 | 984721 | 0 | 0 | 0 | 995390 | 995390 | 0 | 0 | 0
[10 empty] | 0.0154 |  |  |  |  | 0.0012 | Assessment
| TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999987 | 1000000 | -13 | 32500 | 0.0325 | 3107 | 3108 | -1 | 2500 | 0.0025 | w.e.f 11/05/2015
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 16 | 31 | -15 | 4500 | 0.0045 | 999932 | 1000013 | -81 | 24300 | 0.0243
| TOTAL NDPL | [8 empty] | 1.0368 |  |  |  |  | -0.34943
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.96971 |  |  |  |  | 1.4549
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.4374 |  |  |  |  | -0.097
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.0368 |  |  |  |  | -0.34943

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2015
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 15619 | 15593 | 26 | 52000 | 0.052 | 890 | 818 | 72 | 144000 | 0.144
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 18857 | 18836 | 21 | 42000 | 0.042 | 2404 | 2309 | 95 | 190000 | 0.19
[7 empty] | NET REACTIVE ENERGY |  |  | 0.094 |  | NET REACTIVE ENERGY |  |  | 0.334
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 991966 | 991966 | 0 | 0 | 0 | 38713 | 38625 | 88 | 88000 | 0.088
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 995002 | 995061 | -59 | -59000 | -0.059 | 993768 | 993895 | -127 | -127000 | -0.127
[7 empty] | NET REACTIVE ENERGY |  |  | -0.059 |  | NET REACTIVE ENERGY |  |  | -0.039
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.035 |  |  |  |  | 0.295
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.0445 |  |  |  |  | -8.495
[7 empty] | NDMC = |  |  | -0.004 |  |  |  |  | 4.2928
MES =
[7 empty] | 2)TOTAL |  |  | -0.0485 |  |  |  |  | -4.2022
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -0.0135 |  |  |  |  | -3.9072
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.2821 | % |  |  | -0.0038181 |  |  |  |  | -1.105
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.9624 | % |  |  | -0.0056649 |  |  |  |  | -1.6396
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.7568 | % |  |  | -0.0032072 |  |  |  |  | -0.92823
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.2618 | % |  |  | -0.00071034 |  |  |  |  | -0.20559
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7369 | % |  |  | -9.9481e-05 |  |  |  |  | -0.028792
Note :Sharing taken from wk-8 abt bill 2015-16

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st May-2015 TO 1st June-2015
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 1.1165 | + | 2.1891
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | -2.2294 | + | 14.174
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -0.12487 | + | 5.3726
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 1.0852 | + | 9.746
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.0073005 | + | 2.7566
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2015 | INTIAL READING 01/05/2015 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 952690 | 952734 | -44 | -66000 | -0.066 | 979517 | 979525 | -8 | -12000 | -0.012
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 991543 | 991569 | -26 | -39000 | -0.039 | 994957 | 995425 | -468 | -702000 | -0.702
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 949792 | 951295 | -1503 | -1127250 | -1.1273 | 999321 | 999331 | -10 | -7500 | -0.0075
[8 empty] | NET REACTIVE ENERGY |  | -1.2323 |  |  | NET REACTIVE ENERGY |  | -0.7215
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997882 | 997882 | 0 | 0 | 0 | 32956 | 29759 | 3197 | 15985000 | 15.985
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 995272 | 1007809 | -12537 | -12537000 | -12.537
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 977745 | 977759 | -14 | -14000 | -0.014 | 991193 | 991468 | -275 | -275000 | -0.275
[8 empty] | NET REACTIVE ENERGY |  | -0.014 |  |  | NET REACTIVE ENERGY |  | 3.173