## NDPL
DELHI TRANSCO LIMITED | [15 empty] | FEBRUARY-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965265 | 965330 | -65 | 65000 | 0.065 | 998186 | 998208 | -22 | 22000 | 0.022
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 81274 | 80171 | 1103 | -2206000 | -2.206 | 2361 | 2282 | 79 | -158000 | -0.158
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 752 | 524 | 228 | -228000 | -0.228 | 6 | 4 | 2 | -2000 | -0.002
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997915 | 997795 | 120 | -120000 | -0.12 | 993213 | 993142 | 71 | -71000 | -0.071
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 893784 | 893784 | 0 | 0 | 0 | 987824 | 987797 | 27 | -27000 | -0.027
[5 empty] | -1000 | 887780 | 887377 | 403 | -403000 | -0.403
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 32373 | 31350 | 1023 | -1023000 | -1.023 | 16120 | 16122 | -2 | 2000 | 0.002
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6900 | 6123 | 777 | -777000 | -0.777 | 998092 | 998094 | -2 | 2000 | 0.002
8 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3385 | 2578 | 807 | -807000 | -0.807 | 998253 | 998255 | -2 | 2000 | 0.002
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 965744 | 965005 | 739 | -369500 | -0.3695 | 843885 | 843888 | -3 | 1500 | 0.0015
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2218 | 2414 | -196 | 196000 | 0.196 | 998306 | 998306 | 0 | 0 | 0
11 | Tx.-2 | 4864944 | ELSTER | Kvarh(Lead/Lag) | -1000 | 46563 | 45656 | 907 | -907000 | -0.907 | 998329 | 998329 | 0 | 0 | 0 | Check Meter Data
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24460 | 22378 | 2082 | -2082000 | -2.082 | 996893 | 996893 | 0 | 0 | 0
13 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 8050 | 6545 | 1505 | -1505 | -1.505 | 99999952 | 99999952 | 0 | 0 | 0
14 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 813001 | 817950 | -4949 | -4949000 | -4.949 | 999981 | 999981 | 0 | 0 | 0
15 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 905860 | 912773 | -6913 | -6913000 | -6.913 | 999995 | 999995 | 0 | 0 | 0
NARELA
16 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5035 | 4214 | 821 | -821000 | -0.821 | 999999 | 999999 | 0 | 0 | 0
17 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 41872 | 39748 | 2124 | -1062000 | -1.062 | 999984 | 999961 | 23 | -11500 | -0.0115
18 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44868 | 43775 | 1093 | -1093000 | -1.093 | 97 | 98 | -1 | 1000 | 0.001
NARAINA
19 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999932 | 999938 | -6 | -6000 | -0.006 | 992007 | 991989 | 18 | 18000 | 0.018
20 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 480 | 582 | -102 | -102000 | -0.102 | 21893 | 21893 | 0 | 0 | 0
21 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1355 | 1354 | 1 | 500 | 0.0005 | 12188 | 12157 | 31 | 15500 | 0.0155
22 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 1789 | 1089 | 700 | 35000 | 0.035 | 53640 | 53283 | 357 | 17850 | 0.01785
23 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995138 | 995344 | -206 | -206000 | -0.206 | 983596 | 983613 | -17 | -17000 | -0.017
24 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999623 | 999754 | -131 | -131000 | -0.131 | 296 | 298 | -2 | -2000 | -0.002
25 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 55964 | 57459 | -1495 | -149500 | -0.1495 | 189840 | 189840 | 0 | 0 | 0
KASHMIRI GATE
26 | 221 kV DMRC #1 | 5128477 | ELSTER | Kvarh(Lead/Lag) | 1000 | 964910 | 966283 | -1373 | -1373000 | -1.373 | 999810 | 999810 | 0 | 0 | 0
27 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 974228 | 978727 | -4499 | -2249500 | -2.2495 | 999999 | 999999 | 0 | 0 | 0
28 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 997282 | 997796 | -514 | -137068.38 | -0.13707 | 999846 | 999846 | 0 | 0 | 0
29 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 1593 | 1523 | 70 | 35000 | 0.035 | 999915 | 999915 | 0 | 0 | 0
KANJAWALA
30 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35423 | 33579 | 1844 | -1844000 | -1.844 | 996473 | 996473 | 0 | 0 | 0
31 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 183035 | 180782 | 2253 | -1126500 | -1.1265 | 14691 | 14691 | 0 | 0 | 0
[5 empty] | -500 | 154695 | 151798 | 2897 | -1448500 | -1.4485
32 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2368 | 1235 | 1133 | -2266000 | -2.266 | 999975 | 999975 | 0 | 0 | 0
BAWANA
33 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27151 | 24462 | 2689 | -2689000 | -2.689 | 999957 | 999958 | -1 | 1000 | 0.001
DSIDC BAWANA
34 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 69979 | 66784 | 3195 | -6390000 | -6.39 | 280 | 280 | 0 | 0 | 0
35 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 77581 | 74877 | 2704 | -2704000 | -2.704 | 998486 | 998486 | 0 | 0 | 0
36 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 146140 | 141478 | 4662 | -4662000 | -4.662 | 2795 | 2795 | 0 | 0 | 0
ROHINI-II
37 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5290 | 3852 | 1438 | -2876000 | -2.876 | 1 | 1 | 0 | 0 | 0
38 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 46784 | 43782 | 3002 | -3002000 | -3.002 | 1179 | 1179 | 0 | 0 | 0
WAZIRPUR
39 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999709 | 998445 | 1264 | -1264000 | -1.264 | 998535 | 998536 | -1 | 1000 | 0.001
40 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38759 | 37384 | 1375 | -1375000 | -1.375 | 1637 | 1639 | -2 | 2000 | 0.002
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
41 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 80 | 118 | -38 | -38000 | -0.038 | 27947 | 28058 | -111 | -111000 | -0.111
| NDPL(+) continue | [14 empty] | FEBRUARY-2019
DMS
42 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1009 | 1052 | -43 | -43000 | -0.043 | 61255 | 61255 | 0 | 0 | 0
VISHAL
43 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999500 | 999500 | 0 | 0 | 0 | 999226 | 999432 | -206 | -20600 | -0.0206
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 2834 | 2758 | 76 | 7600 | 0.0076 | 28769 | 28788 | -19 | -1900 | -0.0019
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 769 | 768 | 1 | 1333 | 0.001333 | 491 | 488 | 3 | 3999 | 0.003999
47 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 3179 | 3179 | 0 | 0 | 0 | 1592 | 1592 | 0 | 0 | 0
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 2008 | 2033 | -25 | -2500 | -0.0025 | 1486 | 1404 | 82 | 8200 | 0.0082
B.G.ROAD
52 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
53 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999899 | 999899 | 0 | 0 | 0 | 1659 | 1661 | -2 | -1000 | -0.001
54 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 2252 | 2257 | -5 | -3333.35 | -0.0033334 | 313 | 303 | 10 | 6666.7 | 0.0066667
55 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 552 | 545 | 7 | 3500 | 0.0035 | 158 | 146 | 12 | 6000 | 0.006
D.M.S.
56 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 996508 | 996669 | -161 | -16100 | -0.0161 | 4048 | 4070 | -22 | -2200 | -0.0022
FAIZ ROAD
57 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 7419 | 7721 | -302 | -30200 | -0.0302 | 11801 | 11810 | -9 | -900 | -0.0009
58 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 9338 | 9272 | 66 | 6600 | 0.0066 | 1890 | 1855 | 35 | 3500 | 0.0035
59 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 28562 | 28474 | 88 | 8800 | 0.0088 | 7340 | 7298 | 42 | 4200 | 0.0042
KASHMIRI GATE
60 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 53335 | 53402 | -67 | -6700 | -0.0067 | 1503 | 1503 | 0 | 0 | 0
61 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 55 | 68 | -13 | -1733.29 | -0.0017333 | 254 | 254 | 0 | 0 | 0
62 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 76 | 76 | 0 | 0 | 0 | 663 | 663 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
63 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
64 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999879 | 999909 | -30 | -12000 | -0.012 | 999486 | 999506 | -20 | -8000 | -0.008
MUNDKA
65 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 973251 | 975055 | -1804 | -1443200 | -1.4432 | 999760 | 999760 | 0 | 0 | 0
66 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 996984 | 997159 | -175 | -350000 | -0.35 | 1060 | 1060 | 0 | 0 | 0
PEERAGARHI
67 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 982481 | 983915 | -1434 | -286800 | -0.2868 | 378 | 379 | -1 | -200 | -0.0002
68 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 999057 | 999834 | -777 | -194250 | -0.19425 | 323 | 323 | 0 | 0 | 0
REWARI LINE
69 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994557 | 995662 | -1105 | -1105000 | -1.105 | 2405 | 2405 | 0 | 0 | 0
70 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1711 | 1751 | -40 | -30000 | -0.03 | 3281 | 3283 | -2 | -1500 | -0.0015
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -64.4701 |  |  |  |  | -0.31738
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | FEBRUARY-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 15500 | 15755 | -255 | 25500 | 0.0255 | 119631 | 119631 | 0 | 0 | 0
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 999948 | 999906 | 42 | -33600 | -0.0336 | 363 | 319 | 44 | -35200 | -0.0352
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 762 | 704 | 58 | -58000 | -0.058 | 83 | 60 | 23 | -23000 | -0.023
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 6180 | 6283 | -103 | 13732.99 | 0.013733 | 266 | 274 | -8 | 1066.64 | 0.0010666
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997943 | 998027 | -84 | 15750 | 0.01575 | 999960 | 999960 | 0 | 0 | 0
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 927674 | 931727 | -4053 | 3242400 | 3.2424 | 998176 | 998176 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 989969 | 990635 | -666 | 416250 | 0.41625 | 999990 | 999990 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 991083 | 991244 | -161 | 100625 | 0.10063 | 999844 | 999844 | 0 | 0 | 0
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 997682 | 998210 | -528 | 105600 | 0.1056 | 14150 | 14155 | -5 | 1000 | 0.001
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 994688 | 995169 | -481 | 90187.5 | 0.090188 | 5495 | 5503 | -8 | 1500 | 0.0015
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 994097 | 995149 | -1052 | 197250 | 0.19725 | 4297 | 4301 | -4 | 750 | 0.00075
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 3052 | 3052 | 0 | 0 | 0 | 7764 | 7764 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 996584 | 997412 | -828 | 82800 | 0.0828 | 28358 | 28355 | 3 | -300 | -0.0003
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 4.1985 |  |  |  |  | -0.054183
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -64.4701 |  |  |  |  | -0.31738
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 4.1985 |  |  |  |  | -0.054183
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.099975 |  |  |  |  | 0.00435
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -60.3715 |  |  |  |  | -0.36722
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -60.3715 | (REACTIVE MUs) |  |  |  | -0.36722 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -6.5758 | (REACTIVE MUs) |  |  |  | -0.016504 | (REACTIVE MUs)
[9 empty] | TOTAL | -66.9473 | (REACTIVE MUs) |  |  |  | -0.38372 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | FEBRUARY-2019
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 27050 | 28240 | -1190 | -119000 | -0.119 | 994319 | 994163 | 156 | 15600 | 0.0156
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 11282 | 11538 | -256 | -76800 | -0.0768 | 4037 | 4224 | -187 | -56100 | -0.0561
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 79788 | 79290 | 498 | 37350 | 0.03735 | 393638 | 393010 | 628 | 47100 | 0.0471
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 995287 | 995313 | -26 | -7800 | -0.0078 | 6030 | 6031 | -1 | -300 | -0.0003
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1623 | 1674 | -51 | -67998.3 | -0.067998 | 3603 | 3616 | -13 | -17332.9 | -0.017333
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 8692 | 8513 | 179 | 17900 | 0.0179 | 1393 | 1219 | 174 | 17400 | 0.0174
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 96491 | 95848 | 643 | 48225 | 0.048225 | 42377 | 42312 | 65 | 4875 | 0.004875
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981398 | 981679 | -281 | -281000 | -0.281 | 2276 | 2277 | -1 | -1000 | -0.001
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 992310 | 992895 | -585 | -292500 | -0.2925 | 178 | 180 | -2 | -1000 | -0.001
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997599 | 997924 | -325 | -325000 | -0.325 | 1624 | 1624 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988741 | 989067 | -326 | -326000 | -0.326 | 1352 | 1353 | -1 | -1000 | -0.001
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991722 | 992160 | -438 | -438000 | -0.438 | 6252 | 6252 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998226 | 998308 | -82 | -82000 | -0.082 | 998666 | 998667 | -1 | -1000 | -0.001
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996596 | 996888 | -292 | -292000 | -0.292 | 999794 | 999794 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 996961 | 997264 | -303 | -242400 | -0.2424 | 5204 | 5204 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 8010 | 6903 | 1107 | 147596.31 | 0.1476 | 3651 | 3656 | -5 | -666.65 | -0.00066665
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1050 | 1095 | -45 | -45000 | -0.045 | 9730 | 9730 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1612 | 1866 | -254 | -254000 | -0.254 | 17471 | 17472 | -1 | -1000 | -0.001
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 972378 | 972522 | -144 | -180000 | -0.18 | 950647 | 950755 | -108 | -135000 | -0.135
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 986569 | 987020 | -451 | -496100 | -0.4961 | 936452 | 936593 | -141 | -155100 | -0.1551
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 956642 | 956811 | -169 | -169000 | -0.169 | 6206 | 6225 | -19 | -19000 | -0.019
| KASHMIRI GATE | [8 empty] | -0.8451 |  |  |  |  | -0.3091
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989879 | 990285 | -406 | 406000 | 0.406 | 998807 | 998807 | 0 | 0 | 0
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986529 | 986583 | -54 | 54000 | 0.054 | 999034 | 999035 | -1 | 1000 | 0.001
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 76 | 76 | 0 | 0 | 0 | 663 | 663 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999829 | 999830 | -1 | -1000 | -0.001 | 13597 | 13634 | -37 | -37000 | -0.037
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 140166 | 135387 | 4779 | -4779000 | -4.779 | 8277 | 8284 | -7 | 7000 | 0.007
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37353 | 35669 | 1684 | -1684000 | -1.684 | 999930 | 999909 | 21 | -21000 | -0.021
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000273 | 999564 | 709 | -709000 | -0.709 | 999335 | 999335 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999093 | 998357 | 736 | -736000 | -0.736 | 998960 | 998960 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23023 | 20254 | 2769 | -2769000 | -2.769 | 983031 | 983031 | 0 | 0 | 0
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37140 | 34298 | 2842 | -2842000 | -2.842 | 287 | 287 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 25985 | 24065 | 1920 | -3840000 | -3.84 | 22 | 22 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 762 | 704 | 58 | 58000 | 0.058 | 83 | 60 | 23 | 23000 | 0.023
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 6180 | 6283 | -103 | -13732.99 | -0.013733 | 266 | 274 | -8 | -1066.64 | -0.0010666
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 994246 | 994355 | -109 | -14497 | -0.014497 | 10071 | 10125 | -54 | -7182 | -0.007182
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955033 | 955038 | -5 | 5000 | 0.005 | 990185 | 990185 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981065 | 981071 | -6 | 6000 | 0.006 | 999926 | 999926 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -20.3028 |  |  |  |  | -0.33877
| (A) NET ENERGY TO CENTRAL | [8 empty] | -20.3028 |  |  |  |  | -0.33877
FEBRUARY-2019
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990318 | 989941 | 377 | -377000 | -0.377 | 997660 | 997665 | -5 | 5000 | 0.005
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988783 | 988306 | 477 | -477000 | -0.477 | 963325 | 963319 | 6 | -6000 | -0.006
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994038 | 993931 | 107 | -107000 | -0.107 | 998509 | 998529 | -20 | 20000 | 0.02
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991509 | 990438 | 1071 | -1071000 | -1.071 | 999297 | 999304 | -7 | 7000 | 0.007
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23020 | 21592 | 1428 | -1428000 | -1.428 | 997492 | 997464 | 28 | -28000 | -0.028
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9459 | 8369 | 1090 | -1090000 | -1.09 | 996425 | 996379 | 46 | -46000 | -0.046
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7626 | 7436 | 190 | -190000 | -0.19 | 12573 | 12552 | 21 | -21000 | -0.021
[5 empty] | -1000 | [5 empty] | 999508 | 999505 | 3 | -3000 | -0.003
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 4864919 | ELSTER | Kvarh(Lead/Lag) | -1000 | 526 | 364 | 162 | -162000 | -0.162 | 19 | 3 | 16 | -16000 | -0.016
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960657 | 960004 | 653 | -653000 | -0.653 | 979095 | 979053 | 42 | -42000 | -0.042
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971086 | 970742 | 344 | -344000 | -0.344 | 976266 | 976326 | -60 | 60000 | 0.06
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961244 | 960459 | 785 | -785000 | -0.785 | 825347 | 825362 | -15 | 15000 | 0.015
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36178 | 36178 | 0 | 0 | 0 | 33503 | 33503 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 52364 | 48960 | 3404 | -3404000 | -3.404 | 111 | 111 | 0 | 0 | 0
15 | TX-3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15607 | 10373 | 5234 | -5234000 | -5.234 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -15.322 |  |  |  |  | -0.055
| (B) NET ENERGY TO EAST | [8 empty] | -15.322 |  |  |  |  | -0.055
FEBRUARY-2019
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 997282 | 997796 | -514 | 137068.38 | 0.13707 | 999846 | 999846 | 0 | 0 | 0
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 1593 | 1523 | 70 | -35000 | -0.035 | 999915 | 999915 | 0 | 0 | 0
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 1893 | 2014 | -121 | 32265.86 | 0.032266 | 2150 | 2150 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 101948 | 101772 | 176 | -17600 | -0.0176 | 152234 | 152234 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 990452 | 991149 | -697 | 139400 | 0.1394 | 999322 | 999322 | 0 | 0 | 0
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 91 | 0 | 91 | -91000 | -0.091 | 0 | 0 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 1145 | 1106 | 39 | -31200 | -0.0312 | 2558 | 2558 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3670 | 3593 | 77 | -61600 | -0.0616 | 1319 | 1309 | 10 | -8000 | -0.008
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 996717 | 997849 | -1132 | 905600 | 0.9056 | 999010 | 999015 | -5 | 4000 | 0.004
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 962798 | 963633 | -835 | 668000 | 0.668 | 981163 | 981200 | -37 | 29600 | 0.0296
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 968237 | 969486 | -1249 | 999200 | 0.9992 | 990086 | 990089 | -3 | 2400 | 0.0024
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998357 | 998637 | -280 | 560000 | 0.56 | 999597 | 999597 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997035 | 997297 | -262 | 524000 | 0.524 | 999540 | 999540 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 80 | 118 | -38 | 38000 | 0.038 | 27947 | 28058 | -111 | 111000 | 0.111
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1009 | 1052 | -43 | 43000 | 0.043 | 61255 | 61255 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
18 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999899 | 999899 | 0 | 0 | 0 | 1659 | 1661 | -2 | 1000 | 0.001
19 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 2252 | 2257 | -5 | 3333.35 | 0.0033334 | 313 | 303 | 10 | -6666.7 | -0.0066667
20 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 552 | 545 | 7 | -3500 | -0.0035 | 158 | 146 | 12 | -6000 | -0.006
KASHMIRI GATE
21 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 53335 | 53402 | -67 | 6700 | 0.0067 | 1503 | 1503 | 0 | 0 | 0
22 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 55 | 68 | -13 | 1733.29 | 0.0017333 | 254 | 254 | 0 | 0 | 0
D.M.S
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 996508 | 996669 | -161 | 16100 | 0.0161 | 4048 | 4070 | -22 | 2200 | 0.0022
FAIZ ROAD
24 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 7419 | 7721 | -302 | 30200 | 0.0302 | 11801 | 11810 | -9 | 900 | 0.0009
25 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 9338 | 9272 | 66 | -6600 | -0.0066 | 1890 | 1855 | 35 | -3500 | -0.0035
26 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 28562 | 28474 | 88 | -8800 | -0.0088 | 7340 | 7298 | 42 | -4200 | -0.0042
FED FROM BYPL (RLY.)
27 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 8800 | 0 | 8800 | 8800 | 0.0088 | 13370 | 10570 | 2800 | 2800 | 0.0028 | W.e.f 15/1/2020
28 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 4150 | 2680 | 1470 | 1470 | 0.00147 | 42370 | 15990 | 26380 | 26380 | 0.02638 | W.e.f 15/1/2020
29 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 14300 | 8200 | 6100 | 6100 | 0.0061 | 116600 | 27200 | 89400 | 89400 | 0.0894 | W.e.f 15/1/2020
[10 empty] | 3.8657 |  |  |  |  | 0.24131
FEBRUARY-2019
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -20.3028 |  |  |  |  | -0.33877
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 3.8657 |  |  |  |  | 0.24131
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.53084 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -16.9679 |  |  |  |  | -0.09746
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -15.322 |  |  |  |  | -0.055
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -32.2899 |  |  |  |  | -0.15246
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -32.2899 | (REACTIVE MUs) |  |  |  | -0.15246 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -4.0935 | (REACTIVE MUs) |  |  |  | -0.010274 | (REACTIVE MUs)
[9 empty] | TOTAL | -36.3835 | (REACTIVE MUs) |  |  |  | -0.16273 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | FEBRUARY-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999021 | 999072 | -51 | -255000 | -0.255 | 998833 | 998841 | -8 | -40000 | -0.04
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 980338 | 980391 | -53 | -70666.49 | -0.070666 | 670400 | 670375 | 25 | 33333.25 | 0.033333
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 991983 | 993008 | -1025 | -205000 | -0.205 | 2056 | 2249 | -193 | -38600 | -0.0386
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999943 | 999989 | -46 | -61333.18 | -0.061333 | 999749 | 999734 | 15 | 19999.95 | 0.02
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 999030 | 999172 | -142 | -213000 | -0.213 | 999959 | 999966 | -7 | -10500 | -0.0105
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 16737 | 17089 | -352 | -35200 | -0.0352 | 22428 | 22507 | -79 | -7900 | -0.0079
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 639926 | 645395 | -5469 | -410175 | -0.41018 | 980273 | 980536 | -263 | -19725 | -0.019725
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 982077 | 983508 | -1431 | -107325 | -0.10733 | 18269 | 18409 | -140 | -10500 | -0.0105
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 900 | 999426 | 999700 | -274 | -246600 | -0.2466 | 999919 | 999959 | -40 | -36000 | -0.036
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 997054 | 997734 | -680 | -68000 | -0.068 | 265421 | 265479 | -58 | -5800 | -0.0058
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12664 | 11610 | 1054 | -1054000 | -1.054 | 996565 | 996559 | 6 | -6000 | -0.006
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2393 | 2182 | 211 | -422000 | -0.422 | 997716 | 997715 | 1 | -2000 | -0.002
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15311 | 14936 | 375 | -375000 | -0.375 | 996678 | 996683 | -5 | 5000 | 0.005
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976966 | 976550 | 416 | -416000 | -0.416 | 990629 | 990290 | 339 | -339000 | -0.339
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 72383 | 70270 | 2113 | -2113000 | -2.113 | 998899 | 998895 | 4 | -4000 | -0.004
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 67012 | 64201 | 2811 | -1405500 | -1.4055 | 34199 | 33914 | 285 | -142500 | -0.1425
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 14836 | 13722 | 1114 | -2228000 | -2.228 | 998244 | 998223 | 21 | -42000 | -0.042
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19415 | 19882 | -467 | 467000 | 0.467 | 815146 | 815262 | -116 | 116000 | 0.116
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9029 | 5514 | 3515 | -3515000 | -3.515 | 995 | 989 | 6 | -6000 | -0.006
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 56457 | 53499 | 2958 | -2366400 | -2.3664 | 998423 | 998203 | 220 | -176000 | -0.176
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997665 | 997757 | -92 | 92000 | 0.092 | 961315 | 961463 | -148 | 148000 | 0.148
[5 empty] | -1000 | 999732 | 1000971 | -1239 | 1239000 | 1.239
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985042 | 985613 | -571 | 571000 | 0.571 | 992660 | 992671 | -11 | 11000 | 0.011
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 941624 | 941851 | -227 | 454000 | 0.454 | 984025 | 984032 | -7 | 14000 | 0.014 | CTR changed from 1000/1 to 2000/1
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5640 | 3929 | 1711 | -1711000 | -1.711 | 997296 | 997317 | -21 | 21000 | 0.021
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4751 | 4492 | 259 | -259000 | -0.259 | 999950 | 999950 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1188 | 790 | 398 | -398000 | -0.398 | 29 | 29 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 144035 | 136398 | 7637 | -7637000 | -7.637 | 12009 | 12009 | 0 | 0 | 0
[5 empty] | -1000 | 135592 | 134400 | 1192 | -1192000 | -1.192
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 2636 | 2709 | -73 | 243333.09 | 0.24333 | 36 | 36 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 999948 | 999906 | 42 | 33600 | 0.0336 | 363 | 319 | 44 | 35200 | 0.0352
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963204 | 964815 | -1611 | 1611000 | 1.611 | 966000 | 966000 | 0 | 0 | 0
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985413 | 985879 | -466 | 466000 | 0.466 | 984112 | 984112 | 0 | 0 | 0
| Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41080 | 38131 | 2949 | -2949000 | -2.949 | 985511 | 985511 | 0 | 0 | 0
[5 empty] | -1000 | 32964 | 31430 | 1534 | -1534000 | -1.534
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 14979 | 12361 | 2618 | -2094400 | -2.0944 | 999083 | 999083 | 0 | 0 | 0
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 7973 | 6676 | 1297 | -2075200 | -2.0752 | 999900 | 999899 | 1 | -1600 | -0.0016
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996349 | 996081 | 268 | -268000 | -0.268 | 985069 | 985069 | 0 | 0 | 0
36 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 5159 | 4443 | 716 | -358000 | -0.358 | 991822 | 991848 | -26 | 13000 | 0.013
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21379 | 20641 | 738 | -738000 | -0.738 | 32592 | 32593 | -1 | 1000 | 0.001
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999424 | 999157 | 267 | -267000 | -0.267 | 996050 | 996055 | -5 | 5000 | 0.005
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999616 | 999541 | 75 | -75000 | -0.075 | 999072 | 999121 | -49 | 49000 | 0.049
BRPL(+) continue | [14 empty] | FEBRUARY-2019
VASANT KUNJ
40 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41009 | 39785 | 1224 | -1224000 | -1.224 | 999139 | 999163 | -24 | 24000 | 0.024
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13317 | 13238 | 79 | -79000 | -0.079 | 999078 | 999079 | -1 | 1000 | 0.001
42 | Tx.3 | 5128448 | ELSTER | Kvarh(Lead/Lag) | -2000 | 407 | 0 | 407 | -814000 | -0.814 | 0 | 0 | 0 | 0 | 0
MEHRAULI
43 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22052 | 20132 | 1920 | -1920000 | -1.92 | 998958 | 998958 | 0 | 0 | 0
44 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000001 | 999452 | 549 | -549000 | -0.549 | 925477 | 925477 | 0 | 0 | 0
45 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35950 | 33928 | 2022 | -2022000 | -2.022 | 7990 | 7990 | 0 | 0 | 0
46 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 693 | 461 | 232 | -464000 | -0.464 | 994242 | 994242 | 0 | 0 | 0
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 48692 | 46402 | 2290 | -2290000 | -2.29 | 997183 | 997183 | 0 | 0 | 0
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 27161 | 25519 | 1642 | -3284000 | -3.284 | 999381 | 999381 | 0 | 0 | 0
DIAL
49 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8473 | 8333 | 140 | -280000 | -0.28 | 2426 | 2420 | 6 | -12000 | -0.012
50 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6222 | 6013 | 209 | -418000 | -0.418 | 1353 | 1351 | 2 | -4000 | -0.004
MASJID MOD
51 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919549 | 919632 | -83 | 83000 | 0.083 | 979398 | 979412 | -14 | 14000 | 0.014
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1902 | 2026 | -124 | 124000 | 0.124 | 994931 | 994945 | -14 | 14000 | 0.014
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1838 | 1855 | -17 | 17000 | 0.017 | 987520 | 987527 | -7 | 7000 | 0.007
MUNDKA
54 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 983577 | 984468 | -891 | -712800 | -0.7128 | 611 | 611 | 0 | 0 | 0
[10 empty] | 8 |  |  |  |  | 0 | Assessment last month
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 954483 | 955134 | -651 | -520800 | -0.5208 | 999588 | 999588 | 0 | 0 | 0
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 999753 | 1000011 | -258 | -206400 | -0.2064 | 999824 | 999824 | 0 | 0 | 0
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 996831 | 997056 | -225 | -180000 | -0.18 | 34 | 34 | 0 | 0 | 0
PARK STREET
60 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 997035 | 997297 | -262 | -524000 | -0.524 | 999540 | 999540 | 0 | 0 | 0
61 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 65158 | 65158 | 0 | 0 | 0 | 923 | 923 | 0 | 0 | 0
63 | Tx-2 | 5128415 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6286 | 5981 | 305 | -305000 | -0.305 | 290 | 1 | 289 | -289000 | -0.289
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 109957 | 104556 | 5401 | -5401000 | -5.401 | 744 | 708 | 36 | -36000 | -0.036
NARAINA
65 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 15500 | 15755 | -255 | -25500 | -0.0255 | 119631 | 119631 | 0 | 0 | 0
66 | SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997943 | 998027 | -84 | -15750 | -0.01575 | 999960 | 999960 | 0 | 0 | 0
68 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 950870 | 952086 | -1216 | -486400 | -0.4864 | 995622 | 995622 | 0 | 0 | 0
69 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 11513 | 12535 | -1022 | -408800 | -0.4088 | 72097 | 72097 | 0 | 0 | 0
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 927674 | 931727 | -4053 | -3242400 | -3.2424 | 998176 | 998176 | 0 | 0 | 0
Trauma Centre
70 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 422551 | 418831 | 3720 | 372000 | 0.372 | 84604 | 84604 | 0 | 0 | 0
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4903 | 5222 | -319 | -319000 | -0.319 | 1888 | 1888 | 0 | 0 | 0
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10812 | 10812 | 0 | 0 | 0 | 21988 | 21992 | -4 | -300 | -0.0003
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5305 | 5305 | 0 | 0 | 0 | 13962 | 13929 | 33 | 3300 | 0.0033
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 9563 | 10037 | -474 | -237000 | -0.237 | 3137 | 3137 | 0 | 0 | 0
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999755 | 999996 | -241 | -241000 | -0.241 | 4077 | 4077 | 0 | 0 | 0
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987534 | 988344 | -810 | -810000 | -0.81 | 1109 | 1109 | 0 | 0 | 0
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6269 | 6208 | 61 | 61000 | 0.061 | 6497 | 6497 | 0 | 0 | 0
78 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 5246 | 6010 | -764 | -122240 | -0.12224 | 999805 | 999804 | 1 | 160 | 0.00016
79 | PASCHIM PURI - 2(L-8) | 5269777 | ELSTER | Kvarh(Lead/Lag) | 2000 | 4963 | 5000 | -37 | -74000 | -0.074 | 3407 | 3404 | 3 | 6000 | 0.006 | Check Meter Data
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3994 | 3915 | 79 | 79000 | 0.079 | 709 | 709 | 0 | 0 | 0
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4206 | 4164 | 42 | 42000 | 0.042 | 6908 | 6908 | 0 | 0 | 0
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 997682 | 998210 | -528 | -105600 | -0.1056 | 14150 | 14155 | -5 | -1000 | -0.001
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 994688 | 995169 | -481 | -90187.5 | -0.090188 | 5495 | 5503 | -8 | -1500 | -0.0015
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 994097 | 995149 | -1052 | -197250 | -0.19725 | 4297 | 4301 | -4 | -750 | -0.00075
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 3052 | 3052 | 0 | 0 | 0 | 7764 | 7764 | 0 | 0 | 0
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 996584 | 997412 | -828 | -82800 | -0.0828 | 28358 | 28355 | 3 | 300 | 0.0003
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -50.8198 |  |  |  |  | -0.69138
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | FEBRUARY-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -100 | 22035 | 22146 | -111 | 11100 | 0.0111 | 4890 | 4890 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 994246 | 994355 | -109 | 14532.97 | 0.014533 | 10071 | 10125 | -54 | 7199.82 | 0.0071998
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1203 | 1288 | -85 | 85000 | 0.085 | 998462 | 998464 | -2 | 2000 | 0.002
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996972 | 997539 | -567 | 567000 | 0.567 | 2241 | 2241 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 9566 | 9860 | -294 | 47040 | 0.04704 | 26114 | 26128 | -14 | 2240 | 0.00224
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 4047 | 3912 | 135 | -27000 | -0.027 | 7633 | 7626 | 7 | -1400 | -0.0014
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985336 | 986117 | -781 | 781000 | 0.781 | 999247 | 999247 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 102264 | 102130 | 134 | -13400 | -0.0134 | 75517 | 75497 | 20 | -2000 | -0.002
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4358 | 4476 | -118 | 11800 | 0.0118 | 1182 | 1182 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 23324 | 25308 | -1984 | 198400 | 0.1984 | 70288 | 70288 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998671 | 998671 | 0 | 0 | 0 | 16650 | 16650 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 1249 | 1249 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 13 | 0 | 13 | 975 | 0.000975 | 0 | 0 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999500 | 999500 | 0 | 0 | 0 | 999226 | 999432 | -206 | 20600 | 0.0206
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 2834 | 2758 | 76 | -7600 | -0.0076 | 28769 | 28788 | -19 | 1900 | 0.0019
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 769 | 768 | 1 | -1333 | -0.001333 | 491 | 488 | 3 | -3999 | -0.003999
22 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 3179 | 3179 | 0 | 0 | 0 | 1592 | 1592 | 0 | 0 | 0
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 2008 | 2033 | -25 | 2500 | 0.0025 | 1486 | 1404 | 82 | -8200 | -0.0082
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
30 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999879 | 999909 | -30 | 12000 | 0.012 | 999486 | 999506 | -20 | 8000 | 0.008
RIDGE VALLEY (RAILWAY CKTS)
31 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -400 | 9984 | 8420 | 1564 | -625600 | -0.6256 | 5995 | 5995 | 0 | 0 | 0
REWARI LINE
32 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994557 | 995662 | -1105 | 1105000 | 1.105 | 2405 | 2405 | 0 | 0 | 0
33 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1711 | 1751 | -40 | 30000 | 0.03 | 3281 | 3283 | -2 | 1500 | 0.0015
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 2.1914 |  |  |  |  | 0.027841
FEBRUARY-2019
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -50.8198 |  |  |  |  | -0.69138
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 2.1914 |  |  |  |  | 0.027841
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.23589 |  |  |  |  | -0.0042
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0137 |  |  |  |  | -0.044
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -48.878 |  |  |  |  | -0.71174
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -48.878 | (REACTIVE MUs) |  |  |  | -0.71174 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -8.186 | (REACTIVE MUs) |  |  |  | -0.020546 | (REACTIVE MUs)
[9 empty] | TOTAL | -57.064 | (REACTIVE MUs) |  |  |  | -0.73229 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | FEBRUARY-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 1893 | 2014 | -121 | -32267.07 | -0.032267 | 2150 | 2150 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 101948 | 101772 | 176 | 17600 | 0.0176 | 152234 | 152234 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 990452 | 991149 | -697 | -139400 | -0.1394 | 999322 | 999322 | 0 | 0 | 0
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 91 | 0 | 91 | 91000 | 0.091 | 0 | 0 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 1145 | 1106 | 39 | 31200 | 0.0312 | 2558 | 2558 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3670 | 3593 | 77 | 61600 | 0.0616 | 1319 | 1309 | 10 | 8000 | 0.008
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 996717 | 997849 | -1132 | -905600 | -0.9056 | 999010 | 999015 | -5 | -4000 | -0.004
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 962798 | 963633 | -835 | -668000 | -0.668 | 981163 | 981200 | -37 | -29600 | -0.0296
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 968237 | 969486 | -1249 | -999200 | -0.9992 | 990086 | 990089 | -3 | -2400 | -0.0024
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 998357 | 998637 | -280 | -560000 | -0.56 | 999597 | 999597 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 974372 | 976049 | -1677 | -83850 | -0.08385 | 20629 | 20920 | -291 | -14550 | -0.01455
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 978733 | 980547 | -1814 | -136050 | -0.13605 | 23050 | 23203 | -153 | -11475 | -0.011475
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 998971 | 999055 | -84 | -42000 | -0.042 | 5516 | 5530 | -14 | -7000 | -0.007
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 997779 | 997918 | -139 | -52125 | -0.052125 | 7581 | 7608 | -27 | -10125 | -0.010125
15 | BAY-16 (N BWN) | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 994654 | 995592 | -938 | -93800 | -0.0938 | 777 | 1025 | -248 | -24800 | -0.0248
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 10206 | 10028 | 178 | 13350 | 0.01335 | 40231 | 40189 | 42 | 3150 | 0.00315
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 11902 | 11756 | 146 | 14600 | 0.0146 | 2098 | 2005 | 93 | 9300 | 0.0093
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996024 | 996072 | -48 | -48000 | -0.048 | 104778 | 104871 | -93 | -93000 | -0.093
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994767 | 994871 | -104 | -104000 | -0.104 | 2444 | 2544 | -100 | -100000 | -0.1
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985319 | 985352 | -33 | -33000 | -0.033 | 144885 | 144881 | 4 | 4000 | 0.004
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999483 | 999545 | -62 | -155000 | -0.155 | 789 | 829 | -40 | -100000 | -0.1
[10 empty] | -0.34 |  |  |  |  | -0.289
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996972 | 997539 | -567 | -567000 | -0.567 | 2241 | 2241 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 9566 | 9860 | -294 | -47040 | -0.04704 | 26114 | 26128 | -14 | -2240 | -0.00224
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 4047 | 3912 | 135 | 27000 | 0.027 | 7633 | 7626 | 7 | 1400 | 0.0014
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985336 | 986117 | -781 | -781000 | -0.781 | 999247 | 999247 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998671 | 998671 | 0 | 0 | 0 | 16650 | 16650 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
FEBRUARY-2019
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996771 | 996831 | -60 | 60000 | 0.06 | 990250 | 990250 | 0 | 0 | 0
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998184 | 998288 | -104 | 104000 | 0.104 | 995996 | 995996 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997472 | 997421 | 51 | -102000 | -0.102 | 996928 | 996928 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998968 | 998876 | 92 | -92000 | -0.092 | 996231 | 996231 | 0 | 0 | 0
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 1249 | 1249 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 13 | 0 | 13 | 975 | 0.000975 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
36 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 102264 | 102130 | 134 | 13400 | 0.0134 | 75517 | 75497 | 20 | 2000 | 0.002
37 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4358 | 4476 | -118 | -11800 | -0.0118 | 1182 | 1182 | 0 | 0 | 0
38 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 23324 | 25308 | -1984 | -198400 | -0.1984 | 70288 | 70288 | 0 | 0 | 0
TILAK MARG
39 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 100 | 22035 | 22146 | -111 | -11100 | -0.0111 | 4890 | 4890 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 422551 | 418831 | 3720 | -372000 | -0.372 | 84604 | 84604 | 0 | 0 | 0
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4903 | 5222 | -319 | 319000 | 0.319 | 1888 | 1888 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10812 | 10812 | 0 | 0 | 0 | 21988 | 21992 | -4 | 300 | 0.0003
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5305 | 5305 | 0 | 0 | 0 | 13962 | 13929 | 33 | -3300 | -0.0033
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -5.4809 |  |  |  |  | -0.37434
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -5.4809 |  |  |  |  | -0.37434
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.85438 |  |  |  |  | -0.0021444
| TOTAL ENERGY TO NDMC | [8 empty] | -6.3353 |  |  |  |  | -0.37648

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2019
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3760 | 3779 | -19 | -3800 | -0.0038 | 65326 | 65188 | 138 | 27600 | 0.0276
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 32 | 0 | 32 | 5120 | 0.00512 | 4677 | 4373 | 304 | 48640 | 0.04864
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4510 | 4474 | 36 | 36000 | 0.036 | 55702 | 55696 | 6 | 6000 | 0.006
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 156 | 161 | -5 | -2000 | -0.002 | 16752 | 16755 | -3 | -1200 | -0.0012
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 6 | 35 | -29 | -23200 | -0.0232 | 474 | 474 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 1491 | 1410 | 81 | 32400 | 0.0324 | 4693 | 4693 | 0 | 0 | 0
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1203 | 1288 | -85 | -85000 | -0.085 | 998462 | 998464 | -2 | -2000 | -0.002
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.04048 |  |  |  |  | 0.07904
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 66834 | 66728 | 106 | 10600 | 0.0106 | 102325 | 102278 | 47 | 4700 | 0.0047
11 | DEFENCE CLUB | 4902560 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 3 | 3 | 0 | 0 | 0 | 71 | 71 | 0 | 0 | 0
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 100 | 639 | 608 | 31 | 3100 | 0.0031 | 19218 | 18836 | 382 | 38200 | 0.0382
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 75 | 75 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 738 | 738 | 0 | 0 | 0 | 1678 | 1666 | 12 | 900 | 0.0009
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4366 | 4364 | 2 | 200 | 0.0002
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0137 |  |  |  |  | 0.044
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.04048 |  |  |  |  | 0.07904
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.02678 |  |  |  |  | 0.12304
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.02678 | (REACTIVE MUs) |  |  |  | 0.12304 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.15007 | (REACTIVE MUs) |  |  |  | -0.00037667 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.17685 | (REACTIVE MUs) |  |  |  | 0.12266 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2019
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 989969 | 990635 | -666 | -416250 | -0.41625 | 999990 | 999990 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 991083 | 991244 | -161 | -100625 | -0.10063 | 999844 | 999844 | 0 | 0 | 0
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 400 | 9984 | 8420 | 1564 | 625600 | 0.6256 | 5995 | 5995 | 0 | 0 | 0
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 8800 | 0 | 8800 | -8800 | -0.0088 | 13370 | 10570 | 2800 | -2800 | -0.0028 | W.e.f 15/1/2020
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 4150 | 2680 | 1470 | -1470 | -0.00147 | 42370 | 15990 | 26380 | -26380 | -0.02638 | W.e.f 15/1/2021
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 14300 | 8200 | 6100 | -6100 | -0.0061 | 116600 | 27200 | 89400 | -89400 | -0.0894 | W.e.f 15/1/2022
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.092355 |  |  |  |  | -0.11858
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.10128 |  |  |  |  | -0.00025421
TOTAL ENERGY TO Northern Railway | [9 empty] | -0.0089296 |  |  |  |  | -0.11883

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2019
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 961254 | 964111 | -2857 | -285700 | -0.2857 | 2033 | 2033 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 58888 | 59934 | -1046 | -104600 | -0.1046 | 6263 | 6263 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 15651 | 14926 | 725 | 362500 | 0.3625 | 3870 | 3870 | 0 | 0 | 0
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998233 | 998502 | -269 | -252187.5 | -0.25219 | 87 | 87 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -500 | 994304 | 994414 | -110 | 55000 | 0.055 | 999825 | 999825 | 0 | 0 | 0
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993596 | 993570 | 26 | -13000 | -0.013 | 999852 | 999852 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 224 | 7 | 2100 | 0.0021 | 22 | 36 | -14 | -4200 | -0.0042
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.23589 |  |  |  |  | -0.0042
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 974233 | 975720 | -1487 | -297400 | -0.2974 | 999796 | 999796 | 0 | 0 | 0
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 989035 | 989284 | -249 | -233437.5 | -0.23344 | 999929 | 999929 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.53084 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1719 | 1754 | -35 | -43750 | -0.04375 | 999934 | 999934 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 373629 | 371472 | 2157 | 215700 | 0.2157 | 179814 | 179814 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 322789 | 318663 | 4126 | 257875 | 0.25788 | 104173 | 104173 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 2241 | 2570 | -329 | -263200 | -0.2632 | 1733 | 1733 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 957788 | 958923 | -1135 | -113500 | -0.1135 | 999097 | 999097 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 994529 | 995969 | -1440 | -216000 | -0.216 | 990475 | 990474 | 1 | 150 | 0.00015
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997349 | 997375 | -26 | 65000 | 0.065 | 3054 | 3054 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 224 | 7 | -2100 | -0.0021 | 22 | 36 | -14 | 4200 | 0.0042
| TOTAL NDPL | [8 empty] | -0.099975 |  |  |  |  | 0.00435
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.23589 |  |  |  |  | -0.0042
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.53084 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.099975 |  |  |  |  | 0.00435

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2019
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 96561 | 95650 | 911 | 911000 | 0.911 | 24154 | 23828 | 326 | 326000 | 0.326
[5 empty] | 1000 | 87506 | 87407 | 99 | 99000 | 0.099
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 3952 | 3626 | 326 | 652000 | 0.652 | 999768 | 999657 | 111 | 222000 | 0.222
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 950120 | 953023 | -2903 | 1451500 | 1.4515 | 998674 | 998674 | 0 | 0 | 0
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 588651 | 593696 | -5045 | 504500 | 0.5045 | 997094 | 997094 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 3.618 |  | NET REACTIVE ENERGY |  |  | 0.548
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 3.618 |  |  |  |  | 0.548
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -13.756 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -9.4831 |  |  |  |  | -0.3091
[7 empty] | NDMC = |  |  | -0.34 |  |  |  |  | -0.289
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -23.5791 |  |  |  |  | -0.5981
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -19.9611 |  |  |  |  | -0.0501
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 32.943 | % |  |  | -6.5758 |  |  |  |  | -0.016504
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.01 | % |  |  | -8.186 |  |  |  |  | -0.020546
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 20.5076 | % |  |  | -4.0935 |  |  |  |  | -0.010274
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.2802 | % |  |  | -0.85438 |  |  |  |  | -0.0021444
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.75183 | % |  |  | -0.15007 |  |  |  |  | -0.00037667
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.50741 | % |  |  | -0.10128 |  |  |  |  | -0.00025421
Note :Sharing taken from wk-48 abt bill 2019-20

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st FEBRUARY-2020 TO 29th FEBRUARY-2020
FINAL EXECUTIVE SUMMERY
[5 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | -66.9473 |  | -0.38372
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | -57.064 |  | -0.73229
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | -36.3835 |  | -0.16273
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | -6.3353 |  | -0.37648
5 | NET REACTIVE ENERGY TO MES |  |  |  | -0.17685 | + | 0.12266
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | -0.0089296 |  | -0.11883
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2020 | INTIAL READING 01/03/2020 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83