## NDPL
DELHI TRANSCO LIMITED | [15 empty] | FEBUARY-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971974 | 971947 | 27 | -27000 | -0.027 | 999034 | 999034 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 67945 | 62241 | 5704 | -5704000 | -5.704 | 1628 | 1628 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 935317 | 935578 | -261 | 261000 | 0.261 | 995530 | 995530 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997452 | 997649 | -197 | 197000 | 0.197 | 996076 | 996076 | 0 | 0 | 0
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 879456 | 878745 | 711 | -711000 | -0.711 | 999454 | 999454 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28289 | 27574 | 715 | -715000 | -0.715 | 16306 | 16306 | 0 | 0 | 0
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3558 | 2916 | 642 | -642000 | -0.642 | 998306 | 998306 | 0 | 0 | 0
8 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1238 | 759 | 479 | -479000 | -0.479 | 999497 | 999510 | -13 | 13000 | 0.013
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 969273 | 969920 | -647 | 323500 | 0.3235 | 847860 | 847876 | -16 | 8000 | 0.008
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2727 | 2332 | 395 | -395000 | -0.395 | 998906 | 998906 | 0 | 0 | 0
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35324 | 31772 | 3552 | -3552000 | -3.552 | 999172 | 999172 | 0 | 0 | 0
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12507 | 10350 | 2157 | -2157000 | -2.157 | 997044 | 997044 | 0 | 0 | 0
13 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 848146 | 855725 | -7579 | -7579000 | -7.579 | 999981 | 999981 | 0 | 0 | 0
14 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 957750 | 960187 | -2437 | -2437000 | -2.437 | 999996 | 999996 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980445 | 979503 | 942 | -942000 | -0.942 | 16679 | 16679 | 0 | 0 | 0
15 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 11376 | 7591 | 3785 | -1892500 | -1.8925 | 0 | 0 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38167 | 36059 | 2108 | -2108000 | -2.108 | 264 | 264 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999943 | 999943 | 0 | 0 | 0 | 990924 | 990885 | 39 | 39000 | 0.039
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 646 | 649 | -3 | -3000 | -0.003 | 22736 | 22710 | 26 | 26000 | 0.026
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1346 | 1321 | 25 | 12500 | 0.0125 | 7573 | 7572 | 1 | 500 | 0.0005
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 148963 | 147350 | 1613 | 161300 | 0.1613 | 311012 | 311012 | 0 | 0 | 0
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995521 | 995620 | -99 | -99000 | -0.099 | 984589 | 984591 | -2 | -2000 | -0.002
22 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3 | 9 | -6 | -6000 | -0.006 | 999072 | 999066 | 6 | 6000 | 0.006
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 49512 | 50465 | -953 | -95300 | -0.0953 | 121239 | 121239 | 0 | 0 | 0
KASHMIRI GATE
24 | 221 kV DMRC #1 | 5128477 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983272 | 985027 | -1755 | -1755000 | -1.755 | 999816 | 999816 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 565389 | 571330 | -5941 | -5941000 | -5.941 | 829222 | 829222 | 0 | 0 | 0
26 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 998551 | 999142 | -591 | -157601.97 | -0.1576 | 999999 | 999999 | 0 | 0 | 0
27 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 508 | 251 | 257 | 128500 | 0.1285 | 0 | 0 | 0 | 0 | 0
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18056 | 14428 | 3628 | -3628000 | -3.628 | 996962 | 996962 | 0 | 0 | 0
29 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 84763 | 84232 | 531 | -265500 | -0.2655 | 14971 | 14971 | 0 | 0 | 0
[5 empty] | -500 | 69766 | 66755 | 3011 | -1505500 | -1.5055
[5 empty] | -500 | 64688 | 62940 | 1748 | -874000 | -0.874
[5 empty] | -500 | 61656 | 58204 | 3452 | -1726000 | -1.726
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10399 | 9401 | 998 | -998000 | -0.998 | 999970 | 999970 | 0 | 0 | 0
DSIDC BAWANA
32 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 40426 | 37291 | 3135 | -6270000 | -6.27 | 96 | 96 | 0 | 0 | 0
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 56275 | 53805 | 2470 | -2470000 | -2.47 | 998776 | 998776 | 0 | 0 | 0
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 107498 | 102775 | 4723 | -4723000 | -4.723 | 2426 | 2426 | 0 | 0 | 0
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31762 | 28920 | 2842 | -2842000 | -2.842 | 999268 | 999268 | 0 | 0 | 0
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22623 | 19509 | 3114 | -3114000 | -3.114 | 916 | 916 | 0 | 0 | 0
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999415 | 999329 | 86 | -86000 | -0.086 | 998710 | 998710 | 0 | 0 | 0
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27243 | 25243 | 2000 | -2000000 | -2 | 1576 | 1576 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1147 | 1357 | -210 | -210000 | -0.21 | 28615 | 28619 | -4 | -4000 | -0.004
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 53983 | 53983 | 0 | 0 | 0 | 26360 | 26360 | 0 | 0 | 0
| NDPL(+) continue | [14 empty] | FEBUARY-2019
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1201 | 1238 | -37 | -37000 | -0.037 | 61277 | 61277 | 0 | 0 | 0
VISHAL
42 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999353 | 999575 | -222 | -22200 | -0.0222 | 999554 | 999596 | -42 | -4200 | -0.0042
44 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 2453 | 2195 | 258 | 25800 | 0.0258 | 27011 | 26975 | 36 | 3600 | 0.0036
S.B.MILL
45 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 488 | 472 | 16 | 21328 | 0.021328 | 371 | 370 | 1 | 1333 | 0.001333
46 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 2801 | 2801 | 0 | 0 | 0 | 1515 | 1515 | 0 | 0 | 0
47 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
48 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
49 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 951 | 625 | 326 | 32600 | 0.0326 | 30320 | 30293 | 27 | 2700 | 0.0027
51 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989588 | 989588 | 0 | 0 | 0 | 297 | 297 | 0 | 0 | 0
B.G.ROAD
52 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1414 | -2 | -333.32 | -0.00033332 | 6954 | 6928 | 26 | 4333.16 | 0.0043332
53 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999865 | 999877 | -12 | -6000 | -0.006 | 1181 | 1186 | -5 | -2500 | -0.0025
54 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 1894 | 1896 | -2 | -1333.34 | -0.0013333 | 162 | 161 | 1 | 666.67 | 0.00066667
55 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 4807 | 4788 | 19 | 12666.6667 | 0.012667 | 1469 | 1467 | 2 | 1333.3333 | 0.0013333
D.M.S.
56 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997360 | 997457 | -97 | -9700 | -0.0097 | 3788 | 3771 | 17 | 1700 | 0.0017
57 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
58 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
59 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 5803 | 5989 | -186 | -18600 | -0.0186 | 11069 | 11037 | 32 | 3200 | 0.0032
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 5373 | 5322 | 51 | 5100 | 0.0051 | 468 | 469 | -1 | -100 | -0.0001
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 25590 | 25486 | 104 | 10400 | 0.0104 | 6403 | 6397 | 6 | 600 | 0.0006
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 40857 | 39259 | 1598 | 159800 | 0.1598 | 1823 | 1823 | 0 | 0 | 0
64 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 26261 | 26267 | -6 | -600 | -0.0006 | 51566 | 51565 | 1 | 100 | 0.0001
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 305 | 305 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 81 | 81 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999985 | 999985 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 987283 | 989339 | -2056 | -1644800 | -1.6448 | 999916 | 999916 | 0 | 0 | 0
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 998687 | 998942 | -255 | -510000 | -0.51 | 1079 | 1079 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 100 | 988723 | 992351 | -3628 | -362800 | -0.3628 | 250 | 250 | 0 | 0 | 0
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 999981 | 1000360 | -379 | -94750 | -0.09475 | 255 | 255 | 0 | 0 | 0
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999895 | 1000335 | -440 | -440000 | -0.44 | 1743 | 1743 | 0 | 0 | 0
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1130 | 961 | 169 | 126750 | 0.12675 | 2684 | 2684 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -69.7793 |  |  |  |  | 0.099266
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | FEBUARY-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 12462 | 12342 | 120 | -12000 | -0.012 | 104848 | 104762 | 86 | -8600 | -0.0086
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -800 | 177 | 124 | 53 | -42400 | -0.0424 | 9043 | 9040 | 3 | -2400 | -0.0024
SUBZI MANDI
3 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2311 | 2001 | 310 | -310000 | -0.31 | 606 | 606 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | -400 | 4726 | 4875 | -149 | 59600 | 0.0596 | 486 | 486 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998856 | 998991 | -135 | 25312.5 | 0.025313 | 999934 | 999934 | 0 | 0 | 0
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 952748 | 957483 | -4735 | 3788000 | 3.788 | 998693 | 998693 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 995569 | 995712 | -143 | 89375 | 0.089375 | 999990 | 999990 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 997584 | 998571 | -987 | 616875 | 0.61687 | 999883 | 999883 | 0 | 0 | 0
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 999685 | 999661 | 24 | -4800 | -0.0048 | 11233 | 11230 | 3 | -600 | -0.0006
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997533 | 997805 | -272 | 51000 | 0.051 | 5075 | 5070 | 5 | -937.5 | -0.0009375
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998719 | 998719 | 0 | 0 | 0 | 3614 | 3614 | 0 | 0 | 0
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 1072 | 1000 | 72 | -18000 | -0.018 | 5385 | 5385 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 999130 | 999378 | -248 | 24800 | 0.0248 | 16959 | 16947 | 12 | -1200 | -0.0012
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 4.2678 |  |  |  |  | -0.013737
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -69.7793 |  |  |  |  | 0.099266
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 4.2678 |  |  |  |  | -0.013737
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.58075 |  |  |  |  | 0.086563
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -64.9308 |  |  |  |  | 0.17209
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -64.9308 | (REACTIVE MUs) |  |  |  | 0.17209 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.088971 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -64.8418 | (REACTIVE MUs) |  |  |  | 0.17209 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | FEBUARY-2019
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 17637 | 15340 | 2297 | 229700 | 0.2297 | 993440 | 993438 | 2 | 200 | 0.0002
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 9798 | 10271 | -473 | -141900 | -0.1419 | 3969 | 3972 | -3 | -900 | -0.0009
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 38924 | 36903 | 2021 | 151575 | 0.15157 | 344037 | 343995 | 42 | 3150 | 0.00315
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 996237 | 996325 | -88 | -26400 | -0.0264 | 5954 | 5954 | 0 | 0 | 0
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1749 | 1847 | -98 | -130663.4 | -0.13066 | 3586 | 3587 | -1 | -1333.3 | -0.0013333
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 48096 | 48666 | -570 | -57000 | -0.057 | 155819 | 155819 | 0 | 0 | 0
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 29555 | 25049 | 4506 | 337950 | 0.33795 | 40915 | 40915 | 0 | 0 | 0
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983607 | 983911 | -304 | -304000 | -0.304 | 2295 | 2295 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 997180 | 997960 | -780 | -390000 | -0.39 | 564 | 564 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998610 | 998901 | -291 | -291000 | -0.291 | 1522 | 1522 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991597 | 991985 | -388 | -388000 | -0.388 | 1473 | 1473 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993520 | 993592 | -72 | -72000 | -0.072 | 6231 | 6231 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994945 | 995172 | -227 | -227000 | -0.227 | 998569 | 998570 | -1 | -1000 | -0.001
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) |  | 998355 | 998603 | -248 | 0 | 0 | 999900 | 999900 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 997028 | 997329 | -301 | -240800 | -0.2408 | 4977 | 4977 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999878 | 1000073 | -195 | -195000 | -0.195 | 33439 | 33439 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1672 | 1737 | -65 | -65000 | -0.065 | 9743 | 9743 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1760 | 2022 | -262 | -262000 | -0.262 | 17363 | 17363 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 975054 | 976172 | -1118 | -1397500 | -1.3975 | 951762 | 951762 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 992906 | 994801 | -1895 | -2084500 | -2.0845 | 938557 | 938557 | 0 | 0 | 0
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 959110 | 959725 | -615 | -615000 | -0.615 | 7609 | 7609 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -4.097 |  |  |  |  | 0
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994245 | 995473 | -1228 | 1228000 | 1.228 | 999999 | 999999 | 0 | 0 | 0
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984708 | 985622 | -914 | 914000 | 0.914 | 999906 | 999906 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 305 | 305 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999830 | 999839 | -9 | -9000 | -0.009 | 9496 | 9508 | -12 | -12000 | -0.012
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 95787 | 89297 | 6490 | -6490000 | -6.49 | 835 | 835 | 0 | 0 | 0
[5 empty] | -1000 | 88350 | 88084 | 266 | -266000 | -0.266
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26105 | 24550 | 1555 | -1555000 | -1.555 | 999049 | 999054 | -5 | 5000 | 0.005
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999418 | 999581 | -163 | 163000 | 0.163 | 999999 | 999999 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995775 | 995383 | 392 | -392000 | -0.392 | 998352 | 998352 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993259 | 987684 | 5575 | -5575000 | -5.575 | 985887 | 985887 | 0 | 0 | 0
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13818 | 12833 | 985 | -985000 | -0.985 | 289 | 289 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 10796 | 8814 | 1982 | -3964000 | -3.964 | 30 | 30 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2311 | 2001 | 310 | 310000 | 0.31 | 606 | 606 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | 400 | 4726 | 4875 | -149 | -59600 | -0.0596 | 486 | 486 | 0 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 997078 | 997530 | -452 | -60116 | -0.060116 | 13591 | 13593 | -2 | -266 | -0.000266
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976285 | 976595 | -310 | 310000 | 0.31 | 990186 | 990186 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989268 | 989627 | -359 | 359000 | 0.359 | 999928 | 999928 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -22.2403 |  |  |  |  | -0.0071493
| (A) NET ENERGY TO CENTRAL | [8 empty] | -22.2403 |  |  |  |  | -0.0071493
FEBUARY-2019
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994337 | 994775 | -438 | 438000 | 0.438 | 998769 | 998769 | 0 | 0 | 0
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989996 | 989885 | 111 | -111000 | -0.111 | 965178 | 965178 | 0 | 0 | 0
3 | Tx.3 | 5128440 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997880 | 998946 | -1066 | 1066000 | 1.066 | 999999 | 999999 | 0 | 0 | 0 | Check Meter Data
|  | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999669 | 1000000 | -331 | 331000 | 0.331 | 999999 | 1000000 | -1 | 1000 | 0.001 | w.e.f 15/2/19
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997453 | 999102 | -1649 | 1649000 | 1.649 | 999999 | 999999 | 0 | 0 | 0
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14168 | 11933 | 2235 | -2235000 | -2.235 | 998809 | 998809 | 0 | 0 | 0
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999630 | 997263 | 2367 | -2367000 | -2.367 | 997784 | 997784 | 0 | 0 | 0
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7192 | 7192 | 0 | 0 | 0 | 999511 | 999511 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5526 | 4678 | 848 | -848000 | -0.848 | 937188 | 937188 | 0 | 0 | 0
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 956613 | 957143 | -530 | 530000 | 0.53 | 989486 | 989486 | 0 | 0 | 0
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966212 | 967541 | -1329 | 1329000 | 1.329 | 989820 | 989820 | 0 | 0 | 0
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 957521 | 958018 | -497 | 497000 | 0.497 | 827844 | 827844 | 0 | 0 | 0
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34245 | 31743 | 2502 | -2502000 | -2.502 | 33503 | 33503 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26629 | 24438 | 2191 | -2191000 | -2.191 | 136 | 136 | 0 | 0 | 0
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5557 | 1612 | 3945 | -3945000 | -3.945 | 919565 | 919565 | 0 | 0 | 0
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -8.359 |  |  |  |  | 0.001
| (B) NET ENERGY TO EAST | [8 empty] | -8.359 |  |  |  |  | 0.001
FEBUARY-2019
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 998551 | 999142 | -591 | 157601.97 | 0.1576 | 999999 | 999999 | 0 | 0 | 0
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 508 | 251 | 257 | -128500 | -0.1285 | 0 | 0 | 0 | 0 | 0 | w.e.f 01/01/19
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 3254 | 3494 | -240 | 63998.4 | 0.063998 | 2196 | 2196 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 89389 | 88350 | 1039 | -103900 | -0.1039 | 149421 | 149421 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 995220 | 996459 | -1239 | 247800 | 0.2478 | 998999 | 998999 | 0 | 0 | 0
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 59735 | 58015 | 1720 | -344000 | -0.344 | 124666 | 124666 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 293 | 48 | 245 | -196000 | -0.196 | 24 | 3 | 21 | -16800 | -0.0168 | w.e.f 25/1/19
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3084 | 3101 | -17 | 13600 | 0.0136 | 705 | 705 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 965993 | 967249 | -1256 | 1004800 | 1.0048 | 985959 | 985959 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 967218 | 968186 | -968 | 774400 | 0.7744 | 986530 | 986530 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 975137 | 976942 | -1805 | 1444000 | 1.444 | 992674 | 992674 | 0 | 0 | 0
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 968482 | 969462 | -980 | 784000 | 0.784 | 994421 | 994421 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998458 | 999262 | -804 | 1608000 | 1.608 | 999999 | 999999 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1147 | 1357 | -210 | 210000 | 0.21 | 28615 | 28619 | -4 | 4000 | 0.004
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 53983 | 53983 | 0 | 0 | 0 | 26360 | 26360 | 0 | 0 | 0
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1201 | 1238 | -37 | 37000 | 0.037 | 61277 | 61277 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1414 | -2 | 333.32 | 0.00033332 | 6954 | 6928 | 26 | -4333.16 | -0.0043332
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999865 | 999877 | -12 | 6000 | 0.006 | 1181 | 1186 | -5 | 2500 | 0.0025
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 1894 | 1896 | -2 | 1333.34 | 0.0013333 | 162 | 161 | 1 | -666.67 | -0.00066667
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 4807 | 4788 | 19 | -12666.6667 | -0.012667 | 1469 | 1467 | 2 | -1333.3333 | -0.0013333
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 40857 | 39259 | 1598 | -159800 | -0.1598 | 1823 | 1823 | 0 | 0 | 0
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 26261 | 26267 | -6 | 600 | 0.0006 | 51566 | 51565 | 1 | -100 | -0.0001
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997360 | 997457 | -97 | 9700 | 0.0097 | 3788 | 3771 | 17 | -1700 | -0.0017
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
28 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 5803 | 5989 | -186 | 18600 | 0.0186 | 11069 | 11037 | 32 | -3200 | -0.0032
29 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 5373 | 5322 | 51 | -5100 | -0.0051 | 468 | 469 | -1 | 100 | 0.0001
30 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 25590 | 25486 | 104 | -10400 | -0.0104 | 6403 | 6397 | 6 | -600 | -0.0006
[10 empty] | 5.4214 |  |  |  |  | -0.022133
FEBUARY-2019
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -22.2403 |  |  |  |  | -0.0071493
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 5.4214 |  |  |  |  | -0.022133
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.58219 |  |  |  |  | -0.0034
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -17.401 |  |  |  |  | -0.032682
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -8.359 |  |  |  |  | 0.001
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -25.76 |  |  |  |  | -0.031682
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -25.76 | (REACTIVE MUs) |  |  |  | -0.031682 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.058543 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -25.7015 | (REACTIVE MUs) |  |  |  | -0.031682 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | FEBUARY-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999378 | 999388 | -10 | -50000 | -0.05 | 998902 | 998902 | 0 | 0 | 0
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 982216 | 982818 | -602 | -802664.66 | -0.80266 | 670302 | 670302 | 0 | 0 | 0
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 997982 | 998655 | -673 | -134600 | -0.1346 | 2700 | 2690 | 10 | 2000 | 0.002
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999861 | 999952 | -91 | -121333.03 | -0.12133 | 999631 | 999631 | 0 | 0 | 0
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 18869 | 18846 | 23 | 2300 | 0.0023 | 22638 | 22638 | 0 | 0 | 0
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 685213 | 688675 | -3462 | -259650 | -0.25965 | 980886 | 980886 | 0 | 0 | 0
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 993919 | 995028 | -1109 | -83175 | -0.083175 | 18322 | 18322 | 0 | 0 | 0
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 996635 | 996817 | -182 | -163800 | -0.1638 | 995140 | 995142 | -2 | -1800 | -0.0018
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 3358 | 3358 | 0 | 0 | 0 | 265638 | 265638 | 0 | 0 | 0
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7278 | 6699 | 579 | -579000 | -0.579 | 997138 | 997138 | 0 | 0 | 0
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 124 | 164 | -40 | 80000 | 0.08 | 998585 | 998587 | -2 | 4000 | 0.004
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12545 | 11623 | 922 | -922000 | -0.922 | 997882 | 997882 | 0 | 0 | 0
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972888 | 970521 | 2367 | -2367000 | -2.367 | 992136 | 992142 | -6 | 6000 | 0.006
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 42951 | 42000 | 951 | -951000 | -0.951 | 996615 | 996615 | 0 | 0 | 0
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 46502 | 39849 | 6653 | -3326500 | -3.3265 | 21219 | 21219 | 0 | 0 | 0
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 9442 | 9064 | 378 | -756000 | -0.756 | 997380 | 997380 | 0 | 0 | 0
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2431 | 863 | 1568 | -1568000 | -1.568 | 845956 | 845956 | 0 | 0 | 0
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 28854 | 21971 | 6883 | -5506400 | -5.5064 | 998996 | 998996 | 0 | 0 | 0
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4041 | 2592 | 1449 | -1449000 | -1.449 | 963195 | 963207 | -12 | 12000 | 0.012
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997421 | 997780 | -359 | 359000 | 0.359 | 995907 | 995978 | -71 | 71000 | 0.071
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975211 | 974849 | 362 | -362000 | -0.362 | 987160 | 987165 | -5 | 5000 | 0.005
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 457 | 472 | -15 | 15000 | 0.015 | 998235 | 998436 | -201 | 201000 | 0.201
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1144 | 955 | 189 | -189000 | -0.189 | 999999 | 999999 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 81 | 8 | 73 | -73000 | -0.073 | 0 | 0 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43202 | 42964 | 238 | -238000 | -0.238 | 999999 | 999999 | 0 | 0 | 0
[5 empty] | -1000 | 42204 | 40694 | 1510 | -1510000 | -1.51
[5 empty] | -1000 | 39777 | 38233 | 1544 | -1544000 | -1.544
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 4668 | 4133 | 535 | -1783331.55 | -1.7833 | 0 | 0 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 800 | 177 | 124 | 53 | 42400 | 0.0424 | 9043 | 9040 | 3 | 2400 | 0.0024
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976987 | 977191 | -204 | 204000 | 0.204 | 968992 | 968992 | 0 | 0 | 0
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991515 | 991515 | 0 | 0 | 0 | 985938 | 985938 | 0 | 0 | 0
| Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986180 | 985845 | 335 | -335000 | -0.335 | 985012 | 985012 | 0 | 0 | 0
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 3441 | 2858 | 583 | -466400 | -0.4664 | 0 | 0 | 0 | 0 | 0
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 2237 | 1939 | 298 | -476800 | -0.4768 | 0 | 0 | 0 | 0 | 0
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996356 | 996356 | 0 | 0 | 0 | 995335 | 995335 | 0 | 0 | 0
36 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 9021 | 6362 | 2659 | -1329500 | -1.3295 | 999811 | 999866 | -55 | 27500 | 0.0275
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17195 | 15620 | 1575 | -1575000 | -1.575 | 33167 | 33167 | 0 | 0 | 0
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998219 | 997433 | 786 | -786000 | -0.786 | 996213 | 996213 | 0 | 0 | 0
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999351 | 998858 | 493 | -493000 | -0.493 | 999745 | 999745 | 0 | 0 | 0
BRPL(+) continue | [14 empty] | FEBUARY-2019
VASANT KUNJ
40 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26441 | 22423 | 4018 | -4018000 | -4.018 | 999885 | 999885 | 0 | 0 | 0
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5725 | 5107 | 618 | -618000 | -0.618 | 999899 | 999904 | -5 | 5000 | 0.005
42 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52926 | 52926 | 0 | 0 | 0 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
43 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8816 | 7444 | 1372 | -1372000 | -1.372 | 999354 | 999354 | 0 | 0 | 0
44 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996790 | 995827 | 963 | -963000 | -0.963 | 926348 | 926348 | 0 | 0 | 0
45 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10454 | 8955 | 1499 | -1499000 | -1.499 | 9398 | 9398 | 0 | 0 | 0
46 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2621 | 2202 | 419 | -838000 | -0.838 | 996534 | 996534 | 0 | 0 | 0
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30346 | 25570 | 4776 | -4776000 | -4.776 | 997817 | 997817 | 0 | 0 | 0
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 10496 | 8620 | 1876 | -3752000 | -3.752 | 999440 | 999440 | 0 | 0 | 0
DIAL
49 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7605 | 7616 | -11 | 22000 | 0.022 | 2310 | 2310 | 0 | 0 | 0
50 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4822 | 4518 | 304 | -608000 | -0.608 | 1277 | 1276 | 1 | -2000 | -0.002
MASJID MOD
51 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 918847 | 918327 | 520 | -520000 | -0.52 | 981009 | 981009 | 0 | 0 | 0
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1388 | 876 | 512 | -512000 | -0.512 | 996478 | 996478 | 0 | 0 | 0
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 731 | 701 | 30 | -30000 | -0.03 | 989282 | 989282 | 0 | 0 | 0
MUNDKA
54 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 992246 | 993014 | -768 | -614400 | -0.6144 | 414 | 414 | 0 | 0 | 0
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 973479 | 974859 | -1380 | -1104000 | -1.104 | 999839 | 999839 | 0 | 0 | 0
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
58 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1181 | 1333 | -152 | -121600 | -0.1216 | 999817 | 999817 | 0 | 0 | 0
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 998304 | 998489 | -185 | -148000 | -0.148 | 999991 | 999991 | 0 | 0 | 0
PARK STREET
60 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 998458 | 999262 | -804 | -1608000 | -1.608 | 999999 | 999999 | 0 | 0 | 0 | w.e.f 02/01/2019
61 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30948 | 25001 | 5947 | -5947000 | -5.947 | 684 | 684 | 0 | 0 | 0
63 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53751 | 48285 | 5466 | -5466000 | -5.466 | 168 | 168 | 0 | 0 | 0
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 71887 | 66905 | 4982 | -4982000 | -4.982 | 503 | 503 | 0 | 0 | 0
NARAINA
65 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 12462 | 12342 | 120 | 12000 | 0.012 | 104848 | 104762 | 86 | 8600 | 0.0086
66 | SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998856 | 998991 | -135 | -25312.5 | -0.025313 | 999934 | 999934 | 0 | 0 | 0
68 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 4227 | 5074 | -847 | -338800 | -0.3388 | 993802 | 993802 | 0 | 0 | 0
69 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 994659 | 995213 | -554 | -221600 | -0.2216 | 70253 | 70253 | 0 | 0 | 0
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 952748 | 957483 | -4735 | -3788000 | -3.788 | 998693 | 998693 | 0 | 0 | 0
Trauma Centre
70 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 381253 | 375573 | 5680 | 568000 | 0.568 | 2041 | 2041 | 0 | 0 | 0
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4867 | 4875 | -8 | -8000 | -0.008 | 1922 | 1922 | 0 | 0 | 0
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10739 | 10616 | 123 | 9225 | 0.009225 | 17598 | 17598 | 0 | 0 | 0
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5259 | 5164 | 95 | 9500 | 0.0095 | 9897 | 9896 | 1 | 100 | 0.0001
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 6314 | 6519 | -205 | -102500 | -0.1025 | 2822 | 2822 | 0 | 0 | 0
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2738 | 3363 | -625 | -625000 | -0.625 | 4095 | 4095 | 0 | 0 | 0
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992982 | 993224 | -242 | -242000 | -0.242 | 1160 | 1160 | 0 | 0 | 0
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4585 | 4584 | 1 | 1000 | 0.001 | 6516 | 6516 | 0 | 0 | 0
78 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 5536 | 5612 | -76 | -12160 | -0.01216 | 99701 | 99701 | 0 | 0 | 0
79 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 179274 | 178583 | 691 | 69100 | 0.0691 | 45852 | 45852 | 0 | 0 | 0
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2290 | 2050 | 240 | 240000 | 0.24 | 337 | 337 | 0 | 0 | 0
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3416 | 3473 | -57 | -57000 | -0.057 | 6439 | 6439 | 0 | 0 | 0
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 999685 | 999661 | 24 | 4800 | 0.0048 | 11233 | 11230 | 3 | 600 | 0.0006
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997533 | 997805 | -272 | -51000 | -0.051 | 5075 | 5070 | 5 | 937.5 | 0.0009375
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998719 | 998719 | 0 | 0 | 0 | 3614 | 3614 | 0 | 0 | 0
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 1072 | 1000 | 72 | 18000 | 0.018 | 5385 | 5385 | 0 | 0 | 0
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 999130 | 999378 | -248 | -24800 | -0.0248 | 16959 | 16947 | 12 | 1200 | 0.0012
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -73.538 |  |  |  |  | 0.34354
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | FEBUARY-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -100 | 18750 | 17876 | 874 | -87400 | -0.0874 | 277 | 277 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 997078 | 997530 | -452 | 60265.16 | 0.060265 | 13591 | 13593 | -2 | 266.66 | 0.00026666
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994435 | 994708 | -273 | 54600 | 0.0546 | 4096 | 4096 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1594 | 1392 | 202 | -202000 | -0.202 | 998682 | 998682 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998467 | 998887 | -420 | 420000 | 0.42 | 1869 | 1869 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 9064 | 8838 | 226 | -36160 | -0.03616 | 10782 | 10782 | 0 | 0 | 0
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 2609 | 2389 | 220 | -44000 | -0.044 | 2840 | 2839 | 1 | -200 | -0.0002
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990982 | 991700 | -718 | 718000 | 0.718 | 999555 | 999555 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 101047 | 101106 | -59 | 5900 | 0.0059 | 74169 | 74169 | 0 | 0 | 0
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 1614 | 1323 | 291 | -29100 | -0.0291 | 3 | 2 | 1 | -100 | -0.0001
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 25965 | 26833 | -868 | 86800 | 0.0868 | 62222 | 62222 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998802 | 999028 | -226 | -113000 | -0.113 | 16662 | 16662 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 446445 | 445593 | 852 | -85200 | -0.0852 | 48308 | 46706 | 1602 | -160200 | -0.1602
EXHIBITION I
17 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999353 | 999575 | -222 | 22200 | 0.0222 | 999554 | 999596 | -42 | 4200 | 0.0042
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 2453 | 2195 | 258 | -25800 | -0.0258 | 27011 | 26975 | 36 | -3600 | -0.0036
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 488 | 472 | 16 | -21328 | -0.021328 | 371 | 370 | 1 | -1333 | -0.001333
22 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 2801 | 2801 | 0 | 0 | 0 | 1515 | 1515 | 0 | 0 | 0
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 951 | 625 | 326 | -32600 | -0.0326 | 30320 | 30293 | 27 | -2700 | -0.0027
27 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989588 | 989588 | 0 | 0 | 0 | 297 | 297 | 0 | 0 | 0
28 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 81 | 81 | 0 | 0 | 0
30 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999985 | 999985 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
31 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -400 | 996166 | 996801 | -635 | 254000 | 0.254 | 999896 | 999896 | 0 | 0 | 0
REWARI LINE
32 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999895 | 1000335 | -440 | 440000 | 0.44 | 1743 | 1743 | 0 | 0 | 0
33 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1130 | 961 | 169 | -126750 | -0.12675 | 2684 | 2684 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 1.2584 |  |  |  |  | -0.16367
FEBUARY-2019
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -73.538 |  |  |  |  | 0.34354
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 1.2584 |  |  |  |  | -0.16367
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.034725 |  |  |  |  | -0.002
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | 0.0116 |  |  |  |  | -0.16728
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -72.2332 |  |  |  |  | 0.010596
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -72.2332 | (REACTIVE MUs) |  |  |  | 0.010596 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.10967 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -72.1236 | (REACTIVE MUs) |  |  |  | 0.010596 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | FEBUARY-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3254 | 3494 | -240 | -64000.8 | -0.064001 | 2196 | 2196 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 89389 | 88350 | 1039 | 103900 | 0.1039 | 149421 | 149421 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 995220 | 996459 | -1239 | -247800 | -0.2478 | 998999 | 998999 | 0 | 0 | 0
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 59735 | 58015 | 1720 | 344000 | 0.344 | 124666 | 124666 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 293 | 48 | 245 | 196000 | 0.196 | 24 | 3 | 21 | 16800 | 0.0168
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3084 | 3101 | -17 | -13600 | -0.0136 | 705 | 705 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 965993 | 967249 | -1256 | -1004800 | -1.0048 | 985959 | 985959 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 967218 | 968186 | -968 | -774400 | -0.7744 | 986530 | 986530 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 975137 | 976942 | -1805 | -1444000 | -1.444 | 992674 | 992674 | 0 | 0 | 0
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 968482 | 969462 | -980 | -784000 | -0.784 | 994421 | 994421 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 990108 | 991414 | -1306 | -65300 | -0.0653 | 19246 | 19250 | -4 | -200 | -0.0002
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 982344 | 983649 | -1305 | -97875 | -0.097875 | 22786 | 22786 | 0 | 0 | 0
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 999721 | 999897 | -176 | -88000 | -0.088 | 5204 | 5204 | 0 | 0 | 0
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 999222 | 999268 | -46 | -17250 | -0.01725 | 7710 | 7710 | 0 | 0 | 0
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 983610 | 984463 | -853 | -85300 | -0.0853 | 340330 | 340335 | -5 | -500 | -0.0005
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 4297 | 3767 | 530 | 39750 | 0.03975 | 36244 | 36236 | 8 | 600 | 0.0006
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 7065 | 6538 | 527 | 52700 | 0.0527 | 1306 | 1306 | 0 | 0 | 0
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997051 | 997520 | -469 | -469000 | -0.469 | 102136 | 102136 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996800 | 997496 | -696 | -696000 | -0.696 | 15 | 15 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986243 | 986939 | -696 | -696000 | -0.696 | 143913 | 143913 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4972 | 5263 | -291 | -291000 | -0.291 | 59503 | 59503 | 0 | 0 | 0
[10 empty] | -2.152 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998467 | 998887 | -420 | -420000 | -0.42 | 1869 | 1869 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 9064 | 8838 | 226 | 36160 | 0.03616 | 10782 | 10782 | 0 | 0 | 0
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 2609 | 2389 | 220 | 44000 | 0.044 | 2840 | 2839 | 1 | 200 | 0.0002
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990982 | 991700 | -718 | -718000 | -0.718 | 999555 | 999555 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998802 | 999028 | -226 | 113000 | 0.113 | 16662 | 16662 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
FEBUARY-2019
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999559 | 1000144 | -585 | 585000 | 0.585 | 994496 | 994496 | 0 | 0 | 0
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -500 | 960947 | 962094 | -1147 | 573500 | 0.5735 | 986905 | 986905 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997889 | 998009 | -120 | 240000 | 0.24 | 998656 | 998656 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999805 | 1000066 | -261 | 261000 | 0.261 | 0 | 0 | 0 | 0 | 0
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 446445 | 445593 | 852 | 85200 | 0.0852 | 48308 | 46706 | 1602 | 160200 | 0.1602
EXHIBITION I
35 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
36 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 101047 | 101106 | -59 | -5900 | -0.0059 | 74169 | 74169 | 0 | 0 | 0
37 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 1614 | 1323 | 291 | 29100 | 0.0291 | 3 | 2 | 1 | 100 | 0.0001
38 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 25965 | 26833 | -868 | -86800 | -0.0868 | 62222 | 62222 | 0 | 0 | 0
TILAK MARG
39 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 100 | 18750 | 17876 | 874 | 87400 | 0.0874 | 277 | 277 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 381253 | 375573 | 5680 | -568000 | -0.568 | 2041 | 2041 | 0 | 0 | 0
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4867 | 4875 | -8 | 8000 | 0.008 | 1922 | 1922 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10739 | 10616 | 123 | -9225 | -0.009225 | 17598 | 17598 | 0 | 0 | 0
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5259 | 5164 | 95 | -9500 | -0.0095 | 9897 | 9896 | 1 | -100 | -0.0001
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -5.857 |  |  |  |  | 0.1771
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -5.857 |  |  |  |  | 0.1771
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.012272 |  |  |  |  | 0
| TOTAL ENERGY TO NDMC | [8 empty] | -5.8448 |  |  |  |  | 0.1771

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBUARY-2019
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3764 | 3704 | 60 | 12000 | 0.012 | 33723 | 33402 | 321 | 64200 | 0.0642
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1728 | 1728 | 0 | 0 | 0 | 42414 | 42414 | 0 | 0 | 0
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4466 | 4463 | 3 | 3000 | 0.003 | 52487 | 52487 | 0 | 0 | 0
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 162 | 158 | 4 | 1600 | 0.0016 | 13147 | 13107 | 40 | 16000 | 0.016
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 195 | 58 | 137 | 109600 | 0.1096 | 366 | 366 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 398 | 390 | 8 | 3200 | 0.0032 | 2628 | 2628 | 0 | 0 | 0
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994435 | 994708 | -273 | -54600 | -0.0546 | 4096 | 4096 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1594 | 1392 | 202 | 202000 | 0.202 | 998682 | 998682 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.2768 |  |  |  |  | 0.0802
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 63991 | 64117 | -126 | -12600 | -0.0126 | 95729 | 95752 | -23 | -2300 | -0.0023
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78249 | 78249 | 0 | 0 | 0 | 18291 | 18269 | 22 | 2200 | 0.0022
12 | SUBROTO PARK | 5295189 | ELSTER | Kvarh(Lead/Lag) | 75 | 42321 | 42321 | 0 | 0 | 0 | 135978 | 133893 | 2085 | 156375 | 0.15637 | Check Meter Data
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6 | 5 | 1 | 1000 | 0.001 | 40 | 29 | 11 | 11000 | 0.011
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 647 | 647 | 0 | 0 | 0 | 1662 | 1662 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10282 | 10282 | 0 | 0 | 0 | 4278 | 4278 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | -0.0116 |  |  |  |  | 0.16728
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | -0.0116 |  |  |  |  | 0.16728
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.2768 |  |  |  |  | 0.0802
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.2652 |  |  |  |  | 0.24748
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.2652 | (REACTIVE MUs) |  |  |  | 0.24748 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0024988 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.2677 | (REACTIVE MUs) |  |  |  | 0.24748 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBUARY-2019
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 995569 | 995712 | -143 | -89375 | -0.089375 | 999990 | 999990 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 997584 | 998571 | -987 | -616875 | -0.61687 | 999883 | 999883 | 0 | 0 | 0
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 400 | 996166 | 996801 | -635 | -254000 | -0.254 | 999896 | 999896 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.96025 |  |  |  |  | 0

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBUARY-2019
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 962983 | 964366 | -1383 | -138300 | -0.1383 | 2000 | 2000 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 73374 | 74485 | -1111 | -111100 | -0.1111 | 5721 | 5721 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 14785 | 14799 | -14 | -7000 | -0.007 | 2762 | 2766 | -4 | -2000 | -0.002
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999430 | 999640 | -210 | -196875 | -0.19687 | 106 | 106 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -500 | 996025 | 996025 | 0 | 0 | 0 | 999839 | 999839 | 0 | 0 | 0
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 997891 | 998867 | -976 | 488000 | 0.488 | 0 | 0 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 74 | 74 | 0 | 0 | 0 | 999900 | 999900 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.034725 |  |  |  |  | -0.002
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 980746 | 981496 | -750 | -150000 | -0.15 | 6 | 23 | -17 | -3400 | -0.0034
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 991584 | 992045 | -461 | -432187.5 | -0.43219 | 999929 | 999929 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.58219 |  |  |  |  | -0.0034
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1914 | 1924 | -10 | -12500 | -0.0125 | 93 | 90 | 3 | 3750 | 0.00375
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 357705 | 352663 | 5042 | 504200 | 0.5042 | 999887 | 999475 | 412 | 41200 | 0.0412
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 298894 | 292274 | 6620 | 413750 | 0.41375 | 94594 | 94061 | 533 | 33312.5 | 0.033313
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 2785 | 2824 | -39 | -31200 | -0.0312 | 1946 | 1936 | 10 | 8000 | 0.008
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 968203 | 969873 | -1670 | -167000 | -0.167 | 999175 | 999175 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 996358 | 998168 | -1810 | -271500 | -0.2715 | 987264 | 987262 | 2 | 300 | 0.0003
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997783 | 997841 | -58 | 145000 | 0.145 | 3063 | 3063 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 74 | 74 | 0 | 0 | 0 | 999900 | 999900 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 0.58075 |  |  |  |  | 0.086563
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.034725 |  |  |  |  | -0.002
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.58219 |  |  |  |  | -0.0034
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.58075 |  |  |  |  | 0.086563

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBUARY-2019
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 56120 | 52738 | 3382 | 3382000 | 3.382 | 999989 | 999989 | 0 | 0 | 0
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 17928 | 17300 | 628 | 3140000 | 3.14 | 78 | 78 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 6.522 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 6.522 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -4.097 |  |  |  |  | 0
[7 empty] | NDMC = |  |  | -2.152 |  |  |  |  | 0
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -6.249 |  |  |  |  | 0
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.273 |  |  |  |  | 0
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 32.59 | % |  |  | 0.088971 |  |  |  |  | 0
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.172 | % |  |  | 0.10967 |  |  |  |  | 0
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 21.4445 | % |  |  | 0.058543 |  |  |  |  | 0
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.4951 | % |  |  | 0.012272 |  |  |  |  | 0
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.9153 | % |  |  | 0.0024988 |  |  |  |  | 0
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.3831 | % |  |  | 0.0010459 |  |  |  |  | 0
Note :Sharing taken from wk-49 abt bill 2018-19

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st FEBRUARY-2019 TO 28th FEBRUARY-2019
FINAL EXECUTIVE SUMMERY
[6 empty] | Reactive Energy for above 103%(In MUs) |  | Reactive Energy for below 97%(In MUs)
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -64.8418 | + | 0.17209
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -72.1236 | + | 0.010596
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -25.7015 |  | -0.031682
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -5.8448 | + | 0.1771
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.2677 | + | 0.24748
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  |  | -0.96025 | + | 0
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2019 | INTIAL READING 01/02/2019 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 38764 | 36990 | 1774 | 1330500 | 1.3305 | 999899 | 999899 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | 22838 | 19852 | 2986 | 4479000 | 4.479 | 33 | 33 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 827093 | 828345 | -1252 | -939000 | -0.939 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 4.8705 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1245 | 987 | 258 | 1290000 | 1.29 | 12856 | 12856 | 0 | 0 | 0
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 887539 | 888722 | -1183 | -1183000 | -1.183
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 975529 | 975077 | 452 | 452000 | 0.452 | 283 | 207 | 76 | 76000 | 0.076
[8 empty] | NET REACTIVE ENERGY |  | 1.742 |  |  | NET REACTIVE ENERGY |  | -1.107