## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JULY-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964776 | 964983 | -207 | 207000 | 0.207 | 993395 | 994603 | -1208 | 1208000 | 1.208
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 85909 | 85578 | 331 | -662000 | -0.662 | 4982 | 4967 | 15 | -30000 | -0.03
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2598 | 2672 | -74 | 74000 | 0.074 | 423 | 435 | -12 | 12000 | 0.012
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31781 | 31340 | 441 | -441000 | -0.441 | 96873 | 96852 | 21 | -21000 | -0.021
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998486 | 998486 | 0 | 0 | 0 | 987009 | 988567 | -1558 | 1558000 | 1.558
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 898572 | 898574 | -2 | 2000 | 0.002 | 26899 | 27186 | -287 | 287000 | 0.287
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9697 | 9568 | 129 | -129000 | -0.129 | 999815 | 999994 | -179 | 179000 | 0.179
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21507 | 21413 | 94 | -94000 | -0.094 | 997989 | 998205 | -216 | 216000 | 0.216
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14030 | 14040 | -10 | 10000 | 0.01 | 997056 | 997537 | -481 | 481000 | 0.481
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 975258 | 975414 | -156 | 78000 | 0.078 | 837284 | 838374 | -1090 | 545000 | 0.545
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 887 | 942 | -55 | 55000 | 0.055 | 998411 | 998686 | -275 | 275000 | 0.275
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9492 | 9630 | -138 | 138000 | 0.138 | 999631 | 999804 | -173 | 173000 | 0.173
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 52340 | 52189 | 151 | -151000 | -0.151 | 996609 | 996709 | -100 | 100000 | 0.1
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 21414 | 20964 | 450 | -450 | -0.45 | 99999723 | 99999732 | -9 | 9 | 0.009
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 753743 | 754744 | -1001 | -1001000 | -1.001 | 999747 | 999752 | -5 | -5000 | -0.005
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 857226 | 859803 | -2577 | -1288500 | -1.2885 | 999991 | 999995 | -4 | -2000 | -0.002
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12476 | 12433 | 43 | -43000 | -0.043 | 999564 | 999906 | -342 | 342000 | 0.342
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 63244 | 62771 | 473 | -236500 | -0.2365 | 479 | 738 | -259 | 129500 | 0.1295
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54322 | 54083 | 239 | -239000 | -0.239 | 998752 | 998757 | -5 | 5000 | 0.005
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999856 | 999860 | -4 | -4000 | -0.004 | 988512 | 988432 | 80 | 80000 | 0.08
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999933 | 999933 | 0 | 0 | 0 | 999821 | 999823 | -2 | -8000 | -0.008
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1542 | 1373 | 169 | 84500 | 0.0845 | 14959 | 14853 | 106 | 53000 | 0.053
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 47070 | 41271 | 5799 | 289950 | 0.28995 | 213403 | 211803 | 1600 | 80000 | 0.08
[5 empty] | 50 | 39398 | 39314 | 84 | 4200 | 0.0042
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999769 | 999769 | 0 | 0 | 0 | 996536 | 997984 | -1448 | -1448000 | -1.448
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999451 | 999451 | 0 | 0 | 0 | 999248 | 999848 | -600 | -600000 | -0.6
26 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 46788 | 44114 | 2674 | 267400 | 0.2674 | 193447 | 193219 | 228 | 22800 | 0.0228
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994297 | 994305 | -8 | -8000 | -0.008 | 998335 | 998727 | -392 | -392000 | -0.392
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 929050 | 929497 | -447 | -223500 | -0.2235 | 999501 | 999760 | -259 | -129500 | -0.1295
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 995253 | 995182 | 71 | 18933.57 | 0.018934 | 1000041 | 999964 | 77 | 20533.59 | 0.020534
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2233 | 2227 | 6 | 3000 | 0.003 | 929 | 681 | 248 | 124000 | 0.124
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 46708 | 46617 | 91 | -91000 | -0.091 | 996535 | 996528 | 7 | -7000 | -0.007
32 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 247776 | 247507 | 269 | -134500 | -0.1345 | 17495 | 17626 | -131 | 65500 | 0.0655
[5 empty] | -500 | 247312 | 247085 | 227 | -113500 | -0.1135
[5 empty] | -500 | 246748 | 245695 | 1053 | -526500 | -0.5265
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7630 | 7542 | 88 | -176000 | -0.176 | 999510 | 999642 | -132 | 264000 | 0.264
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 57653 | 57395 | 258 | -258000 | -0.258 | 998299 | 998772 | -473 | 473000 | 0.473
DSIDC BAWANA
35 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 133176 | 131417 | 1759 | -3518000 | -3.518 | 293 | 293 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 125877 | 123751 | 2126 | -2126000 | -2.126 | 998448 | 998448 | 0 | 0 | 0
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 171292 | 165385 | 5907 | -1968980.31 | -1.969 | 218 | 204 | 14 | -4666.62 | -0.0046666
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1735 | 569 | 1166 | -2332000 | -2.332 | 1 | 0 | 1 | -2000 | -0.002
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 22110 | 22010 | 100 | -200000 | -0.2 | 423 | 286 | 137 | -274000 | -0.274
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 82043 | 81798 | 245 | -245000 | -0.245 | 2006 | 1746 | 260 | -260000 | -0.26
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | 1 | 1882000 | 1882000 | 0 | 0 | 0 | 683000 | 244000 | 439000 | 439000 | 0.439
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | 1 | 10955000 | 10955000 | 0 | 0 | 0 | 770000 | 376000 | 394000 | 394000 | 0.394
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6534 | 7070 | -536 | 536000 | 0.536 | 997665 | 997833 | -168 | 168000 | 0.168
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 52358 | 52864 | -506 | 506000 | 0.506 | 1437 | 1477 | -40 | 40000 | 0.04
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998407 | 998462 | -55 | -55000 | -0.055 | 26355 | 26373 | -18 | -18000 | -0.018
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | JULY-2021
DMS
45 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | 100 | 999668 | 999709 | -41 | -4100 | -0.0041 | 999878 | 999901 | -23 | -2300 | -0.0023
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3191 | 3140 | 51 | 5100 | 0.0051 | 31148 | 30990 | 158 | 15800 | 0.0158
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 765 | 765 | 0 | 0 | 0 | 583 | 572 | 11 | 14663 | 0.014663
50 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 3197 | 3197 | 0 | 0 | 0 | 2146 | 2138 | 8 | 800 | 0.0008
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 2015 | 2012 | 3 | 300 | 0.0003 | 4081 | 3612 | 469 | 46900 | 0.0469
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999802 | 999801 | 1 | 500 | 0.0005 | 2243 | 2208 | 35 | 17500 | 0.0175
57 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | 500 | 0 | 0 | 0 | 0 | 0 | 121 | 81 | 40 | 20000 | 0.02
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1018 | 1017 | 1 | 500 | 0.0005 | 921 | 822 | 99 | 49500 | 0.0495
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 994373 | 994473 | -100 | -10000 | -0.01 | 2678 | 2671 | 7 | 700 | 0.0007
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 8197 | 8031 | 166 | 16600 | 0.0166 | 14632 | 14432 | 200 | 20000 | 0.02
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 11227 | 10842 | 385 | 38500 | 0.0385 | 5412 | 5124 | 288 | 28800 | 0.0288
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 30162 | 29857 | 305 | 30500 | 0.0305 | 10715 | 10506 | 209 | 20900 | 0.0209
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 60529 | 60086 | 443 | 44300 | 0.0443 | 2282 | 2073 | 209 | 20900 | 0.0209
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 999925 | 999789 | 136 | 18132.88 | 0.018133 | 467 | 451 | 16 | 2133.28 | 0.0021333
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999999 | 1000000 | -1 | 400 | 0.0004 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995633 | 995633 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999879 | 999879 | 0 | 0 | 0 | 999432 | 999432 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 960991 | 961261 | -270 | -216000 | -0.216 | 999703 | 999703 | 0 | 0 | 0
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 994875 | 994979 | -104 | -208000 | -0.208 | 1053 | 1053 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 973833 | 973009 | 824 | 164800 | 0.1648 | 1723 | 1710 | 13 | 2600 | 0.0026
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 996017 | 996298 | -281 | -70250 | -0.07025 | 733 | 728 | 5 | 1250 | 0.00125
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988304 | 988386 | -82 | -82000 | -0.082 | 2359 | 2028 | 331 | 331000 | 0.331
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1499 | 1489 | 10 | 7500 | 0.0075 | 3372 | 3337 | 35 | 26250 | 0.02625
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -14.7042 |  |  |  |  | 5.1596
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JULY-2021
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 21385 | 19362 | 2023 | -202300 | -0.2023 | 149844 | 149560 | 284 | -28400 | -0.0284
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 346 | 346 | 0 | 0 | 0 | 629 | 628 | 1 | -800 | -0.0008
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 854 | 812 | 42 | -42000 | -0.042 | 485 | 362 | 123 | -123000 | -0.123
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 4443 | 4218 | 225 | -29999.25 | -0.029999 | 7000 | 6576 | 424 | -56531.92 | -0.056532
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997193 | 997236 | -43 | 8062.5 | 0.0080625 | 999173 | 999248 | -75 | 14062.5 | 0.014063
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 903878 | 904641 | -763 | 610400 | 0.6104 | 997781 | 997831 | -50 | 40000 | 0.04
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 990213 | 990084 | 129 | -80625 | -0.080625 | 183 | 77 | 106 | -66250 | -0.06625
9 | 66KV RLY Ckt-2 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -500 | 987438 | 987432 | 6 | -3000 | -0.003 | 999879 | 999896 | -17 | 8500 | 0.0085 | Check meter Data
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 994695 | 994815 | -120 | 24000 | 0.024 | 14938 | 14756 | 182 | -36400 | -0.0364
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 990446 | 990521 | -75 | 14062.5 | 0.014063 | 4849 | 5044 | -195 | 36562.5 | 0.036562
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 987483 | 987602 | -119 | 22312.5 | 0.022312 | 3912 | 3974 | -62 | 11625 | 0.011625
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 4543 | 4518 | 25 | -6250 | -0.00625 | 8115 | 8079 | 36 | -9000 | -0.009
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 994650 | 994581 | 69 | -6900 | -0.0069 | 29740 | 29757 | -17 | 1700 | 0.0017
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.30776 |  |  |  |  | -0.20793
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -14.7042 |  |  |  |  | 5.1596
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.30776 |  |  |  |  | -0.20793
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.00615 |  |  |  |  | -1.4765
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -14.3903 |  |  |  |  | 3.4752
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -14.3903 | (REACTIVE MUs) |  |  |  | 3.4752 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -3.4751 | (REACTIVE MUs) |  |  |  | -0.048747 | (REACTIVE MUs)
[9 empty] | TOTAL | -17.8654 | (REACTIVE MUs) |  |  |  | 3.4264 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JULY-2021
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36653 | 36113 | 540 | 144180 | 0.14418 | 994549 | 994492 | 57 | 15219 | 0.015219
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 11409 | 10994 | 415 | 124500 | 0.1245 | 2998 | 3013 | -15 | -4500 | -0.0045
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 100 | 23295 | 22809 | 486 | 48600 | 0.0486 | 32232 | 31591 | 641 | 64100 | 0.0641
4 | IG STD- BAY-29 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 998166 | 998468 | -302 | -30200 | -0.0302 | 1000133 | 999988 | 145 | 14500 | 0.0145
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 1000034 | 999998 | 36 | 57600 | 0.0576 | 26 | 4 | 22 | 35200 | 0.0352
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 17833 | 17587 | 246 | 24600 | 0.0246 | 4886 | 4733 | 153 | 15300 | 0.0153
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 286194 | 284223 | 1971 | 147825 | 0.14783 | 903951 | 903837 | 114 | 8550 | 0.00855
[5 empty] | 75 | 176172 | 176495 | -323 | -24225 | -0.024225 | 896265 | 896019 | 246 | 18450 | 0.01845
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975960 | 976145 | -185 | -185000 | -0.185 | 2274 | 2275 | -1 | -1000 | -0.001
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 984384 | 984460 | -76 | -38000 | -0.038 | 219 | 183 | 36 | 18000 | 0.018
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998074 | 997765 | 309 | 309000 | 0.309 | 999999 | 999996 | 3 | 3000 | 0.003
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983802 | 983931 | -129 | -129000 | -0.129 | 1356 | 1349 | 7 | 7000 | 0.007
12 | LAHORI GATE-1 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993313 | 993306 | 7 | 7000 | 0.007 | 574 | 631 | -57 | -57000 | -0.057 | Check meter data
|  | 4865140 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999955 | 1000000 | -45 | -45000 | -0.045 | 999999 | 1000000 | -1 | -1000 | -0.001 | w.e.f 23/7/21
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993940 | 993908 | 32 | 32000 | 0.032 | 998568 | 998583 | -15 | -15000 | -0.015
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992864 | 992964 | -100 | -100000 | -0.1 | 349 | 351 | -2 | -2000 | -0.002
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994807 | 994651 | 156 | 124800 | 0.1248 | 5238 | 5216 | 22 | 17600 | 0.0176
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 15106 | 14852 | 254 | 33865.82 | 0.033866 | 3674 | 3652 | 22 | 2933.26 | 0.0029333
17 | SACHV. (Bay-12) | 4864943 | ELSTER | Kvarh(Lead/Lag) | 400 | 998453 | 998444 | 9 | 3600 | 0.0036 | 53 | 23 | 30 | 12000 | 0.012 | Check meter data
|  | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 09/07/21
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 826 | 931 | -105 | -105000 | -0.105 | 17474 | 17471 | 3 | 3000 | 0.003
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 969079 | 969491 | -412 | -515000 | -0.515 | 947244 | 947379 | -135 | -168750 | -0.16875
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 977129 | 977747 | -618 | -618000 | -0.618 | 933695 | 934000 | -305 | -305000 | -0.305
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998096 | 998263 | -167 | -167000 | -0.167 | 998750 | 998759 | -9 | -9000 | -0.009
| KASHMIRI GATE | [8 empty] | -1.3 |  |  |  |  | -0.48275
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984836 | 984851 | -15 | 15000 | 0.015 | 996783 | 997380 | -597 | 597000 | 0.597
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982235 | 982372 | -137 | 137000 | 0.137 | 998020 | 998130 | -110 | 110000 | 0.11
[5 empty] | -1000 | 982620 | 982643 | -23 | 23000 | 0.023
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999999 | 1000000 | -1 | -400 | -0.0004 | 0 | 0 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999640 | 999640 | 0 | 0 | 0 | 13708 | 13470 | 238 | 238000 | 0.238
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 243616 | 242212 | 1404 | -1404000 | -1.404 | 9242 | 9243 | -1 | 1000 | 0.001
[5 empty] | -1000 | 240544 | 239847 | 697 | -697000 | -0.697
[5 empty] | -1000 | 239248 | 238611 | 637 | -637000 | -0.637
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 58101 | 57321 | 780 | -780000 | -0.78 | 287 | 384 | -97 | 97000 | 0.097
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4864 | 5155 | -291 | 291000 | 0.291 | 999091 | 999279 | -188 | 188000 | 0.188
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4394 | 4656 | -262 | 262000 | 0.262 | 998166 | 998356 | -190 | 190000 | 0.19
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 87637 | 87460 | 177 | -177000 | -0.177 | 982830 | 982832 | -2 | 2000 | 0.002
[5 empty] | -1000 | 83143 | 82217 | 926 | -926000 | -0.926
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 66618 | 65477 | 1141 | -1141000 | -1.141 | 323 | 323 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 48494 | 47432 | 1062 | -2124000 | -2.124 | 25 | 25 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 854 | 812 | 42 | 42000 | 0.042 | 485 | 362 | 123 | 123000 | 0.123
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 4443 | 4218 | 225 | 29999.25 | 0.029999 | 7000 | 6576 | 424 | 56531.92 | 0.056532
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 993250 | 993250 | 0 | 0 | 0 | 11334 | 11924 | -590 | -78470 | -0.07847
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 949887 | 950415 | -528 | 528000 | 0.528 | 990121 | 990152 | -31 | 31000 | 0.031
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969839 | 970722 | -883 | 883000 | 0.883 | 981160 | 981161 | -1 | 1000 | 0.001
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -6.5743 |  |  |  |  | 1.2277
| (A) NET ENERGY TO CENTRAL | [8 empty] | -6.5743 |  |  |  |  | 1.2277
JULY-2021
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990341 | 990359 | -18 | 18000 | 0.018 | 994291 | 995486 | -1195 | 1195000 | 1.195
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979025 | 979030 | -5 | 5000 | 0.005 | 930644 | 932088 | -1444 | 1444000 | 1.444
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992363 | 992370 | -7 | 7000 | 0.007 | 994136 | 995511 | -1375 | 1375000 | 1.375
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993562 | 993816 | -254 | 254000 | 0.254 | 996004 | 997176 | -1172 | 1172000 | 1.172
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34607 | 34609 | -2 | 2000 | 0.002 | 997713 | 997740 | -27 | 27000 | 0.027
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 2586 | 2584 | 2 | -1000 | -0.001 | 367 | 255 | 112 | -56000 | -0.056
7 | 100 MVA Tx.1 (33 KV) | 5128419 | ELSTER | Kvarh(Lead/Lag) | -1000 | 253 | 308 | -55 | 55000 | 0.055 | 999633 | 999830 | -197 | 197000 | 0.197
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1605 | 1605 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2233 | 2281 | -48 | 48000 | 0.048 | 999615 | 999815 | -200 | 200000 | 0.2
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 934327 | 934304 | 23 | -23000 | -0.023 | 978498 | 978574 | -76 | 76000 | 0.076
-1000
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985926 | 985892 | 34 | -34000 | -0.034 | 955533 | 955483 | 50 | -50000 | -0.05
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966407 | 966382 | 25 | -25000 | -0.025 | 824237 | 824753 | -516 | 516000 | 0.516
GAZIPUR
13 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 10038 | 9741 | 297 | -1485000 | -1.485 | 34 | 34 | 0 | 0 | 0
14 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7226 | 6089 | 1137 | -1137000 | -1.137 | 77 | 77 | 0 | 0 | 0
15 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -2000 | 303 | 71 | 232 | -464000 | -0.464 | 999990 | 999990 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -2.78 |  |  |  |  | 6.096
| (B) NET ENERGY TO EAST | [8 empty] | -2.78 |  |  |  |  | 6.096
JULY-2021
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 995253 | 995182 | 71 | -18933.57 | -0.018934 | 1000041 | 999964 | 77 | -20533.59 | -0.020534
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2233 | 2227 | 6 | -3000 | -0.003 | 929 | 681 | 248 | -124000 | -0.124
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 2483 | 2344 | 139 | -37065.74 | -0.037066 | 2320 | 2222 | 98 | -26132.68 | -0.026133
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 112619 | 112598 | 21 | -2100 | -0.0021 | 152557 | 152449 | 108 | -10800 | -0.0108
|  | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 26/7/21
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 983329 | 983495 | -166 | 33200 | 0.0332 | 999365 | 999327 | 38 | -7600 | -0.0076
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 901 | 802 | 99 | -99000 | -0.099 | 74 | 23 | 51 | -51000 | -0.051
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 3389 | 2934 | 455 | -364000 | -0.364 | 2701 | 2694 | 7 | -5600 | -0.0056
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3069 | 3132 | -63 | 50400 | 0.0504 | 1323 | 1322 | 1 | -800 | -0.0008
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 983546 | 984287 | -741 | 592800 | 0.5928 | 998658 | 998663 | -5 | 4000 | 0.004
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 952226 | 953004 | -778 | 622400 | 0.6224 | 979565 | 979638 | -73 | 58400 | 0.0584
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 953035 | 954359 | -1324 | 1059200 | 1.0592 | 989703 | 989705 | -2 | 1600 | 0.0016
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 993894 | 994250 | -356 | 712000 | 0.712 | 999528 | 999529 | -1 | 2000 | 0.002
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 989510 | 990163 | -653 | 1306000 | 1.306 | 999481 | 999481 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998407 | 998462 | -55 | 55000 | 0.055 | 26355 | 26373 | -18 | 18000 | 0.018
DMS
16 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | -100 | 999668 | 999709 | -41 | 4100 | 0.0041 | 999878 | 999901 | -23 | 2300 | 0.0023
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
18 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999802 | 999801 | 1 | -500 | -0.0005 | 2243 | 2208 | 35 | -17500 | -0.0175
19 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | -500 | 0 | 0 | 0 | 0 | 0 | 121 | 81 | 40 | -20000 | -0.02
20 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1018 | 1017 | 1 | -500 | -0.0005 | 921 | 822 | 99 | -49500 | -0.0495
KASHMIRI GATE
21 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 60529 | 60086 | 443 | -44300 | -0.0443 | 2282 | 2073 | 209 | -20900 | -0.0209
22 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 999925 | 999789 | 136 | -18132.88 | -0.018133 | 467 | 451 | 16 | -2133.28 | -0.0021333
D.M.S
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 994373 | 994473 | -100 | 10000 | 0.01 | 2678 | 2671 | 7 | -700 | -0.0007
FAIZ ROAD
24 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 8197 | 8031 | 166 | -16600 | -0.0166 | 14632 | 14432 | 200 | -20000 | -0.02
25 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 11227 | 10842 | 385 | -38500 | -0.0385 | 5412 | 5124 | 288 | -28800 | -0.0288
26 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 30162 | 29857 | 305 | -30500 | -0.0305 | 10715 | 10506 | 209 | -20900 | -0.0209
FED FROM BYPL (RLY.)
27 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 44600 | 29170 | 15430 | 15430 | 0.01543 | 190050 | 178290 | 11760 | 11760 | 0.01176
28 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 21010 | 19390 | 1620 | 1620 | 0.00162 | 327320 | 315209 | 12111 | 12111 | 0.012111
29 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 91500 | 73100 | 18400 | 18400 | 0.0184 | 984600 | 935299 | 49301 | 49301 | 0.049301
[10 empty] | 3.8074 |  |  |  |  | -0.26743
JULY-2021
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -6.5743 |  |  |  |  | 1.2277
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 3.8074 |  |  |  |  | -0.26743
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0.00375 |  |  |  |  | -0.26304
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -2.7631 |  |  |  |  | 0.6972
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -2.78 |  |  |  |  | 6.096
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -5.5431 |  |  |  |  | 6.7932
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -5.5431 | (REACTIVE MUs) |  |  |  | 6.7932 | (REACTIVE MUs)
Assessment on Tx-1 at 220KV Gazipur S/Stn. due to change in M.F.(01.04.2021 to 30.06.2021) | [9 empty] | -6.36 |  |  |  |  | -0.081
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -2.6213 | (REACTIVE MUs) |  |  |  | -0.036771 | (REACTIVE MUs)
[9 empty] | TOTAL | -14.5244 | (REACTIVE MUs) |  |  |  | 6.6754 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JULY-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998184 | 998191 | -7 | -7000 | -0.007 | 998421 | 998507 | -86 | -86000 | -0.086
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999048 | 999108 | -60 | -60000 | -0.06 | 999820 | 999844 | -24 | -24000 | -0.024
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 983717 | 983773 | -56 | -11200 | -0.0112 | 999148 | 999150 | -2 | -400 | -0.0004
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999858 | 999854 | 4 | 5333.32 | 0.0053333 | 999776 | 999782 | -6 | -7999.98 | -0.008
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 998134 | 998009 | 125 | 187500 | 0.1875 | 999957 | 999946 | 11 | 16500 | 0.0165
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 11293 | 11329 | -36 | -3600 | -0.0036 | 22011 | 21632 | 379 | 37900 | 0.0379
7 | BAY-37 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 75 | 978763 | 977279 | 1484 | 111300 | 0.1113 | 998333 | 998661 | -328 | -24600 | -0.0246
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 996196 | 996578 | -382 | -28650 | -0.02865 | 998909 | 999153 | -244 | -18300 | -0.0183
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 800 | 997145 | 997147 | -2 | -1600 | -0.0016 | 999641 | 999665 | -24 | -19200 | -0.0192
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 989156 | 989307 | -151 | -15100 | -0.0151 | 265049 | 265004 | 45 | 4500 | 0.0045
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 313 | 310 | 0 | 0 | 0 | 34 | 31 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18587 | 18558 | 29 | -29000 | -0.029 | 996602 | 996613 | -11 | 11000 | 0.011
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3216 | 3231 | -15 | 30000 | 0.03 | 996548 | 996708 | -160 | 320000 | 0.32
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16848 | 16932 | -84 | 84000 | 0.084 | 996320 | 996359 | -39 | 39000 | 0.039
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953491 | 953491 | 0 | 0 | 0 | 999314 | 999288 | 26 | -26000 | -0.026
[5 empty] | -1000 | [5 empty] | 999450 | 999518 | -68 | 68000 | 0.068
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 120055 | 119562 | 493 | -493000 | -0.493 | 19339 | 19306 | 33 | -33000 | -0.033
17 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 71 | 102 | -31 | 31000 | 0.031 | 999906 | 999910 | -4 | 4000 | 0.004
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 25082 | 24871 | 211 | -422000 | -0.422 | 998778 | 998728 | 50 | -100000 | -0.1
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 925357 | 925769 | -412 | 412000 | 0.412 | 813560 | 813601 | -41 | 41000 | 0.041
| PAAPANKALAN-III |  |  |  | -1000 | 940766 | 940738 | 28 | -28000 | -0.028
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 53425 | 48077 | 5348 | -4278400 | -4.2784 | 1953 | 1886 | 67 | -53600 | -0.0536
[10 empty] | 0.2512 | [5 empty] | Assessment
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 84897 | 83588 | 1309 | -1047200 | -1.0472 | 998899 | 998843 | 56 | -44800 | -0.0448
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 951477 | 951492 | -15 | 15000 | 0.015 | 959873 | 960211 | -338 | 338000 | 0.338
[15 empty] | -0.082 | Assessment
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 961096 | 961388 | -292 | 584000 | 0.584 | 991476 | 992045 | -569 | 1138000 | 1.138
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 914456 | 914510 | -54 | 108000 | 0.108 | 979057 | 979332 | -275 | 550000 | 0.55
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9598 | 9679 | -81 | 81000 | 0.081 | 996262 | 996822 | -560 | 560000 | 0.56
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996747 | 996821 | -74 | 74000 | 0.074 | 53 | 53 | 0 | 0 | 0
[5 empty] | -1000 | 4893 | 4928 | -35 | 35000 | 0.035
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980435 | 980585 | -150 | 150000 | 0.15 | 999864 | 999939 | -75 | 75000 | 0.075
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 244807 | 243821 | 986 | -986000 | -0.986 | 81745 | 81685 | 60 | -60000 | -0.06
[5 empty] | -1000 | 241840 | 241272 | 568 | -568000 | -0.568
[5 empty] | 1000 |  |  |  |  | 0.298 | [5 empty] | Assessment
29 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3119 | 2954 | 165 | -330000 | -0.33 | 25 | 8 | 17 | -34000 | -0.034
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 346 | 346 | 0 | 0 | 0 | 629 | 628 | 1 | 800 | 0.0008
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 941988 | 943605 | -1617 | 1617000 | 1.617 | 965460 | 965473 | -13 | 13000 | 0.013
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976072 | 977208 | -1136 | 1136000 | 1.136 | 983983 | 983983 | 0 | 0 | 0
33 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 92164 | 90667 | 1497 | -1497000 | -1.497 | 985625 | 985624 | 1 | -1000 | -0.001
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 29033 | 28948 | 85 | -68000 | -0.068 | 999226 | 999184 | 42 | -33600 | -0.0336
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 48208 | 48162 | 46 | -73600 | -0.0736 | 978991 | 978935 | 56 | -89600 | -0.0896
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997105 | 997419 | -314 | 628000 | 0.628 | 984289 | 984229 | 60 | -120000 | -0.12
37 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 5482 | 6211 | -729 | 364500 | 0.3645 | 990851 | 990709 | 142 | -71000 | -0.071
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22663 | 22634 | 29 | -29000 | -0.029 | 31864 | 31739 | 125 | -125000 | -0.125
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2329 | 2726 | -397 | 397000 | 0.397 | 996553 | 996457 | 96 | -96000 | -0.096
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 627 | 847 | -220 | 220000 | 0.22 | 670 | 410 | 260 | -260000 | -0.26
BRPL(+) continue | [14 empty] | JULY-2021
VASANT KUNJ
41 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51556 | 51459 | 97 | -97000 | -0.097 | 999655 | 999581 | 74 | -74000 | -0.074
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12371 | 12260 | 111 | -111000 | -0.111 | 528 | 321 | 207 | -207000 | -0.207
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7288 | 7224 | 64 | -64000 | -0.064 | 998384 | 998365 | 19 | -19000 | -0.019
[5 empty] | -1000 | 7136 | 7156 | -20 | 20000 | 0.02 | 998034 | 998178 | -144 | 144000 | 0.144
MEHRAULI
44 | Tx.1 | 4864928 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6077 | 6070 | 7 | -7000 | -0.007 | 458 | 336 | 122 | -122000 | -0.122
45 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6669 | 7323 | -654 | 654000 | 0.654 | 925068 | 924938 | 130 | -130000 | -0.13
46 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 61997 | 61966 | 31 | -31000 | -0.031 | 17060 | 16817 | 243 | -243000 | -0.243
47 | Tx.4 | 4865023 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3482 | 3780 | -298 | 596000 | 0.596 | 999557 | 999560 | -3 | 6000 | 0.006
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 74482 | 74546 | -64 | 64000 | 0.064 | 997152 | 997190 | -38 | 38000 | 0.038
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 50271 | 50555 | -284 | 568000 | 0.568 | 999377 | 999381 | -4 | 8000 | 0.008
DIAL
50 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 10542 | 10566 | -24 | 48000 | 0.048 | 2383 | 2592 | -209 | 418000 | 0.418
51 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 9108 | 9031 | 77 | -154000 | -0.154 | 1921 | 1652 | 269 | -538000 | -0.538
MASJID MOD
52 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998681 | 999464 | -783 | 783000 | 0.783 | 999976 | 999989 | -13 | 13000 | 0.013
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993047 | 994014 | -967 | 967000 | 0.967 | 994638 | 994643 | -5 | 5000 | 0.005
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995474 | 996699 | -1225 | 1225000 | 1.225 | 987076 | 987076 | 0 | 0 | 0
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 997658 | 997691 | -33 | -132000 | -0.132 | 999992 | 999992 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 977330 | 977255 | 75 | 60000 | 0.06 | 607 | 607 | 0 | 0 | 0
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 933399 | 934359 | -960 | -768000 | -0.768 | 999475 | 999475 | 0 | 0 | 0
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 997938 | 997811 | 127 | 101600 | 0.1016 | 999835 | 999835 | 0 | 0 | 0
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 995639 | 995504 | 135 | 108000 | 0.108 | 40 | 40 | 0 | 0 | 0
PARK STREET
61 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 989510 | 990163 | -653 | -1306000 | -1.306 | 999481 | 999481 | 0 | 0 | 0
62 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
63 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 90942 | 89846 | 1096 | -2192000 | -2.192 | 1786 | 1786 | 0 | 0 | 0
64 | Tx-2 | 5128415 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20455 | 20455 | 0 | 0 | 0 | 11888 | 11888 | 0 | 0 | 0
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 119789 | 118239 | 1550 | -1550000 | -1.55 | 1949 | 1949 | 0 | 0 | 0
NARAINA
66 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 21385 | 19362 | 2023 | 202300 | 0.2023 | 149844 | 149560 | 284 | 28400 | 0.0284
67 | SUDARSHAN PARK
68 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997193 | 997236 | -43 | -8062.5 | -0.0080625 | 999173 | 999248 | -75 | -14062.5 | -0.014063
69 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 943829 | 943697 | 132 | 52800 | 0.0528 | 994533 | 994471 | 62 | 24800 | 0.0248
70 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 980627 | 980394 | 233 | 93200 | 0.0932 | 73955 | 73922 | 33 | 13200 | 0.0132
KANJAWALA
71 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 903878 | 904641 | -763 | -610400 | -0.6104 | 997781 | 997831 | -50 | -40000 | -0.04
Trauma Centre
72 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 490711 | 490103 | 608 | 60800 | 0.0608 | 88074 | 86269 | 1805 | 180500 | 0.1805
[5 empty] | 100 | 488295 | 488198 | 97 | 9700 | 0.0097
73 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2069 | 2057 | 12 | 12000 | 0.012 | 1642 | 1823 | -181 | -181000 | -0.181
A.I.I.M.S.
74 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10810 | 10810 | 0 | 0 | 0 | 24741 | 24109 | 632 | 47400 | 0.0474
75 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5310 | 5310 | 0 | 0 | 0 | 18196 | 17667 | 529 | 52900 | 0.0529
PEERGARHI
76 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 9385 | 8912 | 473 | 236500 | 0.2365 | 3257 | 3258 | -1 | -500 | -0.0005
77 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997693 | 997501 | 192 | 192000 | 0.192 | 4221 | 4221 | 0 | 0 | 0
78 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984243 | 984373 | -130 | -130000 | -0.13 | 914 | 914 | 0 | 0 | 0
79 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6975 | 6825 | 150 | 150000 | 0.15 | 6740 | 6739 | 1 | 1000 | 0.001
80 | PASCHIM PURI - I (L-7) | 4864858 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999922 | 999776 | 146 | 146000 | 0.146 | 18 | 18 | 0 | 0 | 0
81 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 980004 | 978131 | 1873 | 187300 | 0.1873 | 910413 | 910413 | 0 | 0 | 0
82 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5098 | 4839 | 259 | 259000 | 0.259 | 1125 | 1125 | 0 | 0 | 0
83 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4925 | 4760 | 165 | 165000 | 0.165 | 7449 | 7449 | 0 | 0 | 0
REWARI LINE
84 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 994695 | 994815 | -120 | -24000 | -0.024 | 14938 | 14756 | 182 | 36400 | 0.0364
85 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 990446 | 990521 | -75 | -14062.5 | -0.014063 | 4849 | 5044 | -195 | -36562.5 | -0.036562
86 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 987483 | 987602 | -119 | -22312.5 | -0.022312 | 3912 | 3974 | -62 | -11625 | -0.011625
87 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 4543 | 4518 | 25 | 6250 | 0.00625 | 8115 | 8079 | 36 | 9000 | 0.009
88 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 994650 | 994581 | 69 | 6900 | 0.0069 | 29740 | 29757 | -17 | -1700 | -0.0017
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -3.403 |  |  |  |  | 1.2138
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JULY-2021
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21595 | 21497 | 98 | -49000 | -0.049 | 4950 | 4921 | 29 | -14500 | -0.0145
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 993250 | 993250 | 0 | 0 | 0 | 11334 | 11924 | -590 | 78664.7 | 0.078665
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1130 | 1130 | 0 | 0 | 0 | 999298 | 999084 | 214 | -214000 | -0.214
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992858 | 992901 | -43 | 43000 | 0.043 | 2280 | 2254 | 26 | -26000 | -0.026
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 6781 | 6781 | 0 | 0 | 0 | 31453 | 30306 | 1147 | -183520 | -0.18352
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3556 | 3556 | 0 | 0 | 0 | 10418 | 8815 | 1603 | -320600 | -0.3206
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977160 | 977209 | -49 | 49000 | 0.049 | 999282 | 999249 | 33 | -33000 | -0.033
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 102749 | 102665 | 84 | -8400 | -0.0084 | 76359 | 76217 | 142 | -14200 | -0.0142
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4231 | 4302 | -71 | 7100 | 0.0071 | 1552 | 1442 | 110 | -11000 | -0.011
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 6214 | 5898 | 316 | -31600 | -0.0316 | 70841 | 70830 | 11 | -1100 | -0.0011
| EXPORTS(*) |  |  |  | -100 | 5645 | 5655 | -10 | 1000 | 0.001
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998664 | 998665 | -1 | -500 | -0.0005 | 16617 | 16621 | -4 | -2000 | -0.002
14 | SIRI FORT | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999904 | 999904 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 239 | 239 | 0 | 0 | 0 | 1284 | 1534 | -250 | 156250 | 0.15625
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3191 | 3140 | 51 | -5100 | -0.0051 | 31148 | 30990 | 158 | -15800 | -0.0158
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 765 | 765 | 0 | 0 | 0 | 583 | 572 | 11 | -14663 | -0.014663
21 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 3197 | 3197 | 0 | 0 | 0 | 2146 | 2138 | 8 | -800 | -0.0008
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 2015 | 2012 | 3 | -300 | -0.0003 | 4081 | 3612 | 469 | -46900 | -0.0469
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995633 | 995633 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999879 | 999879 | 0 | 0 | 0 | 999432 | 999432 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 996181 | 996101 | 80 | -64000 | -0.064 | 6205 | 6138 | 67 | -53600 | -0.0536
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988304 | 988386 | -82 | 82000 | 0.082 | 2359 | 2028 | 331 | -331000 | -0.331
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1499 | 1489 | 10 | -7500 | -0.0075 | 3372 | 3337 | 35 | -26250 | -0.02625
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.0157 |  |  |  |  | -1.074
JULY-2021
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -3.403 |  |  |  |  | 1.2138
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.0157 |  |  |  |  | -1.074
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.0008125 |  |  |  |  | -0.018463
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.086588 |  |  |  |  | -0.10754
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -3.4747 |  |  |  |  | 0.013732
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -3.4747 | (REACTIVE MUs) |  |  |  | 0.013732 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -4.8523 | (REACTIVE MUs) |  |  |  | -0.068066 | (REACTIVE MUs)
[9 empty] | TOTAL | -8.327 | (REACTIVE MUs) |  |  |  | -0.054334 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JULY-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2483 | 2344 | 139 | 37067.13 | 0.037067 | 2320 | 2222 | 98 | 26133.66 | 0.026134
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 112619 | 112598 | 21 | 2100 | 0.0021 | 152557 | 152449 | 108 | 10800 | 0.0108
|  | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 20/7/21
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 983329 | 983495 | -166 | -33200 | -0.0332 | 999365 | 999327 | 38 | 7600 | 0.0076
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 901 | 802 | 99 | 99000 | 0.099 | 74 | 23 | 51 | 51000 | 0.051
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 3389 | 2934 | 455 | 364000 | 0.364 | 2701 | 2694 | 7 | 5600 | 0.0056
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3069 | 3132 | -63 | -50400 | -0.0504 | 1323 | 1322 | 1 | 800 | 0.0008
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 983546 | 984287 | -741 | -592800 | -0.5928 | 998658 | 998663 | -5 | -4000 | -0.004
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 952226 | 953004 | -778 | -622400 | -0.6224 | 979565 | 979638 | -73 | -58400 | -0.0584
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 953035 | 954359 | -1324 | -1059200 | -1.0592 | 989703 | 989705 | -2 | -1600 | -0.0016
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 993894 | 994250 | -356 | -712000 | -0.712 | 999528 | 999529 | -1 | -2000 | -0.002
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 957141 | 957588 | -447 | -22350 | -0.02235 | 21423 | 20187 | 1236 | 61800 | 0.0618
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 969908 | 970301 | -393 | -29475 | -0.029475 | 22597 | 22408 | 189 | 14175 | 0.014175
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 998003 | 998014 | -11 | -5500 | -0.0055 | 5435 | 5398 | 37 | 18500 | 0.0185
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 996215 | 996258 | -43 | -16125 | -0.016125 | 7640 | 7463 | 177 | 66375 | 0.066375
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 999731 | 1000000 | -269 | -26900 | -0.0269 | 405 | 36 | 369 | 36900 | 0.0369
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 11023 | 10890 | 133 | 9975 | 0.009975 | 40648 | 40659 | -11 | -825 | -0.000825
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 4392 | 4654 | -262 | -26200 | -0.0262 | 2038 | 1958 | 80 | 8000 | 0.008
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999811 | 999938 | -127 | -127000 | -0.127 | 1000177 | 999992 | 185 | 185000 | 0.185
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991959 | 992127 | -168 | -168000 | -0.168 | 2482 | 2249 | 233 | 233000 | 0.233
21 | SCHOOL LANE-1 | 4865028 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999709 | 999709 | 0 | 0 | 0 | 999978 | 999978 | 0 | 0 | 0 | Check meter data
|  | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999993 | 1000000 | -7 | -17500 | -0.0175 | 0 | 0 | 0 | 0 | 0 | w.e.f 9/7/21
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 998316 | 998350 | -34 | -85000 | -0.085 | 432 | 383 | 49 | 122500 | 0.1225
[10 empty] | -0.3975 |  |  |  |  | 0.5405
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992858 | 992901 | -43 | -43000 | -0.043 | 2280 | 2254 | 26 | 26000 | 0.026
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 6781 | 6781 | 0 | 0 | 0 | 31453 | 30306 | 1147 | 183520 | 0.18352
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3556 | 3556 | 0 | 0 | 0 | 10418 | 8815 | 1603 | 320600 | 0.3206
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 977160 | 977209 | -49 | -49000 | -0.049 | 999282 | 999249 | 33 | 33000 | 0.033
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998664 | 998665 | -1 | 500 | 0.0005 | 16617 | 16621 | -4 | 2000 | 0.002
28 | SIRI FORT | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999904 | 999904 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
JULY-2021
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996716 | 996828 | -112 | 112000 | 0.112 | 989842 | 989961 | -119 | 119000 | 0.119
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998000 | 998128 | -128 | 128000 | 0.128 | 995644 | 995774 | -130 | 130000 | 0.13
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997790 | 997827 | -37 | 74000 | 0.074 | 996503 | 996677 | -174 | 348000 | 0.348
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999479 | 999552 | -73 | 73000 | 0.073 | 995264 | 995639 | -375 | 375000 | 0.375
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 239 | 239 | 0 | 0 | 0 | 1284 | 1534 | -250 | -156250 | -0.15625
LODHI ROAD
35 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 102749 | 102665 | 84 | 8400 | 0.0084 | 76359 | 76217 | 142 | 14200 | 0.0142
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4231 | 4302 | -71 | -7100 | -0.0071 | 1552 | 1442 | 110 | 11000 | 0.011
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 6214 | 5898 | 316 | 31600 | 0.0316 | 70841 | 70830 | 11 | 1100 | 0.0011
[5 empty] | 100 | 5645 | 5655 | -10 | -1000 | -0.001
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21595 | 21497 | 98 | 49000 | 0.049 | 4950 | 4921 | 29 | 14500 | 0.0145
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 490711 | 490103 | 608 | -60800 | -0.0608 | 88074 | 86269 | 1805 | -180500 | -0.1805
[5 empty] | -100 | 488295 | 488198 | 97 | -9700 | -0.0097
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2069 | 2057 | 12 | -12000 | -0.012 | 1642 | 1823 | -181 | 181000 | 0.181
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10810 | 10810 | 0 | 0 | 0 | 24741 | 24109 | 632 | -47400 | -0.0474
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5310 | 5310 | 0 | 0 | 0 | 18196 | 17667 | 529 | -52900 | -0.0529
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -2.788 |  |  |  |  | 2.1032
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -2.788 |  |  |  |  | 2.1032
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.44445 |  |  |  |  | -0.0062346
| TOTAL ENERGY TO NDMC | [8 empty] | -3.2325 |  |  |  |  | 2.097

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2021
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3782 | 3782 | 0 | 0 | 0 | 76917 | 76016 | 901 | 180200 | 0.1802
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 1111 | 1111 | 0 | 0 | 0 | 28736 | 27611 | 1125 | 180000 | 0.18
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4655 | 4655 | 0 | 0 | 0 | 59048 | 58758 | 290 | 290000 | 0.29
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 279 | 280 | -1 | -400 | -0.0004 | 19070 | 19081 | -11 | -4400 | -0.0044
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999724 | 999700 | 24 | 19200 | 0.0192 | 726 | 665 | 61 | 48800 | 0.0488
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2015 | 1813 | 202 | 80800 | 0.0808 | 5916 | 5711 | 205 | 82000 | 0.082
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1130 | 1130 | 0 | 0 | 0 | 999298 | 999084 | 214 | 214000 | 0.214
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0996 |  |  |  |  | 0.9906
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 2816 | 1039 | 1777 | 66637.5 | 0.066638 | 6996 | 5715 | 1281 | 48037.5 | 0.048037
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78 | 0 | 78 | 7800 | 0.0078 | 79 | 75 | 4 | 400 | 0.0004 | w.e.f 28/5
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 3804 | 3658 | 146 | 10950 | 0.01095 | 32872 | 32120 | 752 | 56400 | 0.0564
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 105 | 105 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 783 | 767 | 16 | 1200 | 0.0012 | 1746 | 1710 | 36 | 2700 | 0.0027
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4379 | 4379 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.086588 |  |  |  |  | 0.10754
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0996 |  |  |  |  | 0.9906
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.18619 |  |  |  |  | 1.0981
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.18619 | (REACTIVE MUs) |  |  |  | 1.0981 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.07483 | (REACTIVE MUs) |  |  |  | -0.0010497 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.11136 | (REACTIVE MUs) |  |  |  | 1.0971 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2021
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 990213 | 990084 | 129 | 80625 | 0.080625 | 183 | 77 | 106 | 66250 | 0.06625
2 | 66KV Rly Ckt-2 | 4864984 | ELSTER | Kvarh(Lead/Lag) | 500 | 987438 | 987432 | 6 | 3000 | 0.003 | 999879 | 999896 | -17 | -8500 | -0.0085 | Check meter
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 996181 | 996101 | 80 | 64000 | 0.064 | 6205 | 6138 | 67 | 53600 | 0.0536
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 44600 | 29170 | 15430 | -15430 | -0.01543 | 190050 | 178290 | 11760 | -11760 | -0.01176
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 21010 | 19390 | 1620 | -1620 | -0.00162 | 327320 | 315209 | 12111 | -12111 | -0.012111
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 91500 | 73100 | 18400 | -18400 | -0.0184 | 984600 | 935299 | 49301 | -49301 | -0.049301
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.11217 |  |  |  |  | 0.038178
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.039043 |  |  |  |  | -0.00054769
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.073132 |  |  |  |  | 0.03763

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2021
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 933264 | 933354 | -90 | -9000 | -0.009 | 203 | 1737 | -1534 | -153400 | -0.1534
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 44989 | 44994 | -5 | -500 | -0.0005 | 2442 | 6080 | -3638 | -363800 | -0.3638
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 16721 | 16721 | 0 | 0 | 0 | 5676 | 4690 | 986 | 493000 | 0.493
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997860 | 997855 | 5 | 4687.5 | 0.0046875 | 999723 | 999802 | -79 | -74062.5 | -0.074063
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999925 | 999927 | -2 | 2000 | 0.002 | 999858 | 999976 | -118 | 118000 | 0.118
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993094 | 993098 | -4 | 2000 | 0.002 | 999929 | 999855 | 74 | -37000 | -0.037
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 231 | 0 | 0 | 0 | 5 | 9 | -4 | -1200 | -0.0012
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.0008125 |  |  |  |  | -0.018463
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 968177 | 968177 | 0 | 0 | 0 | 994328 | 995301 | -973 | -194600 | -0.1946
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 986839 | 986835 | 4 | 3750 | 0.00375 | 999507 | 999580 | -73 | -68437.5 | -0.068437
| TOTAL (BSES Y.P.L.) | [8 empty] | 0.00375 |  |  |  |  | -0.26304
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1748 | 1748 | 0 | 0 | 0 | 998667 | 998847 | -180 | -225000 | -0.225
11 | O/G 33KV RAMPURA-1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | 140.625 | 63380 | 63380 | 0 | 0 | 0 | 991118 | 994989 | -3871 | -544359.375 | -0.54436
12 | O/G 33KV RAMPURA-2 | 4864790 | ELSTER | Kvarh(Lead/Lag) | 166.667 | 44199 | 44199 | 0 | 0 | 0 | 991708 | 994896 | -3188 | -531334.396 | -0.53133
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 3750 | 944 | 944 | 0 | 0 | 0 | 449 | 518 | -69 | -258750 | -0.25875
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 948781 | 948788 | -7 | -1400 | -0.0014 | 998116 | 998361 | -245 | -49000 | -0.049
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 987202 | 987185 | 17 | 2550 | 0.00255 | 988581 | 987855 | 726 | 108900 | 0.1089
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 999986 | 999994 | -8 | 5000 | 0.005 | 999964 | 999999 | -35 | 21875 | 0.021875
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 231 | 0 | 0 | 0 | 5 | 9 | -4 | 1200 | 0.0012
| TOTAL NDPL | [8 empty] | 0.00615 |  |  |  |  | -1.4765
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.0008125 |  |  |  |  | -0.018463
| F) NET EXPORT TO BSES YPL | [8 empty] | 0.00375 |  |  |  |  | -0.26304
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.00615 |  |  |  |  | -1.4765

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2021
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 125871 | 124848 | 1023 | 1023000 | 1.023 | 47947 | 47955 | -8 | -8000 | -0.008
[5 empty] | 1000 | [5 empty] | 28780 | 28863 | -83 | -83000 | -0.083
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 10259 | 9820 | 439 | 878000 | 0.878 | 1668 | 1729 | -61 | -122000 | -0.122
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 902030 | 904130 | -2100 | 1050000 | 1.05 | 998004 | 998005 | -1 | 500 | 0.0005
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 427854 | 430559 | -2705 | 270500 | 0.2705 | 984122 | 984122 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 3.2215 |  | NET REACTIVE ENERGY |  |  | -0.2125
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 3.2215 |  |  |  |  | -0.2125
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -9.945 |  |  |  |  | -0.0066666
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -4.386 |  |  |  |  | -0.48275
[7 empty] | NDMC = |  |  | -0.3975 |  |  |  |  | 0.5405
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -14.7285 |  |  |  |  | 0.051083
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -11.507 |  |  |  |  | -0.16142
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 30.1998 | % |  |  | -3.4751 |  |  |  |  | -0.048747
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.1679 | % |  |  | -4.8523 |  |  |  |  | -0.068066
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.7803 | % |  |  | -2.6213 |  |  |  |  | -0.036771
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.8624 | % |  |  | -0.44445 |  |  |  |  | -0.0062346
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6503 | % |  |  | -0.07483 |  |  |  |  | -0.0010497
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.3393 | % |  |  | -0.039043 |  |  |  |  | -0.00054769
Note :Sharing taken from wk-17 abt bill 2021-22

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JULY-2021 TO 31st JULY-2021
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -17.8654 | + | 3.4264
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -8.327 |  | -0.054334
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -14.5244 | + | 6.6754
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -3.2325 | + | 2.097
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.11136 | + | 1.0971
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.073132 | + | 0.03763
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2021 | INTIAL READING 01/07/2021 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83