## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JANUARY-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965023 | 964991 | 32 | -32000 | -0.032 | 996955 | 996998 | -43 | 43000 | 0.043
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 84678 | 84146 | 532 | -1064000 | -1.064 | 4688 | 4614 | 74 | -148000 | -0.148
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2331 | 1702 | 629 | -629000 | -0.629 | 248 | 231 | 17 | -17000 | -0.017
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28714 | 27419 | 1295 | -1295000 | -1.295 | 95026 | 93728 | 1298 | -1298000 | -1.298
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998486 | 998485 | 1 | -1000 | -0.001 | 992155 | 992370 | -215 | 215000 | 0.215
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 898521 | 898517 | 4 | -4000 | -0.004 | 26859 | 26886 | -27 | 27000 | 0.027
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4112 | 2078 | 2034 | -2034000 | -2.034 | 5 | 0 | 5 | -5000 | -0.005
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16704 | 14968 | 1736 | -1736000 | -1.736 | 998221 | 998214 | 7 | -7000 | -0.007
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9954 | 8438 | 1516 | -1516000 | -1.516 | 997677 | 997651 | 26 | -26000 | -0.026
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 969495 | 967656 | 1839 | -919500 | -0.9195 | 838760 | 838766 | -6 | 3000 | 0.003
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 957 | 1066 | -109 | 109000 | 0.109 | 998779 | 998771 | 8 | -8000 | -0.008
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6990 | 5654 | 1336 | -1336000 | -1.336 | 999896 | 999891 | 5 | -5000 | -0.005
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 45962 | 43047 | 2915 | -2915000 | -2.915 | 996715 | 996708 | 7 | -7000 | -0.007
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 16874 | 15007 | 1867 | -1867 | -1.867 | 99999725 | 99999735 | -10 | 10 | 0.01
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 774290 | 779176 | -4886 | -4886000 | -4.886 | 999752 | 999752 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 892960 | 900842 | -7882 | -3941000 | -3.941 | 999995 | 999995 | 0 | 0 | 0
[10 empty] | 7 | [5 empty] | Assessment due to wrong MF
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11144 | 10755 | 389 | -389000 | -0.389 | 999931 | 999959 | -28 | 28000 | 0.028
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 60097 | 58783 | 1314 | -657000 | -0.657 | 275 | 277 | -2 | 1000 | 0.001
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51820 | 51045 | 775 | -775000 | -0.775 | 998642 | 998626 | 16 | -16000 | -0.016
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999861 | 999885 | -24 | -24000 | -0.024 | 989936 | 990076 | -140 | -140000 | -0.14
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999936 | 999968 | -32 | -128000 | -0.128 | 999996 | 1000012 | -16 | -64000 | -0.064
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1355 | 1353 | 2 | 1000 | 0.001 | 14098 | 13983 | 115 | 57500 | 0.0575
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 37295 | 36364 | 931 | 46550 | 0.04655 | 185453 | 185239 | 214 | 10700 | 0.0107
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999771 | 999873 | -102 | -102000 | -0.102 | 998830 | 998883 | -53 | -53000 | -0.053
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999451 | 999490 | -39 | -39000 | -0.039 | 998950 | 998783 | 167 | 167000 | 0.167
26 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 47798 | 50349 | -2551 | -255100 | -0.2551 | 192190 | 192248 | -58 | -5800 | -0.0058
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995424 | 996635 | -1211 | -1211000 | -1.211 | 999457 | 999507 | -50 | -50000 | -0.05
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 947393 | 951137 | -3744 | -1872000 | -1.872 | 999897 | 999897 | 0 | 0 | 0
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 996043 | 996421 | -378 | -100801.26 | -0.1008 | 999876 | 999877 | -1 | -266.67 | -0.00026667
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2219 | 2184 | 35 | 17500 | 0.0175 | 250 | 232 | 18 | 9000 | 0.009
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44277 | 42760 | 1517 | -1517000 | -1.517 | 996513 | 996549 | -36 | 36000 | 0.036 | Data till 25/1
[10 empty] | -0.3034 |  |  |  |  | 0.0072 | Assessment
32 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 227125 | 221756 | 5369 | -2684500 | -2.6845 | 17495 | 17437 | 58 | -29000 | -0.029
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4655 | 4208 | 447 | -894000 | -0.894 | 999653 | 999674 | -21 | 42000 | 0.042
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 46377 | 43940 | 2437 | -2437000 | -2.437 | 998978 | 999008 | -30 | 30000 | 0.03
DSIDC BAWANA
35 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 107712 | 102559 | 5153 | -10306000 | -10.306 | 292 | 288 | 4 | -8000 | -0.008
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 106560 | 102736 | 3824 | -3824000 | -3.824 | 998443 | 998461 | -18 | 18000 | 0.018
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 78822 | 59631 | 19191 | -6396936.03 | -6.3969 | 175 | 144 | 31 | -10333.23 | -0.010333
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 14624 | 13047 | 1577 | -3154000 | -3.154 | 248 | 245 | 3 | -6000 | -0.006
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 66544 | 63244 | 3300 | -3300000 | -3.3 | 1670 | 1664 | 6 | -6000 | -0.006
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | 1 | 357000 | 22000 | 335000 | 335000 | 0.335 | -3000 | 6000 | -9000 | -9000 | -0.009 | loaded on 4/1/21
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | 1 | 3719000 | 1884000 | 1835000 | 1835000 | 1.835 | -1600 | 0 | -1600 | -1600 | -0.0016
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3888 | 1573 | 2315 | -2315000 | -2.315 | 997842 | 997840 | 2 | -2000 | -0.002
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 50039 | 48559 | 1480 | -1480000 | -1.48 | 1621 | 1622 | -1 | 1000 | 0.001
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998590 | 999015 | -425 | -425000 | -0.425 | 26335 | 26629 | -294 | -294000 | -0.294
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | JANUARY-2021
DMS
45 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 853 | 870 | -17 | -17000 | -0.017 | 61206 | 61206 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999491 | 999509 | -18 | -1800 | -0.0018
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3052 | 3073 | -21 | -2100 | -0.0021 | 30862 | 30891 | -29 | -2900 | -0.0029
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 773 | 773 | 0 | 0 | 0 | 558 | 560 | -2 | -2666 | -0.002666
50 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 3192 | 3179 | 13 | 1300 | 0.0013 | 1949 | 1616 | 333 | 33300 | 0.0333
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 2068 | 2086 | -18 | -1800 | -0.0018 | 3397 | 3512 | -115 | -11500 | -0.0115
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999832 | 999866 | -34 | -17000 | -0.017 | 2125 | 2126 | -1 | -500 | -0.0005
57 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 2415 | 2429 | -14 | -9333.38 | -0.0093334 | 440 | 433 | 7 | 4666.69 | 0.0046667
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1003 | 986 | 17 | 8500 | 0.0085 | 471 | 448 | 23 | 11500 | 0.0115
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 995309 | 995542 | -233 | -23300 | -0.0233 | 3179 | 3174 | 5 | 500 | 0.0005
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 8021 | 8028 | -7 | -700 | -0.0007 | 13241 | 13418 | -177 | -17700 | -0.0177
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 10807 | 10804 | 3 | 300 | 0.0003 | 3359 | 3240 | 119 | 11900 | 0.0119
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 29829 | 29825 | 4 | 400 | 0.0004 | 8920 | 8770 | 150 | 15000 | 0.015
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 60163 | 60865 | -702 | -70200 | -0.0702 | 1738 | 1734 | 4 | 400 | 0.0004
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 999694 | 999708 | -14 | -1866.62 | -0.0018666 | 374 | 365 | 9 | 1199.97 | 0.0012
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 75 | 75 | 0 | 0 | 0 | 664 | 664 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995633 | 995633 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999880 | 999880 | 0 | 0 | 0 | 999437 | 999438 | -1 | -400 | -0.0004
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 965757 | 967461 | -1704 | -1363200 | -1.3632 | 999720 | 999720 | 0 | 0 | 0
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 995644 | 995864 | -220 | -440000 | -0.44 | 1053 | 1053 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 975647 | 977219 | -1572 | -314400 | -0.3144 | 1420 | 1420 | 0 | 0 | 0
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 996930 | 997399 | -469 | -117250 | -0.11725 | 540 | 554 | -14 | -3500 | -0.0035
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989185 | 990022 | -837 | -837000 | -0.837 | 2024 | 2084 | -60 | -60000 | -0.06
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1469 | 1732 | -263 | -197250 | -0.19725 | 3313 | 3312 | 1 | 750 | 0.00075
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -62.8231 |  |  |  |  | -1.5323
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JANUARY-2021
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 18477 | 18451 | 26 | -2600 | -0.0026 | 143629 | 143477 | 152 | -15200 | -0.0152
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 346 | 346 | 0 | 0 | 0 | 628 | 628 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 818 | 817 | 1 | -1000 | -0.001 | 167 | 159 | 8 | -8000 | -0.008
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 4241 | 4680 | -439 | 58531.87 | 0.058532 | 5640 | 5628 | 12 | -1599.96 | -0.0016
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997236 | 997240 | -4 | 750 | 0.00075 | 999743 | 999847 | -104 | 19500 | 0.0195
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 910320 | 911530 | -1210 | 968000 | 0.968 | 997885 | 997946 | -61 | 48800 | 0.0488
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 990167 | 990231 | -64 | 40000 | 0.04 | 14 | 12 | 2 | -1250 | -0.00125
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 990565 | 990560 | 5 | -3125 | -0.003125 | 999870 | 999852 | 18 | -11250 | -0.01125
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 995032 | 995508 | -476 | 95200 | 0.0952 | 14611 | 14619 | -8 | 1600 | 0.0016
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 990973 | 991450 | -477 | 89437.5 | 0.089438 | 5406 | 5408 | -2 | 375 | 0.000375
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 988953 | 989923 | -970 | 181875 | 0.18188 | 4079 | 4077 | 2 | -375 | -0.000375
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 4433 | 4461 | -28 | 7000 | 0.007 | 8046 | 8042 | 4 | -1000 | -0.001
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 995666 | 996771 | -1105 | 110500 | 0.1105 | 29796 | 29786 | 10 | -1000 | -0.001
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.5446 |  |  |  |  | 0.0306
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -62.8231 |  |  |  |  | -1.5323
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.5446 |  |  |  |  | 0.0306
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.36463 |  |  |  |  | -0.059775
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -61.6431 |  |  |  |  | -1.5615
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -61.6431 | (REACTIVE MUs) |  |  |  | -1.5615 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -6.6377 | (REACTIVE MUs) |  |  |  | -0.0094686 | (REACTIVE MUs)
[9 empty] | TOTAL | -68.2808 | (REACTIVE MUs) |  |  |  | -1.571 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JANUARY-2021
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 37279 | 38054 | -775 | -77500 | -0.0775 | 994360 | 994367 | -7 | -700 | -0.0007
|  | 4865110 | ELSTER | Kvarh(Lead/Lag) | 266.667 | 36918 | 37279 | -361 | -96266.787 | -0.096267 | 994358 | 994360 | -2 | -533.334 | -0.00053333 | CTR 300/5 to 800/5 w.e.f 16/1
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 11823 | 12123 | -300 | -90000 | -0.09 | 2872 | 3019 | -147 | -44100 | -0.0441
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 350783 | 349878 | 905 | 67875 | 0.067875 | 403443 | 403148 | 295 | 22125 | 0.022125
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 993311 | 994030 | -719 | -215700 | -0.2157 | 5892 | 5906 | -14 | -4200 | -0.0042
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1558 | 1574 | -16 | -21332.8 | -0.021333 | 3597 | 3601 | -4 | -5333.2 | -0.0053332
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 13655 | 14068 | -413 | -41300 | -0.0413 | 3806 | 3767 | 39 | 3900 | 0.0039
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 158901 | 160687 | -1786 | -133950 | -0.13395 | 892543 | 892341 | 202 | 15150 | 0.01515
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 977969 | 978343 | -374 | -374000 | -0.374 | 2276 | 2276 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 986752 | 987435 | -683 | -341500 | -0.3415 | 178 | 178 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998879 | 999156 | -277 | -277000 | -0.277 | 999997 | 999998 | -1 | -1000 | -0.001
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985216 | 985585 | -369 | -369000 | -0.369 | 1348 | 1350 | -2 | -2000 | -0.002
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987840 | 988036 | -196 | -196000 | -0.196 | 6257 | 6257 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994799 | 995167 | -368 | -368000 | -0.368 | 998635 | 998637 | -2 | -2000 | -0.002
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994346 | 994334 | 12 | 12000 | 0.012 | 352 | 352 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 995433 | 995784 | -351 | -280800 | -0.2808 | 5204 | 5204 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 10355 | 12007 | -1652 | -220261.16 | -0.22026 | 3650 | 3650 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 311 | 489 | -178 | -178000 | -0.178 | 9732 | 9732 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1137 | 1114 | 23 | 23000 | 0.023 | 17471 | 17471 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 970389 | 970817 | -428 | -535000 | -0.535 | 948264 | 948423 | -159 | -198750 | -0.19875
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980420 | 981812 | -1392 | -1392000 | -1.392 | 935066 | 935390 | -324 | -324000 | -0.324
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999014 | 999303 | -289 | -289000 | -0.289 | 999316 | 999410 | -94 | -94000 | -0.094
| KASHMIRI GATE | [8 empty] | -2.216 |  |  |  |  | -0.61675
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985162 | 985252 | -90 | 90000 | 0.09 | 998213 | 998243 | -30 | 30000 | 0.03
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983970 | 983793 | 177 | -177000 | -0.177 | 998819 | 998823 | -4 | 4000 | 0.004
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 75 | 75 | 0 | 0 | 0 | 664 | 664 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999640 | 999726 | -86 | -86000 | -0.086 | 13484 | 13493 | -9 | -9000 | -0.009
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 196794 | 195887 | 907 | -907000 | -0.907 | 9149 | 9131 | 18 | -18000 | -0.018
|  | 5295160 | ELSTER | Kvarh(Lead/Lag) | -1000 | 194245 | 192235 | 2010 | -2010000 | -2.01 | 8963 | 8769 | 194 | -194000 | -0.194
|  | 5295161 | ELSTER | Kvarh(Lead/Lag) | -1000 | 191851 | 191518 | 333 | -333000 | -0.333
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 52108 | 49524 | 2584 | -2584000 | -2.584 | 503 | 329 | 174 | -174000 | -0.174
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2967 | 1823 | 1144 | -1144000 | -1.144 | 999277 | 999277 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3563 | 2872 | 691 | -691000 | -0.691 | 998447 | 998448 | -1 | 1000 | 0.001
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 76227 | 73965 | 2262 | -2262000 | -2.262 | 982852 | 982857 | -5 | 5000 | 0.005
[5 empty] | -1000 | 44528 | 41663 | 2865 | -2865000 | -2.865
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 55614 | 53787 | 1827 | -1827000 | -1.827 | 323 | 323 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 40023 | 38614 | 1409 | -2818000 | -2.818 | 25 | 25 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 818 | 817 | 1 | 1000 | 0.001 | 167 | 159 | 8 | 8000 | 0.008
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 4241 | 4680 | -439 | -58531.87 | -0.058532 | 5640 | 5628 | 12 | 1599.96 | 0.0016
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 993438 | 993517 | -79 | -10507 | -0.010507 | 7762 | 7872 | -110 | -14630 | -0.01463
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 950395 | 950395 | 0 | 0 | 0 | 990785 | 990785 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970961 | 970961 | 0 | 0 | 0 | 999923 | 999923 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -23.0758 |  |  |  |  | -0.99547
| (A) NET ENERGY TO CENTRAL | [8 empty] | -23.0758 |  |  |  |  | -0.99547
JANUARY-2021
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989627 | 988832 | 795 | -795000 | -0.795 | 997130 | 997200 | -70 | 70000 | 0.07
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977692 | 976685 | 1007 | -1007000 | -1.007 | 962494 | 962535 | -41 | 41000 | 0.041
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992069 | 991631 | 438 | -438000 | -0.438 | 997654 | 997769 | -115 | 115000 | 0.115
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992225 | 990955 | 1270 | -1270000 | -1.27 | 998413 | 998435 | -22 | 22000 | 0.022
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31301 | 29809 | 1492 | -1492000 | -1.492 | 997620 | 997541 | 79 | -79000 | -0.079
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16596 | 15122 | 1474 | -1474000 | -1.474 | 996627 | 996543 | 84 | -84000 | -0.084
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8996 | 7913 | 1083 | -1083000 | -1.083 | 12193 | 12223 | -30 | 30000 | 0.03
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1884 | 1210 | 674 | -674000 | -0.674 | 999910 | 999903 | 7 | -7000 | -0.007
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 931495 | 930752 | 743 | -743000 | -0.743 | 978699 | 978697 | 2 | -2000 | -0.002
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985699 | 984457 | 1242 | -1242000 | -1.242 | 974764 | 974764 | 0 | 0 | 0
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965692 | 964794 | 898 | -898000 | -0.898 | 825275 | 825275 | 0 | 0 | 0
GAZIPUR
13 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5278 | 4159 | 1119 | -2238000 | -2.238 | 7 | 4 | 3 | -6000 | -0.006
14 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3952 | 3116 | 836 | -836000 | -0.836 | 79 | 77 | 2 | -2000 | -0.002
15 | TX-3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23407 | 23012 | 395 | -395000 | -0.395 | 225 | 225 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -14.585 |  |  |  |  | 0.098
| (B) NET ENERGY TO EAST | [8 empty] | -14.585 |  |  |  |  | 0.098
JANUARY-2021
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 996043 | 996421 | -378 | 100801.26 | 0.1008 | 999876 | 999877 | -1 | 266.67 | 0.00026667
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2219 | 2184 | 35 | -17500 | -0.0175 | 250 | 232 | 18 | -9000 | -0.009
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 3064 | 3346 | -282 | 75198.12 | 0.075198 | 2221 | 2221 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 112841 | 113135 | -294 | 29400 | 0.0294 | 152456 | 152457 | -1 | 100 | 0.0001
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 985898 | 986740 | -842 | 168400 | 0.1684 | 999329 | 999329 | 0 | 0 | 0
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 615 | 618 | -3 | 3000 | 0.003 | 22 | 22 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 2413 | 2466 | -53 | 42400 | 0.0424 | 2655 | 2636 | 19 | -15200 | -0.0152
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3029 | 3076 | -47 | 37600 | 0.0376 | 1323 | 1314 | 9 | -7200 | -0.0072
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 987584 | 988143 | -559 | 447200 | 0.4472 | 998723 | 998792 | -69 | 55200 | 0.0552
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 954342 | 954874 | -532 | 425600 | 0.4256 | 980050 | 980319 | -269 | 215200 | 0.2152
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 959042 | 959431 | -389 | 311200 | 0.3112 | 989812 | 989864 | -52 | 41600 | 0.0416
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 995403 | 995622 | -219 | 438000 | 0.438 | 999541 | 999556 | -15 | 30000 | 0.03
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992382 | 992812 | -430 | 860000 | 0.86 | 999491 | 999505 | -14 | 28000 | 0.028
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998590 | 999015 | -425 | 425000 | 0.425 | 26335 | 26629 | -294 | 294000 | 0.294
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 853 | 870 | -17 | 17000 | 0.017 | 61206 | 61206 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
18 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999832 | 999866 | -34 | 17000 | 0.017 | 2125 | 2126 | -1 | 500 | 0.0005
19 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 2415 | 2429 | -14 | 9333.38 | 0.0093334 | 440 | 433 | 7 | -4666.69 | -0.0046667
20 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1003 | 986 | 17 | -8500 | -0.0085 | 471 | 448 | 23 | -11500 | -0.0115
KASHMIRI GATE
21 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 60163 | 60865 | -702 | 70200 | 0.0702 | 1738 | 1734 | 4 | -400 | -0.0004
22 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 999694 | 999708 | -14 | 1866.62 | 0.0018666 | 374 | 365 | 9 | -1199.97 | -0.0012
D.M.S
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 995309 | 995542 | -233 | 23300 | 0.0233 | 3179 | 3174 | 5 | -500 | -0.0005
FAIZ ROAD
24 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 8021 | 8028 | -7 | 700 | 0.0007 | 13241 | 13418 | -177 | 17700 | 0.0177
25 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 10807 | 10804 | 3 | -300 | -0.0003 | 3359 | 3240 | 119 | -11900 | -0.0119
26 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 29829 | 29825 | 4 | -400 | -0.0004 | 8920 | 8770 | 150 | -15000 | -0.015
FED FROM BYPL (RLY.)
27 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 23410 | 23100 | 310 | 310 | 0.00031 | 76930 | 66670 | 10260 | 10260 | 0.01026
28 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 13190 | 10920 | 2270 | 2270 | 0.00227 | 215410 | 194980 | 20430 | 20430 | 0.02043
29 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 57100 | 52200 | 4900 | 4900 | 0.0049 | 654000 | 610400 | 43600 | 43600 | 0.0436
[10 empty] | 3.484 |  |  |  |  | 0.68029
JANUARY-2021
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -23.0758 |  |  |  |  | -0.99547
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 3.484 |  |  |  |  | 0.68029
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.27931 |  |  |  |  | 0.041925
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -19.8711 |  |  |  |  | -0.27326
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -14.585 |  |  |  |  | 0.098
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -34.4561 |  |  |  |  | -0.17526
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -34.4561 | (REACTIVE MUs) |  |  |  | -0.17526 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -4.4012 | (REACTIVE MUs) |  |  |  | -0.0062782 | (REACTIVE MUs)
[9 empty] | TOTAL | -38.8573 | (REACTIVE MUs) |  |  |  | -0.18153 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JANUARY-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 998746 | 998772 | -26 | -130000 | -0.13 | 998751 | 998756 | -5 | -25000 | -0.025
|  | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998635 | 998746 | -111 | -111000 | -0.111 | 998721 | 998751 | -30 | -30000 | -0.03 | CTR800/1 to 800/5 w.e.f 17/1
2 | BAY-25 | 4864829 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 985322 | 985606 | -284 | -37865.72 | -0.037866 | 1251 | 1310 | -59 | -7866.47 | -0.0078665 | Check Meter Data
|  | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999814 | 1000000 | -186 | -186000 | -0.186 | 999964 | 1000000 | -36 | -36000 | -0.036 | w.e.f 8/1/21
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 986023 | 987459 | -1436 | -287200 | -0.2872 | 357 | 872 | -515 | -103000 | -0.103
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999893 | 1000108 | -215 | -286665.95 | -0.28667 | 999702 | 999711 | -9 | -11999.97 | -0.012
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 998518 | 998658 | -140 | -210000 | -0.21 | 999969 | 999974 | -5 | -7500 | -0.0075
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 13146 | 13634 | -488 | -48800 | -0.0488 | 21727 | 21801 | -74 | -7400 | -0.0074
7 | BAY-37 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 75 | 988427 | 991191 | -2764 | -207300 | -0.2073 | 999624 | 999730 | -106 | -7950 | -0.00795
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 945927 | 948785 | -2858 | -214350 | -0.21435 | 17378 | 17378 | 0 | 0 | 0 | Data till 18/1
|  | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 974619 | 975003 | -384 | -38400 | -0.0384 | 16316 | 16374 | -58 | -5800 | -0.0058 | Check Meter Data
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 900 | 997794 | 997963 | -169 | -152100 | -0.1521 | 999791 | 999807 | -16 | -14400 | -0.0144
[5 empty] | 800 | 997787 | 997794 | -7 | -5600 | -0.0056 | 999791 | 999789 | 2 | 1600 | 0.0016 | CTR 900/5 to 800/5 w.e.f 20/1
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 991809 | 992612 | -803 | -80300 | -0.0803 | 265113 | 265129 | -16 | -1600 | -0.0016
PAAPANKALAN
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 222 | 152 | 70 | -466666.62 | -0.46667 | 5 | 4 | 1 | -6666.666 | -0.0066667
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17223 | 16186 | 1037 | -1037000 | -1.037 | 996550 | 996534 | 16 | -16000 | -0.016
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3012 | 2759 | 253 | -506000 | -0.506 | 997109 | 997084 | 25 | -50000 | -0.05
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16732 | 16565 | 167 | -167000 | -0.167 | 996338 | 996341 | -3 | 3000 | 0.003
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953491 | 953491 | 0 | 0 | 0 | 991729 | 990549 | 1180 | -1180000 | -1.18
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 105701 | 103301 | 2400 | -2400000 | -2.4 | 18993 | 18987 | 6 | -6000 | -0.006
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 77125 | 75889 | 1236 | -618000 | -0.618 | 36151 | 36148 | 3 | -1500 | -0.0015
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 22440 | 21120 | 1320 | -2640000 | -2.64 | 998521 | 998510 | 11 | -22000 | -0.022
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 939355 | 938286 | 1069 | -1069000 | -1.069 | 813981 | 813990 | -9 | 9000 | 0.009
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 35615 | 31121 | 4494 | -3595200 | -3.5952 | 1180 | 1165 | 15 | -12000 | -0.012
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 74324 | 71184 | 3140 | -2512000 | -2.512 | 998281 | 998265 | 16 | -12800 | -0.0128
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958969 | 960371 | -1402 | 1402000 | 1.402 | 960737 | 960742 | -5 | 5000 | 0.005
[5 empty] | -1000 | 964658 | 964564 | 94 | -94000 | -0.094 | 960995 | 960995 | 0 | 0 | 0
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 967052 | 968221 | -1169 | 2338000 | 2.338 | 992251 | 992251 | 0 | 0 | 0
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 917915 | 918280 | -365 | 730000 | 0.73 | 983786 | 983791 | -5 | 10000 | 0.01
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10646 | 10353 | 293 | -293000 | -0.293 | 997056 | 997056 | 0 | 0 | 0
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5534 | 5339 | 195 | -195000 | -0.195 | 53 | 53 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980591 | 980510 | 81 | -81000 | -0.081 | 999981 | 999928 | 53 | -53000 | -0.053
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 192390 | 188698 | 3692 | -3692000 | -3.692 | 56470 | 56428 | 42 | -42000 | -0.042
[5 empty] | -1000 | [5 empty] | 56361 | 56354 | 7 | -7000 | -0.007
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 2656 | 2656 | 0 | 0 | 0 | 36 | 36 | 0 | 0 | 0
|  | 5100228 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 12/1/21
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 346 | 346 | 0 | 0 | 0 | 628 | 628 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 948051 | 948827 | -776 | 776000 | 0.776 | 965531 | 965534 | -3 | 3000 | 0.003
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978951 | 978941 | 10 | -10000 | -0.01 | 984010 | 984012 | -2 | 2000 | 0.002
33 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 77861 | 74288 | 3573 | -3573000 | -3.573 | 985605 | 985600 | 5 | -5000 | -0.005
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 25361 | 22918 | 2443 | -1954400 | -1.9544 | 999017 | 999017 | 0 | 0 | 0
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 44960 | 44318 | 642 | -1027200 | -1.0272 | 978836 | 978836 | 0 | 0 | 0
[5 empty] | -1600 | 44153 | 43979 | 174 | -278400 | -0.2784
[5 empty] | -1600 | 39121 | 38855 | 266 | -425600 | -0.4256
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997335 | 997111 | 224 | -448000 | -0.448 | 984293 | 984320 | -27 | 54000 | 0.054
37 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 6666 | 6588 | 78 | -39000 | -0.039 | 989699 | 989729 | -30 | 15000 | 0.015
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22278 | 21989 | 289 | -289000 | -0.289 | 31772 | 31774 | -2 | 2000 | 0.002
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2141 | 1609 | 532 | -532000 | -0.532 | 996436 | 996435 | 1 | -1000 | -0.001
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 745 | 407 | 338 | -338000 | -0.338 | 999967 | 999949 | 18 | -18000 | -0.018
BRPL(+) continue | [14 empty] | JANUARY-2021
VASANT KUNJ
41 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 49575 | 48826 | 749 | -749000 | -0.749 | 999526 | 999523 | 3 | -3000 | -0.003
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10855 | 10030 | 825 | -825000 | -0.825 | 78 | 77 | 1 | -1000 | -0.001
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6132 | 5243 | 889 | -889000 | -0.889 | 999546 | 999545 | 1 | -1000 | -0.001
[5 empty] | -1000 | 5007 | 5007 | 0 | 0 | 0
[10 empty] | 0.37 | [5 empty] | Assessment
MEHRAULI
44 | Tx.1 | 4864928 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4756 | 3543 | 1213 | -1213000 | -1.213 | 239 | 235 | 4 | -4000 | -0.004
45 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4720 | 3790 | 930 | -930000 | -0.93 | 924906 | 924913 | -7 | 7000 | 0.007
46 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 57079 | 56071 | 1008 | -1008000 | -1.008 | 9853 | 9845 | 8 | -8000 | -0.008
[5 empty] | -1000 | 46087 | 45801 | 286 | -286000 | -0.286
47 | Tx.4 | 4865023 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2888 | 1978 | 910 | -1820000 | -1.82 | 999598 | 999598 | 0 | 0 | 0
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 71258 | 70145 | 1113 | -1113000 | -1.113 | 997176 | 997176 | 0 | 0 | 0
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 43244 | 40044 | 3200 | -6400000 | -6.4 | 999381 | 999381 | 0 | 0 | 0
DIAL
50 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 9932 | 9625 | 307 | -614000 | -0.614 | 2692 | 2691 | 1 | -2000 | -0.002
51 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8244 | 7895 | 349 | -698000 | -0.698 | 1522 | 1522 | 0 | 0 | 0
MASJID MOD
52 | Tx-1 | 5295132 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985472 | 985348 | 124 | -124000 | -0.124 | 57997 | 58003 | -6 | 6000 | 0.006 | Check Meter Data
[5 empty] | -1000 | 985126 | 985101 | 25 | -25000 | -0.025
|  | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999999 | 1000000 | -1 | 1000 | 0.001 | 0 | 0 | 0 | 0 | 0 | w.e.f 29/1/21
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994667 | 994560 | 107 | -107000 | -0.107 | 994683 | 994704 | -21 | 21000 | 0.021
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997269 | 996957 | 312 | -312000 | -0.312 | 987081 | 987091 | -10 | 10000 | 0.01
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 998506 | 998895 | 0 | 0 | 0 | 999993 | 999993 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 980083 | 981255 | -1172 | -937600 | -0.9376 | 612 | 610 | 2 | 1600 | 0.0016
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 940763 | 942784 | -2021 | -1616800 | -1.6168 | 999482 | 999484 | -2 | -1600 | -0.0016
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 998341 | 998778 | -437 | -349600 | -0.3496 | 999838 | 999838 | 0 | 0 | 0
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 995860 | 995983 | -123 | -98400 | -0.0984 | 43 | 43 | 0 | 0 | 0
PARK STREET
61 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992382 | 992812 | -430 | -860000 | -0.86 | 999491 | 999505 | -14 | -28000 | -0.028
62 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
63 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 87988 | 85772 | 2216 | -4432000 | -4.432 | 990 | 970 | 20 | -40000 | -0.04
64 | Tx-2 | 5128415 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20455 | 20454 | 1 | -1000 | -0.001 | 3974 | 3500 | 474 | -474000 | -0.474
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 117614 | 117575 | 39 | -39000 | -0.039 | 1614 | 1542 | 72 | -72000 | -0.072
NARAINA
66 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 18477 | 18451 | 26 | 2600 | 0.0026 | 143629 | 143477 | 152 | 15200 | 0.0152
67 | SUDARSHAN PARK
68 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997236 | 997240 | -4 | -750 | -0.00075 | 999743 | 999847 | -104 | -19500 | -0.0195
69 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 945012 | 945900 | -888 | -355200 | -0.3552 | 993071 | 993083 | -12 | -4800 | -0.0048
70 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 8393 | 9348 | -955 | -382000 | -0.382 | 73244 | 73275 | -31 | -12400 | -0.0124
[10 empty] | 0.038 | [5 empty] | Assessment
KANJAWALA
71 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 910320 | 911530 | -1210 | -968000 | -0.968 | 997885 | 997946 | -61 | -48800 | -0.0488
Trauma Centre
72 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 455415 | 453737 | 1678 | 167800 | 0.1678 | 86245 | 86242 | 3 | 300 | 0.0003
[5 empty] | 100 | 453441 | 453243 | 198 | 19800 | 0.0198
73 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3068 | 3372 | -304 | -304000 | -0.304 | 1880 | 1880 | 0 | 0 | 0
A.I.I.M.S.
74 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10810 | 10810 | 0 | 0 | 0 | 23639 | 23662 | -23 | -1725 | -0.001725
75 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5310 | 5310 | 0 | 0 | 0 | 16783 | 16733 | 50 | 5000 | 0.005
PEERGARHI
76 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 8865 | 9166 | -301 | -150500 | -0.1505 | 3221 | 3221 | 0 | 0 | 0
77 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997768 | 998155 | -387 | -387000 | -0.387 | 4211 | 4213 | -2 | -2000 | -0.002
78 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984814 | 985092 | -278 | -278000 | -0.278 | 951 | 948 | 3 | 3000 | 0.003
79 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6614 | 6582 | 32 | 32000 | 0.032 | 6694 | 6693 | 1 | 1000 | 0.001
80 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 1598 | 2389 | -791 | -126560 | -0.12656 | 1572 | 1555 | 17 | 2720 | 0.00272
81 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 1042 | 2299 | -1257 | -125700 | -0.1257 | 910067 | 910027 | 40 | 4000 | 0.004
[10 empty] | 0.0259 | [5 empty] | Assessment
82 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4528 | 4438 | 90 | 90000 | 0.09 | 1118 | 1116 | 2 | 2000 | 0.002
83 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4532 | 4603 | -71 | -71000 | -0.071 | 7431 | 7428 | 3 | 3000 | 0.003
REWARI LINE
84 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 995032 | 995508 | -476 | -95200 | -0.0952 | 14611 | 14619 | -8 | -1600 | -0.0016
85 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 990973 | 991450 | -477 | -89437.5 | -0.089438 | 5406 | 5408 | -2 | -375 | -0.000375
86 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 988953 | 989923 | -970 | -181875 | -0.18188 | 4079 | 4077 | 2 | 375 | 0.000375
87 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 4433 | 4461 | -28 | -7000 | -0.007 | 8046 | 8042 | 4 | 1000 | 0.001
88 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 995666 | 996771 | -1105 | -110500 | -0.1105 | 29796 | 29786 | 10 | 1000 | 0.001
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -53.3631 |  |  |  |  | -2.2285
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JANUARY-2021
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21356 | 21480 | -124 | 62000 | 0.062 | 4880 | 4881 | -1 | 500 | 0.0005
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 993438 | 993517 | -79 | 10533.07 | 0.010533 | 7762 | 7872 | -110 | 14666.3 | 0.014666
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1236 | 1309 | -73 | 73000 | 0.073 | 999099 | 999105 | -6 | 6000 | 0.006
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993829 | 994243 | -414 | 414000 | 0.414 | 2251 | 2251 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 7605 | 8051 | -446 | 71360 | 0.07136 | 29874 | 29877 | -3 | 480 | 0.00048
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3580 | 3622 | -42 | 8400 | 0.0084 | 8230 | 8291 | -61 | 12200 | 0.0122
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979656 | 980476 | -820 | 820000 | 0.82 | 999249 | 999249 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 102669 | 102701 | -32 | 3200 | 0.0032 | 75965 | 75966 | -1 | 100 | 0.0001
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4803 | 4881 | -78 | 7800 | 0.0078 | 1376 | 1376 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 10005 | 11922 | -1917 | 191700 | 0.1917 | 70815 | 70816 | -1 | 100 | 0.0001
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16621 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999904 | 999904 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 64 | 0 | 64 | -40000 | -0.04 | 1447 | 1443 | 4 | -2500 | -0.0025
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999491 | 999509 | -18 | 1800 | 0.0018
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3052 | 3073 | -21 | 2100 | 0.0021 | 30862 | 30891 | -29 | 2900 | 0.0029
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 773 | 773 | 0 | 0 | 0 | 558 | 560 | -2 | 2666 | 0.002666
21 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 3192 | 3179 | 13 | -1300 | -0.0013 | 1949 | 1616 | 333 | -33300 | -0.0333
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 2068 | 2086 | -18 | 1800 | 0.0018 | 3397 | 3512 | -115 | 11500 | 0.0115
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995633 | 995633 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999880 | 999880 | 0 | 0 | 0 | 999437 | 999438 | -1 | 400 | 0.0004
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 995925 | 995618 | 307 | -245600 | -0.2456 | 6137 | 6137 | 0 | 0 | 0
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989185 | 990022 | -837 | 837000 | 0.837 | 2024 | 2084 | -60 | 60000 | 0.06
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1469 | 1732 | -263 | 197250 | 0.19725 | 3313 | 3312 | 1 | -750 | -0.00075
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 2.4132 |  |  |  |  | 0.076762
JANUARY-2021
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -53.3631 |  |  |  |  | -2.2285
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 2.4132 |  |  |  |  | 0.076762
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.88927 |  |  |  |  | -0.044525
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.018488 |  |  |  |  | -0.051263
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -51.8576 |  |  |  |  | -2.2475
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -51.8576 | (REACTIVE MUs) |  |  |  | -2.2475 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -8.8428 | (REACTIVE MUs) |  |  |  | -0.012614 | (REACTIVE MUs)
[9 empty] | TOTAL | -60.7004 | (REACTIVE MUs) |  |  |  | -2.2601 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JANUARY-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3064 | 3346 | -282 | -75200.94 | -0.075201 | 2221 | 2221 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 112841 | 113135 | -294 | -29400 | -0.0294 | 152456 | 152457 | -1 | -100 | -0.0001
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 985898 | 986740 | -842 | -168400 | -0.1684 | 999329 | 999329 | 0 | 0 | 0
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 615 | 618 | -3 | -3000 | -0.003 | 22 | 22 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 2413 | 2466 | -53 | -42400 | -0.0424 | 2655 | 2636 | 19 | 15200 | 0.0152
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3029 | 3076 | -47 | -37600 | -0.0376 | 1323 | 1314 | 9 | 7200 | 0.0072
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 987584 | 988143 | -559 | -447200 | -0.4472 | 998723 | 998792 | -69 | -55200 | -0.0552
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 954342 | 954874 | -532 | -425600 | -0.4256 | 980050 | 980319 | -269 | -215200 | -0.2152
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 959042 | 959431 | -389 | -311200 | -0.3112 | 989812 | 989864 | -52 | -41600 | -0.0416
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 995403 | 995622 | -219 | -438000 | -0.438 | 999541 | 999556 | -15 | -30000 | -0.03
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 962283 | 964000 | -1717 | -85850 | -0.08585 | 19444 | 19637 | -193 | -9650 | -0.00965
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 974402 | 974402 | 0 | 0 | 0 | 22554 | 22554 | 0 | 0 | 0
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 998310 | 998479 | -169 | -84500 | -0.0845 | 5426 | 5443 | -17 | -8500 | -0.0085
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 996492 | 996694 | -202 | -75750 | -0.07575 | 7259 | 7289 | -30 | -11250 | -0.01125
15 | BAY-16 (N BWN) | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 984908 | 986370 | -1462 | -146200 | -0.1462 | 998973 | 999094 | -121 | -12100 | -0.0121
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 11357 | 11707 | -350 | -26250 | -0.02625 | 40514 | 40551 | -37 | -2775 | -0.002775
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 6912 | 8115 | -1203 | -120300 | -0.1203 | 1989 | 2019 | -30 | -3000 | -0.003
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994915 | 995118 | -203 | -203000 | -0.203 | 104498 | 104603 | -105 | -105000 | -0.105
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992958 | 993362 | -404 | -404000 | -0.404 | 2273 | 2407 | -134 | -134000 | -0.134
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984621 | 984772 | -151 | -151000 | -0.151 | 145107 | 145201 | -94 | -94000 | -0.094
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 998663 | 998838 | -175 | -437500 | -0.4375 | 337 | 383 | -46 | -115000 | -0.115
[10 empty] | -1.1955 |  |  |  |  | -0.448
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993829 | 994243 | -414 | -414000 | -0.414 | 2251 | 2251 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 7605 | 8051 | -446 | -71360 | -0.07136 | 29874 | 29877 | -3 | -480 | -0.00048
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3580 | 3622 | -42 | -8400 | -0.0084 | 8230 | 8291 | -61 | -12200 | -0.0122
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979656 | 980476 | -820 | -820000 | -0.82 | 999249 | 999249 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16621 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999904 | 999904 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
JANUARY-2021
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996778 | 996437 | 341 | -341000 | -0.341 | 990012 | 990012 | 0 | 0 | 0
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998092 | 997738 | 354 | -354000 | -0.354 | 995810 | 995810 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997730 | 997646 | 84 | -168000 | -0.168 | 996808 | 996808 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999397 | 999242 | 155 | -155000 | -0.155 | 995930 | 995930 | 0 | 0 | 0
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 64 | 0 | 64 | 40000 | 0.04 | 1447 | 1443 | 4 | 2500 | 0.0025
LODHI ROAD
35 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 102669 | 102701 | -32 | -3200 | -0.0032 | 75965 | 75966 | -1 | -100 | -0.0001
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4803 | 4881 | -78 | -7800 | -0.0078 | 1376 | 1376 | 0 | 0 | 0
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 10005 | 11922 | -1917 | -191700 | -0.1917 | 70815 | 70816 | -1 | -100 | -0.0001
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21356 | 21480 | -124 | -62000 | -0.062 | 4880 | 4881 | -1 | -500 | -0.0005
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 455415 | 453737 | 1678 | -167800 | -0.1678 | 86245 | 86242 | 3 | -300 | -0.0003
[5 empty] | -100 | 453441 | 453243 | 198 | -19800 | -0.0198
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3068 | 3372 | -304 | 304000 | 0.304 | 1880 | 1880 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10810 | 10810 | 0 | 0 | 0 | 23639 | 23662 | -23 | 1725 | 0.001725
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5310 | 5310 | 0 | 0 | 0 | 16783 | 16733 | 50 | -5000 | -0.005
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -6.1524 |  |  |  |  | -0.82943
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -6.1524 |  |  |  |  | -0.82943
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.89555 |  |  |  |  | -0.0012775
| TOTAL ENERGY TO NDMC | [8 empty] | -7.048 |  |  |  |  | -0.83071

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2021
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3782 | 3783 | -1 | -200 | -0.0002 | 65826 | 65228 | 598 | 119600 | 0.1196
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 1111 | 261 | 850 | 136000 | 0.136 | 23638 | 23185 | 453 | 72480 | 0.07248
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4634 | 4544 | 90 | 90000 | 0.09 | 58351 | 58278 | 73 | 73000 | 0.073
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 280 | 280 | 0 | 0 | 0 | 18259 | 18328 | -69 | -27600 | -0.0276
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999791 | 999735 | 56 | 44800 | 0.0448 | 693 | 704 | -11 | -8800 | -0.0088
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 1675 | 2020 | -345 | -138000 | -0.138 | 5396 | 5365 | 31 | 12400 | 0.0124
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1236 | 1309 | -73 | -73000 | -0.073 | 999099 | 999105 | -6 | -6000 | -0.006
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0596 |  |  |  |  | 0.23508
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 432 | 23 | 409 | 15337.5 | 0.015338 | 471 | 127 | 344 | 12900 | 0.0129
11 | DEFENCE CLUB | 4902560 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 855 | 855 | 0 | 0 | 0 | 205 | 118 | 87 | 3262.5 | 0.0032625
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 3641 | 3599 | 42 | 3150 | 0.00315 | 28465 | 27997 | 468 | 35100 | 0.0351
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 105 | 105 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 767 | 767 | 0 | 0 | 0 | 1710 | 1710 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4368 | 4368 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.018488 |  |  |  |  | 0.051263
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0596 |  |  |  |  | 0.23508
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.078088 |  |  |  |  | 0.28634
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.078088 | (REACTIVE MUs) |  |  |  | 0.28634 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.22877 | (REACTIVE MUs) |  |  |  | -0.00032634 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.15069 | (REACTIVE MUs) |  |  |  | 0.28602 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2021
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 990167 | 990231 | -64 | -40000 | -0.04 | 14 | 12 | 2 | 1250 | 0.00125
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 990565 | 990560 | 5 | 3125 | 0.003125 | 999870 | 999852 | 18 | 11250 | 0.01125
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 995925 | 995618 | 307 | 245600 | 0.2456 | 6137 | 6137 | 0 | 0 | 0
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 23410 | 23100 | 310 | -310 | -0.00031 | 76930 | 66670 | 10260 | -10260 | -0.01026
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 13190 | 10920 | 2270 | -2270 | -0.00227 | 215410 | 194980 | 20430 | -20430 | -0.02043
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 57100 | 52200 | 4900 | -4900 | -0.0049 | 654000 | 610400 | 43600 | -43600 | -0.0436
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.20125 |  |  |  |  | -0.06179
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.083049 |  |  |  |  | -0.00011847
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.1182 |  |  |  |  | -0.061908

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2021
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 939970 | 943419 | -3449 | -344900 | -0.3449 | 1897 | 1898 | -1 | -100 | -0.0001
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 50106 | 53096 | -2990 | -299000 | -0.299 | 6283 | 6301 | -18 | -1800 | -0.0018
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 16970 | 17022 | -52 | -26000 | -0.026 | 3877 | 3951 | -74 | -37000 | -0.037
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997894 | 998064 | -170 | -159375 | -0.15937 | 999785 | 999791 | -6 | -5625 | -0.005625
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993644 | 993706 | -62 | 62000 | 0.062 | 999636 | 999637 | -1 | 1000 | 0.001
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993043 | 992799 | 244 | -122000 | -0.122 | 999931 | 999932 | -1 | 500 | 0.0005
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 231 | 0 | 0 | 0 | 4 | 9 | -5 | -1500 | -0.0015
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.88927 |  |  |  |  | -0.044525
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 969546 | 969766 | -220 | -44000 | -0.044 | 996688 | 996469 | 219 | 43800 | 0.0438
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 987205 | 987456 | -251 | -235312.5 | -0.23531 | 999566 | 999568 | -2 | -1875 | -0.001875
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.27931 |  |  |  |  | 0.041925
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1784 | 1818 | -34 | -42500 | -0.0425 | 999186 | 999220 | -34 | -42500 | -0.0425
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 357756 | 358273 | -517 | -51700 | -0.0517 | 264801 | 264387 | 414 | 41400 | 0.0414
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 297142 | 297964 | -822 | -51375 | -0.051375 | 63129 | 62575 | 554 | 34625 | 0.034625
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 1170 | 1231 | -61 | -48800 | -0.0488 | 497 | 669 | -172 | -137600 | -0.1376
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 951238 | 952114 | -876 | -175200 | -0.1752 | 998506 | 998511 | -5 | -1000 | -0.001
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 989061 | 989328 | -267 | -40050 | -0.04005 | 988555 | 988263 | 292 | 43800 | 0.0438
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997112 | 997130 | -18 | 45000 | 0.045 | 3042 | 3042 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 231 | 0 | 0 | 0 | 4 | 9 | -5 | 1500 | 0.0015
| TOTAL NDPL | [8 empty] | -0.36463 |  |  |  |  | -0.059775
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.88927 |  |  |  |  | -0.044525
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.27931 |  |  |  |  | 0.041925
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.36463 |  |  |  |  | -0.059775

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2021
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 108548 | 106104 | 2444 | 2444000 | 2.444 | 27160 | 26568 | 592 | 592000 | 0.592
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 7867 | 6882 | 985 | 1970000 | 1.97 | 1232 | 1013 | 219 | 438000 | 0.438
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 921313 | 924127 | -2814 | 1407000 | 1.407 | 998016 | 998042 | -26 | 13000 | 0.013
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 465049 | 470023 | -4974 | 497400 | 0.4974 | 984122 | 984122 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 6.3184 |  | NET REACTIVE ENERGY |  |  | 1.043
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 6.3184 |  |  |  |  | 1.043
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -20.5269 |  |  |  |  | -0.00033323
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -5.685 |  |  |  |  | -0.62475
[7 empty] | NDMC = |  |  | -1.1955 |  |  |  |  | -0.448
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -27.4074 |  |  |  |  | -1.0731
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -21.089 |  |  |  |  | -0.030083
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.4746 | % |  |  | -6.6377 |  |  |  |  | -0.0094686
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.9309 | % |  |  | -8.8428 |  |  |  |  | -0.012614
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 20.8694 | % |  |  | -4.4012 |  |  |  |  | -0.0062782
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.2465 | % |  |  | -0.89555 |  |  |  |  | -0.0012775
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.0848 | % |  |  | -0.22877 |  |  |  |  | -0.00032634
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.3938 | % |  |  | -0.083049 |  |  |  |  | -0.00011847
Note :Sharing taken from wk-44 abt bill 2020-21

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JANUARY-2021 TO 31st JANUARY-2021
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -68.2808 |  | -1.571
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -60.7004 |  | -2.2601
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -38.8573 |  | -0.18153
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -7.048 |  | -0.83071
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.15069 | + | 0.28602
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.1182 |  | -0.061908
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2021 | INTIAL READING 01/01/2021 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83