## NDPL
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965079 | 965079 | 0 | 0 | 0 | 997277 | 997232 | 45 | -45000 | -0.045
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 83354 | 83354 | 0 | 0 | 0 | 4485 | 4320 | 165 | -330000 | -0.33
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1018 | 1018 | 0 | 0 | 0 | 1000172 | 999733 | 439 | -439000 | -0.439
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 2943 | 2448 | 495 | -495000 | -0.495
[5 empty] | -1000 | [5 empty] | 56 | 0 | 56 | -56000 | -0.056
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998197 | 998197 | 0 | 0 | 0 | 991980 | 992573 | -593 | 593000 | 0.593
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 894375 | 894375 | 0 | 0 | 0 | 25812 | 21755 | 4057 | -4057000 | -4.057
ROHINI
7 | Tx-1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35863 | 35863 | 0 | 0 | 0 | 16225 | 16147 | 78 | -78000 | -0.078
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10094 | 10094 | 0 | 0 | 0 | 998211 | 998123 | 88 | -88000 | -0.088
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5525 | 5525 | 0 | 0 | 0 | 997639 | 997645 | -6 | 6000 | 0.006
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 964733 | 964733 | 0 | 0 | 0 | 838774 | 838980 | -206 | 103000 | 0.103
[5 empty] | -500 | [5 empty] | 839199 | 839514 | -315 | 157500 | 0.1575
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1710 | 1710 | 0 | 0 | 0 | 998764 | 998549 | 215 | -215000 | -0.215
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2202 | 2197 | 5 | -5000 | -0.005 | 999891 | 999913 | -22 | 22000 | 0.022
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34706 | 34706 | 0 | 0 | 0 | 996708 | 996773 | -65 | 65000 | 0.065
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 12806 | 12763 | 43 | -43 | -0.043 | 99999747 | 99999908 | -161 | 161 | 0.161
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 793796 | 796220 | -2424 | -2424000 | -2.424 | 999752 | 999752 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 912773 | 912773 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8895 | 8888 | 7 | -7000 | -0.007 | 999956 | 999961 | -5 | 5000 | 0.005
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 52600 | 52540 | 60 | -30000 | -0.03 | 162 | 167 | -5 | 2500 | 0.0025
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47636 | 47636 | 0 | 0 | 0 | 998601 | 999206 | -605 | 605000 | 0.605
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999930 | 999930 | 0 | 0 | 0 | 989753 | 989640 | 113 | 113000 | 0.113
21 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 452 | 452 | 0 | 0 | 0 | 20040 | 20088 | -48 | -48000 | -0.048
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1375 | 1357 | 18 | 9000 | 0.009 | 13821 | 13709 | 112 | 56000 | 0.056
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 4014 | 2612 | 1402 | 70100 | 0.0701 | 179982 | 179221 | 761 | 38050 | 0.03805
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 998080 | 998034 | 46 | 46000 | 0.046
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999601 | 999590 | 11 | 11000 | 0.011 | 998749 | 998738 | 11 | 11000 | 0.011
26 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 56833 | 55252 | 1581 | 158100 | 0.1581 | 192248 | 192248 | 0 | 0 | 0
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998249 | 998262 | -13 | -13000 | -0.013 | 999674 | 999677 | -3 | -3000 | -0.003
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 964736 | 964851 | -115 | -57500 | -0.0575 | 999907 | 999909 | -2 | -1000 | -0.001
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 996877 | 996744 | 133 | 35467.11 | 0.035467 | 999883 | 999883 | 0 | 0 | 0
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 1953 | 1867 | 86 | 43000 | 0.043 | 192 | 192 | 0 | 0 | 0
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39981 | 39758 | 223 | -223000 | -0.223 | 996635 | 996635 | 0 | 0 | 0
32 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 211329 | 210340 | 989 | -494500 | -0.4945 | 17434 | 17433 | 1 | -500 | -0.0005
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2734 | 2853 | -119 | 238000 | 0.238 | 999678 | 999678 | 0 | 0 | 0
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37894 | 37788 | 106 | -106000 | -0.106 | 999062 | 999416 | -354 | 354000 | 0.354
DSIDC BAWANA
35 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 90450 | 89774 | 676 | -1352000 | -1.352 | 288 | 284 | 4 | -8000 | -0.008
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 92972 | 92510 | 462 | -462000 | -0.462 | 998466 | 998491 | -25 | 25000 | 0.025
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.34 | 8649 | 5996 | 2653 | -884351.02 | -0.88435 | 125 | 0 | 125 | -41667.5 | -0.041668 | w.e.f 14/8/20
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 9039 | 9018 | 21 | -42000 | -0.042 | 237 | 195 | 42 | -84000 | -0.084
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54595 | 54545 | 50 | -50000 | -0.05 | 1653 | 1584 | 69 | -69000 | -0.069
WAZIRPUR
40 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 119 | 127 | -8 | 8000 | 0.008 | 997856 | 997861 | -5 | 5000 | 0.005
41 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43844 | 43774 | 70 | -70000 | -0.07 | 1624 | 1624 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
42 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999915 | 999938 | -23 | -23000 | -0.023 | 27280 | 27312 | -32 | -32000 | -0.032
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | SEPTEMBER-2020
DMS
43 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 970 | 970 | 0 | 0 | 0 | 61207 | 61209 | -2 | -2000 | -0.002
VISHAL
44 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999487 | 999477 | 10 | 1000 | 0.001 | 999585 | 999576 | 9 | 900 | 0.0009
46 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3077 | 3072 | 5 | 500 | 0.0005 | 30735 | 30382 | 353 | 35300 | 0.0353
S.B.MILL
47 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 775 | 775 | 0 | 0 | 0 | 560 | 548 | 12 | 15996 | 0.015996
48 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 3179 | 3179 | 0 | 0 | 0 | 1615 | 1600 | 15 | 1500 | 0.0015
49 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
50 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
51 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1907 | 1898 | 9 | 900 | 0.0009 | 2980 | 2655 | 325 | 32500 | 0.0325
B.G.ROAD
53 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999903 | 999899 | 4 | 2000 | 0.002 | 2131 | 2077 | 54 | 27000 | 0.027
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 2325 | 2276 | 49 | 32666.83 | 0.032667 | 420 | 418 | 2 | 1333.34 | 0.0013333
56 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 696 | 602 | 94 | 47000 | 0.047 | 404 | 399 | 5 | 2500 | 0.0025
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 996363 | 996381 | -18 | -1800 | -0.0018 | 3241 | 3228 | 13 | 1300 | 0.0013
FAIZ ROAD
58 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 8037 | 7982 | 55 | 5500 | 0.0055 | 13316 | 12844 | 472 | 47200 | 0.0472
59 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 10605 | 10537 | 68 | 6800 | 0.0068 | 2880 | 2746 | 134 | 13400 | 0.0134
60 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 29669 | 29620 | 49 | 4900 | 0.0049 | 8363 | 8253 | 110 | 11000 | 0.011
KASHMIRI GATE
61 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 58322 | 56167 | 2155 | 215500 | 0.2155 | 1729 | 1729 | 0 | 0 | 0
62 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 999807 | 999795 | 12 | 1599.96 | 0.0016 | 360 | 360 | 0 | 0 | 0
63 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 75 | 75 | 0 | 0 | 0 | 663 | 663 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
64 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
65 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999880 | 999880 | 0 | 0 | 0 | 999446 | 999452 | -6 | -2400 | -0.0024
MUNDKA
66 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 972162 | 972298 | -136 | -108800 | -0.1088 | 999721 | 999721 | 0 | 0 | 0
67 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 996500 | 996526 | -26 | -52000 | -0.052 | 1053 | 1053 | 0 | 0 | 0
PEERAGARHI
68 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 980645 | 980632 | 13 | 2600 | 0.0026 | 1435 | 1364 | 71 | 14200 | 0.0142
69 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 998268 | 998260 | 8 | 2000 | 0.002 | 592 | 562 | 30 | 7500 | 0.0075
REWARI LINE
70 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992177 | 992370 | -193 | -193000 | -0.193 | 2204 | 2207 | -3 | -3000 | -0.003
71 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1935 | 1937 | -2 | -1500 | -0.0015 | 3312 | 3312 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -5.7478 |  |  |  |  | -3.5179
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER-2020
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 16275 | 15443 | 832 | -83200 | -0.0832 | 143425 | 143424 | 1 | -100 | -0.0001
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 343 | 343 | 0 | 0 | 0 | 627 | 680 | -53 | 42400 | 0.0424
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 821 | 821 | 0 | 0 | 0 | 999977 | 1000175 | -198 | 198000 | 0.198
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 6546 | 6546 | 0 | 0 | 0 | 5119 | 5866 | -747 | 99597.51 | 0.099598
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997441 | 997441 | 0 | 0 | 0 | 999854 | 999877 | -23 | 4312.5 | 0.0043125
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 914819 | 915586 | -767 | 613600 | 0.6136 | 997978 | 997978 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 989611 | 989623 | -12 | 7500 | 0.0075 | 999993 | 999993 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 990806 | 990789 | 17 | -10625 | -0.010625 | 999857 | 999855 | 2 | -1250 | -0.00125
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 996937 | 997003 | -66 | 13200 | 0.0132 | 14624 | 14603 | 21 | -4200 | -0.0042
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 993217 | 993329 | -112 | 21000 | 0.021 | 5411 | 5421 | -10 | 1875 | 0.001875
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 992180 | 992251 | -71 | 13312.5 | 0.013312 | 4079 | 4073 | 6 | -1125 | -0.001125
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 3850 | 3732 | 118 | -29500 | -0.0295 | 8038 | 8032 | 6 | -1500 | -0.0015
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 996774 | 996633 | 141 | -14100 | -0.0141 | 29771 | 29665 | 106 | -10600 | -0.0106
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.53119 |  |  |  |  | 0.32741
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -5.7478 |  |  |  |  | -3.5179
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.53119 |  |  |  |  | 0.32741
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0 |  |  |  |  | -0.97125
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -5.2166 |  |  |  |  | -4.1617
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -5.2166 | (REACTIVE MUs) |  |  |  | -4.1617 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.93072 | (REACTIVE MUs) |  |  |  | 0.057484 | (REACTIVE MUs)
[9 empty] | TOTAL | -6.1473 | (REACTIVE MUs) |  |  |  | -4.1042 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | SEPTEMBER-2020
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 34049 | 31130 | 2919 | 291900 | 0.2919 | 994514 | 994508 | 6 | 600 | 0.0006
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 12485 | 12355 | 130 | 39000 | 0.039 | 3229 | 3235 | -6 | -1800 | -0.0018
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 348402 | 348559 | -157 | -11775 | -0.011775 | 402587 | 402557 | 30 | 2250 | 0.00225
[5 empty] | 75 | 348404 | 345060 | 3344 | 250800 | 0.2508
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 995144 | 994727 | 417 | 125100 | 0.1251 | 5943 | 5941 | 2 | 600 | 0.0006
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1539 | 1533 | 6 | 7999.8 | 0.0079998 | 3601 | 3601 | 0 | 0 | 0
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 14285 | 14438 | -153 | -15300 | -0.0153 | 3863 | 3863 | 0 | 0 | 0
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 145061 | 136916 | 8145 | 610875 | 0.61087 | 892273 | 892277 | -4 | -300 | -0.0003
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979642 | 979929 | -287 | -287000 | -0.287 | 2276 | 2276 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 989328 | 989495 | -167 | -83500 | -0.0835 | 178 | 178 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 994942 | 994964 | -22 | -11000 | -0.011 | 302 | 294 | 8 | 4000 | 0.004 | Check Meter w.e.f9/09
[5 empty] | 1000 | 996609 | 996682 | -73 | -73000 | -0.073 | 1625 | 1625 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987111 | 987417 | -306 | -306000 | -0.306 | 1352 | 1353 | -1 | -1000 | -0.001
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989330 | 989651 | -321 | -321000 | -0.321 | 6257 | 6257 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996297 | 996704 | -407 | -407000 | -0.407 | 998642 | 998644 | -2 | -2000 | -0.002
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994841 | 994936 | -95 | -95000 | -0.095 | 1000352 | 999794 | 558 | 558000 | 0.558
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 995176 | 995532 | -356 | -284800 | -0.2848 | 5204 | 5204 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 8062 | 3592 | 4470 | 595985.1 | 0.59599 | 3650 | 3650 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 838 | 861 | -23 | -23000 | -0.023 | 9732 | 9732 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1252 | 1203 | 49 | 49000 | 0.049 | 17471 | 17471 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 971610 | 971610 | 0 | 0 | 0 | 948691 | 948840 | -149 | -186250 | -0.18625
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985076 | 985076 | 0 | 0 | 0 | 935843 | 935957 | -114 | -114000 | -0.114
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999961 | 999961 | 0 | 0 | 0 | 999515 | 999601 | -86 | -86000 | -0.086
| KASHMIRI GATE | [8 empty] | 0 |  |  |  |  | -0.38625
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986969 | 987235 | -266 | 266000 | 0.266 | 998280 | 998280 | 0 | 0 | 0
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985232 | 984874 | 358 | -358000 | -0.358 | 998826 | 998826 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 75 | 75 | 0 | 0 | 0 | 663 | 663 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999814 | 999814 | 0 | 0 | 0 | 13478 | 13514 | -36 | -36000 | -0.036
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 175784 | 175784 | 0 | 0 | 0 | 8701 | 8701 | 0 | 0 | 0
[5 empty] | -1000 | 175194 | 172662 | 2532 | -2532000 | -2.532
[5 empty] | -1000 | 171631 | 169570 | 2061 | -2061000 | -2.061
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 42599 | 41635 | 964 | -964000 | -0.964 | 147 | 161 | -14 | 14000 | 0.014
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000050 | 999912 | 138 | -138000 | -0.138 | 999283 | 999283 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 426 | 351 | 75 | -75000 | -0.075 | 998477 | 998531 | -54 | 54000 | 0.054
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26657 | 26142 | 515 | -515000 | -0.515 | 982856 | 982856 | 0 | 0 | 0
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44716 | 44316 | 400 | -400000 | -0.4 | 316 | 316 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 32478 | 31886 | 592 | -1184000 | -1.184 | 24 | 24 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 821 | 821 | 0 | 0 | 0 | 999977 | 1000175 | -198 | -198000 | -0.198
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 6546 | 6546 | 0 | 0 | 0 | 5119 | 5866 | -747 | -99597.51 | -0.099598
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 993879 | 993879 | 0 | 0 | 0 | 7976 | 8407 | -431 | -57323 | -0.057323
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 951372 | 951455 | -83 | 83000 | 0.083 | 990185 | 990185 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972093 | 972202 | -109 | 109000 | 0.109 | 999923 | 999923 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -7.7167 |  |  |  |  | -0.14882
| (A) NET ENERGY TO CENTRAL | [8 empty] | -7.7167 |  |  |  |  | -0.14882
SEPTEMBER-2020
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987967 | 987963 | 4 | -4000 | -0.004 | 997256 | 997277 | -21 | 21000 | 0.021
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971759 | 971758 | 1 | -1000 | -0.001 | 962513 | 962539 | -26 | 26000 | 0.026
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991558 | 991559 | -1 | 1000 | 0.001 | 997877 | 997911 | -34 | 34000 | 0.034
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988714 | 988724 | -10 | 10000 | 0.01 | 998454 | 998594 | -140 | 140000 | 0.14
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27811 | 27811 | 0 | 0 | 0 | 997293 | 997321 | -28 | 28000 | 0.028
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13013 | 13013 | 0 | 0 | 0 | 996301 | 996326 | -25 | 25000 | 0.025
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6879 | 6921 | -42 | 42000 | 0.042 | 12332 | 12332 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999202 | 999312 | -110 | 110000 | 0.11 | 999850 | 999850 | 0 | 0 | 0
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 931380 | 931247 | 133 | -133000 | -0.133 | 978697 | 978698 | -1 | 1000 | 0.001
-1000
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982428 | 982045 | 383 | -383000 | -0.383 | 974767 | 974768 | -1 | 1000 | 0.001
[5 empty] | -1000 | 972141 | 972056 | 85 | -85000 | -0.085
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963168 | 962735 | 433 | -433000 | -0.433 | 825279 | 825293 | -14 | 14000 | 0.014
GAZIPUR
13 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -2000 | 417 | 304 | 113 | -226000 | -0.226 | 4 | 3 | 1 | -2000 | -0.002
14 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 844 | 789 | 55 | -55000 | -0.055 | 77 | 69 | 8 | -8000 | -0.008
15 | TX-3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22807 | 22600 | 207 | -207000 | -0.207 | 225 | 227 | -2 | 2000 | 0.002
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -1.364 |  |  |  |  | 0.282
| (B) NET ENERGY TO EAST | [8 empty] | -1.364 |  |  |  |  | 0.282
SEPTEMBER-2020
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 996877 | 996744 | 133 | -35467.11 | -0.035467 | 999883 | 999883 | 0 | 0 | 0
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 1953 | 1867 | 86 | -43000 | -0.043 | 192 | 192 | 0 | 0 | 0
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 3802 | 3623 | 179 | -47732.14 | -0.047732 | 2219 | 2219 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 109972 | 108976 | 996 | -99600 | -0.0996 | 152456 | 152456 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 989053 | 989301 | -248 | 49600 | 0.0496 | 999330 | 999330 | 0 | 0 | 0
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 481 | 371 | 110 | -110000 | -0.11 | 22 | 22 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 2354 | 2199 | 155 | -124000 | -0.124 | 2626 | 2626 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3595 | 3499 | 96 | -76800 | -0.0768 | 1314 | 1314 | 0 | 0 | 0
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 991743 | 992603 | -860 | 688000 | 0.688 | 998903 | 998903 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 958715 | 959658 | -943 | 754400 | 0.7544 | 980449 | 980449 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 961425 | 962293 | -868 | 694400 | 0.6944 | 989870 | 989870 | 0 | 0 | 0
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996619 | 996899 | -280 | 560000 | 0.56 | 999568 | 999568 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 994689 | 995241 | -552 | 1104000 | 1.104 | 999516 | 999516 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999915 | 999938 | -23 | 23000 | 0.023 | 27280 | 27312 | -32 | 32000 | 0.032
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970 | 970 | 0 | 0 | 0 | 61207 | 61209 | -2 | 2000 | 0.002
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
18 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999903 | 999899 | 4 | -2000 | -0.002 | 2131 | 2077 | 54 | -27000 | -0.027
19 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 2325 | 2276 | 49 | -32666.83 | -0.032667 | 420 | 418 | 2 | -1333.34 | -0.0013333
20 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 696 | 602 | 94 | -47000 | -0.047 | 404 | 399 | 5 | -2500 | -0.0025
KASHMIRI GATE
21 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 58322 | 56167 | 2155 | -215500 | -0.2155 | 1729 | 1729 | 0 | 0 | 0
22 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 999807 | 999795 | 12 | -1599.96 | -0.0016 | 360 | 360 | 0 | 0 | 0
D.M.S
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 996363 | 996381 | -18 | 1800 | 0.0018 | 3241 | 3228 | 13 | -1300 | -0.0013
FAIZ ROAD
24 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 8037 | 7982 | 55 | -5500 | -0.0055 | 13316 | 12844 | 472 | -47200 | -0.0472
25 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 10605 | 10537 | 68 | -6800 | -0.0068 | 2880 | 2746 | 134 | -13400 | -0.0134
26 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 29669 | 29620 | 49 | -4900 | -0.0049 | 8363 | 8253 | 110 | -11000 | -0.011
FED FROM BYPL (RLY.)
27 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 19440 | 17020 | 2420 | 2420 | 0.00242 | 42010 | 38510 | 3500 | 3500 | 0.0035
28 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 6430 | 6150 | 280 | 280 | 0.00028 | 157510 | 149160 | 8350 | 8350 | 0.00835
29 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 38900 | 35300 | 3600 | 3600 | 0.0036 | 491800 | 453400 | 38400 | 38400 | 0.0384
[10 empty] | 3.0289 |  |  |  |  | -0.019483
SEPTEMBER-2020
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -7.7167 |  |  |  |  | -0.14882
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 3.0289 |  |  |  |  | -0.019483
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0 |  |  |  |  | -0.58434
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -4.6878 |  |  |  |  | -0.75264
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -1.364 |  |  |  |  | 0.282
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -6.0518 |  |  |  |  | -0.47064
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -6.0518 | (REACTIVE MUs) |  |  |  | -0.47064 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.67717 | (REACTIVE MUs) |  |  |  | 0.041824 | (REACTIVE MUs)
[9 empty] | TOTAL | -6.7289 | (REACTIVE MUs) |  |  |  | -0.42882 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | SEPTEMBER-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 998905 | 998898 | 7 | 35000 | 0.035 | 998779 | 998779 | 0 | 0 | 0
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 980240 | 980262 | -22 | -29333.26 | -0.029333 | 670565 | 670565 | 0 | 0 | 0
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 990009 | 990001 | 8 | 1600 | 0.0016 | 1376 | 1375 | 1 | 200 | 0.0002
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 253 | 175 | 78 | 103999.74 | 0.104 | 999773 | 999772 | 1 | 1333.33 | 0.0013333
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 999074 | 999045 | 29 | 43500 | 0.0435 | 999980 | 999980 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 15129 | 15302 | -173 | -17300 | -0.0173 | 21953 | 21955 | -2 | -200 | -0.0002
7 | BAY-37 | 4902524 | ELSTER | Kvarh(Lead/Lag) | 225 | 976025 | 976273 | -248 | -55800 | -0.0558 | 980860 | 980858 | 2 | 450 | 0.00045
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 970305 | 973604 | -3299 | -247425 | -0.24743 | 17382 | 17385 | -3 | -225 | -0.000225
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 900 | 998614 | 998733 | -119 | -107100 | -0.1071 | 999881 | 999881 | 0 | 0 | 0
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 994886 | 995166 | -280 | -28000 | -0.028 | 265175 | 265176 | -1 | -100 | -0.0001
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13790 | 13715 | 75 | -75000 | -0.075 | 996485 | 996488 | -3 | 3000 | 0.003
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2406 | 2423 | -17 | 34000 | 0.034 | 997040 | 997041 | -1 | 2000 | 0.002
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16221 | 16236 | -15 | 15000 | 0.015 | 996314 | 996316 | -2 | 2000 | 0.002
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953225 | 953142 | 83 | -83000 | -0.083 | 988629 | 989129 | -500 | 500000 | 0.5
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 89618 | 89167 | 451 | -451000 | -0.451 | 18974 | 18974 | 0 | 0 | 0
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 71851 | 71773 | 78 | -39000 | -0.039 | 35958 | 35972 | -14 | 7000 | 0.007
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 17134 | 16976 | 158 | -316000 | -0.316 | 998482 | 998482 | 0 | 0 | 0
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 939756 | 939832 | -76 | 76000 | 0.076 | 814021 | 814024 | -3 | 3000 | 0.003
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 15502 | 14705 | 797 | -637600 | -0.6376 | 1108 | 1102 | 6 | -4800 | -0.0048
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 61227 | 60902 | 325 | -260000 | -0.26 | 998220 | 998216 | 4 | -3200 | -0.0032
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972816 | 973724 | -908 | 908000 | 0.908 | 961031 | 961055 | -24 | 24000 | 0.024
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 973818 | 975641 | -1823 | 3646000 | 3.646 | 992244 | 992244 | 0 | 0 | 0
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 929100 | 929965 | -865 | 1730000 | 1.73 | 983807 | 983823 | -16 | 32000 | 0.032
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10298 | 10255 | 43 | -43000 | -0.043 | 997134 | 997134 | 0 | 0 | 0
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4944 | 4989 | -45 | 45000 | 0.045 | 53 | 53 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980059 | 980247 | -188 | 188000 | 0.188 | 9 | 9 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 161400 | 161376 | 24 | -24000 | -0.024 | 55891 | 55763 | 128 | -128000 | -0.128
[5 empty] | -1000 | [5 empty] | 55479 | 55221 | 258 | -258000 | -0.258
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 2656 | 2656 | 0 | 0 | 0 | 36 | 36 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 343 | 343 | 0 | 0 | 0 | 627 | 680 | -53 | -42400 | -0.0424
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 954325 | 955543 | -1218 | 1218000 | 1.218 | 965552 | 965552 | 0 | 0 | 0
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980762 | 981520 | -758 | 758000 | 0.758 | 984014 | 984014 | 0 | 0 | 0
33 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54422 | 53246 | 1176 | -1176000 | -1.176 | 985569 | 985569 | 0 | 0 | 0
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 17779 | 17778 | 1 | -800 | -0.0008 | 999009 | 999003 | 6 | -4800 | -0.0048
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 36159 | 36157 | 2 | -3200 | -0.0032 | 978830 | 978825 | 5 | -8000 | -0.008
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996692 | 996692 | 0 | 0 | 0 | 984356 | 984446 | -90 | 180000 | 0.18
37 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 5990 | 5985 | 5 | -2500 | -0.0025 | 989877 | 989749 | 128 | -64000 | -0.064
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21440 | 21440 | 0 | 0 | 0 | 31788 | 31865 | -77 | 77000 | 0.077
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 208 | 208 | 0 | 0 | 0 | 996437 | 995947 | 490 | -490000 | -0.49
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999919 | 999919 | 0 | 0 | 0 | 999893 | 999426 | 467 | -467000 | -0.467
BRPL(+) continue | [14 empty] | SEPTEMBER-2020
VASANT KUNJ
41 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47330 | 47324 | 6 | -6000 | -0.006 | 999502 | 999436 | 66 | -66000 | -0.066
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8600 | 8598 | 2 | -2000 | -0.002 | 999995 | 999696 | 299 | -299000 | -0.299
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2365 | 2365 | 0 | 0 | 0 | 999565 | 999649 | -84 | 84000 | 0.084
MEHRAULI
44 | Tx.1 | 4864928 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21 | 21 | 0 | 0 | 0 | 209 | 168 | 41 | -41000 | -0.041
45 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1165 | 1165 | 0 | 0 | 0 | 924921 | 924922 | -1 | 1000 | 0.001
46 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37967 | 37967 | 0 | 0 | 0 | 7845 | 7791 | 54 | -54000 | -0.054
47 | Tx.4 | 4865023 | ELSTER | Kvarh(Lead/Lag) | -2000 | 115 | 115 | 0 | 0 | 0 | 999597 | 999581 | 16 | -32000 | -0.032
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62391 | 61472 | 919 | -919000 | -0.919 | 997176 | 997176 | 0 | 0 | 0
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 33337 | 33499 | -162 | 324000 | 0.324 | 999381 | 999381 | 0 | 0 | 0
DIAL
50 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8889 | 8888 | 1 | -2000 | -0.002 | 2669 | 2611 | 58 | -116000 | -0.116
51 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6994 | 6991 | 3 | -6000 | -0.006 | 1516 | 1498 | 18 | -36000 | -0.036
MASJID MOD
52 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 915622 | 916234 | -612 | 612000 | 0.612 | 979168 | 979168 | 0 | 0 | 0
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997621 | 998292 | -671 | 671000 | 0.671 | 994716 | 994716 | 0 | 0 | 0
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998858 | 999477 | -619 | 619000 | 0.619 | 987095 | 987095 | 0 | 0 | 0
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999803 | 999832 | 0 | 0 | 0 | 999994 | 999994 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 981779 | 981779 | 0 | 0 | 0 | 612 | 612 | 0 | 0 | 0
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 950055 | 950391 | -336 | -268800 | -0.2688 | 999488 | 999488 | 0 | 0 | 0
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 999493 | 999496 | -3 | -2400 | -0.0024 | 999835 | 999835 | 0 | 0 | 0
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 996420 | 996370 | 50 | 40000 | 0.04 | 43 | 43 | 0 | 0 | 0
PARK STREET
61 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 994689 | 995241 | -552 | -1104000 | -1.104 | 999516 | 999516 | 0 | 0 | 0
62 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
63 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 74747 | 73313 | 1434 | -2868000 | -2.868 | 923 | 923 | 0 | 0 | 0
64 | Tx-2 | 5128415 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17046 | 16495 | 551 | -551000 | -0.551 | 2806 | 2798 | 8 | -8000 | -0.008
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 116299 | 116304 | -5 | 5000 | 0.005 | 1469 | 1469 | 0 | 0 | 0
NARAINA
66 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 16275 | 15443 | 832 | 83200 | 0.0832 | 143425 | 143424 | 1 | 100 | 0.0001
67 | SUDARSHAN PARK
68 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997441 | 997441 | 0 | 0 | 0 | 999854 | 999877 | -23 | -4312.5 | -0.0043125
69 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 949796 | 949866 | -70 | -28000 | -0.028 | 993083 | 993121 | -38 | -15200 | -0.0152
70 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 10618 | 10618 | 0 | 0 | 0 | 73275 | 73250 | 25 | 10000 | 0.01
KANJAWALA
71 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 914819 | 915586 | -767 | -613600 | -0.6136 | 997978 | 997978 | 0 | 0 | 0
Trauma Centre
72 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 447778 | 447778 | 0 | 0 | 0 | 85861 | 85860 | 1 | 100 | 0.0001
[5 empty] | 100 | 447668 | 447628 | 40 | 4000 | 0.004 | 85721 | 85815 | -94 | -9400 | -0.0094
[5 empty] | 100 | [5 empty] | 85633 | 85633 | 0 | 0 | 0
[5 empty] | 100 | [9 empty] | -0.0129 | Last Month Assessment
73 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4028 | 4030 | -2 | -2000 | -0.002 | 1878 | 1876 | 2 | 2000 | 0.002
A.I.I.M.S.
74 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10809 | 10809 | 0 | 0 | 0 | 23666 | 23184 | 482 | 36150 | 0.03615
75 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5309 | 5309 | 0 | 0 | 0 | 16330 | 15726 | 604 | 60400 | 0.0604
PEERGARHI
76 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 8894 | 8877 | 17 | 8500 | 0.0085 | 3218 | 3218 | 0 | 0 | 0
77 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999209 | 999208 | 1 | 1000 | 0.001 | 4218 | 4215 | 3 | 3000 | 0.003
78 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985828 | 985832 | -4 | -4000 | -0.004 | 942 | 933 | 9 | 9000 | 0.009
79 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6307 | 6304 | 3 | 3000 | 0.003 | 6690 | 6679 | 11 | 11000 | 0.011
80 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 3515 | 3577 | -62 | -9920 | -0.00992 | 1494 | 1451 | 43 | 6880 | 0.00688
81 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 3686 | 3686 | 0 | 0 | 0 | 909979 | 909914 | 65 | 6500 | 0.0065
[5 empty] | 100 | 3982 | 3905 | 77 | 7700 | 0.0077
82 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4075 | 4066 | 9 | 9000 | 0.009 | 1112 | 1107 | 5 | 5000 | 0.005
83 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4637 | 4630 | 7 | 7000 | 0.007 | 7429 | 7423 | 6 | 6000 | 0.006
REWARI LINE
84 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 996937 | 997003 | -66 | -13200 | -0.0132 | 14624 | 14603 | 21 | 4200 | 0.0042
85 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 993217 | 993329 | -112 | -21000 | -0.021 | 5411 | 5421 | -10 | -1875 | -0.001875
86 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 992180 | 992251 | -71 | -13312.5 | -0.013312 | 4079 | 4073 | 6 | 1125 | 0.001125
87 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 3850 | 3732 | 118 | 29500 | 0.0295 | 8038 | 8032 | 6 | 1500 | 0.0015
88 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 996774 | 996633 | 141 | 14100 | 0.0141 | 29771 | 29665 | 106 | 10600 | 0.0106
[15 empty] | -0.0094 | Last Month Assessment
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 1.2098 |  |  |  |  | -1.0853
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER-2020
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 22036 | 22036 | 0 | 0 | 0 | 4883 | 4883 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 993879 | 993879 | 0 | 0 | 0 | 7976 | 8407 | -431 | 57465.23 | 0.057465
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1296 | 1296 | 0 | 0 | 0 | 998989 | 998482 | 507 | -507000 | -0.507
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996177 | 996283 | -106 | 106000 | 0.106 | 2251 | 2251 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 9130 | 9127 | 3 | -480 | -0.00048 | 29775 | 28594 | 1181 | -188960 | -0.18896
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3857 | 3857 | 0 | 0 | 0 | 8259 | 7851 | 408 | -81600 | -0.0816
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983168 | 983198 | -30 | 30000 | 0.03 | 999250 | 999249 | 1 | -1000 | -0.001
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 102447 | 102416 | 31 | -3100 | -0.0031 | 75958 | 75860 | 98 | -9800 | -0.0098
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4685 | 4649 | 36 | -3600 | -0.0036 | 1374 | 1372 | 2 | -200 | -0.0002
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 18077 | 18258 | -181 | 18100 | 0.0181 | 70821 | 70821 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16621 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 1443 | 1443 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999487 | 999477 | 10 | -1000 | -0.001 | 999585 | 999576 | 9 | -900 | -0.0009
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3077 | 3072 | 5 | -500 | -0.0005 | 30735 | 30382 | 353 | -35300 | -0.0353
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 775 | 775 | 0 | 0 | 0 | 560 | 548 | 12 | -15996 | -0.015996
21 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 3179 | 3179 | 0 | 0 | 0 | 1615 | 1600 | 15 | -1500 | -0.0015
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1907 | 1898 | 9 | -900 | -0.0009 | 2980 | 2655 | 325 | -32500 | -0.0325
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999880 | 999880 | 0 | 0 | 0 | 999446 | 999452 | -6 | 2400 | 0.0024
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 993804 | 993772 | 32 | -25600 | -0.0256 | 6136 | 6135 | 1 | -800 | -0.0008
[5 empty] | -800 | [5 empty] | 6063 | 6059 | 4 | -3200 | -0.0032
[5 empty] | -800 | [5 empty] | 6014 | 6014 | 0 | 0 | 0
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992177 | 992370 | -193 | 193000 | 0.193 | 2204 | 2207 | -3 | 3000 | 0.003
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1935 | 1937 | -2 | 1500 | 0.0015 | 3312 | 3312 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.31342 |  |  |  |  | -0.81589
SEPTEMBER-2020
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 1.2098 |  |  |  |  | -1.0853
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.31342 |  |  |  |  | -0.81589
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0 |  |  |  |  | -0.055812
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.19478 |  |  |  |  | -0.041725
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 1.3285 |  |  |  |  | -1.9987
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.3285 | (REACTIVE MUs) |  |  |  | -1.9987 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -1.2338 | (REACTIVE MUs) |  |  |  | 0.076203 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.094653 | (REACTIVE MUs) |  |  |  | -1.9225 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3802 | 3623 | 179 | 47733.93 | 0.047734 | 2219 | 2219 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 109972 | 108976 | 996 | 99600 | 0.0996 | 152456 | 152456 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 989053 | 989301 | -248 | -49600 | -0.0496 | 999330 | 999330 | 0 | 0 | 0
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 481 | 371 | 110 | 110000 | 0.11 | 22 | 22 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 2354 | 2199 | 155 | 124000 | 0.124 | 2626 | 2626 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3595 | 3499 | 96 | 76800 | 0.0768 | 1314 | 1314 | 0 | 0 | 0
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 991743 | 992603 | -860 | -688000 | -0.688 | 998903 | 998903 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 958715 | 959658 | -943 | -754400 | -0.7544 | 980449 | 980449 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 961425 | 962293 | -868 | -694400 | -0.6944 | 989870 | 989870 | 0 | 0 | 0
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 996619 | 996899 | -280 | -560000 | -0.56 | 999568 | 999568 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 969397 | 969982 | -585 | -29250 | -0.02925 | 20087 | 20086 | 1 | 50 | 5e-05
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 974444 | 974444 | 0 | 0 | 0 | 22554 | 22554 | 0 | 0 | 0
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 998820 | 998844 | -24 | -12000 | -0.012 | 5479 | 5479 | 0 | 0 | 0
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 997317 | 997308 | 9 | 3375 | 0.003375 | 7372 | 7372 | 0 | 0 | 0
15 | BAY-16 (N BWN) | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 991167 | 991654 | -487 | -48700 | -0.0487 | 999552 | 999554 | -2 | -200 | -0.0002
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 13126 | 13011 | 115 | 8625 | 0.008625 | 40619 | 40613 | 6 | 450 | 0.00045
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 11029 | 11492 | -463 | -46300 | -0.0463 | 2065 | 2065 | 0 | 0 | 0
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995576 | 995576 | 0 | 0 | 0 | 104834 | 104834 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994303 | 994303 | 0 | 0 | 0 | 2654 | 2181 | 473 | 473000 | 0.473
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985061 | 985061 | 0 | 0 | 0 | 145282 | 144988 | 294 | 294000 | 0.294
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999203 | 999203 | 0 | 0 | 0 | 476 | 505 | -29 | -72500 | -0.0725
[10 empty] | 0 |  |  |  |  | 0.6945
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996177 | 996283 | -106 | -106000 | -0.106 | 2251 | 2251 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 9130 | 9127 | 3 | 480 | 0.00048 | 29775 | 28594 | 1181 | 188960 | 0.18896
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3857 | 3857 | 0 | 0 | 0 | 8259 | 7851 | 408 | 81600 | 0.0816
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983168 | 983198 | -30 | -30000 | -0.03 | 999250 | 999249 | 1 | 1000 | 0.001
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16621 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
SEPTEMBER-2020
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996231 | 996241 | -10 | 10000 | 0.01 | 990026 | 990071 | -45 | 45000 | 0.045
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997548 | 997561 | -13 | 13000 | 0.013 | 995819 | 995851 | -32 | 32000 | 0.032
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997483 | 997485 | -2 | 4000 | 0.004 | 996818 | 996866 | -48 | 96000 | 0.096
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998962 | 998965 | -3 | 3000 | 0.003 | 995959 | 996083 | -124 | 124000 | 0.124
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 1443 | 1443 | 0 | 0 | 0
LODHI ROAD
35 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 102447 | 102416 | 31 | 3100 | 0.0031 | 75958 | 75860 | 98 | 9800 | 0.0098
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4685 | 4649 | 36 | 3600 | 0.0036 | 1374 | 1372 | 2 | 200 | 0.0002
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 18077 | 18258 | -181 | -18100 | -0.0181 | 70821 | 70821 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 22036 | 22036 | 0 | 0 | 0 | 4883 | 4883 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 447778 | 447628 | 150 | -15000 | -0.015 | 85861 | 85860 | 1 | -100 | -0.0001
[5 empty] | -100 | [5 empty] | 85721 | 85815 | -94 | 9400 | 0.0094
[5 empty] | -100 | [5 empty] | 85633 | 85633 | 0 | 0 | 0
[5 empty] | -100 | [9 empty] | 0.0129 | Last Month Assessment
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4028 | 4030 | -2 | 2000 | 0.002 | 1878 | 1876 | 2 | -2000 | -0.002
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10809 | 10809 | 0 | 0 | 0 | 23666 | 23184 | 482 | -36150 | -0.03615
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5309 | 5309 | 0 | 0 | 0 | 16330 | 15726 | 604 | -60400 | -0.0604
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -2.5424 |  |  |  |  | 1.197
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -2.5424 |  |  |  |  | 1.197
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.11018 |  |  |  |  | 0.0068053
| TOTAL ENERGY TO NDMC | [8 empty] | -2.6526 |  |  |  |  | 1.2038

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2020
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3674 | 3654 | 20 | 4000 | 0.004 | 65090 | 64760 | 330 | 66000 | 0.066
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 32 | 32 | 0 | 0 | 0 | 21665 | 21660 | 5 | 800 | 0.0008
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4510 | 4510 | 0 | 0 | 0 | 58062 | 57932 | 130 | 130000 | 0.13
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 165 | 165 | 0 | 0 | 0 | 17938 | 17060 | 878 | 351200 | 0.3512
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 19 | 14 | 5 | 4000 | 0.004 | 697 | 667 | 30 | 24000 | 0.024
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 1446 | 1440 | 6 | 2400 | 0.0024 | 5366 | 5289 | 77 | 30800 | 0.0308
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1296 | 1296 | 0 | 0 | 0 | 998989 | 998482 | 507 | 507000 | 0.507
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0104 |  |  |  |  | 1.1098
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 73143 | 71439 | 1704 | 170400 | 0.1704 | 104375 | 104375 | 0 | 0 | 0
11 | DEFENCE CLUB | 4902560 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 853 | 587 | 266 | 9975 | 0.009975 | 72 | 72 | 0 | 0 | 0
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 3216 | 3024 | 192 | 14400 | 0.0144 | 26871 | 26692 | 179 | 13425 | 0.013425
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 105 | 77 | 28 | 28000 | 0.028
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 767 | 767 | 0 | 0 | 0 | 1710 | 1706 | 4 | 300 | 0.0003
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4366 | 4366 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.19478 |  |  |  |  | 0.041725
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0104 |  |  |  |  | 1.1098
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.20517 |  |  |  |  | 1.1515
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.20517 | (REACTIVE MUs) |  |  |  | 1.1515 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.020483 | (REACTIVE MUs) |  |  |  | 0.0012651 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.18469 | (REACTIVE MUs) |  |  |  | 1.1528 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2020
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 989611 | 989623 | -12 | -7500 | -0.0075 | 999993 | 999993 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 990806 | 990789 | 17 | 10625 | 0.010625 | 999857 | 999855 | 2 | 1250 | 0.00125
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 993804 | 993772 | 32 | 25600 | 0.0256 | 6136 | 6135 | 1 | 800 | 0.0008
[5 empty] | 800 | [5 empty] | 6063 | 6059 | 4 | 3200 | 0.0032
[5 empty] | 800 | [5 empty] | 6014 | 6014 | 0 | 0 | 0
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 19440 | 17020 | 2420 | -2420 | -0.00242 | 42010 | 38510 | 3500 | -3500 | -0.0035
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 6430 | 6150 | 280 | -280 | -0.00028 | 157510 | 149160 | 8350 | -8350 | -0.00835
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 38900 | 35300 | 3600 | -3600 | -0.0036 | 491800 | 453400 | 38400 | -38400 | -0.0384
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.022425 |  |  |  |  | -0.045
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.0064969 |  |  |  |  | 0.00040127
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.015928 |  |  |  |  | -0.044599

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2020
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 950208 | 950208 | 0 | 0 | 0 | 1922 | 2252 | -330 | -33000 | -0.033
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 57257 | 57257 | 0 | 0 | 0 | 6305 | 6245 | 60 | 6000 | 0.006
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 17264 | 17264 | 0 | 0 | 0 | 4214 | 3958 | 256 | 128000 | 0.128
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998767 | 998767 | 0 | 0 | 0 | 999841 | 1000044 | -203 | -190312.5 | -0.19031
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993919 | 993919 | 0 | 0 | 0 | 999666 | 999719 | -53 | 53000 | 0.053
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 992489 | 992489 | 0 | 0 | 0 | 999942 | 999903 | 39 | -19500 | -0.0195
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 230 | 230 | 0 | 0 | 0 | 12 | 12 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0 |  |  |  |  | -0.055812
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 970551 | 970551 | 0 | 0 | 0 | 997463 | 999780 | -2317 | -463400 | -0.4634
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 987856 | 987856 | 0 | 0 | 0 | 999595 | 999724 | -129 | -120937.5 | -0.12094
| TOTAL (BSES Y.P.L.) | [8 empty] | 0 |  |  |  |  | -0.58434
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1871 | 1871 | 0 | 0 | 0 | 999259 | 999832 | -573 | -716250 | -0.71625
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 369384 | 369384 | 0 | 0 | 0 | 261906 | 260376 | 1530 | 153000 | 0.153
[5 empty] | 100 | [5 empty] | 247732 | 247247 | 485 | 48500 | 0.0485
[5 empty] | 100 | [5 empty] | 246517 | 247333 | -816 | -81600 | -0.0816
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 337109 | 337109 | 0 | 0 | 0 | 75379 | 74199 | 1180 | 73750 | 0.07375
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 1365 | 1365 | 0 | 0 | 0 | 1418 | 1603 | -185 | -148000 | -0.148
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 953935 | 953935 | 0 | 0 | 0 | 998632 | 998822 | -190 | -38000 | -0.038
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 990351 | 990351 | 0 | 0 | 0 | 987612 | 989413 | -1801 | -270150 | -0.27015
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997254 | 997254 | 0 | 0 | 0 | 3044 | 3047 | -3 | 7500 | 0.0075
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 230 | 230 | 0 | 0 | 0 | 12 | 12 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 0 |  |  |  |  | -0.97125
| E) NET EXPORT TO BSES RPL | [8 empty] | 0 |  |  |  |  | -0.055812
| F) NET EXPORT TO BSES YPL | [8 empty] | 0 |  |  |  |  | -0.58434
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0 |  |  |  |  | -0.97125

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2020
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 100953 | 100953 | 0 | 0 | 0 | 25844 | 25924 | -80 | -80000 | -0.08
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 4697 | 4697 | 0 | 0 | 0 | 683 | 731 | -48 | -96000 | -0.096
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 933998 | 934399 | -401 | 200500 | 0.2005 | 998044 | 998212 | -168 | 84000 | 0.084
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 580494 | 580564 | -70 | 7000 | 0.007 | 984122 | 984126 | -4 | 400 | 0.0004
[7 empty] | NET REACTIVE ENERGY |  |  | 0.2075 |  | NET REACTIVE ENERGY |  |  | -0.0916
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.2075 |  |  |  |  | -0.0916
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -2.6984 |  |  |  |  | -0.024668
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.488 |  |  |  |  | -0.39425
[7 empty] | NDMC = |  |  | 0 |  |  |  |  | 0.6945
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -3.1864 |  |  |  |  | 0.27558
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -2.9789 |  |  |  |  | 0.18398
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.2441 | % |  |  | -0.93072 |  |  |  |  | 0.057484
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.4187 | % |  |  | -1.2338 |  |  |  |  | 0.076203
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.7325 | % |  |  | -0.67717 |  |  |  |  | 0.041824
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.6989 | % |  |  | -0.11018 |  |  |  |  | 0.0068053
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6876 | % |  |  | -0.020483 |  |  |  |  | 0.0012651
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.2181 | % |  |  | -0.0064969 |  |  |  |  | 0.00040127
Note :Sharing taken from wk-27 ABT bill 2020-21

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1sSeptember-2020 TO 30th September-2020
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -6.1473 |  | -4.1042
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 0.094653 |  | -1.9225
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -6.7289 |  | -0.42882
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -2.6526 | + | 1.2038
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.18469 | + | 1.1528
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.015928 |  | -0.044599
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2020 | INTIAL READING 01/09/2020 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83