## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JULY-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965078 | 965078 | 0 | 0 | 0 | 997885 | 997865 | 20 | -20000 | -0.02
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 83351 | 83279 | 72 | -144000 | -0.144 | 3937 | 3689 | 248 | -496000 | -0.496
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1018 | 1018 | 0 | 0 | 0 | 999318 | 999439 | -121 | 121000 | 0.121
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998197 | 998197 | 0 | 0 | 0 | 992728 | 993058 | -330 | 330000 | 0.33
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 894375 | 894375 | 0 | 0 | 0 | 20343 | 17941 | 2402 | -2402000 | -2.402
[15 empty] | 0.193 | Assessment June 2020
ROHINI
6 | Transformer | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35847 | 35842 | 5 | -5000 | -0.005 | 16123 | 16103 | 20 | -20000 | -0.02
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10091 | 10096 | -5 | 5000 | 0.005 | 998093 | 998073 | 20 | -20000 | -0.02
8 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5533 | 5536 | -3 | 3000 | 0.003 | 997759 | 997886 | -127 | 127000 | 0.127
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 964951 | 965080 | -129 | 64500 | 0.0645 | 840362 | 840811 | -449 | 224500 | 0.2245
-500
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1713 | 1718 | -5 | 5000 | 0.005 | 998393 | 998336 | 57 | -57000 | -0.057
11 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2257 | 2321 | -64 | 64000 | 0.064 | 999968 | 1000011 | -43 | 43000 | 0.043
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34644 | 34575 | 69 | -69000 | -0.069 | 996735 | 996829 | -94 | 94000 | 0.094
13 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 12451 | 12252 | 199 | -199 | -0.199 | 99999939 | 99999952 | -13 | 13 | 0.013
14 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 800486 | 803344 | -2858 | -2858000 | -2.858 | 999752 | 999752 | 0 | 0 | 0
15 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 912773 | 912773 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
NARELA
16 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8830 | 8787 | 43 | -43000 | -0.043 | 999963 | 999989 | -26 | 26000 | 0.026
17 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 52216 | 51970 | 246 | -123000 | -0.123 | 157 | 171 | -14 | 7000 | 0.007
18 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47646 | 47581 | 65 | -65000 | -0.065 | 999914 | 1000018 | -104 | 104000 | 0.104
NARAINA
19 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999930 | 999930 | 0 | 0 | 0 | 990352 | 991102 | -750 | -750000 | -0.75
20 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 452 | 452 | 0 | 0 | 0 | 20612 | 21290 | -678 | -678000 | -0.678
21 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1357 | 1357 | 0 | 0 | 0 | 13300 | 12850 | 450 | 225000 | 0.225
22 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 2612 | 2565 | 47 | 2350 | 0.00235 | 175795 | 175223 | 572 | 28600 | 0.0286
[5 empty] | 50 | [5 empty] | 172652 | 172023 | 629 | 31450 | 0.03145
[5 empty] | 50 | [5 empty] | 128309 | 126700 | 1609 | 80450 | 0.08045
[5 empty] | 50 | [5 empty] | 110039 | 110039 | 0 | 0 | 0
23 | INDER PURI | 4864876 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995282 | 995282 | 0 | 0 | 0 | 983038 | 983365 | -327 | -327000 | -0.327 | Check Meter Data till 6/7
|  | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 998848 | 1000000 | -1152 | -1152000 | -1.152 | w.e.f 7/7/20
24 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999590 | 999590 | 0 | 0 | 0 | 998791 | 999187 | -396 | -396000 | -0.396
25 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 55086 | 54855 | 231 | 23100 | 0.0231 | 192078 | 191645 | 433 | 43300 | 0.0433
KASHMIRI GATE
26 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998340 | 998351 | -11 | -11000 | -0.011 | 999736 | 999918 | -182 | -182000 | -0.182
27 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 965008 | 965192 | -184 | -92000 | -0.092 | 999933 | 999990 | -57 | -28500 | -0.0285
28 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 996599 | 997090 | -491 | -130934.97 | -0.13093 | 999883 | 999883 | 0 | 0 | 0
29 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 1813 | 1796 | 17 | 8500 | 0.0085 | 188 | 198 | -10 | -5000 | -0.005
KANJAWALA
30 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38646 | 37832 | 814 | -814000 | -0.814 | 996634 | 996630 | 4 | -4000 | -0.004
31 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 195979 | 194253 | 1726 | -863000 | -0.863 | 17429 | 17429 | 0 | 0 | 0
[5 empty] | -500 | 193684 | 192366 | 1318 | -659000 | -0.659 | 15352 | 15330 | 22 | -11000 | -0.011
32 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3229 | 3481 | -252 | 504000 | 0.504 | 999679 | 999706 | -27 | 54000 | 0.054
BAWANA
33 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37189 | 36773 | 416 | -416000 | -0.416 | 999624 | 999952 | -328 | 328000 | 0.328
DSIDC BAWANA
34 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 87829 | 86278 | 1551 | -3102000 | -3.102 | 282 | 280 | 2 | -4000 | -0.004
35 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 90817 | 89711 | 1106 | -1106000 | -1.106 | 998488 | 998486 | 2 | -2000 | -0.002
36 | 66KV TX.3 | 4864919 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6194 | 4178 | 2016 | -2016000 | -2.016 | 4 | 0 | 4 | -4000 | -0.004 | W.e.f 20/5/20
ROHINI-II
37 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8846 | 8759 | 87 | -174000 | -0.174 | 131 | 50 | 81 | -162000 | -0.162
38 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54162 | 53972 | 190 | -190000 | -0.19 | 1454 | 1285 | 169 | -169000 | -0.169
WAZIRPUR
39 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 289 | 402 | -113 | 113000 | 0.113 | 998004 | 998296 | -292 | 292000 | 0.292
40 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43294 | 43135 | 159 | -159000 | -0.159 | 1618 | 1639 | -21 | 21000 | 0.021
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
41 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999946 | 999962 | -16 | -16000 | -0.016 | 27400 | 27429 | -29 | -29000 | -0.029
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | JULY-2020
DMS
42 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 970 | 970 | 0 | 0 | 0 | 61215 | 61230 | -15 | -15000 | -0.015
VISHAL
43 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999462 | 999462 | 0 | 0 | 0 | 999566 | 999405 | 161 | 16100 | 0.0161
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3055 | 3055 | 0 | 0 | 0 | 30190 | 29805 | 385 | 38500 | 0.0385
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 773 | 771 | 2 | 2666 | 0.002666 | 538 | 522 | 16 | 21328 | 0.021328
47 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 3179 | 3179 | 0 | 0 | 0 | 1592 | 1592 | 0 | 0 | 0
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1883 | 1871 | 12 | 1200 | 0.0012 | 2293 | 1867 | 426 | 42600 | 0.0426
B.G.ROAD
52 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
53 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999899 | 999899 | 0 | 0 | 0 | 1938 | 1841 | 97 | 48500 | 0.0485
54 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 2264 | 2259 | 5 | 3333.35 | 0.0033334 | 404 | 377 | 27 | 18000.09 | 0.018
55 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 579 | 571 | 8 | 4000 | 0.004 | 368 | 305 | 63 | 31500 | 0.0315
D.M.S.
56 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 996382 | 996383 | -1 | -100 | -0.0001 | 3199 | 3346 | -147 | -14700 | -0.0147
FAIZ ROAD
57 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 7806 | 7616 | 190 | 19000 | 0.019 | 12634 | 12459 | 175 | 17500 | 0.0175
58 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 10145 | 9645 | 500 | 50000 | 0.05 | 2635 | 2556 | 79 | 7900 | 0.0079
59 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 29302 | 28917 | 385 | 38500 | 0.0385 | 8159 | 8099 | 60 | 6000 | 0.006
KASHMIRI GATE
60 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 54480 | 53207 | 1273 | 127300 | 0.1273 | 1729 | 1728 | 1 | 100 | 0.0001
61 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 999743 | 999707 | 36 | 4799.88 | 0.0047999 | 357 | 343 | 14 | 1866.62 | 0.0018666
62 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 76 | 76 | 0 | 0 | 0 | 663 | 663 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
63 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
64 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999880 | 999880 | 0 | 0 | 0 | 999439 | 999439 | 0 | 0 | 0
MUNDKA
65 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 972400 | 972453 | -53 | -42400 | -0.0424 | 999740 | 999748 | -8 | -6400 | -0.0064
[10 empty] | 0.2016 | [5 empty] | Assessment June 2020
66 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 996564 | 996590 | -26 | -52000 | -0.052 | 1054 | 1055 | -1 | -2000 | -0.002
PEERAGARHI
67 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 980624 | 980621 | 3 | 600 | 0.0006 | 936 | 637 | 299 | 59800 | 0.0598
68 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 998257 | 998255 | 2 | 500 | 0.0005 | 420 | 383 | 37 | 9250 | 0.00925
REWARI LINE
69 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992669 | 992803 | -134 | -134000 | -0.134 | 2196 | 2211 | -15 | -15000 | -0.015
70 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1893 | 1852 | 41 | 30750 | 0.03075 | 3310 | 3307 | 3 | 2250 | 0.00225
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -12.2067 |  |  |  |  | -4.2641
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JULY-2020
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 15405 | 15325 | 80 | -8000 | -0.008 | 143076 | 142996 | 80 | -8000 | -0.008
| MANGOLPURI |  |  |  | -100 | [5 empty] | 123184 | 122449 | 735 | -73500 | -0.0735
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 331 | 328 | 3 | -2400 | -0.0024 | 697 | 627 | 70 | -56000 | -0.056
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 821 | 821 | 0 | 0 | 0 | 187 | 98 | 89 | -89000 | -0.089
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 6546 | 6546 | 0 | 0 | 0 | 3793 | 1637 | 2156 | -287459.48 | -0.28746
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997452 | 997459 | -7 | 1312.5 | 0.0013125 | 999924 | 999947 | -23 | 4312.5 | 0.0043125
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 918785 | 921567 | -2782 | 2225600 | 2.2256 | 997978 | 997983 | -5 | 4000 | 0.004
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 989654 | 989683 | -29 | 18125 | 0.018125 | 999992 | 999993 | -1 | 625 | 0.000625
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 990780 | 990782 | -2 | 1250 | 0.00125 | 999853 | 999843 | 10 | -6250 | -0.00625
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 996921 | 997021 | -100 | 20000 | 0.02 | 14460 | 14496 | -36 | 7200 | 0.0072
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 993555 | 993733 | -178 | 33375 | 0.033375 | 5439 | 5448 | -9 | 1687.5 | 0.0016875
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 992387 | 992516 | -129 | 24187.5 | 0.024188 | 4078 | 4053 | 25 | -4687.5 | -0.0046875
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 3501 | 3330 | 171 | -42750 | -0.04275 | 8010 | 7981 | 29 | -7250 | -0.00725
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 996340 | 996144 | 196 | -19600 | -0.0196 | 29346 | 29054 | 292 | -29200 | -0.0292
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 2.2511 |  |  |  |  | -0.54352
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -12.2067 |  |  |  |  | -4.2641
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 2.2511 |  |  |  |  | -0.54352
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.10426 |  |  |  |  | -0.18643
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -9.8514 |  |  |  |  | -4.9941
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -9.8514 | (REACTIVE MUs) |  |  |  | -4.9941 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -1.7219 | (REACTIVE MUs) |  |  |  | 0.05025 | (REACTIVE MUs)
[9 empty] | TOTAL | -11.5732 | (REACTIVE MUs) |  |  |  | -4.9438 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JULY-2020
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 28740 | 26420 | 2320 | 232000 | 0.232 | 994508 | 994511 | -3 | -300 | -0.0003
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 11758 | 11254 | 504 | 151200 | 0.1512 | 3240 | 3251 | -11 | -3300 | -0.0033
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 93538 | 86779 | 6759 | 506925 | 0.50692 | 402524 | 402066 | 458 | 34350 | 0.03435
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 994700 | 994855 | -155 | -46500 | -0.0465 | 5941 | 5943 | -2 | -600 | -0.0006
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1529 | 1549 | -20 | -26666 | -0.026666 | 3601 | 3598 | 3 | 3999.9 | 0.0039999
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 14500 | 12911 | 1589 | 158900 | 0.1589 | 3863 | 3844 | 19 | 1900 | 0.0019
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 120443 | 116165 | 4278 | 320850 | 0.32085 | 892277 | 892218 | 59 | 4425 | 0.004425
[5 empty] | 75 | 110878 | 108562 | 2316 | 173700 | 0.1737
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979928 | 980029 | -101 | -101000 | -0.101 | 2276 | 2276 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 989681 | 989825 | -144 | -72000 | -0.072 | 178 | 178 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996938 | 996594 | 344 | 344000 | 0.344 | 1625 | 1621 | 4 | 4000 | 0.004
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987539 | 987840 | -301 | -301000 | -0.301 | 1353 | 1354 | -1 | -1000 | -0.001
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990044 | 990200 | -156 | -156000 | -0.156 | 6257 | 6258 | -1 | -1000 | -0.001
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996866 | 997242 | -376 | -376000 | -0.376 | 998668 | 998667 | 1 | 1000 | 0.001
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995218 | 995487 | -269 | -269000 | -0.269 | 999794 | 999794 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 995523 | 995769 | -246 | -196800 | -0.1968 | 5204 | 5204 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 4907 | 4551 | 356 | 47465.48 | 0.047465 | 3650 | 3650 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 812 | 829 | -17 | -17000 | -0.017 | 9730 | 9730 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 643 | 634 | 9 | 9000 | 0.009 | 17471 | 17471 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 971610 | 971612 | -2 | -2500 | -0.0025 | 949086 | 949341 | -255 | -318750 | -0.31875
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985079 | 985081 | -2 | -2000 | -0.002 | 936053 | 936158 | -105 | -105000 | -0.105
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999971 | 999993 | -22 | -22000 | -0.022 | 999672 | 999743 | -71 | -71000 | -0.071
| KASHMIRI GATE | [8 empty] | -0.0265 |  |  |  |  | -0.49475
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987862 | 988350 | -488 | 488000 | 0.488 | 998287 | 998307 | -20 | 20000 | 0.02
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985586 | 986102 | -516 | 516000 | 0.516 | 998826 | 998829 | -3 | 3000 | 0.003
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 76 | 76 | 0 | 0 | 0 | 663 | 663 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999814 | 999814 | 0 | 0 | 0 | 13345 | 13016 | 329 | 329000 | 0.329
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 164079 | 161730 | 2349 | -2349000 | -2.349 | 8701 | 8706 | -5 | 5000 | 0.005
[5 empty] | -1000 | 157296 | 156163 | 1133 | -1133000 | -1.133
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41089 | 40571 | 518 | -518000 | -0.518 | 191 | 198 | -7 | 7000 | 0.007
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 335 | 814 | -479 | 479000 | 0.479 | 999286 | 999304 | -18 | 18000 | 0.018
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 338 | 178 | 160 | -160000 | -0.16 | 998710 | 998780 | -70 | 70000 | 0.07
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26023 | 26054 | -31 | 31000 | 0.031 | 982865 | 982935 | -70 | 70000 | 0.07
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43621 | 43148 | 473 | -473000 | -0.473 | 316 | 311 | 5 | -5000 | -0.005
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 31152 | 30613 | 539 | -1078000 | -1.078 | 24 | 24 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 821 | 821 | 0 | 0 | 0 | 187 | 98 | 89 | 89000 | 0.089
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 6546 | 6546 | 0 | 0 | 0 | 3793 | 1637 | 2156 | 287459.48 | 0.28746
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 993879 | 993880 | -1 | -133 | -0.000133 | 8845 | 9387 | -542 | -72086 | -0.072086
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 952543 | 953808 | -1265 | 1265000 | 1.265 | 990185 | 990185 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978388 | 979679 | -1291 | 1291000 | 1.291 | 999923 | 999923 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -1.2856 |  |  |  |  | 0.3701
| (A) NET ENERGY TO CENTRAL | [8 empty] | -1.2856 |  |  |  |  | 0.3701
JULY-2020
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989406 | 990510 | -1104 | 1104000 | 1.104 | 997285 | 997303 | -18 | 18000 | 0.018
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972948 | 973044 | -96 | 96000 | 0.096 | 962553 | 962650 | -97 | 97000 | 0.097
[5 empty] | -1000 | 988784 | 989369 | -585 | 585000 | 0.585
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992837 | 993759 | -922 | 922000 | 0.922 | 997921 | 997954 | -33 | 33000 | 0.033
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991406 | 993421 | -2015 | 2015000 | 2.015 | 998606 | 998633 | -27 | 27000 | 0.027
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27732 | 27613 | 119 | -119000 | -0.119 | 997424 | 997456 | -32 | 32000 | 0.032
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12949 | 12879 | 70 | -70000 | -0.07 | 996453 | 996489 | -36 | 36000 | 0.036
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6965 | 7062 | -97 | 97000 | 0.097 | 12368 | 12471 | -103 | 103000 | 0.103
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999378 | 999415 | -37 | 37000 | 0.037 | 999882 | 999971 | -89 | 89000 | 0.089
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 941260 | 941452 | -192 | 192000 | 0.192 | 978726 | 979010 | -284 | 284000 | 0.284
[5 empty] | -1000 | 942125 | 942120 | 5 | -5000 | -0.005
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971964 | 972024 | -60 | 60000 | 0.06 | 975173 | 975566 | -393 | 393000 | 0.393
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962600 | 962530 | 70 | -70000 | -0.07 | 825303 | 825383 | -80 | 80000 | 0.08
GAZIPUR
13 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -2000 | 101 | 73 | 28 | -56000 | -0.056 | 2 | 2 | 0 | 0 | 0
14 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 508 | 440 | 68 | -68000 | -0.068 | 61 | 39 | 22 | -22000 | -0.022
15 | TX-3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21939 | 21907 | 32 | -32000 | -0.032 | 225 | 138 | 87 | -87000 | -0.087
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 4.688 |  |  |  |  | 1.083
| (B) NET ENERGY TO EAST | [8 empty] | 4.688 |  |  |  |  | 1.083
JULY-2020
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 996599 | 997090 | -491 | 130934.97 | 0.13093 | 999883 | 999883 | 0 | 0 | 0
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 1813 | 1796 | 17 | -8500 | -0.0085 | 188 | 198 | -10 | 5000 | 0.005
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 3270 | 2915 | 355 | -94664.3 | -0.094664 | 2219 | 2200 | 19 | -5066.54 | -0.0050665
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 107254 | 105935 | 1319 | -131900 | -0.1319 | 152454 | 152406 | 48 | -4800 | -0.0048
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 989347 | 989276 | 71 | -14200 | -0.0142 | 999330 | 999322 | 8 | -1600 | -0.0016
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 217 | 99 | 118 | -118000 | -0.118 | 21 | 17 | 4 | -4000 | -0.004
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 1911 | 1613 | 298 | -238400 | -0.2384 | 2626 | 2608 | 18 | -14400 | -0.0144
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3275 | 3248 | 27 | -21600 | -0.0216 | 1314 | 1312 | 2 | -1600 | -0.0016
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 993730 | 994461 | -731 | 584800 | 0.5848 | 998903 | 998909 | -6 | 4800 | 0.0048
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 960473 | 960760 | -287 | 229600 | 0.2296 | 980449 | 980523 | -74 | 59200 | 0.0592
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 963622 | 964472 | -850 | 680000 | 0.68 | 989870 | 989885 | -15 | 12000 | 0.012
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997261 | 997542 | -281 | 562000 | 0.562 | 999568 | 999571 | -3 | 6000 | 0.006
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 995892 | 996054 | -162 | 324000 | 0.324 | 999516 | 999516 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999946 | 999962 | -16 | 16000 | 0.016 | 27400 | 27429 | -29 | 29000 | 0.029
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970 | 970 | 0 | 0 | 0 | 61215 | 61230 | -15 | 15000 | 0.015
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
18 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999899 | 999899 | 0 | 0 | 0 | 1938 | 1841 | 97 | -48500 | -0.0485
19 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 2264 | 2259 | 5 | -3333.35 | -0.0033334 | 404 | 377 | 27 | -18000.09 | -0.018
20 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 579 | 571 | 8 | -4000 | -0.004 | 368 | 305 | 63 | -31500 | -0.0315
KASHMIRI GATE
21 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 54480 | 53207 | 1273 | -127300 | -0.1273 | 1729 | 1728 | 1 | -100 | -0.0001
22 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 999743 | 999707 | 36 | -4799.88 | -0.0047999 | 357 | 343 | 14 | -1866.62 | -0.0018666
D.M.S
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 996382 | 996383 | -1 | 100 | 0.0001 | 3199 | 3346 | -147 | 14700 | 0.0147
FAIZ ROAD
24 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 7806 | 7616 | 190 | -19000 | -0.019 | 12634 | 12459 | 175 | -17500 | -0.0175
25 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 10145 | 9645 | 500 | -50000 | -0.05 | 2635 | 2556 | 79 | -7900 | -0.0079
26 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 29302 | 28917 | 385 | -38500 | -0.0385 | 8159 | 8099 | 60 | -6000 | -0.006
FED FROM BYPL (RLY.)
27 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 15670 | 15480 | 190 | 190 | 0.00019 | 36150 | 31140 | 5010 | 5010 | 0.00501
28 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 5680 | 5570 | 110 | 110 | 0.00011 | 121130 | 81020 | 40110 | 40110 | 0.04011
29 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 32600 | 30900 | 1700 | 1700 | 0.0017 | 392600 | 322500 | 70100 | 70100 | 0.0701
[10 empty] | 1.6552 |  |  |  |  | 0.098087
JULY-2020
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -1.2856 |  |  |  |  | 0.3701
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 1.6552 |  |  |  |  | 0.098087
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0.05805 |  |  |  |  | -0.10918
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 0.42773 |  |  |  |  | 0.35901
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 4.688 |  |  |  |  | 1.083
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 5.1157 |  |  |  |  | 1.442
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 5.1157 | (REACTIVE MUs) |  |  |  | 1.442 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -1.2868 | (REACTIVE MUs) |  |  |  | 0.037553 | (REACTIVE MUs)
[9 empty] | TOTAL | 3.8289 | (REACTIVE MUs) |  |  |  | 1.4796 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JULY-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 998887 | 998915 | -28 | -140000 | -0.14 | 998778 | 998779 | -1 | -5000 | -0.005
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 980293 | 980281 | 12 | 15999.96 | 0.016 | 670564 | 670561 | 3 | 3999.99 | 0.004
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 990156 | 990241 | -85 | -17000 | -0.017 | 1372 | 1383 | -11 | -2200 | -0.0022
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999977 | 999886 | 91 | 121333.03 | 0.12133 | 999771 | 999768 | 3 | 3999.99 | 0.004
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 998975 | 998926 | 49 | 73500 | 0.0735 | 999980 | 999980 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 15632 | 15856 | -224 | -22400 | -0.0224 | 21955 | 21962 | -7 | -700 | -0.0007
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 627009 | 629457 | -2448 | -183600 | -0.1836 | 979717 | 979725 | -8 | -600 | -0.0006
[5 empty] | 75 |  |  |  |  | 0.02355 | [5 empty] | Assessment Last month
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 977070 | 978352 | -1282 | -96150 | -0.09615 | 17385 | 17383 | 2 | 150 | 0.00015
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 900 | 998897 | 998984 | -87 | -78300 | -0.0783 | 999882 | 999876 | 6 | 5400 | 0.0054
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 995523 | 995781 | -258 | -25800 | -0.0258 | 265176 | 265178 | -2 | -200 | -0.0002
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13715 | 13742 | -27 | 27000 | 0.027 | 996500 | 996511 | -11 | 11000 | 0.011
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2435 | 2469 | -34 | 68000 | 0.068 | 997045 | 997071 | -26 | 52000 | 0.052
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16068 | 15986 | 82 | -82000 | -0.082 | 996315 | 996327 | -12 | 12000 | 0.012
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953089 | 953125 | -36 | 36000 | 0.036 | 989761 | 989804 | -43 | 43000 | 0.043
[5 empty] | -1000 | 977416 | 977416 | 0 | 0 | 0 | 990017 | 990210 | -193 | 193000 | 0.193
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 88656 | 88204 | 452 | -452000 | -0.452 | 18973 | 18975 | -2 | 2000 | 0.002
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 71678 | 71058 | 620 | -310000 | -0.31 | 35973 | 35936 | 37 | -18500 | -0.0185
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 16731 | 16546 | 185 | -370000 | -0.37 | 998482 | 998481 | 1 | -2000 | -0.002
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 940346 | 940350 | -4 | 4000 | 0.004 | 814024 | 814040 | -16 | 16000 | 0.016
[5 empty] | -1000 | 6535 | 7292 | -757 | 757000 | 0.757
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 13976 | 13133 | 843 | -674400 | -0.6744 | 1106 | 1107 | -1 | 800 | 0.0008
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 60644 | 60383 | 261 | -208800 | -0.2088 | 998219 | 998205 | 14 | -11200 | -0.0112
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982757 | 987107 | -4350 | 4350000 | 4.35 | 961058 | 961069 | -11 | 11000 | 0.011
[5 empty] | -1000 | 986742 | 987107 | -365 | 365000 | 0.365
[5 empty] | -1000 | 993296 | 993519 | -223 | 223000 | 0.223
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 978522 | 980773 | -2251 | 4502000 | 4.502 | 992255 | 992269 | -14 | 28000 | 0.028
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 935537 | 937161 | -1624 | 3248000 | 3.248 | 983825 | 983829 | -4 | 8000 | 0.008
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10478 | 10469 | 9 | -9000 | -0.009 | 997154 | 997192 | -38 | 38000 | 0.038
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5122 | 4940 | 182 | -182000 | -0.182 | 53 | 53 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980811 | 980972 | -161 | 161000 | 0.161 | 9 | 10 | -1 | 1000 | 0.001
[5 empty] | -1000 | 981459 | 981657 | -198 | 198000 | 0.198
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 161162 | 160745 | 417 | -417000 | -0.417 | 42800 | 42390 | 410 | -410000 | -0.41
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 2656 | 2656 | 0 | 0 | 0 | 36 | 36 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 331 | 328 | 3 | 2400 | 0.0024 | 697 | 627 | 70 | 56000 | 0.056
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 957686 | 959317 | -1631 | 1631000 | 1.631 | 965552 | 965553 | -1 | 1000 | 0.001
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982703 | 983809 | -1106 | 1106000 | 1.106 | 984014 | 984014 | 0 | 0 | 0
33 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51391 | 50655 | 736 | -736000 | -0.736 | 985569 | 985569 | 0 | 0 | 0
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 17762 | 17716 | 46 | -36800 | -0.0368 | 999003 | 999028 | -25 | 20000 | 0.02
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 36152 | 36128 | 24 | -38400 | -0.0384 | 999866 | 999872 | -6 | 9600 | 0.0096
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996692 | 996678 | 14 | -28000 | -0.028 | 984545 | 984834 | -289 | 578000 | 0.578
37 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 5985 | 5993 | -8 | 4000 | 0.004 | 990425 | 990783 | -358 | 179000 | 0.179
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21448 | 21449 | -1 | 1000 | 0.001 | 31915 | 32190 | -275 | 275000 | 0.275
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 190 | 189 | 1 | -1000 | -0.001 | 995999 | 996060 | -61 | 61000 | 0.061
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999913 | 999913 | 0 | 0 | 0 | 999466 | 999252 | 214 | -214000 | -0.214
BRPL(+) continue | [14 empty] | JULY-2020
VASANT KUNJ
41 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47291 | 47274 | 17 | -17000 | -0.017 | 999369 | 999275 | 94 | -94000 | -0.094
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8583 | 8582 | 1 | -1000 | -0.001 | 999529 | 999272 | 257 | -257000 | -0.257
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2105 | 1664 | 441 | -441000 | -0.441 | 999923 | 999959 | -36 | 36000 | 0.036
MEHRAULI
44 | Tx.1 | 4864928 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18 | 8 | 10 | -10000 | -0.01 | 98 | 26 | 72 | -72000 | -0.072 | w.e.f 29/5/20
45 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1169 | 1167 | 2 | -2000 | -0.002 | 924924 | 925037 | -113 | 113000 | 0.113
46 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37948 | 37920 | 28 | -28000 | -0.028 | 7718 | 7657 | 61 | -61000 | -0.061
47 | Tx.4 | 4865023 | ELSTER | Kvarh(Lead/Lag) | -2000 | 113 | 113 | 0 | 0 | 0 | 999663 | 999731 | -68 | 136000 | 0.136
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60982 | 60830 | 152 | -152000 | -0.152 | 997176 | 997181 | -5 | 5000 | 0.005
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 32033 | 31618 | 415 | -830000 | -0.83 | 999381 | 999381 | 0 | 0 | 0
DIAL
50 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8886 | 8882 | 4 | -8000 | -0.008 | 2580 | 2529 | 51 | -102000 | -0.102
51 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6977 | 6961 | 16 | -32000 | -0.032 | 1486 | 1452 | 34 | -68000 | -0.068
MASJID MOD
52 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917399 | 918196 | -797 | 797000 | 0.797 | 979168 | 979168 | 0 | 0 | 0
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999544 | 1000414 | -870 | 870000 | 0.87 | 994716 | 994716 | 0 | 0 | 0
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 515 | 1661 | -1146 | 1146000 | 1.146 | 987095 | 987117 | -22 | 22000 | 0.022
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999895 | 999950 | 0 | 0 | 0 | 999994 | 999997 | 0 | 0 | 0 | w.e.f 28/5/20
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 981779 | 981779 | 0 | 0 | 0 | 612 | 612 | 0 | 0 | 0
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 950527 | 950632 | -105 | -84000 | -0.084 | 999494 | 999500 | -6 | -4800 | -0.0048
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 999516 | 999537 | -21 | -16800 | -0.0168 | 999829 | 999825 | 4 | 3200 | 0.0032
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 996348 | 996330 | 18 | 14400 | 0.0144 | 35 | 30 | 5 | 4000 | 0.004
PARK STREET
61 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 995892 | 996054 | -162 | -324000 | -0.324 | 999516 | 999516 | 0 | 0 | 0
62 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
63 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 71210 | 69649 | 1561 | -3122000 | -3.122 | 923 | 923 | 0 | 0 | 0 | CTR Chnged to 1000 to 2000 w.e.f 18/6
64 | Tx-2 | 5128415 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15071 | 12861 | 2210 | -2210000 | -2.21 | 2798 | 2798 | 0 | 0 | 0
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 116414 | 115924 | 490 | -490000 | -0.49 | 1469 | 1469 | 0 | 0 | 0
NARAINA
66 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 15405 | 15325 | 80 | 8000 | 0.008 | 143076 | 142996 | 80 | 8000 | 0.008
67 | SUDARSHAN PARK |  |  |  | 100 | [5 empty] | 123184 | 122449 | 735 | 73500 | 0.0735
68 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997452 | 997459 | -7 | -1312.5 | -0.0013125 | 999924 | 999947 | -23 | -4312.5 | -0.0043125
69 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 949867 | 949867 | 0 | 0 | 0 | 997977 | 998332 | -355 | -142000 | -0.142
[5 empty] | 400 | [5 empty] | 995641 | 995608 | 33 | 13200 | 0.0132
[5 empty] | 400 | [5 empty] | 996647 | 996490 | 157 | 62800 | 0.0628
70 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 10619 | 10619 | 0 | 0 | 0 | 73180 | 72909 | 271 | 108400 | 0.1084
KANJAWALA
71 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 918785 | 921567 | -2782 | -2225600 | -2.2256 | 997978 | 997983 | -5 | -4000 | -0.004
Trauma Centre
72 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 447192 | 446263 | 929 | 92900 | 0.0929 | 85516 | 85363 | 153 | 15300 | 0.0153
73 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3997 | 3972 | 25 | 25000 | 0.025 | 1868 | 1870 | -2 | -2000 | -0.002
A.I.I.M.S.
74 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10809 | 10809 | 0 | 0 | 0 | 22800 | 22336 | 464 | 34800 | 0.0348
75 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5309 | 5309 | 0 | 0 | 0 | 15247 | 14709 | 538 | 53800 | 0.0538
PEERGARHI
76 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 8854 | 8851 | 3 | 1500 | 0.0015 | 3228 | 3180 | 48 | 24000 | 0.024
77 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999205 | 999204 | 1 | 1000 | 0.001 | 4201 | 4180 | 21 | 21000 | 0.021
78 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985835 | 985837 | -2 | -2000 | -0.002 | 915 | 974 | -59 | -59000 | -0.059
79 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6303 | 6301 | 2 | 2000 | 0.002 | 6636 | 6593 | 43 | 43000 | 0.043
80 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 3524 | 3547 | -23 | -3680 | -0.00368 | 1062 | 90 | 972 | 155520 | 0.15552
81 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 3752 | 3655 | 97 | 9700 | 0.0097 | 909498 | 909495 | 3 | 300 | 0.0003
[5 empty] | 100 | [5 empty] | 688 | 13 | 675 | 67500 | 0.0675
82 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4058 | 4055 | 3 | 3000 | 0.003 | 1094 | 1030 | 64 | 64000 | 0.064
83 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4622 | 4619 | 3 | 3000 | 0.003 | 7373 | 7292 | 81 | 81000 | 0.081
REWARI LINE
84 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 996921 | 997021 | -100 | -20000 | -0.02 | 14460 | 14496 | -36 | -7200 | -0.0072
85 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 993555 | 993733 | -178 | -33375 | -0.033375 | 5439 | 5448 | -9 | -1687.5 | -0.0016875
86 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 992387 | 992516 | -129 | -24187.5 | -0.024188 | 4078 | 4053 | 25 | 4687.5 | 0.0046875
87 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 3501 | 3330 | 171 | 42750 | 0.04275 | 8010 | 7981 | 29 | 7250 | 0.00725
88 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 996340 | 996144 | 196 | 19600 | 0.0196 | 29346 | 29054 | 292 | 29200 | 0.0292
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 5.767 |  |  |  |  | 1.252
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JULY-2020
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21968 | 21858 | 110 | -55000 | -0.055 | 4883 | 4883 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 993879 | 993880 | -1 | 133.33 | 0.00013333 | 8845 | 9387 | -542 | 72264.86 | 0.072265
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1296 | 1296 | 0 | 0 | 0 | 998440 | 998502 | -62 | 62000 | 0.062
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996413 | 996436 | -23 | 23000 | 0.023 | 2251 | 2245 | 6 | -6000 | -0.006
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 9125 | 9125 | 0 | 0 | 0 | 27966 | 26935 | 1031 | -164960 | -0.16496
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3857 | 3857 | 0 | 0 | 0 | 7992 | 8017 | -25 | 5000 | 0.005
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983329 | 983380 | -51 | 51000 | 0.051 | 999249 | 999247 | 2 | -2000 | -0.002
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 102365 | 102335 | 30 | -3000 | -0.003 | 75857 | 75752 | 105 | -10500 | -0.0105
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4212 | 4024 | 188 | -18800 | -0.0188 | 1363 | 1314 | 49 | -4900 | -0.0049
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 18121 | 16825 | 1296 | -129600 | -0.1296 | 70821 | 70818 | 3 | -300 | -0.0003
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16621 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 1443 | 1340 | 103 | -64375 | -0.064375
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999462 | 999462 | 0 | 0 | 0 | 999566 | 999405 | 161 | -16100 | -0.0161
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3055 | 3055 | 0 | 0 | 0 | 30190 | 29805 | 385 | -38500 | -0.0385
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 773 | 771 | 2 | -2666 | -0.002666 | 538 | 522 | 16 | -21328 | -0.021328
21 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 3179 | 3179 | 0 | 0 | 0 | 1592 | 1592 | 0 | 0 | 0
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1883 | 1871 | 12 | -1200 | -0.0012 | 2293 | 1867 | 426 | -42600 | -0.0426
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999880 | 999880 | 0 | 0 | 0 | 999439 | 999439 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 12207 | 12085 | 122 | -97600 | -0.0976 | 6014 | 6007 | 7 | -5600 | -0.0056
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992669 | 992803 | -134 | 134000 | 0.134 | 2196 | 2211 | -15 | 15000 | 0.015
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1893 | 1852 | 41 | -30750 | -0.03075 | 3310 | 3307 | 3 | -2250 | -0.00225
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.13048 |  |  |  |  | -0.22515
JULY-2020
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 5.767 |  |  |  |  | 1.252
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.13048 |  |  |  |  | -0.22515
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.081713 |  |  |  |  | -0.0002125
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.2702 |  |  |  |  | -0.0478
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 5.4481 |  |  |  |  | 0.97885
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 5.4481 | (REACTIVE MUs) |  |  |  | 0.97885 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -2.4226 | (REACTIVE MUs) |  |  |  | 0.070701 | (REACTIVE MUs)
[9 empty] | TOTAL | 3.0254 | (REACTIVE MUs) |  |  |  | 1.0495 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JULY-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3270 | 2915 | 355 | 94667.85 | 0.094668 | 2219 | 2200 | 19 | 5066.73 | 0.0050667
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 107254 | 105935 | 1319 | 131900 | 0.1319 | 152454 | 152406 | 48 | 4800 | 0.0048
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 989347 | 989276 | 71 | 14200 | 0.0142 | 999330 | 999322 | 8 | 1600 | 0.0016
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 217 | 99 | 118 | 118000 | 0.118 | 21 | 17 | 4 | 4000 | 0.004
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 1911 | 1613 | 298 | 238400 | 0.2384 | 2626 | 2608 | 18 | 14400 | 0.0144
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3275 | 3248 | 27 | 21600 | 0.0216 | 1314 | 1312 | 2 | 1600 | 0.0016
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 993730 | 994461 | -731 | -584800 | -0.5848 | 998903 | 998909 | -6 | -4800 | -0.0048
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 960473 | 960760 | -287 | -229600 | -0.2296 | 980449 | 980523 | -74 | -59200 | -0.0592
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 963622 | 964472 | -850 | -680000 | -0.68 | 989870 | 989885 | -15 | -12000 | -0.012
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 997261 | 997542 | -281 | -562000 | -0.562 | 999568 | 999571 | -3 | -6000 | -0.006
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 970931 | 971604 | -673 | -33650 | -0.03365 | 20074 | 20000 | 74 | 3700 | 0.0037
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 974926 | 975501 | -575 | -43125 | -0.043125 | 22554 | 22556 | -2 | -150 | -0.00015
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 998860 | 998855 | 5 | 2500 | 0.0025 | 5478 | 5476 | 2 | 1000 | 0.001
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 997371 | 997459 | -88 | -33000 | -0.033 | 7373 | 7378 | -5 | -1875 | -0.001875
15 | BAY-16 (N BWN) | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 992222 | 992364 | -142 | -14200 | -0.0142 | 999554 | 999541 | 13 | 1300 | 0.0013
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 12252 | 11791 | 461 | 34575 | 0.034575 | 40601 | 40517 | 84 | 6300 | 0.0063
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 11833 | 12038 | -205 | -20500 | -0.0205 | 2065 | 2062 | 3 | 300 | 0.0003
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995576 | 995577 | -1 | -1000 | -0.001 | 104859 | 104755 | 104 | 104000 | 0.104
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994303 | 994304 | -1 | -1000 | -0.001 | 1971 | 1877 | 94 | 94000 | 0.094
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985061 | 985062 | -1 | -1000 | -0.001 | 144910 | 144748 | 162 | 162000 | 0.162
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999204 | 999205 | -1 | -2500 | -0.0025 | 517 | 520 | -3 | -7500 | -0.0075
[10 empty] | -0.0055 |  |  |  |  | 0.3525
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996413 | 996436 | -23 | -23000 | -0.023 | 2251 | 2245 | 6 | 6000 | 0.006
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 9125 | 9125 | 0 | 0 | 0 | 27966 | 26935 | 1031 | 164960 | 0.16496
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3857 | 3857 | 0 | 0 | 0 | 7992 | 8017 | -25 | -5000 | -0.005
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983329 | 983380 | -51 | -51000 | -0.051 | 999249 | 999247 | 2 | 2000 | 0.002
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16621 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
JULY-2020
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996304 | 996371 | -67 | 67000 | 0.067 | 990105 | 990180 | -75 | 75000 | 0.075
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997654 | 997734 | -80 | 80000 | 0.08 | 995880 | 995939 | -59 | 59000 | 0.059
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997506 | 997514 | -8 | 16000 | 0.016 | 996871 | 996905 | -34 | 68000 | 0.068
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999003 | 999020 | -17 | 17000 | 0.017 | 996095 | 996177 | -82 | 82000 | 0.082
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 1443 | 1340 | 103 | 64375 | 0.064375
LODHI ROAD
35 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 102365 | 102335 | 30 | 3000 | 0.003 | 75857 | 75752 | 105 | 10500 | 0.0105
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4212 | 4024 | 188 | 18800 | 0.0188 | 1363 | 1314 | 49 | 4900 | 0.0049
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 18121 | 16825 | 1296 | 129600 | 0.1296 | 70821 | 70818 | 3 | 300 | 0.0003
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 500 | 21968 | 21858 | 110 | 55000 | 0.055 | 4883 | 4883 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 447192 | 446263 | 929 | -92900 | -0.0929 | 85516 | 85363 | 153 | -15300 | -0.0153
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3997 | 3972 | 25 | -25000 | -0.025 | 1868 | 1870 | -2 | 2000 | 0.002
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10809 | 10809 | 0 | 0 | 0 | 22800 | 22336 | 464 | -34800 | -0.0348
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5309 | 5309 | 0 | 0 | 0 | 15247 | 14709 | 538 | -53800 | -0.0538
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -1.356 |  |  |  |  | 0.74268
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -1.356 |  |  |  |  | 0.74268
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.20269 |  |  |  |  | 0.0059153
| TOTAL ENERGY TO NDMC | [8 empty] | -1.5587 |  |  |  |  | 0.74859

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2020
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3654 | 3654 | 0 | 0 | 0 | 63070 | 63279 | -209 | -41800 | -0.0418
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 32 | 32 | 0 | 0 | 0 | 20077 | 14499 | 5578 | 892480 | 0.89248
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4510 | 4510 | 0 | 0 | 0 | 57479 | 56538 | 941 | 941000 | 0.941
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 165 | 165 | 0 | 0 | 0 | 17184 | 17358 | -174 | -69600 | -0.0696
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 14 | 12 | 2 | 1600 | 0.0016 | 622 | 436 | 186 | 148800 | 0.1488
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 1440 | 1440 | 0 | 0 | 0 | 5257 | 5282 | -25 | -10000 | -0.01
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1296 | 1296 | 0 | 0 | 0 | 998440 | 998502 | -62 | -62000 | -0.062
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0016 |  |  |  |  | 1.7989
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 69120 | 67291 | 1829 | 182900 | 0.1829 | 104375 | 103981 | 394 | 39400 | 0.0394
11 | DEFENCE CLUB | 4902560 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 587 | 3 | 584 | 21900 | 0.0219 | 72 | 72 | 0 | 0 | 0
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 1902 | 1059 | 843 | 63225 | 0.063225 | 26663 | 26551 | 112 | 8400 | 0.0084
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 75 | 75 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 767 | 738 | 29 | 2175 | 0.002175 | 1706 | 1706 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4366 | 4366 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.2702 |  |  |  |  | 0.0478
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0016 |  |  |  |  | 1.7989
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.2718 |  |  |  |  | 1.8467
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.2718 | (REACTIVE MUs) |  |  |  | 1.8467 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.040527 | (REACTIVE MUs) |  |  |  | 0.0011827 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.23127 | (REACTIVE MUs) |  |  |  | 1.8479 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2020
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 989654 | 989683 | -29 | -18125 | -0.018125 | 999992 | 999993 | -1 | -625 | -0.000625
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 990780 | 990782 | -2 | -1250 | -0.00125 | 999853 | 999843 | 10 | 6250 | 0.00625
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 12207 | 12085 | 122 | 97600 | 0.0976 | 6014 | 6007 | 7 | 5600 | 0.0056
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 15670 | 15480 | 190 | -190 | -0.00019 | 36150 | 31140 | 5010 | -5010 | -0.00501
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 5680 | 5570 | 110 | -110 | -0.00011 | 121130 | 81020 | 40110 | -40110 | -0.04011
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 32600 | 30900 | 1700 | -1700 | -0.0017 | 392600 | 322500 | 70100 | -70100 | -0.0701
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.076225 |  |  |  |  | -0.104
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.011896 |  |  |  |  | 0.00034717
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.064329 |  |  |  |  | -0.10365

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2020
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 950170 | 949956 | 214 | 21400 | 0.0214 | 2193 | 2081 | 112 | 11200 | 0.0112
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 57202 | 57297 | -95 | -9500 | -0.0095 | 6067 | 6225 | -158 | -15800 | -0.0158
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 16870 | 16770 | 100 | 50000 | 0.05 | 3997 | 3962 | 35 | 17500 | 0.0175
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998782 | 998795 | -13 | -12187.5 | -0.012188 | 60 | 95 | -35 | -32812.5 | -0.032813
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993931 | 993950 | -19 | 19000 | 0.019 | 999745 | 999791 | -46 | 46000 | 0.046
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 992515 | 992541 | -26 | 13000 | 0.013 | 999906 | 999854 | 52 | -26000 | -0.026
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 230 | 230 | 0 | 0 | 0 | 12 | 13 | -1 | -300 | -0.0003
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.081713 |  |  |  |  | -0.0002125
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 970943 | 970784 | 159 | 31800 | 0.0318 | 999860 | 999834 | 26 | 5200 | 0.0052
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 987853 | 987825 | 28 | 26250 | 0.02625 | 999770 | 999892 | -122 | -114375 | -0.11438
| TOTAL (BSES Y.P.L.) | [8 empty] | 0.05805 |  |  |  |  | -0.10918
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1884 | 1848 | 36 | 45000 | 0.045 | 999862 | 999884 | -22 | -27500 | -0.0275
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 369217 | 368802 | 415 | 41500 | 0.0415 | 179253 | 179515 | -262 | -26200 | -0.0262
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 336596 | 336199 | 397 | 24812.5 | 0.024813 | 73388 | 73581 | -193 | -12062.5 | -0.012063
[5 empty] | 62.5 | 335175 | 335175 | 0 | 0 | 0 | 103567 | 103704 | -137 | -8562.5 | -0.0085625
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 1431 | 1444 | -13 | -10400 | -0.0104 | 1616 | 1659 | -43 | -34400 | -0.0344
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 953983 | 954026 | -43 | -4300 | -0.0043 | 998909 | 999032 | -123 | -12300 | -0.0123
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 990337 | 990336 | 1 | 150 | 0.00015 | 989645 | 990133 | -488 | -73200 | -0.0732
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997258 | 997261 | -3 | 7500 | 0.0075 | 3050 | 3053 | -3 | 7500 | 0.0075
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 230 | 230 | 0 | 0 | 0 | 12 | 13 | -1 | 300 | 0.0003
| TOTAL NDPL | [8 empty] | 0.10426 |  |  |  |  | -0.18643
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.081713 |  |  |  |  | -0.0002125
| F) NET EXPORT TO BSES YPL | [8 empty] | 0.05805 |  |  |  |  | -0.10918
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.10426 |  |  |  |  | -0.18643

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2020
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 100831 | 100802 | 29 | 29000 | 0.029 | 25800 | 25682 | 118 | 118000 | 0.118
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 4690 | 4686 | 4 | 8000 | 0.008 | 661 | 590 | 71 | 142000 | 0.142
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 936046 | 937313 | -1267 | 633500 | 0.6335 | 998337 | 998671 | -334 | 167000 | 0.167
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 581148 | 581699 | -551 | 55100 | 0.0551 | 984129 | 984131 | -2 | 200 | 0.0002
[5 empty] | -100 | [5 empty] | 997073 | 997073 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 0.7256 |  | NET REACTIVE ENERGY |  |  | 0.4272
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.7256 |  |  |  |  | 0.4272
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -6.224 |  |  |  |  | -0.01
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.1825 |  |  |  |  | -0.60375
[7 empty] | NDMC = |  |  | -0.0055 |  |  |  |  | 0.3525
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -6.412 |  |  |  |  | -0.26125
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -5.6864 |  |  |  |  | 0.16595
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 30.2805 | % |  |  | -1.7219 |  |  |  |  | 0.05025
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.6037 | % |  |  | -2.4226 |  |  |  |  | 0.070701
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.6294 | % |  |  | -1.2868 |  |  |  |  | 0.037553
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.5645 | % |  |  | -0.20269 |  |  |  |  | 0.0059153
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7127 | % |  |  | -0.040527 |  |  |  |  | 0.0011827
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.2092 | % |  |  | -0.011896 |  |  |  |  | 0.00034717
Note :Sharing taken from wk-18 abt bill 2020-21

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JULY-2020 TO 31st JULY-2020
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -11.5732 |  | -4.9438
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 3.0254 | + | 1.0495
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 3.8289 | + | 1.4796
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -1.5587 | + | 0.74859
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.23127 | + | 1.8479
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.064329 |  | -0.10365
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2020 | INTIAL READING 01/07/2020 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83