## NDPL
DELHI TRANSCO LIMITED | [15 empty] | DECEMBER-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963208 | 963202 | 6 | -6000 | -0.006 | 993342 | 993332 | 10 | -10000 | -0.01
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 90466 | 89900 | 566 | -1132000 | -1.132 | 5002 | 4985 | 17 | -34000 | -0.034
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13219 | 11528 | 1691 | -1691000 | -1.691 | 428 | 418 | 10 | -10000 | -0.01
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 58828 | 53834 | 4994 | -4994000 | -4.994 | 96843 | 96757 | 86 | -86000 | -0.086
[5 empty] | -1000 | 39789 | 39226 | 563 | -563000 | -0.563
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998808 | 998484 | 324 | -324000 | -0.324 | 986453 | 986475 | -22 | 22000 | 0.022
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 899722 | 899183 | 539 | -539000 | -0.539 | 26912 | 26749 | 163 | -163000 | -0.163
[5 empty] | -1000 | [5 empty] | 26556 | 26544 | 12 | -12000 | -0.012
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19082 | 16353 | 2729 | -2729000 | -2.729 | 999812 | 999811 | 1 | -1000 | -0.001
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25829 | 25109 | 720 | -720000 | -0.72 | 997984 | 997984 | 0 | 0 | 0
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18331 | 17295 | 1036 | -1036000 | -1.036 | 996995 | 996976 | 19 | -19000 | -0.019
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 42682 | 42512 | 170 | -85000 | -0.085 | 837169 | 837119 | 50 | -25000 | -0.025
[5 empty] | -500 | 11304 | 10964 | 340 | -170000 | -0.17
[5 empty] | -500 | 995039 | 994531 | 508 | -254000 | -0.254
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1829 | 492 | 1337 | -1337000 | -1.337 | 998385 | 998385 | 0 | 0 | 0
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11800 | 10550 | 1250 | -1250000 | -1.25 | 999604 | 999604 | 0 | 0 | 0
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54361 | 54232 | 129 | -129000 | -0.129 | 996582 | 996582 | 0 | 0 | 0
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 26462 | 24995 | 1467 | -1467 | -1.467 | 99999723 | 99999723 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 736330 | 740850 | -4520 | -4520000 | -4.52 | 999747 | 999747 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 827211 | 835260 | -8049 | -4024500 | -4.0245 | 999991 | 999991 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14481 | 14349 | 132 | -132000 | -0.132 | 999345 | 999380 | -35 | 35000 | 0.035
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 73556 | 72921 | 635 | -317500 | -0.3175 | 453 | 440 | 13 | -6500 | -0.0065
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 58826 | 58591 | 235 | -235000 | -0.235 | 998864 | 998775 | 89 | -89000 | -0.089
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999144 | 999526 | -382 | -382000 | -0.382 | 988740 | 988740 | 0 | 0 | 0
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999713 | 999810 | -97 | -388000 | -0.388 | 999839 | 999839 | 0 | 0 | 0
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 2002 | 1939 | 63 | 31500 | 0.0315 | 15064 | 15064 | 0 | 0 | 0
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 84358 | 78947 | 5411 | 270550 | 0.27055 | 214264 | 214260 | 4 | 200 | 0.0002
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999016 | 999385 | -369 | -369000 | -0.369 | 996229 | 996229 | 0 | 0 | 0
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999243 | 999393 | -150 | -150000 | -0.15 | 999560 | 999560 | 0 | 0 | 0
26 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 34799 | 38635 | -3836 | -383600 | -0.3836 | 193647 | 193647 | 0 | 0 | 0
[5 empty] | 100 | 40136 | 40641 | -505 | -50500 | -0.0505
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990348 | 991093 | -745 | -745000 | -0.745 | 997984 | 997984 | 0 | 0 | 0
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 916260 | 921907 | -5647 | -2823500 | -2.8235 | 999477 | 999477 | 0 | 0 | 0
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 994320 | 994892 | -572 | -152535.24 | -0.15254 | 83 | 84 | -1 | -266.67 | -0.00026667
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2228 | 2266 | -38 | -19000 | -0.019 | 1164 | 1150 | 14 | 7000 | 0.007
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 49955 | 48852 | 1103 | -1103000 | -1.103 | 996514 | 996515 | -1 | 1000 | 0.001
32 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 288832 | 287856 | 976 | -488000 | -0.488 | 17481 | 17481 | 0 | 0 | 0
[5 empty] | -500 | 286937 | 283174 | 3763 | -1881500 | -1.8815
[5 empty] | -500 | 268498 | 267196 | 1302 | -651000 | -0.651
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13788 | 11841 | 1947 | -3894000 | -3.894 | 999498 | 999498 | 0 | 0 | 0
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 64881 | 62403 | 2478 | -2478000 | -2.478 | 997327 | 997330 | -3 | 3000 | 0.003
DSIDC BAWANA
35 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 148136 | 145413 | 2723 | -5446000 | -5.446 | 293 | 293 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 141385 | 138891 | 2494 | -2494000 | -2.494 | 998448 | 998448 | 0 | 0 | 0
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 222390 | 209201 | 13189 | -4396289.37 | -4.3963 | 231 | 228 | 3 | -999.99 | -0.00099999
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13400 | 10378 | 3022 | -6044000 | -6.044 | 2 | 2 | 0 | 0 | 0
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 28193 | 26001 | 2192 | -4384000 | -4.384 | 470 | 470 | 0 | 0 | 0
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 94882 | 90311 | 4571 | -4571000 | -4.571 | 2090 | 2090 | 0 | 0 | 0
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | 1 | 4671000 | 3700000 | 971000 | 971000 | 0.971 | 1120000 | 1115000 | 5000 | 5000 | 0.005
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | 1 | 15298000 | 13971000 | 1327000 | 1327000 | 1.327 | 1181000 | 1150000 | 31000 | 31000 | 0.031
[10 empty] | -0.001 | [5 empty] | Assessment
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12877 | 9565 | 3312 | -3312000 | -3.312 | 997665 | 997665 | 0 | 0 | 0
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51762 | 51254 | 508 | -508000 | -0.508 | 1437 | 1437 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998129 | 998129 | 0 | 0 | 0 | 25716 | 26126 | -410 | -410000 | -0.41
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | DECEMBER-2021
DMS
45 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | 100 | 998578 | 998985 | -407 | -40700 | -0.0407 | 999841 | 999845 | -4 | -400 | -0.0004
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3200 | 3192 | 8 | 800 | 0.0008 | 32931 | 32767 | 164 | 16400 | 0.0164
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 761 | 762 | -1 | -1333 | -0.001333 | 600 | 601 | -1 | -1333 | -0.001333
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 2064 | 2069 | -5 | -500 | -0.0005 | 5157 | 4916 | 241 | 24100 | 0.0241
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999781 | 999797 | -16 | -8000 | -0.008 | 2259 | 2261 | -2 | -1000 | -0.001
57 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | 500 | 27 | 29 | -2 | -1000 | -0.001 | 164 | 160 | 4 | 2000 | 0.002
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1092 | 1092 | 0 | 0 | 0 | 1055 | 998 | 57 | 28500 | 0.0285
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 993510 | 993902 | -392 | -39200 | -0.0392 | 2699 | 2737 | -38 | -3800 | -0.0038
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 8987 | 9100 | -113 | -11300 | -0.0113 | 14864 | 14853 | 11 | 1100 | 0.0011
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 12810 | 12647 | 163 | 16300 | 0.0163 | 5679 | 5665 | 14 | 1400 | 0.0014
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 31395 | 31262 | 133 | 13300 | 0.0133 | 10930 | 10919 | 11 | 1100 | 0.0011
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 62020 | 62699 | -679 | -67900 | -0.0679 | 2406 | 2406 | 0 | 0 | 0
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 231 | 259 | -28 | -3733.24 | -0.0037332 | 790 | 792 | -2 | -266.66 | -0.00026666
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995633 | -1 | 400 | 0.0004 | 61 | 61 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999881 | 999879 | 2 | 800 | 0.0008 | 999433 | 999432 | 1 | 400 | 0.0004
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 952696 | 954960 | -2264 | -1811200 | -1.8112 | 999703 | 999703 | 0 | 0 | 0
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 993737 | 994022 | -285 | -570000 | -0.57 | 1053 | 1053 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 972300 | 974385 | -2085 | -417000 | -0.417 | 1722 | 1723 | -1 | -200 | -0.0002
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 994850 | 995596 | -746 | -186500 | -0.1865 | 733 | 733 | 0 | 0 | 0
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984847 | 986446 | -1599 | -1599000 | -1.599 | 2358 | 2363 | -5 | -5000 | -0.005
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1643 | 1835 | -192 | -144000 | -0.144 | 3410 | 3410 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -77.0396 |  |  |  |  | -0.69957
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | DECEMBER-2021
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 212 | 67 | 145 | -14500 | -0.0145 | 113 | 0 | 113 | -11300 | -0.0113 | w.e.f 26/11
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 346 | 346 | 0 | 0 | 0 | 629 | 629 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1313 | 1263 | 50 | -50000 | -0.05 | 517 | 516 | 1 | -1000 | -0.001
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 4627 | 4659 | -32 | 4266.56 | 0.0042666 | 7303 | 7304 | -1 | 133.33 | 0.00013333
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997113 | 997177 | -64 | 12000 | 0.012 | 998924 | 998955 | -31 | 5812.5 | 0.0058125
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 902934 | 902934 | 0 | 0 | 0 | 997776 | 997776 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 991056 | 990845 | 211 | -131875 | -0.13187 | 267 | 206 | 61 | -38125 | -0.038125
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999687 | 999709 | -22 | 11000 | 0.011 | 45 | 49 | -4 | 2000 | 0.002
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 993655 | 994500 | -845 | 169000 | 0.169 | 15248 | 15248 | 0 | 0 | 0
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 988438 | 989027 | -589 | 110437.5 | 0.11044 | 4781 | 4781 | 0 | 0 | 0
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 984696 | 985905 | -1209 | 226687.5 | 0.22669 | 3876 | 3876 | 0 | 0 | 0
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 4219 | 4415 | -196 | 49000 | 0.049 | 8122 | 8122 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 993924 | 994317 | -393 | 39300 | 0.0393 | 29815 | 29815 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.42532 |  |  |  |  | -0.042479
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -77.0396 |  |  |  |  | -0.69957
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.42532 |  |  |  |  | -0.042479
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -1.4178 |  |  |  |  | -0.1377
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -78.0321 |  |  |  |  | -0.87975
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -78.0321 | (REACTIVE MUs) |  |  |  | -0.87975 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -6.4102 | (REACTIVE MUs) |  |  |  | -0.0060467 | (REACTIVE MUs)
[9 empty] | TOTAL | -84.4423 | (REACTIVE MUs) |  |  |  | -0.8858 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | DECEMBER-2021
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36753 | 36820 | -67 | -17889 | -0.017889 | 994190 | 994582 | -392 | -104664 | -0.10466
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 11514 | 11530 | -16 | -4800 | -0.0048 | 1988 | 2438 | -450 | -135000 | -0.135
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 75 | 24897 | 24898 | -1 | -75 | -7.5e-05 | 33961 | 33395 | 566 | 42450 | 0.04245
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999923 | 999960 | -37 | -37000 | -0.037 | 999807 | 999973 | -166 | -166000 | -0.166
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 99 | 99 | 0 | 0 | 0 | 53 | 53 | 0 | 0 | 0
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18513 | 18522 | -9 | -11999.97 | -0.012 | 5015 | 4966 | 49 | 65333.17 | 0.065333
7 | MINTO RD. B-34 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 980301 | 980316 | -15 | -19999.95 | -0.02 | 998628 | 998709 | -81 | -107999.73 | -0.108
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975535 | 975556 | -21 | -21000 | -0.021 | 2270 | 2279 | -9 | -9000 | -0.009
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 984024 | 984034 | -10 | -5000 | -0.005 | 48 | 205 | -157 | -78500 | -0.0785
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997635 | 997654 | -19 | -19000 | -0.019 | 999980 | 999994 | -14 | -14000 | -0.014
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983171 | 983185 | -14 | -14000 | -0.014 | 1334 | 1349 | -15 | -15000 | -0.015
12 | LAHORI GATE-1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999991 | 1000003 | -12 | -12000 | -0.012 | 73 | 140 | -67 | -67000 | -0.067
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993732 | 993744 | -12 | -12000 | -0.012 | 998359 | 998423 | -64 | -64000 | -0.064
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992620 | 992629 | -9 | -9000 | -0.009 | 297 | 321 | -24 | -24000 | -0.024
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994385 | 994370 | 15 | 12000 | 0.012 | 5269 | 5276 | -7 | -5600 | -0.0056
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 12362 | 12242 | 120 | 15999.6 | 0.016 | 3684 | 3693 | -9 | -1199.97 | -0.0012
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 626 | 694 | -68 | -68000 | -0.068 | 17465 | 17467 | -2 | -2000 | -0.002
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 963449 | 965170 | -1721 | -2151250 | -2.1513 | 947192 | 947192 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 963955 | 967768 | -3813 | -3813000 | -3.813 | 933562 | 933562 | 0 | 0 | 0
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995243 | 995243 | 0 | 0 | 0 | 998708 | 998708 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -5.9642 |  |  |  |  | 0
22 | 100 MVA TX.-1 | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999342 | 999336 | 6 | -6000 | -0.006 | 999968 | 999971 | -3 | 3000 | 0.003 | Check meter
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980092 | 980070 | 22 | -22000 | -0.022 | 997942 | 997942 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999233 | 999422 | -189 | -189000 | -0.189 | 13910 | 13910 | 0 | 0 | 0
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 258692 | 258376 | 316 | -316000 | -0.316 | 24840 | 24826 | 14 | -14000 | -0.014
[5 empty] | -1000 | 257839 | 256740 | 1099 | -1099000 | -1.099 | 9628 | 9336 | 292 | -292000 | -0.292
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 64500 | 63941 | 559 | -559000 | -0.559 | 545 | 239 | 306 | -306000 | -0.306
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6316 | 5787 | 529 | -529000 | -0.529 | 999038 | 999031 | 7 | -7000 | -0.007
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5911 | 5521 | 390 | -390000 | -0.39 | 998138 | 998129 | 9 | -9000 | -0.009
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 95981 | 95078 | 903 | -903000 | -0.903 | 982834 | 982830 | 4 | -4000 | -0.004
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 83864 | 80251 | 3613 | -3613000 | -3.613 | 325 | 323 | 2 | -2000 | -0.002
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 59530 | 57278 | 2252 | -4504000 | -4.504 | 25 | 25 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1313 | 1263 | 50 | 50000 | 0.05 | 517 | 516 | 1 | 1000 | 0.001
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 4627 | 4659 | -32 | -4266.56 | -0.0042666 | 7303 | 7304 | -1 | -133.33 | -0.00013333
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 26/11
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992754 | 992848 | -94 | -12502 | -0.012502 | 12528 | 12547 | -19 | -2527 | -0.002527
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 952585 | 950269 | 2316 | -2316000 | -2.316 | 990131 | 990121 | 10 | -10000 | -0.01
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973167 | 969818 | 3349 | -3349000 | -3.349 | 981175 | 981160 | 15 | -15000 | -0.015
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -23.9498 |  |  |  |  | -1.3438
| (A) NET ENERGY TO CENTRAL | [8 empty] | -23.9498 |  |  |  |  | -1.3438
DECEMBER-2021
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991308 | 990965 | 343 | -343000 | -0.343 | 993720 | 993648 | 72 | -72000 | -0.072
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980026 | 979765 | 261 | -261000 | -0.261 | 930078 | 929728 | 350 | -350000 | -0.35
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992671 | 992517 | 154 | -154000 | -0.154 | 993393 | 993342 | 51 | -51000 | -0.051
4 | Tx.4 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -2000 | 438 | 146 | 292 | -584000 | -0.584 | 999993 | 999999 | -6 | 12000 | 0.012 | w.e.f 16/11
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37488 | 36894 | 594 | -594000 | -0.594 | 997820 | 997635 | 185 | -185000 | -0.185
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 10074 | 8240 | 1834 | -917000 | -0.917 | 421 | 185 | 236 | -118000 | -0.118
7 | 100 MVA Tx.1 (33 KV) | 5128419 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999210 | 999252 | -42 | 42000 | 0.042 | 999477 | 999500 | -23 | 23000 | 0.023
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1605 | 1605 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1993 | 1909 | 84 | -84000 | -0.084 | 999492 | 999508 | -16 | 16000 | 0.016
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 939989 | 939959 | 30 | -30000 | -0.03 | 978398 | 978388 | 10 | -10000 | -0.01
|  | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 258 | 0 | 258 | -258000 | -0.258 | 25 | 0 | 25 | -25000 | -0.025 | w.e.f 8/12/2021
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990650 | 990342 | 308 | -308000 | -0.308 | 955664 | 955644 | 20 | -20000 | -0.02
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967729 | 967309 | 420 | -420000 | -0.42 | 823895 | 823834 | 61 | -61000 | -0.061
GAZIPUR
13 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 12117 | 11874 | 243 | -1215000 | -1.215 | 40 | 37 | 3 | -15000 | -0.015
14 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15950 | 14668 | 1282 | -1282000 | -1.282 | 80 | 77 | 3 | -3000 | -0.003
15 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3493 | 3042 | 451 | -451000 | -0.451 | 999991 | 999990 | 1 | -1000 | -0.001
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -6.859 |  |  |  |  | -0.86
| (B) NET ENERGY TO EAST | [8 empty] | -6.859 |  |  |  |  | -0.86
DECEMBER-2021
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 994320 | 994892 | -572 | 152535.24 | 0.15254 | 83 | 84 | -1 | 266.67 | 0.00026667
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2228 | 2266 | -38 | 19000 | 0.019 | 1164 | 1150 | 14 | -7000 | -0.007
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 1777 | 1889 | -112 | 29865.92 | 0.029866 | 2321 | 2323 | -2 | 533.32 | 0.00053332
4 | BAIRD RD.2 | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 4547 | 3233 | 1314 | -131400 | -0.1314 | 24 | 16 | 8 | -800 | -0.0008
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 981337 | 981791 | -454 | 90800 | 0.0908 | 999382 | 999383 | -1 | 200 | 0.0002
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1314 | 1259 | 55 | -55000 | -0.055 | 81 | 81 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 3743 | 3781 | -38 | 30400 | 0.0304 | 2733 | 2757 | -24 | 19200 | 0.0192
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 2423 | 2538 | -115 | 92000 | 0.092 | 1313 | 1325 | -12 | 9600 | 0.0096
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 948598 | 949323 | -725 | 580000 | 0.58 | 989441 | 989604 | -163 | 130400 | 0.1304
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992870 | 992961 | -91 | 182000 | 0.182 | 999500 | 999548 | -48 | 96000 | 0.096
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 987619 | 987803 | -184 | 368000 | 0.368 | 999403 | 999464 | -61 | 122000 | 0.122
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998129 | 998129 | 0 | 0 | 0 | 25716 | 26126 | -410 | 410000 | 0.41
DMS
16 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | -100 | 998578 | 998985 | -407 | 40700 | 0.0407 | 999841 | 999845 | -4 | 400 | 0.0004
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
18 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999781 | 999797 | -16 | 8000 | 0.008 | 2259 | 2261 | -2 | 1000 | 0.001
19 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | -500 | 27 | 29 | -2 | 1000 | 0.001 | 164 | 160 | 4 | -2000 | -0.002
20 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1092 | 1092 | 0 | 0 | 0 | 1055 | 998 | 57 | -28500 | -0.0285
KASHMIRI GATE
21 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 62020 | 62699 | -679 | 67900 | 0.0679 | 2406 | 2406 | 0 | 0 | 0
22 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 231 | 259 | -28 | 3733.24 | 0.0037332 | 790 | 792 | -2 | 266.66 | 0.00026666
D.M.S
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 993510 | 993902 | -392 | 39200 | 0.0392 | 2699 | 2737 | -38 | 3800 | 0.0038
FAIZ ROAD
24 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 8987 | 9100 | -113 | 11300 | 0.0113 | 14864 | 14853 | 11 | -1100 | -0.0011
25 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 12810 | 12647 | 163 | -16300 | -0.0163 | 5679 | 5665 | 14 | -1400 | -0.0014
26 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 31395 | 31262 | 133 | -13300 | -0.0133 | 10930 | 10919 | 11 | -1100 | -0.0011
FED FROM BYPL (RLY.)
27 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 58410 | 58330 | 80 | 80 | 8e-05 | 230070 | 224590 | 5480 | 5480 | 0.00548
28 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 32310 | 32290 | 20 | 20 | 2e-05 | 393609 | 378689 | 14920 | 14920 | 0.01492
29 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 129600 | 129400 | 200 | 200 | 0.0002 | 1240099 | 1184400 | 55699 | 55699 | 0.055699
[10 empty] | 1.5007 |  |  |  |  | 0.82787
DECEMBER-2021
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -23.9498 |  |  |  |  | -1.3438
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 1.5007 |  |  |  |  | 0.82787
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.3532 |  |  |  |  | -0.022613
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -22.8022 |  |  |  |  | -0.53859
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -6.859 |  |  |  |  | -0.86
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -29.6612 |  |  |  |  | -1.3986
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -29.6612 | (REACTIVE MUs) |  |  |  | -1.3986 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -4.043 | (REACTIVE MUs) |  |  |  | -0.0038138 | (REACTIVE MUs)
[9 empty] | TOTAL | -33.7043 | (REACTIVE MUs) |  |  |  | -1.4024 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | DECEMBER-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998050 | 998066 | -16 | -16000 | -0.016 | 997393 | 998164 | -771 | -771000 | -0.771
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998769 | 998804 | -35 | -35000 | -0.035 | 999427 | 999694 | -267 | -267000 | -0.267
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 982757 | 982822 | -65 | -13000 | -0.013 | 998038 | 998478 | -440 | -88000 | -0.088
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999871 | 999880 | -9 | -11999.97 | -0.012 | 999773 | 999791 | -18 | -23999.94 | -0.024
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997916 | 997952 | -36 | -54000 | -0.054 | 999677 | 999918 | -241 | -361500 | -0.3615
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 11080 | 11108 | -28 | -2800 | -0.0028 | 21659 | 22212 | -553 | -55300 | -0.0553
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 75 | 998969 | 1000000 | -1031 | -77325 | -0.077325 | 996368 | 999957 | -3589 | -269175 | -0.26917
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 994445 | 994828 | -383 | -28725 | -0.028725 | 994476 | 998359 | -3883 | -291225 | -0.29123
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 800 | 997033 | 997058 | -25 | -20000 | -0.02 | 999242 | 999628 | -386 | -308800 | -0.3088
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988704 | 988715 | -11 | -14666.63 | -0.014667 | 265043 | 265074 | -31 | -41333.23 | -0.041333
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 610 | 459 | 151 | -1006666.566 | -1.0067 | 35 | 35 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25084 | 22516 | 2568 | -2568000 | -2.568 | 996590 | 996590 | 0 | 0 | 0
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5060 | 4379 | 681 | -1362000 | -1.362 | 996425 | 996424 | 1 | -2000 | -0.002
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16333 | 16359 | -26 | 26000 | 0.026 | 996291 | 996291 | 0 | 0 | 0
15 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 932 | 416 | 516 | -516000 | -0.516 | 999892 | 999887 | 5 | -5000 | -0.005
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 130609 | 128226 | 2383 | -2383000 | -2.383 | 19346 | 19346 | 0 | 0 | 0
[5 empty] | -1000 | 127340 | 126422 | 918 | -918000 | -0.918
17 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3149 | 1673 | 1476 | -1476000 | -1.476 | 999817 | 999817 | 0 | 0 | 0
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 31988 | 29720 | 2268 | -4536000 | -4.536 | 998799 | 998798 | 1 | -2000 | -0.002
19 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1082 | 633 | 449 | -898000 | -0.898 | 999999 | 999999 | 0 | 0 | 0
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 103832 | 90983 | 12849 | -10279200 | -10.2792 | 1966 | 1964 | 2 | -1600 | -0.0016
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 110454 | 100438 | 10016 | -8012800 | -8.0128 | 998922 | 998920 | 2 | -1600 | -0.0016
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 951173 | 950882 | 291 | -291000 | -0.291 | 959349 | 959350 | -1 | 1000 | 0.001
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 959060 | 959494 | -434 | 868000 | 0.868 | 991341 | 991340 | 1 | -2000 | -0.002
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 912049 | 912389 | -340 | 680000 | 0.68 | 971814 | 971815 | -1 | 2000 | 0.002
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11134 | 10475 | 659 | -659000 | -0.659 | 996094 | 996089 | 5 | -5000 | -0.005
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997212 | 997157 | 55 | -55000 | -0.055 | 999995 | 999995 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980912 | 980835 | 77 | -77000 | -0.077 | 999864 | 999864 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 275685 | 275314 | 371 | -371000 | -0.371 | 120964 | 120869 | 95 | -95000 | -0.095
[5 empty] | -1000 | 254790 | 253786 | 1004 | -1004000 | -1.004
29 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7134 | 6847 | 287 | -574000 | -0.574 | 67 | 40 | 27 | -54000 | -0.054
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 346 | 346 | 0 | 0 | 0 | 629 | 629 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 935261 | 935299 | -38 | 38000 | 0.038 | 965460 | 965460 | 0 | 0 | 0
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971999 | 971982 | 17 | -17000 | -0.017 | 983983 | 983983 | 0 | 0 | 0
33 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 592 | 592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 11/11/21
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 36128 | 34051 | 2077 | -1661600 | -1.6616 | 999228 | 999226 | 2 | -1600 | -0.0016
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 55522 | 54414 | 1108 | -1772800 | -1.7728 | 978992 | 978991 | 1 | -1600 | -0.0016
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996269 | 996087 | 182 | -364000 | -0.364 | 984389 | 984303 | 86 | -172000 | -0.172
37 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 4540 | 4330 | 210 | -105000 | -0.105 | 990354 | 990300 | 54 | -27000 | -0.027
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23114 | 22941 | 173 | -173000 | -0.173 | 31861 | 31863 | -2 | 2000 | 0.002
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2575 | 2577 | -2 | 2000 | 0.002 | 996648 | 996553 | 95 | -95000 | -0.095
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 856 | 724 | 132 | -132000 | -0.132 | 874 | 655 | 219 | -219000 | -0.219
BRPL(+) continue | [14 empty] | DECEMBER-2021
VASANT KUNJ
41 | Tx.1 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41205 | 41131 | 74 | -74000 | -0.074 | 999594 | 999594 | 0 | 0 | 0 | Check meter data
|  | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 319 | 0 | 319 | -319000 | -0.319 | 0 | 0 | 0 | 0 | 0 | w.e.f 13/12
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14020 | 13636 | 384 | -384000 | -0.384 | 402 | 402 | 0 | 0 | 0
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11263 | 9023 | 2240 | -2240000 | -2.24 | 998393 | 998393 | 0 | 0 | 0
MEHRAULI
44 | Tx.1 | 4864928 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12253 | 10459 | 1794 | -1794000 | -1.794 | 458 | 458 | 0 | 0 | 0
45 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9615 | 8420 | 1195 | -1195000 | -1.195 | 925064 | 925064 | 0 | 0 | 0
46 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 71590 | 71194 | 396 | -396000 | -0.396 | 17550 | 17549 | 1 | -1000 | -0.001
[5 empty] | -1000 | 70150 | 68700 | 1450 | -1450000 | -1.45
47 | Tx.4 | 4865023 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4821 | 3885 | 936 | -1872000 | -1.872 | 999557 | 999556 | 1 | -2000 | -0.002
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 79540 | 76941 | 2599 | -2599000 | -2.599 | 997153 | 997153 | 0 | 0 | 0
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 53221 | 51481 | 1740 | -3480000 | -3.48 | 999377 | 999377 | 0 | 0 | 0
DIAL
50 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 1545 | 371 | 1174 | -1761000 | -1.761 | 0 | 0 | 0 | 0 | 0
51 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2404 | 566 | 1838 | -1838000 | -1.838 | 0 | 0 | 0 | 0 | 0
MASJID MOD
52 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996301 | 996181 | 120 | -120000 | -0.12 | 999978 | 999975 | 3 | -3000 | -0.003
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991091 | 991008 | 83 | -83000 | -0.083 | 994640 | 994638 | 2 | -2000 | -0.002
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991243 | 990919 | 324 | -324000 | -0.324 | 987074 | 987076 | -2 | 2000 | 0.002
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 996565 | 997283 | -718 | -2872000 | -2.872 | 999992 | 999992 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 974269 | 975912 | -1643 | -1314400 | -1.3144 | 607 | 607 | 0 | 0 | 0
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 921951 | 924555 | -2604 | -2083200 | -2.0832 | 999475 | 999475 | 0 | 0 | 0
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 997756 | 998104 | -348 | -278400 | -0.2784 | 999835 | 999835 | 0 | 0 | 0
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 995437 | 995747 | -310 | -248000 | -0.248 | 40 | 40 | 0 | 0 | 0
PARK STREET
61 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 987619 | 987803 | -184 | -368000 | -0.368 | 999403 | 999464 | -61 | -122000 | -0.122
62 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
63 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 105604 | 100915 | 4689 | -9378000 | -9.378 | 1919 | 1919 | 0 | 0 | 0
64 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2697 | 1060 | 1637 | -1637000 | -1.637 | 55 | 29 | 26 | -26000 | -0.026
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 129695 | 128202 | 1493 | -1493000 | -1.493 | 1949 | 1949 | 0 | 0 | 0
NARAINA
66 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 212 | 67 | 145 | 14500 | 0.0145 | 113 | 0 | 113 | 11300 | 0.0113
67 | SUDARSHAN PARK
68 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997113 | 997177 | -64 | -12000 | -0.012 | 998924 | 998955 | -31 | -5812.5 | -0.0058125
69 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 941595 | 941787 | -192 | -76800 | -0.0768 | 994579 | 994579 | 0 | 0 | 0
|  | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999578 | 1000000 | -422 | -422000 | -0.422 | 0 | 0 | 0 | 0 | 0 | w.e.f 9/12/2021
70 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 978607 | 978779 | -172 | -68800 | -0.0688 | 73982 | 73982 | 0 | 0 | 0
|  | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999617 | 1000000 | -383 | -383000 | -0.383 | 0 | 0 | 0 | 0 | 0 | w.e.f 9/12/2021
KANJAWALA
71 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 902934 | 902934 | 0 | 0 | 0 | 997776 | 997776 | 0 | 0 | 0
Trauma Centre
72 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 244 | 157 | 87 | 87000 | 0.087 | 0 | 0 | 0 | 0 | 0
73 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999658 | 999943 | -285 | -285000 | -0.285 | 0 | 0 | 0 | 0 | 0
A.I.I.M.S.
74 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10742 | 10747 | -5 | -375 | -0.000375 | 25896 | 25922 | -26 | -1950 | -0.00195
75 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5402 | 5398 | 4 | 400 | 0.0004 | 19175 | 19146 | 29 | 2900 | 0.0029
PEERGARHI
76 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 10033 | 10348 | -315 | -157500 | -0.1575 | 3257 | 3257 | 0 | 0 | 0
77 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997459 | 997789 | -330 | -330000 | -0.33 | 4221 | 4221 | 0 | 0 | 0
78 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982473 | 983029 | -556 | -556000 | -0.556 | 914 | 914 | 0 | 0 | 0
79 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7758 | 7749 | 9 | 9000 | 0.009 | 6740 | 6740 | 0 | 0 | 0
80 | PASCHIM PURI - I (L-7) | 4864858 | ELSTER | Kvarh(Lead/Lag) | 1000 | 105 | 208 | -103 | -103000 | -0.103 | 18 | 18 | 0 | 0 | 0
81 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 990561 | 991214 | -653 | -65300 | -0.0653 | 910413 | 910413 | 0 | 0 | 0
82 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6517 | 6402 | 115 | 115000 | 0.115 | 1125 | 1125 | 0 | 0 | 0
83 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5692 | 5744 | -52 | -52000 | -0.052 | 7453 | 7450 | 3 | 3000 | 0.003
REWARI LINE
84 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 993655 | 994500 | -845 | -169000 | -0.169 | 15248 | 15248 | 0 | 0 | 0
85 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 988438 | 989027 | -589 | -110437.5 | -0.11044 | 4781 | 4781 | 0 | 0 | 0
86 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 984696 | 985905 | -1209 | -226687.5 | -0.22669 | 3876 | 3876 | 0 | 0 | 0
87 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 4219 | 4415 | -196 | -49000 | -0.049 | 8122 | 8122 | 0 | 0 | 0
88 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 993924 | 994317 | -393 | -39300 | -0.0393 | 29815 | 29815 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -82.3529 |  |  |  |  | -3.3013
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | DECEMBER-2021
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21985 | 21988 | -3 | 1500 | 0.0015 | 4955 | 4979 | -24 | 12000 | 0.012
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992754 | 992848 | -94 | 12533.02 | 0.012533 | 12528 | 12547 | -19 | 2533.27 | 0.0025333
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1416 | 1596 | -180 | 180000 | 0.18 | 999336 | 999336 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991845 | 992437 | -592 | 592000 | 0.592 | 2284 | 2284 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 4153 | 5346 | -1193 | 190880 | 0.19088 | 31998 | 32001 | -3 | 480 | 0.00048
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3866 | 3495 | 371 | -74200 | -0.0742 | 10970 | 10963 | 7 | -1400 | -0.0014
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974199 | 975277 | -1078 | 1078000 | 1.078 | 999295 | 999295 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 24890 | 24890 | 0 | 0 | 0 | 5005 | 5005 | 0 | 0 | 0 | Check Meter
|  | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 999997 | 1000000 | -3 | 300 | 0.0003 | 999999 | 1000000 | -1 | 100 | 0.0001 | w.e.f 13/12/2021
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4021 | 4021 | 0 | 0 | 0 | 1593 | 1593 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 1213 | 853 | 360 | -36000 | -0.036 | 70842 | 70842 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4865154 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999904 | 999904 | 0 | 0 | 0 | 999741 | 999569 | 172 | 143332.76 | 0.14333
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 421 | 239 | 182 | -113750 | -0.11375 | 1289 | 1284 | 5 | -3125 | -0.003125
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3200 | 3192 | 8 | -800 | -0.0008 | 32931 | 32767 | 164 | -16400 | -0.0164
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 761 | 762 | -1 | 1333 | 0.001333 | 600 | 601 | -1 | 1333 | 0.001333
21 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 2064 | 2069 | -5 | 500 | 0.0005 | 5157 | 4916 | 241 | -24100 | -0.0241
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995633 | -1 | -400 | -0.0004 | 61 | 61 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999881 | 999879 | 2 | -800 | -0.0008 | 999433 | 999432 | 1 | -400 | -0.0004
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 1001852 | 999698 | 2154 | -1723200 | -1.7232 | 6224 | 6224 | 0 | 0 | 0
[5 empty] | -800 | 999428 | 999075 | 353 | -282400 | -0.2824
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984847 | 986446 | -1599 | 1599000 | 1.599 | 2358 | 2363 | -5 | 5000 | 0.005
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1643 | 1835 | -192 | 144000 | 0.144 | 3410 | 3410 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 1.5685 |  |  |  |  | 0.11935
DECEMBER-2021
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -82.3529 |  |  |  |  | -3.3013
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 1.5685 |  |  |  |  | 0.11935
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.58434 |  |  |  |  | 0.005425
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | 0.0034875 |  |  |  |  | -0.12876
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -81.3652 |  |  |  |  | -3.3053
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -81.3652 | (REACTIVE MUs) |  |  |  | -3.3053 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -8.0166 | (REACTIVE MUs) |  |  |  | -0.007562 | (REACTIVE MUs)
[9 empty] | TOTAL | -89.3818 | (REACTIVE MUs) |  |  |  | -3.3128 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | DECEMBER-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 1777 | 1889 | -112 | -29867.04 | -0.029867 | 2321 | 2323 | -2 | -533.34 | -0.00053334
2 | BAIRD RD.2 | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 4547 | 3233 | 1314 | 131400 | 0.1314 | 24 | 16 | 8 | 800 | 0.0008
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 981337 | 981791 | -454 | -90800 | -0.0908 | 999382 | 999383 | -1 | -200 | -0.0002
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1314 | 1259 | 55 | 55000 | 0.055 | 81 | 81 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 3743 | 3781 | -38 | -30400 | -0.0304 | 2733 | 2757 | -24 | -19200 | -0.0192
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 2423 | 2538 | -115 | -92000 | -0.092 | 1313 | 1325 | -12 | -9600 | -0.0096
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0 | UNDER S/DN
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0 | UNDER S/DN
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 948598 | 949323 | -725 | -580000 | -0.58 | 989441 | 989604 | -163 | -130400 | -0.1304
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992870 | 992961 | -91 | -182000 | -0.182 | 999500 | 999548 | -48 | -96000 | -0.096
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 955098 | 955265 | -167 | -8350 | -0.00835 | 19588 | 21817 | -2229 | -111450 | -0.11145
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 965637 | 966129 | -492 | -36900 | -0.0369 | 20687 | 22526 | -1839 | -137925 | -0.13792
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997937 | 997954 | -17 | -8500 | -0.0085 | 5431 | 5543 | -112 | -56000 | -0.056
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 996078 | 996089 | -11 | -4125 | -0.004125 | 7347 | 7540 | -193 | -72375 | -0.072375
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 999625 | 999717 | -92 | -9200 | -0.0092 | 998987 | 1000405 | -1418 | -141800 | -0.1418
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 11230 | 11265 | -35 | -2625 | -0.002625 | 41292 | 41331 | -39 | -2925 | -0.002925
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 2986 | 3227 | -241 | -24100 | -0.0241 | 1226 | 1990 | -764 | -76400 | -0.0764
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997535 | 998417 | -882 | -882000 | -0.882 | 281 | 281 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987353 | 988773 | -1420 | -1420000 | -1.42 | 2709 | 2709 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999320 | 999562 | -242 | -605000 | -0.605 | 34 | 34 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 997234 | 997549 | -315 | -787500 | -0.7875 | 461 | 461 | 0 | 0 | 0
[10 empty] | -3.6945 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991845 | 992437 | -592 | -592000 | -0.592 | 2284 | 2284 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 4153 | 5346 | -1193 | -190880 | -0.19088 | 31998 | 32001 | -3 | -480 | -0.00048
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3866 | 3495 | 371 | 74200 | 0.0742 | 10970 | 10963 | 7 | 1400 | 0.0014
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 974199 | 975277 | -1078 | -1078000 | -1.078 | 999295 | 999295 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4865154 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 25/11
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999904 | 999904 | 0 | 0 | 0 | 999741 | 999569 | 172 | -143332.76 | -0.14333
DECEMBER-2021
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996470 | 996379 | 91 | -91000 | -0.091 | 989799 | 989799 | 0 | 0 | 0
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998675 | 997767 | 908 | -908000 | -0.908 | 995612 | 995612 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997894 | 997802 | 92 | -184000 | -0.184 | 996394 | 996394 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999661 | 999490 | 171 | -171000 | -0.171 | 995020 | 995019 | 1 | -1000 | -0.001
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 421 | 239 | 182 | 113750 | 0.11375 | 1289 | 1284 | 5 | 3125 | 0.003125
LODHI ROAD
35 | SHAN NAGAR 1 | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 24890 | 24890 | 0 | 0 | 0 | 5005 | 5005 | 0 | 0 | 0 | Check Meter
|  | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 999997 | 1000000 | -3 | -300 | -0.0003 | 999999 | 1000000 | -1 | -100 | -0.0001 | w.e.f 13/12/2021
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4021 | 4021 | 0 | 0 | 0 | 1593 | 1593 | 0 | 0 | 0
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 1213 | 853 | 360 | 36000 | 0.036 | 70842 | 70842 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21985 | 21988 | -3 | -1500 | -0.0015 | 4955 | 4979 | -24 | -12000 | -0.012
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 244 | 157 | 87 | -87000 | -0.087 | 0 | 0 | 0 | 0 | 0
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999658 | 999943 | -285 | 285000 | 0.285 | 0 | 0 | 0 | 0 | 0 | w.e.f 25/11/21
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10742 | 10747 | -5 | 375 | 0.000375 | 25896 | 25922 | -26 | 1950 | 0.00195
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5402 | 5398 | 4 | -400 | -0.0004 | 19175 | 19146 | 29 | -2900 | -0.0029
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -7.4017 |  |  |  |  | -1.0073
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -7.4017 |  |  |  |  | -1.0073
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.83057 |  |  |  |  | -0.00078347
| TOTAL ENERGY TO NDMC | [8 empty] | -8.2323 |  |  |  |  | -1.0081

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2021
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3264 | 4058 | -794 | -158800 | -0.1588 | 77436 | 77437 | -1 | -200 | -0.0002
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 1000266 | 998927 | 1339 | 214240 | 0.21424 | 30570 | 30570 | 0 | 0 | 0
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4565 | 4644 | -79 | -79000 | -0.079 | 59190 | 59190 | 0 | 0 | 0
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999970 | 1000045 | -75 | -30000 | -0.03 | 19469 | 19469 | 0 | 0 | 0
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999527 | 999560 | -33 | -26400 | -0.0264 | 724 | 724 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2857 | 2804 | 53 | 21200 | 0.0212 | 6044 | 6044 | 0 | 0 | 0
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1416 | 1596 | -180 | -180000 | -0.18 | 999336 | 999336 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.23876 |  |  |  |  | -0.0002
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 4051 | 4144 | -93 | -3487.5 | -0.0034875 | 10603 | 10604 | -1 | -37.5 | -3.75e-05
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78 | 78 | 0 | 0 | 0 | 79 | 79 | 0 | 0 | 0
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4280 | 4280 | 0 | 0 | 0 | 36183 | 34763 | 1420 | 106500 | 0.1065
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 105 | 105 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 783 | 783 | 0 | 0 | 0 | 1967 | 1983 | -16 | -1200 | -0.0012
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4790 | 4555 | 235 | 23500 | 0.0235
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | -0.0034875 |  |  |  |  | 0.12876
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.23876 |  |  |  |  | -0.0002
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.24225 |  |  |  |  | 0.12856
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.24225 | (REACTIVE MUs) |  |  |  | 0.12856 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.19677 | (REACTIVE MUs) |  |  |  | -0.00018561 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.43902 | (REACTIVE MUs) |  |  |  | 0.12838 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2021
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 991056 | 990845 | 211 | 131875 | 0.13187 | 267 | 206 | 61 | 38125 | 0.038125
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999687 | 999709 | -22 | -11000 | -0.011 | 45 | 49 | -4 | -2000 | -0.002
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 1001852 | 999698 | 2154 | 1723200 | 1.7232 | 6224 | 6224 | 0 | 0 | 0
[5 empty] | 800 | 999428 | 999075 | 353 | 282400 | 0.2824
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 58410 | 58330 | 80 | -80 | -8e-05 | 230070 | 224590 | 5480 | -5480 | -0.00548
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 32310 | 32290 | 20 | -20 | -2e-05 | 393609 | 378689 | 14920 | -14920 | -0.01492
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 129600 | 129400 | 200 | -200 | -0.0002 | 1240099 | 1184400 | 55699 | -55699 | -0.055699
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 2.1262 |  |  |  |  | -0.039974
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.11503 |  |  |  |  | -0.0001085
TOTAL ENERGY TO Northern Railway | [9 empty] | 2.0111 |  |  |  |  | -0.040083

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2021
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 998048 | 998619 | -571 | -285500 | -0.2855 | 999998 | 999999 | -1 | -500 | -0.0005
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 38721 | 41580 | -2859 | -285900 | -0.2859 | 998567 | 998589 | -22 | -2200 | -0.0022
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 16918 | 16706 | 212 | 106000 | 0.106 | 5312 | 5296 | 16 | 8000 | 0.008
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997825 | 997946 | -121 | -113437.5 | -0.11344 | 999704 | 999706 | -2 | -1875 | -0.001875
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999692 | 999771 | -79 | 79000 | 0.079 | 999721 | 999723 | -2 | 2000 | 0.002
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993403 | 993234 | 169 | -84500 | -0.0845 | 163 | 163 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 231 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.58434 |  |  |  |  | 0.005425
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 965801 | 966892 | -1091 | -218200 | -0.2182 | 993665 | 993764 | -99 | -19800 | -0.0198
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 986859 | 987003 | -144 | -135000 | -0.135 | 999443 | 999446 | -3 | -2812.5 | -0.0028125
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.3532 |  |  |  |  | -0.022613
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1576 | 1655 | -79 | -98750 | -0.09875 | 998650 | 998656 | -6 | -7500 | -0.0075
11 | O/G 33KV RAMPURA-1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | 140.625 | 60943 | 62396 | -1453 | -204328.125 | -0.20433 | 987199 | 987491 | -292 | -41062.5 | -0.041063
12 | O/G 33KV RAMPURA-2 | 4864790 | ELSTER | Kvarh(Lead/Lag) | 166.667 | 42382 | 43483 | -1101 | -183500.367 | -0.1835 | 988396 | 988649 | -253 | -42166.751 | -0.042167
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 3750 | 809 | 900 | -91 | -341250 | -0.34125 | 153 | 166 | -13 | -48750 | -0.04875
14 | O/G 33KV SH.W.BAGH-2 | 4902550 | ELSTER | Kvarh(Lead/Lag) | 3000 | 996572 | 996575 | -3 | -9000 | -0.009 | 999858 | 999858 | 0 | 0 | 0 | Check meter data
|  | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999810 | 1000000 | -190 | -190000 | -0.19 | 999997 | 1000000 | -3 | -3000 | -0.003 | w.e.f 3/12/2021
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 983965 | 985213 | -1248 | -187200 | -0.1872 | 988328 | 988292 | 36 | 5400 | 0.0054
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 1000172 | 999846 | 326 | -203750 | -0.20375 | 999915 | 999914 | 1 | -625 | -0.000625
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 231 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | -1.4178 |  |  |  |  | -0.1377
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.58434 |  |  |  |  | 0.005425
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.3532 |  |  |  |  | -0.022613
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -1.4178 |  |  |  |  | -0.1377

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2021
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 146865 | 144121 | 2744 | 2744000 | 2.744 | 47829 | 47829 | 0 | 0 | 0
[5 empty] | 1000 | 141935 | 139595 | 2340 | 2340000 | 2.34
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 18806 | 16305 | 2501 | 5002000 | 5.002 | 1630 | 1630 | 0 | 0 | 0
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 885900 | 888266 | -2366 | 1183000 | 1.183 | 998001 | 998004 | -3 | 1500 | 0.0015
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 424131 | 425190 | -1059 | 105900 | 0.1059 | 984122 | 984122 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 11.3749 |  | NET REACTIVE ENERGY |  |  | 0.0015
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 11.3749 |  |  |  |  | 0.0015
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -18.3803 |  |  |  |  | -0.00099999
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -8.9123 |  |  |  |  | -0.019
[7 empty] | NDMC = |  |  | -3.6945 |  |  |  |  | 0
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -30.987 |  |  |  |  | -0.02
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -19.6121 |  |  |  |  | -0.0185
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 32.6847 | % |  |  | -6.4102 |  |  |  |  | -0.0060467
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.8757 | % |  |  | -8.0166 |  |  |  |  | -0.007562
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 20.6149 | % |  |  | -4.043 |  |  |  |  | -0.0038138
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.235 | % |  |  | -0.83057 |  |  |  |  | -0.00078347
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.0033 | % |  |  | -0.19677 |  |  |  |  | -0.00018561
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.5865 | % |  |  | -0.11503 |  |  |  |  | -0.0001085
Note :Sharing taken from wk-38 abt bill 2021-22

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st DECEMBER-2021 TO 31ST DECEMBER-2021
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -84.4423 |  | -0.8858
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -89.3818 |  | -3.3128
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -33.7043 |  | -1.4024
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -8.2323 |  | -1.0081
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.43902 | + | 0.12838
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 2.0111 |  | -0.040083
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2021 | INTIAL READING 01/12/2021 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83