## NDPL
DELHI TRANSCO LIMITED | [15 empty] | FEBRUARY-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964981 | 965023 | -42 | 42000 | 0.042 | 996894 | 996955 | -61 | 61000 | 0.061
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 85138 | 84678 | 460 | -920000 | -0.92 | 4721 | 4688 | 33 | -66000 | -0.066
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2640 | 2331 | 309 | -309000 | -0.309 | 254 | 248 | 6 | -6000 | -0.006
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28896 | 28714 | 182 | -182000 | -0.182 | 96038 | 95026 | 1012 | -1012000 | -1.012
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998486 | 998486 | 0 | 0 | 0 | 992056 | 992155 | -99 | 99000 | 0.099
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 898537 | 898521 | 16 | -16000 | -0.016 | 26824 | 26859 | -35 | 35000 | 0.035
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5573 | 4112 | 1461 | -1461000 | -1.461 | 5 | 5 | 0 | 0 | 0
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18029 | 16704 | 1325 | -1325000 | -1.325 | 998221 | 998221 | 0 | 0 | 0
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11141 | 9954 | 1187 | -1187000 | -1.187 | 997685 | 997677 | 8 | -8000 | -0.008
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 971550 | 969495 | 2055 | -1027500 | -1.0275 | 838761 | 838760 | 1 | -500 | -0.0005
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999 | 957 | 42 | -42000 | -0.042 | 998780 | 998779 | 1 | -1000 | -0.001
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7852 | 6990 | 862 | -862000 | -0.862 | 999897 | 999896 | 1 | -1000 | -0.001
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 48354 | 45962 | 2392 | -2392000 | -2.392 | 996715 | 996715 | 0 | 0 | 0
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 18061 | 16874 | 1187 | -1187 | -1.187 | 99999724 | 99999725 | -1 | 1 | 0.001
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 768097 | 774290 | -6193 | -6193000 | -6.193 | 999752 | 999752 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 888588 | 892960 | -4372 | -2186000 | -2.186 | 999995 | 999995 | 0 | 0 | 0
[10 empty] | 7 | [5 empty] | Assessment due to wrong MF
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11905 | 11144 | 761 | -761000 | -0.761 | 999932 | 999931 | 1 | -1000 | -0.001
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 61775 | 60097 | 1678 | -839000 | -0.839 | 332 | 275 | 57 | -28500 | -0.0285
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 52920 | 51820 | 1100 | -1100000 | -1.1 | 998652 | 998642 | 10 | -10000 | -0.01
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999861 | 999861 | 0 | 0 | 0 | 989727 | 989936 | -209 | -209000 | -0.209
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999936 | 999936 | 0 | 0 | 0 | 999971 | 999996 | -25 | -100000 | -0.1
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1355 | 1355 | 0 | 0 | 0 | 14180 | 14098 | 82 | 41000 | 0.041
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 37291 | 37295 | -4 | -200 | -0.0002 | 185562 | 185453 | 109 | 5450 | 0.00545
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999770 | 999771 | -1 | -1000 | -0.001 | 998802 | 998830 | -28 | -28000 | -0.028
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999451 | 999451 | 0 | 0 | 0 | 999090 | 998950 | 140 | 140000 | 0.14
26 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 46371 | 47798 | -1427 | -142700 | -0.1427 | 192190 | 192190 | 0 | 0 | 0
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994854 | 995424 | -570 | -570000 | -0.57 | 999457 | 999457 | 0 | 0 | 0
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 940431 | 947393 | -6962 | -3481000 | -3.481 | 999897 | 999897 | 0 | 0 | 0
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 995694 | 996043 | -349 | -93067.83 | -0.093068 | 999875 | 999876 | -1 | -266.67 | -0.00026667
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2222 | 2219 | 3 | 1500 | 0.0015 | 258 | 250 | 8 | 4000 | 0.004
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44277 | 44277 | 0 | 0 | 0 | 996513 | 996513 | 0 | 0 | 0
32 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 231103 | 227125 | 3978 | -1989000 | -1.989 | 17534 | 17495 | 39 | -19500 | -0.0195
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5768 | 4655 | 1113 | -2226000 | -2.226 | 999631 | 999653 | -22 | 44000 | 0.044
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 48447 | 46377 | 2070 | -2070000 | -2.07 | 998953 | 998978 | -25 | 25000 | 0.025
DSIDC BAWANA
35 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 111799 | 107712 | 4087 | -8174000 | -8.174 | 292 | 292 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 109424 | 106560 | 2864 | -2864000 | -2.864 | 998442 | 998443 | -1 | 1000 | 0.001
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 93653 | 78822 | 14831 | -4943617.23 | -4.9436 | 176 | 175 | 1 | -333.33 | -0.00033333
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 16165 | 14624 | 1541 | -3082000 | -3.082 | 249 | 248 | 1 | -2000 | -0.002
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 69688 | 66544 | 3144 | -3144000 | -3.144 | 1672 | 1670 | 2 | -2000 | -0.002
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | 1 | 591000 | 357000 | 234000 | 234000 | 0.234 | -4000 | -3000 | -1000 | -1000 | -0.001
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | 1 | 5203000 | 3719000 | 1484000 | 1484000 | 1.484 | -13000 | -1600 | -11400 | -11400 | -0.0114
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5139 | 3888 | 1251 | -1251000 | -1.251 | 997842 | 997842 | 0 | 0 | 0
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51453 | 50039 | 1414 | -1414000 | -1.414 | 1621 | 1621 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998537 | 998590 | -53 | -53000 | -0.053 | 26338 | 26335 | 3 | 3000 | 0.003
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | FEBRUARY-2021
DMS
45 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | 300 | 999135 | 999138 | -3 | -900 | -0.0009 | 999831 | 999831 | 0 | 0 | 0 | Check meter data
|  | 5295200 | ELSTER | Kvarh(Lead/Lag) | 100 | 999911 | 1000000 | -89 | -8900 | -0.0089 | 0 | 0 | 0 | 0 | 0 | w.e.f 11/2/21
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999491 | -5 | -500 | -0.0005
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3049 | 3052 | -3 | -300 | -0.0003 | 30857 | 30862 | -5 | -500 | -0.0005
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 770 | 773 | -3 | -3999 | -0.003999 | 556 | 558 | -2 | -2666 | -0.002666
50 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 3192 | 3192 | 0 | 0 | 0 | 2084 | 1949 | 135 | 13500 | 0.0135
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 2017 | 2068 | -51 | -5100 | -0.0051 | 3577 | 3397 | 180 | 18000 | 0.018
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999806 | 999832 | -26 | -13000 | -0.013 | 2124 | 2125 | -1 | -500 | -0.0005
57 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 2409 | 2415 | -6 | -4000.02 | -0.004 | 448 | 440 | 8 | 5333.36 | 0.0053334
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1016 | 1003 | 13 | 6500 | 0.0065 | 487 | 471 | 16 | 8000 | 0.008
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 995087 | 995309 | -222 | -22200 | -0.0222 | 3174 | 3179 | -5 | -500 | -0.0005
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 8021 | 8021 | 0 | 0 | 0 | 13224 | 13241 | -17 | -1700 | -0.0017
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 10814 | 10807 | 7 | 700 | 0.0007 | 3460 | 3359 | 101 | 10100 | 0.0101
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 29834 | 29829 | 5 | 500 | 0.0005 | 9024 | 8920 | 104 | 10400 | 0.0104
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 59950 | 60163 | -213 | -21300 | -0.0213 | 1734 | 1738 | -4 | -400 | -0.0004
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 999694 | 999694 | 0 | 0 | 0 | 384 | 374 | 10 | 1333.3 | 0.0013333
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 75 | 75 | 0 | 0 | 0 | 664 | 664 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995633 | 995633 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999880 | 999880 | 0 | 0 | 0 | 999433 | 999437 | -4 | -1600 | -0.0016
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 964624 | 965757 | -1133 | -906400 | -0.9064 | 999720 | 999720 | 0 | 0 | 0
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 995486 | 995644 | -158 | -316000 | -0.316 | 1053 | 1053 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 974686 | 975647 | -961 | -192200 | -0.1922 | 1420 | 1420 | 0 | 0 | 0
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 996592 | 996930 | -338 | -84500 | -0.0845 | 538 | 540 | -2 | -500 | -0.0005
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988562 | 989185 | -623 | -623000 | -0.623 | 2023 | 2024 | -1 | -1000 | -0.001
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1363 | 1469 | -106 | -79500 | -0.0795 | 3313 | 3313 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -51.0002 |  |  |  |  | -0.99125
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | FEBRUARY-2021
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 18477 | 18477 | 0 | 0 | 0 | 143894 | 143629 | 265 | -26500 | -0.0265
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 346 | 346 | 0 | 0 | 0 | 628 | 628 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 813 | 818 | -5 | 5000 | 0.005 | 156 | 167 | -11 | 11000 | 0.011
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 3985 | 4241 | -256 | 34132.48 | 0.034132 | 5886 | 5640 | 246 | -32799.18 | -0.032799
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997236 | 997236 | 0 | 0 | 0 | 999664 | 999743 | -79 | 14812.5 | 0.014812
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 908557 | 910320 | -1763 | 1410400 | 1.4104 | 997865 | 997885 | -20 | 16000 | 0.016
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 990081 | 990167 | -86 | 53750 | 0.05375 | 13 | 14 | -1 | 625 | 0.000625
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 990423 | 990565 | -142 | 88750 | 0.08875 | 999869 | 999870 | -1 | 625 | 0.000625
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 994785 | 995032 | -247 | 49400 | 0.0494 | 14611 | 14611 | 0 | 0 | 0
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 990771 | 990973 | -202 | 37875 | 0.037875 | 5406 | 5406 | 0 | 0 | 0
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 988298 | 988953 | -655 | 122812.5 | 0.12281 | 4079 | 4079 | 0 | 0 | 0
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 4443 | 4433 | 10 | -2500 | -0.0025 | 8046 | 8046 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 995028 | 995666 | -638 | 63800 | 0.0638 | 29796 | 29796 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.8634 |  |  |  |  | -0.016237
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -51.0002 |  |  |  |  | -0.99125
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.8634 |  |  |  |  | -0.016237
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.74565 |  |  |  |  | -0.010912
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -49.8824 |  |  |  |  | -1.0184
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -49.8824 | (REACTIVE MUs) |  |  |  | -1.0184 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -5.5912 | (REACTIVE MUs) |  |  |  | -0.02134 | (REACTIVE MUs)
[9 empty] | TOTAL | -55.4736 | (REACTIVE MUs) |  |  |  | -1.0397 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | FEBRUARY-2021
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36401 | 36918 | -517 | -138039 | -0.13804 | 994351 | 994358 | -7 | -1869 | -0.001869
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 11072 | 11823 | -751 | -225300 | -0.2253 | 2900 | 2872 | 28 | 8400 | 0.0084
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 351005 | 350783 | 222 | 16650 | 0.01665 | 403217 | 403443 | -226 | -16950 | -0.01695
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 992813 | 993311 | -498 | -149400 | -0.1494 | 5884 | 5892 | -8 | -2400 | -0.0024
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1556 | 1558 | -2 | -2666.6 | -0.0026666 | 3597 | 3597 | 0 | 0 | 0
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 13853 | 13655 | 198 | 19800 | 0.0198 | 3837 | 3806 | 31 | 3100 | 0.0031
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 157374 | 158901 | -1527 | -114525 | -0.11453 | 892547 | 892543 | 4 | 300 | 0.0003
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 977566 | 977969 | -403 | -403000 | -0.403 | 2276 | 2276 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 985898 | 986752 | -854 | -427000 | -0.427 | 178 | 178 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998797 | 998879 | -82 | -82000 | -0.082 | 999997 | 999997 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984815 | 985216 | -401 | -401000 | -0.401 | 1348 | 1348 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987555 | 987840 | -285 | -285000 | -0.285 | 6257 | 6257 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994448 | 994799 | -351 | -351000 | -0.351 | 998635 | 998635 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994007 | 994346 | -339 | -339000 | -0.339 | 352 | 352 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 995090 | 995433 | -343 | -274400 | -0.2744 | 5204 | 5204 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 8520 | 10355 | -1835 | -244660.55 | -0.24466 | 3650 | 3650 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 93 | 311 | -218 | -218000 | -0.218 | 9732 | 9732 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 773 | 1137 | -364 | -364000 | -0.364 | 17471 | 17471 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 970007 | 970389 | -382 | -477500 | -0.4775 | 948181 | 948264 | -83 | -103750 | -0.10375
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979237 | 980420 | -1183 | -1183000 | -1.183 | 934906 | 935066 | -160 | -160000 | -0.16
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998683 | 999014 | -331 | -331000 | -0.331 | 999276 | 999316 | -40 | -40000 | -0.04
| KASHMIRI GATE | [8 empty] | -1.9915 |  |  |  |  | -0.30375
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985008 | 985162 | -154 | 154000 | 0.154 | 998201 | 998213 | -12 | 12000 | 0.012
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983922 | 983970 | -48 | 48000 | 0.048 | 998815 | 998819 | -4 | 4000 | 0.004
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 75 | 75 | 0 | 0 | 0 | 664 | 664 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999640 | 999640 | 0 | 0 | 0 | 13481 | 13484 | -3 | -3000 | -0.003
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 201159 | 196794 | 4365 | -4365000 | -4.365 | 9207 | 9149 | 58 | -58000 | -0.058
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54081 | 52108 | 1973 | -1973000 | -1.973 | 507 | 503 | 4 | -4000 | -0.004
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3711 | 2967 | 744 | -744000 | -0.744 | 999277 | 999277 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4012 | 3563 | 449 | -449000 | -0.449 | 998447 | 998447 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 78222 | 76227 | 1995 | -1995000 | -1.995 | 982851 | 982852 | -1 | 1000 | 0.001
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 57766 | 55614 | 2152 | -2152000 | -2.152 | 323 | 323 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 41734 | 40023 | 1711 | -3422000 | -3.422 | 25 | 25 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 813 | 818 | -5 | -5000 | -0.005 | 156 | 167 | -11 | -11000 | -0.011
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 3985 | 4241 | -256 | -34132.48 | -0.034132 | 5886 | 5640 | 246 | 32799.18 | 0.032799
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 993270 | 993438 | -168 | -22344 | -0.022344 | 7786 | 7762 | 24 | 3192 | 0.003192
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 950395 | 950395 | 0 | 0 | 0 | 990785 | 990785 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970961 | 970961 | 0 | 0 | 0 | 999923 | 999923 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -20.9335 |  |  |  |  | -0.33618
| (A) NET ENERGY TO CENTRAL | [8 empty] | -20.9335 |  |  |  |  | -0.33618
FEBRUARY-2021
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990286 | 989627 | 659 | -659000 | -0.659 | 997096 | 997130 | -34 | 34000 | 0.034
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978672 | 977692 | 980 | -980000 | -0.98 | 949577 | 949607 | -30 | 30000 | 0.03
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992426 | 992069 | 357 | -357000 | -0.357 | 997578 | 997654 | -76 | 76000 | 0.076
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993170 | 992225 | 945 | -945000 | -0.945 | 998373 | 998413 | -40 | 40000 | 0.04
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 32771 | 31301 | 1470 | -1470000 | -1.47 | 997661 | 997620 | 41 | -41000 | -0.041
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17467 | 16596 | 871 | -871000 | -0.871 | 996654 | 996627 | 27 | -27000 | -0.027 | Data till 15/2
|  | 5295155 | ELSTER | Kvarh(Lead/Lag) | -1000 | 69331 | 67833 | 1498 | -1498000 | -1.498 | 19834 | 19834 | 0 | 0 | 0 | Check meter data
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9295 | 8996 | 299 | -299000 | -0.299 | 12144 | 12193 | -49 | 49000 | 0.049
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2484 | 1884 | 600 | -600000 | -0.6 | 999915 | 999910 | 5 | -5000 | -0.005
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 932966 | 932197 | 769 | -769000 | -0.769 | 978707 | 978699 | 8 | -8000 | -0.008
[5 empty] | -1000 | 931949 | 931495 | 454 | -454000 | -0.454
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986666 | 985699 | 967 | -967000 | -0.967 | 974764 | 974764 | 0 | 0 | 0
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966462 | 965692 | 770 | -770000 | -0.77 | 825275 | 825275 | 0 | 0 | 0
GAZIPUR
13 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6275 | 5278 | 997 | -1994000 | -1.994 | 7 | 7 | 0 | 0 | 0
14 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4357 | 3952 | 405 | -405000 | -0.405 | 76 | 79 | -3 | 3000 | 0.003
15 | TX-3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23747 | 23407 | 340 | -340000 | -0.34 | 225 | 225 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -13.378 |  |  |  |  | 0.151
| (B) NET ENERGY TO EAST | [8 empty] | -13.378 |  |  |  |  | 0.151
FEBRUARY-2021
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 995694 | 996043 | -349 | 93067.83 | 0.093068 | 999875 | 999876 | -1 | 266.67 | 0.00026667
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2222 | 2219 | 3 | -1500 | -0.0015 | 258 | 250 | 8 | -4000 | -0.004
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 2736 | 3064 | -328 | 87464.48 | 0.087464 | 2221 | 2221 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 112585 | 112841 | -256 | 25600 | 0.0256 | 152456 | 152456 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 985208 | 985898 | -690 | 138000 | 0.138 | 999329 | 999329 | 0 | 0 | 0
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 627 | 615 | 12 | -12000 | -0.012 | 22 | 22 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 2464 | 2413 | 51 | -40800 | -0.0408 | 2660 | 2655 | 5 | -4000 | -0.004
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3195 | 3029 | 166 | -132800 | -0.1328 | 1325 | 1323 | 2 | -1600 | -0.0016
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 986830 | 987584 | -754 | 603200 | 0.6032 | 998709 | 998723 | -14 | 11200 | 0.0112
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 953840 | 954342 | -502 | 401600 | 0.4016 | 979936 | 980050 | -114 | 91200 | 0.0912
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 958036 | 959042 | -1006 | 804800 | 0.8048 | 989778 | 989812 | -34 | 27200 | 0.0272
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 995166 | 995403 | -237 | 474000 | 0.474 | 999538 | 999541 | -3 | 6000 | 0.006
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 991947 | 992382 | -435 | 870000 | 0.87 | 999488 | 999491 | -3 | 6000 | 0.006
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998537 | 998590 | -53 | 53000 | 0.053 | 26338 | 26335 | 3 | -3000 | -0.003
DMS
16 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | -300 | 999135 | 999138 | -3 | 900 | 0.0009 | 999831 | 999831 | 0 | 0 | 0 | Check meter data
|  | 5295200 | ELSTER | Kvarh(Lead/Lag) | -100 | 999911 | 1000000 | -89 | 8900 | 0.0089 | 0 | 0 | 0 | 0 | 0 | w.e.f 11/2/21
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
18 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999806 | 999832 | -26 | 13000 | 0.013 | 2124 | 2125 | -1 | 500 | 0.0005
19 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 2409 | 2415 | -6 | 4000.02 | 0.004 | 448 | 440 | 8 | -5333.36 | -0.0053334
20 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1016 | 1003 | 13 | -6500 | -0.0065 | 487 | 471 | 16 | -8000 | -0.008
KASHMIRI GATE
21 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 59950 | 60163 | -213 | 21300 | 0.0213 | 1734 | 1738 | -4 | 400 | 0.0004
22 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 999694 | 999694 | 0 | 0 | 0 | 384 | 374 | 10 | -1333.3 | -0.0013333
D.M.S
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 995087 | 995309 | -222 | 22200 | 0.0222 | 3174 | 3179 | -5 | 500 | 0.0005
FAIZ ROAD
24 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 8021 | 8021 | 0 | 0 | 0 | 13224 | 13241 | -17 | 1700 | 0.0017
25 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 10814 | 10807 | 7 | -700 | -0.0007 | 3460 | 3359 | 101 | -10100 | -0.0101
26 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 29834 | 29829 | 5 | -500 | -0.0005 | 9024 | 8920 | 104 | -10400 | -0.0104
FED FROM BYPL (RLY.)
27 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 23410 | 23410 | 0 | 0 | 0 | 86580 | 76930 | 9650 | 9650 | 0.00965
28 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 14370 | 13190 | 1180 | 1180 | 0.00118 | 241220 | 215410 | 25810 | 25810 | 0.02581
29 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 59100 | 57100 | 2000 | 2000 | 0.002 | 716600 | 654000 | 62600 | 62600 | 0.0626
[10 empty] | 3.4294 |  |  |  |  | 0.19526
FEBRUARY-2021
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -20.9335 |  |  |  |  | -0.33618
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 3.4294 |  |  |  |  | 0.19526
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.38856 |  |  |  |  | -0.019537
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -17.8927 |  |  |  |  | -0.16046
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -13.378 |  |  |  |  | 0.151
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -31.2707 |  |  |  |  | -0.0094553
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -31.2707 | (REACTIVE MUs) |  |  |  | -0.0094553 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -3.462 | (REACTIVE MUs) |  |  |  | -0.013213 | (REACTIVE MUs)
[9 empty] | TOTAL | -34.7326 | (REACTIVE MUs) |  |  |  | -0.022668 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | FEBRUARY-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998440 | 998635 | -195 | -195000 | -0.195 | 998683 | 998721 | -38 | -38000 | -0.038
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999530 | 999814 | -284 | -284000 | -0.284 | 999917 | 999964 | -47 | -47000 | -0.047
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 985033 | 986023 | -990 | -198000 | -0.198 | 999860 | 1000357 | -497 | -99400 | -0.0994
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999787 | 999893 | -106 | -141332.98 | -0.14133 | 999695 | 999702 | -7 | -9333.31 | -0.0093333
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 998364 | 998518 | -154 | -231000 | -0.231 | 999961 | 999969 | -8 | -12000 | -0.012
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 12710 | 13146 | -436 | -43600 | -0.0436 | 21678 | 21727 | -49 | -4900 | -0.0049
7 | BAY-37 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 75 | 986931 | 988427 | -1496 | -112200 | -0.1122 | 999594 | 999624 | -30 | -2250 | -0.00225
8 | BAY-9 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 974499 | 974619 | -120 | -12000 | -0.012 | 16296 | 16316 | -20 | -2000 | -0.002 | Check meter data
|  | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 999060 | 1000000 | -940 | -70500 | -0.0705 | 999896 | 1000000 | -104 | -7800 | -0.0078 | w.e.f 5/2/21
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 800 | 997533 | 997787 | -254 | -203200 | -0.2032 | 999768 | 999791 | -23 | -18400 | -0.0184
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 991114 | 991809 | -695 | -69500 | -0.0695 | 265100 | 265113 | -13 | -1300 | -0.0013
PAAPANKALAN
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 264 | 222 | 0 | 0 | 0 | 5 | 5 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17995 | 17223 | 772 | -772000 | -0.772 | 996550 | 996550 | 0 | 0 | 0
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3182 | 3012 | 170 | -340000 | -0.34 | 997110 | 997109 | 1 | -2000 | -0.002
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16825 | 16732 | 93 | -93000 | -0.093 | 996338 | 996338 | 0 | 0 | 0
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953491 | 953491 | 0 | 0 | 0 | 995714 | 995693 | 21 | -21000 | -0.021
[5 empty] | -1000 | [5 empty] | 992353 | 991729 | 624 | -624000 | -0.624
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 109325 | 109089 | 236 | -236000 | -0.236 | 18993 | 18993 | 0 | 0 | 0
[5 empty] | -1000 | 107896 | 107468 | 428 | -428000 | -0.428
[5 empty] | -1000 | 107035 | 105701 | 1334 | -1334000 | -1.334
[10 empty] | 0.25 | [5 empty] | Assessment last month
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 77947 | 77125 | 822 | -411000 | -0.411 | 36151 | 36151 | 0 | 0 | 0
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 23425 | 22440 | 985 | -1970000 | -1.97 | 998521 | 998521 | 0 | 0 | 0
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 940105 | 939355 | 750 | -750000 | -0.75 | 813981 | 813981 | 0 | 0 | 0
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 38739 | 35615 | 3124 | -2499200 | -2.4992 | 1180 | 1180 | 0 | 0 | 0
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 76503 | 74324 | 2179 | -1743200 | -1.7432 | 998281 | 998281 | 0 | 0 | 0
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958922 | 958969 | -47 | 47000 | 0.047 | 960737 | 960737 | 0 | 0 | 0
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 965629 | 967052 | -1423 | 2846000 | 2.846 | 992251 | 992251 | 0 | 0 | 0
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 917516 | 917915 | -399 | 798000 | 0.798 | 983773 | 983786 | -13 | 26000 | 0.026
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10554 | 10646 | -92 | 92000 | 0.092 | 997056 | 997056 | 0 | 0 | 0
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5412 | 5534 | -122 | 122000 | 0.122 | 53 | 53 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980469 | 980591 | -122 | 122000 | 0.122 | 999981 | 999981 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 194441 | 192390 | 2051 | -2051000 | -2.051 | 81668 | 81667 | 1 | -1000 | -0.001
[10 empty] | 0.148 | [5 empty] | Assessment last month
29 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -1000 | 169 | 0 | 169 | -169000 | -0.169 | 0 | 0 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 346 | 346 | 0 | 0 | 0 | 628 | 628 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 947370 | 948051 | -681 | 681000 | 0.681 | 965531 | 965531 | 0 | 0 | 0
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979008 | 978951 | 57 | -57000 | -0.057 | 984010 | 984010 | 0 | 0 | 0
33 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 80608 | 77861 | 2747 | -2747000 | -2.747 | 985605 | 985605 | 0 | 0 | 0
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 27029 | 25361 | 1668 | -1334400 | -1.3344 | 999017 | 999017 | 0 | 0 | 0
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 47181 | 46366 | 815 | -1304000 | -1.304 | 978836 | 978836 | 0 | 0 | 0
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997421 | 997335 | 86 | -172000 | -0.172 | 984291 | 984293 | -2 | 4000 | 0.004
37 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 6667 | 6666 | 1 | -500 | -0.0005 | 989696 | 989699 | -3 | 1500 | 0.0015
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22448 | 22278 | 170 | -170000 | -0.17 | 31771 | 31772 | -1 | 1000 | 0.001
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2468 | 2141 | 327 | -327000 | -0.327 | 996436 | 996436 | 0 | 0 | 0
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 815 | 745 | 70 | -70000 | -0.07 | 999971 | 999967 | 4 | -4000 | -0.004
BRPL(+) continue | [14 empty] | FEBRUARY-2021
VASANT KUNJ
41 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 50042 | 49575 | 467 | -467000 | -0.467 | 999526 | 999526 | 0 | 0 | 0
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11316 | 10855 | 461 | -461000 | -0.461 | 78 | 78 | 0 | 0 | 0
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6807 | 6132 | 675 | -675000 | -0.675 | 999546 | 999546 | 0 | 0 | 0
[10 empty] | 0.143 | [5 empty] | Assessment last month
MEHRAULI
44 | Tx.1 | 4864928 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5266 | 4756 | 510 | -510000 | -0.51 | 239 | 239 | 0 | 0 | 0 | under S/D
45 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5571 | 4720 | 851 | -851000 | -0.851 | 924906 | 924906 | 0 | 0 | 0
46 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 58167 | 57079 | 1088 | -1088000 | -1.088 | 9853 | 9853 | 0 | 0 | 0
[10 empty] | 0.05 | [5 empty] | Assessment last month
47 | Tx.4 | 4865023 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3367 | 2888 | 479 | -958000 | -0.958 | 999598 | 999598 | 0 | 0 | 0
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 71774 | 71258 | 516 | -516000 | -0.516 | 997176 | 997176 | 0 | 0 | 0
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 46623 | 43244 | 3379 | -6758000 | -6.758 | 999381 | 999381 | 0 | 0 | 0
DIAL
50 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 10130 | 9932 | 198 | -396000 | -0.396 | 2692 | 2692 | 0 | 0 | 0
51 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8467 | 8244 | 223 | -446000 | -0.446 | 1522 | 1522 | 0 | 0 | 0
MASJID MOD
52 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000003 | 999999 | 4 | -4000 | -0.004 | 999999 | 1000000 | -1 | 1000 | 0.001
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994668 | 994667 | 1 | -1000 | -0.001 | 994682 | 994683 | -1 | 1000 | 0.001
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997467 | 997269 | 198 | -198000 | -0.198 | 987081 | 987081 | 0 | 0 | 0
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 998433 | 998506 | 0 | 0 | 0 | 999993 | 999993 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 979245 | 980083 | -838 | -670400 | -0.6704 | 612 | 612 | 0 | 0 | 0
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 939391 | 940763 | -1372 | -1097600 | -1.0976 | 999482 | 999482 | 0 | 0 | 0
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 998151 | 998341 | -190 | -152000 | -0.152 | 999838 | 999838 | 0 | 0 | 0
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 995692 | 995860 | -168 | -134400 | -0.1344 | 43 | 43 | 0 | 0 | 0
PARK STREET
61 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 991947 | 992382 | -435 | -870000 | -0.87 | 999488 | 999491 | -3 | -6000 | -0.006
62 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
63 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 88790 | 87988 | 802 | -1604000 | -1.604 | 991 | 990 | 1 | -2000 | -0.002
64 | Tx-2 | 5128415 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20455 | 20455 | 0 | 0 | 0 | 4569 | 3974 | 595 | -595000 | -0.595
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 117614 | 117614 | 0 | 0 | 0 | 1639 | 1614 | 25 | -25000 | -0.025
NARAINA
66 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 18477 | 18477 | 0 | 0 | 0 | 143894 | 143629 | 265 | 26500 | 0.0265
67 | SUDARSHAN PARK
68 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997236 | 997236 | 0 | 0 | 0 | 999664 | 999743 | -79 | -14812.5 | -0.014812
69 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 944391 | 945012 | -621 | -248400 | -0.2484 | 993071 | 993071 | 0 | 0 | 0
70 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 981638 | 981843 | -205 | -82000 | -0.082 | 73244 | 73244 | 0 | 0 | 0
[5 empty] | 400 | 7980 | 8393 | -413 | -165200 | -0.1652
KANJAWALA
71 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 908557 | 910320 | -1763 | -1410400 | -1.4104 | 997865 | 997885 | -20 | -16000 | -0.016
Trauma Centre
72 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 455682 | 455415 | 267 | 26700 | 0.0267 | 86245 | 86245 | 0 | 0 | 0
[10 empty] | 0.0103 | [5 empty] | Assessment last month
73 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2807 | 3068 | -261 | -261000 | -0.261 | 1880 | 1880 | 0 | 0 | 0
A.I.I.M.S.
74 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10810 | 10810 | 0 | 0 | 0 | 23613 | 23639 | -26 | -1950 | -0.00195
75 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5310 | 5310 | 0 | 0 | 0 | 16815 | 16783 | 32 | 3200 | 0.0032
PEERGARHI
76 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 8742 | 8865 | -123 | -61500 | -0.0615 | 3221 | 3221 | 0 | 0 | 0
77 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997620 | 997768 | -148 | -148000 | -0.148 | 4211 | 4211 | 0 | 0 | 0
78 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984692 | 984814 | -122 | -122000 | -0.122 | 952 | 951 | 1 | 1000 | 0.001
79 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6634 | 6614 | 20 | 20000 | 0.02 | 6694 | 6694 | 0 | 0 | 0
80 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 1167 | 1598 | -431 | -68960 | -0.06896 | 1574 | 1572 | 2 | 320 | 0.00032
81 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 975042 | 975810 | -768 | -76800 | -0.0768 | 910068 | 910067 | 1 | 100 | 0.0001
[5 empty] | 100 | 994 | 1042 | -48 | -4800 | -0.0048
82 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4563 | 4528 | 35 | 35000 | 0.035 | 1118 | 1118 | 0 | 0 | 0
83 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4512 | 4532 | -20 | -20000 | -0.02 | 7431 | 7431 | 0 | 0 | 0
REWARI LINE
84 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 994785 | 995032 | -247 | -49400 | -0.0494 | 14611 | 14611 | 0 | 0 | 0
85 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 990771 | 990973 | -202 | -37875 | -0.037875 | 5406 | 5406 | 0 | 0 | 0
86 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 988298 | 988953 | -655 | -122812.5 | -0.12281 | 4079 | 4079 | 0 | 0 | 0
87 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 4443 | 4433 | 10 | 2500 | 0.0025 | 8046 | 8046 | 0 | 0 | 0
88 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 995028 | 995666 | -638 | -63800 | -0.0638 | 29796 | 29796 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -35.9455 |  |  |  |  | -1.4895
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | FEBRUARY-2021
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21257 | 21356 | -99 | 49500 | 0.0495 | 4880 | 4880 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 993270 | 993438 | -168 | 22399.44 | 0.022399 | 7786 | 7762 | 24 | -3199.92 | -0.0031999
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1188 | 1236 | -48 | 48000 | 0.048 | 999098 | 999099 | -1 | 1000 | 0.001
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993501 | 993829 | -328 | 328000 | 0.328 | 2251 | 2251 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 7246 | 7605 | -359 | 57440 | 0.05744 | 29875 | 29874 | 1 | -160 | -0.00016
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3576 | 3580 | -4 | 800 | 0.0008 | 8219 | 8230 | -11 | 2200 | 0.0022
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979206 | 979656 | -450 | 450000 | 0.45 | 999249 | 999249 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 102649 | 102669 | -20 | 2000 | 0.002 | 75960 | 75965 | -5 | 500 | 0.0005
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4717 | 4803 | -86 | 8600 | 0.0086 | 1376 | 1376 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 8618 | 10005 | -1387 | 138700 | 0.1387 | 70815 | 70815 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16621 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999904 | 999904 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 119 | 64 | 55 | -34375 | -0.034375 | 1447 | 1447 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999491 | -5 | 500 | 0.0005
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3049 | 3052 | -3 | 300 | 0.0003 | 30857 | 30862 | -5 | 500 | 0.0005
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 770 | 773 | -3 | 3999 | 0.003999 | 556 | 558 | -2 | 2666 | 0.002666
21 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 3192 | 3192 | 0 | 0 | 0 | 2084 | 1949 | 135 | -13500 | -0.0135
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 2017 | 2068 | -51 | 5100 | 0.0051 | 3577 | 3397 | 180 | -18000 | -0.018
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995633 | 995633 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999880 | 999880 | 0 | 0 | 0 | 999433 | 999437 | -4 | 1600 | 0.0016
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 995853 | 995925 | -72 | 57600 | 0.0576 | 6137 | 6137 | 0 | 0 | 0
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988562 | 989185 | -623 | 623000 | 0.623 | 2023 | 2024 | -1 | 1000 | 0.001
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1363 | 1469 | -106 | 79500 | 0.0795 | 3313 | 3313 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 1.8406 |  |  |  |  | -0.024894
FEBRUARY-2021
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -35.9455 |  |  |  |  | -1.4895
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 1.8406 |  |  |  |  | -0.024894
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.67969 |  |  |  |  | -0.0116
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0028875 |  |  |  |  | -0.021788
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -34.7875 |  |  |  |  | -1.5478
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -34.7875 | (REACTIVE MUs) |  |  |  | -1.5478 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -6.5077 | (REACTIVE MUs) |  |  |  | -0.024838 | (REACTIVE MUs)
[9 empty] | TOTAL | -41.2952 | (REACTIVE MUs) |  |  |  | -1.5726 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | FEBRUARY-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2736 | 3064 | -328 | -87467.76 | -0.087468 | 2221 | 2221 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 112585 | 112841 | -256 | -25600 | -0.0256 | 152456 | 152456 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 985208 | 985898 | -690 | -138000 | -0.138 | 999329 | 999329 | 0 | 0 | 0
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 627 | 615 | 12 | 12000 | 0.012 | 22 | 22 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 2464 | 2413 | 51 | 40800 | 0.0408 | 2660 | 2655 | 5 | 4000 | 0.004
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3195 | 3029 | 166 | 132800 | 0.1328 | 1325 | 1323 | 2 | 1600 | 0.0016
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 986830 | 987584 | -754 | -603200 | -0.6032 | 998709 | 998723 | -14 | -11200 | -0.0112
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 953840 | 954342 | -502 | -401600 | -0.4016 | 979936 | 980050 | -114 | -91200 | -0.0912
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 958036 | 959042 | -1006 | -804800 | -0.8048 | 989778 | 989812 | -34 | -27200 | -0.0272
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 995166 | 995403 | -237 | -474000 | -0.474 | 999538 | 999541 | -3 | -6000 | -0.006
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 960716 | 962283 | -1567 | -78350 | -0.07835 | 19261 | 19444 | -183 | -9150 | -0.00915
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 973514 | 974402 | -888 | -66600 | -0.0666 | 22531 | 22554 | -23 | -1725 | -0.001725
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 998175 | 998310 | -135 | -67500 | -0.0675 | 5413 | 5426 | -13 | -6500 | -0.0065
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 996282 | 996492 | -210 | -78750 | -0.07875 | 7229 | 7259 | -30 | -11250 | -0.01125
15 | BAY-16 (N BWN) | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 983616 | 984908 | -1292 | -129200 | -0.1292 | 998837 | 998973 | -136 | -13600 | -0.0136
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 11035 | 11357 | -322 | -24150 | -0.02415 | 40520 | 40514 | 6 | 450 | 0.00045
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 6239 | 6912 | -673 | -67300 | -0.0673 | 1991 | 1989 | 2 | 200 | 0.0002
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994792 | 994915 | -123 | -123000 | -0.123 | 104416 | 104498 | -82 | -82000 | -0.082
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992625 | 992958 | -333 | -333000 | -0.333 | 2184 | 2273 | -89 | -89000 | -0.089
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984526 | 984621 | -95 | -95000 | -0.095 | 145053 | 145107 | -54 | -54000 | -0.054
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 998516 | 998663 | -147 | -367500 | -0.3675 | 311 | 337 | -26 | -65000 | -0.065
[10 empty] | -0.9185 |  |  |  |  | -0.29
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993501 | 993829 | -328 | -328000 | -0.328 | 2251 | 2251 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 7246 | 7605 | -359 | -57440 | -0.05744 | 29875 | 29874 | 1 | 160 | 0.00016
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3576 | 3580 | -4 | -800 | -0.0008 | 8219 | 8230 | -11 | -2200 | -0.0022
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979206 | 979656 | -450 | -450000 | -0.45 | 999249 | 999249 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16621 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999904 | 999904 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
FEBRUARY-2021
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997158 | 996778 | 380 | -380000 | -0.38 | 990012 | 990012 | 0 | 0 | 0
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998484 | 998092 | 392 | -392000 | -0.392 | 995810 | 995810 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997763 | 997730 | 33 | -66000 | -0.066 | 996808 | 996808 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999459 | 999397 | 62 | -62000 | -0.062 | 995930 | 995930 | 0 | 0 | 0
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 119 | 64 | 55 | 34375 | 0.034375 | 1447 | 1447 | 0 | 0 | 0
LODHI ROAD
35 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 102649 | 102669 | -20 | -2000 | -0.002 | 75960 | 75965 | -5 | -500 | -0.0005
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4717 | 4803 | -86 | -8600 | -0.0086 | 1376 | 1376 | 0 | 0 | 0
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 8618 | 10005 | -1387 | -138700 | -0.1387 | 70815 | 70815 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21257 | 21356 | -99 | -49500 | -0.0495 | 4880 | 4880 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 455682 | 455415 | 267 | -26700 | -0.0267 | 86245 | 86245 | 0 | 0 | 0
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2807 | 3068 | -261 | 261000 | 0.261 | 1880 | 1880 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10810 | 10810 | 0 | 0 | 0 | 23613 | 23639 | -26 | 1950 | 0.00195
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5310 | 5310 | 0 | 0 | 0 | 16815 | 16783 | 32 | -3200 | -0.0032
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -5.4458 |  |  |  |  | -0.46536
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -5.4458 |  |  |  |  | -0.46536
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.64095 |  |  |  |  | -0.0024463
| TOTAL ENERGY TO NDMC | [8 empty] | -6.0867 |  |  |  |  | -0.46781

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2021
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3782 | 3782 | 0 | 0 | 0 | 66397 | 65826 | 571 | 114200 | 0.1142
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 1111 | 1111 | 0 | 0 | 0 | 23943 | 23638 | 305 | 48800 | 0.0488
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4634 | 4634 | 0 | 0 | 0 | 58352 | 58351 | 1 | 1000 | 0.001
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 280 | 280 | 0 | 0 | 0 | 18402 | 18259 | 143 | 57200 | 0.0572
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999748 | 999791 | -43 | -34400 | -0.0344 | 683 | 693 | -10 | -8000 | -0.008
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 1689 | 1675 | 14 | 5600 | 0.0056 | 5401 | 5396 | 5 | 2000 | 0.002
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1188 | 1236 | -48 | -48000 | -0.048 | 999098 | 999099 | -1 | -1000 | -0.001
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0768 |  |  |  |  | 0.2142
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 509 | 432 | 77 | 2887.5 | 0.0028875 | 557 | 471 | 86 | 3225 | 0.003225
11 | DEFENCE CLUB | 4902560 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 855 | 855 | 0 | 0 | 0 | 214 | 205 | 9 | 337.5 | 0.0003375
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 3641 | 3641 | 0 | 0 | 0 | 28708 | 28465 | 243 | 18225 | 0.018225
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 105 | 105 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 767 | 767 | 0 | 0 | 0 | 1710 | 1710 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4368 | 4368 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0028875 |  |  |  |  | 0.021788
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0768 |  |  |  |  | 0.2142
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.073913 |  |  |  |  | 0.23599
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.073913 | (REACTIVE MUs) |  |  |  | 0.23599 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.12334 | (REACTIVE MUs) |  |  |  | -0.00047075 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.19725 | (REACTIVE MUs) |  |  |  | 0.23552 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2021
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 990081 | 990167 | -86 | -53750 | -0.05375 | 13 | 14 | -1 | -625 | -0.000625
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 990423 | 990565 | -142 | -88750 | -0.08875 | 999869 | 999870 | -1 | -625 | -0.000625
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 995853 | 995925 | -72 | -57600 | -0.0576 | 6137 | 6137 | 0 | 0 | 0
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 23410 | 23410 | 0 | 0 | 0 | 86580 | 76930 | 9650 | -9650 | -0.00965
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 14370 | 13190 | 1180 | -1180 | -0.00118 | 241220 | 215410 | 25810 | -25810 | -0.02581
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 59100 | 57100 | 2000 | -2000 | -0.002 | 716600 | 654000 | 62600 | -62600 | -0.0626
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.20328 |  |  |  |  | -0.09931
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.072297 |  |  |  |  | -0.00027593
TOTAL ENERGY TO Northern Railway | [9 empty] | -0.27558 |  |  |  |  | -0.099586

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2021
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 937254 | 939970 | -2716 | -271600 | -0.2716 | 1896 | 1897 | -1 | -100 | -0.0001
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 47597 | 50106 | -2509 | -250900 | -0.2509 | 6283 | 6283 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 16829 | 16970 | -141 | -70500 | -0.0705 | 3854 | 3877 | -23 | -11500 | -0.0115
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997777 | 997894 | -117 | -109687.5 | -0.10969 | 999785 | 999785 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993549 | 993644 | -95 | 95000 | 0.095 | 999636 | 999636 | 0 | 0 | 0
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993187 | 993043 | 144 | -72000 | -0.072 | 999931 | 999931 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 231 | 0 | 0 | 0 | 4 | 4 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.67969 |  |  |  |  | -0.0116
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 969061 | 969546 | -485 | -97000 | -0.097 | 996595 | 996688 | -93 | -18600 | -0.0186
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 986894 | 987205 | -311 | -291562.5 | -0.29156 | 999565 | 999566 | -1 | -937.5 | -0.0009375
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.38856 |  |  |  |  | -0.019537
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1716 | 1784 | -68 | -85000 | -0.085 | 999178 | 999186 | -8 | -10000 | -0.01
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 356456 | 357756 | -1300 | -130000 | -0.13 | 264688 | 264801 | -113 | -11300 | -0.0113
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 295558 | 297142 | -1584 | -99000 | -0.099 | 63472 | 63129 | 343 | 21437.5 | 0.021438
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 1053 | 1170 | -117 | -93600 | -0.0936 | 496 | 497 | -1 | -800 | -0.0008
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 950051 | 951238 | -1187 | -237400 | -0.2374 | 998502 | 998506 | -4 | -800 | -0.0008
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 988140 | 989061 | -921 | -138150 | -0.13815 | 988492 | 988555 | -63 | -9450 | -0.00945
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997097 | 997112 | -15 | 37500 | 0.0375 | 3042 | 3042 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 231 | 0 | 0 | 0 | 4 | 4 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | -0.74565 |  |  |  |  | -0.010912
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.67969 |  |  |  |  | -0.0116
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.38856 |  |  |  |  | -0.019537
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.74565 |  |  |  |  | -0.010912

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2021
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 122286 | 121514 | 772 | 772000 | 0.772 | 27463 | 27160 | 303 | 303000 | 0.303
[5 empty] | 1000 | 109645 | 108548 | 1097 | 1097000 | 1.097
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 8719 | 7867 | 852 | 1704000 | 1.704 | 1344 | 1232 | 112 | 224000 | 0.224
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 918419 | 921313 | -2894 | 1447000 | 1.447 | 998015 | 998016 | -1 | 500 | 0.0005
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 451717 | 453722 | -2005 | 200500 | 0.2005 | 984122 | 984122 | 0 | 0 | 0
[5 empty] | -100 | 464923 | 465049 | -126 | 12600 | 0.0126
[7 empty] | NET REACTIVE ENERGY |  |  | 5.2331 |  | NET REACTIVE ENERGY |  |  | 0.5275
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 5.2331 |  |  |  |  | 0.5275
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -15.9816 |  |  |  |  | 0.00066667
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -4.7305 |  |  |  |  | -0.30075
[7 empty] | NDMC = |  |  | -0.9185 |  |  |  |  | -0.29
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -21.6306 |  |  |  |  | -0.59008
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -16.3975 |  |  |  |  | -0.062583
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 34.0979 | % |  |  | -5.5912 |  |  |  |  | -0.02134
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 39.6873 | % |  |  | -6.5077 |  |  |  |  | -0.024838
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 21.1127 | % |  |  | -3.462 |  |  |  |  | -0.013213
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.9088 | % |  |  | -0.64095 |  |  |  |  | -0.0024463
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7522 | % |  |  | -0.12334 |  |  |  |  | -0.00047075
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.4409 | % |  |  | -0.072297 |  |  |  |  | -0.00027593
Note :Sharing taken from wk-48 abt bill 2020-21

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st FEBRUARY-2021 TO 28th FEBRUARY-2021
FINAL EXECUTIVE SUMMERY
[5 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | -55.4736 |  | -1.0397
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | -41.2952 |  | -1.5726
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | -34.7326 |  | -0.022668
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | -6.0867 |  | -0.46781
5 | NET REACTIVE ENERGY TO MES |  |  |  | -0.19725 | + | 0.23552
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | -0.27558 |  | -0.099586
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2021 | INTIAL READING 01/02/2021 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83