## NDPL
DELHI TRANSCO LIMITED | [15 empty] | FEBRUARY-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | -1000 | 343 | 320 | 23 | -23000 | -0.023 | 999417 | 999366 | 51 | -51000 | -0.051
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 94277 | 94207 | 70 | -140000 | -0.14 | 5066 | 5066 | 0 | 0 | 0
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17689 | 17562 | 127 | -127000 | -0.127 | 999724 | 999707 | 17 | -17000 | -0.017
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 107372 | 106686 | 686 | -686000 | -0.686 | 114789 | 114748 | 41 | -41000 | -0.041
[5 empty] | -1000 | 122439 | 122381 | 58 | -58000 | -0.058 | [5 empty] | upto 14.02.2023
[10 empty] | -0.267 |  |  |  |  | -0.012 | assessment 6days
|  | 4865049 | ELSTER | Kvarh(Lead/Lag) | -2000 | 119 | 0 | 119 | -238000 | -0.238 | 1 | 0 | 1 | -2000 | -0.002 | w.e.f 20.02.2023
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 362 | 362 | 0 | 0 | 0 | 984404 | 984404 | 0 | 0 | 0
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919112 | 919005 | 107 | -107000 | -0.107 | 36905 | 36821 | 84 | -84000 | -0.084
[5 empty] | -1000 | [5 empty] | 37180 | 37067 | 113 | -113000 | -0.113 | upto 20.02.2023
|  | 4864896 | ELSTER | Kvarh(Lead/Lag) | -2000 | 0 | 0 | 0 | 0 | 0 | 38 | 0 | 38 | -76000 | -0.076 | w.e.f 20.02.2023
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28784 | 26174 | 2610 | -2610000 | -2.61 | 999665 | 999665 | 0 | 0 | 0
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38086 | 35712 | 2374 | -2374000 | -2.374 | 997783 | 997782 | 1 | -1000 | -0.001
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30224 | 29912 | 312 | -312000 | -0.312 | 996598 | 996596 | 2 | -2000 | -0.002
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 14292 | 14312 | -20 | 10000 | 0.01 | 812841 | 812805 | 36 | -18000 | -0.018
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9579 | 8515 | 1064 | -1064000 | -1.064 | 998342 | 998342 | 0 | 0 | 0
12 | Tx.-2 | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20681 | 15863 | 4818 | -4818000 | -4.818 | 999999 | 999999 | 0 | 0 | 0
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 61636 | 60098 | 1538 | -1538000 | -1.538 | 996471 | 996471 | 0 | 0 | 0
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 30877 | 30877 | 0 | 0 | 0 | 99999712 | 99999712 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 693260 | 696595 | -3335 | -3335000 | -3.335 | 999745 | 999745 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 738612 | 748039 | -9427 | -4713500 | -4.7135 | 999988 | 999988 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15836 | 15763 | 73 | -73000 | -0.073 | 997974 | 998008 | -34 | 34000 | 0.034
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 81728 | 81313 | 415 | -207500 | -0.2075 | 210 | 183 | 27 | -13500 | -0.0135
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62358 | 62239 | 119 | -119000 | -0.119 | 999349 | 999282 | 67 | -67000 | -0.067
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998624 | 998626 | -2 | -2000 | -0.002 | 986539 | 986609 | -70 | -70000 | -0.07
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999569 | 999570 | -1 | -4000 | -0.004 | 999627 | 999633 | -6 | -24000 | -0.024
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1965 | 1967 | -2 | -1000 | -0.001 | 16982 | 16983 | -1 | -500 | -0.0005
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 91818 | 91524 | 294 | 14700 | 0.0147 | 421277 | 421269 | 8 | 400 | 0.0004
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998485 | 998494 | -9 | -9000 | -0.009 | 993099 | 993118 | -19 | -19000 | -0.019
25 | INDER PURI-2 | 4865117 | ELSTER | Kvarh(Lead/Lag) | 1333.333 | 999993 | 999993 | 0 | 0 | 0 | 998963 | 999168 | -205 | -273333.265 | -0.27333
26 | Pandav Nagar | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999842 | 999882 | -40 | -40000 | -0.04 | 999979 | 999980 | -1 | -1000 | -0.001
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979386 | 981182 | -1796 | -1796000 | -1.796 | 997857 | 997857 | 0 | 0 | 0
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 889849 | 891281 | -1432 | -716000 | -0.716 | 999244 | 999244 | 0 | 0 | 0
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 991661 | 991758 | -97 | -25866.99 | -0.025867 | 403 | 403 | 0 | 0 | 0
30 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1 | 1 | 0 | 0 | 0 | 31 | 26 | 5 | 10000 | 0.01
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 59871 | 59424 | 447 | -447000 | -0.447 | 995667 | 995668 | -1 | 1000 | 0.001
32 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3204 | 2490 | 714 | -714000 | -0.714 | 999887 | 999883 | 4 | -4000 | -0.004
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 36339 | 34710 | 1629 | -3258000 | -3.258 | 999523 | 999523 | 0 | 0 | 0
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 88803 | 86405 | 2398 | -2398000 | -2.398 | 995684 | 995726 | -42 | 42000 | 0.042
DSIDC BAWANA
35 | 66KV TX.1 | 4864892 | ELSTER | Kvarh(Lead/Lag) | -4000 | 11050 | 9802 | 1248 | -4992000 | -4.992 | 999998 | 999998 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 168137 | 165952 | 2185 | -2185000 | -2.185 | 998420 | 998421 | -1 | 1000 | 0.001
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 351983 | 338830 | 13153 | -4384289.49 | -4.3843 | 266 | 266 | 0 | 0 | 0
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 45519 | 42695 | 2824 | -5648000 | -5.648 | 999993 | 999993 | 0 | 0 | 0
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52241 | 50326 | 1915 | -3830000 | -3.83 | 560 | 560 | 0 | 0 | 0
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 151643 | 148067 | 3576 | -3576000 | -3.576 | 2317 | 2317 | 0 | 0 | 0
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 13656000 | 12562000 | 1094000 | -1094000 | -1.094 | 2817000 | 2813000 | 4000 | -4000 | -0.004
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 41575000 | 37540000 | 4035000 | -4035000 | -4.035 | 2799000 | 2797000 | 2000 | -2000 | -0.002
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36640 | 33817 | 2823 | -2823000 | -2.823 | 997783 | 997783 | 0 | 0 | 0
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 58932 | 57674 | 1258 | -1258000 | -1.258 | 764 | 765 | -1 | 1000 | 0.001
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995085 | 996039 | -954 | -954000 | -0.954 | 24720 | 24723 | -3 | -3000 | -0.003
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | FEBRUARY-2023
DMS
45 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | 300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 999836 | 999850 | -14 | -1400 | -0.0014
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3190 | 3162 | 28 | 2800 | 0.0028 | 36373 | 36124 | 249 | 24900 | 0.0249
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 745 | 747 | -2 | -2666 | -0.002666 | 624 | 626 | -2 | -2666 | -0.002666
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 94 | 21 | 73 | 7300 | 0.0073 | 3537 | 3318 | 219 | 21900 | 0.0219
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1767 | 1834 | -67 | -6700 | -0.0067 | 9477 | 9414 | 63 | 6300 | 0.0063
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999796 | 999796 | 0 | 0 | 0 | 2441 | 2441 | 0 | 0 | 0
57 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | 500 | 999940 | 999945 | -5 | -2500 | -0.0025 | 297 | 297 | 0 | 0 | 0 | upto 13.02.2023
|  | 4902555 | ELSTER | Kvarh(Lead/Lag) | 500 | 999996 | 1000000 | -4 | -2000 | -0.002 | 999999 | 1000000 | -1 | -500 | -0.0005 | w.e.f 13.02.2023
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1136 | 1136 | 0 | 0 | 0 | 1567 | 1566 | 1 | 500 | 0.0005
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 992815 | 992848 | -33 | -3300 | -0.0033 | 2899 | 2898 | 1 | 100 | 0.0001
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 9475 | 9475 | 0 | 0 | 0 | 16303 | 16308 | -5 | -500 | -0.0005 | upto 06.02.2023
[10 empty] | 0 |  |  |  |  | -0.000166 | assessment 7 days
|  | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 13.02.2023
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 15712 | 15670 | 42 | 4200 | 0.0042 | 6453 | 6406 | 47 | 4700 | 0.0047
62 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | 100 | 186 | 154 | 32 | 3200 | 0.0032 | 82 | 62 | 20 | 2000 | 0.002
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 59818 | 60238 | -420 | -42000 | -0.042 | 2532 | 2533 | -1 | -100 | -0.0001
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 429 | 427 | 2 | 266.66 | 0.00026666 | 1000 | 998 | 2 | 266.66 | 0.00026666
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 7 | 7 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | -400 | 999999 | 999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999893 | 999893 | 0 | 0 | 0 | 999459 | 999457 | 2 | 800 | 0.0008
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 936595 | 938433 | -1838 | -1470400 | -1.4704 | 999698 | 999698 | 0 | 0 | 0
69 | GHEWARA | 4865032 | ELSTER | Kvarh(Lead/Lag) | 800 | 996482 | 997046 | -564 | -451200 | -0.4512 | 999999 | 999999 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 960194 | 961383 | -1189 | -237800 | -0.2378 | 2049 | 2049 | 0 | 0 | 0
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 989880 | 990597 | -717 | -179250 | -0.17925 | 857 | 857 | 0 | 0 | 0
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979519 | 979673 | -154 | -154000 | -0.154 | 2040 | 2042 | -2 | -2000 | -0.002
73 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | 281.25 | 999787 | 999902 | -115 | -32343.75 | -0.032344 | 999999 | 999999 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -69.5418 |  |  |  |  | -0.7548
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | FEBRUARY-2023
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 307 | 307 | 0 | 0 | 0 | 1561 | 1513 | 48 | -4800 | -0.0048
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 606 | 580 | 26 | -20800 | -0.0208 | 639 | 639 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 81 | 70 | 11 | -14666.63 | -0.014667 | 4 | 3 | 1 | -1333.33 | -0.0013333
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 6021 | 6033 | -12 | 1599.96 | 0.0016 | 8037 | 8037 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 996622 | 996792 | -170 | 31875 | 0.031875 | 998457 | 998458 | -1 | 187.5 | 0.0001875
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 895739 | 896596 | -857 | 685600 | 0.6856 | 997618 | 997620 | -2 | 1600 | 0.0016
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 992040 | 992003 | 37 | -23125 | -0.023125 | 557 | 553 | 4 | -2500 | -0.0025
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999659 | 999658 | 1 | -500 | -0.0005 | 279 | 223 | 56 | -28000 | -0.028
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 991666 | 991766 | -100 | 20000 | 0.02 | 20561 | 20560 | 1 | -200 | -0.0002
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 983662 | 983853 | -191 | 35812.5 | 0.035812 | 4307 | 4307 | 0 | 0 | 0 | upto 07.02.2023
[10 empty] | 0.0424 |  |  |  |  | 0.00108 | assessment 15 days
|  | 4865140 | ELSTER | Kvarh(Lead/Lag) | -937.5 | 999999 | 1000000 | -1 | 937.5 | 0.0009375 | 999999 | 1000000 | -1 | 937.5 | 0.0009375 | w.e.f 22.02.2023
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 980964 | 981023 | -59 | 11062.5 | 0.011062 | 3419 | 3422 | -3 | 562.5 | 0.0005625
13 | 20MVATX-III | 4865094 | ELSTER | Kvarh(Lead/Lag) | -1875 | 999998 | 999998 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 993143 | 993197 | -54 | 5400 | 0.0054 | 30601 | 30602 | -1 | 100 | 0.0001
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.7756 |  |  |  |  | -0.032366
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -69.5418 |  |  |  |  | -0.7548
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.7756 |  |  |  |  | -0.032366
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -3.1142 |  |  |  |  | -0.009925
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -71.8805 |  |  |  |  | -0.79709
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -71.8805 | (REACTIVE MUs) |  |  |  | -0.79709 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 2.3291 | (REACTIVE MUs) |  |  |  | -0.021519 | (REACTIVE MUs)
[9 empty] | TOTAL | -69.5514 | (REACTIVE MUs) |  |  |  | -0.81861 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | FEBRUARY-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997807 | 997810 | -3 | -3000 | -0.003 | 994636 | 994800 | -164 | -164000 | -0.164
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998511 | 998520 | -9 | -9000 | -0.009 | 998586 | 998626 | -40 | -40000 | -0.04
3 | BAY-13 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999451 | 999479 | -28 | -28000 | -0.028 | 990570 | 991284 | -714 | -714000 | -0.714
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999791 | 999791 | 0 | 0 | 0 | 999189 | 999230 | -41 | -54666.53 | -0.054667
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997321 | 997359 | -38 | -57000 | -0.057 | 999306 | 999293 | 13 | 19500 | 0.0195
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 10355 | 10359 | -4 | -400 | -0.0004 | 18899 | 19123 | -224 | -22400 | -0.0224
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994548 | 994623 | -75 | -75000 | -0.075 | 995907 | 995925 | -18 | -18000 | -0.018
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 990612 | 990662 | -50 | -3750 | -0.00375 | 985899 | 986482 | -583 | -43725 | -0.043725
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 800 | 996596 | 996639 | -43 | -34400 | -0.0344 | 998751 | 998767 | -16 | -12800 | -0.0128 | upto 14.02.2023
[10 empty] | -0.0397 |  |  |  |  | -0.0148 | assessment 15 days
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988560 | 988568 | -8 | -10666.64 | -0.010667 | 265015 | 265018 | -3 | -3999.99 | -0.004
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 951 | 948 | 3 | -19999.998 | -0.02 | 999949 | 999950 | -1 | 6666.666 | 0.0066667
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33643 | 33347 | 296 | -296000 | -0.296 | 996638 | 996638 | 0 | 0 | 0
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5287 | 5282 | 5 | -10000 | -0.01 | 996238 | 996222 | 16 | -32000 | -0.032
14 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1650 | 1644 | 6 | -6000 | -0.006 | 993509 | 993543 | -34 | 34000 | 0.034
PAAPANKALAN-II
15 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 157044 | 156263 | 781 | -781000 | -0.781 | 23894 | 23892 | 2 | -2000 | -0.002
16 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11874 | 10988 | 886 | -886000 | -0.886 | 999410 | 999410 | 0 | 0 | 0
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38454 | 38408 | 46 | -92000 | -0.092 | 1571 | 1498 | 73 | -146000 | -0.146
18 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3791 | 3440 | 351 | -702000 | -0.702 | 999658 | 999658 | 0 | 0 | 0
PAAPANKALAN-III
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 130757 | 130012 | 745 | -596000 | -0.596 | 10591 | 10581 | 10 | -8000 | -0.008
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 124614 | 123635 | 979 | -783200 | -0.7832 | 5695 | 5689 | 6 | -4800 | -0.0048
NAJAFGARH
21 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 944169 | 944142 | 27 | -27000 | -0.027 | 959053 | 959067 | -14 | 14000 | 0.014 | upto 27.02.2023
|  | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993057 | 993056 | 1 | -1000 | -0.001 | 992496 | 992496 | 0 | 0 | 0 | check meter
22 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 952604 | 952425 | 179 | -358000 | -0.358 | 990897 | 990930 | -33 | 66000 | 0.066
23 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 908600 | 908622 | -22 | 44000 | 0.044 | 971052 | 971059 | -7 | 14000 | 0.014
24 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11513 | 11294 | 219 | -219000 | -0.219 | 995799 | 995814 | -15 | 15000 | 0.015
R.K.PURAM
25 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997512 | 997569 | -57 | 57000 | 0.057 | 997231 | 997231 | 0 | 0 | 0
26 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981403 | 981458 | -55 | 55000 | 0.055 | 999858 | 999858 | 0 | 0 | 0
27 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 293162 | 292926 | 236 | -236000 | -0.236 | 125020 | 124967 | 53 | -53000 | -0.053
28 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7839 | 7780 | 59 | -118000 | -0.118 | 545 | 532 | 13 | -26000 | -0.026
IMPORT
MANGOLPURI
29 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 606 | 580 | 26 | 20800 | 0.0208 | 639 | 639 | 0 | 0 | 0
LODHI ROAD
30 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 933775 | 933725 | 50 | -50000 | -0.05 | 965240 | 965240 | 0 | 0 | 0
31 | Tx.2 | 5269749 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996782 | 996788 | -6 | 6000 | 0.006 | 999513 | 999513 | 0 | 0 | 0
32 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 692 | 683 | 9 | -9000 | -0.009 | 1000008 | 999999 | 9 | -9000 | -0.009
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 41333 | 41104 | 229 | -183200 | -0.1832 | 2565 | 2471 | 94 | -75200 | -0.0752
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 63051 | 62857 | 194 | -310400 | -0.3104 | 50862 | 50795 | 67 | -107200 | -0.1072
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -2000 | 84 | 3 | 81 | -162000 | -0.162 | 54 | 18 | 36 | -72000 | -0.072
36 | Tx.2 (66 KV)-circuit no. 2 | 4864947 | ELSTER | Kvarh(Lead/Lag) | -1000 | 403 | 357 | 46 | -46000 | -0.046 | 998375 | 998397 | -22 | 22000 | 0.022
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24060 | 23990 | 70 | -70000 | -0.07 | 31348 | 31368 | -20 | 20000 | 0.02
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5232 | 4908 | 324 | -324000 | -0.324 | 996773 | 996774 | -1 | 1000 | 0.001
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1214 | 1162 | 52 | -52000 | -0.052 | 1325 | 1318 | 7 | -7000 | -0.007
BRPL(+) continue | [14 empty] | FEBRUARY-2023
VASANT KUNJ
40 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5388 | 5147 | 241 | -241000 | -0.241 | 999943 | 999943 | 0 | 0 | 0
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24020 | 23771 | 249 | -249000 | -0.249 | 343 | 343 | 0 | 0 | 0
42 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39044 | 38187 | 857 | -857000 | -0.857 | 996667 | 996668 | -1 | 1000 | 0.001
MEHRAULI
43 | Tx.1 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6252 | 5402 | 850 | -850000 | -0.85 | 2438 | 2440 | -2 | 2000 | 0.002
44 | Tx.2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | -500 | 12967 | 11895 | 1072 | -536000 | -0.536 | 1089 | 1089 | 0 | 0 | 0
45 | Tx.3 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -2500 | 1905 | 1528 | 377 | -942500 | -0.9425 | 864 | 864 | 0 | 0 | 0
46 | Tx.4 | 4865042 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3608 | 3139 | 469 | -938000 | -0.938 | 638 | 638 | 0 | 0 | 0
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 96034 | 95196 | 838 | -838000 | -0.838 | 997109 | 997109 | 0 | 0 | 0
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 66790 | 65487 | 1303 | -2606000 | -2.606 | 999373 | 999373 | 0 | 0 | 0
DIAL
49 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 8480 | 8034 | 446 | -669000 | -0.669 | 30 | 30 | 0 | 0 | 0
50 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13220 | 12564 | 656 | -656000 | -0.656 | 999974 | 999974 | 0 | 0 | 0
MASJID MOD
51 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996826 | 996820 | 6 | -6000 | -0.006 | 999840 | 999840 | 0 | 0 | 0
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991396 | 991388 | 8 | -8000 | -0.008 | 994546 | 994546 | 0 | 0 | 0
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989852 | 989836 | 16 | -16000 | -0.016 | 986865 | 986865 | 0 | 0 | 0
MUNDKA
54 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 993881 | 993910 | -29 | -116000 | -0.116 | 999990 | 999990 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 964244 | 964744 | -500 | -400000 | -0.4 | 634 | 634 | 0 | 0 | 0
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 909572 | 909572 | 0 | 0 | 0 | 999431 | 999431 | 0 | 0 | 0
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999844 | 999968 | -124 | -248000 | -0.248 | 0 | 0 | 0 | 0 | 0
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 993397 | 993650 | -253 | -202400 | -0.2024 | 52 | 52 | 0 | 0 | 0
60 | 66KV Nilothi Ckt-1 | 5128428 | ELSTER | Kvarh(Lead/Lag) | 800 | 989395 | 991074 | -1679 | -1343200 | -1.3432 | 999896 | 999898 | -2 | -1600 | -0.0016
61 | 66KV Nilothi Ckt-2 | 4864926 | ELSTER | Kvarh(Lead/Lag) | 800 | 990787 | 990787 | 0 | 0 | 0 | 999982 | 999982 | 0 | 0 | 0
PARK STREET
63 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 986645 | 986645 | 0 | 0 | 0 | 998514 | 998514 | 0 | 0 | 0
SARITA VIHAR
64 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 120791 | 116931 | 3860 | -7720000 | -7.72 | 6926 | 6926 | 0 | 0 | 0
64 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19212 | 19120 | 92 | -92000 | -0.092 | 5160 | 4718 | 442 | -442000 | -0.442
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 141629 | 141404 | 225 | -225000 | -0.225 | 3099 | 3099 | 0 | 0 | 0
NARAINA
66 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 307 | 307 | 0 | 0 | 0 | 1561 | 1513 | 48 | 4800 | 0.0048
SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 996622 | 996792 | -170 | -31875 | -0.031875 | 998457 | 998458 | -1 | -187.5 | -0.0001875
68 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998462 | 998580 | -118 | -118000 | -0.118 | 437 | 437 | 0 | 0 | 0
69 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998156 | 998355 | -199 | -199000 | -0.199 | 373 | 373 | 0 | 0 | 0
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 895739 | 896596 | -857 | -685600 | -0.6856 | 997618 | 997620 | -2 | -1600 | -0.0016
Trauma Centre
71 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 269 | 149 | 120 | 120000 | 0.12 | 999973 | 999973 | 0 | 0 | 0
72 | IIT CIRCUIT | 4864872 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997648 | 997832 | -184 | -184000 | -0.184 | 999915 | 999915 | 0 | 0 | 0
A.I.I.M.S.
73 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | 100 | 1 | 1 | 0 | 0 | 0 | 999726 | 999773 | -47 | -4700 | -0.0047
74 | 11KV NDSE | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 4 | 4 | 0 | 0 | 0 | 2898 | 2865 | 33 | 3300 | 0.0033
PEERGARHI
75 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 8473 | 8692 | -219 | -109500 | -0.1095 | 3095 | 3096 | -1 | -500 | -0.0005
76 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994763 | 995230 | -467 | -467000 | -0.467 | 4209 | 4209 | 0 | 0 | 0
77 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980791 | 980972 | -181 | -181000 | -0.181 | 553 | 552 | 1 | 1000 | 0.001
78 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7362 | 7376 | -14 | -14000 | -0.014 | 6924 | 6924 | 0 | 0 | 0
79 | PASCHIM PURI - I (L-7) | 4865064 | ELSTER | Kvarh(Lead/Lag) | 150 | 995438 | 996769 | -1331 | -199650 | -0.19965 | 241 | 240 | 1 | 150 | 0.00015
80 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 999098 | 1000243 | -1145 | -114500 | -0.1145 | 912140 | 912141 | -1 | -100 | -0.0001
81 | MUKHERJEE PARK - I | 4864790 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 1919 | 1122 | 797 | 212535.99 | 0.21254 | 642 | 642 | 0 | 0 | 0
82 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5304 | 5369 | -65 | -65000 | -0.065 | 7982 | 7982 | 0 | 0 | 0
REWARI LINE
83 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 991666 | 991766 | -100 | -20000 | -0.02 | 20561 | 20560 | 1 | 200 | 0.0002
84 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 983662 | 983853 | -191 | -35812.5 | -0.035812 | 4307 | 4307 | 0 | 0 | 0 | upto 07.02.2023
[10 empty] | -0.0424 |  |  |  |  | -0.00108 | assessment 15 days
|  | 4865140 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999999 | 1000000 | -1 | -937.5 | -0.0009375 | 999999 | 1000000 | -1 | -937.5 | -0.0009375 | w.e.f 22.02.2023
85 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 980964 | 981023 | -59 | -11062.5 | -0.011062 | 3419 | 3422 | -3 | -562.5 | -0.0005625
86 | 20MVATX-III | 4865094 | ELSTER | Kvarh(Lead/Lag) | 1875 | 999998 | 999998 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
87 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 993143 | 993197 | -54 | -5400 | -0.0054 | 30601 | 30602 | -1 | -100 | -0.0001
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -28.3272 |  |  |  |  | -1.8593
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | FEBRUARY-2023
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21924 | 21924 | 0 | 0 | 0 | 5193 | 5226 | -33 | 16500 | 0.0165
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992418 | 992418 | 0 | 0 | 0 | 7840 | 8385 | -545 | 72664.85 | 0.072665
4 | KHYBER LANE-1 EXP. | 4865164 | ELSTER | Kvarh(Lead/Lag) | -666.667 | 999820 | 999821 | -1 | 666.667 | 0.00066667 | 445 | 493 | -48 | 32000.016 | 0.032
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1134 | 1134 | 0 | 0 | 0 | 232 | 273 | -41 | 41000 | 0.041
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989966 | 990059 | -93 | 93000 | 0.093 | 2543 | 2543 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 2861 | 2861 | 0 | 0 | 0 | 38378 | 38602 | -224 | 35840 | 0.03584
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3855 | 3855 | 0 | 0 | 0 | 18797 | 18745 | 52 | -10400 | -0.0104
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968845 | 969008 | -163 | 163000 | 0.163 | 999379 | 999380 | -1 | 1000 | 0.001
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 732 | 732 | 0 | 0 | 0 | 1749 | 1719 | 30 | -3000 | -0.003
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4956 | 4956 | 0 | 0 | 0 | 5081 | 5125 | -44 | 4400 | 0.0044
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4865103 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 193 | 192 | 1 | 833.33 | 0.00083333 | 1404 | 1215 | 189 | 157499.37 | 0.1575
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 455 | 455 | 0 | 0 | 0 | 2627 | 2627 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 999998 | 999998 | 0 | 0 | 0 | 999836 | 999850 | -14 | 1400 | 0.0014
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3190 | 3162 | 28 | -2800 | -0.0028 | 36373 | 36124 | 249 | -24900 | -0.0249
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 745 | 747 | -2 | 2666 | 0.002666 | 624 | 626 | -2 | 2666 | 0.002666
21 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 94 | 21 | 73 | -7300 | -0.0073 | 3537 | 3318 | 219 | -21900 | -0.0219
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1767 | 1834 | -67 | 6700 | 0.0067 | 9477 | 9414 | 63 | -6300 | -0.0063
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | 400 | 999999 | 999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999893 | 999893 | 0 | 0 | 0 | 999459 | 999457 | 2 | -800 | -0.0008
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -800 | 1238 | 1201 | 37 | -29600 | -0.0296 | 563 | 558 | 5 | -4000 | -0.004
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979519 | 979673 | -154 | 154000 | 0.154 | 2040 | 2042 | -2 | 2000 | 0.002
30 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | -281.25 | 999787 | 999902 | -115 | 32343.75 | 0.032344 | 999999 | 999999 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.41351 |  |  |  |  | 0.29567
FEBRUARY-2023
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -28.3272 |  |  |  |  | -1.8593
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.41351 |  |  |  |  | 0.29567
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.60664 |  |  |  |  | -0.0083375
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | 0.00015 |  |  |  |  | -0.067875
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -28.5202 |  |  |  |  | -1.6399
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -28.5202 | (REACTIVE MUs) |  |  |  | -1.6399 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 3.2368 | (REACTIVE MUs) |  |  |  | -0.029829 | (REACTIVE MUs)
[9 empty] | TOTAL | -25.2834 | (REACTIVE MUs) |  |  |  | -1.6697 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | FEBRUARY-2023
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36315 | 36365 | -50 | -13350 | -0.01335 | 991892 | 991938 | -46 | -12282 | -0.012282
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 4000 | 11230 | 11231 | -1 | -4000 | -0.004 | 1345 | 1357 | -12 | -48000 | -0.048
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 24929 | 24929 | 0 | 0 | 0 | 34912 | 34899 | 13 | 1733.29 | 0.0017333
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999626 | 999659 | -33 | -33000 | -0.033 | 999668 | 999680 | -12 | -12000 | -0.012
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 89 | 89 | 0 | 0 | 0 | 999926 | 999936 | -10 | -16000 | -0.016
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18386 | 18396 | -10 | -13333.3 | -0.013333 | 4894 | 4900 | -6 | -7999.98 | -0.008
7 | MINTO RD. B-34 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 999384 | 999473 | -89 | -17800 | -0.0178 | 998619 | 998769 | -150 | -30000 | -0.03
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 974940 | 974941 | -1 | -1000 | -0.001 | 1213 | 1214 | -1 | -1000 | -0.001
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 982992 | 983032 | -40 | -20000 | -0.02 | 263 | 270 | -7 | -3500 | -0.0035
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997303 | 997307 | -4 | -4000 | -0.004 | 999837 | 999837 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982629 | 982649 | -20 | -20000 | -0.02 | 1091 | 1092 | -1 | -1000 | -0.001
12 | LAHORI GATE-1 | 4865120 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999974 | 999992 | -18 | -23999.94 | -0.024 | 999977 | 999980 | -3 | -3999.99 | -0.004
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993427 | 993431 | -4 | -4000 | -0.004 | 995254 | 995271 | -17 | -17000 | -0.017
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992504 | 992504 | 0 | 0 | 0 | 999980 | 999976 | 4 | 4000 | 0.004
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994346 | 994354 | -8 | -6400 | -0.0064 | 7108 | 7123 | -15 | -12000 | -0.012
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 14184 | 14284 | -100 | -13333 | -0.013333 | 8345 | 8347 | -2 | -266.66 | -0.00026666
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 29 | 29 | 0 | 0 | 0 | 999819 | 999823 | -4 | -4000 | -0.004
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 444 | 453 | -9 | -9000 | -0.009 | 16904 | 16906 | -2 | -2000 | -0.002
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 948936 | 949633 | -697 | -871250 | -0.87125 | 947183 | 947183 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 934146 | 935863 | -1717 | -1717000 | -1.717 | 933516 | 933516 | 0 | 0 | 0
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992643 | 992643 | 0 | 0 | 0 | 998682 | 998682 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -2.5882 |  |  |  |  | 0
22 | 100 MVA TX.-1 | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999400 | 999391 | 9 | -9000 | -0.009 | 998704 | 998708 | -4 | 4000 | 0.004
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6550 | 6514 | 36 | -36000 | -0.036 | 997809 | 997811 | -2 | 2000 | 0.002
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 7 | 7 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998893 | 998894 | -1 | -1000 | -0.001 | 12181 | 12202 | -21 | -21000 | -0.021
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 273566 | 273351 | 215 | -215000 | -0.215 | 26470 | 26425 | 45 | -45000 | -0.045
[5 empty] | -1000 | 286100 | 284911 | 1189 | -1189000 | -1.189 | [5 empty] | upto 17.02.2023
|  | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 781 | 0 | 781 | -781000 | -0.781 | 9 | 0 | 9 | -9000 | -0.009 | w.e.f 17.02.2023
27 | TX.-2(66KV) | 4902495 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1202 | 1202 | 0 | 0 | 0 | 1467 | 1467 | 0 | 0 | 0
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10959 | 10730 | 229 | -229000 | -0.229 | 998986 | 998980 | 6 | -6000 | -0.006
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6888 | 6844 | 44 | -44000 | -0.044 | 998036 | 998036 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 125079 | 125003 | 76 | -76000 | -0.076 | 982681 | 982677 | 4 | -4000 | -0.004
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 96846 | 96715 | 131 | -131000 | -0.131 | 335 | 335 | 0 | 0 | 0
32 | TX.-3 (66KV) | 4864830 | ELSTER | Kvarh(Lead/Lag) | -5000 | 2836 | 2683 | 153 | -765000 | -0.765 | 0 | 0 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 81 | 70 | 11 | 14666.63 | 0.014667 | 4 | 3 | 1 | 1333.33 | 0.0013333
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 6021 | 6033 | -12 | -1599.96 | -0.0016 | 8037 | 8037 | 0 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992418 | 992418 | 0 | 0 | 0 | 7840 | 8385 | -545 | -72485 | -0.072485
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975035 | 975025 | 10 | -10000 | -0.01 | 990233 | 990214 | 19 | -19000 | -0.019
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961855 | 961844 | 11 | -11000 | -0.011 | 969515 | 969499 | 16 | -16000 | -0.016
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -6.2554 |  |  |  |  | -0.35047
| (A) NET ENERGY TO CENTRAL | [8 empty] | -6.2554 |  |  |  |  | -0.35047
FEBRUARY-2023
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 527 | 479 | 48 | -48000 | -0.048 | 133 | 112 | 21 | -21000 | -0.021
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981970 | 981876 | 94 | -94000 | -0.094 | 931278 | 931213 | 65 | -65000 | -0.065
3 | Tx.3 | 5100230 | ELSTER | Kvarh(Lead/Lag) | -1000 | 235 | 196 | 39 | -39000 | -0.039 | 13 | 2 | 11 | -11000 | -0.011
4 | Tx.4 | 4864812 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2199 | 1721 | 478 | -478000 | -0.478 | 999725 | 999723 | 2 | -2000 | -0.002
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41587 | 41506 | 81 | -81000 | -0.081 | 998172 | 998172 | 0 | 0 | 0
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 23793 | 23295 | 498 | -249000 | -0.249 | 660 | 660 | 0 | 0 | 0
7 | 100 MVA Tx.1 (33 KV) | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 406 | 333 | 73 | -73000 | -0.073 | 999990 | 999990 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 45696 | 45650 | 46 | -46000 | -0.046 | 999420 | 999420 | 0 | 0 | 0
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1800 | 1696 | 104 | -104000 | -0.104 | 22 | 22 | 0 | 0 | 0
GEETA COLONY
10 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972738 | 972536 | 202 | -202000 | -0.202 | 968085 | 968080 | 5 | -5000 | -0.005
11 | I/C-II | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 903 | 802 | 101 | -101000 | -0.101 | 999985 | 999997 | -12 | 12000 | 0.012
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 13668 | 13668 | 0 | 0 | 0 | 212 | 82 | 130 | -650000 | -0.65
13 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27118 | 26838 | 280 | -280000 | -0.28 | 116 | 113 | 3 | -3000 | -0.003
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7977 | 7766 | 211 | -211000 | -0.211 | 6 | 5 | 1 | -1000 | -0.001
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -2.006 |  |  |  |  | -0.746
| (B) NET ENERGY TO EAST | [8 empty] | -2.006 |  |  |  |  | -0.746
FEBRUARY-2023
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 991661 | 991758 | -97 | 25866.99 | 0.025867 | 403 | 403 | 0 | 0 | 0
2 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1 | 1 | 0 | 0 | 0 | 31 | 26 | 5 | -10000 | -0.01
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 971 | 1006 | -35 | 9333.1 | 0.0093331 | 2244 | 2245 | -1 | 266.66 | 0.00026666
4 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | -400 | 7896 | 7659 | 237 | -94800 | -0.0948 | 25 | 25 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 974150 | 974503 | -353 | 70600 | 0.0706 | 999384 | 999385 | -1 | 200 | 0.0002
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 872 | 919 | -47 | 47000 | 0.047 | 390 | 390 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 3593 | 3615 | -22 | 17600 | 0.0176 | 4780 | 4783 | -3 | 2400 | 0.0024 | upto 13.02.2023
[10 empty] | 0.00832 |  |  |  |  | 0.00096 | assessment 08 days
|  | 4865010 | ELSTER | Kvarh(Lead/Lag) | -800 | 999996 | 1000000 | -4 | 3200 | 0.0032 | 0 | 0 | 0 | 0 | 0 | w.e.f 21.02.23
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 1928 | 1987 | -59 | 47200 | 0.0472 | 1650 | 1650 | 0 | 0 | 0
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 943368 | 943931 | -563 | 450400 | 0.4504 | 988479 | 988499 | -20 | 16000 | 0.016
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992359 | 992367 | -8 | 16000 | 0.016 | 999109 | 999139 | -30 | 60000 | 0.06
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 986645 | 986645 | 0 | 0 | 0 | 998514 | 998514 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995085 | 996039 | -954 | 954000 | 0.954 | 24720 | 24723 | -3 | 3000 | 0.003
DMS
15 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | -300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999796 | 999796 | 0 | 0 | 0 | 2441 | 2441 | 0 | 0 | 0
18 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | -500 | 999940 | 999945 | -5 | 2500 | 0.0025 | 297 | 297 | 0 | 0 | 0 | upto 13.02.2023
|  | 4902555 | ELSTER | Kvarh(Lead/Lag) | -500 | 999996 | 1000000 | -4 | 2000 | 0.002 | 999999 | 1000000 | -1 | 500 | 0.0005 | w.e.f 13.02.2023
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1136 | 1136 | 0 | 0 | 0 | 1567 | 1566 | 1 | -500 | -0.0005
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 59818 | 60238 | -420 | 42000 | 0.042 | 2532 | 2533 | -1 | 100 | 0.0001
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 429 | 427 | 2 | -266.66 | -0.00026666 | 1000 | 998 | 2 | -266.66 | -0.00026666
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 992815 | 992848 | -33 | 3300 | 0.0033 | 2899 | 2898 | 1 | -100 | -0.0001
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 9475 | 9475 | 0 | 0 | 0 | 16303 | 16308 | -5 | 500 | 0.0005 | upto 06.02.23
[10 empty] | 0 |  |  |  |  | 0.000166 | assessment 7 days
|  | 4902599 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 13.02.2023
24 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 15712 | 15670 | 42 | -4200 | -0.0042 | 6453 | 6406 | 47 | -4700 | -0.0047
25 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | -100 | 186 | 154 | 32 | -3200 | -0.0032 | 82 | 62 | 20 | -2000 | -0.002
FED FROM BYPL (RLY.)
26 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 69680 | 69170 | 510 | 510 | 0.00051 | 351790 | 349750 | 2040 | 2040 | 0.00204
27 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 44910 | 44060 | 850 | 850 | 0.00085 | 574320 | 565939 | 8381 | 8381 | 0.008381
28 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 261000 | 254900 | 6100 | 6100 | 0.0061 | 1836000 | 1801400 | 34600 | 34600 | 0.0346
[10 empty] | 1.6043 |  |  |  |  | 0.11155
FEBRUARY-2023
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -6.2554 |  |  |  |  | -0.35047
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 1.6043 |  |  |  |  | 0.11155
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.54944 |  |  |  |  | -0.0032125
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -5.2005 |  |  |  |  | -0.24213
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -2.006 |  |  |  |  | -0.746
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -7.2065 |  |  |  |  | -0.98813
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -7.2065 | (REACTIVE MUs) |  |  |  | -0.98813 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.7746 | (REACTIVE MUs) |  |  |  | -0.016678 | (REACTIVE MUs)
[9 empty] | TOTAL | -5.4319 | (REACTIVE MUs) |  |  |  | -1.0048 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | FEBRUARY-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 971 | 1006 | -35 | -9333.45 | -0.0093335 | 2244 | 2245 | -1 | -266.67 | -0.00026667
2 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | 400 | 7896 | 7659 | 237 | 94800 | 0.0948 | 25 | 25 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 974150 | 974503 | -353 | -70600 | -0.0706 | 999384 | 999385 | -1 | -200 | -0.0002
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 872 | 919 | -47 | -47000 | -0.047 | 390 | 390 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 3593 | 3615 | -22 | -17600 | -0.0176 | 4780 | 4783 | -3 | -2400 | -0.0024 | upto 13.02.2023
[10 empty] | -0.00832 |  |  |  |  | -0.00096 | assessment 08 days
|  | 4865010 | ELSTER | Kvarh(Lead/Lag) | 800 | 999996 | 1000000 | -4 | -3200 | -0.0032 | 0 | 0 | 0 | 0 | 0 | w.e.f 21.02.23
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 1928 | 1987 | -59 | -47200 | -0.0472 | 1650 | 1650 | 0 | 0 | 0
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 943368 | 943931 | -563 | -450400 | -0.4504 | 988479 | 988499 | -20 | -16000 | -0.016
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992359 | 992367 | -8 | -16000 | -0.016 | 999109 | 999139 | -30 | -60000 | -0.06
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 952728 | 952728 | 0 | 0 | 0 | 27912 | 27912 | 0 | 0 | 0
12 | BAY-4 (E LANE) | 4865115 | ELSTER | Kvarh(Lead/Lag) | 100 | 999072 | 999164 | -92 | -9200 | -0.0092 | 2127 | 2230 | -103 | -10300 | -0.0103
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997778 | 997778 | 0 | 0 | 0 | 7609 | 7609 | 0 | 0 | 0
14 | BAY-10 (E LANE) | 4865121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999832 | 999838 | -6 | -600 | -0.0006 | 997406 | 997591 | -185 | -18500 | -0.0185
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 998349 | 998367 | -18 | -1800 | -0.0018 | 5448 | 5733 | -285 | -28500 | -0.0285
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11074 | 11074 | 0 | 0 | 0 | 42167 | 42166 | 1 | 1000 | 0.001
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 999999 | 1000168 | -169 | -16900 | -0.0169 | 883 | 920 | -37 | -3700 | -0.0037
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991924 | 991924 | 0 | 0 | 0 | 406 | 406 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 978327 | 978666 | -339 | -339000 | -0.339 | 2783 | 2783 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 997485 | 997550 | -65 | -162500 | -0.1625 | 81 | 81 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 994705 | 994940 | -235 | -587500 | -0.5875 | 461 | 461 | 0 | 0 | 0
[10 empty] | -1.089 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989966 | 990059 | -93 | -93000 | -0.093 | 2543 | 2543 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 2861 | 2861 | 0 | 0 | 0 | 38378 | 38602 | -224 | -35840 | -0.03584
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3855 | 3855 | 0 | 0 | 0 | 18797 | 18745 | 52 | 10400 | 0.0104
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 968845 | 969008 | -163 | -163000 | -0.163 | 999379 | 999380 | -1 | -1000 | -0.001
A.I.I.M.S.
27 | KILOKARI | 4865103 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 193 | 192 | 1 | -833.33 | -0.00083333 | 1404 | 1215 | 189 | -157499.37 | -0.1575
FEBRUARY-2023
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999881 | 999472 | 409 | -409000 | -0.409 | 989453 | 989453 | 0 | 0 | 0
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2310 | 1856 | 454 | -454000 | -0.454 | 995339 | 995339 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998287 | 998275 | 12 | -24000 | -0.024 | 995228 | 995227 | 1 | -2000 | -0.002
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 335 | 316 | 19 | -19000 | -0.019 | 992465 | 992463 | 2 | -2000 | -0.002
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 455 | 455 | 0 | 0 | 0 | 2627 | 2627 | 0 | 0 | 0
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 732 | 732 | 0 | 0 | 0 | 1749 | 1719 | 30 | 3000 | 0.003
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4956 | 4956 | 0 | 0 | 0 | 5081 | 5125 | -44 | -4400 | -0.0044
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21924 | 21924 | 0 | 0 | 0 | 5193 | 5226 | -33 | -16500 | -0.0165
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 269 | 149 | 120 | -120000 | -0.12 | 999973 | 999973 | 0 | 0 | 0
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997648 | 997832 | -184 | 184000 | 0.184 | 999915 | 999915 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | -100 | 1 | 1 | 0 | 0 | 0 | 999726 | 999773 | -47 | 4700 | 0.0047
4 | 11KV NDSE | 4865078 | ELSTER | Kvarh(Lead/Lag) | -100 | 4 | 4 | 0 | 0 | 0 | 2898 | 2865 | 33 | -3300 | -0.0033
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -2.7912 |  |  |  |  | -0.34427
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -2.7912 |  |  |  |  | -0.34427
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.081135 |  |  |  |  | -0.0034738
| TOTAL ENERGY TO NDMC | [8 empty] | -2.8723 |  |  |  |  | -0.34774

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2023
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 4293 | 4293 | 0 | 0 | 0 | 80421 | 80421 | 0 | 0 | 0
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999511 | 999525 | -14 | -2240 | -0.00224 | 32174 | 32180 | -6 | -960 | -0.00096
3 | KIRBY PLACE-1 | 4864815 | ELSTER | Kvarh(Lead/Lag) | 200 | 999909 | 999923 | -14 | -2800 | -0.0028 | 2412 | 2433 | -21 | -4200 | -0.0042
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999873 | 999879 | -6 | -2400 | -0.0024 | 19150 | 19186 | -36 | -14400 | -0.0144
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999363 | 999407 | -44 | -35200 | -0.0352 | 801 | 802 | -1 | -800 | -0.0008
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2407 | 2456 | -49 | -19600 | -0.0196 | 6649 | 6650 | -1 | -400 | -0.0004
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4865164 | ELSTER | Kvarh(Lead/Lag) | 666.667 | 999820 | 999821 | -1 | -666.667 | -0.00066667 | 445 | 493 | -48 | -32000.016 | -0.032
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1134 | 1134 | 0 | 0 | 0 | 232 | 273 | -41 | -41000 | -0.041
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.062907 |  |  |  |  | -0.09376
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 4208 | 4212 | -4 | -150 | -0.00015 | 41437 | 41179 | 258 | 9675 | 0.009675
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 79 | 79 | 0 | 0 | 0 | 1692 | 1692 | 0 | 0 | 0
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4406 | 4406 | 0 | 0 | 0 | 61028 | 60330 | 698 | 52350 | 0.05235
13 | SUBROTO PARK | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 27 | 27 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 783 | 783 | 0 | 0 | 0 | 5844 | 5958 | -114 | -8550 | -0.00855
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10286 | 10286 | 0 | 0 | 0 | 8571 | 8427 | 144 | 14400 | 0.0144
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | -0.00015 |  |  |  |  | 0.067875
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.062907 |  |  |  |  | -0.09376
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.063057 |  |  |  |  | -0.025885
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.063057 | (REACTIVE MUs) |  |  |  | -0.025885 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.10327 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.16633 | (REACTIVE MUs) |  |  |  | -0.025885 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2023
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 992040 | 992003 | 37 | 23125 | 0.023125 | 557 | 553 | 4 | 2500 | 0.0025
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999659 | 999658 | 1 | 500 | 0.0005 | 279 | 223 | 56 | 28000 | 0.028
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | 800 | 1238 | 1201 | 37 | 29600 | 0.0296 | 563 | 558 | 5 | 4000 | 0.004
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 69680 | 69170 | 510 | -510 | -0.00051 | 351790 | 349750 | 2040 | -2040 | -0.00204
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 44910 | 44060 | 850 | -850 | -0.00085 | 574320 | 565939 | 8381 | -8381 | -0.008381
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 261000 | 254900 | 6100 | -6100 | -0.0061 | 1836000 | 1801400 | 34600 | -34600 | -0.0346
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.045765 |  |  |  |  | -0.010521
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0016941 |  |  |  |  | 0
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.047459 |  |  |  |  | -0.010521

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2023
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 994131 | 994625 | -494 | -247000 | -0.247 | 999650 | 999651 | -1 | -500 | -0.0005
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 21318 | 22608 | -1290 | -129000 | -0.129 | 992268 | 992310 | -42 | -4200 | -0.0042
3 | O/G VISHAL-1 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 833.333 | 999937 | 999984 | -47 | -39166.651 | -0.039167 | 999991 | 999991 | 0 | 0 | 0
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997132 | 997302 | -170 | -159375 | -0.15937 | 999333 | 999334 | -1 | -937.5 | -0.0009375
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999382 | 999406 | -24 | 24000 | 0.024 | 998977 | 998978 | -1 | 1000 | 0.001
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993997 | 993883 | 114 | -57000 | -0.057 | 535 | 536 | -1 | 500 | 0.0005
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 210 | 207 | 3 | 900 | 0.0009 | 999992 | 1000006 | -14 | -4200 | -0.0042
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.60664 |  |  |  |  | -0.0083375
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 956311 | 958221 | -1910 | -382000 | -0.382 | 991379 | 991381 | -2 | -400 | -0.0004
9 | O/G DMS | 4864804 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 995373 | 996266 | -893 | -167437.5 | -0.16744 | 993630 | 993645 | -15 | -2812.5 | -0.0028125
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.54944 |  |  |  |  | -0.0032125
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 999678 | 1000221 | -543 | -678750 | -0.67875 | 998648 | 998649 | -1 | -1250 | -0.00125
11 | O/G 33KV RAMPURA-1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998993 | 999214 | -221 | -207187.5 | -0.20719 | 999624 | 999624 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 4864814 | ELSTER | Kvarh(Lead/Lag) | 125 | 996080 | 996912 | -832 | -104000 | -0.104 | 996666 | 996665 | 1 | 125 | 0.000125
13 | O/G 33KV RAMA ROAD | 4865123 | ELSTER | Kvarh(Lead/Lag) | 1250 | 999538 | 999646 | -108 | -135000 | -0.135 | 999978 | 999978 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998483 | 998656 | -173 | -173000 | -0.173 | 999664 | 999666 | -2 | -2000 | -0.002
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 1000 | 970302 | 972193 | -1891 | -1891000 | -1.891 | 990694 | 990705 | -11 | -11000 | -0.011
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 197 | 318 | -121 | 75625 | 0.075625 | 999796 | 999796 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 210 | 207 | 3 | -900 | -0.0009 | 999992 | 1000006 | -14 | 4200 | 0.0042
| TOTAL NDPL | [8 empty] | -3.1142 |  |  |  |  | -0.009925
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.60664 |  |  |  |  | -0.0083375
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.54944 |  |  |  |  | -0.0032125
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -3.1142 |  |  |  |  | -0.009925

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2023
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 28/02/2023 | INTIAL READING 01/02/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
A) | G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865015 | ELSTER | kvarh (Lead/lag) | 2000 | 9677 | 8740 | 937 | 1874000 | 1.874 | 999998 | 999998 | 0 | 0 | 0
2 | IBT-2 | 4864969 | ELSTER | kvarh (Lead/lag) | 2000 | 861 | 0 | 861 | 1722000 | 1.722 | 0 | 0 | 0 | 0 | 0 | w.e.f 02.02.2023
[10 empty] | 0.064 |  |  |  |  | 0 | assessment 1 day
[7 empty] | Total Generation at GT(IBT1+IBT2) = |  |  | 3.66 |  |  |  |  | 0
[7 empty] | Generation at feeders |  | = | -3.6772 |  |  |  |  | 0
[7 empty] | NET REACTIVE ENERGY at GT = |  |  | 7.3373 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for GT:
| NDPL | (DERC order = |  |  |  | 29.67 | % |  |  | 2.177 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 41.53 | % |  |  | 3.0472 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 22.74 | % |  |  | 1.6685 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 4.95 | % |  |  | 0.36319 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
B) | MSW BAWANA
1 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 852433 | 855515 | -3082 | 1541000 | 1.541 | 997810 | 997811 | -1 | 500 | 0.0005
[6 empty] | NET REACTIVE ENERGY at MSW BAWANA = |  |  |  | 1.541 |  |  |  |  | 0.0005
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 29.2 | % |  |  | 0.44997 |  |  |  |  | 0.000146
| BRPL | (DERC order = |  |  |  | 41.81 | % |  |  | 0.64429 |  |  |  |  | 0.00020905
| BYPL | (DERC order = |  |  |  | 23.9 | % |  |  | 0.3683 |  |  |  |  | 0.0001195
| NDMC | (DERC order = |  |  |  | 5.09 | % |  |  | 0.078437 |  |  |  |  | 2.545e-05
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
C) | PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | -750 | 184697 | 183601 | 1096 | -822000 | -0.822 | 999739 | 999739 | 0 | 0 | 0
2 | GT-II | 4902490 | ELSTER | kvarh (lag) | -1000 | 2675 | 1558 | 1117 | -1117000 | -1.117 | 0 | 0 | 0 | 0 | 0
3 | STG-III | 4902483 | ELSTER | kvarh (lag) | -750 | 993399 | 993675 | -276 | 207000 | 0.207 | 999391 | 999391 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at PRAGATI = |  | -1.732 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for PRAGATI :
| NDPL | (DERC order = |  |  |  | 19.28 | % |  |  | -0.33393 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 28.29 | % |  |  | -0.48998 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 16.07 | % |  |  | -0.27833 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 30.3 | % |  |  | -0.5248 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 6.06 | % |  |  | -0.10496 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
D) | EAST DELHI WASTE - Ghazipur
1 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 368503 | 370242 | -1739 | 173900 | 0.1739 | 984122 | 984122 | 0 | 0 | 0
[5 empty] | -100 | 358202 | 358929 | -727 | 72700 | 0.0727
[8 empty] | NET REACTIVE ENERGY at EDWMP = |  | 0.2466 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their Active Energy drawl(week No- 48 FY2022-23) for EDWMP-GHAZIPUR :
| NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 33.3803 | % |  |  | 0.082316 |  |  |  |  | 0
| BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.3196 | % |  |  | 0.099428 |  |  |  |  | 0
| BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 21.0775 | % |  |  | 0.051977 |  |  |  |  | 0
| NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.8503 | % |  |  | 0.0094948 |  |  |  |  | 0
| MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.685 | % |  |  | 0.0016892 |  |  |  |  | 0
| N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.687 | % |  |  | 0.0016941 |  |  |  |  | 0
E) | TEKHAND WASTE TO ENERGY PANT
1 | TEKHAND WASTE TO ENERGY PANT | Q0473785 | SECURE | kvarh (Lead/lag) | 240000 | -1.11 | -0.47 | -0.64 | -153600 | -0.1536 | -2.62 | -2.32 | -0.3 | -72000 | -0.072
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 30.09 | % |  |  | -0.046218 |  |  |  |  | -0.021665
| BRPL | (DERC order = |  |  |  | 41.72 | % |  |  | -0.064082 |  |  |  |  | -0.030038
| BYPL | (DERC order = |  |  |  | 23.33 | % |  |  | -0.035835 |  |  |  |  | -0.016798
| NDMC | (DERC order = |  |  |  | 4.86 | % |  |  | -0.007465 |  |  |  |  | -0.0034992
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
F) | TOTAL REACTIVE ENRGY DISTRIBUTION OF EACH DISCOM ON DELHI GENERATORS (A+B+C+D+E)
1) | NDPL |  |  |  | = |  |  |  |  | 2.3291 |  |  |  |  | -0.021519
2) | BRPL |  |  |  | = |  |  |  |  | 3.2368 |  |  |  |  | -0.029829
3) | BYPL |  |  |  | = |  |  |  |  | 1.7746 |  |  |  |  | -0.016678
4) | NDMC |  |  |  | = |  |  |  |  | -0.081135 |  |  |  |  | -0.0034738
5) | MES |  |  |  | = |  |  |  |  | -0.10327 |  |  |  |  | 0
6) | N.Railway |  |  |  | = |  |  |  |  | 0.0016941 |  |  |  |  | 0

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st FEBRUARY-2023 TO 28th FEBRUARY 2023
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -69.5514 | -0.81861
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -25.2834 | -1.6697
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -5.4319 | -1.0048
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -2.8723 | -0.34774
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.16633 | -0.025885
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.047459 | -0.010521
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system