## NDPL
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | -1000 | 368 | 367 | 1 | -1000 | -0.001 | 999367 | 999428 | -61 | 61000 | 0.061
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 96815 | 95969 | 846 | -1692000 | -1.692 | 5066 | 5066 | 0 | 0 | 0
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18167 | 17999 | 168 | -168000 | -0.168 | 999727 | 999723 | 4 | -4000 | -0.004
4 | Tx.4 | Q0491809 | Secure | Kvarh(Lead/Lag) | -1 | 383000 | 18000 | 365000 | -365000 | -0.365 | -1000 | 0 | -1000 | 1000 | 0.001
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 362 | 362 | 0 | 0 | 0 | 984404 | 984404 | 0 | 0 | 0
6 | Tx.2 | 4864896 | ELSTER | Kvarh(Lead/Lag) | -2000 | 70 | 66 | 4 | -8000 | -0.008 | 188 | 123 | 65 | -130000 | -0.13
[5 empty] | -2000 | [5 empty] | 552 | 542 | 10 | -20000 | -0.02
[15 empty] | -0.0456 | ASSESSMENT FOR 07 DAYS PT DISTURBED PERIOD
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33591 | 31699 | 1892 | -1892000 | -1.892 | 999665 | 999665 | 0 | 0 | 0
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43182 | 41209 | 1973 | -1973000 | -1.973 | 997783 | 997783 | 0 | 0 | 0
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30651 | 30507 | 144 | -144000 | -0.144 | 996598 | 996598 | 0 | 0 | 0
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 13212 | 13508 | -296 | 148000 | 0.148 | 812840 | 812841 | -1 | 500 | 0.0005
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11979 | 11254 | 725 | -725000 | -0.725 | 998342 | 998342 | 0 | 0 | 0
12 | Tx.-2 | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28855 | 25646 | 3209 | -3209000 | -3.209 | 1000003 | 999999 | 4 | -4000 | -0.004
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 64349 | 64141 | 208 | -208000 | -0.208 | 996471 | 996471 | 0 | 0 | 0
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 30877 | 30877 | 0 | 0 | 0 | 99999712 | 99999712 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 685543 | 690544 | -5001 | -5001000 | -5.001 | 999745 | 999745 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 719167 | 726168 | -7001 | -3500500 | -3.5005 | 999988 | 999988 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15940 | 15939 | 1 | -1000 | -0.001 | 998083 | 997977 | 106 | -106000 | -0.106
18 | Tx.2 | 4865008 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25071 | 25054 | 17 | -17000 | -0.017 | 359 | 353 | 6 | -6000 | -0.006 | check meter
|  | 4865043 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 51 | 0 | 51 | -51000 | -0.051 | w.e.f 20.04.2023
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62639 | 62606 | 33 | -33000 | -0.033 | 999442 | 999377 | 65 | -65000 | -0.065
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998624 | 998624 | 0 | 0 | 0 | 986493 | 986528 | -35 | -35000 | -0.035
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999569 | 999569 | 0 | 0 | 0 | 999623 | 999626 | -3 | -12000 | -0.012
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1965 | 1965 | 0 | 0 | 0 | 16993 | 16983 | 10 | 5000 | 0.005
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 91956 | 91926 | 30 | 1500 | 0.0015 | 421280 | 421277 | 3 | 150 | 0.00015
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998484 | 998484 | 0 | 0 | 0 | 993047 | 993085 | -38 | -38000 | -0.038
25 | INDER PURI-2 | 4865117 | ELSTER | Kvarh(Lead/Lag) | 1333.333 | 999993 | 999993 | 0 | 0 | 0 | 998104 | 998846 | -742 | -989333.086 | -0.98933
26 | Pandav Nagar | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999784 | 999797 | -13 | -13000 | -0.013 | 999979 | 999979 | 0 | 0 | 0
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 976726 | 977756 | -1030 | -1030000 | -1.03 | 997857 | 997857 | 0 | 0 | 0
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 884071 | 885913 | -1842 | -921000 | -0.921 | 999244 | 999244 | 0 | 0 | 0
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 991612 | 991586 | 26 | 6933.42 | 0.0069334 | 409 | 403 | 6 | 1600.02 | 0.0016
30 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 2000 | 4 | 4 | 0 | 0 | 0 | 40 | 32 | 8 | 16000 | 0.016
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60819 | 60529 | 290 | -290000 | -0.29 | 995660 | 995667 | -7 | 7000 | 0.007
32 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5440 | 4913 | 527 | -527000 | -0.527 | 999887 | 999887 | 0 | 0 | 0
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38657 | 37406 | 1251 | -2502000 | -2.502 | 999523 | 999523 | 0 | 0 | 0
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 93999 | 92379 | 1620 | -1620000 | -1.62 | 995683 | 995683 | 0 | 0 | 0
DSIDC BAWANA
35 | 66KV TX.1 | 4864892 | ELSTER | Kvarh(Lead/Lag) | -4000 | 14339 | 12889 | 1450 | -5800000 | -5.8 | 999998 | 999998 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 173623 | 171355 | 2268 | -2268000 | -2.268 | 998420 | 998420 | 0 | 0 | 0
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 386403 | 371186 | 15217 | -5072282.61 | -5.0723 | 266 | 266 | 0 | 0 | 0
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52400 | 49446 | 2954 | -5908000 | -5.908 | 999993 | 999993 | 0 | 0 | 0
ROHINI-II
38 | Tx.1 | 4864957 | ELSTER | Kvarh(Lead/Lag) | -2500 | 2206 | 1161 | 1045 | -2612500 | -2.6125 | 0 | 0 | 0 | 0 | 0
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 159399 | 156595 | 2804 | -2804000 | -2.804 | 2317 | 2317 | 0 | 0 | 0
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 16258000 | 15360000 | 898000 | -898000 | -0.898 | 2817000 | 2817000 | 0 | 0 | 0
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 49054000 | 46331000 | 2723000 | -2723000 | -2.723 | 2799000 | 2799000 | 0 | 0 | 0
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 42283 | 40521 | 1762 | -1762000 | -1.762 | 997783 | 997783 | 0 | 0 | 0
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 61118 | 60637 | 481 | -481000 | -0.481 | 764 | 764 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993877 | 994147 | -270 | -270000 | -0.27 | 24701 | 24719 | -18 | -18000 | -0.018
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | APRIL-2023
DMS
45 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | 300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 999798 | 999826 | -28 | -2800 | -0.0028
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3195 | 3195 | 0 | 0 | 0 | 34569 | 36279 | -1710 | -171000 | -0.171
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 744 | 744 | 0 | 0 | 0 | 626 | 624 | 2 | 2666 | 0.002666
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 292 | 288 | 4 | 400 | 0.0004 | 3669 | 3599 | 70 | 7000 | 0.007
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865093 | ELSTER | Kvarh(Lead/Lag) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1637 | 1647 | -10 | -1000 | -0.001 | 9670 | 9505 | 165 | 16500 | 0.0165
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999808 | 999806 | 2 | 1000 | 0.001 | 2442 | 2441 | 1 | 500 | 0.0005
57 | DCM NO.2 | 4902555 | ELSTER | Kvarh(Lead/Lag) | 500 | 999962 | 999972 | -10 | -5000 | -0.005 | 1 | 0 | 1 | 500 | 0.0005
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1145 | 1143 | 2 | 1000 | 0.001 | 1579 | 1567 | 12 | 6000 | 0.006
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 992790 | 992790 | 0 | 0 | 0 | 2918 | 2903 | 15 | 1500 | 0.0015
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999999 | 999999 | 0 | 0 | 0 | 12 | 2 | 10 | 13333.3 | 0.013333
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 16284 | 16140 | 144 | 14400 | 0.0144 | 6472 | 6453 | 19 | 1900 | 0.0019
62 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | 100 | 503 | 406 | 97 | 9700 | 0.0097 | 88 | 82 | 6 | 600 | 0.0006
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 59144 | 59279 | -135 | -13500 | -0.0135 | 2532 | 2532 | 0 | 0 | 0
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 430 | 430 | 0 | 0 | 0 | 975 | 963 | 12 | 1599.96 | 0.0016
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 12 | 12 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | -400 | 999999 | 999999 | 0 | 0 | 0 | 999999 | 1000000 | -1 | 400 | 0.0004
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999893 | 999893 | 0 | 0 | 0 | 999459 | 999459 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 933428 | 934477 | -1049 | -839200 | -0.8392 | 999698 | 999698 | 0 | 0 | 0
69 | GHEWARA | 4865032 | ELSTER | Kvarh(Lead/Lag) | 800 | 994186 | 995478 | -1292 | -1033600 | -1.0336 | 999999 | 999999 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 957933 | 958670 | -737 | -147400 | -0.1474 | 2049 | 2049 | 0 | 0 | 0
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 988564 | 988884 | -320 | -80000 | -0.08 | 857 | 857 | 0 | 0 | 0
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979359 | 979386 | -27 | -27000 | -0.027 | 2020 | 2039 | -19 | -19000 | -0.019
73 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | 281.25 | 999576 | 999590 | -14 | -3937.5 | -0.0039375 | 999999 | 999999 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -58.407 |  |  |  |  | -1.572
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-2023
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 307 | 307 | 0 | 0 | 0 | 1649 | 1581 | 68 | -6800 | -0.0068
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 623 | 611 | 12 | -9600 | -0.0096 | 639 | 639 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 78 | 81 | -3 | 3999.99 | 0.004 | 4 | 4 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 6154 | 5993 | 161 | -21466.13 | -0.021466 | 8037 | 8037 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 996308 | 996389 | -81 | 15187.5 | 0.015187 | 998457 | 998457 | 0 | 0 | 0
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 893913 | 894502 | -589 | 471200 | 0.4712 | 997618 | 997618 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 992037 | 992050 | -13 | 8125 | 0.008125 | 560 | 557 | 3 | -1875 | -0.001875
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999570 | 999577 | -7 | 3500 | 0.0035 | 285 | 281 | 4 | -2000 | -0.002
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 991433 | 991453 | -20 | 4000 | 0.004 | 20568 | 20561 | 7 | -1400 | -0.0014
11 | VISHAL-2 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -937.5 | 999972 | 999976 | -4 | 3750 | 0.00375 | 999990 | 999999 | -9 | 8437.5 | 0.0084375
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 980841 | 980857 | -16 | 3000 | 0.003 | 3378 | 3419 | -41 | 7687.5 | 0.0076875
13 | 20MVATX-III | 4865094 | ELSTER | Kvarh(Lead/Lag) | -1875 | 999998 | 999998 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
|  | 4865080 | ELSTER | Kvarh(Lead/Lag) | -2500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 27.04.2023
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 993026 | 993042 | -16 | 1600 | 0.0016 | 30601 | 30601 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.4833 |  |  |  |  | 0.00405
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -58.407 |  |  |  |  | -1.572
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.4833 |  |  |  |  | 0.00405
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -1.5185 |  |  |  |  | -0.0014
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -59.4422 |  |  |  |  | -1.5693
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -59.4422 | (REACTIVE MUs) |  |  |  | -1.5693 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 4.0659 | (REACTIVE MUs) |  |  |  | 0.0064994 | (REACTIVE MUs)
[9 empty] | TOTAL | -55.3763 | (REACTIVE MUs) |  |  |  | -1.5628 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | APRIL-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997806 | 997806 | 0 | 0 | 0 | 993249 | 994099 | -850 | -850000 | -0.85
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998506 | 998506 | 0 | 0 | 0 | 998265 | 998464 | -199 | -199000 | -0.199
3 | BAY-13 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 200 | 999434 | 999434 | 0 | 0 | 0 | 985988 | 988615 | -2627 | -525400 | -0.5254
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999790 | 999790 | 0 | 0 | 0 | 998787 | 999095 | -308 | -410665.64 | -0.41067
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997306 | 997306 | 0 | 0 | 0 | 999050 | 999211 | -161 | -241500 | -0.2415
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 10345 | 10345 | 0 | 0 | 0 | 18588 | 18633 | -45 | -59999.85 | -0.06 | CT changed from 300/5 to 800/1A.
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994508 | 994508 | 0 | 0 | 0 | 995789 | 995815 | -26 | -26000 | -0.026
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990609 | 990609 | 0 | 0 | 0 | 985580 | 985744 | -164 | -164000 | -0.164 | CT changed from 300/5 to 800/1A.
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 999997 | 999997 | 0 | 0 | 0 | 999730 | 999736 | -6 | -4800 | -0.0048
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988555 | 988555 | 0 | 0 | 0 | 264941 | 264982 | -41 | -54666.53 | -0.054667
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 952 | 952 | 0 | 0 | 0 | 999949 | 999949 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34255 | 34143 | 112 | -112000 | -0.112 | 996639 | 996639 | 0 | 0 | 0
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5289 | 5289 | 0 | 0 | 0 | 996233 | 996247 | -14 | 28000 | 0.028
14 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1650 | 1650 | 0 | 0 | 0 | 993457 | 993507 | -50 | 50000 | 0.05
PAAPANKALAN-II
15 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 157805 | 157701 | 104 | -104000 | -0.104 | 23894 | 23894 | 0 | 0 | 0
16 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13024 | 12720 | 304 | -304000 | -0.304 | 999410 | 999410 | 0 | 0 | 0
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38462 | 38462 | 0 | 0 | 0 | 1747 | 1592 | 155 | -310000 | -0.31
18 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3977 | 3991 | -14 | 28000 | 0.028 | 999658 | 999658 | 0 | 0 | 0
PAAPANKALAN-III
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 131092 | 131086 | 6 | -4800 | -0.0048 | 10593 | 10594 | -1 | 800 | 0.0008
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 128127 | 127598 | 529 | -423200 | -0.4232 | 5695 | 5695 | 0 | 0 | 0
NAJAFGARH
21 | Tx.1 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -2500 | 1 | 1 | 0 | 0 | 0 | 999966 | 999999 | -33 | 82500 | 0.0825
22 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 952699 | 952676 | 23 | -46000 | -0.046 | 990469 | 990892 | -423 | 846000 | 0.846
23 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 908574 | 908576 | -2 | 4000 | 0.004 | 971016 | 971051 | -35 | 70000 | 0.07
24 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11607 | 11607 | 0 | 0 | 0 | 995796 | 995796 | 0 | 0 | 0
R.K.PURAM
25 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997329 | 997430 | -101 | 101000 | 0.101 | 997231 | 997231 | 0 | 0 | 0
26 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981222 | 981331 | -109 | 109000 | 0.109 | 999858 | 999858 | 0 | 0 | 0
27 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 293422 | 293381 | 41 | -41000 | -0.041 | 125038 | 125036 | 2 | -2000 | -0.002
28 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7885 | 7880 | 5 | -10000 | -0.01 | 548 | 547 | 1 | -2000 | -0.002
IMPORT
MANGOLPURI
29 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 623 | 611 | 12 | 9600 | 0.0096 | 639 | 639 | 0 | 0 | 0
LODHI ROAD
30 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 933775 | 933775 | 0 | 0 | 0 | 965240 | 965240 | 0 | 0 | 0
31 | Tx.2 | 5269749 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996394 | 996586 | -192 | 192000 | 0.192 | 999513 | 999513 | 0 | 0 | 0
32 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 900 | 854 | 46 | -46000 | -0.046 | 8 | 8 | 0 | 0 | 0
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 41353 | 41348 | 5 | -4000 | -0.004 | 2630 | 2598 | 32 | -25600 | -0.0256
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 63124 | 63120 | 4 | -6400 | -0.0064 | 50905 | 50882 | 23 | -36800 | -0.0368
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -2000 | 95 | 95 | 0 | 0 | 0 | 83 | 69 | 14 | -28000 | -0.028
36 | Tx.2 (66 KV)-circuit no. 2 | 4864947 | ELSTER | Kvarh(Lead/Lag) | -1000 | 403 | 403 | 0 | 0 | 0 | 998139 | 998327 | -188 | 188000 | 0.188
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24098 | 24093 | 5 | -5000 | -0.005 | 31329 | 31333 | -4 | 4000 | 0.004
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5527 | 5449 | 78 | -78000 | -0.078 | 996772 | 996772 | 0 | 0 | 0
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1226 | 1214 | 12 | -12000 | -0.012 | 1241 | 1266 | -25 | 25000 | 0.025
BRPL(+) continue | [14 empty] | APRIL-2023
VASANT KUNJ
40 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6186 | 5863 | 323 | -323000 | -0.323 | 999943 | 999943 | 0 | 0 | 0
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24819 | 24493 | 326 | -326000 | -0.326 | 343 | 343 | 0 | 0 | 0
42 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39494 | 39465 | 29 | -29000 | -0.029 | 996667 | 996667 | 0 | 0 | 0
MEHRAULI
43 | Tx.1 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7439 | 7011 | 428 | -428000 | -0.428 | 2435 | 2436 | -1 | 1000 | 0.001
44 | Tx.2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | -500 | 15718 | 14736 | 982 | -491000 | -0.491 | 1086 | 1089 | -3 | 1500 | 0.0015
45 | Tx.3 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -2500 | 2432 | 2241 | 191 | -477500 | -0.4775 | 863 | 863 | 0 | 0 | 0
46 | Tx.4 | 4865042 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4325 | 4094 | 231 | -462000 | -0.462 | 638 | 638 | 0 | 0 | 0
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 98404 | 97242 | 1162 | -1162000 | -1.162 | 997109 | 997109 | 0 | 0 | 0
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 69450 | 68270 | 1180 | -2360000 | -2.36 | 999373 | 999373 | 0 | 0 | 0
DIAL
49 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 9278 | 8975 | 303 | -454500 | -0.4545 | 30 | 30 | 0 | 0 | 0
50 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14434 | 14013 | 421 | -421000 | -0.421 | 999974 | 999974 | 0 | 0 | 0
MASJID MOD
51 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996904 | 996900 | 4 | -4000 | -0.004 | 999840 | 999840 | 0 | 0 | 0
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991443 | 991446 | -3 | 3000 | 0.003 | 994546 | 994546 | 0 | 0 | 0
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989660 | 989682 | -22 | 22000 | 0.022 | 986865 | 986865 | 0 | 0 | 0
MUNDKA
54 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 993875 | 993878 | -3 | -12000 | -0.012 | 999990 | 999990 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 963082 | 963374 | -292 | -233600 | -0.2336 | 634 | 634 | 0 | 0 | 0
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 907591 | 908520 | -929 | -743200 | -0.7432 | 999431 | 999431 | 0 | 0 | 0
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999690 | 999723 | -33 | -66000 | -0.066 | 0 | 0 | 0 | 0 | 0
|  | 4864985 | ELSTER | Kvarh(Lead/Lag) | 800 | 22 | 0 | 22 | 17600 | 0.0176 | 0 | 0 | 0 | 0 | 0 | w.e.f 20.04.2023
59 | BAY No 612 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 992896 | 993089 | -193 | -154400 | -0.1544 | 52 | 52 | 0 | 0 | 0
60 | 66KV Nilothi Ckt-1 | 5128428 | ELSTER | Kvarh(Lead/Lag) | 800 | 986073 | 987379 | -1306 | -1044800 | -1.0448 | 999896 | 999895 | 1 | 800 | 0.0008
61 | 66KV Nilothi Ckt-2 | 4864926 | ELSTER | Kvarh(Lead/Lag) | 800 | 986584 | 988817 | -2233 | -1786400 | -1.7864 | 999982 | 999982 | 0 | 0 | 0
PARK STREET
63 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 986645 | 986645 | 0 | 0 | 0 | 998514 | 998514 | 0 | 0 | 0
SARITA VIHAR
64 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 127354 | 125021 | 2333 | -4666000 | -4.666 | 6926 | 6926 | 0 | 0 | 0
64 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19353 | 19244 | 109 | -109000 | -0.109 | 5307 | 5271 | 36 | -36000 | -0.036
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 142104 | 141860 | 244 | -244000 | -0.244 | 3099 | 3099 | 0 | 0 | 0
NARAINA
66 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 307 | 307 | 0 | 0 | 0 | 1649 | 1581 | 68 | 6800 | 0.0068
SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 996308 | 996389 | -81 | -15187.5 | -0.015187 | 998457 | 998457 | 0 | 0 | 0
68 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998267 | 998305 | -38 | -38000 | -0.038 | 437 | 437 | 0 | 0 | 0
69 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997828 | 997873 | -45 | -45000 | -0.045 | 373 | 373 | 0 | 0 | 0
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 893913 | 894502 | -589 | -471200 | -0.4712 | 997618 | 997618 | 0 | 0 | 0
Trauma Centre
71 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 759 | 573 | 186 | 186000 | 0.186 | 999973 | 999973 | 0 | 0 | 0
72 | IIT CIRCUIT | 4864872 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997165 | 997237 | -72 | -72000 | -0.072 | 999915 | 999915 | 0 | 0 | 0
A.I.I.M.S.
73 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 1 | -1 | -100 | -0.0001 | 999649 | 999706 | -57 | -5700 | -0.0057
74 | 11KV NDSE | 4865066 | ELSTER | Kvarh(Lead/Lag) | 200 | 0 | 0 | 0 | 0 | 0 | 1000005 | 999996 | 9 | 1800 | 0.0018
PEERGARHI
75 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 8171 | 8248 | -77 | -38500 | -0.0385 | 3095 | 3095 | 0 | 0 | 0
76 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994303 | 994425 | -122 | -122000 | -0.122 | 4209 | 4209 | 0 | 0 | 0
77 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980499 | 980596 | -97 | -97000 | -0.097 | 553 | 553 | 0 | 0 | 0
78 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7473 | 7498 | -25 | -25000 | -0.025 | 6924 | 6924 | 0 | 0 | 0
79 | PASCHIM PURI - I (L-7) | 4865064 | ELSTER | Kvarh(Lead/Lag) | 150 | 993846 | 994065 | -219 | -32850 | -0.03285 | 241 | 241 | 0 | 0 | 0
80 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 997220 | 997380 | -160 | -16000 | -0.016 | 912140 | 912140 | 0 | 0 | 0
81 | MUKHERJEE PARK - I | 4864790 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2560 | 1897 | 663 | 176802.21 | 0.1768 | 642 | 642 | 0 | 0 | 0
82 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5346 | 5347 | -1 | -1000 | -0.001 | 7984 | 7982 | 2 | 2000 | 0.002
REWARI LINE
83 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 991433 | 991453 | -20 | -4000 | -0.004 | 20568 | 20561 | 7 | 1400 | 0.0014
84 | VISHAL-2 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999972 | 999976 | -4 | -3750 | -0.00375 | 999990 | 999999 | -9 | -8437.5 | -0.0084375
85 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 980841 | 980857 | -16 | -3000 | -0.003 | 3378 | 3419 | -41 | -7687.5 | -0.0076875
86 | 20MVATX-III | 4865094 | ELSTER | Kvarh(Lead/Lag) | 1875 | 999998 | 999998 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
|  | 4865080 | ELSTER | Kvarh(Lead/Lag) | 2500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 27.04.2023
87 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 993026 | 993042 | -16 | -1600 | -0.0016 | 30601 | 30601 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -17.331 |  |  |  |  | -1.6887
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-2023
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21916 | 21919 | -3 | 1500 | 0.0015 | 5271 | 5206 | 65 | -32500 | -0.0325
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992418 | 992418 | 0 | 0 | 0 | 7141 | 7375 | -234 | 31199.22 | 0.031199
4 | KHYBER LANE-1 EXP. | 4865164 | ELSTER | Kvarh(Lead/Lag) | -666.667 | 999819 | 999819 | 0 | 0 | 0 | 414 | 418 | -4 | 2666.668 | 0.0026667
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1133 | 1133 | 0 | 0 | 0 | 182 | 205 | -23 | 23000 | 0.023
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989657 | 989831 | -174 | 174000 | 0.174 | 2543 | 2543 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 2856 | 2856 | 0 | 0 | 0 | 38580 | 38401 | 179 | -28640 | -0.02864
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3854 | 3854 | 0 | 0 | 0 | 18995 | 18886 | 109 | -21800 | -0.0218
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968419 | 968666 | -247 | 247000 | 0.247 | 999378 | 999378 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 731 | 731 | 0 | 0 | 0 | 1974 | 1765 | 209 | -20900 | -0.0209
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4955 | 4947 | 8 | -800 | -0.0008 | 5229 | 5083 | 146 | -14600 | -0.0146
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4865103 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 193 | 193 | 0 | 0 | 0 | 1541 | 1426 | 115 | 95832.95 | 0.095833
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 455 | 455 | 0 | 0 | 0 | 2732 | 2627 | 105 | -65625 | -0.065625
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 999998 | 999998 | 0 | 0 | 0 | 999798 | 999826 | -28 | 2800 | 0.0028
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3195 | 3195 | 0 | 0 | 0 | 34569 | 36279 | -1710 | 171000 | 0.171
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 744 | 744 | 0 | 0 | 0 | 626 | 624 | 2 | -2666 | -0.002666
21 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 292 | 288 | 4 | -400 | -0.0004 | 3669 | 3599 | 70 | -7000 | -0.007
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1637 | 1647 | -10 | 1000 | 0.001 | 9670 | 9505 | 165 | -16500 | -0.0165 | s
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | 400 | 999999 | 999999 | 0 | 0 | 0 | 999999 | 1000000 | -1 | -400 | -0.0004
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999893 | 999893 | 0 | 0 | 0 | 999459 | 999459 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -800 | 1548 | 1327 | 221 | -176800 | -0.1768 | 565 | 565 | 0 | 0 | 0
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979359 | 979386 | -27 | 27000 | 0.027 | 2020 | 2039 | -19 | 19000 | 0.019
30 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | -281.25 | 999576 | 999590 | -14 | 3937.5 | 0.0039375 | 999999 | 999999 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.27644 |  |  |  |  | 0.13487
APRIL-2023
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -17.331 |  |  |  |  | -1.6887
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.27644 |  |  |  |  | 0.13487
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.20089 |  |  |  |  | 0.0066875
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0029625 |  |  |  |  | -0.0748
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -17.2584 |  |  |  |  | -1.6219
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -17.2584 | (REACTIVE MUs) |  |  |  | -1.6219 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 5.6943 | (REACTIVE MUs) |  |  |  | 0.0090115 | (REACTIVE MUs)
[9 empty] | TOTAL | -11.5641 | (REACTIVE MUs) |  |  |  | -1.6129 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | APRIL-2023
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36293 | 36293 | 0 | 0 | 0 | 990618 | 991660 | -1042 | -278214 | -0.27821
2 | KAMLA MKT.B-30 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 0 | 0 | 0 | 0 | 0 | 999754 | 1000006 | -252 | -1008000 | -1.008
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 24929 | 24929 | 0 | 0 | 0 | 35019 | 35087 | -68 | -9066.44 | -0.0090664
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999603 | 999603 | 0 | 0 | 0 | 999399 | 999591 | -192 | -192000 | -0.192
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 89 | 89 | 0 | 0 | 0 | 999906 | 999913 | -7 | -11200 | -0.0112
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18375 | 18375 | 0 | 0 | 0 | 5053 | 4901 | 152 | 202666.16 | 0.20267
7 | MINTO RD. B-34 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 999340 | 999340 | 0 | 0 | 0 | 998478 | 998263 | 215 | 43000 | 0.043
RPH
8 | KAMLA MKT.-2 | 4864868 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996412 | 996414 | -2 | -2000 | -0.002 | 998961 | 998961 | 0 | 0 | 0 | check meter
|  | 4865183 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999999 | 1000000 | -1 | -4000 | -0.004 | 999998 | 1000000 | -2 | -8000 | -0.008 | w.e.f 14.04.23
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 982866 | 982885 | -19 | -9500 | -0.0095 | 262 | 263 | -1 | -500 | -0.0005
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997233 | 997244 | -11 | -11000 | -0.011 | 999837 | 999837 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982573 | 982587 | -14 | -14000 | -0.014 | 1091 | 1091 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4865120 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999968 | 999968 | 0 | 0 | 0 | 1000056 | 999975 | 81 | 107999.73 | 0.108
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993383 | 993386 | -3 | -3000 | -0.003 | 995239 | 995251 | -12 | -12000 | -0.012
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992501 | 992501 | 0 | 0 | 0 | 999977 | 1000036 | -59 | -59000 | -0.059
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994334 | 994334 | 0 | 0 | 0 | 6992 | 7099 | -107 | -85600 | -0.0856
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 14239 | 14220 | 19 | 2533.27 | 0.0025333 | 8348 | 8344 | 4 | 533.32 | 0.00053332
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 29 | 29 | 0 | 0 | 0 | 999820 | 999820 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 400 | 403 | -3 | -3000 | -0.003 | 16903 | 16904 | -1 | -1000 | -0.001
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 945805 | 947148 | -1343 | -1678750 | -1.6787 | 947183 | 947183 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 927502 | 929919 | -2417 | -2417000 | -2.417 | 933516 | 933516 | 0 | 0 | 0
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992600 | 992639 | -39 | -39000 | -0.039 | 998682 | 998682 | 0 | 0 | 0 | upto 17.04.2023
|  | 4865049 | ELSTER | Kvarh(Lead/Lag) | 1000 | 615 | 619 | -4 | -4000 | -0.004 | 1 | 1 | 0 | 0 | 0 | check meter 17/04-28/04
|  | 4865027 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999923 | 1000000 | -77 | -77000 | -0.077 | 0 | 0 | 0 | 0 | 0 | w.e.f 28.04.2023
| KASHMIRI GATE | [8 empty] | -4.2157 |  |  |  |  | 0
22 | 100 MVA TX.-1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985040 | 985041 | -1 | 1000 | 0.001 | 991784 | 991785 | -1 | 1000 | 0.001 | check meter
|  | 4902505 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999948 | 1000000 | -52 | 52000 | 0.052 | w.e.f 11.04.2023
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6598 | 6580 | 18 | -18000 | -0.018 | 997802 | 997807 | -5 | 5000 | 0.005
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 12 | 12 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998892 | 998892 | 0 | 0 | 0 | 12589 | 12174 | 415 | 415000 | 0.415
PARK STREET
26 | TX.-1 (66KV) | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3613 | 3188 | 425 | -425000 | -0.425 | 82 | 28 | 54 | -54000 | -0.054
27 | TX.-2(66KV) | 4902495 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1202 | 1202 | 0 | 0 | 0 | 1475 | 1467 | 8 | -8000 | -0.008
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11774 | 11574 | 200 | -200000 | -0.2 | 998981 | 998987 | -6 | 6000 | 0.006
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7026 | 6984 | 42 | -42000 | -0.042 | 998036 | 998036 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 125175 | 125175 | 0 | 0 | 0 | 982693 | 982681 | 12 | -12000 | -0.012
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 97159 | 97159 | 0 | 0 | 0 | 361 | 335 | 26 | -26000 | -0.026
32 | TX.-3 (66KV) | 4864830 | ELSTER | Kvarh(Lead/Lag) | -5000 | 3063 | 3061 | 2 | -10000 | -0.01 | 0 | 0 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 78 | 81 | -3 | -3999.99 | -0.004 | 4 | 4 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 6154 | 5993 | 161 | 21466.13 | 0.021466 | 8037 | 8037 | 0 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992418 | 992418 | 0 | 0 | 0 | 7141 | 7375 | -234 | -31122 | -0.031122
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975091 | 975081 | 10 | -10000 | -0.01 | 990270 | 990233 | 37 | -37000 | -0.037
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961977 | 961965 | 12 | -12000 | -0.012 | 969524 | 969515 | 9 | -9000 | -0.009
DEV NAGAR
39 | TX.-3 (33KV) | Q0487636 | Secure | Kvarh(Lead/Lag) | -1 | -3000 | 0 | -3000 | 3000 | 0.003 | 0 | 0 | 0 | 0 | 0
40 | TX.-4 (33KV) | Q0487633 | Secure | Kvarh(Lead/Lag) | -1 | 2000 | 0 | 2000 | -2000 | -0.002 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -4.9573 |  |  |  |  | -1.0085
| (A) NET ENERGY TO CENTRAL | [8 empty] | -4.9573 |  |  |  |  | -1.0085
APRIL-2023
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 613 | 611 | 2 | -2000 | -0.002 | 140 | 135 | 5 | -5000 | -0.005
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982056 | 982055 | 1 | -1000 | -0.001 | 931299 | 931289 | 10 | -10000 | -0.01
3 | Tx.3 | 5100230 | ELSTER | Kvarh(Lead/Lag) | -1000 | 262 | 262 | 0 | 0 | 0 | 12 | 11 | 1 | -1000 | -0.001
4 | Tx.4 | 4864812 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2541 | 2496 | 45 | -45000 | -0.045 | 999718 | 999725 | -7 | 7000 | 0.007
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41702 | 41701 | 1 | -1000 | -0.001 | 998194 | 998172 | 22 | -22000 | -0.022
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 24521 | 24509 | 12 | -6000 | -0.006 | 665 | 660 | 5 | -2500 | -0.0025
7 | 100 MVA Tx.1 (33 KV) | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 530 | 527 | 3 | -3000 | -0.003 | 999992 | 999990 | 2 | -2000 | -0.002
8 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 45703 | 45703 | 0 | 0 | 0 | 999419 | 999420 | -1 | 1000 | 0.001
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1987 | 1983 | 4 | -4000 | -0.004 | 24 | 22 | 2 | -2000 | -0.002
GEETA COLONY
10 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973049 | 972937 | 112 | -112000 | -0.112 | 968054 | 968077 | -23 | 23000 | 0.023
11 | I/C-II | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1074 | 1052 | 22 | -22000 | -0.022 | 999975 | 999985 | -10 | 10000 | 0.01
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 13810 | 13764 | 46 | -230000 | -0.23 | 220 | 217 | 3 | -15000 | -0.015
13 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29515 | 28668 | 847 | -847000 | -0.847 | 117 | 117 | 0 | 0 | 0
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9808 | 8947 | 861 | -861000 | -0.861 | 6 | 6 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -2.134 |  |  |  |  | -0.0185
| (B) NET ENERGY TO EAST | [8 empty] | -2.134 |  |  |  |  | -0.0185
APRIL-2023
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 991612 | 991586 | 26 | -6933.42 | -0.0069334 | 409 | 403 | 6 | -1600.02 | -0.0016
2 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4 | 4 | 0 | 0 | 0 | 40 | 32 | 8 | -16000 | -0.016
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 804 | 855 | -51 | 13599.66 | 0.0136 | 2244 | 2244 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | -100 | 9424 | 8914 | 510 | -51000 | -0.051 | 31 | 25 | 6 | -600 | -0.0006
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 973058 | 973392 | -334 | 66800 | 0.0668 | 999385 | 999384 | 1 | -200 | -0.0002
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 769 | 765 | 4 | -4000 | -0.004 | 390 | 390 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4865010 | ELSTER | Kvarh(Lead/Lag) | -800 | 999991 | 999992 | -1 | 800 | 0.0008 | 27 | 4 | 23 | -18400 | -0.0184
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 1858 | 1867 | -9 | 7200 | 0.0072 | 1643 | 1648 | -5 | 4000 | 0.004
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 942594 | 942730 | -136 | 108800 | 0.1088 | 988452 | 988470 | -18 | 14400 | 0.0144
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992345 | 992346 | -1 | 2000 | 0.002 | 999063 | 999093 | -30 | 60000 | 0.06
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 986645 | 986645 | 0 | 0 | 0 | 998514 | 998514 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993877 | 994147 | -270 | 270000 | 0.27 | 24701 | 24719 | -18 | 18000 | 0.018
DMS
15 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | -300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999808 | 999806 | 2 | -1000 | -0.001 | 2442 | 2441 | 1 | -500 | -0.0005
18 | DCM NO.2 | 4902555 | ELSTER | Kvarh(Lead/Lag) | -500 | 999962 | 999972 | -10 | 5000 | 0.005 | 1 | 0 | 1 | -500 | -0.0005
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1145 | 1143 | 2 | -1000 | -0.001 | 1579 | 1567 | 12 | -6000 | -0.006
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 59144 | 59279 | -135 | 13500 | 0.0135 | 2532 | 2532 | 0 | 0 | 0
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 430 | 430 | 0 | 0 | 0 | 975 | 963 | 12 | -1599.96 | -0.0016
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 992790 | 992790 | 0 | 0 | 0 | 2918 | 2903 | 15 | -1500 | -0.0015
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902599 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 999999 | 999999 | 0 | 0 | 0 | 12 | 2 | 10 | -13333.3 | -0.013333
24 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 16284 | 16140 | 144 | -14400 | -0.0144 | 6472 | 6453 | 19 | -1900 | -0.0019
25 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | -100 | 503 | 406 | 97 | -9700 | -0.0097 | 88 | 82 | 6 | -600 | -0.0006
FED FROM BYPL (RLY.)
26 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 73780 | 72300 | 1480 | 1480 | 0.00148 | 362489 | 352320 | 10169 | 10169 | 0.010169
27 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 45370 | 44910 | 460 | 460 | 0.00046 | 592819 | 583320 | 9499 | 9499 | 0.009499
28 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 266400 | 261000 | 5400 | 5400 | 0.0054 | 1924700 | 1875100 | 49600 | 49600 | 0.0496
[10 empty] | 0.40701 |  |  |  |  | 0.10293
APRIL-2023
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -4.9573 |  |  |  |  | -1.0085
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 0.40701 |  |  |  |  | 0.10293
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.090938 |  |  |  |  | -0.0020625
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -4.6412 |  |  |  |  | -0.90763
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -2.134 |  |  |  |  | -0.0185
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -6.7752 |  |  |  |  | -0.92613
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -6.7752 | (REACTIVE MUs) |  |  |  | -0.92613 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 3.1226 | (REACTIVE MUs) |  |  |  | 0.0050393 | (REACTIVE MUs)
[9 empty] | TOTAL | -3.6526 | (REACTIVE MUs) |  |  |  | -0.92109 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 804 | 855 | -51 | -13600.17 | -0.0136 | 2244 | 2244 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | 100 | 9424 | 8914 | 510 | 51000 | 0.051 | 31 | 25 | 6 | 600 | 0.0006
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 973058 | 973392 | -334 | -66800 | -0.0668 | 999385 | 999384 | 1 | 200 | 0.0002
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 769 | 765 | 4 | 4000 | 0.004 | 390 | 390 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4865010 | ELSTER | Kvarh(Lead/Lag) | 800 | 999991 | 999992 | -1 | -800 | -0.0008 | 27 | 4 | 23 | 18400 | 0.0184
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 1858 | 1867 | -9 | -7200 | -0.0072 | 1643 | 1648 | -5 | -4000 | -0.004
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 942594 | 942730 | -136 | -108800 | -0.1088 | 988452 | 988470 | -18 | -14400 | -0.0144
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992345 | 992346 | -1 | -2000 | -0.002 | 999063 | 999093 | -30 | -60000 | -0.06
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 952727 | 952727 | 0 | 0 | 0 | 24216 | 26395 | -2179 | -108950 | -0.10895
12 | BAY-4 (E LANE) | 4865115 | ELSTER | Kvarh(Lead/Lag) | 100 | 998975 | 998975 | 0 | 0 | 0 | 607 | 1641 | -1034 | -103400 | -0.1034
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997778 | 997778 | 0 | 0 | 0 | 7910 | 7643 | 267 | 133500 | 0.1335
14 | BAY-10 (E LANE) | 4865121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999830 | 999830 | 0 | 0 | 0 | 996568 | 996687 | -119 | -11900 | -0.0119
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 998338 | 998338 | 0 | 0 | 0 | 4213 | 4359 | -146 | -194666.18 | -0.19467 | CT changed from 300/5 to 800/1A.
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11074 | 11074 | 0 | 0 | 0 | 42517 | 42263 | 254 | 254000 | 0.254
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 999862 | 999862 | 0 | 0 | 0 | 1533 | 1358 | 175 | 17500 | 0.0175
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991924 | 991924 | 0 | 0 | 0 | 406 | 406 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 976810 | 977309 | -499 | -499000 | -0.499 | 2783 | 2783 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 996934 | 997075 | -141 | -352500 | -0.3525 | 81 | 81 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 993963 | 994288 | -325 | -812500 | -0.8125 | 461 | 461 | 0 | 0 | 0
[10 empty] | -1.664 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989657 | 989831 | -174 | -174000 | -0.174 | 2543 | 2543 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 2856 | 2856 | 0 | 0 | 0 | 38580 | 38401 | 179 | 28640 | 0.02864
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3854 | 3854 | 0 | 0 | 0 | 18995 | 18886 | 109 | 21800 | 0.0218
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 968419 | 968666 | -247 | -247000 | -0.247 | 999378 | 999378 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4865103 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 193 | 193 | 0 | 0 | 0 | 1541 | 1426 | 115 | -95832.95 | -0.095833
APRIL-2023
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 589 | 375 | 214 | -214000 | -0.214 | 989453 | 989453 | 0 | 0 | 0
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3083 | 2850 | 233 | -233000 | -0.233 | 995339 | 995339 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998354 | 998347 | 7 | -14000 | -0.014 | 995228 | 995228 | 0 | 0 | 0
33 | 33KV TX-2 | 4864823 | ELSTER | Kvarh(Lead/Lag) | -400 | 2784 | 2712 | 72 | -28800 | -0.0288 | 984760 | 984760 | 0 | 0 | 0 | check meter upto 13.04.23
|  | 4865005 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999983 | 1000000 | -17 | 17000 | 0.017 | 0 | 0 | 0 | 0 | 0 | w.e.f 13.04.2023
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 455 | 455 | 0 | 0 | 0 | 2732 | 2627 | 105 | 65625 | 0.065625
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 731 | 731 | 0 | 0 | 0 | 1974 | 1765 | 209 | 20900 | 0.0209
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4955 | 4947 | 8 | 800 | 0.0008 | 5229 | 5083 | 146 | 14600 | 0.0146
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21916 | 21919 | -3 | -1500 | -0.0015 | 5271 | 5206 | 65 | 32500 | 0.0325
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 759 | 573 | 186 | -186000 | -0.186 | 999973 | 999973 | 0 | 0 | 0
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997165 | 997237 | -72 | 72000 | 0.072 | 999915 | 999915 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 1 | -1 | 100 | 0.0001 | 999649 | 999706 | -57 | 5700 | 0.0057
4 | 11KV NDSE | 4865066 | ELSTER | Kvarh(Lead/Lag) | -200 | 0 | 0 | 0 | 0 | 0 | 1000005 | 999996 | 9 | -1800 | -0.0018 | w.e.f 07.03.2023
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -2.8166 |  |  |  |  | 0.019016
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -2.8166 |  |  |  |  | 0.019016
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.47841 |  |  |  |  | 0.0010498
| TOTAL ENERGY TO NDMC | [8 empty] | -2.3382 |  |  |  |  | 0.020066

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2023
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 4281 | 4281 | 0 | 0 | 0 | 80420 | 80420 | 0 | 0 | 0
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999511 | 999511 | 0 | 0 | 0 | 32214 | 32174 | 40 | 6400 | 0.0064
3 | KIRBY PLACE-1 | 4864815 | ELSTER | Kvarh(Lead/Lag) | 200 | 999909 | 999909 | 0 | 0 | 0 | 2406 | 2410 | -4 | -800 | -0.0008
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999873 | 999873 | 0 | 0 | 0 | 19302 | 19138 | 164 | 65600 | 0.0656
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999306 | 999308 | -2 | -1600 | -0.0016 | 799 | 799 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2328 | 2331 | -3 | -1200 | -0.0012 | 6650 | 6649 | 1 | 400 | 0.0004
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4865164 | ELSTER | Kvarh(Lead/Lag) | 666.667 | 999819 | 999819 | 0 | 0 | 0 | 414 | 418 | -4 | -2666.668 | -0.0026667
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1133 | 1133 | 0 | 0 | 0 | 182 | 205 | -23 | -23000 | -0.023
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0028 |  |  |  |  | 0.045933
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0 | meter removed on 27.03.23.CKT not exist now.
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 4254 | 4192 | 62 | 2325 | 0.002325 | 41797 | 41466 | 331 | 12412.5 | 0.012412 | upto 25.04.23
|  | 4902551 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 93 | 76 | 17 | 637.5 | 0.0006375 | 393 | 306 | 87 | 3262.5 | 0.0032625 | check meter 25/04/23-01/05/23
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 87 | 87 | 0 | 0 | 0 | 1754 | 1694 | 60 | 6000 | 0.006
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4406 | 4406 | 0 | 0 | 0 | 62432 | 61850 | 582 | 43650 | 0.04365
13 | SUBROTO PARK | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 86 | 27 | 59 | 5900 | 0.0059
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 784 | 784 | 0 | 0 | 0 | 5828 | 5831 | -3 | -225 | -0.000225
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10292 | 10292 | 0 | 0 | 0 | 8624 | 8586 | 38 | 3800 | 0.0038
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0029625 |  |  |  |  | 0.0748
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0028 |  |  |  |  | 0.045933
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0001625 |  |  |  |  | 0.12073
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0001625 | (REACTIVE MUs) |  |  |  | 0.12073 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.039606 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.039444 | (REACTIVE MUs) |  |  |  | 0.12073 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2023
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 992037 | 992050 | -13 | -8125 | -0.008125 | 560 | 557 | 3 | 1875 | 0.001875
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999570 | 999577 | -7 | -3500 | -0.0035 | 285 | 281 | 4 | 2000 | 0.002
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | 800 | 1548 | 1327 | 221 | 176800 | 0.1768 | 565 | 565 | 0 | 0 | 0
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 73780 | 72300 | 1480 | -1480 | -0.00148 | 362489 | 352320 | 10169 | -10169 | -0.010169
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 45370 | 44910 | 460 | -460 | -0.00046 | 592819 | 583320 | 9499 | -9499 | -0.009499
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 266400 | 261000 | 5400 | -5400 | -0.0054 | 1924700 | 1875100 | 49600 | -49600 | -0.0496
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.15784 |  |  |  |  | -0.065393
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0029358 |  |  |  |  | 0
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.16077 |  |  |  |  | -0.065393

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2023
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 993273 | 993537 | -264 | -132000 | -0.132 | 999650 | 999650 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 18905 | 19436 | -531 | -53100 | -0.0531 | 992274 | 992268 | 6 | 600 | 0.0006
3 | O/G VISHAL-1 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 833.333 | 999813 | 999854 | -41 | -34166.653 | -0.034167 | 999990 | 999990 | 0 | 0 | 0
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 996940 | 996922 | 18 | 16875 | 0.016875 | 999338 | 999333 | 5 | 4687.5 | 0.0046875
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999332 | 999349 | -17 | 17000 | 0.017 | 998975 | 998977 | -2 | 2000 | 0.002
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 994145 | 994114 | 31 | -15500 | -0.0155 | 535 | 535 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 210 | 210 | 0 | 0 | 0 | 999968 | 999970 | -2 | -600 | -0.0006
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.20089 |  |  |  |  | 0.0066875
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 954745 | 954745 | 0 | 0 | 0 | 991368 | 991368 | 0 | 0 | 0
9 | O/G DMS | 4864804 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 993263 | 993748 | -485 | -90937.5 | -0.090938 | 993619 | 993630 | -11 | -2062.5 | -0.0020625
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.090938 |  |  |  |  | -0.0020625
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 999139 | 999314 | -175 | -218750 | -0.21875 | 998648 | 998648 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998567 | 998703 | -136 | -127500 | -0.1275 | 999624 | 999624 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 4864814 | ELSTER | Kvarh(Lead/Lag) | 125 | 993952 | 994497 | -545 | -68125 | -0.068125 | 996676 | 996676 | 0 | 0 | 0
13 | O/G 33KV RAMA ROAD | 4865123 | ELSTER | Kvarh(Lead/Lag) | 1250 | 999399 | 999453 | -54 | -67500 | -0.0675 | 999978 | 999978 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998208 | 998274 | -66 | -66000 | -0.066 | 999662 | 999664 | -2 | -2000 | -0.002
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 1000 | 965945 | 967005 | -1060 | -1060000 | -1.06 | 990694 | 990694 | 0 | 0 | 0
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 999866 | 1000009 | -143 | 89375 | 0.089375 | 999796 | 999796 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 210 | 210 | 0 | 0 | 0 | 999968 | 999970 | -2 | 600 | 0.0006
| TOTAL NDPL | [8 empty] | -1.5185 |  |  |  |  | -0.0014
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.20089 |  |  |  |  | 0.0066875
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.090938 |  |  |  |  | -0.0020625
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -1.5185 |  |  |  |  | -0.0014

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2023
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2023 | INTIAL READING 01/04/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
A) | G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865015 | ELSTER | kvarh (Lead/lag) | 2000 | 13606 | 12088 | 1518 | 3036000 | 3.036 | 999998 | 999998 | 0 | 0 | 0
2 | IBT-2 | 4864969 | ELSTER | kvarh (Lead/lag) | 2000 | 4653 | 3188 | 1465 | 2930000 | 2.93 | 0 | 0 | 0 | 0 | 0
[7 empty] | Total Generation at GT(IBT1+IBT2) = |  |  | 5.966 |  |  |  |  | 0
[7 empty] | Generation at feeders |  | = | -5.8797 |  |  |  |  | 0
[7 empty] | NET REACTIVE ENERGY at GT = |  |  | 11.8457 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for GT:
| NDPL | (DERC order = |  |  |  | 29.67 | % |  |  | 3.5146 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 41.53 | % |  |  | 4.9195 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 22.74 | % |  |  | 2.6937 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 4.95 | % |  |  | 0.58636 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
B) | MSW BAWANA
1 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 844927 | 848275 | -3348 | 1674000 | 1.674 | 997810 | 997810 | 0 | 0 | 0
[6 empty] | NET REACTIVE ENERGY at MSW BAWANA = |  |  |  | 1.674 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 29.2 | % |  |  | 0.48881 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 41.81 | % |  |  | 0.6999 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 23.9 | % |  |  | 0.40009 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 5.09 | % |  |  | 0.085207 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
C) | PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | -750 | 185966 | 185369 | 597 | -447750 | -0.44775 | 999739 | 999739 | 0 | 0 | 0
2 | GT-II | 4902490 | ELSTER | kvarh (lag) | -1000 | 3232 | 3020 | 212 | -212000 | -0.212 | 0 | 0 | 0 | 0 | 0
3 | STG-III | 4902483 | ELSTER | kvarh (lag) | -750 | 993606 | 993523 | 83 | -62250 | -0.06225 | 999391 | 999391 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at PRAGATI = |  | -0.722 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for PRAGATI :
| NDPL | (DERC order = |  |  |  | 19.28 | % |  |  | -0.1392 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 28.29 | % |  |  | -0.20425 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 16.07 | % |  |  | -0.11603 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 30.3 | % |  |  | -0.21877 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 6.06 | % |  |  | -0.043753 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
D) | EAST DELHI WASTE - Ghazipur
1 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 347481 | 353992 | -6511 | 651100 | 0.6511 | 984122 | 984122 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at EDWMP = |  | 0.6511 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their Active Energy drawl(week No- 4 FY2023-24) for EDWMP-GHAZIPUR :
| NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 30.6412 | % |  |  | 0.1995 |  |  |  |  | 0
| BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.4052 | % |  |  | 0.2761 |  |  |  |  | 0
| BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 21.9866 | % |  |  | 0.14315 |  |  |  |  | 0
| NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.8792 | % |  |  | 0.025257 |  |  |  |  | 0
| MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6369 | % |  |  | 0.0041469 |  |  |  |  | 0
| N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.4509 | % |  |  | 0.0029358 |  |  |  |  | 0
E) | TEKHAND WASTE TO ENERGY PANT
1 | TEKHAND WASTE TO ENERGY PANT | Q0473785 | SECURE | kvarh (Lead/lag) | -240000 | -1.41 | -1.38 | -0.03 | 7200 | 0.0072 | -2.8 | -2.71 | -0.09 | 21600 | 0.0216
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 30.09 | % |  |  | 0.0021665 |  |  |  |  | 0.0064994
| BRPL | (DERC order = |  |  |  | 41.72 | % |  |  | 0.0030038 |  |  |  |  | 0.0090115
| BYPL | (DERC order = |  |  |  | 23.33 | % |  |  | 0.0016798 |  |  |  |  | 0.0050393
| NDMC | (DERC order = |  |  |  | 4.86 | % |  |  | 0.00034992 |  |  |  |  | 0.0010498
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
F) | TOTAL REACTIVE ENRGY DISTRIBUTION OF EACH DISCOM ON DELHI GENERATORS (A+B+C+D+E)
1) | NDPL |  |  |  | = |  |  |  |  | 4.0659 |  |  |  |  | 0.0064994
2) | BRPL |  |  |  | = |  |  |  |  | 5.6943 |  |  |  |  | 0.0090115
3) | BYPL |  |  |  | = |  |  |  |  | 3.1226 |  |  |  |  | 0.0050393
4) | NDMC |  |  |  | = |  |  |  |  | 0.47841 |  |  |  |  | 0.0010498
5) | MES |  |  |  | = |  |  |  |  | -0.039606 |  |  |  |  | 0
6) | N.Railway |  |  |  | = |  |  |  |  | 0.0029358 |  |  |  |  | 0

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st APRIL-2023 TO 30th APRIL-2023
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -55.3763 |  | -1.5628
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -11.5641 |  | -1.6129
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -3.6526 |  | -0.92109
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -2.3382 | + | 0.020066
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.039444 | + | 0.12073
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.16077 |  | -0.065393
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system
Note:-Above Data is provided by DTL Metering Department