## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JANUARY-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971947 | 971943 | 4 | -4000 | -0.004 | 999034 | 999034 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62241 | 55007 | 7234 | -7234000 | -7.234 | 1628 | 1628 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 935578 | 935797 | -219 | 219000 | 0.219 | 995530 | 995530 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997649 | 997673 | -24 | 24000 | 0.024 | 996076 | 996077 | -1 | 1000 | 0.001
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 878745 | 877800 | 945 | -945000 | -0.945 | 999454 | 999454 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27574 | 26889 | 685 | -685000 | -0.685 | 16306 | 16386 | -80 | 80000 | 0.08
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2916 | 2305 | 611 | -611000 | -0.611 | 998306 | 998392 | -86 | 86000 | 0.086
8 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 759 | 485 | 274 | -274000 | -0.274 | 999510 | 999518 | -8 | 8000 | 0.008
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 969920 | 968751 | 1169 | -584500 | -0.5845 | 847876 | 847902 | -26 | 13000 | 0.013
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2332 | 1771 | 561 | -561000 | -0.561 | 998906 | 998908 | -2 | 2000 | 0.002
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31772 | 27955 | 3817 | -3817000 | -3.817 | 999172 | 999172 | 0 | 0 | 0
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10350 | 7676 | 2674 | -2674000 | -2.674 | 997044 | 997044 | 0 | 0 | 0
13 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 855725 | 859058 | -3333 | -3333000 | -3.333 | 999981 | 999981 | 0 | 0 | 0
14 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 960187 | 967193 | -7006 | -7006000 | -7.006 | 999996 | 999996 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979503 | 978553 | 950 | -950000 | -0.95 | 16679 | 16679 | 0 | 0 | 0
15 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 7591 | 3789 | 3802 | -1901000 | -1.901 | 0 | 0 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36059 | 33908 | 2151 | -2151000 | -2.151 | 264 | 264 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999943 | 999943 | 0 | 0 | 0 | 990885 | 990821 | 64 | 64000 | 0.064
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 649 | 655 | -6 | -6000 | -0.006 | 22710 | 22689 | 21 | 21000 | 0.021
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1321 | 1311 | 10 | 5000 | 0.005 | 7572 | 7539 | 33 | 16500 | 0.0165
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 147350 | 146136 | 1214 | 121400 | 0.1214 | 311012 | 310611 | 401 | 40100 | 0.0401
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995620 | 995699 | -79 | -79000 | -0.079 | 984591 | 984591 | 0 | 0 | 0
22 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9 | 25 | -16 | -16000 | -0.016 | 999066 | 999060 | 6 | 6000 | 0.006
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 50465 | 52039 | -1574 | -157400 | -0.1574 | 121239 | 121239 | 0 | 0 | 0
KASHMIRI GATE
24 | 221 kV DMRC #1 | 5128477 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985027 | 990896 | -5869 | -5869000 | -5.869 | 999816 | 999816 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 571330 | 573760 | -2430 | -2430000 | -2.43 | 829222 | 829222 | 0 | 0 | 0
26 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 999142 | 999858 | -716 | -190935.72 | -0.19094 | 999999 | 999999 | 0 | 0 | 0
27 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 251 | 0 | 251 | 125500 | 0.1255 | 0 | 0 | 0 | 0 | 0 | w.e.f 01/01/19
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14428 | 11094 | 3334 | -3334000 | -3.334 | 996962 | 996962 | 0 | 0 | 0
29 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 58204 | 48456 | 9748 | -4874000 | -4.874 | 14971 | 14971 | 0 | 0 | 0
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9401 | 7433 | 1968 | -1968000 | -1.968 | 999970 | 999970 | 0 | 0 | 0
DSIDC BAWANA
32 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 37291 | 34243 | 3048 | -6096000 | -6.096 | 96 | 96 | 0 | 0 | 0
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53805 | 51006 | 2799 | -2799000 | -2.799 | 998776 | 998776 | 0 | 0 | 0
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 102775 | 97566 | 5209 | -5209000 | -5.209 | 2426 | 2426 | 0 | 0 | 0
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28920 | 27249 | 1671 | -1671000 | -1.671 | 999268 | 999268 | 0 | 0 | 0
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19509 | 17660 | 1849 | -1849000 | -1.849 | 916 | 916 | 0 | 0 | 0
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999329 | 999134 | 195 | -195000 | -0.195 | 998710 | 998710 | 0 | 0 | 0
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25243 | 22711 | 2532 | -2532000 | -2.532 | 1576 | 1576 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1357 | 1734 | -377 | -377000 | -0.377 | 28619 | 28619 | 0 | 0 | 0
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 53983 | 53983 | 0 | 0 | 0 | 26360 | 26360 | 0 | 0 | 0
| NDPL(+) continue | [14 empty] | JANUARY-2019
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1238 | 1272 | -34 | -34000 | -0.034 | 61277 | 61277 | 0 | 0 | 0
VISHAL
42 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999575 | 999723 | -148 | -14800 | -0.0148 | 999596 | 999661 | -65 | -6500 | -0.0065
44 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 2195 | 2137 | 58 | 5800 | 0.0058 | 26975 | 26972 | 3 | 300 | 0.0003
S.B.MILL
45 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 472 | 460 | 12 | 15996 | 0.015996 | 370 | 370 | 0 | 0 | 0
46 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 2801 | 2784 | 17 | 1700 | 0.0017 | 1515 | 1515 | 0 | 0 | 0
47 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
48 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
49 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 625 | 1267 | -642 | -64200 | -0.0642 | 30293 | 30285 | 8 | 800 | 0.0008
51 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989588 | 989588 | 0 | 0 | 0 | 297 | 297 | 0 | 0 | 0
[10 empty] | -0.466 |  |  |  |  | 0.017643 | Assessment last month
B.G.ROAD
52 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1414 | 1425 | -11 | -1833.26 | -0.0018333 | 6928 | 6826 | 102 | 16999.32 | 0.016999
53 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999877 | 999886 | -9 | -4500 | -0.0045 | 1186 | 1186 | 0 | 0 | 0
54 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 1896 | 1889 | 7 | 4666.69 | 0.0046667 | 161 | 157 | 4 | 2666.68 | 0.0026667
55 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 4788 | 4806 | -18 | -12000 | -0.012 | 1467 | 1461 | 6 | 4000 | 0.004
D.M.S.
56 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997457 | 997466 | -9 | -900 | -0.0009 | 3771 | 3755 | 16 | 1600 | 0.0016
57 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
58 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
59 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 5989 | 6234 | -245 | -24500 | -0.0245 | 11037 | 11017 | 20 | 2000 | 0.002
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 5322 | 5132 | 190 | 19000 | 0.019 | 469 | 451 | 18 | 1800 | 0.0018
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 25486 | 25357 | 129 | 12900 | 0.0129 | 6397 | 6372 | 25 | 2500 | 0.0025
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 39259 | 36706 | 2553 | 255300 | 0.2553 | 1823 | 1823 | 0 | 0 | 0
64 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 26267 | 26274 | -7 | -700 | -0.0007 | 51565 | 51565 | 0 | 0 | 0
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 305 | 302 | 3 | -900 | -0.0009
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 81 | 81 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999985 | 999985 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 989339 | 991423 | -2084 | -1667200 | -1.6672 | 999916 | 999916 | 0 | 0 | 0
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 998942 | 999241 | -299 | -598000 | -0.598 | 1079 | 1079 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 100 | 992351 | 996477 | -4126 | -412600 | -0.4126 | 250 | 250 | 0 | 0 | 0
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 360 | 983 | -623 | -155750 | -0.15575 | 255 | 255 | 0 | 0 | 0
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 335 | 952 | -617 | -617000 | -0.617 | 1743 | 1743 | 0 | 0 | 0
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 961 | 905 | 56 | 42000 | 0.042 | 2684 | 2681 | 3 | 2250 | 0.00225
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -75.6046 |  |  |  |  | 0.38276
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JANUARY-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 12342 | 12269 | 73 | -7300 | -0.0073 | 104762 | 104584 | 178 | -17800 | -0.0178
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -800 | 124 | 210 | -86 | 68800 | 0.0688 | 9040 | 9013 | 27 | -21600 | -0.0216
SUBZI MANDI
3 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2001 | 1973 | 28 | -28000 | -0.028 | 606 | 606 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | -400 | 4875 | 4447 | 428 | -171200 | -0.1712 | 486 | 486 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998991 | 999192 | -201 | 37687.5 | 0.037687 | 999934 | 999934 | 0 | 0 | 0
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 957483 | 960866 | -3383 | 2706400 | 2.7064 | 998693 | 998693 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 995712 | 996150 | -438 | 273750 | 0.27375 | 999990 | 999990 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 998571 | 999010 | -439 | 274375 | 0.27437 | 999883 | 999883 | 0 | 0 | 0
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 999661 | 999928 | -267 | 53400 | 0.0534 | 11230 | 11207 | 23 | -4600 | -0.0046
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997805 | 998157 | -352 | 66000 | 0.066 | 5070 | 5073 | -3 | 562.5 | 0.0005625
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998719 | 998719 | 0 | 0 | 0 | 3614 | 3614 | 0 | 0 | 0
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 1000 | 804 | 196 | -49000 | -0.049 | 5385 | 5382 | 3 | -750 | -0.00075
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 999378 | 999610 | -232 | 23200 | 0.0232 | 16947 | 16879 | 68 | -6800 | -0.0068
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 3.2481 |  |  |  |  | -0.050988
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -75.6046 |  |  |  |  | 0.38276
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 3.2481 |  |  |  |  | -0.050988
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.4253 |  |  |  |  | 0.0036
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -70.9311 |  |  |  |  | 0.33537
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -70.9311 | (REACTIVE MUs) |  |  |  | 0.33537 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.11902 | (REACTIVE MUs) |  |  |  | -0.00031525 | (REACTIVE MUs)
[9 empty] | TOTAL | -70.8121 | (REACTIVE MUs) |  |  |  | 0.33506 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JANUARY-2019
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 15340 | 17100 | -1760 | -176000 | -0.176 | 993438 | 993438 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 10271 | 10357 | -86 | -25800 | -0.0258 | 3972 | 3929 | 43 | 12900 | 0.0129
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 36903 | 35000 | 1903 | 142725 | 0.14272 | 343995 | 343726 | 269 | 20175 | 0.020175
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 996325 | 996856 | -531 | -159300 | -0.1593 | 5954 | 5954 | 0 | 0 | 0
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1847 | 1876 | -29 | -38665.7 | -0.038666 | 3587 | 3587 | 0 | 0 | 0
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 48666 | 48697 | -31 | -3100 | -0.0031 | 155819 | 155817 | 2 | 200 | 0.0002
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 25049 | 20659 | 4390 | 329250 | 0.32925 | 40915 | 44991 | -4076 | -305700 | -0.3057
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983911 | 984348 | -437 | -437000 | -0.437 | 2295 | 2295 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 997960 | 998231 | -271 | -135500 | -0.1355 | 564 | 564 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998901 | 999290 | -389 | -389000 | -0.389 | 1522 | 1522 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991985 | 991305 | 680 | 680000 | 0.68 | 1473 | 1473 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993592 | 993704 | -112 | -112000 | -0.112 | 6231 | 6231 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995172 | 995360 | -188 | -188000 | -0.188 | 998570 | 998570 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998603 | 998923 | -320 | -320000 | -0.32 | 999900 | 999900 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 997329 | 997774 | -445 | -356000 | -0.356 | 4977 | 4977 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 73 | 433 | -360 | -360000 | -0.36 | 33439 | 33439 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1737 | 1571 | 166 | 166000 | 0.166 | 9743 | 9743 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2022 | 2388 | -366 | -366000 | -0.366 | 17363 | 17363 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 976172 | 976481 | -309 | -386250 | -0.38625 | 951762 | 951762 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 994801 | 996603 | -1802 | -1982200 | -1.9822 | 938557 | 938557 | 0 | 0 | 0
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 959725 | 960413 | -688 | -688000 | -0.688 | 7609 | 7609 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -3.0564 |  |  |  |  | 0
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995473 | 996392 | -919 | 919000 | 0.919 | 999999 | 999999 | 0 | 0 | 0
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985622 | 985894 | -272 | 272000 | 0.272 | 999906 | 999906 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 305 | 302 | 3 | 900 | 0.0009
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999839 | 999845 | -6 | -6000 | -0.006 | 9508 | 9504 | 4 | 4000 | 0.004
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 88084 | 84494 | 3590 | -3590000 | -3.59 | 835 | 835 | 0 | 0 | 0
[5 empty] | -1000 | 73644 | 70161 | 3483 | -3483000 | -3.483
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24550 | 22269 | 2281 | -2281000 | -2.281 | 999054 | 999059 | -5 | 5000 | 0.005
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999581 | 999799 | -218 | 218000 | 0.218 | 999999 | 999999 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995383 | 994759 | 624 | -624000 | -0.624 | 998352 | 998352 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987684 | 984834 | 2850 | -2850000 | -2.85 | 985887 | 985887 | 0 | 0 | 0
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12833 | 9747 | 3086 | -3086000 | -3.086 | 289 | 289 | 0 | 0 | 0 | Data till 23/1/19
[10 empty] | -0.40252 |  |  |  |  | 0 | Assesment
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8814 | 6027 | 2787 | -5574000 | -5.574 | 30 | 30 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2001 | 1973 | 28 | 28000 | 0.028 | 606 | 606 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | 400 | 4875 | 4447 | 428 | 171200 | 0.1712 | 486 | 486 | 0 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 997530 | 997937 | -407 | -54131 | -0.054131 | 13593 | 13601 | -8 | -1064 | -0.001064
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976595 | 977233 | -638 | 638000 | 0.638 | 990186 | 990186 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989627 | 990356 | -729 | 729000 | 0.729 | 999928 | 999928 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -23.7803 |  |  |  |  | -0.26359
| (A) NET ENERGY TO CENTRAL | [8 empty] | -23.7803 |  |  |  |  | -0.26359
JANUARY-2019
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994775 | 995379 | -604 | 604000 | 0.604 | 998769 | 998769 | 0 | 0 | 0
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989885 | 989892 | -7 | 7000 | 0.007 | 965178 | 965178 | 0 | 0 | 0
3 | Tx.3 | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990400 | 991433 | -1033 | 1033000 | 1.033 | 995831 | 995831 | 0 | 0 | 0
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999102 | 1000000 | -898 | 898000 | 0.898 | 999999 | 1000000 | -1 | 1000 | 0.001 | w.e.f 01/01/19
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11933 | 10649 | 1284 | -1284000 | -1.284 | 998809 | 998809 | 0 | 0 | 0
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997263 | 995836 | 1427 | -1427000 | -1.427 | 997784 | 997784 | 0 | 0 | 0
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7192 | 7192 | 0 | 0 | 0 | 999511 | 999511 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4678 | 3719 | 959 | -959000 | -0.959 | 937188 | 937188 | 0 | 0 | 0
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 957143 | 957524 | -381 | 381000 | 0.381 | 989486 | 989486 | 0 | 0 | 0
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967541 | 969124 | -1583 | 1583000 | 1.583 | 989820 | 989820 | 0 | 0 | 0
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958018 | 957966 | 52 | -52000 | -0.052 | 827844 | 827844 | 0 | 0 | 0
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31743 | 28668 | 3075 | -3075000 | -3.075 | 33503 | 33503 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24438 | 21476 | 2962 | -2962000 | -2.962 | 136 | 136 | 0 | 0 | 0
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1001612 | 995406 | 6206 | -6206000 | -6.206 | 919565 | 919565 | 0 | 0 | 0
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -11.459 |  |  |  |  | 0.001
| (B) NET ENERGY TO EAST | [8 empty] | -11.459 |  |  |  |  | 0.001
JANUARY-2019
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 999142 | 999858 | -716 | 190935.72 | 0.19094 | 999999 | 999999 | 0 | 0 | 0
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 251 | 0 | 251 | -125500 | -0.1255 | 0 | 0 | 0 | 0 | 0 | w.e.f 01/01/19
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 3494 | 3507 | -13 | 3466.58 | 0.0034666 | 2196 | 2196 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 88350 | 84622 | 3728 | -372800 | -0.3728 | 149421 | 149421 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 996459 | 997310 | -851 | 170200 | 0.1702 | 998999 | 998999 | 0 | 0 | 0
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 58015 | 56186 | 1829 | -365800 | -0.3658 | 124666 | 124666 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864977 | ELSTER | Kvarh(Lead/Lag) | -800 | 8735 | 8532 | 203 | -162400 | -0.1624 | 7440 | 7440 | 0 | 0 | 0 | Check Meter Data
|  | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 48 | 0 | 48 | -38400 | -0.0384 | 3 | 0 | 3 | -2400 | -0.0024 | w.e.f 25/1/19
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3101 | 2773 | 328 | -262400 | -0.2624 | 705 | 705 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 967249 | 967994 | -745 | 596000 | 0.596 | 985959 | 985959 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 968186 | 969845 | -1659 | 1327200 | 1.3272 | 986530 | 986530 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 976942 | 978891 | -1949 | 1559200 | 1.5592 | 992674 | 992674 | 0 | 0 | 0
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 969462 | 970479 | -1017 | 813600 | 0.8136 | 994421 | 994421 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963429 | 963429 | 0 | 0 | 0 | 31711 | 31711 | 0 | 0 | 0
|  | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999262 | 1000000 | -738 | 1476000 | 1.476 | 999999 | 1000000 | -1 | 2000 | 0.002 | w.e.f 02/01/2019
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1357 | 1734 | -377 | 377000 | 0.377 | 28619 | 28619 | 0 | 0 | 0
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 53983 | 53983 | 0 | 0 | 0 | 26360 | 26360 | 0 | 0 | 0
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1238 | 1272 | -34 | 34000 | 0.034 | 61277 | 61277 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1414 | 1425 | -11 | 1833.26 | 0.0018333 | 6928 | 6826 | 102 | -16999.32 | -0.016999
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999877 | 999886 | -9 | 4500 | 0.0045 | 1186 | 1186 | 0 | 0 | 0
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 1896 | 1889 | 7 | -4666.69 | -0.0046667 | 161 | 157 | 4 | -2666.68 | -0.0026667
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 4788 | 4806 | -18 | 12000 | 0.012 | 1467 | 1461 | 6 | -4000 | -0.004
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 39259 | 36706 | 2553 | -255300 | -0.2553 | 1823 | 1823 | 0 | 0 | 0
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 26267 | 26274 | -7 | 700 | 0.0007 | 51565 | 51565 | 0 | 0 | 0
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997457 | 997466 | -9 | 900 | 0.0009 | 3771 | 3755 | 16 | -1600 | -0.0016
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
28 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 5989 | 6234 | -245 | 24500 | 0.0245 | 11037 | 11017 | 20 | -2000 | -0.002
29 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 5322 | 5132 | 190 | -19000 | -0.019 | 469 | 451 | 18 | -1800 | -0.0018
30 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 25486 | 25357 | 129 | -12900 | -0.0129 | 6397 | 6372 | 25 | -2500 | -0.0025
[10 empty] | 4.9729 |  |  |  |  | -0.031966
JANUARY-2019
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -23.7803 |  |  |  |  | -0.26359
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 4.9729 |  |  |  |  | -0.031966
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.39811 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -19.2055 |  |  |  |  | -0.29556
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -11.459 |  |  |  |  | 0.001
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -30.6645 |  |  |  |  | -0.29456
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -30.6645 | (REACTIVE MUs) |  |  |  | -0.29456 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.079626 | (REACTIVE MUs) |  |  |  | -0.0002109 | (REACTIVE MUs)
[9 empty] | TOTAL | -30.5849 | (REACTIVE MUs) |  |  |  | -0.29477 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JANUARY-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999388 | 999397 | -9 | -45000 | -0.045 | 998902 | 998903 | -1 | -5000 | -0.005
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 982818 | 983374 | -556 | -741331.48 | -0.74133 | 670302 | 670302 | 0 | 0 | 0
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 998655 | 999284 | -629 | -125800 | -0.1258 | 2690 | 2621 | 69 | 13800 | 0.0138
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999952 | 1000045 | -93 | -123999.69 | -0.124 | 999631 | 999631 | 0 | 0 | 0
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 18846 | 18809 | 37 | 3700 | 0.0037 | 22638 | 22639 | -1 | -100 | -0.0001
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 688675 | 690577 | -1902 | -142650 | -0.14265 | 980886 | 980886 | 0 | 0 | 0
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 995028 | 996174 | -1146 | -85950 | -0.08595 | 18322 | 18356 | -34 | -2550 | -0.00255
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 996817 | 996929 | -112 | -100800 | -0.1008 | 995142 | 995154 | -12 | -10800 | -0.0108
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 3358 | 3358 | 0 | 0 | 0 | 265638 | 265638 | 0 | 0 | 0
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6699 | 5868 | 831 | -831000 | -0.831 | 997138 | 997139 | -1 | 1000 | 0.001
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 164 | 155 | 9 | -18000 | -0.018 | 998587 | 998589 | -2 | 4000 | 0.004
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11623 | 11047 | 576 | -576000 | -0.576 | 997882 | 997883 | -1 | 1000 | 0.001
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970521 | 968807 | 1714 | -1714000 | -1.714 | 992142 | 992159 | -17 | 17000 | 0.017
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 42000 | 41096 | 904 | -904000 | -0.904 | 996615 | 996616 | -1 | 1000 | 0.001
[5 empty] | -1000 | 39143 | 39022 | 121 | -121000 | -0.121
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 39849 | 32567 | 7282 | -3641000 | -3.641 | 21219 | 21219 | 0 | 0 | 0
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 9064 | 8564 | 500 | -1000000 | -1 | 997380 | 997380 | 0 | 0 | 0
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000863 | 999384 | 1479 | -1479000 | -1.479 | 845956 | 845956 | 0 | 0 | 0
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 21971 | 13774 | 8197 | -6557600 | -6.5576 | 998996 | 998996 | 0 | 0 | 0
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2592 | 1827 | 765 | -765000 | -0.765 | 963207 | 963245 | -38 | 38000 | 0.038
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997780 | 998250 | -470 | 470000 | 0.47 | 995978 | 996001 | -23 | 23000 | 0.023
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974849 | 974454 | 395 | -395000 | -0.395 | 987165 | 987185 | -20 | 20000 | 0.02
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 472 | 504 | -32 | 32000 | 0.032 | 998436 | 998540 | -104 | 104000 | 0.104
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955 | 332 | 623 | -623000 | -0.623 | 999999 | 999999 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38233 | 37329 | 904 | -904000 | -0.904 | 999999 | 999999 | 0 | 0 | 0
[5 empty] | -1000 | 36206 | 33187 | 3019 | -3019000 | -3.019
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 4133 | 3532 | 601 | -2003331.33 | -2.0033 | 0 | 0 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 800 | 124 | 210 | -86 | -68800 | -0.0688 | 9040 | 9013 | 27 | 21600 | 0.0216
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977191 | 977263 | -72 | 72000 | 0.072 | 968992 | 968992 | 0 | 0 | 0
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991515 | 991515 | 0 | 0 | 0 | 985938 | 985938 | 0 | 0 | 0
| Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985845 | 984042 | 1803 | -1803000 | -1.803 | 985012 | 985012 | 0 | 0 | 0
[5 empty] | -1000 | [5 empty] | 993976 | 993976 | 0 | 0 | 0
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 2858 | 1979 | 879 | -703200 | -0.7032 | 0 | 0 | 0 | 0 | 0
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 1939 | 1482 | 457 | -731200 | -0.7312 | 0 | 0 | 0 | 0 | 0
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996356 | 996356 | 0 | 0 | 0 | 995335 | 995335 | 0 | 0 | 0
36 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 6362 | 3564 | 2798 | -1399000 | -1.399 | 999866 | 999914 | -48 | 24000 | 0.024
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15620 | 14035 | 1585 | -1585000 | -1.585 | 33167 | 33167 | 0 | 0 | 0
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997433 | 997025 | 408 | -408000 | -0.408 | 996213 | 996213 | 0 | 0 | 0
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998858 | 998581 | 277 | -277000 | -0.277 | 999745 | 999745 | 0 | 0 | 0
BRPL(+) continue | [14 empty] | JANUARY-2019
VASANT KUNJ
40 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22423 | 17956 | 4467 | -4467000 | -4.467 | 999885 | 999885 | 0 | 0 | 0
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5107 | 2654 | 2453 | -2453000 | -2.453 | 999904 | 999926 | -22 | 22000 | 0.022
42 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52926 | 52926 | 0 | 0 | 0 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
43 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7444 | 5915 | 1529 | -1529000 | -1.529 | 999354 | 999354 | 0 | 0 | 0
44 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995827 | 994759 | 1068 | -1068000 | -1.068 | 926348 | 926348 | 0 | 0 | 0
45 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8955 | 8192 | 763 | -763000 | -0.763 | 9398 | 9398 | 0 | 0 | 0
[5 empty] | -1000 | 7381 | 6488 | 893 | -893000 | -0.893
46 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2202 | 1834 | 368 | -736000 | -0.736 | 996534 | 996534 | 0 | 0 | 0
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25570 | 17716 | 7854 | -7854000 | -7.854 | 997817 | 997817 | 0 | 0 | 0
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8620 | 7961 | 659 | -1318000 | -1.318 | 999440 | 999440 | 0 | 0 | 0
DIAL
49 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7616 | 7433 | 183 | -366000 | -0.366 | 2310 | 2310 | 0 | 0 | 0
50 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4518 | 4083 | 435 | -870000 | -0.87 | 1276 | 1276 | 0 | 0 | 0
MASJID MOD
51 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 918327 | 917852 | 475 | -475000 | -0.475 | 981009 | 981009 | 0 | 0 | 0
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 876 | 427 | 449 | -449000 | -0.449 | 996478 | 996478 | 0 | 0 | 0
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 701 | 161 | 540 | -540000 | -0.54 | 989282 | 989282 | 0 | 0 | 0
MUNDKA
54 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 993014 | 994253 | -1239 | -991200 | -0.9912 | 414 | 414 | 0 | 0 | 0
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 974859 | 977367 | -2508 | -2006400 | -2.0064 | 999839 | 999839 | 0 | 0 | 0
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
58 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1333 | 1457 | -124 | -99200 | -0.0992 | 999817 | 999817 | 0 | 0 | 0
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 998489 | 998776 | -287 | -229600 | -0.2296 | 999991 | 999991 | 0 | 0 | 0
PARK STREET
60 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 963429 | 963429 | 0 | 0 | 0 | 31711 | 31711 | 0 | 0 | 0
|  | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999262 | 1000000 | -738 | -1476000 | -1.476 | 999999 | 1000000 | -1 | -2000 | -0.002 | w.e.f 02/01/2019
61 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25001 | 19114 | 5887 | -5887000 | -5.887 | 684 | 684 | 0 | 0 | 0
63 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 48285 | 38746 | 9539 | -9539000 | -9.539 | 168 | 168 | 0 | 0 | 0
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 66905 | 62830 | 4075 | -4075000 | -4.075 | 503 | 503 | 0 | 0 | 0
NARAINA
65 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 12342 | 12269 | 73 | 7300 | 0.0073 | 104762 | 104584 | 178 | 17800 | 0.0178
66 | SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998991 | 999192 | -201 | -37687.5 | -0.037687 | 999934 | 999934 | 0 | 0 | 0
68 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 5074 | 5999 | -925 | -370000 | -0.37 | 993802 | 993802 | 0 | 0 | 0
69 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 995213 | 996386 | -1173 | -469200 | -0.4692 | 70253 | 70253 | 0 | 0 | 0
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 957483 | 960866 | -3383 | -2706400 | -2.7064 | 998693 | 998693 | 0 | 0 | 0
Trauma Centre
70 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 375573 | 375985 | -412 | -41200 | -0.0412 | 2041 | 2041 | 0 | 0 | 0
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4875 | 4984 | -109 | -109000 | -0.109 | 1922 | 1922 | 0 | 0 | 0
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10616 | 10455 | 161 | 12075 | 0.012075 | 17598 | 17598 | 0 | 0 | 0
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5164 | 5038 | 126 | 12600 | 0.0126 | 9896 | 9896 | 0 | 0 | 0
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 6519 | 6519 | 0 | 0 | 0 | 2822 | 2822 | 0 | 0 | 0
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3363 | 4027 | -664 | -664000 | -0.664 | 4095 | 4095 | 0 | 0 | 0
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993224 | 993488 | -264 | -264000 | -0.264 | 1160 | 1160 | 0 | 0 | 0
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4584 | 4637 | -53 | -53000 | -0.053 | 6516 | 6516 | 0 | 0 | 0
78 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 5612 | 5853 | -241 | -38560 | -0.03856 | 999701 | 999701 | 0 | 0 | 0
79 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 178583 | 178809 | -226 | -22600 | -0.0226 | 45852 | 45852 | 0 | 0 | 0
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2050 | 1841 | 209 | 209000 | 0.209 | 337 | 337 | 0 | 0 | 0
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3473 | 3535 | -62 | -62000 | -0.062 | 6439 | 6439 | 0 | 0 | 0
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 999661 | 999928 | -267 | -53400 | -0.0534 | 11230 | 11207 | 23 | 4600 | 0.0046
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997805 | 998157 | -352 | -66000 | -0.066 | 5070 | 5073 | -3 | -562.5 | -0.0005625
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998719 | 998719 | 0 | 0 | 0 | 3614 | 3614 | 0 | 0 | 0
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 1000 | 804 | 196 | 49000 | 0.049 | 5385 | 5382 | 3 | 750 | 0.00075
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 999378 | 999610 | -232 | -23200 | -0.0232 | 16947 | 16879 | 68 | 6800 | 0.0068
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -85.0886 |  |  |  |  | 0.29934
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JANUARY-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -100 | 17876 | 15351 | 2525 | -252500 | -0.2525 | 277 | 277 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 997530 | 997937 | -407 | 54265.31 | 0.054265 | 13593 | 13601 | -8 | 1066.64 | 0.0010666
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994708 | 995865 | -1157 | 231400 | 0.2314 | 4096 | 4096 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1392 | 1314 | 78 | -78000 | -0.078 | 998682 | 998682 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998887 | 999001 | -114 | 114000 | 0.114 | 1869 | 1869 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 8838 | 8568 | 270 | -43200 | -0.0432 | 10782 | 10781 | 1 | -160 | -0.00016
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 2389 | 2015 | 374 | -74800 | -0.0748 | 2839 | 2835 | 4 | -800 | -0.0008
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991700 | 992282 | -582 | 582000 | 0.582 | 999555 | 999639 | -84 | 84000 | 0.084
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 101106 | 100745 | 361 | -36100 | -0.0361 | 74169 | 74167 | 2 | -200 | -0.0002
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 1323 | 834 | 489 | -48900 | -0.0489 | 2 | 0 | 2 | -200 | -0.0002
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 26833 | 28154 | -1321 | 132100 | 0.1321 | 62222 | 62222 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999028 | 999028 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 445593 | 444566 | 1027 | -102700 | -0.1027 | 46706 | 46706 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999575 | 999723 | -148 | 14800 | 0.0148 | 999596 | 999661 | -65 | 6500 | 0.0065
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 2195 | 2137 | 58 | -5800 | -0.0058 | 26975 | 26972 | 3 | -300 | -0.0003
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 472 | 460 | 12 | -15996 | -0.015996 | 370 | 370 | 0 | 0 | 0
22 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 2801 | 2784 | 17 | -1700 | -0.0017 | 1515 | 1515 | 0 | 0 | 0
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 625 | 1267 | -642 | 64200 | 0.0642 | 30293 | 30285 | 8 | -800 | -0.0008
27 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989588 | 989588 | 0 | 0 | 0 | 297 | 297 | 0 | 0 | 0
[10 empty] | 0.466 |  |  |  |  | -0.017643 | Assessment last month
28 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 81 | 81 | 0 | 0 | 0
30 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999985 | 999985 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
31 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -400 | 996820 | 996801 | 19 | -7600 | -0.0076 | 999896 | 999896 | 0 | 0 | 0 | w.e.f 20/04/18
REWARI LINE
32 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 335 | 952 | -617 | 617000 | 0.617 | 1743 | 1743 | 0 | 0 | 0
33 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 961 | 905 | 56 | -42000 | -0.042 | 2684 | 2681 | 3 | -2250 | -0.00225
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 1.5665 |  |  |  |  | 0.069214
JANUARY-2019
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -85.0886 |  |  |  |  | 0.29934
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 1.5665 |  |  |  |  | 0.069214
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.46007 |  |  |  |  | 0
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | 0.003 |  |  |  |  | -0.1536
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -83.0591 |  |  |  |  | 0.21495
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -83.0591 | (REACTIVE MUs) |  |  |  | 0.21495 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.15524 | (REACTIVE MUs) |  |  |  | -0.00041118 | (REACTIVE MUs)
[9 empty] | TOTAL | -82.9039 | (REACTIVE MUs) |  |  |  | 0.21454 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JANUARY-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3494 | 3507 | -13 | -3466.71 | -0.0034667 | 2196 | 2196 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 88350 | 84622 | 3728 | 372800 | 0.3728 | 149421 | 149421 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 996459 | 997310 | -851 | -170200 | -0.1702 | 998999 | 998999 | 0 | 0 | 0
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 58015 | 56186 | 1829 | 365800 | 0.3658 | 124666 | 124666 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864977 | ELSTER | Kvarh(Lead/Lag) | 800 | 8735 | 8532 | 203 | 162400 | 0.1624 | 7440 | 7440 | 0 | 0 | 0 | Check Meter
|  | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 48 | 0 | 48 | 38400 | 0.0384 | 3 | 0 | 3 | 2400 | 0.0024 | w.e.f 25/1/19
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3101 | 2773 | 328 | 262400 | 0.2624 | 705 | 705 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 967249 | 967994 | -745 | -596000 | -0.596 | 985959 | 985959 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 968186 | 969845 | -1659 | -1327200 | -1.3272 | 986530 | 986530 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 976942 | 978891 | -1949 | -1559200 | -1.5592 | 992674 | 992674 | 0 | 0 | 0
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 969462 | 970479 | -1017 | -813600 | -0.8136 | 994421 | 994421 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 991414 | 992937 | -1523 | -76150 | -0.07615 | 19250 | 19248 | 2 | 100 | 0.0001
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 983649 | 985472 | -1823 | -136725 | -0.13673 | 22786 | 22787 | -1 | -75 | -7.5e-05
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 999897 | 1000083 | -186 | -93000 | -0.093 | 5204 | 5209 | -5 | -2500 | -0.0025
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 999268 | 999295 | -27 | -10125 | -0.010125 | 7710 | 7701 | 9 | 3375 | 0.003375
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 984463 | 985370 | -907 | -90700 | -0.0907 | 340335 | 340338 | -3 | -300 | -0.0003
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 3767 | 3312 | 455 | 34125 | 0.034125 | 36236 | 36201 | 35 | 2625 | 0.002625
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 6538 | 5651 | 887 | 88700 | 0.0887 | 1306 | 1305 | 1 | 100 | 0.0001
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997520 | 997826 | -306 | -306000 | -0.306 | 102136 | 102136 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997496 | 998151 | -655 | -655000 | -0.655 | 15 | 15 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986939 | 987652 | -713 | -713000 | -0.713 | 143913 | 143914 | -1 | -1000 | -0.001
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5263 | 5555 | -292 | -292000 | -0.292 | 59503 | 59503 | 0 | 0 | 0
[10 empty] | -1.966 |  |  |  |  | -0.001
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998887 | 999001 | -114 | -114000 | -0.114 | 1869 | 1869 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 8838 | 8568 | 270 | 43200 | 0.0432 | 10782 | 10781 | 1 | 160 | 0.00016
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 2389 | 2015 | 374 | 74800 | 0.0748 | 2839 | 2835 | 4 | 800 | 0.0008
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991700 | 992282 | -582 | -582000 | -0.582 | 999555 | 999639 | -84 | -84000 | -0.084
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999028 | 999028 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
JANUARY-2019
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 144 | 276 | -132 | 132000 | 0.132 | 994496 | 994496 | 0 | 0 | 0
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -500 | 962094 | 962354 | -260 | 130000 | 0.13 | 986905 | 986905 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998009 | 998003 | 6 | -12000 | -0.012 | 998656 | 998656 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 66 | 77 | -11 | 11000 | 0.011 | 0 | 0 | 0 | 0 | 0
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 445593 | 444566 | 1027 | 102700 | 0.1027 | 46706 | 46706 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
36 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 101106 | 100745 | 361 | 36100 | 0.0361 | 74169 | 74167 | 2 | 200 | 0.0002
37 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 1323 | 834 | 489 | 48900 | 0.0489 | 2 | 0 | 2 | 200 | 0.0002 | w.e.f 17/11/18
38 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 26833 | 28154 | -1321 | -132100 | -0.1321 | 62222 | 62222 | 0 | 0 | 0
TILAK MARG
39 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 100 | 17876 | 15351 | 2525 | 252500 | 0.2525 | 277 | 277 | 0 | 0 | 0 | w.e.f 31/05/18
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 375573 | 375985 | -412 | 41200 | 0.0412 | 2041 | 2041 | 0 | 0 | 0
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4875 | 4984 | -109 | 109000 | 0.109 | 1922 | 1922 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10616 | 10455 | 161 | -12075 | -0.012075 | 17598 | 17598 | 0 | 0 | 0
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5164 | 5038 | 126 | -12600 | -0.0126 | 9896 | 9896 | 0 | 0 | 0
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -5.4011 |  |  |  |  | -0.077915
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -5.4011 |  |  |  |  | -0.077915
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.018135 |  |  |  |  | -4.8034e-05
| TOTAL ENERGY TO NDMC | [8 empty] | -5.383 |  |  |  |  | -0.077963

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2019
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3704 | 3627 | 77 | 15400 | 0.0154 | 33402 | 32822 | 580 | 116000 | 0.116
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1728 | 1728 | 0 | 0 | 0 | 42414 | 42414 | 0 | 0 | 0
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4463 | 4465 | -2 | -2000 | -0.002 | 52487 | 52492 | -5 | -5000 | -0.005
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 158 | 154 | 4 | 1600 | 0.0016 | 13107 | 12822 | 285 | 114000 | 0.114
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 58 | 165 | -107 | -85600 | -0.0856 | 366 | 367 | -1 | -800 | -0.0008
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 390 | 279 | 111 | 44400 | 0.0444 | 2628 | 2626 | 2 | 800 | 0.0008
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994708 | 995865 | -1157 | -231400 | -0.2314 | 4096 | 4096 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1392 | 1314 | 78 | 78000 | 0.078 | 998682 | 998682 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.1796 |  |  |  |  | 0.225
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 64117 | 64198 | -81 | -8100 | -0.0081 | 95752 | 95723 | 29 | 2900 | 0.0029
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78249 | 78248 | 1 | 100 | 0.0001 | 18269 | 18241 | 28 | 2800 | 0.0028
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 66809 | 66809 | 0 | 0 | 0 | 123883 | 122710 | 1173 | 117300 | 0.1173
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5 | 0 | 5 | 5000 | 0.005 | 29 | 0 | 29 | 29000 | 0.029
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 647 | 647 | 0 | 0 | 0 | 1662 | 1662 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10282 | 10282 | 0 | 0 | 0 | 4278 | 4262 | 16 | 1600 | 0.0016
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | -0.003 |  |  |  |  | 0.1536
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | -0.003 |  |  |  |  | 0.1536
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.1796 |  |  |  |  | 0.225
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.1826 |  |  |  |  | 0.3786
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.1826 | (REACTIVE MUs) |  |  |  | 0.3786 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0041878 | (REACTIVE MUs) |  |  |  | -1.1092e-05 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.17841 | (REACTIVE MUs) |  |  |  | 0.37859 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2019
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 995712 | 996150 | -438 | -273750 | -0.27375 | 999990 | 999990 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 998571 | 999010 | -439 | -274375 | -0.27437 | 999883 | 999883 | 0 | 0 | 0
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 400 | 996820 | 996801 | 19 | 7600 | 0.0076 | 999896 | 999896 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.54052 |  |  |  |  | 0

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2019
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 964366 | 965262 | -896 | -89600 | -0.0896 | 2000 | 2000 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 74485 | 77292 | -2807 | -280700 | -0.2807 | 5721 | 5721 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 14799 | 13886 | 913 | 456500 | 0.4565 | 2766 | 2766 | 0 | 0 | 0
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999640 | 999742 | -102 | -95625 | -0.095625 | 106 | 106 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -500 | 996025 | 996025 | 0 | 0 | 0 | 999839 | 999839 | 0 | 0 | 0
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 998867 | 999806 | -939 | 469500 | 0.4695 | 0 | 0 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 74 | 74 | 0 | 0 | 0 | 999900 | 999900 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.46007 |  |  |  |  | 0
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 981496 | 981335 | 161 | 32200 | 0.0322 | 23 | 23 | 0 | 0 | 0
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 992045 | 992504 | -459 | -430312.5 | -0.43031 | 999929 | 999929 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.39811 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1924 | 1866 | 58 | 72500 | 0.0725 | 90 | 90 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 352663 | 345462 | 7201 | 720100 | 0.7201 | 999475 | 999475 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 292274 | 279559 | 12715 | 794687.5 | 0.79469 | 94061 | 94061 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 2824 | 2858 | -34 | -27200 | -0.0272 | 1936 | 1936 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 969873 | 971621 | -1748 | -174800 | -0.1748 | 999175 | 999175 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 998168 | 998801 | -633 | -94950 | -0.09495 | 987262 | 987238 | 24 | 3600 | 0.0036
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997841 | 997895 | -54 | 135000 | 0.135 | 3063 | 3063 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 74 | 74 | 0 | 0 | 0 | 999900 | 999900 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 1.4253 |  |  |  |  | 0.0036
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.46007 |  |  |  |  | 0
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.39811 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.4253 |  |  |  |  | 0.0036

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2019
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 52738 | 49668 | 3070 | 3070000 | 3.07 | 999989 | 999989 | 0 | 0 | 0
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 17300 | 16834 | 466 | 2330000 | 2.33 | 78 | 78 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 5.4 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 5.4 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -3.0564 |  |  |  |  | 0
[7 empty] | NDMC = |  |  | -1.966 |  |  |  |  | -0.001
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -5.0225 |  |  |  |  | -0.001
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.37755 |  |  |  |  | -0.001
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.5248 | % |  |  | 0.11902 |  |  |  |  | -0.00031525
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.1178 | % |  |  | 0.15524 |  |  |  |  | -0.00041118
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 21.0901 | % |  |  | 0.079626 |  |  |  |  | -0.0002109
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.8034 | % |  |  | 0.018135 |  |  |  |  | -4.8034e-05
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.1092 | % |  |  | 0.0041878 |  |  |  |  | -1.1092e-05
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.3546 | % |  |  | 0.0013388 |  |  |  |  | -3.546e-06
Note :Sharing taken from wk-45 abt bill 2018-19

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JANUARY-2019 TO 31st JANUARY-2019
FINAL EXECUTIVE SUMMERY
[5 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | -70.8121 | + | 0.33506
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | -82.9039 | + | 0.21454
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | -30.5849 |  | -0.29477
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | -5.383 |  | -0.077963
5 | NET REACTIVE ENERGY TO MES |  |  |  | -0.17841 | + | 0.37859
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | -0.54052 | + | 0
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2019 | INTIAL READING 01/01/2019 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 36990 | 28006 | 8984 | 6738000 | 6.738 | 999899 | 999899 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | 19852 | 18071 | 1781 | 2671500 | 2.6715 | 33 | 33 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 828345 | 830127 | -1782 | -1336500 | -1.3365 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 8.073 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 987 | 1212 | -225 | -1125000 | -1.125 | 12856 | 12856 | 0 | 0 | 0
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 888722 | 890967 | -2245 | -2245000 | -2.245
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 975077 | 974751 | 326 | 326000 | 0.326 | 207 | 999694 | -999487 | -999487000 | -999.487
[8 empty] | NET REACTIVE ENERGY |  | -0.799 |  |  | NET REACTIVE ENERGY |  | -1001.732