## NDPL
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3269 | 3291 | -22 | 22000 | 0.022 | 999864 | 999983 | -119 | 119000 | 0.119
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9250 | 9193 | 57 | -57000 | -0.057 | 998832 | 998927 | -95 | 95000 | 0.095
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969162 | 969294 | -132 | 132000 | 0.132 | 995728 | 995729 | -1 | 1000 | 0.001
SUBZI MANDI
4 | Tx.1 | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998991 | 998991 | 0 | 0 | 0 | 974077 | 975736 | -1659 | 1659000 | 1.659
|  | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | [5 empty] | 984129 | 984410 | -281 | 281000 | 0.281
5 | Tx.2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2016 | 1206 | 810 | -810000 | -0.81 | 999181 | 999353 | -172 | 172000 | 0.172
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24000 | 24026 | -26 | 26000 | 0.026 | 17613 | 17667 | -54 | 54000 | 0.054
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 398 | 427 | -29 | 29000 | 0.029 | 999727 | 999786 | -59 | 59000 | 0.059
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 12136 | 12158 | -22 | 27500 | 0.0275 | 992021 | 992261 | -240 | 300000 | 0.3
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994914 | 994978 | -64 | 64000 | 0.064 | 981268 | 981468 | -200 | 200000 | 0.2
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999560 | 999600 | -40 | 40000 | 0.04 | 20 | 20 | 0 | 0 | 0
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999698 | 999763 | -65 | 65000 | 0.065 | 3 | 3 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978813 | 978945 | -132 | 132000 | 0.132 | 997757 | 997757 | 0 | 0 | 0
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 958220 | 960191 | -1971 | -1971000 | -1.971 | 999983 | 999983 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982768 | 982746 | 22 | -22000 | -0.022 | 16908 | 16922 | -14 | 14000 | 0.014
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5666 | 5544 | 122 | -122000 | -0.122 | 20578 | 20574 | 4 | -4000 | -0.004
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12208 | 12082 | 126 | -126000 | -0.126 | 252 | 247 | 5 | -5000 | -0.005
NARAINA
17 | O/G REWARI LINE 1(payal) | 5295159 | ELSTER | Kvarh(Lead/Lag) |  | 999996 | 999996 | 0 | 0 | 0 | 998191 | 519 | 997672 | 0 | 0
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 783 | 783 | 0 | 0 | 0 | 27636 | 28044 | -408 | -408000 | -0.408
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 6805 | 6805 | 0 | 0 | 0 | 177470 | 177470 | 0 | 0 | 0
[10 empty] | 0.0469 |  |  |  |  | 0.0483 | Assessment
|  | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 6 | 3000 | 0.003 | w.e.f 23/09/16
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 119720 | 98003 | 21717 | 2171700 | 2.1717 | 253879 | 253878 | 1 | 100 | 0.0001
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996454 | 996455 | -1 | -1000 | -0.001 | 992911 | 993042 | -131 | -131000 | -0.131
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 539 | 542 | -3 | -3000 | -0.003 | 1286 | 1330 | -44 | -44000 | -0.044
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 59183 | 58105 | 1078 | 107800 | 0.1078 | 7062 | 6956 | 106 | 10600 | 0.0106
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 634168 | 634257 | -89 | -89000 | -0.089 | 796112 | 796167 | -55 | -55000 | -0.055
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 627159 | 627167 | -8 | -8000 | -0.008 | 829263 | 829350 | -87 | -87000 | -0.087
26 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | 400 | 419 | 338 | 81 | 32400 | 0.0324 | 999075 | 999133 | -58 | -23200 | -0.0232
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 5450 | 5449 | 1 | 500 | 0.0005 | 2373 | 2575 | -202 | -101000 | -0.101
KANJAWALA
28 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24584 | 24661 | -77 | 77000 | 0.077 | 980859 | 980860 | -1 | 1000 | 0.001
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12237 | 12166 | 71 | -71000 | -0.071 | 996747 | 996747 | 0 | 0 | 0
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994140 | 994631 | -491 | 491000 | 0.491 | 999835 | 999835 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5592 | 5208 | 384 | -384000 | -0.384 | 999569 | 999573 | -4 | 4000 | 0.004
DSIDC BAWANA
32 | 66KV TX.1 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26440 | 24894 | 1546 | -1546000 | -1.546 | 12 | 13 | -1 | 1000 | 0.001
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11445 | 10680 | 765 | -765000 | -0.765 | 998816 | 998816 | 0 | 0 | 0
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23493 | 22005 | 1488 | -1488000 | -1.488 | 1594 | 1594 | 0 | 0 | 0
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5634 | 5657 | -23 | 23000 | 0.023 | 998414 | 998414 | 0 | 0 | 0
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 248 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993354 | 993354 | 0 | 0 | 0 | 998733 | 998765 | -32 | 32000 | 0.032
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9129 | 9115 | 14 | -14000 | -0.014 | 1413 | 1384 | 29 | -29000 | -0.029
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2074 | 2074 | 0 | 0 | 0 | 26913 | 26449 | 464 | 464000 | 0.464
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 40 | 40 | 0 | 0 | 0 | 24079 | 21430 | 2649 | 264900 | 0.2649
| NDPL(+) continue | [14 empty] | SEPTEMBER-2016
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
42 | 20MVA Tx-2 | 4902503 | ELSTER | Kvarh(Lead/Lag) | 416.66 | 999029 | 999343 | -314 | -130831.24 | -0.13083 | 296 | 260 | 36 | 14999.76 | 0.015
VISHAL
43 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9137 | 9151 | -14 | -1400 | -0.0014 | 37478 | 37488 | -10 | -1000 | -0.001
44 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11988 | 11772 | 216 | 21600 | 0.0216 | 71300 | 70554 | 746 | 74600 | 0.0746
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 724 | 669 | 55 | 5500 | 0.0055 | 12160 | 11545 | 615 | 61500 | 0.0615
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 13147 | 12633 | 514 | 51400 | 0.0514 | 11384 | 11315 | 69 | 6900 | 0.0069
47 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 999999 | 999999 | 0 | 0 | 0 | 3076 | 1650 | 1426 | 142600 | 0.1426
52 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989990 | 990217 | -227 | -10087.88 | -0.010088 | 234 | 245 | -11 | -488.84 | -0.00048884
B.G.ROAD
53 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5654 | 5539 | 115 | 57500 | 0.0575 | 34422 | 34414 | 8 | 4000 | 0.004
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999969 | 999938 | 31 | 15500 | 0.0155 | 542 | 540 | 2 | 1000 | 0.001
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 129 | 95 | 34 | 22666.78 | 0.022667 | 107 | 100 | 7 | 4666.69 | 0.0046667
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 2677 | 2557 | 120 | 80000 | 0.08 | 1329 | 1298 | 31 | 20666.6667 | 0.020667
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 998401 | 998400 | 1 | 100 | 0.0001 | 953 | 952 | 1 | 100 | 0.0001
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999736 | 999737 | -1 | -100 | -0.0001 | 999921 | 999924 | -3 | -300 | -0.0003
59 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23972 | 24011 | -39 | -3900 | -0.0039 | 57849 | 57853 | -4 | -400 | -0.0004
60 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
62 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
63 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1926 | 1882 | 44 | 4400 | 0.0044 | 6143 | 5750 | 393 | 39300 | 0.0393
64 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 28012 | 27598 | 414 | 41400 | 0.0414 | 67770 | 67688 | 82 | 8200 | 0.0082
65 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 6412 | 5785 | 627 | 62700 | 0.0627 | 2255 | 2114 | 141 | 14100 | 0.0141
KASHMIRI GATE
66 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 193644 | 192423 | 1221 | 122100 | 0.1221 | 19830 | 19717 | 113 | 11300 | 0.0113
67 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 24477 | 24477 | 0 | 0 | 0 | 50872 | 50582 | 290 | 29000 | 0.029
68 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 462 | 457 | 5 | -1500 | -0.0015
REWARI LINE (11KV TRANSFER OF ENERGY)
69 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995610 | 995607 | 3 | -1200 | -0.0012 | 67 | 54 | 13 | -5200 | -0.0052
70 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999919 | 999919 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
MUNDKA
71 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 972919 | 972919 | 0 | 0 | 0 | 996609 | 996704 | -95 | -76000 | -0.076
72 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 2076 | 2076 | 0 | 0 | 0 | 1098 | 1101 | -3 | -6000 | -0.006
PEERAGARHI
73 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | RANI BAGH(L-2) | 4864811 | ELSTER | Kvarh(Lead/Lag) | 100 | 999739 | 999739 | 0 | 0 | 0 | 999872 | 999630 | 242 | 24200 | 0.0242
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -3.6519 |  |  |  |  | 3.2619
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) |  | 2495 | 2256 | 239 | 0 | 0 | 569 | 344 | 225 | 0 | 0
MANGOLPURI
2 | NANGLOI-2 EXP | 4864959 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14933 | 14932 | 1 | -1000 | -0.001 | 7098 | 7128 | -30 | 30000 | 0.03 | Check meter Data
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 11920 | 11899 | 21 | -4200 | -0.0042 | 21017 | 20577 | 440 | -88000 | -0.088
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86111 | 86088 | 23 | -23000 | -0.023 | 123227 | 123061 | 166 | -166000 | -0.166
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864813 | ELSTER | Kvarh(Lead/Lag) | -100 | 19667 | 19723 | -56 | 5600 | 0.0056 | 143333 | 143369 | -36 | 3600 | 0.0036 | Check meter Data
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 997468 | 998268 | -800 | 640000 | 0.64 | 999999 | 999999 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 1000030 | 999958 | 72 | 144000 | 0.144
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.6174 |  |  |  |  | -0.0764
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -3.6519 |  |  |  |  | 3.2619
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.6174 |  |  |  |  | -0.0764
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.11039 |  |  |  |  | -0.06485
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -2.9241 |  |  |  |  | 3.1207
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -2.9241 | (REACTIVE MUs) |  |  |  | 3.1207 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.020904 | (REACTIVE MUs) |  |  |  | -1.6765 | (REACTIVE MUs)
[9 empty] | TOTAL | -2.945 | (REACTIVE MUs) |  |  |  | 1.4442 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | SEPTEMBER-2016
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 16670 | 17543 | -873 | -87300 | -0.0873 | 2108 | 1969 | 139 | 13900 | 0.0139
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 7644 | 6914 | 730 | 219000 | 0.219 | 1436 | 1457 | -21 | -6300 | -0.0063
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 5209 | 1418 | 3791 | 284325 | 0.28432 | 6640 | 5132 | 1508 | 113100 | 0.1131
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 1000070 | 999761 | 309 | 92700 | 0.0927 | 5276 | 5287 | -11 | -3300 | -0.0033
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1671 | 1630 | 41 | 54665.3 | 0.054665 | 2689 | 2637 | 52 | 69331.6 | 0.069332
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 34322 | 33653 | 669 | 66900 | 0.0669 | 171620 | 171120 | 500 | 50000 | 0.05
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 994363 | 989902 | 4461 | 334575 | 0.33458 | 1000238 | 999376 | 862 | 64650 | 0.06465
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989280 | 989306 | -26 | -26000 | -0.026 | 1864 | 1879 | -15 | -15000 | -0.015
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997563 | 997572 | -9 | -9000 | -0.009 | 3338 | 3290 | 48 | 48000 | 0.048
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 194 | 223 | -29 | -29000 | -0.029 | 786 | 782 | 4 | 4000 | 0.004
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997174 | 997203 | -29 | -29000 | -0.029 | 1704 | 1720 | -16 | -16000 | -0.016
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994998 | 994995 | 3 | 3000 | 0.003 | 5240 | 5206 | 34 | 34000 | 0.034
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998380 | 998416 | -36 | -36000 | -0.036 | 999148 | 999172 | -24 | -24000 | -0.024
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999329 | 999334 | -5 | -5000 | -0.005 | 17385 | 17374 | 11 | 11000 | 0.011
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999919 | 999934 | -15 | -12000 | -0.012 | 1255 | 1298 | -43 | -34400 | -0.0344
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999728 | 999726 | 2 | 2000 | 0.002 | 29482 | 29498 | -16 | -16000 | -0.016
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1312 | 1314 | -2 | -2000 | -0.002 | 9673 | 9675 | -2 | -2000 | -0.002
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 12046 | 12026 | 20 | 2000 | 0.002 | 358 | 357 | 1 | 100 | 0.0001
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998169 | 998212 | -43 | -43000 | -0.043 | 15630 | 15629 | 1 | 1000 | 0.001
GT
20 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1375 | 999999 | 999999 | 0 | 0 | 0 | 962502 | 964673 | -2171 | -2985125 | -2.9851
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 665241 | 668874 | -3633 | -3996300 | -3.9963
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980562 | 980586 | -24 | -24000 | -0.024 | 7852 | 7960 | -108 | -108000 | -0.108
| KASHMIRI GATE | [8 empty] | -0.208 |  |  |  |  | -7.0987
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 950099 | 950103 | -4 | 4000 | 0.004 | 941793 | 942351 | -558 | 558000 | 0.558
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961641 | 961346 | 295 | -295000 | -0.295 | 954802 | 954887 | -85 | 85000 | 0.085
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 462 | 457 | 5 | 1500 | 0.0015
NARAINA
26 | DMS | 4864853 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2056 | 2056 | 0 | 0 | 0 | 70423 | 70631 | -208 | -208000 | -0.208 | Data till 20/09
[10 empty] | 0 |  |  |  |  | -0.0208
|  | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 238 | 0 | 238 | 238000 | 0.238 | w.e.f 23/09/16
PARK STREET
27 | TX.-1 (66KV) | 5295161 | ELSTER | Kvarh(Lead/Lag) | -1000 | 419 | 154 | 265 | -265000 | -0.265 | 997469 | 997602 | -133 | 133000 | 0.133
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53626 | 53566 | 60 | -60000 | -0.06 | 970730 | 970732 | -2 | 2000 | 0.002 | Data till 19/09
|  | 4865155 | ELSTER | Kvarh(Lead/Lag) | -2500 | 5155 | 5154 | 1 | -2500 | -0.0025 | 136 | 158 | -22 | 55000 | 0.055 | Check Meter Data
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994305 | 994244 | 61 | -61000 | -0.061 | 993750 | 993760 | -10 | 10000 | 0.01
30 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997619 | 997622 | -3 | 3000 | 0.003 | 45 | 71 | -26 | 26000 | 0.026
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6115 | 5774 | 341 | -682000 | -0.682 | 999051 | 999080 | -29 | 58000 | 0.058
32 | TX.-2 (66KV) | 5128431 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998367 | 998367 | 0 | 0 | 0 | 999558 | 999558 | 0 | 0 | 0 | Check Meter Data
|  | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53 | 0 | 53 | -53000 | -0.053 | 999999 | 1000000 | -1 | 1000 | 0.001 | w.e.f 06/09/16
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997561 | 997427 | 134 | -134000 | -0.134 | 999855 | 999855 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 11920 | 11899 | 21 | 4200 | 0.0042 | 21017 | 20577 | 440 | 88000 | 0.088
35 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 86111 | 86088 | 23 | 23000 | 0.023 | 123227 | 123061 | 166 | 166000 | 0.166
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 999769 | 999701 | 68 | 6800 | 0.0068
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 151772 | 151772 | 0 | 0 | 0 | 49547 | 41735 | 7812 | 781200 | 0.7812
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.76143 |  |  |  |  | -4.8166
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.76143 |  |  |  |  | -4.8166
SEPTEMBER-2016
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981307 | 981303 | 4 | -4000 | -0.004 | 883401 | 883877 | -476 | 476000 | 0.476
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000001 | 999994 | 7 | -7000 | -0.007 | 974335 | 975736 | -1401 | 1401000 | 1.401
|  | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | [5 empty] | 988027 | 988027 | 0 | 0 | 0
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980132 | 980131 | 1 | -1000 | -0.001 | 949263 | 949729 | -466 | 466000 | 0.466
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996306 | 996314 | -8 | 16000 | 0.016 | 975911 | 977352 | -1441 | 2882000 | 2.882
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997003 | 997003 | 0 | 0 | 0 | 519 | 600 | -81 | 81000 | 0.081
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993746 | 993746 | 0 | 0 | 0 | 999880 | 999788 | 92 | -92000 | -0.092
7 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8422 | 8304 | 118 | -118000 | -0.118 | 983386 | 983416 | -30 | 30000 | 0.03
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997270 | 997253 | 17 | -17000 | -0.017 | 979033 | 979067 | -34 | 34000 | 0.034
|  | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | [5 empty] | 995200 | 995200 | 0 | 0 | 0
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991878 | 991967 | -89 | 89000 | 0.089 | 996323 | 997921 | -1598 | 1598000 | 1.598
GEETA COLONY
11 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980608 | 979924 | 684 | -684000 | -0.684 | 968799 | 968993 | -194 | 194000 | 0.194
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959546 | 959546 | 0 | 0 | 0 | 833744 | 835716 | -1972 | 1972000 | 1.972
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15173 | 15109 | 64 | -64000 | -0.064 | 33797 | 33831 | -34 | 34000 | 0.034
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 396 | 373 | 23 | -23000 | -0.023 | 999812 | 999852 | -40 | 40000 | 0.04
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973362 | 973466 | -104 | 104000 | 0.104 | 920017 | 920019 | -2 | 2000 | 0.002
|  | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16575 | 16776 | -201 | 201000 | 0.201
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -0.508 |  |  |  |  | 9.118
| (B) NET ENERGY TO EAST | [8 empty] | -0.508 |  |  |  |  | 9.118
SEPTEMBER-2016
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | -1000 | 419 | 338 | 81 | -81000 | -0.081 | 999075 | 999133 | -58 | 58000 | 0.058
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 5450 | 5449 | 1 | -500 | -0.0005 | 2373 | 2575 | -202 | 101000 | 0.101
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 54440 | 54400 | 40 | -8000 | -0.008 | 85384 | 85252 | 132 | -26400 | -0.0264
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 72434 | 72450 | -16 | 1600 | 0.0016 | 139330 | 139358 | -28 | 2800 | 0.0028
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 976826 | 976849 | -23 | 4600 | 0.0046 | 996655 | 996742 | -87 | 17400 | 0.0174
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 85194 | 85194 | 0 | 0 | 0 | 107261 | 107261 | 0 | 0 | 0
[10 empty] | 0.005 |  |  |  |  | 0.0838 | Assessment
|  | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 26 | 0 | 26 | -5200 | -0.0052 | 421 | 0 | 421 | -84200 | -0.0842 | w.e.f 15/09
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 14764 | 14759 | 5 | -4000 | -0.004 | 10343 | 9909 | 434 | -347200 | -0.3472
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 14200 | 14196 | 4 | -8000 | -0.008 | 3761 | 3653 | 108 | -216000 | -0.216
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 977666 | 977669 | -3 | 2400 | 0.0024 | 988298 | 988500 | -202 | 161600 | 0.1616
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 997594 | 997605 | -11 | 8800 | 0.0088 | 994237 | 994970 | -733 | 586400 | 0.5864
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 998071 | 998072 | -1 | 800 | 0.0008 | 997911 | 998238 | -327 | 261600 | 0.2616
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 984175 | 984181 | -6 | 4800 | 0.0048 | 994161 | 994283 | -122 | 97600 | 0.0976
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983742 | 983778 | -36 | 36000 | 0.036 | 34431 | 34751 | -320 | 320000 | 0.32
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2074 | 2074 | 0 | 0 | 0 | 26913 | 26449 | 464 | -464000 | -0.464
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 40 | 40 | 0 | 0 | 0 | 24079 | 21430 | 2649 | -264900 | -0.2649
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5654 | 5539 | 115 | -57500 | -0.0575 | 34422 | 34414 | 8 | -4000 | -0.004
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999969 | 999938 | 31 | -15500 | -0.0155 | 542 | 540 | 2 | -1000 | -0.001
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 129 | 95 | 34 | -22666.78 | -0.022667 | 107 | 100 | 7 | -4666.69 | -0.0046667
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 2677 | 2557 | 120 | -80000 | -0.08 | 1329 | 1298 | 31 | -20666.6667 | -0.020667
KASHMIRI GATE
22 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 193644 | 192423 | 1221 | -122100 | -0.1221 | 19830 | 19717 | 113 | -11300 | -0.0113
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 24477 | 24477 | 0 | 0 | 0 | 50872 | 50582 | 290 | -29000 | -0.029
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 998401 | 998400 | 1 | -100 | -0.0001 | 953 | 952 | 1 | -100 | -0.0001
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999736 | 999737 | -1 | 100 | 0.0001 | 999921 | 999924 | -3 | 300 | 0.0003
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23972 | 24011 | -39 | 3900 | 0.0039 | 57849 | 57853 | -4 | 400 | 0.0004
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1926 | 1882 | 44 | -4400 | -0.0044 | 6143 | 5750 | 393 | -39300 | -0.0393
31 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 28012 | 27598 | 414 | -41400 | -0.0414 | 67770 | 67688 | 82 | -8200 | -0.0082
32 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 6412 | 5785 | 627 | -62700 | -0.0627 | 2255 | 2114 | 141 | -14100 | -0.0141
[10 empty] | -0.44507 |  |  |  |  | 0.15587
SEPTEMBER-2016
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.76143 |  |  |  |  | -4.8166
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.44507 |  |  |  |  | 0.15587
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.15523 |  |  |  |  | -0.046375
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.3617 |  |  |  |  | -4.7072
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -0.508 |  |  |  |  | 9.118
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -1.8697 |  |  |  |  | 4.4108
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.8697 | (REACTIVE MUs) |  |  |  | 4.4108 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.016748 | (REACTIVE MUs) |  |  |  | -1.3432 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.8865 | (REACTIVE MUs) |  |  |  | 3.0677 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | SEPTEMBER-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999702 | 999718 | -16 | -80000 | -0.08 | 999835 | 999825 | 10 | 50000 | 0.05
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984931 | 984867 | 64 | 85333.12 | 0.085333 | 673058 | 673096 | -38 | -50666.54 | -0.050667
3 | BAY-13 | 5295153 | ELSTER | Kvarh(Lead/Lag) | 100 | 2282 | 2041 | 241 | 24100 | 0.0241 | 1196 | 1042 | 154 | 15400 | 0.0154
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 16529 | 16298 | 231 | 231000 | 0.231 | 384 | 377 | 7 | 7000 | 0.007
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 14344 | 13710 | 634 | 63400 | 0.0634 | 4057 | 3618 | 439 | 43900 | 0.0439
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 728860 | 725723 | 3137 | 235275 | 0.23528 | 23484 | 23669 | -185 | -13875 | -0.013875
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 986253 | 986838 | -585 | -43875 | -0.043875 | 997318 | 997545 | -227 | -17025 | -0.017025
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 998168 | 998009 | 159 | 143100 | 0.1431 | 998491 | 998361 | 130 | 117000 | 0.117
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 2862 | 2632 | 230 | -115000 | -0.115 | 988860 | 989019 | -159 | 79500 | 0.0795
11 | Tx.2 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990051 | 990045 | 6 | -6000 | -0.006 | 945752 | 945913 | -161 | 161000 | 0.161 | Check Meter Data
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997199 | 997199 | 0 | 0 | 0 | 996297 | 996297 | 0 | 0 | 0
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1928 | 1892 | 36 | -36000 | -0.036 | 999923 | 1000066 | -143 | 143000 | 0.143
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998407 | 998403 | 4 | -4000 | -0.004 | 968022 | 968559 | -537 | 537000 | 0.537
PAAPANKALAN-II
15 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981807 | 981796 | 11 | -11000 | -0.011 | 967122 | 967188 | -66 | 66000 | 0.066
16 | Tx.2 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41189 | 41155 | 34 | -34000 | -0.034 | 13297 | 13160 | 137 | -137000 | -0.137
|  | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22603 | 22354 | 249 | -249000 | -0.249
17 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36366 | 36368 | -2 | 2000 | 0.002 | 984895 | 985375 | -480 | 480000 | 0.48
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998909 | 998952 | -43 | 43000 | 0.043 | 954117 | 954191 | -74 | 74000 | 0.074
|  | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | [5 empty] | 970151 | 970355 | -204 | 204000 | 0.204
NAJAFGARH
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -500 | 759 | 706 | 53 | -26500 | -0.0265 | 991832 | 991574 | 258 | -129000 | -0.129
20 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998629 | 998397 | 232 | -232000 | -0.232 | 994925 | 994933 | -8 | 8000 | 0.008
21 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20004 | 19993 | 11 | -11000 | -0.011 | 997388 | 997366 | 22 | -22000 | -0.022
22 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14564 | 14347 | 217 | -217000 | -0.217 | 999127 | 999135 | -8 | 8000 | 0.008
IMPORT
MANGOLPURI
23 | NANGLOI-2 (03) IMP. | 4864959 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14933 | 14932 | 1 | 1000 | 0.001 | 7098 | 7128 | -30 | -30000 | -0.03 | Check meter Data
LODHI ROAD
24 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984344 | 984645 | -301 | 301000 | 0.301 | 986326 | 986584 | -258 | 258000 | 0.258
25 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992983 | 993117 | -134 | 134000 | 0.134 | 986177 | 986829 | -652 | 652000 | 0.652
OKHLA
26 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995501 | 995464 | 37 | -37000 | -0.037 | 991602 | 991753 | -151 | 151000 | 0.151
27 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990769 | 990746 | 23 | -23000 | -0.023 | 932701 | 933055 | -354 | 354000 | 0.354
28 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 479 | 527 | -48 | 48000 | 0.048 | 34451 | 34595 | -144 | 144000 | 0.144
29 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998651 | 998701 | -50 | 50000 | 0.05 | 996859 | 996869 | -10 | 10000 | 0.01
30 | Tx.4 (33 KV)-Ckt No. 5 | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996159 | 996161 | -2 | 2000 | 0.002 | 862183 | 862317 | -134 | 134000 | 0.134
BRPL(+) continue | [14 empty] | SEPTEMBER-2016
VASANT KUNJ
31 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996895 | 996829 | 66 | -66000 | -0.066 | 971745 | 971796 | -51 | 51000 | 0.051
32 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 999885 | 999695 | 190 | -95000 | -0.095 | 998139 | 998215 | -76 | 38000 | 0.038
33 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8051 | 7927 | 124 | -248000 | -0.248 | 969504 | 969505 | -1 | 2000 | 0.002
MEHRAULI
34 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994003 | 994003 | 0 | 0 | 0 | 900415 | 900699 | -284 | 284000 | 0.284
35 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994489 | 994489 | 0 | 0 | 0 | 927478 | 927478 | 0 | 0 | 0
36 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997890 | 997891 | -1 | 1000 | 0.001 | 985568 | 985829 | -261 | 261000 | 0.261
37 | Tx.4 | 5295171 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999926 | 999943 | -17 | 17000 | 0.017 | 6354 | 6607 | -253 | 253000 | 0.253
RIDGE VALLEY
38 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 969890 | 969937 | -47 | 31333.302 | 0.031333 | 967322 | 967941 | -619 | 412666.254 | 0.41267
39 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 992033 | 992075 | -42 | 105000 | 0.105 | 999831 | 999877 | -46 | 115000 | 0.115
DIAL
40 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4749 | 4740 | 9 | -18000 | -0.018 | 1924 | 1925 | -1 | 2000 | 0.002
41 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1664 | 1651 | 13 | -26000 | -0.026 | 975 | 975 | 0 | 0 | 0
MASJID MOD
42 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 921147 | 921279 | -132 | 132000 | 0.132 | 983924 | 984142 | -218 | 218000 | 0.218
43 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 929387 | 929479 | -92 | 92000 | 0.092 | 987398 | 987636 | -238 | 238000 | 0.238
MUNDKA
44 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
45 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 30613 | 30613 | 0 | 0 | 0 | 6348 | 6134 | 214 | 171200 | 0.1712
46 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 905811 | 905811 | 0 | 0 | 0 | 997121 | 997339 | -218 | -174400 | -0.1744
47 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 1000030 | 999958 | 72 | -144000 | -0.144
48 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 999891 | 999891 | 0 | 0 | 0 | 999789 | 999804 | -15 | -12000 | -0.012
49 | BAY No 616 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999945 | 999945 | 0 | 0 | 0 | 615 | 524 | 91 | 91000 | 0.091
PARK STREET
50 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983742 | 983778 | -36 | -36000 | -0.036 | 34431 | 34751 | -320 | -320000 | -0.32
51 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
52 | TX-1 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 627 | 576 | 51 | -51000 | -0.051 | 999979 | 999979 | 0 | 0 | 0
53 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2721 | 2694 | 27 | -27000 | -0.027 | 999240 | 999250 | -10 | 10000 | 0.01
54 | Tx-3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15048 | 15172 | -124 | 124000 | 0.124 | 999924 | 999924 | 0 | 0 | 0
NARAINA
55 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 2495 | 2256 | 239 | 23900 | 0.0239 | 569 | 344 | 225 | 22500 | 0.0225
SUDARSHAN PARK
56 | VISHAL | 4864813 | ELSTER | Kvarh(Lead/Lag) | 100 | 19667 | 19723 | -56 | -5600 | -0.0056 | 143333 | 143369 | -36 | -3600 | -0.0036 | Check meter Data
57 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 999622 | 999610 | 12 | 4800 | 0.0048 | 403 | 300 | 103 | 41200 | 0.0412
58 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 528 | 516 | 12 | 4800 | 0.0048 | 578 | 532 | 46 | 18400 | 0.0184
REWARI LINE
59 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
60 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 997468 | 998268 | -800 | -640000 | -0.64 | 999999 | 999999 | 0 | 0 | 0
Trauma Centre
61 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 105902 | 101633 | 4269 | 426900 | 0.4269 | 251 | 52 | 199 | 19900 | 0.0199
62 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 100 | 304 | 297 | 7 | 700 | 0.0007 | 149 | 112 | 37 | 3700 | 0.0037
A.I.I.M.S.
63 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 4000 | 3950 | 50 | 3750 | 0.00375 | 11616 | 11097 | 519 | 38925 | 0.038925
64 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 1321 | 1289 | 32 | 3200 | 0.0032 | 4095 | 3811 | 284 | 28400 | 0.0284
PEERGARHI
65 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999953 | 999953 | 0 | 0 | 0 | 2622 | 2607 | 15 | 15000 | 0.015
66 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 463 | 463 | 0 | 0 | 0 | 3586 | 3474 | 112 | 112000 | 0.112
67 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998409 | 998409 | 0 | 0 | 0 | 1211 | 1156 | 55 | 55000 | 0.055
68 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1246 | 1246 | 0 | 0 | 0 | 6110 | 5963 | 147 | 147000 | 0.147
69 | PASCHIM PURI - I (L-7) | 5269791 | ELSTER | Kvarh(Lead/Lag) | 2000 | 266 | 266 | 0 | 0 | 0 | 1077 | 1077 | 0 | 0 | 0
70 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 998883 | 998883 | 0 | 0 | 0 | 42177 | 39102 | 3075 | 307500 | 0.3075
71 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
72 | PEERGARHI - 2(L-10) | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 520 | 520 | 0 | 0 | 0 | 4797 | 4409 | 388 | 388000 | 0.388
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.0043836 |  |  |  |  | 5.9876
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 157413 | 152483 | 4930 | -493000 | -0.493 | 912835 | 912835 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -100 | 999998 | 999998 | 0 | 0 | 0 | 999769 | 999701 | 68 | -6800 | -0.0068
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 151772 | 151772 | 0 | 0 | 0 | 49547 | 41735 | 7812 | -781200 | -0.7812
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996367 | 996367 | 0 | 0 | 0 | 839 | 783 | 56 | -5600 | -0.0056
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6329 | 6332 | -3 | 6000 | 0.006 | 74941 | 74855 | 86 | -172000 | -0.172
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14789 | 14766 | 23 | -23000 | -0.023 | 694 | 576 | 118 | -118000 | -0.118
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 906634 | 906634 | 0 | 0 | 0 | 61066 | 60744 | 322 | -161000 | -0.161
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 994836 | 994836 | 0 | 0 | 0 | 2916 | 2916 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 79612 | 79612 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 88164 | 87997 | 167 | -16700 | -0.0167 | 71160 | 70909 | 251 | -25100 | -0.0251
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 18803 | 18403 | 400 | -40000 | -0.04 | 21774 | 20847 | 927 | -92700 | -0.0927
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999377 | 999377 | 0 | 0 | 0 | 17069 | 17069 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999599 | 999601 | -2 | -1666.66 | -0.0016667
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 369058 | 370807 | -1749 | 174900 | 0.1749 | 49058 | 49058 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 4561 | 4501 | 60 | -6000 | -0.006 | 26424 | 25791 | 633 | -63300 | -0.0633
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4902503 | ELSTER | Kvarh(Lead/Lag) | -416.66 | 999029 | 999343 | -314 | 130831.24 | 0.13083 | 296 | 260 | 36 | -14999.76 | -0.015
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9137 | 9151 | -14 | 1400 | 0.0014 | 37478 | 37488 | -10 | 1000 | 0.001
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11988 | 11772 | 216 | -21600 | -0.0216 | 71300 | 70554 | 746 | -74600 | -0.0746
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 724 | 669 | 55 | -5500 | -0.0055 | 12160 | 11545 | 615 | -61500 | -0.0615
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 13147 | 12633 | 514 | -51400 | -0.0514 | 11384 | 11315 | 69 | -6900 | -0.0069
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 999999 | 999999 | 0 | 0 | 0 | 3076 | 1650 | 1426 | -142600 | -0.1426
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989990 | 990217 | -227 | 10087.88 | 0.010088 | 234 | 245 | -11 | 488.84 | 0.00048884
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995610 | 995607 | 3 | 1200 | 0.0012 | 67 | 54 | 13 | 5200 | 0.0052
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999919 | 999919 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.33278 |  |  |  |  | -1.7213
SEPTEMBER-2016
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -0.0043836 |  |  |  |  | 5.9876
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.33278 |  |  |  |  | -1.7213
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.018844 |  |  |  |  | -0.40969
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0607 |  |  |  |  | -0.089
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -0.41671 |  |  |  |  | 3.7677
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.41671 | (REACTIVE MUs) |  |  |  | 3.7677 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.029713 | (REACTIVE MUs) |  |  |  | -2.383 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.44642 | (REACTIVE MUs) |  |  |  | 1.3847 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 54440 | 54400 | 40 | 8000 | 0.008 | 85384 | 85252 | 132 | 26400 | 0.0264
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 72434 | 72450 | -16 | -1600 | -0.0016 | 139330 | 139358 | -28 | -2800 | -0.0028
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 976826 | 976849 | -23 | -4600 | -0.0046 | 996655 | 996742 | -87 | -17400 | -0.0174
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 85194 | 85194 | 0 | 0 | 0 | 107261 | 107261 | 0 | 0 | 0
[10 empty] | 0.005 |  |  |  |  | 0.0838 | Assessment
|  | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 26 | 0 | 26 | 5200 | 0.0052 | 421 | 0 | 421 | 84200 | 0.0842 | w.e.f 15/09
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 14764 | 14759 | 5 | 4000 | 0.004 | 10343 | 9909 | 434 | 347200 | 0.3472
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 14200 | 14196 | 4 | 8000 | 0.008 | 3761 | 3653 | 108 | 216000 | 0.216
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 977666 | 977669 | -3 | -2400 | -0.0024 | 988298 | 988500 | -202 | -161600 | -0.1616
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 997594 | 997605 | -11 | -8800 | -0.0088 | 994237 | 994970 | -733 | -586400 | -0.5864
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 998071 | 998072 | -1 | -800 | -0.0008 | 997911 | 998238 | -327 | -261600 | -0.2616
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 984175 | 984181 | -6 | -4800 | -0.0048 | 994161 | 994283 | -122 | -97600 | -0.0976
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 5625 | 5859 | -234 | -23400 | -0.0234 | 406241 | 405576 | 665 | 66500 | 0.0665
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 996763 | 995420 | 1343 | 100725 | 0.10072 | 5904 | 5231 | 673 | 50475 | 0.050475
13 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 28849 | 28217 | 632 | 63200 | 0.0632 | 383136 | 382531 | 605 | 60500 | 0.0605
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998266 | 998348 | -82 | -30750 | -0.03075 | 999844 | 999882 | -38 | -14250 | -0.01425
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 990728 | 990768 | -40 | -4000 | -0.004 | 318190 | 317680 | 510 | 51000 | 0.051
16 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 4416 | 4711 | -295 | -29500 | -0.0295 | 200247 | 200357 | -110 | -11000 | -0.011
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 4763 | 5265 | -502 | -50200 | -0.0502 | 258021 | 258077 | -56 | -5600 | -0.0056
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 74203 | 73363 | 840 | 84000 | 0.084 | 715612 | 715205 | 407 | 40700 | 0.0407
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 103930 | 103431 | 499 | 548900 | 0.5489
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999972 | 999973 | -1 | -1000 | -0.001 | 44186 | 43760 | 426 | 426000 | 0.426
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 146080 | 146274 | -194 | -213400 | -0.2134
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2913 | 2909 | 4 | 4000 | 0.004 | 58384 | 57753 | 631 | 631000 | 0.631
[10 empty] | 0.003 |  |  |  |  | 1.3925
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 6329 | 6332 | -3 | -6000 | -0.006 | 74941 | 74855 | 86 | 172000 | 0.172
24 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14789 | 14766 | 23 | 23000 | 0.023 | 694 | 576 | 118 | 118000 | 0.118
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 906634 | 906634 | 0 | 0 | 0 | 61066 | 60744 | 322 | 161000 | 0.161
26 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 994836 | 994836 | 0 | 0 | 0 | 2916 | 2916 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999377 | 999377 | 0 | 0 | 0 | 17069 | 17069 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999599 | 999601 | -2 | -1666.66 | -0.0016667
SEPTEMBER-2016
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 949800 | 950065 | -265 | 265000 | 0.265 | 971357 | 971457 | -100 | 100000 | 0.1
31 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985602 | 985858 | -256 | 256000 | 0.256 | 995335 | 995438 | -103 | 103000 | 0.103
ELECTRIC LANE
32 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963560 | 963818 | -258 | 258000 | 0.258 | 978707 | 978776 | -69 | 69000 | 0.069
33 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978418 | 978686 | -268 | 268000 | 0.268 | 990466 | 990617 | -151 | 151000 | 0.151
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 369058 | 370807 | -1749 | -174900 | -0.1749 | 49058 | 49058 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 4561 | 4501 | 60 | 6000 | 0.006 | 26424 | 25791 | 633 | 63300 | 0.0633
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 79612 | 79612 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 88164 | 87997 | 167 | 16700 | 0.0167 | 71160 | 70909 | 251 | 25100 | 0.0251
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 18803 | 18403 | 400 | 40000 | 0.04 | 21774 | 20847 | 927 | 92700 | 0.0927
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 157413 | 152483 | 4930 | 493000 | 0.493 | 912835 | 912835 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 105902 | 101633 | 4269 | -426900 | -0.4269 | 251 | 52 | 199 | -19900 | -0.0199
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -100 | 304 | 297 | 7 | -700 | -0.0007 | 149 | 112 | 37 | -3700 | -0.0037
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 4000 | 3950 | 50 | -3750 | -0.00375 | 11616 | 11097 | 519 | -38925 | -0.038925
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 1321 | 1289 | 32 | -3200 | -0.0032 | 4095 | 3811 | 284 | -28400 | -0.0284
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 1.1305 |  |  |  |  | 2.2235
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 1.1305 |  |  |  |  | 2.2235
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.0031298 |  |  |  |  | -0.25101
| TOTAL ENERGY TO NDMC | [8 empty] | 1.1274 |  |  |  |  | 1.9725

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2016
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864858 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2238 | 2238 | 0 | 0 | 0 | 35123 | 34837 | 286 | 286000 | 0.286 | Check Meter Data
|  | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 0 | 0 | 0 | 0 | 0 | 1601 | 0 | 1601 | 320200 | 0.3202 | w.e.f 14/09/2016
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1487 | 1487 | 0 | 0 | 0 | 38009 | 37101 | 908 | 908000 | 0.908
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3949 | 3949 | 0 | 0 | 0 | 46649 | 45764 | 885 | 885000 | 0.885
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 47 | 47 | 0 | 0 | 0 | 38907 | 34541 | 4366 | 582131.878 | 0.58213
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5698 | 5694 | 4 | 4000 | 0.004 | 11438 | 11395 | 43 | 43000 | 0.043
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12639 | 12639 | 0 | 0 | 0 | 61661 | 61680 | -19 | -9500 | -0.0095
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996367 | 996367 | 0 | 0 | 0 | 839 | 783 | 56 | 5600 | 0.0056
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.004 |  |  |  |  | 3.0204
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3438 | 3438 | 0 | 0 | 0 | 34490 | 34490 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 55953 | 55705 | 248 | 24800 | 0.0248 | 87539 | 87271 | 268 | 26800 | 0.0268
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 77371 | 77257 | 114 | 11400 | 0.0114 | 14890 | 14866 | 24 | 2400 | 0.0024
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 56350 | 56105 | 245 | 24500 | 0.0245 | 98792 | 98194 | 598 | 59800 | 0.0598
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 629 | 629 | 0 | 0 | 0 | 1005 | 1005 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 9882 | 9871 | 11 | 1100 | 0.0011 | 3210 | 3203 | 7 | 700 | 0.0007
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0607 |  |  |  |  | 0.089
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0607 |  |  |  |  | 0.089
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.004 |  |  |  |  | 3.0204
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0647 |  |  |  |  | 3.1094
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0647 | (REACTIVE MUs) |  |  |  | 3.1094 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.00050538 | (REACTIVE MUs) |  |  |  | -0.040531 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.064195 | (REACTIVE MUs) |  |  |  | 3.0689 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2016
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 3902 | 4440 | -538 | -53800 | -0.0538 | 2117 | 2181 | -64 | -6400 | -0.0064
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 24470 | 23302 | 1168 | 116800 | 0.1168 | 2566 | 2202 | 364 | 36400 | 0.0364
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 3359 | 3377 | -18 | -9000 | -0.009 | 1380 | 1122 | 258 | 129000 | 0.129
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 38501 | 38519 | -18 | -16875 | -0.016875 | 19109 | 19108 | 1 | 937.5 | 0.0009375 | Data till 19/09
|  | 4864879 | ELSTER | Kvarh(Lead/Lag) | 93.75 | 36546 | 36551 | -5 | -468.75 | -0.00046875 | 19055 | 19058 | -3 | -281.25 | -0.00028125 | Check Meter data
AT 33/11 KV LEVEL
5 | TX.-I | 5129957 | ELSTER | Kvarh(Lead/Lag) | 250 | 999973 | 999999 | -26 | -6500 | -0.0065 | 992164 | 994379 | -2215 | -553750 | -0.55375
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 983977 | 983879 | 98 | -49000 | -0.049 | 976562 | 976532 | 30 | -15000 | -0.015
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 109 | 109 | 0 | 0 | 0 | 999964 | 999966 | -2 | -600 | -0.0006
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.018844 |  |  |  |  | -0.40969
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 994472 | 994575 | -103 | -20600 | -0.0206 | 999739 | 999834 | -95 | -19000 | -0.019
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 923759 | 924118 | -359 | -134625 | -0.13462 | 997229 | 997302 | -73 | -27375 | -0.027375
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.15523 |  |  |  |  | -0.046375
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 281548 | 281207 | 341 | 68200 | 0.0682 | 267392 | 266810 | 582 | 116400 | 0.1164
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 152452 | 151907 | 545 | 54500 | 0.0545 | 999001 | 999264 | -263 | -26300 | -0.0263
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 31481 | 30622 | 859 | 53687.5 | 0.053687 | 986873 | 987205 | -332 | -20750 | -0.02075
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 1000 | 45 | 18 | 27 | 27000 | 0.027 | 276 | 138 | 138 | 138000 | 0.138
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 996501 | 996656 | -155 | -15500 | -0.0155 | 999677 | 999726 | -49 | -4900 | -0.0049
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 999090 | 999090 | 0 | 0 | 0 | 994805 | 996541 | -1736 | -260400 | -0.2604
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999295 | 999264 | 31 | -77500 | -0.0775 | 3071 | 3068 | 3 | -7500 | -0.0075
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 109 | 109 | 0 | 0 | 0 | 999964 | 999966 | -2 | 600 | 0.0006
| TOTAL NDPL | [8 empty] | 0.11039 |  |  |  |  | -0.06485
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.018844 |  |  |  |  | -0.40969
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.15523 |  |  |  |  | -0.046375
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.11039 |  |  |  |  | -0.06485

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2016
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 27090 | 27053 | 37 | 74000 | 0.074 | 1804 | 1803 | 1 | 2000 | 0.002
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 2365 | 2353 | 12 | 60000 | 0.06 | 155 | 153 | 2 | 10000 | 0.01
[7 empty] | NET REACTIVE ENERGY |  |  | 0.134 |  | NET REACTIVE ENERGY |  |  | 0.012
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.134 |  |  |  |  | 0.012
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.208 |  |  |  |  | -7.0987
[7 empty] | NDMC = |  |  | 0.003 |  |  |  |  | 1.3925
MES =
[7 empty] | 2)TOTAL |  |  | -0.205 |  |  |  |  | -5.7062
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -0.071 |  |  |  |  | -5.6942
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.4425 | % |  |  | -0.020904 |  |  |  |  | -1.6765
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.8488 | % |  |  | -0.029713 |  |  |  |  | -2.383
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.5887 | % |  |  | -0.016748 |  |  |  |  | -1.3432
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.4082 | % |  |  | -0.0031298 |  |  |  |  | -0.25101
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7118 | % |  |  | -0.00050538 |  |  |  |  | -0.040531
Note :Sharing taken from wk-25 abt bill 2016-17

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st September-2016 TO 1st October-2016
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -2.945 | + | 1.4442
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -0.44642 | + | 1.3847
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -1.8865 | + | 3.0677
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 1.1274 | + | 1.9725
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.064195 | + | 3.0689
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2016 | INTIAL READING 01/09/2016 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 954884 | 954736 | 148 | 222000 | 0.222 | 979114 | 979117 | -3 | -4500 | -0.0045 | data till 19/09
[10 empty] | 0.14 |  |  |  |  | -0.0028 | Assessment
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 992344 | 992220 | 124 | 186000 | 0.186 | 991972 | 992101 | -129 | -193500 | -0.1935
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 890589 | 891939 | -1350 | -1012500 | -1.0125 | 999148 | 999174 | -26 | -19500 | -0.0195
[8 empty] | NET REACTIVE ENERGY |  | -0.4645 |  |  | NET REACTIVE ENERGY |  | -0.2203
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 2000 | 999464 | 999464 | 0 | 0 | 0 | 8910 | 7531 | 1379 | 2758000 | 2.758
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 961335 | 965260 | -3925 | -3925000 | -3.925
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 972934 | 973670 | -736 | -736000 | -0.736 | 991867 | 991816 | 51 | 51000 | 0.051
[8 empty] | NET REACTIVE ENERGY |  | -0.736 |  |  | NET REACTIVE ENERGY |  | -1.116