## NDPL
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2017
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994206 | 995331 | -1125 | 1125000 | 1.125 | 999288 | 999713 | -425 | 425000 | 0.425
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17884 | 17994 | -110 | 110000 | 0.11 | 998216 | 998742 | -526 | 526000 | 0.526
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959484 | 960087 | -603 | 603000 | 0.603 | 995705 | 995709 | -4 | 4000 | 0.004
SUBZI MANDI
4 | Tx.1 | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998367 | 998398 | -31 | 31000 | 0.031 | 972638 | 973361 | -723 | 723000 | 0.723
5 | Tx.2 | 4865173 | ELSTER | Kvarh(Lead/Lag) | -12500 | 412 | 421 | -9 | 112500 | 0.1125 | 999930 | 999931 | -1 | 12500 | 0.0125 | Check Meter Data
|  | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999902 | 1000000 | -98 | 98000 | 0.098 | 999911 | 1000000 | -89 | 89000 | 0.089 | w.e.f 19/04/17
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24504 | 24682 | -178 | 178000 | 0.178 | 17449 | 17603 | -154 | 154000 | 0.154
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 462 | 633 | -171 | 171000 | 0.171 | 999544 | 999706 | -162 | 162000 | 0.162
8 | Tx.-3 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999342 | 999642 | -300 | 300000 | 0.3 | 999448 | 999994 | -546 | 546000 | 0.546 | w.e.f 16/3/17
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986740 | 987235 | -495 | 495000 | 0.495 | 980636 | 981186 | -550 | 550000 | 0.55
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999709 | 999962 | -253 | 253000 | 0.253 | 999990 | 1000020 | -30 | 30000 | 0.03
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 71 | 71 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999100 | 999744 | -644 | 644000 | 0.644 | 999845 | 1000000 | -155 | 155000 | 0.155 | w.e.f 17/3/17
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 919573 | 924792 | -5219 | -5219000 | -5.219 | 999983 | 999983 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983559 | 984174 | -615 | 615000 | 0.615 | 16844 | 16888 | -44 | 44000 | 0.044
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9667 | 9997 | -330 | 330000 | 0.33 | 20542 | 20574 | -32 | 32000 | 0.032
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17723 | 17594 | 129 | -129000 | -0.129 | 261 | 270 | -9 | 9000 | 0.009
NARAINA
17 | O/G REWARI LINE 1(payal) | 5295159 | ELSTER | Kvarh(Lead/Lag) | 400 | 97 | 97 | 0 | 0 | 0 | 981012 | 981012 | 0 | 0 | 0
[10 empty] | 0 |  |  |  |  | -0.159 | Assessment
|  | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999655 | 1000000 | -345 | -345000 | -0.345 | w.e.f 13/04/17
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 795 | 795 | 0 | 0 | 0 | 26148 | 26890 | -742 | -742000 | -0.742
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 653 | 651 | 2 | 1000 | 0.001 | 509 | 307 | 202 | 101000 | 0.101
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 127367 | 126855 | 512 | 51200 | 0.0512 | 264212 | 258504 | 5708 | 570800 | 0.5708
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996188 | 996178 | 10 | 10000 | 0.01 | 990866 | 991254 | -388 | -388000 | -0.388
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 506 | 506 | 0 | 0 | 0 | 999738 | 999893 | -155 | -155000 | -0.155 | Data till 19/04
[10 empty] | 0 |  |  |  |  | -0.093 | Assessment
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 73865 | 72640 | 1225 | 122500 | 0.1225 | 10564 | 8199 | 2365 | 236500 | 0.2365
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 625793 | 625969 | -176 | -176000 | -0.176 | 796080 | 796080 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 611759 | 613353 | -1594 | -1594000 | -1.594 | 829250 | 829250 | 0 | 0 | 0
26 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | 400 | 413 | 613 | -200 | -80000 | -0.08 | 999020 | 999053 | -33 | -13200 | -0.0132
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 5978 | 5957 | 21 | 10500 | 0.0105 | 2316 | 2408 | -92 | -46000 | -0.046
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 259 | 279 | -20 | 20000 | 0.02 | 999223 | 999826 | -603 | 603000 | 0.603
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15688 | 15489 | 199 | -199000 | -0.199 | 996820 | 996895 | -75 | 75000 | 0.075
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11024 | 10845 | 179 | -179000 | -0.179 | 999336 | 999252 | 84 | -84000 | -0.084
DSIDC BAWANA
32 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1854 | 1685 | 169 | -338000 | -0.338 | 999996 | 999965 | 31 | -62000 | -0.062 | W.E.F 09/02/17
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19986 | 19766 | 220 | -220000 | -0.22 | 998827 | 998725 | 102 | -102000 | -0.102
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 42121 | 41610 | 511 | -511000 | -0.511 | 1923 | 1628 | 295 | -295000 | -0.295
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12321 | 12020 | 301 | -301000 | -0.301 | 998406 | 998414 | -8 | 8000 | 0.008
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5168 | 4924 | 244 | -244000 | -0.244 | 17 | 0 | 17 | -17000 | -0.017
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993354 | 993176 | 178 | -178000 | -0.178 | 998727 | 998743 | -16 | 16000 | 0.016
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16415 | 17624 | -1209 | 1209000 | 1.209 | 1398 | 1398 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1965 | 1940 | 25 | 25000 | 0.025 | 27262 | 27183 | 79 | 79000 | 0.079
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 3615 | 3478 | 137 | 13700 | 0.0137 | 23960 | 24208 | -248 | -24800 | -0.0248
| NDPL(+) continue | [14 empty] | APRIL-2017
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
42 | 20MVA Tx-2 | 4902503 | ELSTER | Kvarh(Lead/Lag) | 416.66 | 998754 | 999065 | -311 | -129581.26 | -0.12958 | 365 | 588 | -223 | -92915.18 | -0.092915
VISHAL
43 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9124 | 9132 | -8 | -800 | -0.0008 | 37689 | 37652 | 37 | 3700 | 0.0037
44 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 12179 | 12183 | -4 | -400 | -0.0004 | 72863 | 72881 | -18 | -1800 | -0.0018
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 735 | 725 | 10 | 1000 | 0.001 | 14570 | 13509 | 1061 | 106100 | 0.1061
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 84 | 73 | 11 | 14663 | 0.014663 | 71 | 34 | 37 | 49321 | 0.049321
47 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 999088 | 999049 | 39 | 3900 | 0.0039 | 6039 | 5015 | 1024 | 102400 | 0.1024
52 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989743 | 989743 | 0 | 0 | 0 | 390 | 390 | 0 | 0 | 0
B.G.ROAD
53 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5626 | 5626 | 0 | 0 | 0 | 34783 | 34539 | 244 | 122000 | 0.122
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999934 | 999934 | 0 | 0 | 0 | 466 | 476 | -10 | -5000 | -0.005
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 329 | 321 | 8 | 5333.36 | 0.0053334 | 112 | 108 | 4 | 2666.68 | 0.0026667
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 2967 | 2919 | 48 | 32000 | 0.032 | 1360 | 1338 | 22 | 14666.6667 | 0.014667
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997603 | 997680 | -77 | -7700 | -0.0077 | 1523 | 1239 | 284 | 28400 | 0.0284
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999751 | 999751 | 0 | 0 | 0 | 999998 | 999998 | 0 | 0 | 0
59 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 24006 | 23895 | 111 | 11100 | 0.0111 | 57916 | 57731 | 185 | 18500 | 0.0185
60 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
62 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
63 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1504 | 1473 | 31 | 3100 | 0.0031 | 5086 | 5012 | 74 | 7400 | 0.0074
64 | TIBIA COLLEGE-2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 1000464 | 999888 | 576 | 57600 | 0.0576 | 999841 | 999841 | 0 | 0 | 0 | W.E.F 03/03/17
65 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 9821 | 7718 | 2103 | 210300 | 0.2103 | 3729 | 3727 | 2 | 200 | 0.0002
KASHMIRI GATE
66 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 3352 | 1625 | 1727 | 172700 | 0.1727 | 147 | 0 | 147 | 14700 | 0.0147 | W.E.F 09/03/17
67 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 24865 | 24802 | 63 | 6300 | 0.0063 | 51093 | 51066 | 27 | 2700 | 0.0027
68 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 456 | 456 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
69 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995611 | 995611 | 0 | 0 | 0 | 59 | 59 | 0 | 0 | 0
70 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999890 | 999882 | 8 | 3200 | 0.0032 | 6 | 7 | -1 | -400 | -0.0004
MUNDKA
71 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 280 | 0 | 280 | 224000 | 0.224 | 0 | 0 | 0 | 0 | 0
[10 empty] | -0.06 | [5 empty] | Assessment last month
72 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1283 | 1394 | -111 | -222000 | -0.222 | 1096 | 1096 | 0 | 0 | 0
PEERAGARHI
73 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | RANI BAGH(L-2) | 4864811 | ELSTER | Kvarh(Lead/Lag) | 100 | 1001621 | 999622 | 1999 | 199900 | 0.1999 | 999871 | 999868 | 3 | 300 | 0.0003
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -2.315 |  |  |  |  | 2.9977
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-2017
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 5611 | 5346 | 265 | -26500 | -0.0265 | 11034 | 9339 | 1695 | -169500 | -0.1695
MANGOLPURI
2 | NANGLOI-2 EXP | 4864959 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15122 | 15126 | -4 | 4000 | 0.004 | 10403 | 10403 | 0 | 0 | 0 | Check Meter Data
|  | 5128435 | ELSTER | Kvarh(Lead/Lag) | -1250 | 7 | 0 | 7 | -8750 | -0.00875 | 65 | 0 | 65 | -81250 | -0.08125 | w.e.f 11/04/2017
SUBZI MANDI
3 | O/G BG Rd.1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 705 | 708 | -3 | 3000 | 0.003 | 661 | 604 | 57 | -57000 | -0.057 | Check Meter Data
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86864 | 86833 | 31 | -31000 | -0.031 | 123655 | 123455 | 200 | -200000 | -0.2
SUDARSHAN PARK
5 | VISHAL (EXP) | 5295128 | ELSTER | Kvarh(Lead/Lag) | -50 | 969505 | 968668 | 837 | -41850 | -0.04185 | 1796 | 1793 | 3 | -150 | -0.00015
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | -1 | 1000 | 0.001
KANJAWALA
7 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 988162 | 988590 | -428 | 342400 | 0.3424 | 999579 | 999703 | -124 | 99200 | 0.0992
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.2413 |  |  |  |  | -0.4077
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -2.315 |  |  |  |  | 2.9977
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.2413 |  |  |  |  | -0.4077
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 2.6074 |  |  |  |  | 0.015887
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 0.53377 |  |  |  |  | 2.6059
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.53377 | (REACTIVE MUs) |  |  |  | 2.6059 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.55365 | (REACTIVE MUs) |  |  |  | -0.96358 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.0874 | (REACTIVE MUs) |  |  |  | 1.6423 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | APRIL-2017
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 13606 | 13638 | -32 | -3200 | -0.0032 | 998736 | 999624 | -888 | -88800 | -0.0888
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 8234 | 8245 | -11 | -3300 | -0.0033 | 4356 | 2692 | 1664 | 499200 | 0.4992
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 24552 | 24581 | -29 | -2175 | -0.002175 | 47185 | 35880 | 11305 | 847875 | 0.84788
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 999185 | 999188 | -3 | -900 | -0.0009 | 4135 | 4570 | -435 | -130500 | -0.1305
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1809 | 1809 | 0 | 0 | 0 | 2857 | 2857 | 0 | 0 | 0
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 34415 | 34377 | 38 | 3800 | 0.0038 | 154584 | 164921 | -10337 | -1033700 | -1.0337
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 8500 | 8615 | -115 | -8625 | -0.008625 | 30183 | 25056 | 5127 | 384525 | 0.38453
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988245 | 988396 | -151 | -151000 | -0.151 | 1857 | 1871 | -14 | -14000 | -0.014
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996872 | 996962 | -90 | -90000 | -0.09 | 3416 | 3388 | 28 | 28000 | 0.028
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998813 | 998848 | -35 | -35000 | -0.035 | 848 | 749 | 99 | 99000 | 0.099
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995144 | 995404 | -260 | -260000 | -0.26 | 1631 | 1654 | -23 | -23000 | -0.023
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993591 | 993425 | 166 | 166000 | 0.166 | 5301 | 5228 | 73 | 73000 | 0.073
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997386 | 997279 | 107 | 107000 | 0.107 | 999151 | 999149 | 2 | 2000 | 0.002
14 | JAMA MASJID-1 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999403 | 999442 | -39 | -39000 | -0.039 | 999893 | 999952 | -59 | -59000 | -0.059
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 998984 | 999059 | -75 | -60000 | -0.06 | 1293 | 1331 | -38 | -30400 | -0.0304
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999451 | 999354 | 97 | 97000 | 0.097 | 30119 | 29669 | 450 | 450000 | 0.45
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1520 | 1547 | -27 | -27000 | -0.027 | 9670 | 9720 | -50 | -50000 | -0.05
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 12524 | 12524 | 0 | 0 | 0 | 358 | 358 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1499 | 1047 | 452 | 452000 | 0.452 | 16009 | 15800 | 209 | 209000 | 0.209
GT
20 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1375 | 996694 | 997556 | -862 | -1185250 | -1.1852 | 952127 | 952211 | -84 | -115500 | -0.1155
21 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 995094 | 998982 | -3888 | -3888000 | -3.888
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 973958 | 974368 | -410 | -410000 | -0.41 | 7767 | 7802 | -35 | -35000 | -0.035
| KASHMIRI GATE | [8 empty] | -1.4352 |  |  |  |  | -3.3539
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 946774 | 946930 | -156 | 156000 | 0.156 | 941005 | 941163 | -158 | 158000 | 0.158
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958432 | 958525 | -93 | 93000 | 0.093 | 954603 | 954757 | -154 | 154000 | 0.154
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 456 | 456 | 0 | 0 | 0
NARAINA
26 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999994 | 999991 | 3 | 3000 | 0.003 | 2673 | 2103 | 570 | 570000 | 0.57
PARK STREET
27 | TX.-1 (66KV) | 5295179 | ELSTER | Kvarh(Lead/Lag) | -500 | 20330 | 16740 | 3590 | -1795000 | -1.795 | 613 | 622 | -9 | 4500 | 0.0045
[5 empty] | -500 | 13598 | 13598 | 0 | 0 | 0
28 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11222 | 10554 | 668 | -668000 | -0.668 | 999640 | 999812 | -172 | 172000 | 0.172
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992545 | 992496 | 49 | -49000 | -0.049 | 992848 | 992975 | -127 | 127000 | 0.127
30 | TX.-2(33KV) | 4864944 | ELSTER | Kvarh(Lead/Lag) | -1000 | 79 | 79 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8427 | 8549 | -122 | 244000 | 0.244 | 997124 | 998477 | -1353 | 2706000 | 2.706
32 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1559 | 1813 | -254 | 254000 | 0.254 | 520 | 921 | -401 | 401000 | 0.401
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999448 | 999873 | -425 | 425000 | 0.425 | 999783 | 1000349 | -566 | 566000 | 0.566
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 1000 | 705 | 708 | -3 | -3000 | -0.003 | 661 | 604 | 57 | 57000 | 0.057 | Check Meter Data
35 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 86864 | 86833 | 31 | 31000 | 0.031 | 123655 | 123455 | 200 | 200000 | 0.2
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 100 | 998066 | 998058 | 8 | 800 | 0.0008 | 1141 | 1141 | 0 | 0 | 0
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 151245 | 151302 | -57 | -5700 | -0.0057 | 52319 | 52236 | 83 | 8300 | 0.0083
PREET VIHAR
38 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -2.7636 |  |  |  |  | 2.2485
| (A) NET ENERGY TO CENTRAL | [8 empty] | -2.7636 |  |  |  |  | 2.2485
APRIL-2017
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979704 | 980033 | -329 | 329000 | 0.329 | 882643 | 882912 | -269 | 269000 | 0.269
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994021 | 994285 | -264 | 264000 | 0.264 | 973659 | 973867 | -208 | 208000 | 0.208
3 | Tx.3 | 5295177 | ELSTER | Kvarh(Lead/Lag) | -500 | 986551 | 987371 | -820 | 410000 | 0.41 | 999051 | 999674 | -623 | 311500 | 0.3115
[5 empty] | -500 | 995340 | 995351 | -11 | 5500 | 0.0055
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 991819 | 992358 | -539 | 1078000 | 1.078 | 974605 | 975376 | -771 | 1542000 | 1.542
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998961 | 998929 | 32 | -32000 | -0.032 | 249 | 532 | -283 | 283000 | 0.283
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995217 | 995185 | 32 | -32000 | -0.032 | 999545 | 999844 | -299 | 299000 | 0.299
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1497 | 1320 | 177 | -177000 | -0.177 | 999921 | 998933 | 988 | -988000 | -0.988
8 | 100 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 100MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983684 | 983609 | 75 | -75000 | -0.075 | 970262 | 970539 | -277 | 277000 | 0.277
[5 empty] | -1000 | 992774 | 993057 | -283 | 283000 | 0.283 | 976764 | 976766 | -2 | 2000 | 0.002
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989329 | 989550 | -221 | 221000 | 0.221 | 995911 | 996179 | -268 | 268000 | 0.268
GEETA COLONY
11 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979657 | 979691 | -34 | 34000 | 0.034 | 965911 | 967357 | -1446 | 1446000 | 1.446
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959306 | 959359 | -53 | 53000 | 0.053 | 833426 | 833426 | 0 | 0 | 0
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16790 | 17595 | -805 | 805000 | 0.805 | 33967 | 33992 | -25 | 25000 | 0.025
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2819 | 2999 | -180 | 180000 | 0.18 | 102 | 109 | -7 | 7000 | 0.007
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966843 | 966922 | -79 | 79000 | 0.079 | 919842 | 919859 | -17 | 17000 | 0.017
[5 empty] | -1000 | 969912 | 972186 | -2274 | 2274000 | 2.274
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 5.6995 |  |  |  |  | 3.9665
| (B) NET ENERGY TO EAST | [8 empty] | 5.6995 |  |  |  |  | 3.9665
APRIL-2017
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | -400 | 413 | 613 | -200 | 80000 | 0.08 | 999020 | 999053 | -33 | 13200 | 0.0132
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 5978 | 5957 | 21 | -10500 | -0.0105 | 2316 | 2408 | -92 | 46000 | 0.046
| EXPORT TO NDMC FROM PARK STREET | [9 empty] | #N/A
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 54525 | 54584 | -59 | 11800 | 0.0118 | 85457 | 85476 | -19 | 3800 | 0.0038
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 74206 | 73557 | 649 | -64900 | -0.0649 | 140372 | 139869 | 503 | -50300 | -0.0503
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 973283 | 973423 | -140 | 28000 | 0.028 | 996650 | 996510 | 140 | -28000 | -0.028
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 35068 | 34165 | 903 | -180600 | -0.1806 | 3232 | 2586 | 646 | -129200 | -0.1292
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 16795 | 16631 | 164 | -131200 | -0.1312 | 10739 | 10625 | 114 | -91200 | -0.0912
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 15047 | 14993 | 54 | -108000 | -0.108 | 3840 | 3810 | 30 | -60000 | -0.06
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 974733 | 975116 | -383 | 306400 | 0.3064 | 988027 | 988080 | -53 | 42400 | 0.0424
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 985205 | 985907 | -702 | 561600 | 0.5616 | 992983 | 993141 | -158 | 126400 | 0.1264
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 991387 | 991912 | -525 | 420000 | 0.42 | 997203 | 997298 | -95 | 76000 | 0.076
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 980145 | 980430 | -285 | 228000 | 0.228 | 993995 | 993924 | 71 | -56800 | -0.0568
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979933 | 980263 | -330 | 330000 | 0.33 | 34026 | 34218 | -192 | 192000 | 0.192
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1965 | 1940 | 25 | -25000 | -0.025 | 27262 | 27183 | 79 | -79000 | -0.079
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 3615 | 3478 | 137 | -13700 | -0.0137 | 23960 | 24208 | -248 | 24800 | 0.0248
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5626 | 5626 | 0 | 0 | 0 | 34783 | 34539 | 244 | -122000 | -0.122
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999934 | 999934 | 0 | 0 | 0 | 466 | 476 | -10 | 5000 | 0.005
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 329 | 321 | 8 | -5333.36 | -0.0053334 | 112 | 108 | 4 | -2666.68 | -0.0026667
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 2967 | 2919 | 48 | -32000 | -0.032 | 1360 | 1338 | 22 | -14666.6667 | -0.014667
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 3352 | 1625 | 1727 | -172700 | -0.1727 | 147 | 0 | 147 | -14700 | -0.0147 | w.e.f 03/03/17
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 24865 | 24802 | 63 | -6300 | -0.0063 | 51093 | 51066 | 27 | -2700 | -0.0027
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997603 | 997680 | -77 | 7700 | 0.0077 | 1523 | 1239 | 284 | -28400 | -0.0284
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999751 | 999751 | 0 | 0 | 0 | 999998 | 999998 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 24006 | 23895 | 111 | -11100 | -0.0111 | 57916 | 57731 | 185 | -18500 | -0.0185
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1504 | 1473 | 31 | -3100 | -0.0031 | 5086 | 5012 | 74 | -7400 | -0.0074
31 | TIBIA COLLEGE-2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 1000464 | 999888 | 576 | -57600 | -0.0576 | 999841 | 999841 | 0 | 0 | 0 | w.e.f 03/03/17
32 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 9821 | 7718 | 2103 | -210300 | -0.2103 | 3729 | 3727 | 2 | -200 | -0.0002
[10 empty] | 0.94117 |  |  |  |  | -0.17613
APRIL-2017
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -2.7636 |  |  |  |  | 2.2485
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 0.94117 |  |  |  |  | -0.17613
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.64907 |  |  |  |  | 0.022075
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -2.4715 |  |  |  |  | 2.0944
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 5.6995 |  |  |  |  | 3.9665
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 3.228 |  |  |  |  | 6.0609
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 3.228 | (REACTIVE MUs) |  |  |  | 6.0609 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.39919 | (REACTIVE MUs) |  |  |  | -0.69476 | (REACTIVE MUs)
[9 empty] | TOTAL | 3.6272 | (REACTIVE MUs) |  |  |  | 5.3662 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | APRIL-2017
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999584 | 999582 | 2 | 10000 | 0.01 | 999447 | 999613 | -166 | -830000 | -0.83
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984672 | 984664 | 8 | 10666.64 | 0.010667 | 672159 | 672284 | -125 | -166666.25 | -0.16667
3 | BAY-13 | 5295153 | ELSTER | Kvarh(Lead/Lag) | 400 | 1056 | 983 | 73 | 29200 | 0.0292 | 1001060 | 999192 | 1868 | 747200 | 0.7472
[5 empty] | 400 | [5 empty] | 988993 | 988587 | 406 | 162400 | 0.1624
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 16954 | 16949 | 5 | 5000 | 0.005 | 998351 | 998880 | -529 | -529000 | -0.529
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 17390 | 17364 | 26 | 2600 | 0.0026 | 7199 | 4891 | 2308 | 230800 | 0.2308
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 725192 | 724913 | 279 | 20925 | 0.020925 | 10350 | 12932 | -2582 | -193650 | -0.19365
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 983177 | 983191 | -14 | -1050 | -0.00105 | 991947 | 992443 | -496 | -37200 | -0.0372
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997369 | 997359 | 10 | 9000 | 0.009 | 996278 | 996599 | -321 | -288900 | -0.2889
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988926 | 988926 | 0 | 0 | 0
11 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1914 | 1913 | 1 | -1000 | -0.001 | 999999 | 1000130 | -131 | 131000 | 0.131
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997341 | 997244 | 97 | -194000 | -0.194 | 996223 | 996272 | -49 | 98000 | 0.098 | MF w.r.t 13/04/17
[5 empty] | -1000 | 997244 | 997199 | 45 | -45000 | -0.045 | 996272 | 996297 | -25 | 25000 | 0.025
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2451 | 2290 | 161 | -161000 | -0.161 | 999872 | 999894 | -22 | 22000 | 0.022
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962795 | 962795 | 0 | 0 | 0 | 965551 | 966778 | -1227 | 1227000 | 1.227
PAAPANKALAN-II
15 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985976 | 985962 | 14 | -14000 | -0.014 | 966969 | 967134 | -165 | 165000 | 0.165
16 | Tx.2 | 4865004 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1694 | 1671 | 23 | -23000 | -0.023 | 1166 | 665 | 501 | -501000 | -0.501
17 | Tx.3 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -2000 | 89 | 89 | 0 | 0 | 0 | 999733 | 999997 | -264 | 528000 | 0.528 | Check Meter Data
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3796 | 3796 | 0 | 0 | 0 | 952965 | 954022 | -1057 | 1057000 | 1.057
NAJAFGARH
19 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999869 | 1000004 | -135 | 135000 | 0.135 | 985309 | 985922 | -613 | 613000 | 0.613 | w.e.f 03/03/17
20 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997813 | 997817 | -4 | 4000 | 0.004 | 990058 | 990576 | -518 | 518000 | 0.518
21 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999817 | 999927 | -110 | 110000 | 0.11 | 999235 | 999818 | -583 | 583000 | 0.583
22 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13859 | 13851 | 8 | -8000 | -0.008 | 997400 | 997891 | -491 | 491000 | 0.491
IMPORT
MANGOLPURI
23 | NANGLOI-2 (03) IMP. | 4864959 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15122 | 15126 | -4 | -4000 | -0.004 | 10403 | 10403 | 0 | 0 | 0 | Check Meter Data
|  | 5128435 | ELSTER | Kvarh(Lead/Lag) | 1250 | 7 | 0 | 7 | 8750 | 0.00875 | 65 | 0 | 65 | 81250 | 0.08125 | w.e.f 11/04/2017
LODHI ROAD
24 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980892 | 981396 | -504 | 504000 | 0.504 | 985665 | 985972 | -307 | 307000 | 0.307
25 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991515 | 991518 | -3 | 3000 | 0.003 | 985938 | 985938 | 0 | 0 | 0 | Data till 25/04
OKHLA
26 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995270 | 995258 | 12 | -12000 | -0.012 | 990731 | 991186 | -455 | 455000 | 0.455
27 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990297 | 990271 | 26 | -26000 | -0.026 | 930899 | 931527 | -628 | 628000 | 0.628
28 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2219 | 2256 | -37 | 37000 | 0.037 | 33882 | 34139 | -257 | 257000 | 0.257
29 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998196 | 998201 | -5 | 5000 | 0.005 | 996477 | 996742 | -265 | 265000 | 0.265
30 | Tx.4 (33 KV)-Ckt No. 5 | 4864926 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996460 | 996460 | 0 | 0 | 0 | 864116 | 864116 | 0 | 0 | 0 | Check Meter Data
BRPL(+) continue | [14 empty] | APRIL-2017
VASANT KUNJ
31 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 412 | 372 | 40 | -40000 | -0.04 | 999908 | 999964 | -56 | 56000 | 0.056
32 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 328 | 236 | 92 | -46000 | -0.046 | 998029 | 998118 | -89 | 44500 | 0.0445
33 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 16189 | 14868 | 1321 | -2642000 | -2.642 | 969516 | 969507 | 9 | -18000 | -0.018
MEHRAULI
34 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995060 | 995060 | 0 | 0 | 0 | 899552 | 900246 | -694 | 694000 | 0.694
35 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994407 | 994407 | 0 | 0 | 0 | 927470 | 927470 | 0 | 0 | 0
36 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999022 | 999022 | 0 | 0 | 0 | 984756 | 985421 | -665 | 665000 | 0.665
37 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 62 | 16 | 46 | -92000 | -0.092 | 999897 | 999960 | -63 | 126000 | 0.126 | W.E.F 10/02/17
RIDGE VALLEY
38 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 970116 | 970438 | -322 | 214666.452 | 0.21467 | 967257 | 967315 | -58 | 38666.628 | 0.038667
39 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999679 | 1000228 | -549 | 1098000 | 1.098 | 999999 | 999999 | 0 | 0 | 0 | w.e.f 14/03/17
DIAL
40 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5619 | 5619 | 0 | 0 | 0 | 2377 | 2291 | 86 | -172000 | -0.172
41 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2538 | 2538 | 0 | 0 | 0 | 1336 | 1270 | 66 | -132000 | -0.132
MASJID MOD
42 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917326 | 917323 | 3 | -3000 | -0.003 | 982817 | 983627 | -810 | 810000 | 0.81
43 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 120 | 119 | 1 | -1000 | -0.001 | 998891 | 999835 | -944 | 944000 | 0.944 | w.e.f 09/03/17
MUNDKA
44 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
45 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 32592 | 30063 | 2529 | 2023200 | 2.0232 | 6364 | 6364 | 0 | 0 | 0
46 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 905880 | 905880 | 0 | 0 | 0 | 999531 | 999531 | 0 | 0 | 0
[10 empty] | -0.7556 |  |  |  |  | -0.00192 | Assessment
|  | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 999393 | 1000000 | -607 | -485600 | -0.4856 | 0 | 0 | 0 | 0 | 0 | w.e.f 24/04/17
47 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
48 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1000370 | 999992 | 378 | 302400 | 0.3024 | 999791 | 999791 | 0 | 0 | 0
49 | BAY No 616 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999757 | 999757 | 0 | 0 | 0 | 619 | 619 | 0 | 0 | 0 | Meter Faulty
|  | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 157 | 0 | 157 | 125600 | 0.1256 | 0 | 0 | 0 | 0 | 0 | w.e.f 11/04/17
[10 empty] | 0.012 |  |  |  |  | 0 | Assessment
PARK STREET
50 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979933 | 980263 | -330 | -330000 | -0.33 | 34026 | 34218 | -192 | -192000 | -0.192
51 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
52 | TX-1 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20969 | 19455 | 1514 | -1514000 | -1.514 | 999985 | 999978 | 7 | -7000 | -0.007
53 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9865 | 9983 | -118 | 118000 | 0.118 | 999083 | 999255 | -172 | 172000 | 0.172
54 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6387 | 5023 | 1364 | -1364000 | -1.364 | 999992 | 999992 | 0 | 0 | 0
NARAINA
55 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 5611 | 5346 | 265 | 26500 | 0.0265 | 11034 | 9339 | 1695 | 169500 | 0.1695
SUDARSHAN PARK
56 | VISHAL | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 969505 | 968668 | 837 | 41850 | 0.04185 | 1796 | 1793 | 3 | 150 | 0.00015
57 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 997002 | 996856 | 146 | 58400 | 0.0584 | 5167 | 4666 | 501 | 200400 | 0.2004
[5 empty] | 400 | [5 empty] | 1876 | 1147 | 729 | 291600 | 0.2916
58 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 999412 | 998926 | 486 | 194400 | 0.1944 | 30926 | 30852 | 74 | 29600 | 0.0296
[5 empty] | 400 | [5 empty] | 513 | 482 | 31 | 12400 | 0.0124
REWARI LINE
59 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | -1 | -1000 | -0.001
KANJAWALA
60 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 988162 | 988590 | -428 | -342400 | -0.3424 | 999579 | 999703 | -124 | -99200 | -0.0992
Trauma Centre
61 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 218671 | 190816 | 27855 | 2785500 | 2.7855 | 2906 | 2906 | 0 | 0 | 0
62 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2589 | 1878 | 711 | 711000 | 0.711 | 172 | 172 | 0 | 0 | 0
A.I.I.M.S.
63 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 7371 | 7004 | 367 | 27525 | 0.027525 | 12801 | 12645 | 156 | 11700 | 0.0117
64 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 2490 | 2283 | 207 | 20700 | 0.0207 | 4617 | 4528 | 89 | 8900 | 0.0089
PEERGARHI
65 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 1885 | 1116 | 769 | 384500 | 0.3845 | 2633 | 2633 | 0 | 0 | 0
66 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2962 | 2216 | 746 | 746000 | 0.746 | 3598 | 3593 | 5 | 5000 | 0.005
67 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996990 | 997186 | -196 | -196000 | -0.196 | 1243 | 1243 | 0 | 0 | 0
68 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2685 | 2352 | 333 | 333000 | 0.333 | 6151 | 6133 | 18 | 18000 | 0.018
69 | PASCHIM PURI - I (L-7) | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999562 | 999562 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
[10 empty] | 0.071 |  |  |  |  | -0.0007 | Assessment
|  | 4864851 | ELSTER | Kvarh(Lead/Lag) | 1000 | 222 | 0 | 222 | 222000 | 0.222 | 999998 | 1000000 | -2 | -2000 | -0.002 | w.e.f 08/04/2017
70 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 7199 | 2074 | 5125 | 512500 | 0.5125 | 42643 | 42444 | 199 | 19900 | 0.0199
71 | MUKHERJEE PARK - I | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1264 | 881 | 383 | 383000 | 0.383 | 34 | 15 | 19 | 19000 | 0.019 | w.e.f 08/02/2017
72 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
73 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000986 | 999986 | 1000 | 1000000 | 1 | 4958 | 4908 | 50 | 50000 | 0.05
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 4.0052 |  |  |  |  | 9.8057
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-2017
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 173183 | 171008 | 2175 | -217500 | -0.2175 | 912903 | 912851 | 52 | -5200 | -0.0052
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -100 | 998066 | 998058 | 8 | -800 | -0.0008 | 1141 | 1141 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 151245 | 151302 | -57 | 5700 | 0.0057 | 52319 | 52236 | 83 | -8300 | -0.0083
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995210 | 995207 | 3 | -300 | -0.0003 | 999952 | 999946 | 6 | -600 | -0.0006
5 | KHYBER LANE-2 EXP. | 4902553 | ELSTER | Kvarh(Lead/Lag) | -3000 | 52 | 52 | 0 | 0 | 0 | 230 | 230 | 0 | 0 | 0 | Check Meter Data
|  | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999998 | 1000000 | -2 | 2000 | 0.002 | 999999 | 1000000 | -1 | 1000 | 0.001 | w.e.f 13/04/17
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999750 | 999639 | 111 | -111000 | -0.111 | 1000000 | 999992 | 8 | -8000 | -0.008
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 1833 | 582 | 1251 | -200160 | -0.20016 | 386 | 139 | 247 | -39520 | -0.03952 | w.e.f 16/3/17
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 907035 | 906914 | 121 | -60500 | -0.0605 | 61361 | 61337 | 24 | -12000 | -0.012
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -500 | 999035 | 999318 | -283 | 141500 | 0.1415 | 999955 | 999962 | -7 | 3500 | 0.0035
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 81736 | 81415 | 321 | -32100 | -0.0321 | 70897 | 70876 | 21 | -2100 | -0.0021
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 95508 | 94799 | 709 | -70900 | -0.0709 | 71562 | 71302 | 260 | -26000 | -0.026
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 27386 | 26207 | 1179 | -117900 | -0.1179 | 23077 | 22433 | 644 | -64400 | -0.0644
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999175 | 999175 | 0 | 0 | 0 | 16688 | 16688 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 394351 | 389402 | 4949 | -494900 | -0.4949 | 49059 | 49059 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 4942 | 4939 | 3 | -300 | -0.0003 | 27915 | 27530 | 385 | -38500 | -0.0385
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4902503 | ELSTER | Kvarh(Lead/Lag) | -416.66 | 998754 | 999065 | -311 | 129581.26 | 0.12958 | 365 | 588 | -223 | 92915.18 | 0.092915
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9124 | 9132 | -8 | 800 | 0.0008 | 37689 | 37652 | 37 | -3700 | -0.0037
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 12179 | 12183 | -4 | 400 | 0.0004 | 72863 | 72881 | -18 | 1800 | 0.0018
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 735 | 725 | 10 | -1000 | -0.001 | 14570 | 13509 | 1061 | -106100 | -0.1061
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 84 | 73 | 11 | -14663 | -0.014663 | 71 | 34 | 37 | -49321 | -0.049321
24 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 999088 | 999049 | 39 | -3900 | -0.0039 | 6039 | 5015 | 1024 | -102400 | -0.1024
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989743 | 989743 | 0 | 0 | 0 | 390 | 390 | 0 | 0 | 0
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995611 | 995611 | 0 | 0 | 0 | 59 | 59 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999890 | 999882 | 8 | -3200 | -0.0032 | 6 | 7 | -1 | 400 | 0.0004
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -1.0491 |  |  |  |  | -0.36653
APRIL-2017
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 4.0052 |  |  |  |  | 9.8057
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -1.0491 |  |  |  |  | -0.36653
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.4458 |  |  |  |  | -0.2239
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0395 |  |  |  |  | -0.084025
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 3.3624 |  |  |  |  | 9.1313
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 3.3624 | (REACTIVE MUs) |  |  |  | 9.1313 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.70589 | (REACTIVE MUs) |  |  |  | -1.2285 | (REACTIVE MUs)
[9 empty] | TOTAL | 4.0683 | (REACTIVE MUs) |  |  |  | 7.9027 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2017
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 54525 | 54584 | -59 | -11800 | -0.0118 | 85457 | 85476 | -19 | -3800 | -0.0038
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 74206 | 73557 | 649 | 64900 | 0.0649 | 140372 | 139869 | 503 | 50300 | 0.0503
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 973283 | 973423 | -140 | -28000 | -0.028 | 996650 | 996510 | 140 | 28000 | 0.028
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 35068 | 34165 | 903 | 180600 | 0.1806 | 3232 | 2586 | 646 | 129200 | 0.1292
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 16795 | 16631 | 164 | 131200 | 0.1312 | 10739 | 10625 | 114 | 91200 | 0.0912
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 15047 | 14993 | 54 | 108000 | 0.108 | 3840 | 3810 | 30 | 60000 | 0.06
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 974733 | 975116 | -383 | -306400 | -0.3064 | 988027 | 988080 | -53 | -42400 | -0.0424
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 985205 | 985907 | -702 | -561600 | -0.5616 | 992983 | 993141 | -158 | -126400 | -0.1264
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 991387 | 991912 | -525 | -420000 | -0.42 | 997203 | 997298 | -95 | -76000 | -0.076
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 980145 | 980430 | -285 | -228000 | -0.228 | 993995 | 993924 | 71 | 56800 | 0.0568
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 999968 | 999998 | -30 | -1500 | -0.0015 | 2456 | 497 | 1959 | 97950 | 0.09795 | w.e.f 29/03/17
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 993066 | 993047 | 19 | 1425 | 0.001425 | 5979 | 5372 | 607 | 45525 | 0.045525
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 10 | 2 | 8 | 4000 | 0.004 | 458 | 109 | 349 | 174500 | 0.1745
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998971 | 998975 | -4 | -1500 | -0.0015 | 3308 | 2123 | 1185 | 444375 | 0.44438
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 989328 | 989335 | -7 | -700 | -0.0007 | 317576 | 316575 | 1001 | 100100 | 0.1001
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 999955 | 999970 | -15 | -1125 | -0.001125 | 1586 | 1824 | -238 | -17850 | -0.01785
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 3422 | 3443 | -21 | -2100 | -0.0021 | 261484 | 261767 | -283 | -28300 | -0.0283
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 82943 | 82962 | -19 | -1900 | -0.0019 | 727317 | 724473 | 2844 | 284400 | 0.2844
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999078 | 999156 | -78 | -85800 | -0.0858 | 101482 | 101435 | 47 | 51700 | 0.0517
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997532 | 997519 | 13 | 13000 | 0.013 | 44278 | 44235 | 43 | 43000 | 0.043
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 998124 | 998445 | -321 | -353100 | -0.3531 | 143099 | 143088 | 11 | 12100 | 0.0121
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2762 | 2671 | 91 | 91000 | 0.091 | 58620 | 58522 | 98 | 98000 | 0.098
[10 empty] | -0.3349 |  |  |  |  | 0.2048
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999750 | 999639 | 111 | 111000 | 0.111 | 1000000 | 999992 | 8 | 8000 | 0.008
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 1833 | 582 | 1251 | 200160 | 0.20016 | 386 | 139 | 247 | 39520 | 0.03952 | W.e.f 16/3/17
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 907035 | 906914 | 121 | 60500 | 0.0605 | 61361 | 61337 | 24 | 12000 | 0.012
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 500 | 999035 | 999318 | -283 | -141500 | -0.1415 | 999955 | 999962 | -7 | -3500 | -0.0035
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999175 | 999175 | 0 | 0 | 0 | 16688 | 16688 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
APRIL-2017
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 938457 | 941241 | -2784 | 2784000 | 2.784 | 971280 | 971280 | 0 | 0 | 0
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -500 | 984313 | 989580 | -5267 | 2633500 | 2.6335 | 999870 | 999871 | -1 | 500 | 0.0005
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998621 | 999259 | -638 | 1276000 | 1.276 | 999999 | 999999 | 0 | 0 | 0
33 | 33KV TX-2 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998426 | 999751 | -1325 | 1325000 | 1.325 | 999999 | 1000000 | -1 | 1000 | 0.001 | w.e.f 24/3/17
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 394351 | 389402 | 4949 | 494900 | 0.4949 | 49059 | 49059 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 4942 | 4939 | 3 | 300 | 0.0003 | 27915 | 27530 | 385 | 38500 | 0.0385
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 81736 | 81415 | 321 | 32100 | 0.0321 | 70897 | 70876 | 21 | 2100 | 0.0021
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 95508 | 94799 | 709 | 70900 | 0.0709 | 71562 | 71302 | 260 | 26000 | 0.026
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 27386 | 26207 | 1179 | 117900 | 0.1179 | 23077 | 22433 | 644 | 64400 | 0.0644
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 173183 | 171008 | 2175 | 217500 | 0.2175 | 912903 | 912851 | 52 | 5200 | 0.0052
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 218671 | 190816 | 27855 | -2785500 | -2.7855 | 2906 | 2906 | 0 | 0 | 0
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2589 | 1878 | 711 | -711000 | -0.711 | 172 | 172 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 7371 | 7004 | 367 | -27525 | -0.027525 | 12801 | 12645 | 156 | -11700 | -0.0117
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 2490 | 2283 | 207 | -20700 | -0.0207 | 4617 | 4528 | 89 | -8900 | -0.0089
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 7.7246 |  |  |  |  | 1.6455
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 7.7246 |  |  |  |  | 1.6455
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.087979 |  |  |  |  | -0.15312
| TOTAL ENERGY TO NDMC | [8 empty] | 7.8126 |  |  |  |  | 1.4924

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2017
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 832 | 832 | 0 | 0 | 0 | 8576 | 6834 | 1742 | 348400 | 0.3484
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1509 | 1509 | 0 | 0 | 0 | 39717 | 39027 | 690 | 690000 | 0.69
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4100 | 4094 | 6 | 6000 | 0.006 | 49171 | 48733 | 438 | 438000 | 0.438
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 999960 | 999960 | 0 | 0 | 0 | 41614 | 38884 | 2730 | 363999.09 | 0.364
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6493 | 6497 | -4 | -4000 | -0.004 | 11348 | 11448 | -100 | -100000 | -0.1
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12327 | 12243 | 84 | 42000 | 0.042 | 61700 | 61308 | 392 | 196000 | 0.196
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995210 | 995207 | 3 | 300 | 0.0003 | 999952 | 999946 | 6 | 600 | 0.0006
8 | KHBR LANE-2 -EXP. | 4902553 | ELSTER | Kvarh(Lead/Lag) | 3000 | 52 | 52 | 0 | 0 | 0 | 230 | 230 | 0 | 0 | 0 | Check Meter Data
|  | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999998 | 1000000 | -2 | -2000 | -0.002 | 999999 | 1000000 | -1 | -1000 | -0.001 | w.e.f 13/04/17
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0443 |  |  |  |  | 1.937
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3438 | 3438 | 0 | 0 | 0 | 34490 | 34490 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 56150 | 56143 | 7 | 700 | 0.0007 | 88274 | 88174 | 100 | 10000 | 0.01
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 77832 | 77824 | 8 | 800 | 0.0008 | 15174 | 15063 | 111 | 11100 | 0.0111
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 61624 | 61244 | 380 | 38000 | 0.038 | 102419 | 101810 | 609 | 60900 | 0.0609
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 629 | 629 | 0 | 0 | 0 | 1032 | 1005 | 27 | 2025 | 0.002025
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10255 | 10255 | 0 | 0 | 0 | 3322 | 3322 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0395 |  |  |  |  | 0.084025
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0395 |  |  |  |  | 0.084025
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0443 |  |  |  |  | 1.937
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0838 |  |  |  |  | 2.021
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0838 | (REACTIVE MUs) |  |  |  | 2.021 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.016142 | (REACTIVE MUs) |  |  |  | -0.028095 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.099942 | (REACTIVE MUs) |  |  |  | 1.9929 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2017
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 800 | 3066 | -2266 | -226600 | -0.2266 | 2191 | 2191 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 33991 | 29297 | 4694 | 469400 | 0.4694 | 2892 | 2881 | 11 | 1100 | 0.0011
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 3885 | 3513 | 372 | 186000 | 0.186 | 1430 | 1398 | 32 | 16000 | 0.016
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 410 | 554 | -144 | -135000 | -0.135 | 0 | 0 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5129957 | ELSTER | Kvarh(Lead/Lag) | 250 | 998478 | 998482 | -4 | -1000 | -0.001 | 989099 | 990057 | -958 | -239500 | -0.2395
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 982236 | 982542 | -306 | 153000 | 0.153 | 976486 | 976486 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 999999 | 999999 | 0 | 0 | 0 | 999984 | 999989 | -5 | -1500 | -0.0015
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.4458 |  |  |  |  | -0.2239
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 987228 | 986759 | 469 | 93800 | 0.0938 | 999846 | 999730 | 116 | 23200 | 0.0232
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 906040 | 908021 | -1981 | -742875 | -0.74287 | 997276 | 997279 | -3 | -1125 | -0.001125
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.64907 |  |  |  |  | 0.022075
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 292214 | 290240 | 1974 | 394800 | 0.3948 | 268668 | 267947 | 721 | 144200 | 0.1442
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 213303 | 204215 | 9088 | 908800 | 0.9088 | 999275 | 999185 | 90 | 9000 | 0.009
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 130798 | 115258 | 15540 | 971250 | 0.97125 | 987357 | 987178 | 179 | 11187.5 | 0.011187
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 473 | 315 | 158 | 126400 | 0.1264 | 387 | 378 | 9 | 7200 | 0.0072
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 988947 | 989172 | -225 | -22500 | -0.0225 | 999593 | 999590 | 3 | 300 | 0.0003
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 998981 | 998973 | 8 | 1200 | 0.0012 | 994103 | 995153 | -1050 | -157500 | -0.1575
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 998835 | 998926 | -91 | 227500 | 0.2275 | 3071 | 3071 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 999999 | 999999 | 0 | 0 | 0 | 999984 | 999989 | -5 | 1500 | 0.0015
| TOTAL NDPL | [8 empty] | 2.6074 |  |  |  |  | 0.015887
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.4458 |  |  |  |  | -0.2239
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.64907 |  |  |  |  | 0.022075
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 2.6074 |  |  |  |  | 0.015887

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2017
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 39811 | 38912 | 899 | 1798000 | 1.798 | 1866 | 1848 | 18 | 36000 | 0.036
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 7285 | 6938 | 347 | 1735000 | 1.735 | 188 | 179 | 9 | 45000 | 0.045
[7 empty] | NET REACTIVE ENERGY |  |  | 3.533 |  | NET REACTIVE ENERGY |  |  | 0.081
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 3.533 |  |  |  |  | 0.081
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -1.4352 |  |  |  |  | -3.3539
[7 empty] | NDMC = |  |  | -0.3349 |  |  |  |  | 0.2048
MES =
[7 empty] | 2)TOTAL |  |  | -1.7702 |  |  |  |  | -3.1491
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 1.7629 |  |  |  |  | -3.0681
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.4065 | % |  |  | 0.55365 |  |  |  |  | -0.96358
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.0425 | % |  |  | 0.70589 |  |  |  |  | -1.2285
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.6446 | % |  |  | 0.39919 |  |  |  |  | -0.69476
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.9907 | % |  |  | 0.087979 |  |  |  |  | -0.15312
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.9157 | % |  |  | 0.016142 |  |  |  |  | -0.028095
Note :Sharing taken from wk-04 abt bill 2017-18

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st APRIL-2017 TO 1st MAY-2017
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 1.0874 | + | 1.6423
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 4.0683 | + | 7.9027
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 3.6272 | + | 5.3662
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 7.8126 | + | 1.4924
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.099942 | + | 1.9929
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2017 | INTIAL READING 01/04/2017 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 7644 | 5805 | 1839 | 1379250 | 1.3793 | 0 | 0 | 0 | 0 | 0 | w.e.f 14/10/2016
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 994935 | 994325 | 610 | 915000 | 0.915 | 991970 | 991971 | -1 | -1500 | -0.0015
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 860094 | 864707 | -4613 | -3459750 | -3.4598 | 998643 | 998643 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -1.1655 |  |  | NET REACTIVE ENERGY |  | -0.0015
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 999850 | 999595 | 255 | 1275000 | 1.275 | 9316 | 9269 | 47 | 235000 | 0.235
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 953247 | 954821 | -1574 | -1574000 | -1.574
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 973463 | 973489 | -26 | -26000 | -0.026 | 997562 | 996291 | 1271 | 1271000 | 1.271
[8 empty] | NET REACTIVE ENERGY |  | 1.249 |  |  | NET REACTIVE ENERGY |  | -0.068